## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-14 00:00:00 | 0 | 0.12178 | 4.7063 | 51.266 | 0 | 3.8239 | 0 | 182.622 | 19.43 | 973.653 | 81.6647 | 0
2019-09-14 00:15:00 | 0 | 0.097424 | 5.2177 | 46.3461 | 1.894 | 18.194 | 0.887 | 180.966 | 19.37 | 973.435 | 82.6198 | 0
2019-09-14 00:30:00 | 4.0633 | 356.915 | 7.0073 | 46.1756 | 5.2177 | 0.9986 | 2.9167 | 181.331 | 19.42 | 973.234 | 82.5516 | 0
2019-09-14 00:45:00 | 4.946 | 0.097424 | 5.729 | 55.8693 | 2.4053 | 12.7139 | 3.6837 | 181.989 | 19.23 | 973.436 | 84.9394 | 0
2019-09-14 01:00:00 | 6.2227 | 70.3649 | 7.0073 | 47.5152 | 4.195 | 0.048712 | 5.2177 | 177.313 | 19.05 | 973.321 | 86.031 | 0
2019-09-14 01:15:00 | 10.5633 | 4.6764 | 6.496 | 57.6717 | 2.9167 | 18.3158 | 6.7517 | 189.174 | 18.67 | 973.474 | 88.0095 | 0
2019-09-14 01:30:00 | 10.5633 | 3.7508 | 6.496 | 61.4713 | 3.1723 | 0.24356 | 3.0523 | 188.857 | 18.98 | 973.362 | 83.7455 | 0
2019-09-14 01:45:00 | 7.244 | 8.7682 | 7.0073 | 64.4914 | 1.894 | 15.7584 | 2.1497 | 190.708 | 18.9 | 973.056 | 82.4151 | 0
2019-09-14 02:00:00 | 0 | 7.112 | 6.496 | 56.7705 | 2.661 | 12.787 | 1.5183 | 189.929 | 19.16 | 973.216 | 81.3577 | 0
2019-09-14 02:15:00 | 0 | 13.7856 | 5.4733 | 59.6689 | 0 | 24.2587 | 0 | 198.551 | 19.07 | 973.065 | 84.5983 | 0
2019-09-14 02:30:00 | 0 | 9.231 | 5.9847 | 54.5054 | 0.37567 | 2.6061 | 1.007 | 193.485 | 18.95 | 973.186 | 79.5838 | 0
2019-09-14 02:45:00 | 0 | 6.8684 | 5.729 | 64.7837 | 2.9167 | 2.8253 | 5.9847 | 188.37 | 18.92 | 973.364 | 79.6179 | 0
2019-09-14 03:00:00 | 0 | 2.6305 | 3.428 | 57.0628 | 0 | 21.7987 | 0 | 187.201 | 19.03 | 973.513 | 82.0058 | 0
2019-09-14 03:15:00 | 0 | 17.78 | 4.962 | 67.8769 | 3.1723 | 17.5608 | 2.2853 | 187.201 | 18.72 | 973.364 | 81.9376 | 0
2019-09-14 03:30:00 | 0 | 22.4076 | 5.9847 | 78.8615 | 3.428 | 28.448 | 0 | 206.175 | 18.87 | 972.919 | 83.0974 | 0
2019-09-14 03:45:00 | 3.5527 | 28.1557 | 7.0073 | 76.8643 | 2.9167 | 334.921 | 0.63133 | 210.193 | 18.71 | 972.919 | 78.3217 | 0
2019-09-14 04:00:00 | 2.0207 | 8.3298 | 5.729 | 56.3321 | 0.37567 | 0.75504 | 5.9847 | 194.752 | 19.21 | 973.661 | 74.774 | 0
2019-09-14 04:15:00 | 13.372 | 5.6993 | 5.4733 | 58.4267 | 1.894 | 11.3012 | 11.865 | 191.951 | 19.44 | 973.759 | 75.7974 | 0
2019-09-14 04:30:00 | 12.0953 | 17.5364 | 6.7517 | 71.3842 | 1.894 | 12.9331 | 5.9847 | 203.836 | 19.11 | 973.865 | 76.4796 | 0
2019-09-14 04:45:00 | 8.2653 | 17.6582 | 8.03 | 61.2764 | 4.195 | 19.1439 | 3.9393 | 197.139 | 19.17 | 973.262 | 70.1347 | 0
2019-09-14 05:00:00 | 6.7333 | 18.0966 | 6.2403 | 71.6278 | 2.661 | 14.3945 | 3.9393 | 197.09 | 19.57 | 973.829 | 67.8151 | 0
2019-09-14 05:15:00 | 1.7653 | 10.9603 | 6.7517 | 73.4301 | 0 | 351.045 | 1.2627 | 195.434 | 19.26 | 974.087 | 71.2263 | 0
2019-09-14 05:30:00 | 0 | 16.7327 | 5.729 | 65.0516 | 2.1497 | 9.8399 | 0 | 203.788 | 19.59 | 974.549 | 71.8062 | 0
2019-09-14 05:45:00 | 0 | 18.8516 | 4.962 | 67.0975 | 1.6383 | 10.2296 | 0 | 198.649 | 19.52 | 974.495 | 70.6123 | 0
2019-09-14 06:00:00 | 0 | 9.5963 | 4.7063 | 58.9139 | 2.661 | 17.0493 | 0 | 202.083 | 19.65 | 974.467 | 69.8277 | 0
2019-09-14 06:15:00 | 0 | 20.0936 | 3.1723 | 69.532 | 2.661 | 17.731 | 0 | 205.928 | 19.56 | 974.57 | 72.6581 | 0
2019-09-14 06:30:00 | 0 | 20.0691 | 4.195 | 73.2337 | 0 | 17.2438 | 0 | 207.803 | 19.36 | 974.848 | 72.7943 | 0
2019-09-14 06:45:00 | 0 | 24.9888 | 4.195 | 78.1284 | 0 | 17.2437 | 0 | 207.826 | 19.53 | 974.581 | 73.9194 | 0
2019-09-14 07:00:00 | 0 | 28.3261 | 3.9393 | 83.2696 | 0 | 17.4389 | 0 | 212.823 | 19.35 | 974.738 | 75.2171 | 0
2019-09-14 07:15:00 | 0 | 38.7242 | 3.428 | 84.9207 | 0 | 17.3894 | 0 | 216.563 | 19.45 | 974.848 | 73.201 | 0
2019-09-14 07:30:00 | 0 | 18.898 | 3.1723 | 68.9377 | 0 | 17.3394 | 0 | 215.014 | 19.62 | 974.848 | 74.4237 | 0
2019-09-14 07:45:00 | 0 | 19.9689 | 3.6837 | 70.2006 | 0 | 17.3388 | 0 | 203.146 | 19.55 | 975.293 | 73.5342 | 0
2019-09-14 08:00:00 | 0 | 28.3944 | 3.1723 | 80.4276 | 0 | 17.3386 | 0 | 215.296 | 19.88 | 975.59 | 72.7831 | 0
2019-09-14 08:15:00 | 0 | 31.4628 | 3.428 | 81.5965 | 0 | 17.3386 | 0 | 217.755 | 20.01 | 975.441 | 74.659 | 0
2019-09-14 08:30:00 | 0 | 26.2024 | 3.9393 | 76.4325 | 0 | 17.314 | 0 | 209.668 | 20.03 | 975.441 | 74.351 | 0
2019-09-14 08:45:00 | 0 | 22.6937 | 2.9167 | 71.9435 | 0 | 17.2394 | 0 | 207.603 | 20.29 | 976.005 | 74.2078 | 0
2019-09-14 09:00:00 | 5.9673 | 146.38 | 7.0073 | 195.82 | 6.2403 | 150.423 | 1.2627 | 331.243 | 19.09 | 969.516 | 96.5376 | 0
2019-09-14 09:15:00 | 0 | 157.292 | 3.9393 | 231.014 | 4.195 | 187.834 | 0 | 337.43 | 19.15 | 970.398 | 94.4226 | 0
2019-09-14 09:30:00 | 0 | 194.313 | 4.7063 | 239.222 | 4.4507 | 204.908 | 0 | 11.8858 | 19.6 | 970.704 | 92.9899 | 0
2019-09-14 09:45:00 | 0 | 221.88 | 2.9167 | 279.331 | 2.1497 | 234.764 | 0 | 40.1381 | 19.34 | 970.999 | 96.3992 | 0
2019-09-14 10:00:00 | 0 | 224.951 | 2.4053 | 277.482 | 2.1497 | 241.22 | 0 | 49.5398 | 19.16 | 971.176 | 97.6281 | 0
2019-09-14 10:15:00 | 0 | 254.715 | 1.3827 | 322.397 | 1.6383 | 278.901 | 0 | 75.2601 | 19.2 | 970.713 | 98.311 | 0
2019-09-14 10:30:00 | 0 | 309.955 | 2.9167 | 9.5756 | 2.9167 | 325.348 | 0 | 143.603 | 19.18 | 970.705 | 98.584 | 0
2019-09-14 10:45:00 | 0 | 308.957 | 3.1723 | 11.8578 | 1.6383 | 331 | 0 | 132.643 | 18.87 | 970.804 | 98.9937 | 0
2019-09-14 11:00:00 | 0 | 12.5678 | 1.894 | 56.3808 | 1.127 | 14.3214 | 0 | 176.704 | 18.81 | 970.902 | 99.096 | 0
2019-09-14 11:15:00 | 0 | 327.687 | 2.9167 | 72.4559 | 1.3827 | 318.87 | 0 | 152.567 | 18.73 | 970.755 | 99.3007 | 0
2019-09-14 11:30:00 | 0 | 28.3992 | 3.1723 | 33.1938 | 2.9167 | 313.317 | 0 | 186.032 | 18.66 | 970.762 | 99.403 | 0
2019-09-14 11:45:00 | 0 | 354.211 | 3.6837 | 73.2596 | 1.894 | 333.362 | 0 | 176.533 | 18.46 | 970.802 | 99.5054 | 0
2019-09-14 12:00:00 | 0 | 2.3382 | 4.7063 | 57.0628 | 2.9167 | 35.0241 | 0 | 177.97 | 18.39 | 970.834 | 99.6759 | 0
2019-09-14 12:15:00 | 0 | 37.2405 | 2.661 | 76.7425 | 0 | 7.6965 | 1.5183 | 175.535 | 18.5 | 971.057 | 99.8124 | 0
2019-09-14 12:30:00 | 0 | 7.453 | 0 | 73.2353 | 1.6383 | 332.023 | 0 | 182.354 | 18.54 | 970.763 | 99.9488 | 0
2019-09-14 12:45:00 | 0 | 353.748 | 2.1497 | 35.532 | 2.1497 | 39.4569 | 0 | 164.647 | 18.53 | 970.442 | 99.9147 | 0
2019-09-14 13:00:00 | 0 | 356.915 | 3.1723 | 59.401 | 2.9167 | 337.746 | 3.0523 | 165.841 | 18.53 | 970.254 | 99.9488 | 0
2019-09-14 13:15:00 | 0 | 30.3721 | 1.6383 | 96.1544 | 2.661 | 17.7069 | 0 | 207.222 | 18.55 | 970.256 | 99.9488 | 0
2019-09-14 13:30:00 | 0 | 16.416 | 4.4507 | 64.1748 | 2.4053 | 339.963 | 0 | 185.155 | 18.48 | 970.409 | 99.9488 | 0
2019-09-14 13:45:00 | 0 | 324.156 | 4.962 | 4.3561 | 4.195 | 354.114 | 0.37567 | 143.652 | 18.22 | 970.468 | 99.9488 | 0
2019-09-14 14:00:00 | 0 | 42.5603 | 1.3827 | 99.5243 | 0 | 26.1984 | 0 | 247.351 | 18.98 | 973.601 | 95.2095 | 0
2019-09-14 14:15:00 | 0 | 22.5974 | 0 | 97.8812 | 0 | 0.0487 | 0 | 233.961 | 18.76 | 973.512 | 95.4243 | 0
2019-09-14 14:30:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-14 14:45:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-14 15:00:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-14 15:15:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-14 15:30:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-14 15:45:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-14 16:00:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-14 16:15:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-14 16:30:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-14 16:45:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-14 17:00:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-14 17:15:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-14 17:30:00 | 0 | 126.265 | 3.6837 | 175.157 | 0 | 126.387 | 0 | 307.566 | 20.12 | 972.029 | 81.071 | 0
2019-09-14 17:45:00 | 0 | 142.313 | 2.4053 | 186.456 | 0 | 141.558 | 0 | 302.987 | 20.47 | 971.88 | 79.6044 | 0
2019-09-14 18:00:00 | 0 | 134.545 | 3.9393 | 194.614 | 0 | 120.031 | 0.37567 | 335.546 | 20.55 | 971.583 | 79.2633 | 0
2019-09-14 18:15:00 | 0 | 127.775 | 3.9393 | 177.543 | 0 | 122.734 | 0.37567 | 302.062 | 20.57 | 971.435 | 78.4448 | 0
2019-09-14 18:30:00 | 0 | 113.87 | 2.1497 | 161.13 | 0 | 122.637 | 0 | 325.294 | 20.72 | 971.287 | 78.4789 | 0
2019-09-14 18:45:00 | 0 | 118.886 | 4.7063 | 160.74 | 0 | 130.113 | 1.5183 | 295.097 | 20.72 | 971.287 | 78.7176 | 0
2019-09-14 19:00:00 | 0 | 136.663 | 4.962 | 194.151 | 0 | 131.842 | 2.1497 | 300.235 | 20.86 | 971.583 | 77.9672 | 0
2019-09-14 19:15:00 | 0 | 139.22 | 3.1723 | 163.102 | 0 | 107.441 | 1.2627 | 307.833 | 21.01 | 971.88 | 76.8076 | 0
2019-09-14 19:30:00 | 0 | 115.716 | 3.1723 | 174.516 | 0 | 130.132 | 0 | 306.823 | 21.1 | 971.88 | 76.5319 | 0
2019-09-14 19:45:00 | 0 | 130.739 | 4.195 | 180.505 | 0 | 127.16 | 0 | 304.677 | 21.11 | 972.029 | 76.4629 | 0
2019-09-14 20:00:00 | 0 | 103.247 | 2.9167 | 159.806 | 0 | 163.369 | 0 | 331.413 | 21.05 | 971.88 | 76.8719 | 0
2019-09-14 20:15:00 | 0 | 116.226 | 3.9393 | 170.398 | 0 | 136.242 | 0 | 279.643 | 21.05 | 971.88 | 78.6451 | 0
2019-09-14 20:30:00 | 0 | 127.428 | 4.4507 | 195.262 | 0 | 121.194 | 0 | 305.92 | 21.09 | 972.029 | 76.2585 | 0
2019-09-14 20:45:00 | 0 | 143.786 | 4.962 | 190.87 | 0 | 131.977 | 0.37567 | 313.457 | 21.34 | 972.029 | 76.426 | 0
2019-09-14 21:00:00 | 0 | 109.156 | 5.2177 | 187.647 | 0 | 139.276 | 0 | 307.21 | 21.32 | 972.025 | 75.5703 | 0
2019-09-14 21:15:00 | 0 | 348.487 | 4.962 | 39.8187 | 0 | 16.5865 | 4.962 | 164.891 | 19.44 | 973.532 | 91.7619 | 0
2019-09-14 21:30:00 | 0 | 339.086 | 5.4733 | 23.8654 | 2.4053 | 282.361 | 0 | 161.676 | 19.48 | 973.701 | 92.5123 | 0
2019-09-14 21:45:00 | 0 | 330.123 | 4.4507 | 22.2822 | 0 | 3.0202 | 0 | 157.998 | 19.42 | 973.879 | 92.3759 | 0
2019-09-14 22:00:00 | 0 | 356.16 | 4.962 | 48.3677 | 1.894 | 1.9972 | 2.541 | 165.963 | 19.34 | 973.672 | 91.0796 | 0
2019-09-14 22:15:00 | 1.7653 | 351.727 | 5.4733 | 36.6767 | 3.1723 | 2.3138 | 5.9847 | 168.958 | 19.37 | 973.706 | 90.6021 | 0
2019-09-14 22:30:00 | 0.99933 | 356.915 | 4.7063 | 55.3579 | 3.428 | 16.2455 | 1.774 | 177.507 | 19.24 | 973.47 | 92.3077 | 0
2019-09-14 22:45:00 | 5.8507 | 0.90118 | 5.729 | 55.0169 | 2.4053 | 15.32 | 0.37567 | 178.311 | 19.28 | 973.313 | 87.4637 | 0
2019-09-14 23:00:00 | 8.2653 | 0.87682 | 5.2177 | 49.6098 | 2.1497 | 13.0792 | 2.4053 | 184.084 | 19.5 | 973.216 | 82.8927 | 0
2019-09-14 23:15:00 | 0 | 2.6792 | 6.7517 | 54.7246 | 3.428 | 8.7926 | 0 | 190.66 | 19.55 | 973.168 | 82.1422 | 0
2019-09-14 23:30:00 | 6.6167 | 6.8197 | 7.0073 | 67.8769 | 2.1497 | 22.7973 | 1.1427 | 196.14 | 19.21 | 972.944 | 86.031 | 0
2019-09-14 23:45:00 | 0 | 8.8169 | 5.729 | 57.9883 | 2.661 | 4.0188 | 0 | 190.465 | 19.28 | 973.252 | 82.8245 | 0