## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-15 00:00:00 | 0 | 0.12178 | 4.7063 | 51.266 | 0 | 3.8239 | 0 | 182.622 | 19.43 | 973.653 | 81.6647 | 0
2019-09-15 00:15:00 | 0 | 0.097424 | 5.2177 | 46.3461 | 1.894 | 18.194 | 0.887 | 180.966 | 19.37 | 973.435 | 82.6198 | 0
2019-09-15 00:30:00 | 4.0633 | 356.915 | 7.0073 | 46.1756 | 5.2177 | 0.9986 | 2.9167 | 181.331 | 19.42 | 973.234 | 82.5516 | 0
2019-09-15 00:45:00 | 4.946 | 0.097424 | 5.729 | 55.8693 | 2.4053 | 12.7139 | 3.6837 | 181.989 | 19.23 | 973.436 | 84.9394 | 0
2019-09-15 01:00:00 | 6.2227 | 70.3649 | 7.0073 | 47.5152 | 4.195 | 0.048712 | 5.2177 | 177.313 | 19.05 | 973.321 | 86.031 | 0
2019-09-15 01:15:00 | 10.5633 | 4.6764 | 6.496 | 57.6717 | 2.9167 | 18.3158 | 6.7517 | 189.174 | 18.67 | 973.474 | 88.0095 | 0
2019-09-15 01:30:00 | 10.5633 | 3.7508 | 6.496 | 61.4713 | 3.1723 | 0.24356 | 3.0523 | 188.857 | 18.98 | 973.362 | 83.7455 | 0
2019-09-15 01:45:00 | 7.244 | 8.7682 | 7.0073 | 64.4914 | 1.894 | 15.7584 | 2.1497 | 190.708 | 18.9 | 973.056 | 82.4151 | 0
2019-09-15 02:00:00 | 0 | 7.112 | 6.496 | 56.7705 | 2.661 | 12.787 | 1.5183 | 189.929 | 19.16 | 973.216 | 81.3577 | 0
2019-09-15 02:15:00 | 0 | 13.7856 | 5.4733 | 59.6689 | 0 | 24.2587 | 0 | 198.551 | 19.07 | 973.065 | 84.5983 | 0
2019-09-15 02:30:00 | 0 | 9.231 | 5.9847 | 54.5054 | 0.37567 | 2.6061 | 1.007 | 193.485 | 18.95 | 973.186 | 79.5838 | 0
2019-09-15 02:45:00 | 0 | 6.8684 | 5.729 | 64.7837 | 2.9167 | 2.8253 | 5.9847 | 188.37 | 18.92 | 973.364 | 79.6179 | 0
2019-09-15 03:00:00 | 0 | 2.6305 | 3.428 | 57.0628 | 0 | 21.7987 | 0 | 187.201 | 19.03 | 973.513 | 82.0058 | 0
2019-09-15 03:15:00 | 0 | 17.78 | 4.962 | 67.8769 | 3.1723 | 17.5608 | 2.2853 | 187.201 | 18.72 | 973.364 | 81.9376 | 0
2019-09-15 03:30:00 | 0 | 22.4076 | 5.9847 | 78.8615 | 3.428 | 28.448 | 0 | 206.175 | 18.87 | 972.919 | 83.0974 | 0
2019-09-15 03:45:00 | 3.5527 | 28.1557 | 7.0073 | 76.8643 | 2.9167 | 334.921 | 0.63133 | 210.193 | 18.71 | 972.919 | 78.3217 | 0
2019-09-15 04:00:00 | 2.0207 | 8.3298 | 5.729 | 56.3321 | 0.37567 | 0.75504 | 5.9847 | 194.752 | 19.21 | 973.661 | 74.774 | 0
2019-09-15 04:15:00 | 13.372 | 5.6993 | 5.4733 | 58.4267 | 1.894 | 11.3012 | 11.865 | 191.951 | 19.44 | 973.759 | 75.7974 | 0
2019-09-15 04:30:00 | 12.0953 | 17.5364 | 6.7517 | 71.3842 | 1.894 | 12.9331 | 5.9847 | 203.836 | 19.11 | 973.865 | 76.4796 | 0
2019-09-15 04:45:00 | 8.2653 | 17.6582 | 8.03 | 61.2764 | 4.195 | 19.1439 | 3.9393 | 197.139 | 19.17 | 973.262 | 70.1347 | 0
2019-09-15 05:00:00 | 6.7333 | 18.0966 | 6.2403 | 71.6278 | 2.661 | 14.3945 | 3.9393 | 197.09 | 19.57 | 973.829 | 67.8151 | 0
2019-09-15 05:15:00 | 1.7653 | 10.9603 | 6.7517 | 73.4301 | 0 | 351.045 | 1.2627 | 195.434 | 19.26 | 974.087 | 71.2263 | 0
2019-09-15 05:30:00 | 0 | 16.7327 | 5.729 | 65.0516 | 2.1497 | 9.8399 | 0 | 203.788 | 19.59 | 974.549 | 71.8062 | 0
2019-09-15 05:45:00 | 0 | 18.8516 | 4.962 | 67.0975 | 1.6383 | 10.2296 | 0 | 198.649 | 19.52 | 974.495 | 70.6123 | 0
2019-09-15 06:00:00 | 0 | 9.5963 | 4.7063 | 58.9139 | 2.661 | 17.0493 | 0 | 202.083 | 19.65 | 974.467 | 69.8277 | 0
2019-09-15 06:15:00 | 0 | 20.0936 | 3.1723 | 69.532 | 2.661 | 17.731 | 0 | 205.928 | 19.56 | 974.57 | 72.6581 | 0
2019-09-15 06:30:00 | 0 | 20.0691 | 4.195 | 73.2337 | 0 | 17.2438 | 0 | 207.803 | 19.36 | 974.848 | 72.7943 | 0
2019-09-15 06:45:00 | 0 | 24.9888 | 4.195 | 78.1284 | 0 | 17.2437 | 0 | 207.826 | 19.53 | 974.581 | 73.9194 | 0
2019-09-15 07:00:00 | 0 | 28.3261 | 3.9393 | 83.2696 | 0 | 17.4389 | 0 | 212.823 | 19.35 | 974.738 | 75.2171 | 0
2019-09-15 07:15:00 | 0 | 38.7242 | 3.428 | 84.9207 | 0 | 17.3894 | 0 | 216.563 | 19.45 | 974.848 | 73.201 | 0
2019-09-15 07:30:00 | 0 | 18.898 | 3.1723 | 68.9377 | 0 | 17.3394 | 0 | 215.014 | 19.62 | 974.848 | 74.4237 | 0
2019-09-15 07:45:00 | 0 | 19.9689 | 3.6837 | 70.2006 | 0 | 17.3388 | 0 | 203.146 | 19.55 | 975.293 | 73.5342 | 0
2019-09-15 08:00:00 | 0 | 28.3944 | 3.1723 | 80.4276 | 0 | 17.3386 | 0 | 215.296 | 19.88 | 975.59 | 72.7831 | 0
2019-09-15 08:15:00 | 0 | 31.4628 | 3.428 | 81.5965 | 0 | 17.3386 | 0 | 217.755 | 20.01 | 975.441 | 74.659 | 0
2019-09-15 08:30:00 | 0 | 26.2024 | 3.9393 | 76.4325 | 0 | 17.314 | 0 | 209.668 | 20.03 | 975.441 | 74.351 | 0
2019-09-15 08:45:00 | 0 | 22.6937 | 2.9167 | 71.9435 | 0 | 17.2394 | 0 | 207.603 | 20.29 | 976.005 | 74.2078 | 0
2019-09-15 09:00:00 | 5.9673 | 146.38 | 7.0073 | 195.82 | 6.2403 | 150.423 | 1.2627 | 331.243 | 19.09 | 969.516 | 96.5376 | 0
2019-09-15 09:15:00 | 0 | 157.292 | 3.9393 | 231.014 | 4.195 | 187.834 | 0 | 337.43 | 19.15 | 970.398 | 94.4226 | 0
2019-09-15 09:30:00 | 0 | 194.313 | 4.7063 | 239.222 | 4.4507 | 204.908 | 0 | 11.8858 | 19.6 | 970.704 | 92.9899 | 0
2019-09-15 09:45:00 | 0 | 221.88 | 2.9167 | 279.331 | 2.1497 | 234.764 | 0 | 40.1381 | 19.34 | 970.999 | 96.3992 | 0
2019-09-15 10:00:00 | 0 | 224.951 | 2.4053 | 277.482 | 2.1497 | 241.22 | 0 | 49.5398 | 19.16 | 971.176 | 97.6281 | 0
2019-09-15 10:15:00 | 0 | 254.715 | 1.3827 | 322.397 | 1.6383 | 278.901 | 0 | 75.2601 | 19.2 | 970.713 | 98.311 | 0
2019-09-15 10:30:00 | 0 | 309.955 | 2.9167 | 9.5756 | 2.9167 | 325.348 | 0 | 143.603 | 19.18 | 970.705 | 98.584 | 0
2019-09-15 10:45:00 | 0 | 174.233 | 0.75133 | 271.2 | 0 | 222.977 | 0 | 24.3478 | 19.68 | 974.995 | 65.9506 | 0
2019-09-15 11:00:00 | 0 | 194.101 | 0 | 276.191 | 0 | 235.492 | 0 | 6.7687 | 19.89 | 974.847 | 66.9054 | 0
2019-09-15 11:15:00 | 0 | 161.475 | 0 | 257.565 | 0 | 230.379 | 0 | 5.9409 | 20.37 | 975.143 | 63.0179 | 0
2019-09-15 11:30:00 | 5.9673 | 169.433 | 1.894 | 217.79 | 0 | 166.025 | 0 | 0.24344 | 20.81 | 975.292 | 56.4612 | 0
2019-09-15 11:45:00 | 0 | 194.701 | 2.661 | 240.331 | 0 | 189.686 | 0 | 21.1303 | 20.74 | 974.847 | 58.984 | 0
2019-09-15 12:00:00 | 0 | 204.487 | 2.661 | 254.061 | 0 | 210.622 | 0 | 12.2692 | 20.62 | 974.698 | 62.8026 | 0
2019-09-15 12:15:00 | 0 | 156.773 | 0.75133 | 209.658 | 0 | 162.713 | 0 | 338.036 | 20.75 | 974.847 | 62.939 | 0
2019-09-15 12:30:00 | 0 | 220.794 | 1.3827 | 273.045 | 0 | 245.137 | 0 | 24.9519 | 21.04 | 975.143 | 61.1652 | 0
2019-09-15 12:45:00 | 0 | 260.518 | 1.3827 | 275.889 | 0 | 280.869 | 0 | 63.2917 | 21.49 | 974.847 | 65.9374 | 0
2019-09-15 13:00:00 | 0 | 278.681 | 2.661 | 333.707 | 0 | 293.165 | 0 | 52.5813 | 20.29 | 974.55 | 71.8704 | 0
2019-09-15 13:15:00 | 0 | 279.83 | 1.6383 | 16.7866 | 0 | 300.985 | 0 | 61.3947 | 20.29 | 974.253 | 73.2356 | 0
2019-09-15 13:30:00 | 0 | 306.949 | 1.6383 | 333.859 | 0 | 304.247 | 0 | 36.6128 | 20.02 | 973.957 | 72.9627 | 0
2019-09-15 13:45:00 | 0 | 313.23 | 1.6383 | 15.8616 | 0 | 284.139 | 0 | 134.377 | 20.41 | 974.402 | 73.2356 | 0
2019-09-15 14:00:00 | 0 | 339.01 | 0.75133 | 7.7308 | 0 | 303.42 | 0 | 98.0563 | 20.42 | 974.253 | 73.7129 | 0
2019-09-15 14:15:00 | 0 | 209.89 | 0 | 291.013 | 0 | 270.359 | 0 | 31.6466 | 20.7 | 974.105 | 69.4847 | 0
2019-09-15 14:30:00 | 0 | 233.891 | 1.3827 | 281.688 | 0 | 229.802 | 0 | 28.3114 | 20.52 | 973.808 | 66.4841 | 0
2019-09-15 14:45:00 | 0 | 198.985 | 2.1497 | 240.161 | 0 | 218.217 | 0 | 49.2716 | 21.06 | 973.808 | 67.303 | 0
2019-09-15 15:00:00 | 0 | 205.873 | 2.4053 | 253.621 | 0 | 196.111 | 0 | 36.3204 | 20.63 | 973.363 | 66.8252 | 0
2019-09-15 15:15:00 | 0 | 183.217 | 4.962 | 221.643 | 0 | 185.237 | 0 | 12.2696 | 20.36 | 973.067 | 69.6921 | 0
2019-09-15 15:30:00 | 0 | 202.766 | 4.962 | 251.182 | 0 | 188.352 | 3.9393 | 42.8759 | 20.16 | 972.918 | 72.3605 | 0
2019-09-15 15:45:00 | 0 | 175.158 | 5.9847 | 234.897 | 1.894 | 190.887 | 0 | 0.19478 | 20.08 | 972.981 | 66.5643 | 0
2019-09-15 16:00:00 | 1.6267 | 178.717 | 8.03 | 220.878 | 3.1723 | 171.218 | 2.661 | 1.5583 | 20.2 | 972.854 | 50.0267 | 0
2019-09-15 16:15:00 | 6.9887 | 192.664 | 6.496 | 236.901 | 3.428 | 182.875 | 2.9167 | 13.2712 | 19.94 | 973.067 | 55.8637 | 0
2019-09-15 16:30:00 | 0 | 188.19 | 7.0073 | 236.473 | 3.428 | 185.025 | 0.887 | 1.6072 | 19.59 | 972.919 | 60.1632 | 0
2019-09-15 16:45:00 | 0 | 186.804 | 5.9847 | 236.816 | 2.1497 | 176.795 | 0 | 10.9097 | 19.28 | 972.77 | 63.2333 | 0
2019-09-15 17:00:00 | 0 | 185.757 | 4.7063 | 237.327 | 2.1497 | 183.711 | 3.1723 | 2.8248 | 19.15 | 973.067 | 65.6889 | 0
2019-09-15 17:15:00 | 0 | 183.103 | 4.195 | 236.379 | 1.894 | 177.454 | 0 | 7.3056 | 18.87 | 973.067 | 65.8256 | 0
2019-09-15 17:30:00 | 0 | 186.023 | 5.2177 | 243.35 | 2.4053 | 186.388 | 0 | 12.8594 | 18.67 | 972.77 | 66.4473 | 0
2019-09-15 17:45:00 | 0 | 184.715 | 4.7063 | 233.374 | 1.6383 | 171.417 | 0 | 8.3784 | 18.61 | 972.775 | 68.4966 | 0
2019-09-15 18:00:00 | 0 | 188.297 | 5.9847 | 234.034 | 2.4053 | 183.694 | 0 | 11.6422 | 18.56 | 973.283 | 66.1095 | 0
2019-09-15 18:15:00 | 0 | 176.485 | 4.7063 | 225.656 | 1.894 | 172.563 | 0 | 5.9916 | 18.61 | 972.963 | 66.1436 | 0
2019-09-15 18:30:00 | 0 | 176.923 | 5.729 | 224.925 | 2.661 | 183.645 | 0 | 356.817 | 18.85 | 972.852 | 64.8815 | 0
2019-09-15 18:45:00 | 0 | 157.048 | 5.4733 | 205.806 | 2.1497 | 165.865 | 3.6837 | 345.37 | 18.43 | 972.749 | 66.553 | 0
2019-09-15 19:00:00 | 0 | 157.341 | 4.7063 | 202.445 | 2.1497 | 164.745 | 0.37567 | 351.678 | 18.06 | 972.77 | 65.973 | 0
2019-09-15 19:15:00 | 0 | 178.725 | 5.729 | 212.455 | 2.661 | 152.469 | 0.37567 | 1.0717 | 17.75 | 972.77 | 68.8385 | 0
2019-09-15 19:30:00 | 0 | 165.281 | 5.729 | 209.508 | 2.661 | 167.302 | 2.9167 | 353.968 | 17.69 | 972.77 | 64.9497 | 0
2019-09-15 19:45:00 | 0 | 170.858 | 7.0073 | 205.976 | 3.6837 | 151.325 | 1.1427 | 0.19485 | 17.76 | 972.919 | 60.788 | 0
2019-09-15 20:00:00 | 4.6907 | 193.948 | 7.7743 | 234.034 | 4.4507 | 183.596 | 2.661 | 351.24 | 17.96 | 972.77 | 57.3768 | 0
2019-09-15 20:15:00 | 2.9033 | 181.892 | 8.797 | 218.909 | 6.496 | 160.994 | 3.8193 | 3.7021 | 18.02 | 973.067 | 57.445 | -0.036949
2019-09-15 20:30:00 | 3.5527 | 180.479 | 8.5413 | 227.093 | 8.5413 | 182.671 | 4.962 | 1.0717 | 18.14 | 972.77 | 58.1955 | -0.036949
2019-09-15 20:45:00 | 8.5207 | 181.916 | 7.263 | 233.158 | 5.9847 | 187.956 | 4.4507 | 10.9603 | 17.87 | 972.77 | 59.9693 | -0.036949
2019-09-15 21:00:00 | 8.776 | 179.212 | 7.5187 | 209.191 | 6.7517 | 158.631 | 2.661 | 355.551 | 17.77 | 972.77 | 61.6749 | -0.073897
2019-09-15 21:15:00 | 0 | 150.326 | 6.2403 | 204.052 | 5.729 | 164.087 | 4.962 | 356.769 | 17.67 | 973.067 | 65.359 | -0.055423
2019-09-15 21:30:00 | 0 | 195.458 | 4.962 | 228.238 | 4.7063 | 188.175 | 2.7967 | 14.6867 | 17.46 | 973.067 | 63.9263 | -0.055423
2019-09-15 21:45:00 | 0 | 197.776 | 5.4733 | 240.714 | 4.962 | 198.409 | 0 | 10.3272 | 17.44 | 973.364 | 67.5437 | 0.092371
2019-09-15 22:00:00 | 0 | 197.241 | 4.962 | 242.42 | 4.962 | 191.054 | 0 | 15.8563 | 17.52 | 973.364 | 64.7126 | 0.24016
2019-09-15 22:15:00 | 0 | 189.13 | 5.4733 | 234.43 | 4.7063 | 181.068 | 0 | 13.0552 | 17.95 | 973.067 | 58.8792 | 0.86829
2019-09-15 22:30:00 | 0 | 189.345 | 5.4733 | 234.546 | 3.6837 | 200.743 | 5.9847 | 13.4689 | 18.26 | 972.77 | 60.9245 | 0.96066
2019-09-15 22:45:00 | 0 | 185.692 | 4.4507 | 235.009 | 3.6837 | 184.157 | 0 | 8.2811 | 18.7 | 973.216 | 60.3106 | 0.62812
2019-09-15 23:00:00 | 0 | 194.143 | 4.195 | 235.106 | 3.1723 | 173.416 | 0 | 15.2957 | 18.85 | 973.067 | 59.4235 | 0.53575
2019-09-15 23:15:00 | 0 | 202.107 | 5.2177 | 242.072 | 3.9393 | 190.976 | 4.7063 | 29.1299 | 19.02 | 973.364 | 58.0931 | 0.29559
2019-09-15 23:30:00 | 0 | 198.259 | 3.9393 | 239.539 | 3.428 | 186.081 | 0 | 22.9191 | 18.94 | 973.363 | 57.445 | 0.40643
2019-09-15 23:45:00 | 0 | 212.142 | 4.4507 | 244.167 | 4.962 | 197.577 | 4.4507 | 38.7506 | 19.02 | 973.191 | 57.1721 | 0.38796