## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-16 00:00:00 | 0 | 232.114 | 4.4507 | 267.013 | 4.4507 | 232.114 | 0 | 39.6031 | 18.94 | 973.504 | 57.5815 | 0.14779
2019-09-16 00:15:00 | 0 | 223.979 | 5.2177 | 267.5 | 3.6837 | 217.598 | 5.9847 | 51.976 | 18.96 | 973.481 | 57.5132 | 0.11084
2019-09-16 00:30:00 | 0 | 225.246 | 4.195 | 283.088 | 3.428 | 229.532 | 5.9847 | 43.5001 | 18.93 | 973.315 | 57.1039 | 0.12932
2019-09-16 00:45:00 | 0 | 224.612 | 4.7063 | 257.806 | 3.6837 | 213.749 | 4.962 | 48.1764 | 18.5 | 973.339 | 56.8992 | 0.073897
2019-09-16 01:00:00 | 0 | 214.505 | 4.195 | 254.25 | 3.9393 | 207.734 | 5.9847 | 37.5328 | 18.33 | 972.755 | 57.7861 | 0.11084
2019-09-16 01:15:00 | 0 | 212.142 | 3.9393 | 245.969 | 3.6837 | 190.684 | 0 | 33.441 | 18.08 | 972.77 | 59.9011 | 0
2019-09-16 01:30:00 | 1.51 | 205.03 | 3.1723 | 247.284 | 2.4053 | 182.233 | 2.9167 | 28.7646 | 17.87 | 972.474 | 59.8329 | -0.036949
2019-09-16 01:45:00 | 0 | 204.251 | 4.195 | 243.947 | 3.428 | 192.998 | 0 | 33.3192 | 17.9 | 972.474 | 57.9226 | 0.036949
2019-09-16 02:00:00 | 0 | 206.686 | 4.7063 | 249.038 | 4.4507 | 196.992 | 0 | 34.6101 | 18.01 | 972.177 | 54.2385 | -0.055423
2019-09-16 02:15:00 | 0 | 210.096 | 4.962 | 250.986 | 3.1723 | 200.11 | 0 | 39.871 | 18.62 | 972.177 | 52.6011 | -0.055423
2019-09-16 02:30:00 | 0 | 206.735 | 4.7063 | 246.334 | 3.428 | 196.651 | 4.962 | 34.3665 | 18.66 | 972.325 | 53.0786 | 0.018474
2019-09-16 02:45:00 | 0 | 202.278 | 4.7063 | 242.9 | 3.428 | 192.754 | 0 | 29.0082 | 18.63 | 972.474 | 52.9422 | -0.11084
2019-09-16 03:00:00 | 0 | 209.146 | 3.428 | 248.283 | 2.661 | 200.281 | 0 | 35.3408 | 18.64 | 972.474 | 54.5796 | -0.092371
2019-09-16 03:15:00 | 0 | 207.271 | 1.894 | 246.895 | 1.3827 | 191.293 | 0 | 34.2447 | 18.43 | 972.474 | 57.3768 | -0.092371
2019-09-16 03:30:00 | 0 | 221.154 | 1.3827 | 253.617 | 1.894 | 256.957 | 0 | 44.3282 | 18.19 | 972.474 | 58.1955 | -0.092371
2019-09-16 03:45:00 | 0 | 204.351 | 1.6383 | 252.598 | 1.127 | 230.656 | 0 | 20.6543 | 17.86 | 972.474 | 60.9935 | -0.092371
2019-09-16 04:00:00 | 0 | 177.147 | 2.4053 | 223.714 | 1.6383 | 201.723 | 0 | 8.9389 | 17.32 | 972.325 | 61.6083 | -0.092371
2019-09-16 04:15:00 | 0 | 176.879 | 1.127 | 212.314 | 0.75133 | 144.533 | 0 | 5.3098 | 17.4 | 972.177 | 63.6209 | -0.092371
2019-09-16 04:30:00 | 0 | 176.891 | 0.75133 | 212.306 | 0 | 144.591 | 0 | 10.7664 | 17.11 | 972.325 | 63.5911 | -0.092371
2019-09-16 04:45:00 | 0 | 176.926 | 1.127 | 213.278 | 0 | 195.247 | 0 | 7.918 | 17.01 | 972.474 | 65.0368 | -0.092371
2019-09-16 05:00:00 | 0 | 183.56 | 1.3827 | 223.764 | 1.127 | 178.882 | 0 | 4.1906 | 16.68 | 972.77 | 68.0424 | -0.092371
2019-09-16 05:15:00 | 0 | 177.178 | 0 | 217.578 | 0.75133 | 165.435 | 0 | 5.5551 | 16.84 | 972.622 | 65.5519 | -0.092371
2019-09-16 05:30:00 | 0 | 208.925 | 1.3827 | 242.113 | 1.3827 | 175.546 | 0 | 34.2077 | 17.18 | 972.77 | 66.4733 | -0.092371
2019-09-16 05:45:00 | 0 | 208.925 | 0 | 242.113 | 0 | 181.125 | 0 | 32.5265 | 16.69 | 972.919 | 67.3605 | -0.092371
2019-09-16 06:00:00 | 0 | 208.998 | 1.127 | 242.113 | 0 | 181.125 | 0 | 34.4026 | 16.7 | 972.77 | 67.7017 | -0.092371
2019-09-16 06:15:00 | 0 | 208.998 | 1.127 | 242.113 | 0 | 181.15 | 0 | 34.4513 | 16.99 | 973.216 | 67.0875 | -0.092371
2019-09-16 06:30:00 | 0 | 208.998 | 1.127 | 242.892 | 0 | 193.088 | 0 | 34.427 | 17.06 | 973.364 | 68.1112 | -0.092371
2019-09-16 06:45:00 | 0 | 208.99 | 0 | 242.906 | 0 | 193.105 | 0 | 34.45 | 17.11 | 973.661 | 65.72 | -0.092371
2019-09-16 07:00:00 | 0 | 243.227 | 0.37567 | 242.859 | 0 | 192.906 | 0 | 64.984 | 18.56 | 974.106 | 57.7195 | -0.092371
2019-09-16 07:15:00 | 0 | 228.749 | 0.75133 | 259.165 | 1.127 | 254.469 | 0 | 21.9202 | 18.35 | 974.324 | 67.6775 | -0.092371
2019-09-16 07:30:00 | 0 | 219.29 | 1.127 | 258.587 | 1.3827 | 194.086 | 0 | 50.0921 | 18.84 | 974.848 | 62.2784 | -0.092371
2019-09-16 07:45:00 | 0 | 218.401 | 1.894 | 279.383 | 1.127 | 265.685 | 0 | 25.9062 | 18.35 | 974.818 | 70.1794 | -0.092371
2019-09-16 08:00:00 | 0 | 239.484 | 1.894 | 282.496 | 2.1497 | 231.255 | 1.2627 | 59.9441 | 17.87 | 974.847 | 76.1122 | -0.092371
2019-09-16 08:15:00 | 0 | 253.444 | 1.894 | 300.268 | 1.6383 | 267.198 | 0 | 56.5994 | 18.12 | 975.292 | 76.1683 | -0.092371
2019-09-16 08:30:00 | 0 | 276.517 | 0.75133 | 290.571 | 0.75133 | 226.788 | 0 | 121.512 | 19.16 | 975.44 | 71.5239 | -0.092371
2019-09-16 08:45:00 | 0 | 319.142 | 1.127 | 327.155 | 1.127 | 281.102 | 0 | 146.538 | 19.23 | 976.004 | 72.2636 | -0.092371
2019-09-16 09:00:00 | 0 | 315.533 | 2.1497 | 1.9188 | 2.661 | 286.622 | 0 | 254.451 | 19.66 | 976.333 | 70.7567 | -0.092371
2019-09-16 09:15:00 | 0 | 39.7137 | 1.3827 | 23.2178 | 0.37567 | 12.3619 | 0 | 242.005 | 19.7 | 976.477 | 73.9574 | -0.092371
2019-09-16 09:30:00 | 0 | 324.405 | 1.894 | 10.8259 | 1.894 | 292.015 | 0 | 208.888 | 20.24 | 976.773 | 71.5383 | -0.11084
2019-09-16 09:45:00 | 0 | 32.7053 | 1.127 | 63.7099 | 1.894 | 336.543 | 0 | 199.249 | 20.63 | 977.286 | 70.14 | -0.11084
2019-09-16 10:00:00 | 0 | 22.8685 | 1.6383 | 321.227 | 1.894 | 309.26 | 0 | 272.573 | 21.41 | 977.09 | 70.5313 | -0.11084
2019-09-16 10:15:00 | 0 | 2.0921 | 0 | 68.8425 | 0.75133 | 53.0331 | 0 | 230.013 | 20.92 | 977.068 | 68.6201 | -0.11084
2019-09-16 10:30:00 | 0 | 328.659 | 2.4053 | 24.3726 | 1.6383 | 312.603 | 0 | 187.367 | 21.25 | 977.068 | 68.4498 | -0.11084
2019-09-16 10:45:00 | 0 | 5.8872 | 2.4053 | 37.9228 | 1.6383 | 342.039 | 0 | 198.266 | 21.62 | 977.068 | 64.3612 | -0.11084
2019-09-16 11:00:00 | 0 | 267.136 | 2.661 | 314.06 | 1.894 | 284.603 | 0 | 113.656 | 22.36 | 977.068 | 64.7019 | -0.12932
2019-09-16 11:15:00 | 0 | 349.24 | 0.75133 | 31.2815 | 3.1723 | 309.051 | 0 | 184.302 | 22.18 | 977.217 | 63.4412 | -0.12932
2019-09-16 11:30:00 | 0 | 295.526 | 1.894 | 329.386 | 2.4053 | 283.411 | 0 | 271.417 | 21.53 | 976.624 | 67.0869 | -0.12932
2019-09-16 11:45:00 | 0 | 305.159 | 2.9167 | 13.7174 | 2.9167 | 330.897 | 0 | 142.241 | 22.06 | 976.476 | 64.1567 | -0.12932
2019-09-16 12:00:00 | 0 | 288.909 | 3.428 | 18.735 | 3.1723 | 289.517 | 0 | 101.833 | 21.59 | 976.327 | 68.075 | -0.16627
2019-09-16 12:15:00 | 0 | 307.397 | 4.4507 | 0.90357 | 4.4507 | 324.188 | 0 | 135.301 | 21.95 | 976.601 | 65.9834 | -0.11084
2019-09-16 12:30:00 | 0 | 275.701 | 3.9393 | 336.829 | 2.661 | 322.202 | 0 | 101.764 | 21.75 | 976.477 | 66.4235 | -0.12932
2019-09-16 12:45:00 | 0 | 319.397 | 3.6837 | 17.6152 | 3.1723 | 307.595 | 0 | 132.431 | 21.89 | 976.773 | 66.8703 | -0.16627
2019-09-16 13:00:00 | 0 | 260.632 | 4.7063 | 303.514 | 5.2177 | 266.375 | 0 | 81.0855 | 22.23 | 976.328 | 64.2467 | -0.14779
2019-09-16 13:15:00 | 0 | 254.84 | 2.9167 | 296.652 | 3.1723 | 235.08 | 0 | 71.0836 | 22.48 | 976.328 | 64.0082 | -0.14779
2019-09-16 13:30:00 | 0 | 301.515 | 4.7063 | 12.018 | 4.4507 | 317.285 | 0 | 125.108 | 23.3 | 976.18 | 60.9407 | -0.12932
2019-09-16 13:45:00 | 0 | 312.783 | 4.4507 | 3.1916 | 4.962 | 302.148 | 0 | 128.71 | 22.61 | 976.328 | 62.1336 | -0.14779
2019-09-16 14:00:00 | 0 | 305.506 | 3.9393 | 18.3939 | 4.4507 | 277.375 | 0 | 111.456 | 22.86 | 976.18 | 61.6223 | -0.12932
2019-09-16 14:15:00 | 0 | 296.232 | 3.428 | 14.8653 | 2.661 | 290.659 | 0 | 107.78 | 22.84 | 976.773 | 61.1447 | -0.16627
2019-09-16 14:30:00 | 0 | 283.12 | 2.9167 | 323.127 | 3.428 | 287.16 | 0 | 113.443 | 23.56 | 977.07 | 61.1405 | -0.14779
2019-09-16 14:45:00 | 0 | 31.1487 | 3.6837 | 61.7411 | 1.6383 | 181.587 | 0 | 159.394 | 24.02 | 976.625 | 61.6894 | -0.14779
2019-09-16 15:00:00 | 0 | 23.2151 | 1.127 | 64.7814 | 1.127 | 0.048669 | 0 | 206.916 | 23.26 | 976.753 | 57.0532 | -0.14779
2019-09-16 15:15:00 | 0 | 310.692 | 4.195 | 14.7452 | 3.1723 | 305.996 | 0 | 171.463 | 24.12 | 976.934 | 61.6375 | -0.073897
2019-09-16 15:30:00 | 0 | 298.153 | 3.6837 | 336.83 | 3.428 | 293.92 | 0 | 130.491 | 23.58 | 976.624 | 62.4191 | -0.11084
2019-09-16 15:45:00 | 0 | 26.3708 | 2.661 | 61.4965 | 2.9167 | 336.203 | 0 | 228.871 | 23.64 | 976.031 | 64.7365 | -0.073897
2019-09-16 16:00:00 | 0 | 8.1998 | 3.9393 | 5.889 | 2.9167 | 313.612 | 0 | 216.115 | 23.52 | 975.896 | 63.692 | -0.092371
2019-09-16 16:15:00 | 0 | 337.549 | 5.2177 | 92.1839 | 1.894 | 354.803 | 0.37567 | 106.198 | 23.05 | 976.031 | 66.1201 | 0.35101
2019-09-16 16:30:00 | 0 | 337.991 | 3.6837 | 8.3727 | 2.661 | 3.212 | 0 | 154.736 | 22.94 | 976.18 | 65.2298 | 0.36949
2019-09-16 16:45:00 | 0 | 344.733 | 2.9167 | 87.9269 | 3.1723 | 33.7773 | 4.962 | 141.534 | 22.86 | 975.884 | 64.4169 | 1.1824
2019-09-16 17:00:00 | 0 | 348.58 | 2.9167 | 18.1579 | 2.1497 | 5.9378 | 0 | 159.543 | 22.75 | 975.735 | 66.2236 | 1.053
2019-09-16 17:15:00 | 0 | 330.815 | 5.9847 | 18.0362 | 1.894 | 351.646 | 2.0297 | 148.957 | 22.41 | 975.043 | 68.2345 | 1.1269
2019-09-16 17:30:00 | 0 | 335.737 | 4.962 | 19.5271 | 3.6837 | 0.048679 | 0 | 153.557 | 22.17 | 975.139 | 69.3365 | 0.73897
2019-09-16 17:45:00 | 0 | 328.324 | 4.7063 | 13.8327 | 3.9393 | 0.04868 | 0 | 148.207 | 22.02 | 975.143 | 69.475 | 1.0346
2019-09-16 18:00:00 | 0 | 12.5612 | 4.4507 | 67.4417 | 4.7063 | 11.6849 | 0 | 175.224 | 21.85 | 974.253 | 70.1664 | 2.0506
2019-09-16 18:15:00 | 0 | 6.1833 | 4.195 | 52.8363 | 4.195 | 8.4473 | 0.37567 | 186.351 | 21.64 | 973.956 | 72.2127 | 0.99761
2019-09-16 18:30:00 | 0 | 0.12174 | 4.7063 | 51.8254 | 5.2177 | 6.3791 | 0.887 | 181.511 | 21.45 | 974.105 | 72.7018 | 3.4177
2019-09-16 18:45:00 | 0 | 7.4017 | 4.4507 | 56.5008 | 3.1723 | 14.1948 | 5.4733 | 191.228 | 21.32 | 974.253 | 73.8278 | 3.2145
2019-09-16 19:00:00 | 0 | 13.1478 | 5.729 | 65.7287 | 3.428 | 17.9687 | 0 | 194.661 | 21.16 | 973.748 | 75.5328 | 3.1776
2019-09-16 19:15:00 | 0 | 16.265 | 6.2403 | 64.6365 | 3.428 | 34.3805 | 0 | 197.469 | 20.96 | 974.089 | 74.8879 | 2.7896
2019-09-16 19:30:00 | 0 | 14.0506 | 5.2177 | 69.1249 | 3.9393 | 27.882 | 4.4507 | 202.698 | 20.85 | 974.101 | 74.9972 | 2.0137
2019-09-16 19:45:00 | 0 | 12.176 | 5.9847 | 65.7433 | 4.4507 | 15.8044 | 0 | 195.278 | 21.05 | 974.254 | 72.9877 | 1.829
2019-09-16 20:00:00 | 0 | 20.0173 | 4.962 | 67.7645 | 4.195 | 19.165 | 0 | 203.339 | 21.03 | 974.699 | 73.6016 | 1.6996
2019-09-16 20:15:00 | 0 | 16.8516 | 5.729 | 68.9821 | 3.6837 | 33.1187 | 4.195 | 200.076 | 21.11 | 974.848 | 72.7831 | 1.1269
2019-09-16 20:30:00 | 0 | 16.608 | 5.729 | 62.1149 | 3.9393 | 40.2051 | 0 | 201.099 | 20.94 | 974.848 | 73.397 | 1.3486
2019-09-16 20:45:00 | 0 | 14.6355 | 5.9847 | 69.4204 | 3.6837 | 14.6599 | 0 | 198.956 | 20.78 | 974.848 | 73.6698 | 1.1454
2019-09-16 21:00:00 | 0 | 13.2475 | 5.4733 | 68.4464 | 3.9393 | 18.264 | 0 | 197.105 | 20.72 | 974.996 | 74.6248 | 0.81287
2019-09-16 21:15:00 | 0 | 23.4266 | 4.962 | 74.6561 | 3.428 | 29.8068 | 0 | 205.677 | 20.75 | 974.551 | 74.2837 | 0.6466
2019-09-16 21:30:00 | 0 | 24.6929 | 4.962 | 77.3105 | 3.6837 | 30.5861 | 0 | 208.769 | 20.81 | 974.848 | 73.7039 | 0.5727
2019-09-16 21:45:00 | 0 | 12.5656 | 4.4507 | 66.693 | 3.6837 | 14.4651 | 2.7967 | 199.564 | 20.91 | 974.996 | 74.4202 | 0.38796
2019-09-16 22:00:00 | 0 | 24.7416 | 5.2177 | 72.7323 | 3.6837 | 27.396 | 0 | 206.602 | 20.51 | 974.996 | 76.8076 | 0.46186
2019-09-16 22:15:00 | 0 | 18.4588 | 5.4733 | 63.1376 | 3.428 | 27.6882 | 0 | 202.925 | 20.41 | 974.848 | 77.6944 | 0.44338
2019-09-16 22:30:00 | 0 | 22.5012 | 5.4733 | 71.2712 | 3.9393 | 18.6049 | 0 | 207.235 | 20.29 | 974.848 | 78.9222 | 1.0715
2019-09-16 22:45:00 | 0 | 31.2679 | 5.4733 | 78.5768 | 3.428 | 36.8932 | 0 | 214.711 | 20.05 | 974.699 | 80.5593 | 1.0161
2019-09-16 23:00:00 | 0 | 41.6906 | 4.195 | 94.5273 | 2.9167 | 38.5735 | 0 | 231.904 | 19.85 | 974.848 | 78.9904 | 0.38796
2019-09-16 23:15:00 | 0 | 45.6356 | 5.2177 | 91.4347 | 3.9393 | 31.755 | 0 | 229.858 | 20.66 | 974.848 | 77.7286 | 0.73897
2019-09-16 23:30:00 | 0 | 45.0025 | 4.7063 | 85.298 | 1.6383 | 0.048704 | 0 | 230.565 | 20.3 | 975.144 | 77.865 | 1.09
2019-09-16 23:45:00 | 0 | 75.7834 | 3.6837 | 112.475 | 3.1723 | 65.5555 | 0 | 245.517 | 20.56 | 975.293 | 73.8745 | 0.83134