## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-17 00:00:00 | 0 | 54.4023 | 4.4507 | 98.3994 | 3.6837 | 64.4354 | 0 | 235.971 | 20.96 | 975.144 | 69.3043 | 0.27711
2019-09-17 00:15:00 | 0 | 40.3512 | 2.661 | 100.396 | 2.9167 | 47.5838 | 0 | 255.55 | 21.15 | 974.848 | 70.3275 | 0
2019-09-17 00:30:00 | 0 | 22.5256 | 2.9167 | 62.1149 | 2.661 | 5.7471 | 0 | 218.218 | 20.81 | 974.996 | 72.4421 | -0.18474
2019-09-17 00:45:00 | 0 | 23.9624 | 1.894 | 73.0733 | 2.1497 | 45.0512 | 0 | 253.188 | 20.75 | 974.996 | 71.9646 | -0.14779
2019-09-17 01:00:00 | 0 | 33.1187 | 2.1497 | 91.7513 | 1.6383 | 65.0198 | 0 | 247.806 | 20.82 | 975.293 | 70.6685 | -0.12932
2019-09-17 01:15:00 | 0 | 32.6317 | 2.4053 | 89.1943 | 2.1497 | 29.612 | 0 | 227.715 | 20.96 | 974.848 | 72.7831 | -0.12932
2019-09-17 01:30:00 | 0 | 33.1187 | 1.6383 | 183.485 | 1.6383 | 90.1511 | 0 | 313.02 | 20.92 | 975.144 | 69.5771 | -0.12932
2019-09-17 01:45:00 | 0.99933 | 140.316 | 3.1723 | 208.105 | 2.4053 | 148.109 | 0 | 342.194 | 20.53 | 974.848 | 75.0341 | -0.12932
2019-09-17 02:00:00 | 0 | 135.982 | 0.75133 | 217.334 | 0 | 144.212 | 0 | 233.389 | 20.26 | 974.996 | 75.6481 | -0.12932
2019-09-17 02:15:00 | 0 | 16.4619 | 2.9167 | 64.0631 | 2.661 | 18.6049 | 0 | 192.356 | 20.37 | 974.699 | 76.8077 | -0.14779
2019-09-17 02:30:00 | 0 | 19.092 | 0 | 67.4723 | 1.6383 | 120.299 | 0 | 211.4 | 19.97 | 974.551 | 76.2279 | -0.12932
2019-09-17 02:45:00 | 0 | 152.986 | 0 | 207.116 | 1.127 | 143.196 | 0 | 89.8139 | 19.65 | 974.254 | 74.7303 | -0.12932
2019-09-17 03:00:00 | 0 | 179.876 | 1.127 | 221.784 | 1.3827 | 166.579 | 0 | 64.1233 | 19.96 | 974.699 | 76.9495 | -0.14779
2019-09-17 03:15:00 | 0.744 | 201.072 | 2.9167 | 235.578 | 3.1723 | 189.089 | 0 | 35.7526 | 19.81 | 974.551 | 81.6597 | -0.16627
2019-09-17 03:30:00 | 0 | 203.782 | 2.661 | 239.337 | 2.4053 | 179.159 | 0 | 55.1894 | 19.49 | 974.551 | 82.8221 | -0.12932
2019-09-17 03:45:00 | 0 | 215.892 | 2.4053 | 250.206 | 1.894 | 167.375 | 0 | 57.8214 | 19.85 | 974.868 | 80.573 | -0.12932
2019-09-17 04:00:00 | 0 | 235.955 | 2.4053 | 276.21 | 1.6383 | 179.743 | 0 | 64.2008 | 20.06 | 975.168 | 77.0913 | -0.12932
2019-09-17 04:15:00 | 0 | 238.441 | 1.894 | 257.849 | 1.3827 | 179.476 | 0 | 76.2574 | 20.22 | 974.849 | 75.3864 | -0.12932
2019-09-17 04:30:00 | 0 | 272.316 | 1.894 | 307.889 | 1.127 | 198.331 | 0 | 94.0757 | 20.53 | 975.293 | 74.3552 | -0.12932
2019-09-17 04:45:00 | 0 | 274.498 | 1.3827 | 327.506 | 1.3827 | 198.324 | 0 | 99.8684 | 20.58 | 975.293 | 74.8302 | -0.12932
2019-09-17 05:00:00 | 0 | 243.349 | 1.6383 | 323.071 | 0.75133 | 198.323 | 0 | 85.6703 | 20.5 | 975.293 | 75.1024 | -0.12932
2019-09-17 05:15:00 | 0 | 268.798 | 1.6383 | 10.3566 | 1.6383 | 248.586 | 0 | 94.8758 | 20.32 | 975.59 | 76.7397 | -0.16627
2019-09-17 05:30:00 | 0 | 315.283 | 2.1497 | 17.8456 | 1.894 | 248.651 | 0 | 125.373 | 19.57 | 975.145 | 79.0983 | -0.14779
2019-09-17 05:45:00 | 0 | 337.52 | 2.1497 | 46.3446 | 2.9167 | 256.172 | 0 | 155.437 | 18.33 | 975.145 | 88.4169 | -0.12932
2019-09-17 06:00:00 | 3.042 | 342.35 | 3.1723 | 55.8937 | 3.1723 | 279.56 | 0 | 152.932 | 17.78 | 975.154 | 96.6058 | -0.14779
2019-09-17 06:15:00 | 0 | 347.221 | 3.1723 | 43.5208 | 2.9167 | 279.365 | 0 | 141.996 | 17.57 | 975.587 | 97.1516 | -0.14779
2019-09-17 06:30:00 | 0 | 334.897 | 3.428 | 23.3539 | 3.1723 | 279.365 | 0 | 160.02 | 18.18 | 975.739 | 89.3058 | -0.12932
2019-09-17 06:45:00 | 0 | 0 | 2.4053 | 28.1277 | 1.894 | 279.073 | 0 | 195.19 | 18.87 | 975.739 | 86.8497 | -0.12932
2019-09-17 07:00:00 | 0 | 3.0202 | 3.428 | 52.8735 | 2.4053 | 279.17 | 0 | 195.969 | 19.27 | 976.184 | 83.3021 | -0.12932
2019-09-17 07:15:00 | 0 | 19.7772 | 3.428 | 64.3696 | 3.1723 | 279.365 | 0 | 205.907 | 19.15 | 976.21 | 84.4278 | -0.12932
2019-09-17 07:30:00 | 0 | 26.7917 | 3.6837 | 80.1524 | 3.428 | 26.1098 | 0 | 211.265 | 18.95 | 975.973 | 81.9376 | -0.12932
2019-09-17 07:45:00 | 0 | 41.7946 | 3.428 | 93.1814 | 3.428 | 44.2301 | 0 | 231.21 | 19.64 | 976.219 | 74.7389 | -0.12932
2019-09-17 08:00:00 | 0 | 65.0454 | 1.127 | 108.581 | 1.894 | 63.0241 | 0 | 275.499 | 20.8 | 977.074 | 64.3941 | -0.12932
2019-09-17 08:15:00 | 0 | 127.943 | 1.127 | 110.329 | 0.37567 | 82.1133 | 0 | 312.819 | 21.92 | 977.667 | 65.8923 | -0.12932
2019-09-17 08:30:00 | 1.51 | 165.906 | 2.661 | 202.588 | 1.3827 | 90.5985 | 0 | 356.258 | 21.62 | 977.828 | 71.2704 | -0.12932
2019-09-17 08:45:00 | 0 | 193.102 | 1.3827 | 274.96 | 1.6383 | 215.645 | 0 | 75.6388 | 21.26 | 977.813 | 80.0237 | -0.12932
2019-09-17 09:00:00 | 0 | 224.157 | 0 | 238.189 | 0 | 166.413 | 0 | 11.4902 | 21.21 | 978.258 | 80.4637 | -0.12932
2019-09-17 09:15:00 | 0 | 129.702 | 2.4053 | 191.544 | 0.37567 | 166.411 | 0 | 306.97 | 21.41 | 978.258 | 78.6558 | -0.12932
2019-09-17 09:30:00 | 0 | 141.497 | 2.9167 | 185.928 | 2.661 | 146.827 | 0 | 320.138 | 21.45 | 978.852 | 73.4333 | -0.14779
2019-09-17 09:45:00 | 0 | 175.537 | 2.4053 | 212.443 | 2.1497 | 171.107 | 0 | 332.381 | 22.07 | 979.143 | 69.5415 | -0.036949
2019-09-17 10:00:00 | 0 | 143.797 | 3.6837 | 193.408 | 3.1723 | 157.719 | 0 | 331.576 | 22.28 | 978.692 | 69.8138 | 0.073897
2019-09-17 10:15:00 | 0.372 | 152.609 | 2.661 | 201.173 | 1.894 | 152.95 | 0 | 337.784 | 22.02 | 978.703 | 64.2918 | -0.055423
2019-09-17 10:30:00 | 0 | 198.27 | 1.3827 | 244.084 | 1.6383 | 176.315 | 0 | 353.605 | 22.39 | 978.851 | 65.8599 | -0.073897
2019-09-17 10:45:00 | 0 | 179.09 | 2.9167 | 237.512 | 2.9167 | 203.843 | 0 | 0.19472 | 22.73 | 978.549 | 67.2916 | -0.12932
2019-09-17 11:00:00 | 0 | 171.253 | 1.894 | 237.074 | 2.4053 | 199.341 | 0 | 356.769 | 22.44 | 978.258 | 64.769 | -0.14779
2019-09-17 11:15:00 | 0 | 201.263 | 3.428 | 258.541 | 3.428 | 206.156 | 0 | 20.5912 | 22.54 | 978.406 | 64.3259 | -0.12932
2019-09-17 11:30:00 | 4.6907 | 184.688 | 2.9167 | 240.092 | 2.661 | 192.672 | 0 | 1.217 | 22.53 | 978.258 | 68.5188 | -0.14779
2019-09-17 11:45:00 | 0 | 184.059 | 2.9167 | 238.928 | 3.1723 | 191.993 | 0 | 1.1683 | 22.43 | 978.406 | 66.4746 | -0.14779
2019-09-17 12:00:00 | 0 | 193.305 | 2.4053 | 229.918 | 1.894 | 236.191 | 0 | 5.16 | 22.88 | 978.555 | 76.0525 | -0.12932
2019-09-17 12:15:00 | 0 | 192.891 | 2.1497 | 275.774 | 2.4053 | 219.153 | 0 | 352.631 | 22.33 | 978.555 | 77.0411 | -0.16627
2019-09-17 12:30:00 | 0 | 282.29 | 3.9393 | 326.814 | 2.661 | 277.763 | 0 | 113.252 | 21.83 | 978.702 | 83.143 | -0.16627
2019-09-17 12:45:00 | 0 | 245.878 | 1.127 | 325.889 | 0 | 275.718 | 0 | 19.3256 | 21.43 | 978.406 | 82.2226 | -0.12932
2019-09-17 13:00:00 | 0 | 283.215 | 3.428 | 330.027 | 3.1723 | 288.326 | 0 | 102.104 | 21.63 | 978.555 | 82.4272 | -0.16627
2019-09-17 13:15:00 | 0 | 261.36 | 2.9167 | 324.017 | 2.661 | 275.939 | 0 | 81.2946 | 21.33 | 978.258 | 81.3369 | -0.12932
2019-09-17 13:30:00 | 0 | 247.096 | 3.428 | 294.055 | 2.4053 | 237.799 | 0 | 69.6115 | 21.67 | 978.555 | 78.9506 | -0.12932
2019-09-17 13:45:00 | 0 | 250.387 | 3.428 | 290.336 | 2.661 | 283.952 | 0 | 81.588 | 21.69 | 978.11 | 79.9746 | -0.12932
2019-09-17 14:00:00 | 0 | 254.333 | 1.894 | 302.687 | 2.1497 | 249.415 | 0 | 73.4663 | 21.43 | 977.516 | 81.0742 | -0.12932
2019-09-17 14:15:00 | 0 | 284.577 | 2.9167 | 334.882 | 2.1497 | 271.042 | 0 | 107.502 | 21.43 | 977.516 | 81.4865 | -0.16627
2019-09-17 14:30:00 | 0 | 272.43 | 3.6837 | 328.65 | 2.4053 | 262.79 | 0 | 113.101 | 21.21 | 977.665 | 80.8046 | -0.16627
2019-09-17 14:45:00 | 0 | 304.284 | 5.4733 | 7.7059 | 3.6837 | 318.112 | 0 | 119.581 | 21.22 | 977.813 | 78.4213 | 0.24016
2019-09-17 15:00:00 | 7.7547 | 285.205 | 2.1497 | 336.543 | 2.1497 | 300.227 | 0 | 103.135 | 21.11 | 977.516 | 76.111 | -0.14779
2019-09-17 15:15:00 | 0 | 156.556 | 2.1497 | 196.087 | 1.894 | 142.483 | 0 | 344.546 | 21.27 | 977.071 | 77.2719 | -0.16627
2019-09-17 15:30:00 | 0 | 181.976 | 1.894 | 201.273 | 1.894 | 183.436 | 0 | 12.6122 | 21.17 | 977.071 | 78.295 | -0.12932
2019-09-17 15:45:00 | 1.3713 | 151.322 | 2.9167 | 201.516 | 2.1497 | 156.995 | 0 | 332.883 | 21.19 | 977.071 | 76.5899 | -0.16627
2019-09-17 16:00:00 | 0 | 144.358 | 4.195 | 194.236 | 2.4053 | 146.087 | 0 | 334.515 | 21.48 | 976.775 | 76.3853 | 0.036949
2019-09-17 16:15:00 | 0 | 145.892 | 5.2177 | 196.403 | 2.9167 | 144.87 | 0 | 333.419 | 21.46 | 977.071 | 75.3282 | -0.055423
2019-09-17 16:30:00 | 0 | 150.275 | 4.195 | 204.243 | 3.1723 | 159.016 | 0 | 343.353 | 21.6 | 977.071 | 75.6351 | 0.18474
2019-09-17 16:45:00 | 0 | 149.763 | 5.4733 | 190.73 | 4.7063 | 146.476 | 4.962 | 332.689 | 21.56 | 976.923 | 74.8849 | 0.97913
2019-09-17 17:00:00 | 0.372 | 163.569 | 4.195 | 213.934 | 4.4507 | 158.188 | 0 | 352.483 | 21.55 | 977.071 | 75.0213 | 0.97913
2019-09-17 17:15:00 | 0 | 166.636 | 4.195 | 211.913 | 4.195 | 163.715 | 0 | 350.268 | 21.7 | 976.775 | 72.6343 | 0.48033
2019-09-17 17:30:00 | 0 | 284.334 | 4.7063 | 325.739 | 3.9393 | 275.398 | 0 | 103.527 | 21.53 | 977.516 | 80 | 0.18474
2019-09-17 17:45:00 | 0 | 263.468 | 3.6837 | 330.949 | 2.9167 | 295.412 | 0 | 81.1513 | 20.83 | 977.071 | 83.5123 | -0.14779
2019-09-17 18:00:00 | 0 | 230.379 | 4.4507 | 273.269 | 3.1723 | 214.456 | 0 | 54.4904 | 20.56 | 976.968 | 78.3632 | -0.14779
2019-09-17 18:15:00 | 0 | 236.622 | 3.1723 | 279.296 | 2.9167 | 231.095 | 0 | 63.526 | 20.89 | 977.354 | 72.569 | -0.14779
2019-09-17 18:30:00 | 0 | 233.351 | 2.9167 | 273.131 | 3.428 | 213.31 | 0 | 61.9963 | 20.6 | 977.073 | 72.4375 | 0.16627
2019-09-17 18:45:00 | 0 | 244.542 | 3.6837 | 289.123 | 2.9167 | 238.795 | 0 | 65.0195 | 20.58 | 977.222 | 72.6464 | 0.29559
2019-09-17 19:00:00 | 0 | 238.99 | 3.1723 | 284.935 | 3.1723 | 251.848 | 0 | 66.213 | 20.67 | 977.37 | 72.7489 | 0.35101
2019-09-17 19:15:00 | 0 | 244.932 | 3.428 | 296.356 | 2.661 | 238.016 | 0 | 70.0363 | 20.51 | 977.37 | 74.3861 | 0.12932
2019-09-17 19:30:00 | 0 | 227.35 | 3.6837 | 272.418 | 3.1723 | 223.892 | 0 | 52.5029 | 20.37 | 977.222 | 75.0682 | 0
2019-09-17 19:45:00 | 0 | 239.477 | 4.195 | 283.255 | 3.6837 | 216.051 | 0 | 64.2892 | 20.49 | 977.518 | 75.3752 | 0.25864
2019-09-17 20:00:00 | 0 | 242.74 | 4.195 | 283.84 | 3.428 | 236.993 | 0 | 68.1855 | 20.44 | 977.815 | 77.558 | 0.48033
2019-09-17 20:15:00 | 0 | 237.87 | 3.6837 | 291.072 | 3.1723 | 235.337 | 0 | 57.3976 | 20.52 | 977.964 | 79.5361 | 0.24016
2019-09-17 20:30:00 | 0 | 242.692 | 4.195 | 289.903 | 3.428 | 227.642 | 0 | 70.7181 | 20.47 | 978.112 | 80.6275 | 0.18474
2019-09-17 20:45:00 | 0 | 235.922 | 3.9393 | 282.159 | 3.6837 | 235.581 | 0 | 71.0591 | 20.42 | 978.26 | 82.4693 | 0.36949
2019-09-17 21:00:00 | 0 | 242.156 | 4.4507 | 285.228 | 3.9393 | 226.425 | 0 | 69.0622 | 20.37 | 978.26 | 83.8335 | 0.22169
2019-09-17 21:15:00 | 0 | 245.176 | 4.195 | 295.017 | 3.9393 | 224.184 | 0 | 69.257 | 20.24 | 978.26 | 85.4706 | 0.22169
2019-09-17 21:30:00 | 0 | 253.528 | 4.7063 | 295.845 | 3.1723 | 244.494 | 0 | 73.9082 | 20.12 | 978.409 | 85.9481 | 0.38796
2019-09-17 21:45:00 | 0 | 255.07 | 3.6837 | 297.901 | 3.1723 | 239.387 | 0 | 80.8024 | 19.96 | 978.409 | 87.5198 | 0.18474
2019-09-17 22:00:00 | 0 | 251.613 | 3.9393 | 290.455 | 2.1497 | 237.974 | 0 | 81.1027 | 19.75 | 978.409 | 89.1658 | 0.22169
2019-09-17 22:15:00 | 0 | 242.001 | 4.195 | 286.885 | 3.1723 | 214.625 | 0 | 73.2628 | 19.73 | 978.286 | 89.1688 | 0.14779
2019-09-17 22:30:00 | 0 | 251.574 | 4.4507 | 281.578 | 3.1723 | 219.546 | 0 | 83.1275 | 19.7 | 978.177 | 88.7259 | 0.38796
2019-09-17 22:45:00 | 0 | 254.229 | 3.428 | 298.529 | 2.9167 | 243.659 | 0 | 83.4685 | 19.95 | 978.66 | 87.2591 | 0.055423
2019-09-17 23:00:00 | 0 | 282.482 | 3.1723 | 322.52 | 2.4053 | 279.048 | 0 | 103.27 | 19.71 | 978.659 | 86.9862 | 0.22169
2019-09-17 23:15:00 | 0 | 275.614 | 3.9393 | 312.705 | 2.4053 | 273.982 | 0 | 95.5734 | 19.75 | 978.75 | 85.2123 | 0.33254
2019-09-17 23:30:00 | 0 | 262.997 | 3.1723 | 300.381 | 0 | 240.687 | 0 | 88.9242 | 19.7 | 978.675 | 82.2787 | 0.29559
2019-09-17 23:45:00 | 0 | 269.768 | 4.4507 | 311 | 2.661 | 260.952 | 0 | 95.9875 | 20.03 | 978.642 | 72.8637 | 0.42491