## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-18 00:00:00 | 0 | 297.729 | 5.2177 | 327.684 | 3.428 | 289.619 | 0 | 106.534 | 20.4 | 979.127 | 72.2497 | 0.68355
2019-09-18 00:15:00 | 0 | 274.761 | 4.4507 | 323.275 | 2.9167 | 281.094 | 0 | 99.7871 | 20.21 | 978.855 | 74.2282 | 0.79439
2019-09-18 00:30:00 | 0 | 257.006 | 3.1723 | 331.581 | 2.4053 | 262.997 | 0 | 97.3027 | 20.01 | 978.587 | 72.659 | 0.70202
2019-09-18 00:45:00 | 0 | 271.79 | 3.6837 | 322.106 | 2.1497 | 266.748 | 0 | 95.7683 | 20.16 | 978.858 | 66.7917 | 0.66507
2019-09-18 01:00:00 | 0 | 285.113 | 4.962 | 14.4712 | 2.9167 | 290.471 | 1.894 | 100.445 | 20.57 | 978.534 | 62.4254 | 0.73897
2019-09-18 01:15:00 | 0 | 280.193 | 3.428 | 308.662 | 2.661 | 280.777 | 0 | 108.214 | 20.81 | 978.715 | 59.6964 | 0.53575
2019-09-18 01:30:00 | 0 | 281.038 | 5.9847 | 332.618 | 3.9393 | 300.936 | 0 | 102.707 | 21 | 978.726 | 56.7953 | 0.86829
2019-09-18 01:45:00 | 0.372 | 283.542 | 4.962 | 328.351 | 3.9393 | 297.181 | 3.428 | 104.069 | 20.62 | 978.706 | 61.8769 | 1.0715
2019-09-18 02:00:00 | 0 | 281.955 | 5.2177 | 328.76 | 3.9393 | 292.866 | 0 | 102.582 | 20.65 | 978.854 | 60.1706 | 0.70202
2019-09-18 02:15:00 | 0 | 283.1 | 4.195 | 332.56 | 3.6837 | 298.468 | 0 | 101.706 | 20.72 | 978.706 | 55.7363 | 0.16627
2019-09-18 02:30:00 | 0 | 257.429 | 3.428 | 312.149 | 2.9167 | 269.266 | 0 | 92.4992 | 20.79 | 978.557 | 53.0414 | 0.35101
2019-09-18 02:45:00 | 0 | 260.622 | 3.428 | 320.141 | 3.1723 | 277.329 | 0 | 99.9038 | 20.85 | 978.706 | 55.259 | 0.51728
2019-09-18 03:00:00 | 0 | 312.059 | 4.195 | 4.9862 | 4.195 | 329.886 | 0 | 127.78 | 20.95 | 978.706 | 57.1647 | 0.46186
2019-09-18 03:15:00 | 0 | 306.702 | 4.4507 | 4.6332 | 4.4507 | 333.32 | 0 | 122.545 | 20.36 | 978.854 | 61.0532 | 0.4988
2019-09-18 03:30:00 | 0 | 319.52 | 4.7063 | 16.6766 | 2.661 | 2.2405 | 0 | 124.74 | 20.23 | 978.706 | 61.6005 | 0.53575
2019-09-18 03:45:00 | 0 | 323.632 | 5.729 | 17.0686 | 3.428 | 2.4842 | 0 | 146.107 | 20.31 | 978.725 | 56.8288 | 0.51728
2019-09-18 04:00:00 | 0 | 309.731 | 5.2177 | 12.1495 | 2.661 | 8.1104 | 0 | 125.992 | 20.46 | 978.706 | 60.3775 | 0.68355
2019-09-18 04:15:00 | 0 | 342.529 | 5.4733 | 42.8847 | 3.6837 | 7.5257 | 5.729 | 158.357 | 20.23 | 979.022 | 57.5107 | 0.51728
2019-09-18 04:30:00 | 0 | 346.723 | 4.962 | 47.3426 | 3.1723 | 13.8338 | 0.75133 | 179.499 | 20.05 | 979.01 | 60.6837 | 0.92371
2019-09-18 04:45:00 | 0 | 78.8406 | 4.7063 | 44.6654 | 3.6837 | 3.0202 | 0.37567 | 163.161 | 19.96 | 979.167 | 61.0949 | 0.75744
2019-09-18 05:00:00 | 0.99933 | 5.6749 | 5.729 | 58.3287 | 4.962 | 7.0145 | 5.4733 | 179.747 | 19.8 | 979.003 | 64.4716 | 1.1639
2019-09-18 05:15:00 | 0 | 0.24356 | 4.962 | 58.2562 | 4.4507 | 14.8085 | 4.962 | 178.579 | 19.6 | 979.319 | 63.2441 | 1.3117
2019-09-18 05:30:00 | 1.51 | 9.9129 | 6.2403 | 60.4726 | 5.2177 | 10.6193 | 0 | 195.166 | 19.59 | 979.668 | 61.3338 | 1.7735
2019-09-18 05:45:00 | 0.88267 | 18.0479 | 5.729 | 71.4816 | 4.7063 | 26.1098 | 3.428 | 197.333 | 19.72 | 979.765 | 59.8328 | 1.4779
2019-09-18 06:00:00 | 0 | 13.3472 | 6.496 | 66.0746 | 4.4507 | 10.9846 | 1.2627 | 195.02 | 19.85 | 979.716 | 56.8651 | 1.3486
2019-09-18 06:15:00 | 0 | 8.3298 | 5.729 | 65.9284 | 3.1723 | 27.2058 | 0 | 194.386 | 20.24 | 980.116 | 56.0464 | 1.7735
2019-09-18 06:30:00 | 0.372 | 10.3749 | 5.9847 | 80.0963 | 3.428 | 68.8739 | 5.4733 | 193.397 | 20.38 | 980.346 | 51.5739 | 1.5703
2019-09-18 06:45:00 | 0 | 22.2335 | 6.2403 | 76.8727 | 4.7063 | 24.1573 | 0 | 202.415 | 20.4 | 980.486 | 53.6156 | 1.6442
2019-09-18 07:00:00 | 0 | 17.5091 | 7.0073 | 62.7968 | 5.729 | 30.7322 | 0.37567 | 206.359 | 20.33 | 980.783 | 55.7981 | 1.2747
2019-09-18 07:15:00 | 0 | 32.4368 | 4.7063 | 77.6028 | 3.1723 | 39.9122 | 0 | 220.284 | 20.21 | 980.783 | 61.2551 | 0.88676
2019-09-18 07:30:00 | 0 | 25.3231 | 4.962 | 73.793 | 4.4507 | 11.3222 | 3.8193 | 211.641 | 19.86 | 981.08 | 65.4085 | 1.1639
2019-09-18 07:45:00 | 0 | 22.0591 | 5.2177 | 67.6278 | 3.1723 | 17.36 | 2.0297 | 190.351 | 19.79 | 981.354 | 71.0657 | 1.6996
2019-09-18 08:00:00 | 8.5207 | 26.6852 | 7.5187 | 68.7722 | 3.9393 | 29.0957 | 3.9393 | 215.405 | 19.6 | 981.325 | 73.6573 | 1.4225
2019-09-18 08:15:00 | 0 | 30.4835 | 8.2857 | 70.1357 | 3.428 | 355.527 | 0 | 215.332 | 19.77 | 981.544 | 74.1347 | 2.1984
2019-09-18 08:30:00 | 0 | 20.2817 | 7.5187 | 66.7757 | 5.2177 | 31.3844 | 0 | 217.718 | 19.8 | 981.373 | 77.2379 | 1.9767
2019-09-18 08:45:00 | 8.2653 | 24.4934 | 7.5187 | 79.3126 | 6.2403 | 62.5235 | 5.9847 | 208.217 | 19.95 | 982.263 | 74.8832 | 1.5334
2019-09-18 09:00:00 | 15.4147 | 40.8488 | 8.03 | 89.1331 | 2.4053 | 66.8967 | 6.2403 | 224.133 | 20.4 | 982.708 | 73.7132 | 1.2563
2019-09-18 09:15:00 | 0 | 37.9759 | 7.0073 | 98.7964 | 3.6837 | 28.4332 | 0.63133 | 222.597 | 20.95 | 983.153 | 72.2123 | 1.0161
2019-09-18 09:30:00 | 0 | 40.4528 | 4.4507 | 86.438 | 3.1723 | 25.7029 | 0 | 221.42 | 21.37 | 983.747 | 69.5764 | 0.4988
2019-09-18 09:45:00 | 0 | 16.2092 | 3.9393 | 76.6466 | 0 | 65.8121 | 0 | 217.759 | 21.91 | 984.316 | 68.1058 | 0.75744
2019-09-18 10:00:00 | 0 | 39.7397 | 4.4507 | 80.3835 | 0 | 58.1616 | 0 | 214.419 | 22.86 | 984.489 | 66.6667 | 0.99761
2019-09-18 10:15:00 | 0 | 8.2735 | 2.4053 | 81.8132 | 0 | 26.2322 | 0 | 174.622 | 22.55 | 984.781 | 68.2646 | 1.2008
2019-09-18 10:30:00 | 0 | 1.6547 | 4.195 | 73.7072 | 2.9167 | 47.181 | 2.0297 | 163.345 | 22.76 | 984.385 | 71.2275 | 0.66507
2019-09-18 10:45:00 | 0 | 27.5924 | 2.4053 | 82.5103 | 0 | 97.8142 | 0 | 211.59 | 22.82 | 984.63 | 68.2247 | 0.60965
2019-09-18 11:00:00 | 0 | 36.8107 | 4.7063 | 85.0066 | 2.9167 | 22.6995 | 0 | 180.672 | 22.59 | 984.353 | 68.6954 | 1.8659
2019-09-18 11:15:00 | 0 | 354.885 | 6.2403 | 49.1569 | 4.195 | 17.0337 | 2.7967 | 176.567 | 22.3 | 984.289 | 68.0258 | 3.196
2019-09-18 11:30:00 | 0 | 356.431 | 4.7063 | 84.5907 | 1.2627 | 24.0914 | 0 | 166.863 | 22.58 | 984.038 | 59.5417 | 3.3993
2019-09-18 11:45:00 | 2.7867 | 35.4052 | 5.4733 | 27.4746 | 0 | 25.4772 | 3.1723 | 175.542 | 22.14 | 984.039 | 55.5512 | 4.286
2019-09-18 12:00:00 | 1.6267 | 353.226 | 4.4507 | 68.1909 | 0 | 17.497 | 1.2627 | 168.887 | 22.2 | 984.039 | 52.0788 | 5.4314
2019-09-18 12:15:00 | 10.0527 | 1.3628 | 7.7743 | 49.4775 | 4.195 | 0.4137 | 5.2177 | 182.077 | 22.2 | 983.742 | 50.3749 | 8.5166
2019-09-18 12:30:00 | 7.4993 | 11.3403 | 10.331 | 59.6983 | 0 | 312.734 | 3.428 | 183.975 | 22.04 | 983.958 | 49.6932 | 5.5423
2019-09-18 12:45:00 | 2.0207 | 7.2039 | 7.7743 | 64.8408 | 2.9167 | 4.0887 | 3.1723 | 188.421 | 22.11 | 983.591 | 47.7208 | 6.0965
2019-09-18 13:00:00 | 12.3507 | 11.8046 | 9.8197 | 69.447 | 2.1497 | 25.3129 | 12.1207 | 193.059 | 22.34 | 983.739 | 47.9287 | 5.0065
2019-09-18 13:15:00 | 21.032 | 1.8498 | 7.5187 | 62.5353 | 2.9167 | 31.617 | 18.001 | 186.903 | 22.6 | 983.45 | 45.986 | 5.0989
2019-09-18 13:30:00 | 3.6693 | 2.6043 | 10.331 | 70.8838 | 0 | 279.028 | 2.4053 | 181.841 | 22.8 | 983.295 | 47.52 | 4.7109
2019-09-18 13:45:00 | 9.7973 | 26.1161 | 8.5413 | 78.6959 | 0 | 88.1083 | 7.0073 | 198.779 | 22.66 | 983.45 | 47.7241 | 5.1728
2019-09-18 14:00:00 | 6.2227 | 16.4522 | 10.8423 | 63.186 | 0.887 | 17.2554 | 2.661 | 196.843 | 22.83 | 983.45 | 47.8913 | 7.8885
2019-09-18 14:15:00 | 8.2653 | 5.9136 | 5.9847 | 62.9124 | 2.0297 | 6.23 | 3.9393 | 180.353 | 22.63 | 983.266 | 47.4789 | 6.2443
2019-09-18 14:30:00 | 10.308 | 16.3535 | 9.3083 | 67.2431 | 0 | 328.822 | 4.962 | 204.662 | 22.74 | 983.953 | 46.4898 | 6.5953
2019-09-18 14:45:00 | 9.0313 | 131.484 | 6.7517 | 73.0098 | 0 | 7.4223 | 2.9167 | 185.533 | 22.62 | 983.434 | 43.9673 | 4.8957
2019-09-18 15:00:00 | 0 | 0.14601 | 6.7517 | 52.6168 | 0 | 5.3294 | 0 | 195.17 | 22.65 | 983.452 | 43.9673 | 4.1936
2019-09-18 15:15:00 | 0 | 19.0789 | 7.263 | 74.5916 | 0 | 12.2894 | 0 | 202.835 | 22.73 | 983.152 | 42.8766 | 5.3575
2019-09-18 15:30:00 | 13.6273 | 17.8378 | 8.03 | 70.1626 | 3.1723 | 7.836 | 6.496 | 199.088 | 22.69 | 983.001 | 42.604 | 7.519
2019-09-18 15:45:00 | 2.3927 | 0.17035 | 6.2403 | 57.8732 | 4.4507 | 22.2912 | 5.9847 | 179.498 | 22.63 | 983.15 | 42.3995 | 6.0041
2019-09-18 16:00:00 | 13.8827 | 8.8581 | 9.0527 | 64.8575 | 0 | 19.298 | 4.962 | 194.78 | 22.39 | 982.556 | 42.7744 | 6.7985
2019-09-18 16:15:00 | 8.01 | 11.5593 | 8.797 | 68.7998 | 0 | 23.2403 | 0.887 | 194.902 | 22.37 | 983.002 | 43.1834 | 5.4684
2019-09-18 16:30:00 | 14.138 | 13.9198 | 8.2857 | 66.5853 | 1.007 | 15.599 | 9.0527 | 194.221 | 22.22 | 982.729 | 43.2175 | 7.1865
2019-09-18 16:45:00 | 0 | 3.553 | 6.2403 | 63.5677 | 3.428 | 10.7076 | 0 | 178.232 | 22.09 | 983.133 | 43.9673 | 6.2073
2019-09-18 17:00:00 | 14.3933 | 11.4864 | 6.7517 | 65.2475 | 0 | 25.9174 | 10.0753 | 197.727 | 21.96 | 982.755 | 44.4448 | 5.2467
2019-09-18 17:15:00 | 1.6487 | 29.7407 | 8.03 | 83.7032 | 2.661 | 356.256 | 2.1497 | 201.906 | 21.7 | 982.549 | 44.1761 | 5.0619
2019-09-18 17:30:00 | 0 | 5.5494 | 4.4507 | 60.9045 | 0 | 22.368 | 0 | 196.274 | 21.59 | 982.541 | 43.8043 | 4.7479
2019-09-18 17:45:00 | 0.372 | 8.7135 | 7.7743 | 65.3344 | 0 | 11.4883 | 0 | 199.17 | 21.33 | 982.262 | 46.0201 | 4.3045
2019-09-18 18:00:00 | 6.478 | 0.12171 | 5.9847 | 53.0498 | 0 | 10.4183 | 0.63133 | 196.171 | 21.03 | 982.263 | 45.4108 | 4.0643
2019-09-18 18:15:00 | 0 | 10.1269 | 6.2403 | 62.4759 | 0 | 332.776 | 0.63133 | 197.523 | 20.74 | 981.67 | 46.6413 | 3.4362
2019-09-18 18:30:00 | 0 | 10.713 | 5.729 | 64.5597 | 0 | 29.4121 | 1.774 | 205.154 | 20.37 | 981.373 | 47.2632 | 4.5816
2019-09-18 18:45:00 | 0 | 12.6127 | 3.6837 | 75.5446 | 0 | 8.8143 | 0 | 204.481 | 19.92 | 981.502 | 47.2653 | 5.3575
2019-09-18 19:00:00 | 0 | 21.6245 | 5.9847 | 70.7841 | 0 | 26.982 | 0 | 208.501 | 19.73 | 981.228 | 48.09 | 4.4338
2019-09-18 19:15:00 | 0 | 19.5793 | 4.7063 | 76.3137 | 0 | 19.7498 | 0 | 204.804 | 19.59 | 981.376 | 46.863 | 3.196
2019-09-18 19:30:00 | 0 | 24.0635 | 5.4733 | 74.7441 | 0 | 26.3043 | 0 | 211.457 | 19.77 | 981.376 | 46.7331 | 1.8844
2019-09-18 19:45:00 | 0 | 27.8878 | 4.7063 | 80.8831 | 0 | 49.3699 | 0.75133 | 203.69 | 19.37 | 981.489 | 44.1753 | 1.3117
2019-09-18 20:00:00 | 0 | 28.1557 | 4.4507 | 77.936 | 0 | 26.402 | 0 | 212.434 | 19.67 | 981.789 | 44.2094 | 1.2563
2019-09-18 20:15:00 | 0 | 33.4166 | 4.962 | 84.5852 | 0 | 34.8293 | 0 | 221.202 | 19.55 | 981.675 | 43.6978 | 1.3671
2019-09-18 20:30:00 | 0 | 33.6602 | 5.2177 | 80.1524 | 0 | 33.855 | 0 | 210.9 | 19.4 | 981.67 | 44.1412 | 1.5703
2019-09-18 20:45:00 | 0 | 29.0325 | 4.195 | 85.7056 | 0 | 22.2615 | 0 | 211.143 | 19.1 | 981.676 | 43.7319 | 1.7366
2019-09-18 21:00:00 | 0 | 22.7973 | 4.7063 | 72.8212 | 0 | 23.0896 | 0 | 202.302 | 19.02 | 981.528 | 43.9365 | 2.0322
2019-09-18 21:15:00 | 0 | 25.7931 | 5.729 | 80.3473 | 0.887 | 21.8474 | 0 | 207.904 | 18.84 | 981.676 | 44.1412 | 1.9213
2019-09-18 21:30:00 | 0 | 33.1243 | 4.4507 | 90.9909 | 0 | 45.0101 | 0 | 217.963 | 18.69 | 981.676 | 43.8001 | 1.5888
2019-09-18 21:45:00 | 0 | 39.6518 | 4.7063 | 96.3979 | 0 | 36.729 | 0 | 225.757 | 18.69 | 981.676 | 43.9365 | 1.441
2019-09-18 22:00:00 | 0 | 35.2434 | 4.962 | 90.5771 | 0 | 326.616 | 5.9847 | 217.282 | 18.31 | 981.38 | 46.2563 | 1.2747
2019-09-18 22:15:00 | 0 | 36.4859 | 4.4507 | 91.26 | 0 | 34.7322 | 0 | 225.248 | 18.11 | 981.38 | 45.9838 | 1.5518
2019-09-18 22:30:00 | 0 | 30.2992 | 3.6837 | 76.0611 | 0 | 17.1468 | 0 | 217.989 | 18.13 | 981.38 | 43.3228 | 0.48033
2019-09-18 22:45:00 | 0 | 31.6645 | 4.4507 | 83.5671 | 0 | 26.4764 | 0 | 213.93 | 18.5 | 981.083 | 43.8022 | 0.51728
2019-09-18 23:00:00 | 0 | 28.0596 | 3.9393 | 81.8135 | 0 | 18.3898 | 0 | 208.328 | 18.15 | 981.083 | 43.734 | 1.1084
2019-09-18 23:15:00 | 0 | 32.4917 | 4.7063 | 88.2406 | 0 | 22.1158 | 0 | 212.73 | 18.11 | 980.637 | 43.1186 | 0.73897
2019-09-18 23:30:00 | 0 | 36.0497 | 4.962 | 90.0246 | 0 | 31.5922 | 0 | 217.516 | 18.15 | 980.489 | 43.1551 | 2.143
2019-09-18 23:45:00 | 0 | 35.4151 | 4.195 | 87.4146 | 0 | 44.2567 | 2.0297 | 210.932 | 17.93 | 980.192 | 42.369 | 1.6442