## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-19 00:00:00 | 0 | 28.5465 | 4.962 | 84.1995 | 0 | 22.8469 | 0.63133 | 215.877 | 18.01 | 980.192 | 42.369 | 2.0691
2019-09-19 00:15:00 | 0 | 37.8019 | 5.9847 | 80.3016 | 0 | 24.3569 | 2.2853 | 207.009 | 18.31 | 980.192 | 40.7995 | 2.7157
2019-09-19 00:30:00 | 0 | 25.6719 | 5.9847 | 83.6619 | 3.1723 | 24.8925 | 2.541 | 210.807 | 18.42 | 980.192 | 40.5944 | 2.7527
2019-09-19 00:45:00 | 0 | 34.7081 | 5.2177 | 91.0659 | 2.1497 | 45.2058 | 0.37567 | 214.63 | 18.32 | 980.192 | 40.6284 | 3.233
2019-09-19 01:00:00 | 0 | 28.3513 | 4.962 | 80.1065 | 0 | 26.0618 | 0 | 207.325 | 18.14 | 980.192 | 41.4134 | 3.3254
2019-09-19 01:15:00 | 0 | 25.8912 | 5.2177 | 83.2726 | 2.1497 | 31.2741 | 0 | 202.234 | 17.92 | 980.34 | 39.9123 | 3.3069
2019-09-19 01:30:00 | 2.7867 | 36.6819 | 6.2403 | 84.7845 | 3.1723 | 35.1474 | 0.63133 | 204.357 | 18.42 | 980.044 | 35.5123 | 4.1936
2019-09-19 01:45:00 | 0 | 18.1216 | 7.263 | 76.4049 | 1.894 | 49.3716 | 0 | 209.397 | 18.47 | 980.044 | 32.6806 | 3.7133
2019-09-19 02:00:00 | 0 | 26.4755 | 5.729 | 88.6787 | 0 | 58.8696 | 0 | 215.092 | 18.68 | 980.044 | 33.9081 | 3.196
2019-09-19 02:15:00 | 0 | 14.4676 | 5.2177 | 88.9938 | 0 | 40.7235 | 0 | 202.692 | 18.38 | 980.192 | 35.7497 | 3.3808
2019-09-19 02:30:00 | 0 | 46.0823 | 3.6837 | 88.1912 | 0 | 34.8784 | 0 | 204.204 | 18.47 | 980.489 | 31.793 | 2.4017
2019-09-19 02:45:00 | 0 | 42.7694 | 2.9167 | 95.9352 | 0 | 39.3108 | 0 | 215.99 | 18.65 | 980.637 | 30.6328 | 0.90524
2019-09-19 03:00:00 | 0 | 31.5656 | 3.6837 | 80.1037 | 0 | 23.3819 | 0 | 205.615 | 18.62 | 980.34 | 31.5197 | 0.6466
2019-09-19 03:15:00 | 0 | 22.8948 | 5.2177 | 74.9646 | 0 | 30.64 | 0 | 203.544 | 18.35 | 979.895 | 31.9973 | 1.1824
2019-09-19 03:30:00 | 0 | 25.5253 | 4.7063 | 81.0296 | 0 | 35.3409 | 0 | 206.078 | 18.2 | 979.895 | 32.2703 | 1.7735
2019-09-19 03:45:00 | 0 | 21.9694 | 4.7063 | 75.0871 | 0 | 25.9638 | 0 | 201.622 | 18.18 | 979.895 | 31.8611 | 1.755
2019-09-19 04:00:00 | 0 | 26.8406 | 4.195 | 83.4656 | 0 | 34.0988 | 0 | 205.397 | 18.22 | 980.192 | 30.633 | 0.60965
2019-09-19 04:15:00 | 0 | 47.2266 | 2.1497 | 104.85 | 0 | 73.7747 | 0 | 215.747 | 18.31 | 980.489 | 29.8823 | -0.12932
2019-09-19 04:30:00 | 0 | 67.0783 | 0.37567 | 143.823 | 0 | 101.226 | 0 | 221.134 | 17.82 | 980.192 | 30.5311 | -0.14779
2019-09-19 04:45:00 | 0 | 53.9746 | 2.4053 | 113.889 | 0 | 63.8878 | 0 | 232.607 | 18.16 | 979.895 | 28.8597 | -0.14779
2019-09-19 05:00:00 | 0 | 44.7195 | 3.428 | 104.124 | 0 | 29.131 | 0 | 222.185 | 18.14 | 979.895 | 31.862 | -0.12932
2019-09-19 05:15:00 | 0 | 140.488 | 0.75133 | 139.73 | 0 | 54.4124 | 0 | 295.055 | 17.81 | 979.895 | 32.5436 | -0.12932
2019-09-19 05:30:00 | 0 | 29.2279 | 0 | 209.78 | 0 | 147.503 | 0 | 227.466 | 17.14 | 979.895 | 37.9335 | -0.12932
2019-09-19 05:45:00 | 0 | 26.7945 | 1.6383 | 98.6754 | 0 | 51.2506 | 0 | 210.654 | 16.72 | 979.598 | 33.3993 | -0.12932
2019-09-19 06:00:00 | 0 | 64.6514 | 0 | 208.424 | 0 | 137.439 | 0 | 210.641 | 17 | 979.747 | 41.6235 | -0.12932
2019-09-19 06:15:00 | 0 | 151.532 | 3.428 | 207.079 | 0 | 150.168 | 0 | 337.22 | 16.29 | 979.895 | 50.7032 | -0.16627
2019-09-19 06:30:00 | 0 | 128.059 | 1.3827 | 187.633 | 0 | 125.964 | 0 | 281.238 | 15.79 | 979.45 | 41.4263 | -0.12932
2019-09-19 06:45:00 | 0 | 125.672 | 1.894 | 199.645 | 0 | 114.172 | 0 | 317.42 | 17.19 | 979.895 | 39.7884 | -0.12932
2019-09-19 07:00:00 | 0 | 135.854 | 2.9167 | 188.8 | 0 | 139.119 | 0 | 318.292 | 16.98 | 979.895 | 34.9423 | -0.12932
2019-09-19 07:15:00 | 0 | 131.627 | 3.428 | 175.26 | 0 | 166.562 | 0 | 292.294 | 17.47 | 980.192 | 29.4117 | 2.0137
2019-09-19 07:30:00 | 0 | 113.508 | 3.428 | 174.473 | 0 | 118.038 | 0 | 310.343 | 17.34 | 980.489 | 32.2724 | 0.14779
2019-09-19 07:45:00 | 0 | 60.8431 | 2.9167 | 124.996 | 0 | 87.3676 | 0 | 309.525 | 16.74 | 980.489 | 31.4523 | 0.11084
2019-09-19 08:00:00 | 0 | 149.771 | 6.496 | 194.342 | 0 | 135.912 | 2.0297 | 322.487 | 17.05 | 980.489 | 31.5891 | 1.1084
2019-09-19 08:15:00 | 0 | 135.177 | 5.4733 | 182.742 | 0 | 127.31 | 0 | 299.046 | 16.98 | 980.489 | 30.9059 | 1.9398
2019-09-19 08:30:00 | 0 | 135.128 | 3.9393 | 205.44 | 0 | 116.568 | 1.5183 | 308.568 | 16.93 | 980.637 | 36.2954 | 4.201
2019-09-19 08:45:00 | 0 | 141.095 | 6.496 | 194.237 | 0 | 133.106 | 0 | 320.21 | 16.8 | 980.489 | 33.6347 | 7.0054
2019-09-19 09:00:00 | 0 | 126.993 | 5.4733 | 181.036 | 0 | 106.217 | 0 | 302.357 | 17.03 | 980.489 | 26.744 | 6.0595
2019-09-19 09:15:00 | 0 | 104.293 | 2.4053 | 174.703 | 0 | 141.412 | 0 | 302.649 | 17.5 | 981.083 | 27.4945 | 4.8107
2019-09-19 09:30:00 | 0 | 136.662 | 4.4507 | 219.47 | 0 | 172.49 | 0 | 322.987 | 17.91 | 981.359 | 25.6524 | 4.7811
2019-09-19 09:45:00 | 0 | 142.337 | 3.9393 | 206.049 | 0 | 172.734 | 0 | 326.689 | 17.76 | 981.344 | 31.5197 | 3.2441
2019-09-19 10:00:00 | 0 | 88.1199 | 3.6837 | 170.171 | 0 | 133.714 | 0 | 278.267 | 17.71 | 980.954 | 33.2251 | 2.8007
2019-09-19 10:15:00 | 0 | 129.373 | 4.7063 | 180.44 | 0 | 131.906 | 1.007 | 313.422 | 18.1 | 981.08 | 26.6061 | 3.318
2019-09-19 10:30:00 | 0 | 152.555 | 3.1723 | 165.653 | 0 | 128.201 | 0 | 301.214 | 17.93 | 980.783 | 25.4458 | 7.0424
2019-09-19 10:45:00 | 0 | 142.639 | 4.195 | 211.263 | 0 | 163.657 | 3.8193 | 307.538 | 18.02 | 980.635 | 31.1754 | 9.9502
2019-09-19 11:00:00 | 0 | 140.877 | 5.4733 | 189.234 | 0 | 144.165 | 0 | 310.661 | 17.91 | 980.19 | 32.8789 | 8.7346
2019-09-19 11:15:00 | 0 | 114.552 | 6.496 | 184.971 | 0 | 135.616 | 2.541 | 286.185 | 18.26 | 980.19 | 26.3984 | 7.2382
2019-09-19 11:30:00 | 0 | 136.079 | 3.9393 | 194.541 | 0 | 141.485 | 0 | 326.097 | 18.54 | 980.041 | 27.6262 | 6.6433
2019-09-19 11:45:00 | 0 | 117.279 | 4.7063 | 184.411 | 0 | 137.418 | 0 | 310.902 | 18.38 | 980.19 | 32.0942 | 5.8083
2019-09-19 12:00:00 | 0 | 125.608 | 3.6837 | 171.796 | 0 | 119.3 | 0 | 305.325 | 18.13 | 980.19 | 31.4461 | 3.4879
2019-09-19 12:15:00 | 0 | 118.205 | 4.195 | 193.664 | 0 | 136.42 | 0 | 284.675 | 18.2 | 979.893 | 33.1515 | 4.1161
2019-09-19 12:30:00 | 0 | 133.936 | 4.7063 | 180.271 | 0 | 126.46 | 1.6383 | 305.277 | 18.37 | 979.596 | 31.5143 | 3.9276
2019-09-19 12:45:00 | 0 | 147.451 | 4.962 | 202.675 | 0 | 146.355 | 0 | 321.958 | 18.4 | 979.745 | 36.3575 | 4.0237
2019-09-19 13:00:00 | 0 | 142.021 | 3.9393 | 208.373 | 0 | 163.11 | 0 | 317.063 | 18.57 | 979.893 | 31.9918 | 4.2121
2019-09-19 13:15:00 | 0 | 147.177 | 3.1723 | 213.184 | 0 | 165.805 | 0 | 327.422 | 19.02 | 980.19 | 31.1719 | 2.3425
2019-09-19 13:30:00 | 0 | 146.964 | 3.9393 | 203.562 | 0 | 154.268 | 0 | 328.209 | 19.41 | 980.066 | 29.463 | 1.3264
2019-09-19 13:45:00 | 0 | 131.673 | 3.1723 | 184.57 | 0 | 137.297 | 0 | 311.847 | 19.09 | 979.382 | 32.3956 | 0.088676
2019-09-19 14:00:00 | 0 | 135.715 | 2.1497 | 191.973 | 0 | 153.538 | 0 | 315.16 | 18.84 | 979.449 | 34.169 | -0.25125
2019-09-19 14:15:00 | 6.9887 | 149.551 | 2.1497 | 200.991 | 0 | 152.254 | 0 | 327.785 | 18.93 | 979.289 | 32.2606 | -0.29189
2019-09-19 14:30:00 | 0 | 127.299 | 0.75133 | 183.464 | 0 | 135.87 | 0 | 273.664 | 18.8 | 979.002 | 32.3295 | -0.27711
2019-09-19 14:45:00 | 0 | 150.96 | 1.6383 | 184.77 | 0 | 156.803 | 0 | 327.972 | 19.26 | 979.277 | 31.5096 | -0.22169
2019-09-19 15:00:00 | 0 | 56.5844 | 0 | 211.791 | 0 | 170.435 | 0 | 216.306 | 19.56 | 979.326 | 32.9071 | -0.27711
2019-09-19 15:15:00 | 0 | 112.195 | 0 | 208.09 | 0 | 147.937 | 0 | 270.87 | 19.94 | 979 | 30.9633 | -0.24016
2019-09-19 15:30:00 | 0 | 134.4 | 1.6383 | 187.541 | 0 | 129.433 | 0 | 310.484 | 19.26 | 978.852 | 31.509 | -0.25864
2019-09-19 15:45:00 | 0 | 88.4313 | 1.3827 | 158.08 | 0 | 103.843 | 0 | 268.337 | 19.07 | 978.11 | 32.532 | -0.25864
2019-09-19 16:00:00 | 0 | 120.376 | 3.1723 | 180.139 | 0 | 135.374 | 0 | 298.407 | 19.13 | 978.344 | 33.4868 | -0.24016
2019-09-19 16:15:00 | 0 | 101.247 | 2.1497 | 166.934 | 0 | 119.217 | 0 | 284.018 | 18.92 | 978.108 | 34.3082 | -0.25864
2019-09-19 16:30:00 | 0 | 44.9293 | 2.4053 | 94.1132 | 0 | 45.0024 | 0 | 235.824 | 18.66 | 977.815 | 29.8772 | -0.25864
2019-09-19 16:45:00 | 0 | 95.6545 | 3.6837 | 149.758 | 0 | 94.8753 | 0 | 274.836 | 18.76 | 977.815 | 30.9686 | -0.2882
2019-09-19 17:00:00 | 0 | 119.325 | 3.6837 | 174.426 | 0 | 114.162 | 0 | 301.526 | 18.55 | 977.518 | 34.4475 | -0.19583
2019-09-19 17:15:00 | 0 | 160.608 | 3.428 | 205.46 | 0 | 140.005 | 0 | 336.606 | 18.58 | 977.518 | 35.5403 | -0.014779
2019-09-19 17:30:00 | 0 | 125.921 | 2.661 | 171.974 | 0 | 113.329 | 0 | 306.643 | 17.99 | 977.111 | 43.1177 | -0.23278
2019-09-19 17:45:00 | 0 | 133.496 | 3.1723 | 198.28 | 0 | 152.956 | 0 | 317.19 | 17.95 | 976.932 | 44.8235 | -0.11084
2019-09-19 18:00:00 | 0.99933 | 154.126 | 2.1497 | 213.453 | 0 | 152.323 | 0 | 340.328 | 18.2 | 977.222 | 43.459 | -0.25864
2019-09-19 18:15:00 | 0.88267 | 165.037 | 3.1723 | 224.292 | 0 | 162.066 | 0 | 350.265 | 18.07 | 976.927 | 43.2543 | -0.18474
2019-09-19 18:30:00 | 0 | 148.475 | 2.661 | 207.925 | 0 | 161.238 | 0 | 327.346 | 17.81 | 976.927 | 44.0048 | -0.20322
2019-09-19 18:45:00 | 0 | 60.7929 | 2.1497 | 110.744 | 0 | 28.7889 | 0 | 247.069 | 17.85 | 976.778 | 38.5468 | -0.24016
2019-09-19 19:00:00 | 0 | 95.3305 | 1.127 | 151.809 | 0 | 60.4037 | 0 | 274.763 | 17.94 | 976.63 | 40.5938 | -0.27711
2019-09-19 19:15:00 | 0 | 156.03 | 4.4507 | 215.969 | 0 | 152.133 | 0 | 337.172 | 17.68 | 976.63 | 39.162 | 0.3584
2019-09-19 19:30:00 | 0 | 154.712 | 2.9167 | 202.57 | 0 | 144.726 | 0 | 334.707 | 17.71 | 976.63 | 41.5493 | 0.69094
2019-09-19 19:45:00 | 0.372 | 150.037 | 4.195 | 204.129 | 0 | 148.234 | 2.661 | 328.473 | 17.56 | 976.63 | 44.9267 | 1.1934
2019-09-19 20:00:00 | 0 | 147.774 | 3.6837 | 200.48 | 0 | 127.241 | 0 | 320.758 | 18.19 | 976.927 | 44.3476 | 0.80548
2019-09-19 20:15:00 | 0 | 106.101 | 5.729 | 167.065 | 0 | 117.5 | 0 | 295.261 | 17.42 | 976.778 | 40.664 | 3.2995
2019-09-19 20:30:00 | 0 | 140.466 | 3.428 | 204.546 | 0 | 154.983 | 0 | 320.39 | 18.08 | 976.927 | 41.277 | 3.8205
2019-09-19 20:45:00 | 0 | 150.745 | 3.6837 | 199.845 | 0 | 157.248 | 0 | 329.646 | 17.27 | 976.927 | 45.0295 | 2.8857
2019-09-19 21:00:00 | 0 | 129.094 | 2.661 | 170.84 | 0 | 133.284 | 0 | 307.293 | 17.3 | 976.63 | 43.2565 | 2.8672
2019-09-19 21:15:00 | 0 | 135.354 | 4.7063 | 187.5 | 0 | 113.432 | 4.962 | 315.865 | 17.27 | 976.63 | 28.3145 | 4.2121
2019-09-19 21:30:00 | 0 | 146.724 | 5.9847 | 193.315 | 0 | 141.901 | 5.729 | 324.965 | 18.71 | 976.927 | 24.0154 | 2.5679
2019-09-19 21:45:00 | 0 | 140.365 | 5.2177 | 197.793 | 0 | 146.673 | 1.007 | 332.364 | 18.91 | 977.075 | 24.2197 | 4.1752
2019-09-19 22:00:00 | 0 | 145.211 | 4.7063 | 197.111 | 0 | 157.389 | 0 | 333.874 | 18.25 | 976.927 | 34.1805 | 3.281
2019-09-19 22:15:00 | 0 | 140.438 | 5.2177 | 197.671 | 0 | 141.046 | 0 | 321.55 | 17.88 | 976.63 | 37.4552 | 3.7466
2019-09-19 22:30:00 | 0 | 147.744 | 5.729 | 204.491 | 0 | 129.38 | 0 | 281.265 | 18.05 | 976.63 | 33.0206 | 3.2699
2019-09-19 22:45:00 | 0 | 137.563 | 2.4053 | 204.028 | 0 | 177.41 | 0 | 326.397 | 18.42 | 976.63 | 31.1104 | 5.0619
2019-09-19 23:00:00 | 0 | 140.779 | 7.263 | 190.39 | 0 | 134.374 | 0 | 322.575 | 18.22 | 976.333 | 29.5414 | 8.779
2019-09-19 23:15:00 | 0 | 147.939 | 4.4507 | 189.731 | 0 | 160.361 | 3.1723 | 321.038 | 18.36 | 976.333 | 30.5646 | 9.8468
2019-09-19 23:30:00 | 0 | 135.25 | 4.962 | 195.698 | 0 | 137.71 | 1.1427 | 313.293 | 18.12 | 976.184 | 30.701 | 11.4392
2019-09-19 23:45:00 | 0 | 162.041 | 5.9847 | 219.031 | 0 | 168.618 | 0 | 335.652 | 18.07 | 975.739 | 34.1122 | 11.8826