## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-20 00:00:00 | 0 | 165.768 | 4.7063 | 214.671 | 0 | 169.421 | 0 | 336.261 | 17.99 | 975.739 | 31.1786 | 13.7522
2019-09-20 00:15:00 | 0 | 151.934 | 4.962 | 224.487 | 0 | 184.79 | 5.4733 | 314.024 | 17.69 | 975.739 | 34.658 | 14.8052
2019-09-20 00:30:00 | 1.904 | 150.886 | 7.0073 | 203.102 | 0 | 158.656 | 3.6837 | 331.463 | 17.96 | 975.739 | 35.6132 | 14.3729
2019-09-20 00:45:00 | 6.7333 | 147.501 | 7.263 | 190.827 | 2.9167 | 160.142 | 6.2403 | 326.981 | 17.84 | 975.739 | 35.8861 | 12.0858
2019-09-20 01:00:00 | 5.4567 | 148.134 | 7.5187 | 203.005 | 2.661 | 159.874 | 5.729 | 332.754 | 17.65 | 975.739 | 35.6132 | 8.6349
2019-09-20 01:15:00 | 0.372 | 147.696 | 7.5187 | 200.424 | 3.6837 | 149.621 | 3.428 | 334.704 | 17.61 | 975.442 | 35.8863 | 7.7518
2019-09-20 01:30:00 | 0 | 150.962 | 7.7743 | 197.529 | 2.9167 | 145.092 | 4.195 | 340.919 | 17.56 | 975.145 | 35.1363 | 7.434
2019-09-20 01:45:00 | 0 | 150.916 | 5.9847 | 210.661 | 2.4053 | 172.837 | 3.1723 | 327.285 | 17.62 | 975.145 | 36.979 | 9.6214
2019-09-20 02:00:00 | 0 | 149.843 | 7.0073 | 193.95 | 2.4053 | 162.971 | 0.37567 | 334.735 | 17.25 | 975.145 | 35.9553 | 10.6042
2019-09-20 02:15:00 | 0.372 | 142.338 | 7.263 | 192.24 | 2.661 | 142.24 | 3.9393 | 335.799 | 17.27 | 974.849 | 36.5684 | 11.3432
2019-09-20 02:30:00 | 0 | 145.262 | 6.7517 | 196.456 | 3.428 | 145.36 | 0.37567 | 334.561 | 17.18 | 974.552 | 38.0016 | 9.7101
2019-09-20 02:45:00 | 0 | 143.438 | 5.9847 | 193.512 | 2.661 | 164.75 | 2.2853 | 340.387 | 17.13 | 974.552 | 39.9467 | 9.9133
2019-09-20 03:00:00 | 0 | 155.129 | 6.7517 | 198.822 | 3.6837 | 155.226 | 3.0523 | 340.582 | 16.94 | 974.255 | 37.934 | 9.1373
2019-09-20 03:15:00 | 0 | 155.983 | 6.7517 | 207.447 | 4.7063 | 151.623 | 0 | 338.783 | 17.3 | 974.255 | 42.4033 | 11.6203
2019-09-20 03:30:00 | 0 | 156.054 | 7.0073 | 195.119 | 5.2177 | 165.773 | 0 | 342.871 | 17.02 | 974.552 | 44.1425 | 10.7261
2019-09-20 03:45:00 | 3.414 | 150.02 | 7.263 | 198.66 | 5.4733 | 151.7 | 0 | 344.541 | 17.15 | 973.958 | 43.5302 | 11.9344
2019-09-20 04:00:00 | 4.946 | 151.677 | 7.263 | 204.58 | 6.2403 | 160.251 | 1.127 | 338.357 | 16.92 | 974.255 | 41.8247 | 10.8222
2019-09-20 04:15:00 | 0 | 155.859 | 6.2403 | 209.685 | 5.2177 | 161.12 | 0 | 339.875 | 16.94 | 974.255 | 42.2321 | 10.9072
2019-09-20 04:30:00 | 0 | 154.14 | 7.0073 | 204.194 | 5.2177 | 160.522 | 5.4733 | 344.866 | 16.97 | 973.958 | 43.5312 | 11.14
2019-09-20 04:45:00 | 0 | 149.439 | 6.496 | 207.801 | 5.4733 | 165.224 | 0.37567 | 335.319 | 16.96 | 974.106 | 42.3715 | 11.5353
2019-09-20 05:00:00 | 0 | 151.095 | 6.496 | 199.153 | 5.729 | 161.107 | 0 | 337.632 | 16.88 | 974.255 | 42.1325 | 11.672
2019-09-20 05:15:00 | 0 | 154.725 | 7.0073 | 207.216 | 5.9847 | 150.925 | 0.75133 | 336.44 | 16.7 | 973.958 | 42.6445 | 13.9
2019-09-20 05:30:00 | 6.2227 | 147.326 | 6.496 | 200.453 | 5.4733 | 162.088 | 0.63133 | 334.943 | 16.71 | 974.255 | 42.0661 | 10.4638
2019-09-20 05:45:00 | 0 | 149.54 | 5.9847 | 201.96 | 4.962 | 163.522 | 0 | 336.886 | 16.77 | 974.552 | 39.4385 | 8.7125
2019-09-20 06:00:00 | 0 | 147.723 | 6.7517 | 196.323 | 5.2177 | 152.352 | 1.2627 | 343.12 | 16.96 | 974.552 | 38.9635 | 7.519
2019-09-20 06:15:00 | 0 | 137.755 | 6.2403 | 196.706 | 6.2403 | 148.254 | 0.63133 | 324.182 | 17.04 | 974.403 | 47.6281 | 14.2325
2019-09-20 06:30:00 | 1.138 | 135.729 | 6.7517 | 187.345 | 4.962 | 147.933 | 3.1723 | 323.051 | 17.03 | 974.255 | 45.1019 | 17.0997
2019-09-20 06:45:00 | 1.2547 | 139.957 | 6.2403 | 191.421 | 5.2177 | 155.277 | 1.007 | 320.03 | 17.05 | 974.552 | 44.1432 | 14.5799
2019-09-20 07:00:00 | 2.5313 | 142.881 | 7.0073 | 196.612 | 5.9847 | 150.481 | 2.541 | 325.758 | 16.93 | 974.552 | 47.0776 | 14.1771
2019-09-20 07:15:00 | 2.0207 | 138.665 | 7.5187 | 193.953 | 6.2403 | 146.654 | 3.1723 | 320.101 | 16.81 | 974.552 | 50.2151 | 15.4666
2019-09-20 07:30:00 | 5.9673 | 140.516 | 7.263 | 189.276 | 5.729 | 139.298 | 5.4733 | 326.506 | 16.95 | 974.7 | 46.3262 | 14.7166
2019-09-20 07:45:00 | 0 | 146.091 | 7.0073 | 201.864 | 5.9847 | 141.366 | 0.63133 | 322.822 | 17.17 | 974.997 | 48.3721 | 12.0489
2019-09-20 08:00:00 | 0.372 | 139.221 | 7.0073 | 189.66 | 6.7517 | 141.462 | 0.63133 | 316.876 | 17.32 | 974.997 | 47.5529 | 14.2141
2019-09-20 08:15:00 | 7.244 | 144.798 | 7.0073 | 195.773 | 5.729 | 143.264 | 2.661 | 325.547 | 17.37 | 975.145 | 45.7107 | 15.4925
2019-09-20 08:30:00 | 6.478 | 141.168 | 7.263 | 191.85 | 6.7517 | 145.455 | 3.428 | 325.447 | 17.59 | 975.145 | 44.8576 | 17.8831
2019-09-20 08:45:00 | 0.372 | 147.355 | 7.0073 | 201.958 | 6.7517 | 157.316 | 4.4507 | 322.5 | 17.58 | 975.442 | 48.5076 | 15.2671
2019-09-20 09:00:00 | 0.99933 | 139.804 | 6.496 | 197.598 | 6.2403 | 146.843 | 1.5183 | 322.086 | 17.52 | 975.727 | 43.2202 | 17.6466
2019-09-20 09:15:00 | 5.9673 | 150.131 | 6.7517 | 201.3 | 6.2403 | 150.107 | 1.6383 | 330.878 | 18.3 | 975.953 | 38.0693 | 13.2017
2019-09-20 09:30:00 | 8.2653 | 149.583 | 7.5187 | 201.866 | 7.7743 | 151.239 | 5.729 | 330.217 | 18.4 | 976.482 | 38.7482 | 11.3616
2019-09-20 09:45:00 | 0 | 141.146 | 6.496 | 190.063 | 6.7517 | 142.778 | 4.4507 | 329.584 | 18.38 | 976.332 | 38.8136 | 13.7596
2019-09-20 10:00:00 | 0 | 147.573 | 6.7517 | 207.716 | 7.263 | 160.504 | 4.195 | 338.201 | 18.68 | 976.332 | 39.427 | 12.6992
2019-09-20 10:15:00 | 0 | 139.001 | 7.263 | 195.856 | 7.0073 | 145.43 | 0 | 319.108 | 18.67 | 976.332 | 36.6985 | 13.5305
2019-09-20 10:30:00 | 0 | 139.439 | 6.496 | 185.506 | 4.962 | 139.78 | 2.2853 | 332.648 | 18.85 | 976.332 | 36.6303 | 11.018
2019-09-20 10:45:00 | 0 | 143.604 | 5.729 | 186.067 | 6.496 | 126.46 | 1.2627 | 333.354 | 19.1 | 976.628 | 36.4257 | 8.5351
2019-09-20 11:00:00 | 0 | 144.579 | 4.962 | 198.792 | 4.4507 | 138.638 | 0 | 328.188 | 19.41 | 976.868 | 39.489 | 7.0017
2019-09-20 11:15:00 | 0 | 145.308 | 6.7517 | 192.216 | 5.729 | 158.261 | 0 | 318.177 | 19.43 | 976.378 | 37.6812 | 7.3269
2019-09-20 11:30:00 | 0 | 135.228 | 4.7063 | 174.831 | 5.729 | 140.852 | 0 | 318.786 | 19.69 | 976.478 | 38.1245 | 6.9611
2019-09-20 11:45:00 | 0 | 140.317 | 6.496 | 205.583 | 5.4733 | 157.336 | 0 | 320.515 | 19.7 | 976.478 | 39.9659 | 6.1593
2019-09-20 12:00:00 | 0 | 130.892 | 4.7063 | 190.704 | 4.7063 | 143.943 | 4.4507 | 315.593 | 20.07 | 976.478 | 39.2152 | 5.8453
2019-09-20 12:15:00 | 0 | 142.842 | 6.496 | 196.49 | 6.2403 | 146.932 | 0 | 327 | 20.06 | 976.182 | 38.259 | 4.589
2019-09-20 12:30:00 | 0 | 143.38 | 5.2177 | 202.946 | 5.2177 | 154.677 | 0 | 330.754 | 20.05 | 976.033 | 40.8512 | 4.5964
2019-09-20 12:45:00 | 0 | 144.71 | 3.6837 | 185.379 | 3.428 | 159.999 | 0 | 328.908 | 20.09 | 976.182 | 35.8364 | 2.0913
2019-09-20 13:00:00 | 0 | 138.273 | 2.9167 | 192.765 | 3.428 | 143.068 | 0 | 312.428 | 20.37 | 976.33 | 39.8229 | 1.8585
2019-09-20 13:15:00 | 0 | 148.302 | 3.428 | 203.402 | 4.962 | 151.126 | 0 | 331.025 | 20.49 | 976.033 | 38.7999 | 1.7292
2019-09-20 13:30:00 | 0 | 147.133 | 4.4507 | 198.46 | 4.195 | 149.616 | 0 | 328.348 | 20.58 | 975.737 | 39.8909 | 0.66138
2019-09-20 13:45:00 | 0 | 150.103 | 2.9167 | 195.636 | 3.1723 | 144.212 | 0 | 301.91 | 20.45 | 975.885 | 41.8002 | 0.24755
2019-09-20 14:00:00 | 0 | 133.895 | 2.9167 | 193.647 | 2.9167 | 149.962 | 0 | 315.164 | 20.38 | 975.737 | 42.3472 | 0.33623
2019-09-20 14:15:00 | 0 | 142.336 | 3.1723 | 197.886 | 2.661 | 149.202 | 0 | 330.688 | 20.37 | 975.885 | 42.0114 | -0.34731
2019-09-20 14:30:00 | 0 | 155.753 | 2.1497 | 207.457 | 1.6383 | 160.89 | 0 | 338.045 | 20.5 | 975.737 | 42.3529 | -0.32884
2019-09-20 14:45:00 | 6.2227 | 152.783 | 1.894 | 196.014 | 2.4053 | 138.88 | 0 | 329.913 | 20.34 | 975.737 | 40.7161 | -0.20691
2019-09-20 15:00:00 | 8.01 | 151.249 | 2.9167 | 197.864 | 2.661 | 148.132 | 0 | 333.443 | 20.27 | 975.44 | 42.6939 | -0.25494
2019-09-20 15:15:00 | 0 | 136.25 | 2.661 | 183.84 | 2.4053 | 129.53 | 0 | 315.596 | 20.25 | 975.44 | 41.7391 | -0.26603
2019-09-20 15:30:00 | 0 | 104.014 | 0.75133 | 185.739 | 0.75133 | 117.746 | 0 | 295.631 | 20.3 | 975.44 | 42.6257 | -0.25125
2019-09-20 15:45:00 | 0 | 112 | 1.3827 | 185.739 | 1.3827 | 129.043 | 0 | 291.736 | 20.43 | 975.588 | 42.8303 | -0.24016
2019-09-20 16:00:00 | 0 | 144.431 | 1.127 | 185.788 | 0.75133 | 129.092 | 0 | 306.734 | 20.23 | 975.447 | 43.5806 | -0.25864
2019-09-20 16:15:00 | 0 | 84.4382 | 1.127 | 185.642 | 0 | 113.656 | 0 | 269.165 | 20.28 | 975.694 | 43.2395 | -0.25125
2019-09-20 16:30:00 | 0 | 84.4382 | 1.127 | 185.496 | 0.75133 | 113.461 | 0 | 268.459 | 20.29 | 975.386 | 43.6147 | -0.24016
2019-09-20 16:45:00 | 2.9033 | 45.4833 | 2.1497 | 101.354 | 1.6383 | 59.7029 | 1.6383 | 229.121 | 20.21 | 975.441 | 41.9452 | -0.24016
2019-09-20 17:00:00 | 0 | 3.7988 | 2.4053 | 45.1156 | 1.894 | 349.832 | 0 | 187.14 | 19.95 | 975.44 | 52.5908 | -0.25125
2019-09-20 17:15:00 | 0 | 2.3378 | 3.1723 | 52.6663 | 3.1723 | 0.048704 | 0 | 189.507 | 19.53 | 975.589 | 52.9331 | -0.24016
2019-09-20 17:30:00 | 0 | 3.9937 | 3.1723 | 56.4652 | 2.1497 | 0.048704 | 0 | 188.557 | 19.44 | 975.441 | 55.2524 | -0.26233
2019-09-20 17:45:00 | 0 | 0.87668 | 2.1497 | 54.6391 | 1.127 | 1.6072 | 0 | 187.633 | 19.29 | 975.589 | 55.048 | -0.18474
2019-09-20 18:00:00 | 0 | 2.3379 | 3.1723 | 58.3201 | 2.4053 | 10.9346 | 0 | 186.984 | 19.34 | 975.293 | 54.0956 | 0.66507
2019-09-20 18:15:00 | 0 | 7.4038 | 3.9393 | 62.4403 | 3.1723 | 13.8334 | 0 | 189.941 | 19.25 | 975.589 | 52.7342 | 1.5962
2019-09-20 18:30:00 | 0 | 13.542 | 2.9167 | 64.5643 | 1.6383 | 28.0582 | 0 | 198.502 | 19.1 | 975.449 | 53.9654 | 1.9841
2019-09-20 18:45:00 | 0 | 19.6067 | 3.428 | 70.215 | 2.661 | 14.9059 | 0 | 201.449 | 19.13 | 975.668 | 53.0103 | 1.5038
2019-09-20 19:00:00 | 0 | 16.6352 | 4.195 | 72.943 | 3.6837 | 17.1954 | 0 | 198.502 | 19.15 | 975.569 | 51.5095 | 1.7809
2019-09-20 19:15:00 | 0 | 21.7257 | 3.9393 | 75.8657 | 2.9167 | 18.2671 | 0 | 205.127 | 19.15 | 975.553 | 52.3964 | 1.9804
2019-09-20 19:30:00 | 0 | 25.6226 | 3.428 | 79.032 | 2.661 | 21.2385 | 0 | 213.262 | 18.99 | 975.648 | 53.1127 | 1.5334
2019-09-20 19:45:00 | 0 | 24.5023 | 4.195 | 77.3271 | 2.9167 | 21.9692 | 0 | 203.544 | 18.9 | 975.834 | 53.2151 | 2.3093
2019-09-20 20:00:00 | 0 | 29.3735 | 3.6837 | 91.5024 | 3.1723 | 30.0068 | 0 | 210.534 | 18.95 | 975.775 | 51.1001 | 1.5112
2019-09-20 20:15:00 | 0 | 30.3964 | 2.9167 | 86.5824 | 2.1497 | 27.4737 | 0 | 212.434 | 19.02 | 976.168 | 48.8828 | 0.5764
2019-09-20 20:30:00 | 0 | 11.1795 | 3.428 | 55.2361 | 2.4053 | 7.9888 | 0 | 198.917 | 19.33 | 976.279 | 45.5739 | 0.84612
2019-09-20 20:45:00 | 0 | 12.5678 | 3.1723 | 62.7134 | 2.4053 | 13.7856 | 0 | 199.111 | 19.4 | 976.275 | 48.4394 | 1.1195
2019-09-20 21:00:00 | 0 | 12.9575 | 2.9167 | 60.5701 | 2.4053 | 15.0521 | 0 | 200.013 | 19.23 | 976.398 | 47.109 | 0.54684
2019-09-20 21:15:00 | 0 | 19.2901 | 2.661 | 66.7078 | 2.661 | 16.4647 | 0 | 206.71 | 19.44 | 976.367 | 46.9384 | 0.49511
2019-09-20 21:30:00 | 0 | 22.0179 | 3.1723 | 71.8713 | 2.661 | 20.995 | 0 | 208.294 | 19.45 | 976.545 | 46.0515 | 0.073897
2019-09-20 21:45:00 | 0 | 24.0639 | 3.428 | 71.6765 | 2.4053 | 19.972 | 0 | 204.64 | 19.5 | 976.205 | 46.5973 | 0.10346
2019-09-20 22:00:00 | 0 | 21.0193 | 3.1723 | 71.7739 | 2.661 | 25.8175 | 0 | 207.1 | 19.82 | 976.437 | 41.5487 | -0.218
2019-09-20 22:15:00 | 0 | 20.9706 | 2.661 | 71.7739 | 2.4053 | 20.9463 | 0 | 203.13 | 20.25 | 976.828 | 42.6403 | -0.2845
2019-09-20 22:30:00 | 0 | 6.5762 | 3.6837 | 61.7148 | 3.428 | 9.4989 | 0 | 193.047 | 19.88 | 976.634 | 45.5739 | -0.062812
2019-09-20 22:45:00 | 0 | 13.7368 | 3.6837 | 62.2994 | 2.9167 | 15.8802 | 0 | 195.19 | 19.5 | 976.639 | 46.5973 | 1.2193
2019-09-20 23:00:00 | 0 | 26.4508 | 3.1723 | 67.0975 | 2.1497 | 23.2114 | 0 | 204.007 | 19.16 | 976.517 | 48.4394 | 1.7107
2019-09-20 23:15:00 | 0 | 21.336 | 4.195 | 72.7481 | 3.1723 | 14.1266 | 0 | 202.667 | 19.41 | 976.365 | 45.7786 | 1.0419
2019-09-20 23:30:00 | 0 | 25.3304 | 3.6837 | 72.8456 | 2.661 | 12.5678 | 0 | 204.616 | 19.52 | 976.647 | 46.5973 | 0.80178
2019-09-20 23:45:00 | 0 | 25.0137 | 3.1723 | 75.476 | 2.1497 | 20.4348 | 0 | 203.495 | 19.56 | 976.705 | 46.4609 | 0.18844