## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-21 00:00:00 | 0 | 18.5107 | 3.428 | 75.2812 | 2.4053 | 21.8231 | 0 | 201.888 | 19.73 | 976.706 | 44.687 | 0.63182
2019-09-21 00:15:00 | 0 | 31.1758 | 3.1723 | 78.5936 | 1.894 | 42.2822 | 0 | 210.559 | 19.8 | 976.394 | 45.3693 | 0.3621
2019-09-21 00:30:00 | 1.7653 | 21.7257 | 3.1723 | 77.254 | 2.4053 | 26.0123 | 0 | 203.958 | 19.92 | 976.803 | 40.4571 | 0.5764
2019-09-21 00:45:00 | 0 | 19.5093 | 3.428 | 72.7481 | 2.661 | 15.0521 | 0 | 202.229 | 20.17 | 976.653 | 40.4571 | 0.54314
2019-09-21 01:00:00 | 2.9033 | 28.3505 | 2.9167 | 75.6709 | 2.661 | 20.5566 | 0 | 213.019 | 19.98 | 976.493 | 41.2076 | 0.36949
2019-09-21 01:15:00 | 0.99933 | 20.0695 | 2.661 | 70.7996 | 2.661 | 16.4647 | 0.37567 | 203.788 | 19.66 | 976.365 | 42.845 | 0.1404
2019-09-21 01:30:00 | 0 | 31.5168 | 3.1723 | 74.1121 | 2.661 | 25.9149 | 0 | 210.242 | 19.39 | 976.042 | 41.5487 | 0.12562
2019-09-21 01:45:00 | 1.2547 | 32.2475 | 2.9167 | 83.9276 | 2.1497 | 25.4765 | 0 | 208.659 | 19.85 | 976.196 | 38.1375 | 0.066507
2019-09-21 02:00:00 | 0.99933 | 17.5364 | 2.4053 | 77.181 | 2.4053 | 32.9295 | 0 | 195.068 | 20.28 | 976.335 | 35.1356 | -0.077592
2019-09-21 02:15:00 | 0 | 14.3209 | 2.661 | 76.9343 | 2.4053 | 22.0172 | 0 | 192.87 | 20.22 | 976.041 | 36.5671 | -0.073897
2019-09-21 02:30:00 | 0 | 15.2946 | 3.1723 | 71.5729 | 2.661 | 19.7758 | 0 | 195.031 | 20.13 | 976.04 | 38.3396 | -0.11454
2019-09-21 02:45:00 | 0 | 20.1668 | 2.9167 | 80.7365 | 1.894 | 21.7743 | 0 | 194.386 | 19.95 | 976.035 | 35.2719 | 0.025864
2019-09-21 03:00:00 | 0 | 19.1437 | 2.9167 | 78.4463 | 2.1497 | 24.3558 | 0 | 198.451 | 20.51 | 976.035 | 33.7707 | 0.12932
2019-09-21 03:15:00 | 0 | 25.0853 | 3.1723 | 70.9401 | 2.1497 | 23.3804 | 0 | 206.186 | 20.4 | 976.183 | 34.6218 | 0.1441
2019-09-21 03:30:00 | 0 | 4.2862 | 2.661 | 57.8342 | 2.1497 | 12.4691 | 0 | 196.875 | 20.3 | 975.887 | 37.3831 | 0.23278
2019-09-21 03:45:00 | 0 | 30.3935 | 3.1723 | 71.8626 | 2.661 | 20.8468 | 0 | 208.59 | 19.84 | 976.183 | 34.8593 | 0.62443
2019-09-21 04:00:00 | 0.372 | 12.6645 | 2.4053 | 55.719 | 2.661 | 355.823 | 0 | 202.9 | 19.99 | 976.035 | 37.5214 | 2.313
2019-09-21 04:15:00 | 0 | 8.0862 | 4.195 | 57.6469 | 1.6383 | 2.5817 | 0 | 195.091 | 19.53 | 976.035 | 38.7512 | 3.6394
2019-09-21 04:30:00 | 0 | 17.7313 | 4.195 | 65.831 | 2.661 | 12.4703 | 0 | 204.616 | 19.3 | 975.768 | 39.7749 | 2.2908
2019-09-21 04:45:00 | 0 | 28.5454 | 3.1723 | 79.2756 | 2.661 | 21.8231 | 0 | 210.778 | 19.3 | 975.747 | 36.159 | 1.4188
2019-09-21 05:00:00 | 0 | 22.6268 | 3.9393 | 73.1622 | 2.9167 | 15.5392 | 0 | 200.5 | 19.98 | 976.169 | 34.658 | 0.91632
2019-09-21 05:15:00 | 0 | 5.6993 | 3.1723 | 54.1401 | 2.9167 | 352.043 | 0 | 194.679 | 20.12 | 976.258 | 36.8412 | 2.4903
2019-09-21 05:30:00 | 0 | 19.2901 | 3.9393 | 67.0001 | 2.9167 | 12.1537 | 0 | 203.934 | 19.26 | 976.197 | 39.9113 | 2.8857
2019-09-21 05:45:00 | 0 | 29.5196 | 3.6837 | 79.714 | 2.9167 | 18.9978 | 0 | 212.41 | 19.33 | 976.379 | 37.5576 | 2.2539
2019-09-21 06:00:00 | 0 | 14.6137 | 3.9393 | 63.0544 | 2.1497 | 7.7453 | 0 | 197.601 | 19.55 | 976.597 | 38.615 | 3.3623
2019-09-21 06:15:00 | 0 | 17.0006 | 3.9393 | 63.9069 | 2.4053 | 8.5734 | 0 | 201.937 | 19.32 | 976.946 | 39.0926 | 3.4473
2019-09-21 06:30:00 | 0 | 22.846 | 3.6837 | 68.8512 | 2.4053 | 18.5837 | 0 | 207.587 | 19.39 | 976.755 | 38.3763 | 2.4164
2019-09-21 06:45:00 | 0 | 27.8634 | 4.195 | 71.7739 | 2.661 | 18.7055 | 0 | 211.314 | 19.52 | 977.108 | 37.9328 | 1.574
2019-09-21 07:00:00 | 0 | 15.4661 | 3.6837 | 56.8679 | 2.4053 | 0.87682 | 0 | 200.695 | 19.66 | 977.242 | 37.7281 | 0.91263
2019-09-21 07:15:00 | 0 | 18.8025 | 3.6837 | 64.6599 | 2.4053 | 9.9127 | 0 | 203.953 | 19.45 | 977.223 | 36.8403 | 0.94588
2019-09-21 07:30:00 | 0 | 19.2875 | 3.9393 | 64.6993 | 2.4053 | 5.5038 | 0 | 201.13 | 19.46 | 977.519 | 38.6781 | 1.3597
2019-09-21 07:45:00 | 0 | 1.1202 | 3.428 | 42.8525 | 2.9167 | 350.717 | 0 | 192.673 | 19.32 | 977.519 | 42.7695 | 2.8081
2019-09-21 08:00:00 | 0 | 84.5745 | 2.661 | 49.1596 | 2.4053 | 10.033 | 0 | 179.036 | 18.99 | 977.816 | 52.6262 | 4.02
2019-09-21 08:15:00 | 0 | 0.58444 | 3.428 | 54.9298 | 3.1723 | 2.63 | 0 | 185.194 | 18.37 | 977.816 | 46.6568 | 4.1308
2019-09-21 08:30:00 | 0 | 12.2734 | 3.9393 | 65.3293 | 2.9167 | 22.8421 | 0 | 194.475 | 18.5 | 977.964 | 44.5429 | 3.9313
2019-09-21 08:45:00 | 0 | 16.3645 | 4.962 | 66.3031 | 2.9167 | 44.4665 | 0 | 197.64 | 18.73 | 978.409 | 48.0899 | 5.2356
2019-09-21 09:00:00 | 0.99933 | 19.3811 | 5.4733 | 68.2864 | 4.195 | 36.5222 | 0 | 201.213 | 18.98 | 978.419 | 47.8779 | 4.3193
2019-09-21 09:15:00 | 0 | 17.7252 | 4.962 | 69.1374 | 3.428 | 0.048696 | 0 | 200.553 | 18.65 | 978.261 | 51.5601 | 4.9289
2019-09-21 09:30:00 | 0.99933 | 13.4887 | 5.9847 | 68.2365 | 4.962 | 18.6261 | 1.5183 | 199.311 | 19.19 | 978.703 | 53.7425 | 4.9474
2019-09-21 09:45:00 | 0 | 343.711 | 5.4733 | 46.9944 | 3.9393 | 356.979 | 0.63133 | 168.752 | 19.29 | 979 | 57.7571 | 6.0411
2019-09-21 10:00:00 | 0 | 0.24343 | 4.962 | 46.4557 | 5.2177 | 8.6173 | 0 | 193.184 | 20.01 | 979.297 | 51.788 | 4.3821
2019-09-21 10:15:00 | 0 | 6.4257 | 3.6837 | 48.4919 | 4.7063 | 356.941 | 0 | 204.21 | 20.42 | 979.593 | 50.5884 | 4.8403
2019-09-21 10:30:00 | 0 | 5.5738 | 3.428 | 51.9233 | 4.7063 | 36.5093 | 0 | 179.577 | 20.98 | 979.593 | 46.7019 | 5.8231
2019-09-21 10:45:00 | 0 | 17.1324 | 5.4733 | 71.5514 | 3.6837 | 6.376 | 0 | 184.222 | 21.53 | 979.591 | 45.6382 | 5.993
2019-09-21 11:00:00 | 0 | 21.2204 | 4.4507 | 79.337 | 3.428 | 47.527 | 3.6837 | 193.466 | 22.02 | 979.757 | 43.5583 | 8.7974
2019-09-21 11:15:00 | 0 | 1.7035 | 5.2177 | 89.2415 | 1.3827 | 0.048671 | 0 | 163.631 | 22.57 | 979.739 | 42.2972 | 9.6768
2019-09-21 11:30:00 | 0 | 337.822 | 5.4733 | 52.4165 | 4.7063 | 16.3765 | 0.887 | 158.168 | 22.78 | 979.887 | 39.9765 | 13.2977
2019-09-21 11:45:00 | 0 | 25.3323 | 3.1723 | 78.9929 | 2.9167 | 5.962 | 5.9847 | 202.561 | 23.2 | 979.887 | 42.8751 | 12.2078
2019-09-21 12:00:00 | 0 | 21.8761 | 0 | 129.386 | 0.75133 | 336.197 | 0 | 207.933 | 23.43 | 979.96 | 44.169 | 11.2397
2019-09-21 12:15:00 | 0 | 345.459 | 3.9393 | 52.2889 | 1.894 | 355.264 | 1.2627 | 175.162 | 23.46 | 979.777 | 41.9497 | 16.2499
2019-09-21 12:30:00 | 0 | 7.3002 | 8.5413 | 64.7307 | 0 | 35.7222 | 4.962 | 178.222 | 23.66 | 979.55 | 39.5341 | 16.3054
2019-09-21 12:45:00 | 0 | 22.8505 | 2.1497 | 95.2746 | 0 | 306.961 | 0 | 208.696 | 23.17 | 979.294 | 40.865 | 14.6722
2019-09-21 13:00:00 | 0 | 16.6195 | 6.2403 | 82.0041 | 1.894 | 7.5189 | 0 | 175.101 | 23.44 | 979.591 | 39.4645 | 16.4347
2019-09-21 13:15:00 | 7.7547 | 348.773 | 5.9847 | 48.1387 | 1.2627 | 9.0284 | 2.0297 | 175.944 | 23.49 | 979.146 | 39.2977 | 18.3782
2019-09-21 13:30:00 | 0.62733 | 6.2785 | 8.03 | 59.4306 | 0 | 348.726 | 0 | 188.648 | 23.19 | 979.146 | 39.6387 | 20.8278
2019-09-21 13:45:00 | 0 | 8.1767 | 7.0073 | 75.8084 | 0 | 18.8112 | 1.007 | 171.881 | 24.08 | 979.146 | 37.0143 | 22.4499
2019-09-21 14:00:00 | 11.074 | 58.7943 | 3.1723 | 84.6178 | 0 | 21.9018 | 6.7517 | 179.765 | 23.5 | 979.294 | 33.7082 | 20.3195
2019-09-21 14:15:00 | 3.2973 | 22.4859 | 5.2177 | 60.7448 | 0 | 0.048671 | 1.2627 | 183.026 | 23.87 | 979.442 | 31.6632 | 20.8685
2019-09-21 14:30:00 | 0 | 24.7486 | 9.564 | 77.5099 | 0 | 356.993 | 0 | 195.288 | 23.82 | 979.739 | 33.878 | 21.0348
2019-09-21 14:45:00 | 9.0313 | 356.877 | 6.2403 | 49.1319 | 0 | 19.9049 | 4.4507 | 169.581 | 23.84 | 979.442 | 36.0233 | 22.7011
2019-09-21 15:00:00 | 3.5527 | 84.9495 | 6.7517 | 70.4246 | 0 | 7.8112 | 3.9393 | 156.029 | 23.86 | 979.591 | 33.3313 | 25.3466
2019-09-21 15:15:00 | 0 | 22.7283 | 4.4507 | 58.8677 | 0 | 328.66 | 0 | 207.402 | 23.75 | 979.591 | 34.1158 | 29.1228
2019-09-21 15:30:00 | 8.01 | 3.4067 | 7.263 | 96.5588 | 0 | 24.0904 | 2.661 | 153.887 | 23.68 | 979.739 | 32.445 | 26.8504
2019-09-21 15:45:00 | 0 | 3.2852 | 5.2177 | 67.069 | 0 | 25.9163 | 1.5183 | 164.185 | 23.69 | 979.442 | 32.6505 | 25.4058
2019-09-21 16:00:00 | 0 | 84.7574 | 6.2403 | 77.1924 | 0 | 0.048669 | 0 | 164.526 | 23.71 | 979.739 | 31.56 | 29.2558
2019-09-21 16:15:00 | 0 | 17.423 | 7.0073 | 65.0464 | 0 | 2.5794 | 0 | 188.197 | 23.85 | 979.294 | 29.923 | 28.1326
2019-09-21 16:30:00 | 0 | 354.997 | 5.2177 | 39.6691 | 0 | 346.675 | 2.9167 | 178.448 | 23.6 | 979.442 | 35.1731 | 31.4727
2019-09-21 16:45:00 | 4.6907 | 5.1348 | 5.2177 | 47.2142 | 0.63133 | 2.8959 | 4.4507 | 176.431 | 23.5 | 979.146 | 33.0606 | 30.0095
2019-09-21 17:00:00 | 0.62733 | 16.7914 | 7.5187 | 70.7223 | 1.774 | 9.8072 | 0.37567 | 190.692 | 23.34 | 978.997 | 34.3558 | 25.286
2019-09-21 17:15:00 | 0 | 347.801 | 5.9847 | 60.7448 | 0 | 18.7869 | 0.887 | 173 | 23.27 | 979.029 | 35.3101 | 27.4047
2019-09-21 17:30:00 | 5.712 | 7.18 | 7.263 | 63.921 | 0 | 11.415 | 3.6837 | 191.986 | 23.08 | 978.998 | 36.1336 | 24.9956
2019-09-21 17:45:00 | 0 | 12.3158 | 7.263 | 59.6389 | 2.661 | 11.1718 | 5.729 | 195.495 | 22.88 | 978.851 | 36.9524 | 23.6064
2019-09-21 18:00:00 | 0 | 14.4588 | 5.729 | 66.4123 | 0 | 12.7549 | 0 | 198.188 | 22.53 | 978.555 | 38.7964 | 23.0595
2019-09-21 18:15:00 | 0 | 14.8496 | 6.496 | 69.3898 | 0 | 15.726 | 0.37567 | 198.814 | 22.21 | 978.258 | 39.7544 | 23.0632
2019-09-21 18:30:00 | 0 | 19.9383 | 6.496 | 81.8582 | 0 | 19.1836 | 0.63133 | 209.462 | 22.11 | 978.258 | 39.7562 | 22.158
2019-09-21 18:45:00 | 10.308 | 17.92 | 6.496 | 78.4137 | 0 | 18.4556 | 1.5183 | 205.398 | 21.95 | 978.11 | 40.375 | 22.2356
2019-09-21 19:00:00 | 15.1593 | 23.7148 | 8.03 | 82.6991 | 0.37567 | 36.4974 | 8.2857 | 204.156 | 21.72 | 978.11 | 40.4433 | 26.5253
2019-09-21 19:15:00 | 6.478 | 29.68 | 7.5187 | 81.2626 | 0 | 18.7965 | 0.887 | 209.099 | 21.46 | 978.324 | 42.0119 | 28.0032
2019-09-21 19:30:00 | 9.2867 | 26.5395 | 6.7517 | 78.7318 | 0 | 27.3917 | 1.2627 | 210.539 | 21.62 | 978.558 | 42.1489 | 30.4714
2019-09-21 19:45:00 | 3.2973 | 19.2361 | 6.2403 | 86.943 | 2.1497 | 22.1093 | 3.6837 | 198.984 | 21.58 | 978.849 | 41.5374 | 27.9293
2019-09-21 20:00:00 | 1.7653 | 36.6686 | 7.7743 | 80.3152 | 2.9167 | 28.4389 | 2.0297 | 210.151 | 21.49 | 978.846 | 41.058 | 34.105
2019-09-21 20:15:00 | 12.606 | 19.5776 | 8.5413 | 70.3392 | 3.1723 | 37.4019 | 6.2403 | 202.399 | 21.5 | 979.002 | 41.1975 | 37.6948
2019-09-21 20:30:00 | 19.5 | 15.9009 | 8.797 | 84.8537 | 2.9167 | 33.1655 | 10.5867 | 206.104 | 21.51 | 979.145 | 41.2664 | 35.0124
2019-09-21 20:45:00 | 10.0527 | 32.0707 | 8.2857 | 67.2752 | 3.428 | 36.8923 | 3.1723 | 199.511 | 21.41 | 979.001 | 41.8134 | 35.005
2019-09-21 21:00:00 | 4.6907 | 18.9701 | 9.3083 | 71.3684 | 4.4507 | 27.5664 | 2.0297 | 211.862 | 21.38 | 979.002 | 43.1104 | 31.4394
2019-09-21 21:15:00 | 3.1587 | 23.1831 | 7.263 | 77.7488 | 3.428 | 34.7746 | 1.2627 | 206.7 | 21.18 | 979.299 | 45.3615 | 27.5773
2019-09-21 21:30:00 | 2.9033 | 11.9568 | 7.0073 | 72.9266 | 2.1497 | 54.0124 | 0.37567 | 203.581 | 21.04 | 979.151 | 48.7037 | 24.2788
2019-09-21 21:45:00 | 4.0633 | 20.2852 | 5.4733 | 78.3333 | 0 | 51.6749 | 1.5183 | 201.756 | 20.58 | 979.002 | 52.5921 | 20.6025
2019-09-21 22:00:00 | 0 | 13.8806 | 5.4733 | 75.752 | 2.1497 | 2.6544 | 0 | 206.748 | 20.47 | 979.002 | 53.4106 | 18.9361
2019-09-21 22:15:00 | 2.5313 | 26.9333 | 4.7063 | 73.1219 | 2.1497 | 14.5138 | 2.661 | 207.795 | 20.52 | 979.002 | 54.6726 | 21.4412
2019-09-21 22:30:00 | 5.4567 | 26.4951 | 5.729 | 73.1223 | 2.9167 | 37.8918 | 1.5183 | 208.064 | 20.22 | 979.002 | 52.4218 | 22.9265
2019-09-21 22:45:00 | 0.372 | 16.0238 | 6.2403 | 71.5646 | 2.4053 | 40.7414 | 0 | 199.518 | 20.31 | 979.002 | 54.3663 | 19.712
2019-09-21 23:00:00 | 0 | 14.6606 | 6.496 | 66.8923 | 3.428 | 12.5419 | 0 | 198.893 | 20.2 | 978.705 | 54.0955 | 20.6209
2019-09-21 23:15:00 | 0 | 21.0417 | 5.2177 | 70.0117 | 2.4053 | 13.3459 | 2.0297 | 207.689 | 20.26 | 978.705 | 53.21 | 19.1134
2019-09-21 23:30:00 | 3.6693 | 16.3907 | 6.7517 | 66.8486 | 3.428 | 8.6459 | 1.007 | 205.894 | 19.95 | 978.705 | 55.8724 | 21.77
2019-09-21 23:45:00 | 0.372 | 22.4559 | 6.2403 | 80.2964 | 3.1723 | 13.7853 | 1.007 | 206.779 | 19.37 | 978.439 | 56.284 | 23.3108