## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-22 00:00:00 | 20.5213 | 29.1056 | 7.263 | 73.4545 | 2.661 | 27.6198 | 8.2857 | 200.134 | 19.29 | 978.454 | 56.1487 | 23.7172
2019-09-22 00:15:00 | 16.6913 | 27.9365 | 7.7743 | 77.0592 | 3.9393 | 23.5037 | 8.2857 | 202.083 | 19.64 | 978.55 | 53.4197 | 22.3834
2019-09-22 00:30:00 | 9.2867 | 21.1411 | 7.263 | 75.8657 | 2.661 | 41.8682 | 3.6837 | 203.617 | 19.82 | 978.565 | 53.9655 | 20.898
2019-09-22 00:45:00 | 13.1167 | 17.3416 | 7.5187 | 77.936 | 4.195 | 19.899 | 3.6837 | 203.666 | 19.57 | 978.536 | 51.5777 | 24.0017
2019-09-22 01:00:00 | 9.542 | 18.4376 | 8.5413 | 67.6821 | 4.4507 | 2.7279 | 5.9847 | 205.663 | 19.7 | 978.419 | 48.7805 | 21.0163
2019-09-22 01:15:00 | 6.7333 | 16.075 | 7.5187 | 74.0877 | 3.6837 | 12.8844 | 5.4733 | 200.207 | 19.96 | 978.458 | 46.188 | 20.0002
2019-09-22 01:30:00 | 7.7547 | 18.3645 | 8.03 | 76.0606 | 3.6837 | 15.9046 | 5.729 | 204.932 | 20.04 | 978.297 | 43.459 | 20.015
2019-09-22 01:45:00 | 17.7127 | 21.4334 | 7.5187 | 72.8699 | 3.1723 | 19.972 | 10.331 | 207.149 | 19.99 | 978.192 | 42.4356 | 19.8635
2019-09-22 02:00:00 | 9.7973 | 18.5107 | 6.7517 | 85.0723 | 3.428 | 31.663 | 6.7517 | 202.326 | 20.04 | 977.854 | 37.4552 | 19.4053
2019-09-22 02:15:00 | 1.3713 | 19.5823 | 6.2403 | 74.7941 | 2.4053 | 22.7973 | 1.2627 | 204.591 | 20.1 | 977.824 | 39.1608 | 17.9163
2019-09-22 02:30:00 | 4.946 | 19.4849 | 7.5187 | 81.1266 | 3.1723 | 51.976 | 3.1723 | 203.52 | 20.02 | 977.839 | 34.3851 | 18.0161
2019-09-22 02:45:00 | 0 | 23.528 | 5.9847 | 82.1981 | 2.661 | 25.9392 | 5.9847 | 207.538 | 20.22 | 977.831 | 33.4299 | 16.6785
2019-09-22 03:00:00 | 0.372 | 20.1912 | 6.2403 | 77.181 | 2.1497 | 24.1613 | 3.8193 | 207.758 | 20.22 | 977.854 | 29.473 | 12.2262
2019-09-22 03:15:00 | 0 | 25.4765 | 6.496 | 77.8385 | 2.4053 | 22.7973 | 4.7063 | 205.078 | 20.11 | 977.859 | 26.8804 | 11.0661
2019-09-22 03:30:00 | 0 | 18.2915 | 4.962 | 69.4357 | 2.4053 | 25.7444 | 0 | 204.64 | 20.12 | 977.835 | 25.7206 | 10.5562
2019-09-22 03:45:00 | 0 | 14.3214 | 6.2403 | 63.8823 | 0 | 15.8071 | 0 | 198.21 | 19.74 | 977.598 | 34.2486 | 10.4971
2019-09-22 04:00:00 | 0 | 10.4001 | 4.7063 | 54.7246 | 0 | 5.5288 | 4.4507 | 194.118 | 19.11 | 977.383 | 50.145 | 10.97
2019-09-22 04:15:00 | 0 | 0.53583 | 4.4507 | 54.3349 | 1.007 | 0.94989 | 0.75133 | 186.568 | 16.93 | 977.215 | 73.7506 | 15.2782
2019-09-22 04:30:00 | 0 | 2.7522 | 3.9393 | 47.7588 | 0 | 19.7772 | 1.3983 | 185.91 | 15.43 | 976.927 | 79.6862 | 20.1184
2019-09-22 04:45:00 | 5.712 | 10.4743 | 6.2403 | 68.5689 | 3.428 | 14.4206 | 5.4733 | 189.904 | 15.36 | 976.778 | 74.4413 | 26.9317
2019-09-22 05:00:00 | 5.4567 | 10.1356 | 6.2403 | 62.1567 | 2.9167 | 18.8337 | 3.9393 | 195.817 | 15.47 | 976.927 | 76.6421 | 27.7852
2019-09-22 05:15:00 | 9.542 | 8.4545 | 6.496 | 55.5541 | 3.9393 | 19.2723 | 2.9167 | 192.771 | 15.13 | 976.927 | 79.7133 | 31.8274
2019-09-22 05:30:00 | 0 | 10.7691 | 6.496 | 59.087 | 3.1723 | 20.7585 | 2.9167 | 201.348 | 14.77 | 976.851 | 85.8556 | 31.5503
2019-09-22 05:45:00 | 8.2653 | 22.002 | 7.0073 | 76.8283 | 2.9167 | 30.6274 | 5.9847 | 205.718 | 14.1 | 977.008 | 81.5594 | 29.1412
2019-09-22 06:00:00 | 7.244 | 34.115 | 6.496 | 81.9793 | 3.6837 | 15.9853 | 1.007 | 205.494 | 15.22 | 977.225 | 78.1545 | 32.1895
2019-09-22 06:15:00 | 9.2867 | 29.1437 | 8.03 | 92.3834 | 3.6837 | 33.8701 | 1.894 | 217.5 | 15.51 | 977.671 | 76.9935 | 32.1932
2019-09-22 06:30:00 | 9.7973 | 25.8264 | 8.2857 | 81.3564 | 3.1723 | 17.6886 | 4.4507 | 221.693 | 16.02 | 977.723 | 72.8547 | 30.8557
2019-09-22 06:45:00 | 8.5207 | 23.268 | 8.2857 | 75.0457 | 1.6383 | 14.107 | 3.6837 | 206.659 | 16.51 | 977.97 | 70.5682 | 27.5783
2019-09-22 07:00:00 | 8.01 | 14.7641 | 6.2403 | 72.1906 | 3.6837 | 21.196 | 3.5637 | 207.843 | 16.82 | 978.114 | 72.4074 | 23.1334
2019-09-22 07:15:00 | 0 | 8.9636 | 6.496 | 63.7173 | 3.428 | 21.313 | 0 | 200.659 | 16.46 | 978.263 | 82.4204 | 21.4264
2019-09-22 07:30:00 | 0 | 16.4892 | 5.729 | 65.0767 | 1.6383 | 0.048713 | 5.4733 | 199.186 | 15.18 | 978.263 | 89.3748 | 19.579
2019-09-22 07:45:00 | 0.372 | 17.7313 | 7.0073 | 68.6563 | 2.661 | 15.4661 | 0 | 201.547 | 15.61 | 978.411 | 86.9862 | 18.4558
2019-09-22 08:00:00 | 0 | 21.336 | 6.2403 | 72.4559 | 0 | 13.2497 | 0 | 209.804 | 15.88 | 978.856 | 86.5086 | 15.1969
2019-09-22 08:15:00 | 9.7973 | 24.551 | 7.0073 | 73.2109 | 4.195 | 18.7299 | 3.6837 | 202.424 | 16.67 | 979.267 | 79.004 | 12.6659
2019-09-22 08:30:00 | 1.51 | 18.6782 | 5.2177 | 63.6501 | 3.6837 | 29.3932 | 4.4507 | 203.439 | 17.75 | 979.3 | 76.638 | 9.4477
2019-09-22 08:45:00 | 0 | 5.4546 | 4.4507 | 50.4476 | 3.428 | 347.222 | 0.63133 | 198.656 | 18.13 | 980.338 | 79.0557 | 10.2643
2019-09-22 09:00:00 | 1.2547 | 58.3375 | 5.4733 | 51.2175 | 3.428 | 0.048696 | 1.2627 | 192.032 | 18.04 | 979.938 | 79.6591 | 11.1289
2019-09-22 09:15:00 | 4.0633 | 1.5096 | 6.496 | 61.7357 | 2.4053 | 27.7809 | 0.63133 | 183.875 | 17.95 | 979.89 | 85.1151 | 12.1856
2019-09-22 09:30:00 | 7.4993 | 352.654 | 5.9847 | 49.0261 | 3.6837 | 356.988 | 1.894 | 172.991 | 18.15 | 980.335 | 86.5473 | 16.1132
2019-09-22 09:45:00 | 0 | 354.061 | 5.9847 | 57.6929 | 3.1723 | 27.9266 | 1.2627 | 159.16 | 18.25 | 980.632 | 85.7277 | 15.559
2019-09-22 10:00:00 | 0 | 336.613 | 4.962 | 57.4215 | 2.1497 | 4.5284 | 0 | 169.451 | 18.9 | 980.632 | 82.7913 | 15.9765
2019-09-22 10:15:00 | 1.3933 | 1.9962 | 7.0073 | 83.9477 | 3.428 | 42.6015 | 0 | 189.175 | 19.39 | 980.483 | 79.4751 | 17.1626
2019-09-22 10:30:00 | 6.9887 | 19.3043 | 7.0073 | 73.5758 | 0 | 26.0717 | 1.6383 | 203.559 | 19.89 | 980.928 | 74.1893 | 21.4634
2019-09-22 10:45:00 | 14.138 | 10.2485 | 5.4733 | 87.6949 | 0 | 33.8859 | 9.564 | 188.344 | 20.64 | 981.225 | 65.9043 | 19.5346
2019-09-22 11:00:00 | 8.2653 | 24.072 | 10.331 | 66.3329 | 0 | 2.1906 | 5.4733 | 203.869 | 21.04 | 981.077 | 64.3945 | 22.0804
2019-09-22 11:15:00 | 1.2547 | 5.7928 | 6.2403 | 53.5784 | 3.1723 | 355.649 | 0 | 183.155 | 21.55 | 981.075 | 57.7127 | 19.664
2019-09-22 11:30:00 | 8.776 | 7.2288 | 8.2857 | 73.5368 | 0.37567 | 11.1718 | 5.2177 | 183.715 | 21.79 | 980.779 | 54.7128 | 21.2321
2019-09-22 11:45:00 | 9.7973 | 346.231 | 6.2403 | 52.5756 | 4.195 | 21.2956 | 2.7967 | 157.344 | 22.08 | 980.915 | 48.6076 | 29.8382
2019-09-22 12:00:00 | 9.0313 | 29.2029 | 10.5867 | 84.96 | 0 | 35.6519 | 1.127 | 202.4 | 22.4 | 980.735 | 42.2978 | 36.324
2019-09-22 12:15:00 | 5.2013 | 7.8847 | 10.0753 | 67.5349 | 3.1723 | 27.4748 | 0.75133 | 172.758 | 22.74 | 980.356 | 37.7303 | 41.94
2019-09-22 12:30:00 | 6.9887 | 12.8006 | 8.03 | 71.2349 | 1.894 | 11.3648 | 0.75133 | 188.31 | 22.57 | 980.583 | 40.287 | 40.2872
2019-09-22 12:45:00 | 8.5207 | 5.2568 | 9.0527 | 69.3174 | 0 | 15.6001 | 2.541 | 159.895 | 22.39 | 980.431 | 45.4362 | 33.0106
2019-09-22 13:00:00 | 0 | 25.5078 | 8.5413 | 92.1562 | 0 | 56.0781 | 0 | 168.113 | 22.51 | 980.335 | 49.2925 | 29.7139
2019-09-22 13:15:00 | 6.6167 | 0 | 5.729 | 55.9831 | 2.661 | 21.4904 | 3.1723 | 179.663 | 22.41 | 980.483 | 54.7775 | 34.3449
2019-09-22 13:30:00 | 0 | 8.1527 | 8.797 | 85.9367 | 0 | 16.1108 | 0.37567 | 182.986 | 22.49 | 980.334 | 52.32 | 37.244
2019-09-22 13:45:00 | 7.4993 | 30.8334 | 6.2403 | 3.9871 | 0 | 5.2079 | 3.428 | 206.075 | 22.64 | 980.3 | 50.3076 | 38.7554
2019-09-22 14:00:00 | 1.51 | 338.335 | 5.4733 | 31.0556 | 2.661 | 35.2863 | 1.5183 | 160.029 | 22.95 | 980.452 | 47.3074 | 38.1867
2019-09-22 14:15:00 | 5.712 | 349.407 | 4.962 | 68.3861 | 4.4507 | 34.4102 | 5.729 | 146.888 | 22.9 | 980.297 | 45.2624 | 37.5545
2019-09-22 14:30:00 | 3.6693 | 8.42 | 11.098 | 61.3288 | 2.9167 | 53.9272 | 4.7063 | 192.834 | 22.91 | 979.745 | 46.4554 | 40.9195
2019-09-22 14:45:00 | 1.51 | 351.208 | 6.2403 | 82.3546 | 2.9167 | 9.0284 | 2.4053 | 150.295 | 22.98 | 980.184 | 44.9898 | 39.699
2019-09-22 15:00:00 | 8.776 | 341.158 | 7.263 | 24.2174 | 0 | 0.048671 | 3.1723 | 154.165 | 23.28 | 980.332 | 43.5924 | 36.4444
2019-09-22 15:15:00 | 0 | 347.363 | 5.4733 | 70.9656 | 2.661 | 33.0961 | 4.962 | 164.166 | 23.04 | 979.887 | 45.8078 | 33.6659
2019-09-22 15:30:00 | 7.4993 | 6.4002 | 7.5187 | 50.6943 | 0 | 34.8969 | 2.0297 | 186.36 | 23.36 | 980.036 | 46.9666 | 30.7263
2019-09-22 15:45:00 | 6.7333 | 16.3777 | 8.797 | 69.8462 | 4.195 | 22.7536 | 2.1497 | 192.542 | 22.98 | 979.591 | 45.91 | 29.5735
2019-09-22 16:00:00 | 11.5847 | 2.5309 | 10.0753 | 77.2198 | 0 | 23.8487 | 7.0073 | 194.659 | 23.09 | 979.591 | 46.0804 | 35.7772
2019-09-22 16:15:00 | 3.1587 | 6.6192 | 8.2857 | 58.1652 | 0 | 18.6652 | 3.9393 | 181.372 | 23.1 | 979.887 | 44.3763 | 30.3394
2019-09-22 16:30:00 | 11.5847 | 334.879 | 6.496 | 46.3626 | 3.1723 | 24.7247 | 4.4507 | 166.162 | 23.05 | 979.739 | 45.1261 | 26.2001
2019-09-22 16:45:00 | 3.6693 | 16.8888 | 8.797 | 70.4303 | 0 | 28.7157 | 1.2627 | 180.471 | 22.98 | 979.742 | 43.6946 | 27.724
2019-09-22 17:00:00 | 1.2547 | 13.3115 | 9.0527 | 60.5014 | 2.661 | 31.417 | 2.2853 | 193.856 | 22.83 | 979.386 | 43.9673 | 23.1999
2019-09-22 17:15:00 | 0 | 5.9868 | 5.729 | 62.5981 | 0 | 32.5379 | 0 | 184.519 | 22.73 | 979.41 | 44.0375 | 18.8142
2019-09-22 17:30:00 | 9.7973 | 356.914 | 5.9847 | 50.5845 | 3.428 | 7.7886 | 4.4507 | 180.356 | 22.61 | 979.444 | 43.9065 | 16.6896
2019-09-22 17:45:00 | 0.372 | 346.327 | 4.7063 | 49.9031 | 0 | 29.6212 | 4.7063 | 176.072 | 22.49 | 979.445 | 44.452 | 15.208
2019-09-22 18:00:00 | 0 | 13.4606 | 7.263 | 74.6381 | 0 | 19.8867 | 2.0297 | 169.487 | 22.31 | 978.851 | 43.9776 | 11.9528
2019-09-22 18:15:00 | 0 | 356.927 | 5.4733 | 60.5288 | 0 | 21.7876 | 0 | 188.323 | 22.08 | 978.851 | 45.6188 | 11.1806
2019-09-22 18:30:00 | 0.372 | 12.4167 | 5.4733 | 72.4191 | 0 | 40.1716 | 0.887 | 196.89 | 21.69 | 978.703 | 44.8738 | 10.8961
2019-09-22 18:45:00 | 4.6907 | 13.5374 | 5.729 | 65.0226 | 1.1427 | 18.1635 | 5.4733 | 189.499 | 21.53 | 978.406 | 43.2054 | 11.0291
2019-09-22 19:00:00 | 0 | 13.7565 | 6.7517 | 69.4052 | 0 | 11.5896 | 2.0297 | 198.824 | 21.51 | 978.318 | 43.1031 | 12.3149
2019-09-22 19:15:00 | 0 | 6.0386 | 4.962 | 66.2936 | 0 | 16.4114 | 3.0523 | 201.1 | 21.26 | 978.364 | 43.242 | 10.4379
2019-09-22 19:30:00 | 0 | 16.8507 | 4.4507 | 71.6562 | 0 | 24.8134 | 4.195 | 197.777 | 21.01 | 978.705 | 43.5858 | 8.7346
2019-09-22 19:45:00 | 0 | 30.099 | 5.2177 | 84.7135 | 0 | 29.125 | 4.195 | 208.648 | 20.91 | 978.557 | 42.9059 | 6.8983
2019-09-22 20:00:00 | 0 | 28.0291 | 6.2403 | 82.5218 | 0 | 26.5924 | 5.9847 | 206.943 | 21 | 978.557 | 41.8827 | 6.6138
2019-09-22 20:15:00 | 0 | 34.385 | 4.7063 | 79.1612 | 0 | 9.6434 | 0 | 209.305 | 20.78 | 979.002 | 40.723 | 6.4623
2019-09-22 20:30:00 | 0 | 18.1179 | 4.962 | 79.356 | 0 | 25.7887 | 0 | 207.747 | 20.87 | 978.854 | 37.7899 | 5.8009
2019-09-22 20:45:00 | 0 | 28.4675 | 5.4733 | 78.0897 | 0 | 33.3622 | 0 | 211.205 | 20.93 | 978.705 | 36.8008 | 6.2406
2019-09-22 21:00:00 | 0 | 23.1587 | 4.7063 | 69.0308 | 0 | 15.6827 | 0 | 216.952 | 20.78 | 978.854 | 37.4829 | 6.3625
2019-09-22 21:15:00 | 0 | 33.0213 | 4.962 | 93.188 | 0 | 35.6756 | 3.5637 | 212.447 | 20.62 | 978.705 | 37.6535 | 7.4008
2019-09-22 21:30:00 | 0 | 41.6666 | 5.729 | 89.4387 | 0 | 0.34093 | 3.308 | 216.393 | 20.67 | 978.854 | 37.1081 | 6.5251
2019-09-22 21:45:00 | 0 | 33.6057 | 4.7063 | 93.6751 | 0 | 30.3426 | 0 | 217.195 | 20.61 | 978.705 | 37.3806 | 5.0028
2019-09-22 22:00:00 | 0 | 33.8983 | 3.6837 | 80.94 | 0 | 45.6361 | 0 | 213.715 | 20.27 | 978.854 | 40.8599 | 4.6925
2019-09-22 22:15:00 | 0 | 39.6498 | 3.9393 | 90.9609 | 0 | 41.8904 | 0 | 201.975 | 19.99 | 978.409 | 41.9559 | 4.0754
2019-09-22 22:30:00 | 0 | 17.9016 | 4.4507 | 81.5152 | 0 | 21.9203 | 0 | 194.116 | 20.1 | 978.409 | 39.0239 | 3.2958
2019-09-22 22:45:00 | 0 | 23.6011 | 4.4507 | 81.6138 | 0 | 27.7416 | 0 | 197.358 | 20.29 | 978.126 | 38.4786 | 2.7342
2019-09-22 23:00:00 | 0 | 13.1523 | 3.6837 | 69.7767 | 0 | 16.075 | 0 | 197.382 | 20.48 | 978.011 | 37.9328 | 2.2945
2019-09-22 23:15:00 | 0 | 11.3499 | 3.9393 | 63.7605 | 0 | 26.1584 | 0 | 192.462 | 20.58 | 977.847 | 37.3187 | 2.5605
2019-09-22 23:30:00 | 0 | 6.9413 | 3.9393 | 66.3163 | 0 | 14.4185 | 0 | 198.109 | 20.52 | 977.972 | 37.1816 | 1.8585
2019-09-22 23:45:00 | 0 | 9.0603 | 3.6837 | 71.5774 | 0 | 13.2495 | 0 | 198.694 | 20.5 | 977.965 | 36.4312 | 1.4188