## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-23 00:00:00 | 0 | 7.8914 | 3.9393 | 63.5902 | 0 | 8.7682 | 0 | 193.996 | 20.52 | 977.836 | 33.7029 | 1.4151
2019-09-23 00:15:00 | 0 | 10.8872 | 3.9393 | 67.2435 | 0 | 11.009 | 0 | 182.573 | 20.59 | 977.971 | 33.5664 | 1.3745
2019-09-23 00:30:00 | 0 | 0.12178 | 3.6837 | 68.5589 | 0 | 23.1383 | 0 | 179.188 | 20.62 | 977.825 | 33.0889 | 2.0026
2019-09-23 00:45:00 | 0 | 9.1334 | 3.9393 | 66.6094 | 0 | 26.6209 | 0 | 187.808 | 20.65 | 977.82 | 33.5659 | 2.276
2019-09-23 01:00:00 | 0 | 7.9888 | 3.6837 | 68.7292 | 0 | 18.9003 | 0 | 187.858 | 20.64 | 977.816 | 34.5897 | 2.3869
2019-09-23 01:15:00 | 0 | 9.6936 | 3.9393 | 70.0187 | 0 | 21.4574 | 0 | 176.262 | 20.55 | 977.816 | 34.6574 | 1.9915
2019-09-23 01:30:00 | 0 | 9.6936 | 3.428 | 68.6059 | 0 | 20.5318 | 0 | 179.574 | 20.58 | 977.82 | 34.7256 | 1.7181
2019-09-23 01:45:00 | 0 | 8.6706 | 3.6837 | 70.7979 | 0 | 35.5593 | 0 | 189.804 | 20.58 | 977.964 | 35.8171 | 1.4595
2019-09-23 02:00:00 | 0 | 11.2279 | 3.6837 | 66.34 | 0 | 16.9514 | 0 | 189.899 | 20.55 | 977.964 | 38.955 | 0.98283
2019-09-23 02:15:00 | 0 | 8.427 | 3.6837 | 69.4096 | 0 | 25.2325 | 0 | 189.877 | 20.52 | 977.964 | 42.1619 | 0.76483
2019-09-23 02:30:00 | 0 | 12.3239 | 3.6837 | 65.0493 | 0 | 19.7279 | 0 | 195.038 | 20.42 | 977.555 | 46.596 | 0.56531
2019-09-23 02:45:00 | 0 | 0.34098 | 3.428 | 62.0304 | 0 | 21.2383 | 0 | 183.448 | 20.34 | 977.523 | 47.279 | 0.17366
2019-09-23 03:00:00 | 0 | 8.9631 | 2.9167 | 60.7649 | 0 | 15.7341 | 0 | 180.796 | 20.36 | 977.675 | 47.9618 | -0.011085
2019-09-23 03:15:00 | 0 | 1.8267 | 3.1723 | 63.1275 | 0 | 14.0291 | 0 | 182.33 | 20.31 | 977.713 | 47.4842 | 0.092371
2019-09-23 03:30:00 | 0.744 | 12.5191 | 2.661 | 61.0572 | 0 | 16.1725 | 0 | 183.158 | 20.29 | 977.448 | 47.6207 | -0.014779
2019-09-23 03:45:00 | 0 | 3.9944 | 2.9167 | 63.4928 | 0 | 19.0952 | 0 | 180.601 | 20.22 | 977.703 | 45.6763 | -0.18844
2019-09-23 04:00:00 | 0 | 1.0717 | 2.4053 | 66.9027 | 0 | 19.4849 | 0 | 179.87 | 20.21 | 977.632 | 44.2094 | -0.17735
2019-09-23 04:15:00 | 0 | 81.4956 | 2.4053 | 65.49 | 0 | 20.0695 | 0 | 180.211 | 20.21 | 977.673 | 45.5739 | -0.15149
2019-09-23 04:30:00 | 0 | 355.064 | 2.4053 | 53.8478 | 0 | 12.0806 | 0 | 173.464 | 20.24 | 977.682 | 48.5758 | -0.13301
2019-09-23 04:45:00 | 0 | 356.915 | 2.4053 | 54.2375 | 0 | 17.5364 | 0 | 170.128 | 20.12 | 977.797 | 49.3604 | -0.18844
2019-09-23 05:00:00 | 0 | 75.1387 | 2.9167 | 54.2375 | 0 | 12.6652 | 0 | 174.341 | 20.16 | 978.051 | 52.9422 | -0.18844
2019-09-23 05:15:00 | 0 | 353.213 | 2.1497 | 54.2375 | 0 | 10.1565 | 0 | 168.082 | 20.11 | 978.049 | 58.673 | -0.26233
2019-09-23 05:30:00 | 0 | 339.354 | 1.894 | 36.5062 | 0 | 352.531 | 0 | 153.322 | 20.06 | 978.376 | 59.6964 | -0.24386
2019-09-23 05:45:00 | 0 | 339.354 | 1.6383 | 36.5062 | 0 | 349.218 | 0 | 153.565 | 19.92 | 978.326 | 60.0375 | -0.22539
2019-09-23 06:00:00 | 0 | 339.305 | 1.3827 | 36.5062 | 0 | 349.218 | 0 | 153.59 | 19.79 | 978.408 | 61.2656 | -0.22539
2019-09-23 06:15:00 | 0 | 338.721 | 0.75133 | 36.5062 | 0 | 349.218 | 0 | 153.395 | 19.74 | 978.707 | 51.4412 | -0.22539
2019-09-23 06:30:00 | 0 | 334.799 | 0.75133 | 36.5062 | 0 | 349.218 | 0 | 153.419 | 19.88 | 978.7 | 56.7627 | -0.22539
2019-09-23 06:45:00 | 0 | 334.824 | 0.37567 | 36.5062 | 0 | 349.218 | 0 | 153.492 | 20.34 | 978.997 | 57.5132 | -0.22539
2019-09-23 07:00:00 | 0 | 334.854 | 0.75133 | 36.499 | 0 | 349.222 | 0 | 153.473 | 20.78 | 979.005 | 59.8593 | -0.22539
2019-09-23 07:15:00 | 0 | 334.811 | 0 | 36.4918 | 0 | 349.226 | 0 | 153.502 | 21.81 | 979.523 | 55.4523 | -0.22539
2019-09-23 07:30:00 | 0 | 334.807 | 0 | 36.4788 | 0 | 349.219 | 0 | 153.564 | 21.48 | 979.892 | 55.3032 | -0.22539
2019-09-23 07:45:00 | 0 | 334.84 | 0 | 36.4679 | 0 | 105.439 | 0 | 153.559 | 21.3 | 980.483 | 60.4399 | -0.22539
2019-09-23 08:00:00 | 0 | 334.466 | 1.127 | 36.4582 | 0 | 105.421 | 0 | 95.4679 | 21.73 | 980.49 | 55.1466 | -0.22539
2019-09-23 08:15:00 | 0 | 334.408 | 0.75133 | 35.9698 | 0 | 111.356 | 0 | 95.3921 | 22.12 | 980.925 | 55.8608 | -0.22539
2019-09-23 08:30:00 | 0 | 270.546 | 1.127 | 35.3694 | 0 | 173.309 | 0 | 96.4099 | 23.3 | 980.636 | 47.224 | -0.22539
2019-09-23 08:45:00 | 0 | 272.682 | 1.6383 | 316.273 | 0 | 229.867 | 0 | 80.0605 | 24.75 | 981.219 | 50.3578 | -0.22539
2019-09-23 09:00:00 | 0 | 161.556 | 1.6383 | 201.377 | 0 | 140.611 | 0 | 38.5341 | 23.22 | 981.219 | 54.6508 | -0.23647
2019-09-23 09:15:00 | 0 | 142.48 | 3.1723 | 209.691 | 0 | 150.435 | 0 | 336.022 | 23.05 | 981.664 | 53.1163 | -0.22539
2019-09-23 09:30:00 | 0 | 156.372 | 1.894 | 203.295 | 0 | 181.234 | 0 | 341.158 | 23.78 | 981.812 | 50.2208 | -0.22539
2019-09-23 09:45:00 | 0 | 195.974 | 1.3827 | 216.356 | 0 | 212.516 | 0 | 42.4983 | 23.9 | 981.96 | 49.6409 | -0.22539
2019-09-23 10:00:00 | 0 | 253.196 | 2.4053 | 305.561 | 0 | 248.404 | 0 | 58.6711 | 24.53 | 981.812 | 47.8999 | -0.24386
2019-09-23 10:15:00 | 0 | 174.352 | 4.195 | 208.91 | 0 | 159.296 | 0 | 313.678 | 24.19 | 981.664 | 46.467 | -0.23647
2019-09-23 10:30:00 | 0 | 164.911 | 2.9167 | 215.775 | 0 | 165.13 | 0 | 350.646 | 24.15 | 981.515 | 44.0199 | -0.25494
2019-09-23 10:45:00 | 0 | 190.724 | 2.4053 | 242.027 | 0 | 186.589 | 0 | 64.3208 | 24.09 | 981.515 | 41.7036 | -0.26233
2019-09-23 11:00:00 | 0 | 307.884 | 2.661 | 6.6138 | 0 | 288.957 | 0 | 120.857 | 24.58 | 981.664 | 39.3186 | -0.23647
2019-09-23 11:15:00 | 0 | 240.96 | 1.3827 | 258.326 | 0 | 205.929 | 0 | 53.2033 | 24.73 | 981.515 | 40.6814 | -0.22539
2019-09-23 11:30:00 | 0 | 171.648 | 3.9393 | 221.028 | 0 | 167.561 | 0 | 351.081 | 24.9 | 981.367 | 35.2974 | -0.25125
2019-09-23 11:45:00 | 0 | 254.705 | 5.4733 | 312.77 | 0 | 262.27 | 0 | 89.621 | 25 | 981.367 | 34.9915 | -0.22169
2019-09-23 12:00:00 | 0 | 252.564 | 4.962 | 273.287 | 0 | 211.159 | 0 | 66.9968 | 24.84 | 981.071 | 39.6593 | 1.6368
2019-09-23 12:15:00 | 0 | 284.676 | 4.962 | 318.657 | 0 | 264.995 | 0 | 103.22 | 24.84 | 981.219 | 41.0903 | 1.2452
2019-09-23 12:30:00 | 0 | 248.72 | 4.962 | 320.555 | 0 | 259.667 | 0 | 95.2892 | 25.02 | 980.478 | 39.9659 | 2.3241
2019-09-23 12:45:00 | 0 | 232.397 | 5.4733 | 281.753 | 0 | 249.523 | 0 | 62.4719 | 25.07 | 980.626 | 36.5928 | 2.6492
2019-09-23 13:00:00 | 0 | 244.567 | 2.1497 | 279.047 | 0 | 227.072 | 0 | 78.3509 | 24.85 | 980.67 | 34.4882 | 2.0396
2019-09-23 13:15:00 | 0 | 294.501 | 3.9393 | 1.7002 | 0 | 296.253 | 0 | 138.806 | 25.39 | 980.627 | 34.1506 | 0.61704
2019-09-23 13:30:00 | 0 | 236.532 | 4.7063 | 272.672 | 0 | 226.312 | 0 | 59.4737 | 25.99 | 980.629 | 33.7412 | 0.52097
2019-09-23 13:45:00 | 0 | 282.874 | 4.962 | 326.024 | 0 | 224.347 | 0 | 97.6333 | 25.75 | 980.777 | 31.9358 | 0.44708
2019-09-23 14:00:00 | 0 | 248.748 | 2.4053 | 298.101 | 0 | 276.44 | 0 | 97.3138 | 25.96 | 981.069 | 31.185 | 0.11084
2019-09-23 14:15:00 | 0 | 261.618 | 2.4053 | 289.114 | 0 | 230.667 | 0 | 60.5137 | 25.86 | 981.281 | 27.7058 | -0.025864
2019-09-23 14:30:00 | 0 | 272.586 | 2.661 | 321.748 | 0 | 204.397 | 0 | 65.732 | 26.02 | 980.776 | 28.9609 | -0.20691
2019-09-23 14:45:00 | 0 | 298.347 | 2.4053 | 10.2692 | 0 | 335.325 | 0 | 121.976 | 26.25 | 980.922 | 33.5946 | -0.029559
2019-09-23 15:00:00 | 0 | 227.726 | 2.1497 | 265.016 | 0 | 224.782 | 0 | 33.8147 | 26.53 | 980.922 | 34.6848 | -0.070202
2019-09-23 15:15:00 | 0 | 287.011 | 1.3827 | 292.555 | 0 | 294.966 | 0 | 114.556 | 26.05 | 980.922 | 36.5588 | -0.14779
2019-09-23 15:30:00 | 0 | 273.777 | 3.6837 | 313.135 | 0 | 259.789 | 0 | 107.72 | 26.03 | 980.922 | 35.9455 | 0.011085
2019-09-23 15:45:00 | 0 | 234.805 | 4.195 | 295.012 | 0 | 209.116 | 0 | 63.0558 | 25.69 | 980.774 | 35.9455 | -0.1404
2019-09-23 16:00:00 | 0 | 269.058 | 2.661 | 299.877 | 0 | 251.566 | 0 | 80.3037 | 25.92 | 980.626 | 40.0682 | -0.22539
2019-09-23 16:15:00 | 0 | 241.13 | 2.9167 | 298.588 | 0 | 249.791 | 0 | 69.6728 | 26.13 | 980.922 | 37.8876 | 0.18105
2019-09-23 16:30:00 | 0 | 261.541 | 2.661 | 285.11 | 0 | 258.451 | 0 | 86.9937 | 25.69 | 980.626 | 39.7956 | -0.27342
2019-09-23 16:45:00 | 0 | 258.183 | 3.6837 | 298.831 | 0 | 258.743 | 0 | 84.561 | 25.68 | 980.478 | 40.7496 | -0.055423
2019-09-23 17:00:00 | 0 | 267.209 | 2.9167 | 311.408 | 0 | 265.944 | 0 | 93.9999 | 25.63 | 980.478 | 39.2504 | -0.20691
2019-09-23 17:15:00 | 0 | 249.837 | 3.6837 | 294.729 | 0 | 251.297 | 0 | 70.7806 | 25.54 | 980.099 | 40.0074 | -0.20322
2019-09-23 17:30:00 | 0 | 256.146 | 2.1497 | 291.629 | 0 | 238.771 | 0 | 78.0411 | 25.38 | 980.179 | 41.2394 | -0.21061
2019-09-23 17:45:00 | 0 | 248.282 | 2.661 | 294.447 | 0 | 247.747 | 0 | 75.3145 | 25.23 | 979.591 | 41.0342 | -0.218
2019-09-23 18:00:00 | 2.3927 | 255.327 | 2.1497 | 296.652 | 0 | 259.123 | 1.774 | 73.2981 | 25.11 | 979.294 | 41.8541 | -0.20691
2019-09-23 18:15:00 | 0.372 | 253.185 | 1.894 | 296.603 | 0 | 249.389 | 1.5183 | 74.4419 | 25.02 | 979.409 | 42.2631 | -0.25125
2019-09-23 18:30:00 | 2.1373 | 253.276 | 2.1497 | 296.656 | 0 | 250.574 | 3.1723 | 78.2756 | 24.94 | 979.294 | 43.2928 | -0.22539
2019-09-23 18:45:00 | 3.1587 | 257.999 | 2.1497 | 304.592 | 0 | 256.685 | 1.127 | 78.0082 | 24.82 | 979.295 | 43.5657 | -0.22539
2019-09-23 19:00:00 | 0 | 258.014 | 2.1497 | 304.635 | 0 | 257.819 | 1.007 | 78.2562 | 24.85 | 979.296 | 43.0228 | -0.22539
2019-09-23 19:15:00 | 5.2013 | 270.214 | 2.1497 | 323.001 | 0 | 278.052 | 2.1497 | 97.3744 | 24.81 | 979.445 | 43.5048 | -0.22539
2019-09-23 19:30:00 | 0 | 270.385 | 2.4053 | 321.98 | 0 | 275.96 | 0 | 87.8563 | 24.73 | 979.296 | 43.8459 | -0.22539
2019-09-23 19:45:00 | 0 | 267.026 | 2.661 | 320.763 | 0 | 258.773 | 0 | 87.6372 | 24.64 | 979.296 | 44.3232 | -0.22539
2019-09-23 20:00:00 | 4.4353 | 263.009 | 2.1497 | 312.486 | 0 | 246.601 | 2.661 | 84.716 | 24.54 | 979.741 | 44.5278 | -0.22539
2019-09-23 20:15:00 | 5.9673 | 259.942 | 2.1497 | 298.61 | 0 | 248.111 | 2.9167 | 80.9184 | 24.59 | 979.741 | 44.255 | -0.22539
2019-09-23 20:30:00 | 7.244 | 272.26 | 1.894 | 323.587 | 0 | 270.507 | 2.9167 | 103.509 | 24.65 | 979.89 | 44.3573 | -0.22539
2019-09-23 20:45:00 | 9.0313 | 272.26 | 1.894 | 312.413 | 0 | 269.825 | 9.8197 | 94.5752 | 24.58 | 979.741 | 44.8005 | -0.22539
2019-09-23 21:00:00 | 0.88267 | 261.089 | 2.4053 | 301.924 | 0 | 241.638 | 0.37567 | 84.7899 | 24.51 | 979.89 | 44.7669 | -0.22539
2019-09-23 21:15:00 | 0 | 245.384 | 2.9167 | 286.682 | 0 | 234.965 | 0.63133 | 67.4076 | 24.58 | 980.038 | 45.5506 | -0.22539
2019-09-23 21:30:00 | 10.0527 | 241.733 | 2.661 | 285.611 | 0 | 233.018 | 1.894 | 61.127 | 24.58 | 980.038 | 46.1303 | -0.22539
2019-09-23 21:45:00 | 11.3293 | 237.156 | 3.1723 | 277.918 | 0 | 228.441 | 0 | 57.6458 | 24.5 | 980.038 | 47.1872 | -0.22539
2019-09-23 22:00:00 | 3.6693 | 232.92 | 2.9167 | 277.918 | 0 | 223.28 | 3.308 | 58.2544 | 24.37 | 979.593 | 47.5281 | -0.22539
2019-09-23 22:15:00 | 0 | 224.595 | 3.428 | 273.828 | 0 | 213.762 | 0 | 50.9757 | 24.41 | 979.741 | 47.7327 | -0.22539
2019-09-23 22:30:00 | 2.1373 | 219.337 | 3.6837 | 256.325 | 0 | 209.55 | 0 | 48.3709 | 24.14 | 979.741 | 48.0737 | -0.22539
2019-09-23 22:45:00 | 0 | 213.348 | 3.9393 | 255.716 | 0 | 206.167 | 0 | 39.2907 | 24.11 | 979.593 | 46.3348 | -0.25494
2019-09-23 23:00:00 | 0 | 211.985 | 4.195 | 255.522 | 0 | 209.575 | 0 | 34.8601 | 24.17 | 979.296 | 48.6192 | -0.18105
2019-09-23 23:15:00 | 2.5313 | 216.318 | 2.9167 | 250.75 | 0 | 221.138 | 0.887 | 38.2683 | 23.96 | 979.296 | 51.6195 | 0.47663
2019-09-23 23:30:00 | 0 | 223.913 | 4.195 | 264.432 | 0 | 207.652 | 0.63133 | 43.3804 | 23.8 | 978.703 | 51.6877 | 1.6294
2019-09-23 23:45:00 | 0 | 236.162 | 3.428 | 265.556 | 0 | 240.276 | 0 | 53.2891 | 23.56 | 978.851 | 52.5068 | 2.6197