## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-24 00:00:00 | 0 | 214.966 | 2.661 | 263.4 | 0 | 202.891 | 0 | 55.0926 | 23.49 | 979 | 53.0543 | 3.6505
2019-09-24 00:15:00 | 0.744 | 226.519 | 4.4507 | 265.193 | 0 | 215.027 | 0 | 52.1986 | 23.14 | 978.851 | 53.8757 | 6.211
2019-09-24 00:30:00 | 0.372 | 225.362 | 4.7063 | 255.299 | 0 | 230.742 | 0 | 49.1579 | 23.07 | 978.851 | 54.2536 | 6.1741
2019-09-24 00:45:00 | 0 | 226.482 | 4.7063 | 266.913 | 0 | 204.301 | 0 | 57.5335 | 22.98 | 978.555 | 53.8104 | 4.6998
2019-09-24 01:00:00 | 0 | 220.689 | 3.1723 | 254.132 | 0 | 213.043 | 0 | 57.753 | 23.02 | 978.555 | 53.8107 | 3.8205
2019-09-24 01:15:00 | 0 | 229.624 | 3.1723 | 264.675 | 0 | 204.23 | 0 | 57.8017 | 22.9 | 978.11 | 54.0835 | 2.6086
2019-09-24 01:30:00 | 3.1587 | 225.899 | 3.6837 | 257.614 | 0 | 198.386 | 0 | 51.8852 | 22.81 | 978.11 | 54.3563 | 1.9361
2019-09-24 01:45:00 | 3.1587 | 235.127 | 4.4507 | 277.969 | 0 | 201.795 | 0 | 64.3756 | 22.83 | 978.11 | 53.7425 | 1.271
2019-09-24 02:00:00 | 2.276 | 228.748 | 3.9393 | 262.386 | 0 | 194.904 | 0 | 61.2835 | 23 | 978.259 | 54.0153 | 0.84612
2019-09-24 02:15:00 | 1.3933 | 232.23 | 4.195 | 266.988 | 0 | 202.793 | 0 | 61.7461 | 22.79 | 978.258 | 53.6743 | 0.74636
2019-09-24 02:30:00 | 3.414 | 234.932 | 3.9393 | 277.092 | 0 | 201.503 | 0 | 67.1756 | 22.9 | 978.11 | 53.4015 | 0.096066
2019-09-24 02:45:00 | 0 | 240.459 | 2.9167 | 284.494 | 0 | 201.868 | 0 | 77.7913 | 23.02 | 978.11 | 53.7425 | -0.073897
2019-09-24 03:00:00 | 0 | 245.743 | 2.9167 | 287.513 | 0 | 209.489 | 0 | 78.6678 | 22.95 | 978.111 | 53.6061 | -0.059118
2019-09-24 03:15:00 | 0 | 248.616 | 3.1723 | 288.487 | 0 | 221.127 | 0 | 79.7391 | 23.01 | 978.134 | 53.7425 | -0.096066
2019-09-24 03:30:00 | 0 | 231.158 | 3.428 | 273.391 | 0 | 198.605 | 0 | 69.9026 | 22.86 | 978.131 | 54.2199 | -0.077592
2019-09-24 03:45:00 | 0 | 232.96 | 2.9167 | 274.682 | 0 | 202.33 | 0 | 69.9026 | 22.81 | 978.118 | 53.5379 | -0.22539
2019-09-24 04:00:00 | 0 | 232.522 | 3.1723 | 267.864 | 0 | 206.177 | 0 | 65.3495 | 22.94 | 978.146 | 53.4697 | -0.22539
2019-09-24 04:15:00 | 0 | 232.278 | 2.9167 | 262.776 | 0 | 198.483 | 0 | 63.8887 | 22.82 | 977.986 | 54.3563 | -0.26233
2019-09-24 04:30:00 | 0 | 232.278 | 3.428 | 269.106 | 0 | 197.704 | 0 | 59.3356 | 22.55 | 977.895 | 54.5609 | -0.22539
2019-09-24 04:45:00 | 0 | 225.169 | 3.6837 | 261.704 | 0 | 201.405 | 0 | 45.7739 | 22.54 | 977.708 | 54.2199 | -0.22539
2019-09-24 05:00:00 | 3.9247 | 233.033 | 3.6837 | 266.915 | 0 | 199.652 | 0 | 55.8539 | 22.68 | 977.882 | 54.2881 | -0.22539
2019-09-24 05:15:00 | 0 | 237.951 | 2.9167 | 283.763 | 0 | 223.805 | 0 | 68.7095 | 22.53 | 978.06 | 54.9019 | -0.26233
2019-09-24 05:30:00 | 0 | 238.611 | 2.1497 | 264.823 | 0 | 189.33 | 0 | 70.8284 | 22.41 | 978.315 | 55.107 | -0.24386
2019-09-24 05:45:00 | 0 | 226.729 | 3.428 | 263.947 | 0 | 192.544 | 0 | 53.6631 | 22.32 | 978.326 | 54.9706 | -0.22539
2019-09-24 06:00:00 | 0 | 228.968 | 3.1723 | 263.386 | 0 | 195.952 | 0 | 56.049 | 22.52 | 978.351 | 55.0386 | -0.22539
2019-09-24 06:15:00 | 0 | 225.609 | 3.1723 | 254.402 | 0 | 193.372 | 0 | 51.1308 | 22.45 | 978.607 | 55.789 | -0.22539
2019-09-24 06:30:00 | 0.372 | 222.004 | 2.9167 | 253.67 | 0 | 189.573 | 0 | 50.0836 | 22.44 | 979.042 | 55.9933 | -0.22539
2019-09-24 06:45:00 | 0.372 | 225.972 | 3.428 | 259.562 | 0 | 193.03 | 0 | 50.2539 | 22.59 | 978.862 | 55.0384 | -0.22539
2019-09-24 07:00:00 | 3.9247 | 222.807 | 3.428 | 248.8 | 0 | 192.762 | 0 | 47.6244 | 22.65 | 979.148 | 54.4928 | -0.22539
2019-09-24 07:15:00 | 4.574 | 215.793 | 2.9167 | 240.636 | 0 | 191.059 | 0 | 44.965 | 23.01 | 979.297 | 53.3269 | -0.218
2019-09-24 07:30:00 | 0 | 201.808 | 2.661 | 236.313 | 0 | 186.179 | 0 | 38.0733 | 23.33 | 979.742 | 53.0512 | -0.11824
2019-09-24 07:45:00 | 0 | 199.536 | 2.4053 | 235.274 | 0 | 167.749 | 0 | 32.7611 | 23.51 | 980.32 | 53.4517 | 0.011085
2019-09-24 08:00:00 | 0.372 | 190.309 | 2.9167 | 230.955 | 0 | 170.743 | 0 | 17.6924 | 23.29 | 980.726 | 54.1259 | 0.11454
2019-09-24 08:15:00 | 0 | 179.352 | 2.9167 | 230.946 | 0 | 166.843 | 0 | 17.8135 | 22.99 | 980.633 | 54.6012 | -0.084981
2019-09-24 08:30:00 | 0 | 199.571 | 2.661 | 230.699 | 0 | 177.694 | 0 | 36.1618 | 23.51 | 981.074 | 52.6576 | -0.17735
2019-09-24 08:45:00 | 0 | 188.058 | 2.9167 | 228.944 | 0 | 179.687 | 0 | 16.4016 | 23.66 | 981.222 | 52.0094 | -0.15888
2019-09-24 09:00:00 | 0.372 | 177.049 | 2.9167 | 225.79 | 0 | 174.032 | 0 | 0.97333 | 24.08 | 981.464 | 52.6199 | -0.20691
2019-09-24 09:15:00 | 0 | 185.232 | 3.1723 | 213.328 | 0 | 176.523 | 0 | 45.0551 | 24.32 | 981.115 | 49.8141 | -0.22539
2019-09-24 09:30:00 | 0 | 193.96 | 3.428 | 291.533 | 0 | 242.493 | 0 | 14.499 | 24.47 | 981.071 | 51.1074 | -0.26603
2019-09-24 09:45:00 | 0 | 207.413 | 2.9167 | 245.992 | 0 | 188.438 | 0 | 3.8923 | 24.22 | 981.367 | 50.7326 | -0.24755
2019-09-24 10:00:00 | 0 | 215.076 | 2.1497 | 237.527 | 0 | 137.107 | 0 | 28.3654 | 25 | 981.515 | 48.2113 | -0.24386
2019-09-24 10:15:00 | 0 | 219.82 | 1.3827 | 273.044 | 0 | 205.223 | 0 | 23.3054 | 25.23 | 981.367 | 47.2232 | -0.22539
2019-09-24 10:30:00 | 0 | 195.199 | 3.6837 | 235.36 | 0 | 186.466 | 0 | 37.6094 | 25.46 | 981.515 | 46.7118 | -0.22539
2019-09-24 10:45:00 | 0 | 182.932 | 2.661 | 208.47 | 0 | 168.774 | 0 | 21.2367 | 25.6 | 981.515 | 46.7783 | -0.25494
2019-09-24 11:00:00 | 0 | 206.457 | 3.1723 | 275.564 | 0 | 222.026 | 0 | 23.7425 | 25.53 | 981.515 | 47.3238 | -0.26603
2019-09-24 11:15:00 | 0 | 202.596 | 4.4507 | 225.704 | 0 | 190.359 | 1.2627 | 16.1532 | 25.56 | 981.219 | 48.1431 | -0.25494
2019-09-24 11:30:00 | 0 | 193.984 | 4.7063 | 247.987 | 0 | 197.414 | 0 | 15.7396 | 25.81 | 981.367 | 47.4957 | -0.23647
2019-09-24 11:45:00 | 0 | 188 | 3.6837 | 229.499 | 0 | 159.975 | 4.7063 | 2.3354 | 25.84 | 981.071 | 46.9847 | -0.25864
2019-09-24 12:00:00 | 0 | 209.894 | 2.4053 | 253.217 | 0 | 223.42 | 4.4507 | 47.3892 | 25.88 | 981.071 | 44.8382 | -0.048033
2019-09-24 12:15:00 | 0 | 201.842 | 2.9167 | 251.928 | 0 | 205.71 | 0 | 22.2593 | 26.16 | 980.922 | 43.816 | -0.218
2019-09-24 12:30:00 | 0 | 197.341 | 5.729 | 235.532 | 0 | 192.281 | 0 | 16.1775 | 26.26 | 980.774 | 44.5315 | -0.22169
2019-09-24 12:45:00 | 0 | 200.577 | 5.9847 | 233.926 | 0 | 188.657 | 0 | 14.8152 | 26.18 | 980.626 | 42.1806 | -0.062812
2019-09-24 13:00:00 | 0 | 193.206 | 4.962 | 239.229 | 0 | 173.549 | 0 | 35.6635 | 26.33 | 980.181 | 41.2947 | 0.081287
2019-09-24 13:15:00 | 0 | 182.402 | 5.4733 | 210.527 | 0 | 194.543 | 1.5183 | 9.5374 | 26.62 | 980.099 | 37.347 | 0.15518
2019-09-24 13:30:00 | 0 | 147.079 | 4.195 | 212.772 | 0 | 170.899 | 0 | 340.29 | 26.78 | 980.54 | 33.6678 | -0.011085
2019-09-24 13:45:00 | 0 | 176.913 | 5.4733 | 216.394 | 0.63133 | 167.182 | 5.4733 | 354.725 | 27.49 | 980.491 | 36.1171 | -0.12932
2019-09-24 14:00:00 | 0 | 226.169 | 4.7063 | 275.136 | 0 | 233.102 | 0 | 43.2292 | 27.2 | 980.774 | 31.0733 | -0.059118
2019-09-24 14:15:00 | 0.88267 | 209.408 | 2.661 | 248.766 | 0 | 194.106 | 0 | 24.546 | 27.34 | 980.626 | 28.7564 | -0.26233
2019-09-24 14:30:00 | 0 | 204.542 | 5.9847 | 243.73 | 0 | 175.617 | 0 | 19.34 | 28.06 | 981.071 | 25.8944 | -0.24386
2019-09-24 14:45:00 | 0 | 220.209 | 3.6837 | 259.616 | 0 | 189.167 | 5.729 | 48.2163 | 27.73 | 980.922 | 28.6883 | -0.20691
2019-09-24 15:00:00 | 0 | 202.937 | 3.1723 | 283.237 | 0 | 190.335 | 0 | 35.3229 | 27.98 | 981.071 | 28.7564 | -0.25864
2019-09-24 15:15:00 | 2.648 | 234.492 | 2.9167 | 258.666 | 0 | 205.253 | 1.5183 | 55.485 | 28.19 | 981.071 | 28.2427 | -0.19952
2019-09-24 15:30:00 | 0 | 243.626 | 0.75133 | 260.403 | 0 | 201.789 | 0 | 79.7817 | 28.37 | 981.071 | 27.0831 | -0.20691
2019-09-24 15:45:00 | 0 | 287.668 | 4.195 | 332.415 | 0 | 270.423 | 0 | 105.124 | 28.26 | 981.515 | 35.4625 | -0.17735
2019-09-24 16:00:00 | 0 | 311.431 | 2.4053 | 18.6978 | 0 | 337.846 | 0 | 138.252 | 27.59 | 981.367 | 34.8152 | -0.22169
2019-09-24 16:15:00 | 0 | 299.32 | 3.428 | 15.938 | 0 | 313.281 | 0 | 117.918 | 27.83 | 981.071 | 34.3385 | -0.25125
2019-09-24 16:30:00 | 0 | 316.055 | 3.1723 | 4.5305 | 0 | 298.324 | 0 | 125.045 | 27.71 | 981.367 | 33.9979 | -0.25864
2019-09-24 16:45:00 | 0 | 293.084 | 3.1723 | 15.0131 | 0 | 300.966 | 0 | 117.642 | 27.56 | 980.626 | 34.4112 | -0.22539
2019-09-24 17:00:00 | 0 | 295.452 | 2.1497 | 315.738 | 0 | 298.98 | 0 | 131.172 | 27.38 | 980.626 | 35.7751 | -0.23647
2019-09-24 17:15:00 | 0 | 329.778 | 2.1497 | 12.9389 | 0 | 347.391 | 0 | 148.493 | 27.04 | 980.478 | 36.2521 | -0.22539
2019-09-24 17:30:00 | 0 | 336.444 | 1.894 | 22.621 | 0 | 346.758 | 0 | 151.971 | 26.69 | 980.033 | 36.661 | -0.22539
2019-09-24 17:45:00 | 1.3713 | 328.894 | 2.661 | 14.9675 | 0 | 339.211 | 0 | 149.701 | 26.44 | 980.263 | 38.4431 | -0.23647
2019-09-24 18:00:00 | 6.478 | 328.416 | 2.661 | 12.9487 | 0 | 343.309 | 0.63133 | 146.712 | 26.34 | 979.739 | 38.785 | -0.22539
2019-09-24 18:15:00 | 13.1167 | 322.59 | 3.1723 | 7.2556 | 0 | 333.151 | 0.37567 | 143.773 | 26.25 | 979.739 | 39.8773 | -0.25494
2019-09-24 18:30:00 | 0 | 336.558 | 3.1723 | 24.4851 | 0 | 1.5331 | 0.887 | 154.846 | 26.05 | 979.695 | 41.4451 | -0.1441
2019-09-24 18:45:00 | 0 | 342.672 | 4.195 | 26.8253 | 0 | 355.473 | 0 | 162.72 | 25.85 | 980.024 | 42.2668 | 0.081287
2019-09-24 19:00:00 | 0 | 344.672 | 3.9393 | 30.3341 | 0 | 7.4479 | 0 | 170.377 | 25.85 | 980.038 | 41.1795 | 0.025864
2019-09-24 19:15:00 | 0 | 355.868 | 3.9393 | 40.0699 | 0 | 356.087 | 0 | 176.778 | 25.91 | 980.038 | 41.009 | 0.12562
2019-09-24 19:30:00 | 0 | 356.915 | 3.6837 | 42.6986 | 0 | 3.6023 | 0 | 178.457 | 25.8 | 980.335 | 41.9294 | 0.12562
2019-09-24 19:45:00 | 0 | 82.4136 | 3.1723 | 50.1952 | 0 | 8.2754 | 0 | 179.626 | 25.72 | 980.186 | 42.2021 | 0.69094
2019-09-24 20:00:00 | 0 | 1.3143 | 3.428 | 59.3468 | 0 | 11.0015 | 0 | 188.291 | 25.54 | 980.631 | 42.0317 | 0.48033
2019-09-24 20:15:00 | 0 | 8.4702 | 3.1723 | 66.771 | 0 | 18.7902 | 0 | 191.018 | 25.53 | 980.631 | 41.657 | 0.44708
2019-09-24 20:30:00 | 0 | 17.9634 | 3.428 | 65.679 | 0 | 16.8437 | 0 | 199.983 | 25.47 | 980.335 | 41.2495 | 0.34362
2019-09-24 20:45:00 | 0 | 20.0094 | 2.9167 | 72.3791 | 0 | 23.0765 | 0 | 202.674 | 25.38 | 980.335 | 42.1388 | 0.41382
2019-09-24 21:00:00 | 0 | 19.1826 | 2.9167 | 70.655 | 0 | 17.1378 | 0 | 198.983 | 25.35 | 980.335 | 42.2089 | 0.25864
2019-09-24 21:15:00 | 0 | 15.8721 | 3.1723 | 64.5212 | 0 | 17.4301 | 0 | 198.011 | 25.33 | 980.335 | 42.2775 | 0.092371
2019-09-24 21:30:00 | 0 | 19.8151 | 2.9167 | 66.9527 | 0 | 20.9835 | 0 | 200.999 | 25.57 | 980.186 | 41.526 | -0.033254
2019-09-24 21:45:00 | 0 | 25.7066 | 2.9167 | 73.8681 | 0 | 26.3882 | 0 | 208.039 | 25.53 | 980.483 | 41.9361 | -0.084981
2019-09-24 22:00:00 | 0 | 31.914 | 3.1723 | 84.7733 | 0 | 33.8128 | 0 | 213.271 | 25.33 | 980.335 | 42.4813 | -0.092371
2019-09-24 22:15:00 | 0 | 30.4782 | 3.1723 | 83.996 | 0 | 30.1861 | 0 | 214.906 | 25.45 | 980.186 | 41.8001 | -0.15888
2019-09-24 22:30:00 | 0 | 31.1595 | 3.1723 | 84.1894 | 0 | 32.7661 | 0 | 217.532 | 25.53 | 980.186 | 42.2087 | -0.20691
2019-09-24 22:45:00 | 0 | 46.2521 | 3.428 | 99.6713 | 0 | 38.0728 | 0 | 226.854 | 25.46 | 980.335 | 42.6177 | -0.24016
2019-09-24 23:00:00 | 0 | 48.8812 | 3.1723 | 100.937 | 0 | 50.1957 | 0 | 228.875 | 25.51 | 980.038 | 42.6858 | -0.25864
2019-09-24 23:15:00 | 0 | 47.1291 | 3.1723 | 97.5306 | 0 | 32.8151 | 0 | 227.296 | 25.26 | 979.89 | 42.4818 | -0.24016
2019-09-24 23:30:00 | 0 | 50.7809 | 2.9167 | 98.8215 | 0 | 22.4449 | 0 | 227.102 | 25.22 | 980.038 | 43.4027 | -0.24016
2019-09-24 23:45:00 | 0 | 49.9532 | 2.9167 | 100.452 | 0 | 25.22 | 0 | 230.389 | 25.33 | 980.038 | 42.8912 | -0.22539