## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-25 00:00:00 | 0 | 50.3914 | 3.1723 | 111.918 | 0 | 25.0253 | 0 | 227.005 | 25.26 | 980.038 | 42.823 | -0.22539
2019-09-25 00:15:00 | 0 | 44.062 | 2.661 | 96.6305 | 0 | 49.9532 | 0 | 224.814 | 25.26 | 979.593 | 42.6526 | -0.22539
2019-09-25 00:30:00 | 0.372 | 42.9419 | 2.1497 | 97.6276 | 0 | 53.5556 | 0.37567 | 222.256 | 25.5 | 979.741 | 41.7997 | -0.22539
2019-09-25 00:45:00 | 0 | 43.4291 | 1.894 | 94.3179 | 0 | 60.2993 | 0 | 218.387 | 25.53 | 979.89 | 41.0501 | -0.22539
2019-09-25 01:00:00 | 0 | 60.9566 | 1.6383 | 111.845 | 0 | 62.3198 | 0 | 218.363 | 25.57 | 979.89 | 41.5956 | -0.22539
2019-09-25 01:15:00 | 0 | 60.9566 | 1.127 | 111.845 | 0 | 68.8682 | 0 | 219.458 | 25.45 | 980.186 | 40.9137 | -0.22539
2019-09-25 01:30:00 | 0 | 60.9322 | 0.75133 | 111.821 | 0 | 68.8439 | 0 | 219.434 | 25.53 | 980.038 | 40.5728 | -0.22539
2019-09-25 01:45:00 | 0 | 60.9079 | 0.75133 | 111.821 | 0 | 67.8702 | 0 | 219.434 | 25.54 | 979.741 | 40.7774 | -0.22539
2019-09-25 02:00:00 | 0 | 60.9322 | 1.127 | 111.845 | 0 | 67.9675 | 0 | 219.434 | 25.53 | 979.593 | 40.7774 | -0.22539
2019-09-25 02:15:00 | 0 | 60.9079 | 1.127 | 111.821 | 0 | 67.9675 | 0 | 219.434 | 25.53 | 979.593 | 40.5728 | -0.22539
2019-09-25 02:30:00 | 0 | 62.8067 | 1.6383 | 112.235 | 0 | 76.926 | 0 | 219.434 | 25.53 | 979.593 | 40.0955 | -0.23647
2019-09-25 02:45:00 | 0 | 117.505 | 2.4053 | 176.475 | 0 | 135.154 | 0 | 311.254 | 25.55 | 979.593 | 38.1856 | -0.23647
2019-09-25 03:00:00 | 0 | 137.444 | 1.6383 | 180.787 | 0 | 140.366 | 0 | 311.21 | 25.53 | 979.445 | 39.2772 | -0.22539
2019-09-25 03:15:00 | 0 | 105.749 | 1.127 | 179.375 | 0 | 126.392 | 0 | 275.96 | 25.58 | 979.445 | 36.8223 | -0.22539
2019-09-25 03:30:00 | 0 | 105.749 | 0.75133 | 179.375 | 0 | 121.475 | 0 | 275.96 | 25.62 | 979.296 | 35.7995 | -0.22539
2019-09-25 03:45:00 | 0 | 105.749 | 0 | 179.375 | 0 | 121.524 | 0 | 275.96 | 25.5 | 979.296 | 36.5496 | -0.096066
2019-09-25 04:00:00 | 0 | 105.749 | 0 | 179.375 | 0 | 121.524 | 0 | 275.96 | 25.26 | 979.593 | 36.8905 | -0.24755
2019-09-25 04:15:00 | 0 | 37.9031 | 0 | 136.481 | 0 | 65.4358 | 0 | 275.96 | 25.1 | 979.445 | 39.0385 | -0.23647
2019-09-25 04:30:00 | 0 | 356.903 | 1.6383 | 37.1589 | 0 | 344.95 | 0 | 203.245 | 24.71 | 979.296 | 42.6185 | -0.24016
2019-09-25 04:45:00 | 0 | 25.4397 | 1.894 | 54.1038 | 0 | 353.089 | 0 | 203.274 | 23.89 | 979.296 | 45.5516 | -0.22539
2019-09-25 05:00:00 | 0 | 25.4174 | 1.894 | 54.2071 | 0 | 12.7087 | 0 | 203.266 | 22.94 | 979.148 | 50.9769 | -0.22539
2019-09-25 05:15:00 | 0 | 80.713 | 1.894 | 57.2313 | 0 | 10.713 | 0 | 190.595 | 22.57 | 979.445 | 50.8099 | -0.22539
2019-09-25 05:30:00 | 0 | 350.657 | 2.4053 | 56.6469 | 0 | 8.2783 | 0 | 159.624 | 22.47 | 979.593 | 51.185 | -0.22539
2019-09-25 05:45:00 | 0 | 319.2 | 1.894 | 56.6469 | 0 | 2.9217 | 0 | 140.828 | 22.58 | 979.445 | 49.2412 | -0.18105
2019-09-25 06:00:00 | 2.276 | 339.847 | 2.661 | 36.9982 | 0 | 2.4835 | 0 | 130.115 | 22.73 | 979.301 | 50.8099 | -0.14779
2019-09-25 06:15:00 | 0 | 347.687 | 2.1497 | 45.593 | 0 | 7.4991 | 0 | 150.129 | 22.72 | 979.647 | 51.3555 | -0.081287
2019-09-25 06:30:00 | 0 | 352.995 | 2.9167 | 45.1548 | 0 | 0.048696 | 0 | 154.779 | 22.34 | 979.607 | 50.8099 | -0.088676
2019-09-25 06:45:00 | 3.9247 | 348.466 | 2.661 | 30.0591 | 0 | 347.541 | 2.1497 | 169.583 | 22.44 | 979.748 | 51.7647 | -0.11454
2019-09-25 07:00:00 | 16.1807 | 349.756 | 2.4053 | 21.6835 | 0 | 336.389 | 9.8197 | 182.901 | 22.58 | 979.892 | 48.9684 | -0.20322
2019-09-25 07:15:00 | 24.6067 | 352.824 | 1.6383 | 11.7496 | 0 | 335.854 | 0 | 183.266 | 22.84 | 979.89 | 47.1952 | -0.22539
2019-09-25 07:30:00 | 0 | 347.978 | 1.894 | 11.745 | 0 | 325.192 | 0 | 183.264 | 23.01 | 980.187 | 46.4384 | -0.22539
2019-09-25 07:45:00 | 0 | 320.801 | 1.127 | 25.0602 | 0 | 339.059 | 0 | 160.79 | 23.29 | 980.483 | 46.9144 | -0.22539
2019-09-25 08:00:00 | 0 | 335.595 | 0.75133 | 19.0409 | 0 | 322.89 | 0 | 178.483 | 24.08 | 981.373 | 46.7362 | -0.23647
2019-09-25 08:15:00 | 0 | 335.586 | 1.3827 | 16.6979 | 0 | 318.405 | 0 | 178.428 | 24.14 | 981.299 | 46.2851 | -0.22539
2019-09-25 08:30:00 | 0 | 257.955 | 0.75133 | 285.385 | 0 | 202.665 | 0 | 124.987 | 23.74 | 981.519 | 47.3415 | -0.22539
2019-09-25 08:45:00 | 0 | 281.09 | 1.127 | 285.401 | 0 | 202.003 | 0 | 159.903 | 24.27 | 982.26 | 45.1249 | -0.22539
2019-09-25 09:00:00 | 0 | 202.262 | 1.6383 | 235.735 | 0 | 187.52 | 0 | 115.947 | 26 | 982.285 | 43.0679 | -0.22539
2019-09-25 09:15:00 | 0 | 189.946 | 1.127 | 254.069 | 0 | 222.082 | 0 | 32.7929 | 26.59 | 982.701 | 41.908 | -0.22539
2019-09-25 09:30:00 | 0 | 295.288 | 1.894 | 334.346 | 0 | 225.334 | 0 | 100.894 | 25.93 | 982.849 | 46.2625 | -0.22539
2019-09-25 09:45:00 | 0 | 296.783 | 2.4053 | 336.869 | 0 | 288.414 | 0 | 162.72 | 25.21 | 982.405 | 47.0175 | -0.22539
2019-09-25 10:00:00 | 0 | 307.884 | 2.1497 | 334.616 | 0 | 293.239 | 0 | 157.007 | 25.25 | 982.405 | 43.7819 | -0.22539
2019-09-25 10:15:00 | 0 | 287.622 | 2.9167 | 19.854 | 0 | 265.073 | 0 | 118.464 | 25.57 | 982.553 | 46.1636 | -0.22539
2019-09-25 10:30:00 | 0 | 330.715 | 2.9167 | 15.33 | 0 | 309.846 | 0 | 150.192 | 25.78 | 982.257 | 42.4454 | -0.22539
2019-09-25 10:45:00 | 0 | 314.883 | 3.6837 | 10.715 | 0 | 294.163 | 0 | 133.657 | 26.14 | 982.553 | 42.7797 | -0.22539
2019-09-25 11:00:00 | 0 | 310.387 | 3.428 | 324.263 | 0 | 300.562 | 0 | 117.705 | 26.31 | 982.405 | 42.9163 | -0.25494
2019-09-25 11:15:00 | 0 | 294.834 | 3.6837 | 322.116 | 0 | 271.436 | 0 | 124.238 | 26.05 | 982.405 | 43.4666 | -0.23647
2019-09-25 11:30:00 | 0 | 354.789 | 0.75133 | 25.0418 | 0 | 20.4293 | 0 | 195.829 | 26.54 | 982.257 | 38.9334 | -0.24755
2019-09-25 11:45:00 | 0 | 297.906 | 3.428 | 325.619 | 0 | 282.098 | 0 | 140.174 | 27.18 | 982.553 | 39.8161 | -0.18844
2019-09-25 12:00:00 | 0 | 337.472 | 4.7063 | 6.1869 | 0 | 304.082 | 0 | 171.593 | 27.26 | 982.257 | 39.7139 | -0.092371
2019-09-25 12:15:00 | 0 | 333.751 | 3.428 | 32.5286 | 0 | 0.048638 | 0 | 152.333 | 27.7 | 982.257 | 37.2616 | 0.11454
2019-09-25 12:30:00 | 0 | 0.14591 | 5.4733 | 0.37916 | 0 | 319.452 | 0 | 236.476 | 27.75 | 981.812 | 37.7044 | 0.45077
2019-09-25 12:45:00 | 0 | 82.9514 | 4.195 | 69.8093 | 0 | 301.991 | 0 | 212.935 | 27.88 | 981.664 | 37.0572 | 0.5025
2019-09-25 13:00:00 | 0 | 23.6417 | 3.1723 | 56.0328 | 0 | 25.101 | 0 | 208.275 | 27.99 | 981.515 | 35.0193 | 0.2882
2019-09-25 13:15:00 | 0 | 305.691 | 1.3827 | 44.7477 | 0 | 325.684 | 0 | 149.537 | 27.87 | 981.219 | 34.202 | 0.3547
2019-09-25 13:30:00 | 0 | 103.008 | 0 | 5.8553 | 0 | 177.363 | 0 | 265.509 | 28.67 | 981.664 | 32.3284 | 0.7907
2019-09-25 13:45:00 | 0 | 330.792 | 3.9393 | 22.3948 | 0 | 316.295 | 0 | 159.534 | 28.37 | 981.367 | 31.102 | 1.4816
2019-09-25 14:00:00 | 0.372 | 317.706 | 4.7063 | 330.737 | 0 | 316.733 | 0 | 147.446 | 28.25 | 981.96 | 30.1822 | 1.8068
2019-09-25 14:15:00 | 0 | 307.012 | 5.4733 | 2.0506 | 0 | 308.058 | 0 | 141.795 | 28.57 | 982.257 | 31.1344 | 1.5445
2019-09-25 14:30:00 | 0 | 355.802 | 3.9393 | 50.528 | 0 | 342.182 | 0 | 155.113 | 28.06 | 981.812 | 30.8258 | 1.9028
2019-09-25 14:45:00 | 0 | 83.7793 | 1.894 | 85.1558 | 0 | 328.04 | 0 | 202.773 | 28.19 | 981.664 | 30.7225 | 2.228
2019-09-25 15:00:00 | 0.372 | 4.7422 | 4.4507 | 54.5128 | 0 | 350.142 | 0 | 181.759 | 28.32 | 981.96 | 29.3597 | 2.6972
2019-09-25 15:15:00 | 0 | 61.3329 | 1.3827 | 4.3385 | 0 | 312.841 | 0 | 205.424 | 28.39 | 981.96 | 30.3478 | 4.4006
2019-09-25 15:30:00 | 0.62733 | 355.735 | 3.428 | 50.1354 | 0 | 6.2013 | 2.0297 | 184.361 | 28.18 | 981.812 | 28.2357 | 5.2799
2019-09-25 15:45:00 | 0 | 12.9377 | 4.195 | 50.5981 | 0 | 316.366 | 0 | 192.193 | 27.7 | 981.812 | 27.5888 | 5.3132
2019-09-25 16:00:00 | 0 | 331.344 | 3.428 | 1.4204 | 0 | 312.74 | 0 | 183.826 | 27.79 | 981.812 | 27.5204 | 6.5916
2019-09-25 16:15:00 | 0 | 19.9663 | 2.9167 | 59.087 | 0 | 310.901 | 0 | 174.93 | 27.45 | 981.367 | 29.1562 | 6.296
2019-09-25 16:30:00 | 0 | 24.7108 | 2.4053 | 57.367 | 0 | 295.848 | 0 | 167.43 | 27.35 | 981.664 | 29.4653 | 5.8933
2019-09-25 16:45:00 | 2.3927 | 9.2914 | 2.4053 | 79.7727 | 0.75133 | 21.5015 | 5.9847 | 189.573 | 27.07 | 981.515 | 28.5471 | 4.7664
2019-09-25 17:00:00 | 1.6267 | 346.487 | 3.9393 | 43.9795 | 3.1723 | 11.2876 | 1.2627 | 161.895 | 26.82 | 981.071 | 26.2348 | 5.6309
2019-09-25 17:15:00 | 2.1373 | 355.443 | 4.195 | 46.3886 | 0 | 11.6283 | 0 | 178.366 | 26.54 | 980.626 | 26.6439 | 4.807
2019-09-25 17:30:00 | 1.2547 | 24.1085 | 3.9393 | 37.2424 | 0 | 1.9705 | 0.37567 | 183.915 | 26.37 | 980.33 | 26.4399 | 4.5816
2019-09-25 17:45:00 | 0 | 4.6723 | 3.1723 | 54.562 | 0 | 4.4776 | 0 | 184.118 | 26.15 | 980.325 | 26.7888 | 4.7959
2019-09-25 18:00:00 | 0 | 19.8089 | 3.6837 | 71.2085 | 0 | 12.4596 | 0 | 195.704 | 25.77 | 980.184 | 27.7436 | 3.9683
2019-09-25 18:15:00 | 0 | 21.7072 | 4.195 | 63.0323 | 0 | 12.9464 | 0 | 209.576 | 25.66 | 979.93 | 27.9823 | 4.201
2019-09-25 18:30:00 | 0 | 20.6872 | 4.4507 | 71.8999 | 0 | 23.9485 | 0 | 197.356 | 25.66 | 980.026 | 27.3375 | 4.2343
2019-09-25 18:45:00 | 0 | 24.9237 | 3.428 | 73.7558 | 0 | 25.1671 | 0 | 209.149 | 25.6 | 980.186 | 28.0211 | 3.7983
2019-09-25 19:00:00 | 0 | 36.558 | 3.1723 | 85.7309 | 0 | 31.2519 | 0 | 222.001 | 25.45 | 980.038 | 27.4075 | 3.8316
2019-09-25 19:15:00 | 0 | 34.3688 | 3.428 | 85.9298 | 0 | 29.2086 | 0 | 222.083 | 25.53 | 980.038 | 26.5223 | 3.6542
2019-09-25 19:30:00 | 0 | 30.7676 | 3.9393 | 77.3171 | 0 | 44.5935 | 0 | 217.71 | 25.44 | 980.483 | 26.9665 | 3.621
2019-09-25 19:45:00 | 0 | 42.5516 | 2.9167 | 94.0958 | 0 | 48.8808 | 0 | 215.971 | 25.31 | 980.038 | 26.866 | 3.9498
2019-09-25 20:00:00 | 0 | 37.684 | 4.962 | 89.0596 | 0 | 47.5188 | 0 | 224.303 | 25.46 | 980.335 | 26.9349 | 4.201
2019-09-25 20:15:00 | 0 | 40.0209 | 5.2177 | 82.1702 | 0 | 38.7307 | 0 | 227.199 | 25.32 | 980.186 | 27.6167 | 4.0274
2019-09-25 20:30:00 | 1.2547 | 64.5594 | 4.962 | 97.4339 | 0 | 35.2983 | 0 | 245.433 | 24.82 | 980.038 | 27.6168 | 3.1776
2019-09-25 20:45:00 | 0 | 50.0746 | 2.9167 | 117.784 | 0 | 43.9157 | 0 | 245.723 | 24.93 | 980.186 | 28.162 | 2.4312
2019-09-25 21:00:00 | 0 | 79.4091 | 2.4053 | 128.204 | 0 | 70.1585 | 0 | 257.264 | 24.89 | 980.186 | 28.0941 | 0.94219
2019-09-25 21:15:00 | 0 | 72.252 | 1.3827 | 118.759 | 0 | 57.0859 | 0 | 240.053 | 24.99 | 980.335 | 26.7985 | -0.32884
2019-09-25 21:30:00 | 0 | 74.7838 | 2.9167 | 120.682 | 0 | 60.9322 | 0 | 258.165 | 25.32 | 980.483 | 26.8667 | -0.24016
2019-09-25 21:45:00 | 1.882 | 77.8024 | 1.894 | 134.631 | 0 | 76.8043 | 1.127 | 263.35 | 25.4 | 980.483 | 26.1166 | -0.218
2019-09-25 22:00:00 | 0 | 97.9589 | 1.6383 | 153.643 | 0 | 120.939 | 0 | 277.274 | 26.12 | 980.483 | 26.6621 | 0.80178
2019-09-25 22:15:00 | 0 | 132.454 | 5.2177 | 183.245 | 0 | 121.67 | 0.75133 | 313.839 | 25.92 | 980.483 | 27.2758 | 3.9202
2019-09-25 22:30:00 | 0 | 111.591 | 4.195 | 153.546 | 0 | 120.793 | 0 | 291.272 | 24.83 | 980.335 | 26.9349 | 7.2308
2019-09-25 22:45:00 | 0 | 107.988 | 4.962 | 152.986 | 0 | 98.1049 | 0 | 287.572 | 25.22 | 980.335 | 26.7303 | 10.9441
2019-09-25 23:00:00 | 0 | 93.2106 | 6.2403 | 146.265 | 0 | 109.691 | 0 | 282.091 | 25.29 | 979.89 | 38.0492 | 14.5244
2019-09-25 23:15:00 | 1.2547 | 113.198 | 5.9847 | 168.03 | 0 | 115.291 | 0.63133 | 288.642 | 25.18 | 980.038 | 38.1519 | 16.7672
2019-09-25 23:30:00 | 1.2547 | 115.948 | 5.4733 | 161.627 | 0 | 139.732 | 0.63133 | 282.166 | 25.07 | 980.038 | 42.7547 | 18.6183
2019-09-25 23:45:00 | 2.276 | 100.075 | 5.4733 | 152.691 | 0 | 136.687 | 3.1723 | 290.536 | 24.64 | 979.593 | 45.0725 | 20.414