## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-26 00:00:00 | 4.946 | 110.106 | 8.2857 | 153.375 | 0 | 113.587 | 2.661 | 292.757 | 24.33 | 979.593 | 44.8005 | 23.3219
2019-09-26 00:15:00 | 0.372 | 104.556 | 4.7063 | 171.341 | 0 | 130.166 | 0.37567 | 298.161 | 24 | 979.445 | 46.9826 | 22.1875
2019-09-26 00:30:00 | 3.1587 | 113.026 | 6.496 | 181.49 | 0 | 128.314 | 4.195 | 294.336 | 23.65 | 979.296 | 50.3233 | 23.0041
2019-09-26 00:45:00 | 0.744 | 110.958 | 5.4733 | 153.278 | 0 | 116.509 | 4.4507 | 290.323 | 23.59 | 979.296 | 49.8125 | 22.0508
2019-09-26 01:00:00 | 5.4567 | 117.072 | 7.0073 | 176.606 | 0 | 118.801 | 3.1723 | 299.096 | 23.51 | 979.445 | 50.53 | 25.3356
2019-09-26 01:15:00 | 0 | 108.724 | 5.729 | 174.832 | 0 | 128.103 | 5.2177 | 287.732 | 23.18 | 979.296 | 53.736 | 27.8665
2019-09-26 01:30:00 | 6.2227 | 121.495 | 6.7517 | 167.014 | 0 | 123.418 | 7.263 | 308.558 | 22.98 | 979.296 | 52.3782 | 28.7939
2019-09-26 01:45:00 | 7.244 | 128.483 | 7.7743 | 176.998 | 2.661 | 121.763 | 6.2403 | 304.542 | 23.55 | 979.148 | 52.924 | 31.3618
2019-09-26 02:00:00 | 1.7653 | 136.323 | 8.2857 | 183.936 | 6.2403 | 130.771 | 5.9847 | 317.859 | 23.01 | 979.148 | 53.4012 | 29.9578
2019-09-26 02:15:00 | 0.99933 | 126.365 | 7.5187 | 171.836 | 5.9847 | 120.741 | 5.4733 | 311.506 | 22.65 | 978.703 | 57.9028 | 28.9787
2019-09-26 02:30:00 | 2.648 | 141.144 | 7.5187 | 196.574 | 5.729 | 141.29 | 3.6837 | 324.873 | 22.28 | 978.851 | 55.3794 | 27.1978
2019-09-26 02:45:00 | 1.7653 | 138.393 | 8.2857 | 192.508 | 6.2403 | 141.242 | 2.9167 | 321.221 | 22.38 | 978.864 | 56.5388 | 27.4638
2019-09-26 03:00:00 | 1.3713 | 143.287 | 6.496 | 202.49 | 5.729 | 149.544 | 1.774 | 322.268 | 22.13 | 978.719 | 56.3001 | 29.6585
2019-09-26 03:15:00 | 0.99933 | 137.857 | 7.0073 | 199.471 | 6.496 | 136.129 | 2.2853 | 327.576 | 21.89 | 979.119 | 57.5618 | 29.8211
2019-09-26 03:30:00 | 0.372 | 146.379 | 6.2403 | 198.473 | 6.496 | 148.887 | 1.3827 | 316.278 | 21.65 | 978.857 | 59.7101 | 27.837
2019-09-26 03:45:00 | 1.882 | 142.324 | 5.729 | 203.311 | 4.4507 | 165.334 | 5.9847 | 322.779 | 21.29 | 978.848 | 60.6013 | 29.2225
2019-09-26 04:00:00 | 1.882 | 136.931 | 7.5187 | 186.456 | 5.4733 | 154.026 | 3.0523 | 326.218 | 20.93 | 978.705 | 63.0285 | 32.1562
2019-09-26 04:15:00 | 4.4353 | 137.613 | 7.5187 | 196.489 | 6.7517 | 151.494 | 4.962 | 322.274 | 20.89 | 978.854 | 63.5743 | 32.5701
2019-09-26 04:30:00 | 3.9247 | 144.553 | 9.3083 | 196.538 | 7.0073 | 155.536 | 0.37567 | 327.656 | 20.94 | 978.705 | 65.5525 | 33.7302
2019-09-26 04:45:00 | 0 | 152.857 | 7.0073 | 197.171 | 5.729 | 157.533 | 5.4733 | 332.38 | 20.76 | 979.151 | 66.2346 | 32.4925
2019-09-26 05:00:00 | 0.744 | 154.245 | 7.263 | 193.275 | 6.7517 | 148.328 | 5.9847 | 330.505 | 20.87 | 978.705 | 66.2346 | 32.692
2019-09-26 05:15:00 | 1.138 | 137.613 | 4.962 | 197.755 | 4.7063 | 164.181 | 3.9393 | 317.574 | 20.73 | 978.854 | 68.7585 | 32.6809
2019-09-26 05:30:00 | 2.648 | 136.079 | 6.496 | 193.469 | 7.0073 | 141.047 | 0.75133 | 324.709 | 20.52 | 978.705 | 67.7353 | 31.1808
2019-09-26 05:45:00 | 0.372 | 144.529 | 6.7517 | 184.971 | 6.496 | 147.597 | 0.37567 | 337.08 | 20.61 | 978.854 | 65.8936 | 29.5033
2019-09-26 06:00:00 | 0 | 139.172 | 6.7517 | 185.969 | 5.729 | 163.962 | 0 | 326.998 | 20.29 | 979.002 | 70.6003 | 28.8457
2019-09-26 06:15:00 | 1.882 | 138.251 | 4.4507 | 196.935 | 3.6837 | 163.285 | 5.9847 | 315.003 | 19.93 | 979.021 | 70.2615 | 26.832
2019-09-26 06:30:00 | 0 | 128.026 | 5.9847 | 186.761 | 6.496 | 149.774 | 3.428 | 318.835 | 20.03 | 979.003 | 68.6262 | 24.6188
2019-09-26 06:45:00 | 2.3927 | 144.02 | 5.729 | 200.243 | 6.7517 | 129.482 | 4.4507 | 334.554 | 20.32 | 979.448 | 65.6901 | 22.3501
2019-09-26 07:00:00 | 0 | 135.884 | 4.195 | 184.484 | 3.428 | 126.655 | 0 | 319.035 | 20.43 | 979.596 | 68.0764 | 18.4299
2019-09-26 07:15:00 | 0 | 139.194 | 5.9847 | 191.469 | 6.2403 | 147.449 | 0.63133 | 336.125 | 20.56 | 980.041 | 65.9948 | 18.8178
2019-09-26 07:30:00 | 0 | 154.828 | 5.9847 | 199.496 | 5.2177 | 154.122 | 0 | 317.277 | 20.74 | 979.998 | 67.3148 | 18.5518
2019-09-26 07:45:00 | 0 | 137.125 | 5.4733 | 184.397 | 4.195 | 138.489 | 5.4733 | 327.936 | 20.74 | 980.188 | 65.9497 | 18.4114
2019-09-26 08:00:00 | 0 | 136.959 | 6.7517 | 189.845 | 5.4733 | 138.639 | 4.4507 | 312.479 | 20.87 | 980.483 | 65.1217 | 17.181
2019-09-26 08:15:00 | 0 | 133.574 | 6.7517 | 196.123 | 6.496 | 141.485 | 3.9393 | 325.11 | 20.88 | 981.225 | 65.8711 | 12.6438
2019-09-26 08:30:00 | 0.99933 | 155.493 | 3.6837 | 194.788 | 3.428 | 126.283 | 0.63133 | 325.493 | 21.15 | 981.225 | 64.8081 | 8.923
2019-09-26 08:45:00 | 2.0207 | 134.208 | 3.9393 | 193.847 | 4.962 | 154.532 | 5.729 | 322.207 | 21.55 | 981.67 | 63.7464 | 7.6151
2019-09-26 09:00:00 | 0.372 | 136.544 | 5.4733 | 185.74 | 4.195 | 135.594 | 0 | 316.192 | 21.74 | 981.967 | 62.1778 | 6.5953
2019-09-26 09:15:00 | 0 | 165.579 | 6.2403 | 215.568 | 5.9847 | 164.338 | 0 | 340.454 | 21.9 | 982.174 | 61.6228 | 4.4227
2019-09-26 09:30:00 | 0 | 149.468 | 4.7063 | 205.37 | 5.2177 | 161.684 | 4.962 | 336.218 | 22.03 | 981.98 | 61.3497 | 4.0459
2019-09-26 09:45:00 | 0 | 134.721 | 4.195 | 197.218 | 4.962 | 150.198 | 0 | 324.464 | 22.35 | 982.408 | 60.1227 | 3.0741
2019-09-26 10:00:00 | 0 | 167.208 | 2.4053 | 209.02 | 3.1723 | 157.328 | 0 | 344.662 | 22.72 | 982.556 | 58.6912 | 1.1158
2019-09-26 10:15:00 | 0 | 141.334 | 2.4053 | 208.158 | 3.428 | 161.726 | 0 | 354.551 | 23.37 | 982.556 | 57.4958 | 0.13301
2019-09-26 10:30:00 | 0 | 131.323 | 2.4053 | 177.192 | 2.1497 | 128.282 | 0 | 330.438 | 23.48 | 982.938 | 55.4812 | -0.12932
2019-09-26 10:45:00 | 0 | 92.2485 | 1.894 | 151.068 | 1.6383 | 84.3665 | 0 | 259.863 | 24.52 | 982.851 | 51.0393 | -0.15888
2019-09-26 11:00:00 | 0.62733 | 201.866 | 2.1497 | 240.884 | 2.9167 | 165.424 | 3.1723 | 344.91 | 25.3 | 982.849 | 49.2675 | -0.22169
2019-09-26 11:15:00 | 0 | 26.8554 | 2.4053 | 145.219 | 2.1497 | 134.569 | 0 | 253.375 | 26.11 | 982.998 | 47.629 | -0.25125
2019-09-26 11:30:00 | 0 | 175.782 | 3.6837 | 228.192 | 2.9167 | 195.265 | 0 | 43.1246 | 26.44 | 983.146 | 50.5196 | -0.30298
2019-09-26 11:45:00 | 0 | 156.251 | 3.1723 | 201.242 | 3.6837 | 155.327 | 0 | 308.611 | 25.65 | 982.405 | 49.7703 | -0.26972
2019-09-26 12:00:00 | 0 | 121.415 | 3.1723 | 175.004 | 2.661 | 144.307 | 0 | 296.788 | 26.09 | 982.257 | 46.6435 | -0.25494
2019-09-26 12:15:00 | 0 | 291.643 | 2.9167 | 331.12 | 3.6837 | 253.111 | 0 | 108.348 | 26.7 | 982.701 | 47.8001 | -0.25494
2019-09-26 12:30:00 | 0 | 24.3241 | 0 | 167.004 | 0.75133 | 312.273 | 0 | 254.041 | 26.54 | 982.553 | 45.9909 | -0.29928
2019-09-26 12:45:00 | 0 | 265.426 | 2.661 | 310.177 | 3.428 | 287.221 | 0 | 84.9403 | 26.65 | 982.257 | 46.1957 | -0.28081
2019-09-26 13:00:00 | 0 | 317.9 | 0.37567 | 55.8016 | 1.127 | 0.14596 | 0 | 337.458 | 25.82 | 982.108 | 44.0877 | -0.2845
2019-09-26 13:15:00 | 0 | 300.294 | 2.4053 | 321.747 | 3.428 | 265.7 | 0 | 90.6184 | 27.19 | 982.405 | 39.5911 | -0.2882
2019-09-26 13:30:00 | 0 | 52.011 | 1.3827 | 76.9186 | 1.6383 | 0.048654 | 0 | 217.313 | 27.4 | 982.405 | 42.2485 | -0.32515
2019-09-26 13:45:00 | 0 | 39.7942 | 2.1497 | 92.7665 | 0.37567 | 80.1479 | 0 | 224.682 | 27.84 | 982.405 | 36.929 | -0.2882
2019-09-26 14:00:00 | 0 | 266.003 | 3.6837 | 312.09 | 2.661 | 284.489 | 0 | 98.4619 | 27.46 | 982.405 | 36.0085 | -0.2882
2019-09-26 14:15:00 | 0 | 301.337 | 2.9167 | 14.8061 | 4.962 | 352.123 | 0.37567 | 123.804 | 27.68 | 982.108 | 33.3504 | -0.30298
2019-09-26 14:30:00 | 0 | 288.909 | 3.6837 | 324.219 | 3.6837 | 277.72 | 0 | 110.889 | 27.86 | 982.405 | 30.5911 | -0.24755
2019-09-26 14:45:00 | 0 | 291.146 | 3.6837 | 2.4987 | 2.661 | 304.669 | 0 | 138.981 | 27.99 | 982.553 | 30.557 | -0.055423
2019-09-26 15:00:00 | 0.372 | 342.816 | 4.4507 | 1.6627 | 4.7063 | 315.431 | 0 | 125.759 | 28.15 | 982.405 | 31.3368 | -0.31406
2019-09-26 15:15:00 | 0 | 320.144 | 3.428 | 5.9919 | 3.428 | 336.876 | 0 | 135.509 | 27.48 | 982.108 | 27.6917 | -0.29189
2019-09-26 15:30:00 | 0 | 280.084 | 2.661 | 323.611 | 1.3827 | 293.704 | 0 | 124.33 | 27.68 | 982.257 | 26.3991 | -0.26603
2019-09-26 15:45:00 | 0.372 | 285.497 | 3.1723 | 334.184 | 2.661 | 295.372 | 0 | 119.569 | 27.85 | 982.553 | 26.196 | -0.2845
2019-09-26 16:00:00 | 0 | 313.559 | 3.428 | 8.666 | 1.894 | 301.568 | 0 | 136.617 | 27.6 | 982.257 | 28.6141 | -0.27711
2019-09-26 16:15:00 | 0 | 309.509 | 2.9167 | 13.4815 | 2.661 | 0.048646 | 0 | 140.441 | 27.61 | 982.108 | 28.1042 | -0.27342
2019-09-26 16:30:00 | 0 | 292.07 | 2.661 | 16.6191 | 0 | 235.835 | 0 | 109.356 | 27.35 | 981.96 | 30.3866 | -0.26972
2019-09-26 16:45:00 | 0 | 305.708 | 3.428 | 2.0882 | 2.1497 | 348.011 | 0 | 130.753 | 26.96 | 981.664 | 29.3005 | -0.218
2019-09-26 17:00:00 | 0 | 338.633 | 1.894 | 27.973 | 1.6383 | 344.569 | 0 | 153.358 | 26.72 | 981.367 | 28.8927 | -0.24016
2019-09-26 17:15:00 | 0 | 339.557 | 2.661 | 27.5351 | 1.6383 | 0.048654 | 0 | 161.897 | 26.4 | 981.071 | 31.0051 | -0.17735
2019-09-26 17:30:00 | 0 | 344.337 | 2.661 | 27.957 | 1.894 | 0.048663 | 0 | 166.645 | 26.15 | 981.174 | 31.1468 | -0.24386
2019-09-26 17:45:00 | 0 | 356.943 | 3.9393 | 43.5625 | 2.661 | 0.097339 | 0 | 179.104 | 25.96 | 980.924 | 33.6734 | -0.070202
2019-09-26 18:00:00 | 0 | 83.0559 | 3.9393 | 45.997 | 2.9167 | 3.3339 | 0 | 183 | 25.54 | 980.332 | 38.0365 | 1.2378
2019-09-26 18:15:00 | 0 | 4.5751 | 2.9167 | 56.4131 | 3.1723 | 11.535 | 0 | 186.847 | 25.17 | 980.112 | 39.8773 | 1.9509
2019-09-26 18:30:00 | 0 | 1.363 | 2.9167 | 52.0436 | 3.1723 | 8.2753 | 0 | 184.66 | 24.97 | 980.473 | 40.0197 | 2.2576
2019-09-26 18:45:00 | 0 | 0.14604 | 2.661 | 48.6374 | 2.9167 | 345.719 | 0 | 182.717 | 24.98 | 980.483 | 38.9978 | 2.7822
2019-09-26 19:00:00 | 0 | 13.5332 | 3.1723 | 65.7997 | 2.661 | 18.2066 | 0 | 200.248 | 24.91 | 980.483 | 39.4423 | 1.7181
2019-09-26 19:15:00 | 0 | 37.0014 | 3.9393 | 73.2825 | 2.9167 | 24.976 | 0 | 215.558 | 24.88 | 980.483 | 37.9124 | 0.83873
2019-09-26 19:30:00 | 0 | 27.5569 | 3.428 | 83.9957 | 2.4053 | 25.3173 | 0 | 214.516 | 24.98 | 980.631 | 35.7312 | 0.27711
2019-09-26 19:45:00 | 0 | 39.5341 | 2.661 | 88.6702 | 2.1497 | 32.0363 | 0 | 231.484 | 25.07 | 980.928 | 34.0266 | 0.53206
2019-09-26 20:00:00 | 0 | 42.6014 | 3.9393 | 98.1155 | 3.1723 | 51.706 | 0 | 226.761 | 25 | 980.78 | 33.0719 | 0.98652
2019-09-26 20:15:00 | 0 | 53.5316 | 3.6837 | 102.692 | 2.9167 | 38.5603 | 0 | 238.251 | 24.75 | 980.631 | 32.049 | 0.72419
2019-09-26 20:30:00 | 0.372 | 66.9938 | 4.962 | 104.932 | 3.6837 | 44.0134 | 0 | 249.133 | 24.62 | 980.631 | 30.3444 | 0.59857
2019-09-26 20:45:00 | 0 | 66.9694 | 4.7063 | 112.649 | 3.9393 | 58.5465 | 0 | 246.212 | 24.95 | 980.631 | 29.5261 | 0.43599
2019-09-26 21:00:00 | 0 | 66.6286 | 4.195 | 114.815 | 2.4053 | 59.6907 | 0 | 252.468 | 24.98 | 980.335 | 29.2533 | -0.11084
2019-09-26 21:15:00 | 0 | 90.0959 | 2.4053 | 134.655 | 2.1497 | 77.9971 | 0 | 269.557 | 25.18 | 980.335 | 29.3215 | -0.29928
2019-09-26 21:30:00 | 0 | 118.505 | 1.6383 | 167.787 | 1.127 | 86.7608 | 0 | 302.592 | 25.26 | 980.483 | 31.7081 | -0.25494
2019-09-26 21:45:00 | 0 | 166.267 | 1.6383 | 168.493 | 1.127 | 87.2477 | 0 | 356.781 | 25.53 | 980.631 | 33.0719 | -0.26972
2019-09-26 22:00:00 | 0 | 181.797 | 2.1497 | 217.544 | 1.127 | 88.9998 | 0 | 7.3761 | 25.49 | 980.631 | 34.5037 | -0.27342
2019-09-26 22:15:00 | 0 | 187.105 | 2.1497 | 227.721 | 1.3827 | 162.762 | 0 | 8.7637 | 25.33 | 980.631 | 34.6403 | -0.25494
2019-09-26 22:30:00 | 16.9467 | 175.201 | 2.4053 | 221.197 | 1.894 | 162.324 | 2.661 | 0.24344 | 25.26 | 980.483 | 32.731 | -0.26603
2019-09-26 22:45:00 | 0 | 148.35 | 3.1723 | 199.093 | 1.3827 | 158.55 | 0 | 332.34 | 25.18 | 980.483 | 33.8561 | -0.28081
2019-09-26 23:00:00 | 0 | 124.615 | 6.496 | 172.023 | 5.729 | 122.668 | 0 | 304.856 | 24.35 | 980.78 | 37.5724 | 10.0611
2019-09-26 23:15:00 | 0 | 128.827 | 7.0073 | 171.585 | 6.2403 | 139.075 | 3.1723 | 306.633 | 23.74 | 980.186 | 37.2997 | 15.2523
2019-09-26 23:30:00 | 0 | 125.443 | 6.496 | 182.15 | 5.4733 | 116.801 | 1.6383 | 312.402 | 23.74 | 980.186 | 37.2315 | 17.1145
2019-09-26 23:45:00 | 0 | 132.941 | 7.0073 | 183.513 | 5.2177 | 149.421 | 0 | 320.338 | 23.68 | 980.038 | 42.8912 | 14.7461