## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-27 00:00:00 | 1.6267 | 149.411 | 5.2177 | 198.652 | 5.9847 | 163.362 | 0 | 335.975 | 22.87 | 980.038 | 47.7373 | 15.1045
2019-09-27 00:15:00 | 1.6267 | 159.356 | 7.5187 | 207.287 | 5.9847 | 161.548 | 3.6837 | 338.629 | 22.2 | 980.038 | 49.2753 | 22.6014
2019-09-27 00:30:00 | 0 | 163.276 | 6.496 | 210.915 | 6.2403 | 166.612 | 0 | 349.221 | 21.93 | 979.89 | 55.584 | 29.4221
2019-09-27 00:45:00 | 4.18 | 168.56 | 7.263 | 215.882 | 8.797 | 170.703 | 3.1723 | 347.127 | 21.98 | 979.924 | 57.289 | 28.1104
2019-09-27 01:00:00 | 0.744 | 175.036 | 6.2403 | 205.899 | 5.4733 | 163.666 | 2.1497 | 356.793 | 21.83 | 980.033 | 56.4024 | 28.72
2019-09-27 01:15:00 | 5.4567 | 167.732 | 6.496 | 227.788 | 5.4733 | 200.236 | 0.37567 | 336.682 | 21.64 | 980.08 | 56.4706 | 28.4946
2019-09-27 01:30:00 | 0 | 154.106 | 7.5187 | 192.423 | 6.2403 | 144.147 | 2.1497 | 340.013 | 21.43 | 979.839 | 59.7136 | 30.6229
2019-09-27 01:45:00 | 4.946 | 168.971 | 8.2857 | 225.117 | 7.5187 | 165.538 | 2.541 | 356.523 | 20.83 | 979.744 | 61.1162 | 27.4268
2019-09-27 02:00:00 | 2.5313 | 153.223 | 7.263 | 192.568 | 5.2177 | 164.254 | 2.661 | 340.051 | 20.53 | 979.596 | 64.0859 | 32.2745
2019-09-27 02:15:00 | 11.84 | 157.216 | 7.7743 | 202.918 | 6.7517 | 158.458 | 2.661 | 342.632 | 20.21 | 979.299 | 66.8485 | 34.9385
2019-09-27 02:30:00 | 15.4147 | 151.956 | 7.263 | 200.069 | 7.5187 | 186.95 | 6.2403 | 342.194 | 20.04 | 979.151 | 67.326 | 40.3202
2019-09-27 02:45:00 | 5.9673 | 154.344 | 8.2857 | 208.496 | 7.0073 | 177.454 | 2.1497 | 337.277 | 20.02 | 979.151 | 67.1901 | 38.1456
2019-09-27 03:00:00 | 4.574 | 149.828 | 5.729 | 203.085 | 5.4733 | 164.854 | 4.962 | 336.771 | 19.99 | 979.002 | 67.0596 | 39.5164
2019-09-27 03:15:00 | 4.6907 | 156.837 | 7.263 | 203.128 | 6.2403 | 167.991 | 5.729 | 337.249 | 19.92 | 978.859 | 66.9213 | 35.8843
2019-09-27 03:30:00 | 3.414 | 150.857 | 8.797 | 211.693 | 6.2403 | 152.416 | 2.0297 | 344.312 | 20.03 | 979.167 | 66.9261 | 35.4151
2019-09-27 03:45:00 | 3.9247 | 159.676 | 8.797 | 208.359 | 5.9847 | 160.334 | 5.729 | 349.018 | 19.87 | 979.004 | 66.1767 | 34.0849
2019-09-27 04:00:00 | 10.8187 | 160.945 | 8.03 | 207.924 | 7.7743 | 172.1 | 5.9847 | 352.919 | 19.82 | 979.003 | 68.9746 | 35.8067
2019-09-27 04:15:00 | 3.414 | 154.174 | 9.3083 | 209.581 | 8.03 | 172.782 | 4.4507 | 339.671 | 19.5 | 978.899 | 69.7595 | 31.1439
2019-09-27 04:30:00 | 9.2867 | 174.341 | 7.7743 | 221.321 | 7.7743 | 164.891 | 2.1497 | 355.551 | 19.65 | 978.958 | 67.6787 | 26.8172
2019-09-27 04:45:00 | 5.9673 | 168.057 | 7.263 | 205.221 | 8.5413 | 163.089 | 0 | 352.043 | 19.74 | 979.095 | 65.1885 | 24.2308
2019-09-27 05:00:00 | 5.712 | 157.365 | 7.5187 | 201.86 | 6.2403 | 153.979 | 6.7517 | 346.295 | 19.78 | 979.111 | 69.3843 | 21.8255
2019-09-27 05:15:00 | 0.372 | 162.918 | 7.5187 | 205.051 | 5.2177 | 163.551 | 0 | 351.362 | 19.51 | 979.262 | 69.6572 | 22.3021
2019-09-27 05:30:00 | 2.5313 | 174.682 | 7.5187 | 209.386 | 7.263 | 159.07 | 3.1723 | 351.215 | 19.36 | 979.156 | 69.9301 | 19.664
2019-09-27 05:45:00 | 0 | 152.372 | 5.9847 | 200.131 | 4.962 | 158.875 | 3.1723 | 344.931 | 19.44 | 979.282 | 70.817 | 19.4497
2019-09-27 06:00:00 | 5.34 | 161.7 | 5.9847 | 196.721 | 5.4733 | 151.617 | 3.1723 | 342.374 | 19.15 | 979.384 | 71.4992 | 20.1812
2019-09-27 06:15:00 | 0 | 157.633 | 6.496 | 202.956 | 4.7063 | 135.761 | 5.9847 | 340.669 | 19.08 | 979.566 | 72.966 | 15.7105
2019-09-27 06:30:00 | 1.7653 | 166.352 | 6.7517 | 209.751 | 6.2403 | 164.696 | 3.5637 | 353.115 | 19.11 | 979.842 | 72.0109 | 15.6329
2019-09-27 06:45:00 | 0 | 172.782 | 2.1497 | 203.005 | 2.661 | 201.912 | 0 | 347.708 | 19.2 | 980.266 | 70.9534 | 13.1832
2019-09-27 07:00:00 | 0 | 156.732 | 5.2177 | 205.781 | 4.962 | 169.738 | 1.007 | 341.205 | 19.26 | 980.271 | 71.431 | 11.4245
2019-09-27 07:15:00 | 0 | 170.394 | 5.2177 | 212.989 | 4.962 | 169.444 | 2.4053 | 6.5761 | 19.57 | 980.205 | 69.8271 | 11.055
2019-09-27 07:30:00 | 0 | 174.68 | 5.4733 | 216.121 | 4.962 | 167.739 | 3.428 | 355.959 | 19.75 | 980.783 | 68.7937 | 9.6103
2019-09-27 07:45:00 | 0 | 171.998 | 5.4733 | 211.003 | 5.4733 | 160.967 | 0 | 3.2875 | 20.09 | 981.228 | 69.0996 | 9.7137
2019-09-27 08:00:00 | 0 | 166.288 | 5.9847 | 213.08 | 5.729 | 164.997 | 1.007 | 2.435 | 20.04 | 981.525 | 69.572 | 10.9035
2019-09-27 08:15:00 | 0 | 169.024 | 4.962 | 207.654 | 5.4733 | 168.123 | 0 | 351.877 | 20.11 | 981.334 | 69.2247 | 8.7679
2019-09-27 08:30:00 | 0 | 159.332 | 5.729 | 207.214 | 5.729 | 160.16 | 0 | 348.369 | 20.33 | 981.525 | 66.4962 | 8.003
2019-09-27 08:45:00 | 0 | 165.024 | 5.729 | 208.351 | 6.496 | 162.395 | 0 | 1.3147 | 20.51 | 981.67 | 65.4028 | 7.0202
2019-09-27 09:00:00 | 0.372 | 153.999 | 5.9847 | 201.675 | 5.4733 | 152.879 | 5.2177 | 354.957 | 20.89 | 981.818 | 63.9962 | 7.2234
2019-09-27 09:15:00 | 0 | 151.223 | 4.962 | 194.419 | 5.2177 | 142.143 | 0 | 340.276 | 21.37 | 982.263 | 61.4388 | 7.0719
2019-09-27 09:30:00 | 0 | 152.221 | 5.729 | 194.287 | 5.2177 | 149.251 | 5.9847 | 341.341 | 21.46 | 982.263 | 61.7357 | 6.4143
2019-09-27 09:45:00 | 0 | 144.893 | 5.729 | 202.244 | 5.2177 | 152.56 | 0 | 340.242 | 21.48 | 982.261 | 61.3943 | 4.541
2019-09-27 10:00:00 | 0 | 152.877 | 4.7063 | 204.776 | 4.7063 | 155.554 | 2.7967 | 341.703 | 22.35 | 982.411 | 59.5194 | 4.201
2019-09-27 10:15:00 | 0 | 182.516 | 4.7063 | 206.296 | 4.962 | 149.76 | 1.654 | 355.055 | 22.31 | 982.459 | 57.8734 | 3.8205
2019-09-27 10:30:00 | 0 | 154.457 | 3.6837 | 183.298 | 3.9393 | 137.495 | 1.2627 | 343.64 | 22.64 | 982.115 | 57.8051 | 2.2908
2019-09-27 10:45:00 | 0 | 191.763 | 4.4507 | 232.747 | 5.2177 | 184.121 | 0 | 0.43804 | 23.2 | 982.112 | 53.2379 | 1.8142
2019-09-27 11:00:00 | 0 | 191.179 | 2.661 | 231.311 | 4.195 | 190.887 | 0 | 19.6143 | 23.18 | 981.963 | 55.8623 | 0.96066
2019-09-27 11:15:00 | 0 | 187.892 | 3.1723 | 214.008 | 4.962 | 202.275 | 0 | 9.2961 | 23.61 | 981.963 | 55.044 | -0.19583
2019-09-27 11:30:00 | 0 | 158.684 | 2.1497 | 212.49 | 1.3827 | 129.069 | 0 | 351.583 | 24 | 982.26 | 54.8034 | -0.218
2019-09-27 11:45:00 | 0 | 202.589 | 2.661 | 252.941 | 2.9167 | 207.382 | 0 | 14.309 | 24.39 | 981.963 | 53.7823 | -0.19583
2019-09-27 12:00:00 | 0 | 160.022 | 3.9393 | 207.087 | 3.428 | 190.366 | 5.2177 | 356.204 | 24.56 | 981.963 | 53.133 | -0.25864
2019-09-27 12:15:00 | 0 | 184.182 | 2.4053 | 222.267 | 1.3827 | 153.205 | 0 | 350.503 | 24.73 | 981.788 | 53.1661 | -0.25494
2019-09-27 12:30:00 | 0 | 218.444 | 2.9167 | 290.527 | 2.661 | 259.826 | 0 | 69.1654 | 25.13 | 981.723 | 51.1781 | -0.26972
2019-09-27 12:45:00 | 0 | 189.192 | 2.661 | 210.281 | 1.894 | 180.215 | 0 | 41.0885 | 25.69 | 981.369 | 49.7446 | -0.2882
2019-09-27 13:00:00 | 0.744 | 200.285 | 3.9393 | 238.84 | 3.6837 | 235.121 | 0 | 36.6853 | 25.64 | 981.367 | 50.8688 | -0.25494
2019-09-27 13:15:00 | 0 | 235.194 | 2.9167 | 291.192 | 3.428 | 250.399 | 0 | 58.1661 | 25.52 | 981.219 | 48.3816 | -0.18105
2019-09-27 13:30:00 | 0 | 200.844 | 2.4053 | 197.387 | 2.1497 | 154.623 | 0.37567 | 6.9089 | 25.67 | 981.219 | 47.1891 | -0.26233
2019-09-27 13:45:00 | 0 | 249.791 | 3.1723 | 266.379 | 2.4053 | 262.927 | 0 | 25.0569 | 25.85 | 981.071 | 45.1448 | -0.23647
2019-09-27 14:00:00 | 0 | 205.126 | 4.195 | 256.599 | 4.4507 | 177.199 | 0 | 32.1361 | 26.2 | 980.922 | 45.213 | -0.2882
2019-09-27 14:15:00 | 0 | 207.559 | 4.195 | 267.425 | 3.9393 | 197.95 | 0 | 18.6346 | 26.29 | 980.774 | 44.9063 | -0.2143
2019-09-27 14:30:00 | 0 | 261.274 | 2.9167 | 312.407 | 1.894 | 266.821 | 0 | 77.3605 | 26.08 | 980.774 | 43.0666 | -0.22539
2019-09-27 14:45:00 | 0 | 218.603 | 1.894 | 275.477 | 2.4053 | 204.153 | 0 | 50.9896 | 25.91 | 980.774 | 43.2027 | -0.25494
2019-09-27 15:00:00 | 0 | 235.657 | 2.1497 | 303.891 | 1.894 | 255.143 | 0 | 40.4803 | 26.04 | 980.774 | 42.7598 | -0.19952
2019-09-27 15:15:00 | 0 | 254.753 | 1.894 | 321.26 | 1.3827 | 254.388 | 0 | 87.4802 | 26.81 | 981.219 | 41.8739 | -0.24386
2019-09-27 15:30:00 | 0 | 192.038 | 4.4507 | 227.747 | 3.1723 | 176.007 | 0 | 16.4694 | 27.09 | 980.774 | 43.7479 | -0.23647
2019-09-27 15:45:00 | 0 | 180.702 | 2.4053 | 193.859 | 3.1723 | 152.434 | 0 | 354.981 | 26.66 | 980.774 | 42.5213 | -0.25864
2019-09-27 16:00:00 | 0 | 177.442 | 3.6837 | 233.683 | 3.9393 | 185.081 | 0 | 10.412 | 25.97 | 980.626 | 43.8842 | -0.24755
2019-09-27 16:15:00 | 0 | 191.333 | 4.7063 | 244.8 | 4.962 | 188.608 | 0 | 8.3685 | 26.18 | 980.33 | 42.1806 | -0.22908
2019-09-27 16:30:00 | 0 | 196.076 | 2.9167 | 220.741 | 2.9167 | 186.881 | 0 | 356.538 | 26.09 | 980.063 | 42.1806 | -0.19213
2019-09-27 16:45:00 | 0 | 148.628 | 2.9167 | 195.788 | 2.9167 | 144.734 | 0 | 341.664 | 25.75 | 980.563 | 43.8954 | -0.26972
2019-09-27 17:00:00 | 0 | 136.786 | 3.9393 | 190.01 | 3.6837 | 141.726 | 0 | 319.712 | 25.57 | 980.48 | 43.0121 | -0.26972
2019-09-27 17:15:00 | 5.712 | 145.369 | 2.9167 | 189.464 | 2.1497 | 150.163 | 0 | 325.731 | 25.1 | 979.887 | 48.2584 | -0.25864
2019-09-27 17:30:00 | 0 | 134.72 | 1.3827 | 188.408 | 0 | 145.428 | 0 | 316.359 | 24.81 | 979.739 | 47.5118 | -0.22539
2019-09-27 17:45:00 | 0 | 145.331 | 1.127 | 188.408 | 1.127 | 139.393 | 0 | 320.4 | 25.04 | 979.6 | 45.8078 | -0.22539
2019-09-27 18:00:00 | 0 | 144.382 | 1.894 | 188.505 | 1.894 | 143.433 | 0 | 329.477 | 25.03 | 979.301 | 43.7287 | -0.26972
2019-09-27 18:15:00 | 10.308 | 152.17 | 2.661 | 194.382 | 2.1497 | 150.32 | 5.2177 | 344.354 | 25.11 | 979.141 | 42.1338 | -0.22539
2019-09-27 18:30:00 | 7.4993 | 150.418 | 2.9167 | 192.046 | 1.3827 | 131.433 | 0.37567 | 339.39 | 24.99 | 978.703 | 43.4975 | -0.24016
2019-09-27 18:45:00 | 16.9467 | 152.422 | 2.9167 | 197.655 | 2.9167 | 143.319 | 1.3827 | 333.518 | 24.89 | 978.851 | 40.7044 | -0.22539
2019-09-27 19:00:00 | 5.34 | 157.138 | 2.9167 | 204.253 | 2.661 | 144.625 | 1.007 | 341.224 | 25.03 | 978.851 | 41.1181 | -0.22539
2019-09-27 19:15:00 | 0 | 161.835 | 3.1723 | 206.101 | 2.1497 | 159.351 | 0 | 345.529 | 24.98 | 979 | 41.1177 | -0.26233
2019-09-27 19:30:00 | 0 | 165.147 | 2.9167 | 209.61 | 2.9167 | 154.753 | 0 | 354.712 | 25.01 | 979 | 41.8002 | -0.25864
2019-09-27 19:45:00 | 0 | 164.027 | 3.428 | 205.787 | 3.1723 | 149.178 | 0 | 351.571 | 24.78 | 979.296 | 42.2093 | -0.26972
2019-09-27 20:00:00 | 0.372 | 159.061 | 4.4507 | 200.797 | 3.428 | 155.118 | 0 | 345.534 | 24.63 | 979.148 | 42.8571 | 1.6368
2019-09-27 20:15:00 | 1.138 | 154.896 | 3.9393 | 204.98 | 3.428 | 148.689 | 0 | 333.649 | 24.5 | 979.148 | 42.4132 | 2.6012
2019-09-27 20:30:00 | 0 | 157.163 | 4.4507 | 204.497 | 4.4507 | 158.672 | 0 | 344.366 | 24.44 | 979 | 43.6413 | 4.1013
2019-09-27 20:45:00 | 0 | 149.129 | 4.962 | 197.852 | 3.6837 | 151.272 | 0 | 337.428 | 24.17 | 979.148 | 45.5506 | 4.1235
2019-09-27 21:00:00 | 0 | 159.646 | 5.2177 | 203.353 | 4.195 | 150.639 | 0 | 349.04 | 23.9 | 979 | 46.8462 | 4.1345
2019-09-27 21:15:00 | 0 | 160.96 | 5.2177 | 203.378 | 4.4507 | 150.979 | 0 | 351.377 | 23.81 | 978.703 | 48.2782 | 4.759
2019-09-27 21:30:00 | 0.372 | 159.962 | 4.962 | 203.475 | 4.7063 | 154.534 | 0.37567 | 347.019 | 23.69 | 978.703 | 49.301 | 5.7122
2019-09-27 21:45:00 | 0.88267 | 170.922 | 4.962 | 216.019 | 4.4507 | 162.402 | 0 | 341.674 | 23.6 | 978.555 | 49.9845 | 6.9463
2019-09-27 22:00:00 | 2.0207 | 170.618 | 5.4733 | 214.6 | 3.6837 | 180.552 | 0.63133 | 2.3372 | 23.46 | 978.703 | 51.1475 | 8.6201
2019-09-27 22:15:00 | 0.744 | 166.869 | 5.4733 | 224.68 | 4.7063 | 171.398 | 0 | 356.673 | 23.56 | 978.703 | 51.4886 | 10.3049
2019-09-27 22:30:00 | 0 | 171.501 | 4.962 | 231.797 | 4.7063 | 169.163 | 0 | 4.9181 | 23.46 | 978.406 | 51.8313 | 10.7151
2019-09-27 22:45:00 | 0 | 168.68 | 5.4733 | 204.435 | 3.9393 | 166.026 | 0 | 356.789 | 23.24 | 978.11 | 52.412 | 9.6842
2019-09-27 23:00:00 | 0.372 | 175.79 | 3.9393 | 214.808 | 2.9167 | 160.402 | 0 | 16.1425 | 23.02 | 978.11 | 52.719 | 8.0954
2019-09-27 23:15:00 | 0 | 171.92 | 4.962 | 225.256 | 5.4733 | 160.16 | 0 | 344.156 | 22.93 | 977.961 | 53.7425 | 9.4366
2019-09-27 23:30:00 | 2.0207 | 175.11 | 5.4733 | 209.624 | 4.4507 | 171.36 | 0 | 5.6243 | 23.07 | 978.258 | 53.5379 | 11.7976
2019-09-27 23:45:00 | 0 | 182.39 | 5.2177 | 209.916 | 4.962 | 165.711 | 2.2853 | 356.111 | 23.06 | 977.665 | 54.0494 | 11.3801