## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-28 00:00:00 | 0.62733 | 168.536 | 5.729 | 218.949 | 5.4733 | 176.424 | 0 | 354.723 | 23.09 | 977.961 | 52.2421 | 12.8802
2019-09-28 00:15:00 | 0 | 175.11 | 4.195 | 230.588 | 4.4507 | 164.007 | 1.007 | 343.061 | 22.76 | 977.813 | 54.4245 | 12.1634
2019-09-28 00:30:00 | 2.5313 | 161.28 | 5.4733 | 202.271 | 5.4733 | 160.793 | 2.1497 | 355.916 | 22.62 | 977.516 | 55.3794 | 12.1487
2019-09-28 00:45:00 | 2.648 | 168.487 | 5.9847 | 209.43 | 4.962 | 161.012 | 0 | 0.31652 | 22.37 | 977.665 | 57.0162 | 11.6388
2019-09-28 01:00:00 | 3.6693 | 181.196 | 5.2177 | 209.186 | 4.195 | 160.793 | 5.729 | 343.231 | 22.36 | 977.813 | 57.8687 | 11.6683
2019-09-28 01:15:00 | 1.3713 | 155.388 | 5.9847 | 208.407 | 4.962 | 161.28 | 5.729 | 60.6748 | 22.07 | 977.716 | 59.1986 | 12.4701
2019-09-28 01:30:00 | 2.0207 | 166.808 | 5.4733 | 211.914 | 4.195 | 160.404 | 0 | 356.357 | 22.21 | 977.721 | 58.7216 | 12.023
2019-09-28 01:45:00 | 3.414 | 162.132 | 5.2177 | 206.41 | 3.9393 | 160.696 | 0 | 0.19478 | 21.86 | 977.297 | 60.9037 | 11.5353
2019-09-28 02:00:00 | 0.372 | 163.91 | 5.4733 | 207.774 | 4.962 | 160.598 | 3.8193 | 356.112 | 21.86 | 977.282 | 59.8125 | 12.8507
2019-09-28 02:15:00 | 3.1587 | 158.288 | 5.9847 | 209.044 | 5.4733 | 161.015 | 2.4053 | 349.082 | 22.12 | 977.159 | 59.95 | 14.2732
2019-09-28 02:30:00 | 5.712 | 166.444 | 6.496 | 216.615 | 5.2177 | 158.555 | 2.2853 | 354.192 | 22 | 977.151 | 59.5403 | 13.9776
2019-09-28 02:45:00 | 0.372 | 146.721 | 5.729 | 193.362 | 5.9847 | 158.36 | 5.9847 | 327.749 | 21.66 | 977.177 | 61.3135 | 15.1452
2019-09-28 03:00:00 | 5.4567 | 157.588 | 4.7063 | 203.671 | 4.962 | 158.026 | 0.63133 | 340.937 | 21.35 | 976.917 | 63.2942 | 15.8361
2019-09-28 03:15:00 | 1.138 | 141.894 | 7.5187 | 195.677 | 6.496 | 141.918 | 0.63133 | 334.048 | 21.4 | 976.776 | 62.2078 | 20.1037
2019-09-28 03:30:00 | 0.372 | 145.671 | 6.496 | 201.697 | 6.7517 | 154.292 | 0.63133 | 339.632 | 20.65 | 976.776 | 66.7794 | 19.2243
2019-09-28 03:45:00 | 0.372 | 147.281 | 6.2403 | 189.427 | 5.2177 | 153.125 | 0.37567 | 351.058 | 20.42 | 976.628 | 67.8717 | 18.5666
2019-09-28 04:00:00 | 8.5207 | 147.256 | 8.03 | 190.985 | 7.7743 | 147.841 | 4.4507 | 339.905 | 20.49 | 976.48 | 67.5989 | 22.6088
2019-09-28 04:15:00 | 3.1587 | 157.655 | 6.7517 | 199.095 | 5.2177 | 155.658 | 4.7063 | 344.848 | 20.53 | 976.628 | 68.6221 | 23.7468
2019-09-28 04:30:00 | 10.0527 | 150.179 | 6.7517 | 202.236 | 5.9847 | 156.047 | 2.661 | 343.631 | 20.01 | 976.628 | 69.3724 | 27.9293
2019-09-28 04:45:00 | 9.2867 | 163.597 | 8.2857 | 210.053 | 7.263 | 159.627 | 2.9167 | 346.212 | 20.33 | 976.48 | 68.0082 | 26.3442
2019-09-28 05:00:00 | 0.744 | 156.583 | 8.2857 | 195.369 | 9.0527 | 140.462 | 0 | 343.338 | 20.28 | 976.628 | 66.5075 | 23.3625
2019-09-28 05:15:00 | 1.3933 | 157.752 | 5.729 | 203.356 | 3.9393 | 164.352 | 1.6383 | 347.357 | 20.21 | 976.776 | 70.191 | 18.9841
2019-09-28 05:30:00 | 3.6693 | 174.293 | 5.729 | 205.873 | 4.4507 | 175.876 | 0.37567 | 0.19482 | 20.11 | 976.628 | 70.7392 | 16.3866
2019-09-28 05:45:00 | 0.62733 | 168.721 | 5.2177 | 219.151 | 4.4507 | 164.191 | 0 | 356.729 | 20.16 | 976.776 | 67.7394 | 16.8522
2019-09-28 06:00:00 | 0 | 166.216 | 5.729 | 215.162 | 5.2177 | 169.138 | 0 | 3.8479 | 20.48 | 976.776 | 64.5346 | 16.7598
2019-09-28 06:15:00 | 0.62733 | 162.308 | 5.4733 | 200.851 | 4.962 | 154.686 | 0 | 352.256 | 20.35 | 977.073 | 66.3379 | 15.9063
2019-09-28 06:30:00 | 0.62733 | 168.228 | 5.2177 | 210.083 | 5.729 | 157.488 | 0.75133 | 350.823 | 20.2 | 977.222 | 65.827 | 15.0861
2019-09-28 06:45:00 | 1.2547 | 155.683 | 5.729 | 202.091 | 4.7063 | 160.359 | 4.4507 | 343.146 | 20.4 | 977.222 | 65.0072 | 16.2943
2019-09-28 07:00:00 | 0 | 158.994 | 6.7517 | 192.982 | 5.9847 | 155.439 | 2.0297 | 335.449 | 20.48 | 977.518 | 64.8022 | 16.08
2019-09-28 07:15:00 | 0 | 148.45 | 7.5187 | 191.57 | 6.2403 | 152.736 | 5.9847 | 332.38 | 20.27 | 977.518 | 65.8936 | 19.5642
2019-09-28 07:30:00 | 0 | 152.906 | 7.0073 | 188.307 | 5.729 | 147.33 | 0.75133 | 336.618 | 20.26 | 977.815 | 66.03 | 21.552
2019-09-28 07:45:00 | 0 | 149.324 | 7.5187 | 193.466 | 5.2177 | 147.619 | 2.541 | 333.665 | 20.35 | 977.964 | 64.0507 | 18.2525
2019-09-28 08:00:00 | 0 | 140.683 | 7.5187 | 186.472 | 7.0073 | 137.786 | 2.661 | 328.724 | 20.47 | 978.04 | 62.4389 | 18.1528
2019-09-28 08:15:00 | 0 | 139.83 | 6.496 | 201.273 | 6.496 | 138.003 | 0 | 341.576 | 20.59 | 978.119 | 62.8133 | 14.3803
2019-09-28 08:30:00 | 0 | 148.714 | 5.4733 | 193.502 | 5.9847 | 146.912 | 0 | 333.17 | 21.05 | 978.703 | 60.4934 | 13.1869
2019-09-28 08:45:00 | 0 | 138.857 | 5.9847 | 183.806 | 4.7063 | 146.282 | 1.3983 | 332.171 | 21.33 | 979.148 | 59.8366 | 10.9072
2019-09-28 09:00:00 | 0 | 137.781 | 5.729 | 190.275 | 4.7063 | 147.859 | 1.774 | 338.441 | 21.47 | 979.297 | 59.0506 | 9.2519
2019-09-28 09:15:00 | 0 | 149.08 | 5.4733 | 191.901 | 3.9393 | 144.212 | 5.9847 | 352.754 | 21.93 | 979.742 | 56.4856 | 8.0326
2019-09-28 09:30:00 | 3.6693 | 161.855 | 6.496 | 207.108 | 3.9393 | 158.569 | 0 | 345.007 | 22.27 | 980.038 | 56.0413 | 7.0793
2019-09-28 09:45:00 | 0 | 169.668 | 5.2177 | 208.414 | 5.4733 | 165.458 | 0 | 356.467 | 22.5 | 979.942 | 55.2833 | 6.8724
2019-09-28 10:00:00 | 0 | 159.372 | 5.729 | 201.939 | 5.4733 | 146.986 | 0 | 66.8006 | 22.86 | 979.623 | 56.3054 | 6.0559
2019-09-28 10:15:00 | 0 | 136.473 | 5.4733 | 183.054 | 5.9847 | 134.891 | 3.9393 | 329.72 | 23.04 | 979.739 | 56.7144 | 6.1519
2019-09-28 10:30:00 | 0 | 141.535 | 5.9847 | 190.16 | 6.7517 | 137.227 | 5.729 | 327.968 | 23.5 | 979.591 | 55.0102 | 6.4882
2019-09-28 10:45:00 | 0 | 142.799 | 5.2177 | 186.849 | 4.962 | 154.553 | 5.9847 | 351.083 | 23.89 | 979.739 | 50.7835 | 5.0139
2019-09-28 11:00:00 | 0 | 148.582 | 4.962 | 198.347 | 5.2177 | 120.403 | 5.2177 | 332.618 | 23.79 | 979.739 | 52.5868 | 5.0619
2019-09-28 11:15:00 | 0 | 156.321 | 6.2403 | 200.148 | 5.9847 | 154.593 | 0 | 356.199 | 23.98 | 979.739 | 53.7457 | 4.3341
2019-09-28 11:30:00 | 0 | 142.893 | 6.496 | 195.313 | 5.729 | 147.517 | 0 | 333.726 | 24.63 | 979.443 | 50.7143 | 4.323
2019-09-28 11:45:00 | 0 | 179.906 | 4.4507 | 229.795 | 4.962 | 208.256 | 0 | 5.0859 | 24.86 | 978.998 | 48.2944 | 4.0311
2019-09-28 12:00:00 | 0 | 179.858 | 6.7517 | 225.44 | 4.7063 | 113.376 | 0 | 2.8228 | 24.92 | 978.998 | 48.0561 | 6.1261
2019-09-28 12:15:00 | 0 | 192.729 | 4.962 | 245.732 | 5.9847 | 192.924 | 0 | 16.6204 | 25.01 | 978.701 | 48.2599 | 9.1263
2019-09-28 12:30:00 | 0 | 181.125 | 7.7743 | 227.413 | 7.5187 | 195.385 | 0 | 1.9225 | 25.29 | 978.701 | 44.6822 | 8.3947
2019-09-28 12:45:00 | 0 | 204.803 | 4.7063 | 240.628 | 4.7063 | 180.444 | 5.9847 | 355.875 | 25.1 | 978.405 | 45.2958 | 9.0228
2019-09-28 13:00:00 | 0 | 139.341 | 8.03 | 189.669 | 5.9847 | 141.069 | 0.63133 | 325.016 | 25.49 | 978.553 | 44.3412 | 10.5229
2019-09-28 13:15:00 | 0 | 159.197 | 5.2177 | 198.817 | 5.4733 | 140.386 | 3.5637 | 345.551 | 25.72 | 978.405 | 44.4771 | 9.0302
2019-09-28 13:30:00 | 0 | 139.877 | 4.195 | 199.501 | 4.4507 | 164.918 | 0 | 334.167 | 25.97 | 978.405 | 43.8302 | 7.8479
2019-09-28 13:45:00 | 0 | 174.675 | 5.4733 | 217.435 | 5.729 | 194.751 | 0.37567 | 9.0769 | 25.99 | 978.397 | 40.2513 | 10.5155
2019-09-28 14:00:00 | 0 | 155.031 | 4.962 | 199.443 | 4.962 | 152.281 | 0 | 329.529 | 26.1 | 978.255 | 39.8748 | 9.5623
2019-09-28 14:15:00 | 0 | 144.726 | 5.9847 | 198.477 | 5.2177 | 152.78 | 0 | 325.221 | 26.04 | 978.441 | 41.3711 | 8.8861
2019-09-28 14:30:00 | 0 | 129.336 | 6.7517 | 194.197 | 6.496 | 164.735 | 0 | 313.462 | 26.13 | 978.316 | 41.5715 | 10.353
2019-09-28 14:45:00 | 0 | 165.333 | 3.6837 | 232.159 | 2.9167 | 187.033 | 0 | 336.309 | 26.34 | 977.968 | 39.8992 | 8.1213
2019-09-28 15:00:00 | 0 | 142.437 | 7.263 | 191.551 | 7.263 | 149.176 | 0.37567 | 328.907 | 26.29 | 977.964 | 40.4094 | 8.3577
2019-09-28 15:15:00 | 0 | 175.546 | 5.9847 | 228.796 | 6.2403 | 186.518 | 0 | 1.0461 | 26.12 | 978.106 | 40.5796 | 7.9809
2019-09-28 15:30:00 | 0 | 184.599 | 4.7063 | 240.526 | 5.2177 | 183.626 | 0 | 353.531 | 26.57 | 977.389 | 39.9329 | 9.5142
2019-09-28 15:45:00 | 0 | 135.288 | 6.7517 | 192.554 | 4.962 | 150.445 | 0 | 320.352 | 26.2 | 977.679 | 40.8194 | 9.6731
2019-09-28 16:00:00 | 0 | 145.268 | 8.797 | 194.654 | 7.7743 | 140.865 | 0 | 355.665 | 26.3 | 977.603 | 40.4801 | 9.747
2019-09-28 16:15:00 | 0 | 161.66 | 4.4507 | 207.502 | 4.195 | 163.291 | 2.661 | 350.865 | 26.37 | 977.057 | 40.6893 | 9.2741
2019-09-28 16:30:00 | 0 | 148.729 | 5.2177 | 200.563 | 5.4733 | 130.43 | 0 | 330.553 | 26.18 | 977.209 | 40.8975 | 7.7813
2019-09-28 16:45:00 | 0 | 148.152 | 4.195 | 186.946 | 4.4507 | 157.838 | 0 | 318.985 | 26.11 | 977.515 | 41.4448 | 7.6446
2019-09-28 17:00:00 | 0 | 137.54 | 4.195 | 196.043 | 4.195 | 154.671 | 0 | 321.777 | 25.93 | 976.922 | 41.5462 | 8.9822
2019-09-28 17:15:00 | 0 | 150.629 | 6.496 | 201.028 | 6.496 | 149.461 | 0 | 328.026 | 25.78 | 976.922 | 42.4657 | 9.2778
2019-09-28 17:30:00 | 0 | 152.217 | 5.729 | 200.283 | 4.4507 | 157.79 | 0 | 337.288 | 25.57 | 976.773 | 43.2174 | 11.0882
2019-09-28 17:45:00 | 0 | 144.941 | 5.4733 | 205.881 | 5.2177 | 168.157 | 0 | 324.488 | 25.28 | 976.18 | 44.2059 | 12.4036
2019-09-28 18:00:00 | 2.276 | 149.565 | 5.9847 | 193.519 | 4.962 | 152.145 | 2.2853 | 332.616 | 24.96 | 976.42 | 45.1943 | 12.932
2019-09-28 18:15:00 | 0 | 152.024 | 4.7063 | 208.62 | 3.6837 | 142.945 | 1.774 | 327.901 | 24.83 | 976.626 | 46.1563 | 15.3484
2019-09-28 18:30:00 | 0.372 | 154.799 | 5.4733 | 200.808 | 4.962 | 151.635 | 0 | 356.744 | 24.7 | 976.626 | 46.9064 | 16.8411
2019-09-28 18:45:00 | 0 | 168.968 | 5.4733 | 205.461 | 5.4733 | 160.011 | 0 | 351.786 | 24.5 | 976.181 | 46.4301 | 17.7796
2019-09-28 19:00:00 | 0 | 150.678 | 5.9847 | 198.252 | 5.2177 | 146.443 | 0 | 337.481 | 24.47 | 976.33 | 46.7071 | 18.3043
2019-09-28 19:15:00 | 0 | 149.202 | 5.9847 | 194.418 | 4.7063 | 134.474 | 1.5183 | 341.029 | 24.19 | 976.33 | 46.7097 | 20.2071
2019-09-28 19:30:00 | 0 | 149.786 | 4.7063 | 204.035 | 5.729 | 178.853 | 0 | 338.109 | 24.11 | 976.478 | 46.6416 | 20.5988
2019-09-28 19:45:00 | 0 | 134.863 | 5.729 | 181.492 | 4.195 | 147.814 | 1.1427 | 319.899 | 24.15 | 976.33 | 46.0278 | 19.531
2019-09-28 20:00:00 | 0 | 148.35 | 6.496 | 196.22 | 5.9847 | 158.575 | 0 | 331.074 | 23.9 | 976.478 | 47.6645 | 21.4966
2019-09-28 20:15:00 | 0.372 | 147.888 | 5.4733 | 193.031 | 5.9847 | 147.425 | 2.9167 | 333.46 | 23.86 | 976.33 | 46.7098 | 22.9561
2019-09-28 20:30:00 | 2.276 | 138.345 | 4.195 | 197.973 | 4.195 | 172.694 | 2.4053 | 344.244 | 23.91 | 976.33 | 46.6416 | 22.9339
2019-09-28 20:45:00 | 0.372 | 152.44 | 5.2177 | 200.505 | 4.7063 | 167.363 | 0 | 344.098 | 23.95 | 976.775 | 45.9598 | 18.8068
2019-09-28 21:00:00 | 0 | 143.798 | 5.2177 | 186.58 | 4.4507 | 153.949 | 2.1497 | 334.239 | 23.9 | 976.478 | 45.5506 | 18.0308
2019-09-28 21:15:00 | 0 | 150.225 | 4.7063 | 202.063 | 5.2177 | 166.121 | 3.6837 | 338.474 | 23.9 | 976.478 | 45.1415 | 15.825
2019-09-28 21:30:00 | 0 | 149.373 | 6.2403 | 200.651 | 5.2177 | 159.402 | 0 | 335.748 | 23.75 | 976.33 | 44.9369 | 16.1908
2019-09-28 21:45:00 | 0 | 145.283 | 6.7517 | 194.468 | 5.9847 | 167.777 | 0 | 329.686 | 23.59 | 976.626 | 43.7777 | 20.2514
2019-09-28 22:00:00 | 0 | 139.102 | 4.962 | 212.923 | 5.4733 | 158.845 | 3.9393 | 341.741 | 23.43 | 976.478 | 44.2897 | 21.7516
2019-09-28 22:15:00 | 0.372 | 157.684 | 6.2403 | 199.496 | 5.729 | 162.894 | 5.2177 | 342.878 | 23.53 | 976.33 | 40.2343 | 22.8304
2019-09-28 22:30:00 | 1.2547 | 160.287 | 7.0073 | 198.422 | 5.729 | 156.391 | 5.2177 | 339.635 | 23.54 | 976.478 | 41.0521 | 25.136
2019-09-28 22:45:00 | 0 | 145.243 | 5.9847 | 199.764 | 4.7063 | 161.433 | 0 | 333.334 | 23.38 | 976.478 | 42.1437 | 26.4403
2019-09-28 23:00:00 | 0.62733 | 152.6 | 7.0073 | 189.326 | 6.2403 | 169.471 | 1.654 | 336.216 | 23.38 | 976.478 | 42.3495 | 30.5601
2019-09-28 23:15:00 | 0 | 154.429 | 7.263 | 208.417 | 6.7517 | 161.173 | 5.9847 | 332.279 | 23.22 | 976.478 | 43.7143 | 28.5353
2019-09-28 23:30:00 | 0.744 | 160.664 | 5.4733 | 199.972 | 5.2177 | 158.472 | 5.9847 | 340.22 | 23.25 | 976.33 | 44.806 | 28.7496
2019-09-28 23:45:00 | 0 | 149.64 | 6.496 | 195.256 | 5.2177 | 168.119 | 3.0523 | 332.952 | 23.24 | 976.33 | 46.5808 | 27.5118