## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-30 00:00:00 | 0 | 158.598 | 3.9393 | 217.873 | 6.496 | 173.06 | 0 | 327.179 | 22.78 | 974.253 | 47.6034 | 34.2143
2019-09-30 00:15:00 | 2.3927 | 178.08 | 4.195 | 227.715 | 5.729 | 161.67 | 0.63133 | 327.6 | 22.75 | 974.55 | 47.0247 | 33.4531
2019-09-30 00:30:00 | 10.308 | 151.541 | 8.2857 | 194.261 | 8.797 | 131.137 | 3.1723 | 334.49 | 22.71 | 974.105 | 47.809 | 40.6174
2019-09-30 00:45:00 | 7.244 | 144.967 | 10.8423 | 182.623 | 6.496 | 150.445 | 5.4733 | 324.629 | 22.7 | 974.253 | 48.3546 | 40.7948
2019-09-30 01:00:00 | 7.4993 | 138.953 | 8.03 | 193.823 | 8.5413 | 150.421 | 1.5183 | 331.617 | 22.47 | 973.956 | 49.173 | 43.965
2019-09-30 01:15:00 | 0.744 | 149.179 | 7.263 | 202.393 | 8.5413 | 146.428 | 3.5637 | 330.156 | 22.27 | 973.956 | 49.5823 | 41.0017
2019-09-30 01:30:00 | 0 | 140.146 | 7.263 | 192.703 | 6.7517 | 142.483 | 0.37567 | 330.254 | 22.16 | 973.956 | 49.9915 | 39.9043
2019-09-30 01:45:00 | 2.9033 | 159.624 | 8.03 | 201.419 | 7.5187 | 154.487 | 1.654 | 334.734 | 22.05 | 973.999 | 50.9804 | 40.9204
2019-09-30 02:00:00 | 2.9033 | 150.056 | 7.7743 | 199.983 | 9.0527 | 157.457 | 3.9393 | 329.353 | 21.97 | 973.857 | 51.7647 | 41.7259
2019-09-30 02:15:00 | 5.2013 | 146.257 | 7.7743 | 206.143 | 8.03 | 152.15 | 1.6383 | 322.243 | 21.68 | 973.987 | 52.7195 | 46.1412
2019-09-30 02:30:00 | 10.5633 | 151.151 | 7.5187 | 216.71 | 7.263 | 160.431 | 4.3307 | 326.705 | 21.49 | 973.575 | 53.8789 | 44.7631
2019-09-30 02:45:00 | 0.372 | 142.609 | 9.8197 | 206.636 | 7.0073 | 148.065 | 0 | 326.712 | 21.65 | 973.914 | 54.4261 | 49.8361
2019-09-30 03:00:00 | 7.7547 | 137.277 | 9.8197 | 210.605 | 9.0527 | 144.243 | 1.774 | 333.092 | 21.54 | 973.509 | 54.665 | 51.2438
2019-09-30 03:15:00 | 2.1373 | 149.331 | 11.6093 | 194.415 | 9.3083 | 146.555 | 1.2627 | 327.855 | 21.41 | 973.213 | 55.8588 | 52.7883
2019-09-30 03:30:00 | 0.99933 | 148.682 | 10.5867 | 193.015 | 11.6093 | 144.786 | 0.63133 | 333.889 | 21.45 | 973.043 | 56.8171 | 55.2897
2019-09-30 03:45:00 | 1.6267 | 146.857 | 8.2857 | 210.111 | 10.8423 | 146.712 | 2.2853 | 325.006 | 21.46 | 973.063 | 56.613 | 59.3134
2019-09-30 04:00:00 | 2.9033 | 141.258 | 9.564 | 190.364 | 7.5187 | 155.697 | 2.541 | 325.323 | 21.49 | 973.067 | 56.9544 | 59.1286
2019-09-30 04:15:00 | 1.3713 | 143.721 | 10.0753 | 190.322 | 9.0527 | 147.398 | 0.37567 | 333.052 | 21.46 | 973.066 | 56.8196 | 59.0104
2019-09-30 04:30:00 | 1.882 | 147.735 | 11.6093 | 197.596 | 11.3537 | 151.241 | 1.6383 | 330.534 | 21.46 | 973.067 | 57.159 | 60.7441
2019-09-30 04:45:00 | 0.744 | 137.387 | 10.331 | 197.599 | 10.5867 | 147.25 | 2.1497 | 327.129 | 21.46 | 973.067 | 58.1146 | 60.5068
2019-09-30 05:00:00 | 0.99933 | 146.814 | 10.5867 | 201.864 | 11.098 | 147.471 | 2.0297 | 333.052 | 21.32 | 973.067 | 60.0937 | 58.1753
2019-09-30 05:15:00 | 3.9247 | 157.796 | 10.5867 | 204.543 | 10.8423 | 144.162 | 1.6383 | 336.272 | 21.11 | 973.215 | 62.3448 | 60.529
2019-09-30 05:30:00 | 3.1587 | 138.708 | 11.865 | 193.662 | 11.098 | 147.499 | 2.0297 | 327.824 | 21.07 | 972.919 | 64.3241 | 61.1054
2019-09-30 05:45:00 | 2.3927 | 151.297 | 11.3537 | 182.752 | 5.729 | 147.157 | 0.63133 | 330.38 | 20.99 | 973.067 | 64.9379 | 58.9032
2019-09-30 06:00:00 | 0 | 143.604 | 12.3763 | 188.502 | 12.1207 | 146.769 | 0.37567 | 326.755 | 20.78 | 973.067 | 64.9386 | 60.7691
2019-09-30 06:15:00 | 0 | 142.41 | 11.098 | 190.596 | 9.3083 | 141.68 | 1.894 | 332.989 | 20.64 | 973.215 | 65.2797 | 57.8908
2019-09-30 06:30:00 | 1.51 | 143.092 | 7.7743 | 194.687 | 8.2857 | 148.985 | 1.5183 | 324.027 | 20.64 | 973.215 | 65.8254 | 58.264
2019-09-30 06:45:00 | 0 | 141.582 | 13.399 | 187.357 | 11.3537 | 137.15 | 0.37567 | 334.474 | 20.58 | 973.067 | 66.3711 | 61.3899
2019-09-30 07:00:00 | 1.882 | 138.586 | 11.3537 | 196.634 | 10.331 | 141.776 | 1.007 | 323.246 | 20.63 | 973.66 | 66.166 | 56.3021
2019-09-30 07:15:00 | 2.3927 | 141.666 | 10.8423 | 187.897 | 11.098 | 149.482 | 0.37567 | 324.799 | 20.8 | 973.951 | 66.7737 | 50.2314
2019-09-30 07:30:00 | 1.2547 | 139.538 | 10.0753 | 197.913 | 11.098 | 171.677 | 0.887 | 324.094 | 20.79 | 974 | 67.5875 | 46.023
2019-09-30 07:45:00 | 6.2227 | 147.791 | 8.5413 | 199.544 | 10.331 | 146.452 | 0 | 328.744 | 20.67 | 974.136 | 67.8602 | 42.6274
2019-09-30 08:00:00 | 1.51 | 139.951 | 10.331 | 189.903 | 9.8197 | 140.56 | 0.37567 | 326.334 | 20.71 | 974.558 | 68.3376 | 41.5522
2019-09-30 08:15:00 | 2.3927 | 146.233 | 11.098 | 199.447 | 9.0527 | 149.203 | 0 | 328.379 | 20.97 | 974.55 | 67.5874 | 40.0891
2019-09-30 08:30:00 | 2.1373 | 148.681 | 12.632 | 198.967 | 12.1207 | 155.084 | 0 | 329.522 | 20.92 | 974.55 | 67.7527 | 43.6066
2019-09-30 08:45:00 | 7.244 | 156.418 | 9.3083 | 200.86 | 9.0527 | 180.812 | 2.541 | 341.321 | 21.04 | 974.847 | 66.6256 | 43.3663
2019-09-30 09:00:00 | 2.7867 | 168.434 | 8.797 | 202.794 | 8.5413 | 171.307 | 0 | 342.151 | 21.14 | 975.292 | 65.0529 | 42.8011
2019-09-30 09:15:00 | 6.7333 | 151.612 | 12.1207 | 200.943 | 10.331 | 141.096 | 1.6383 | 329.565 | 21.33 | 975.44 | 62.9731 | 37.0667
2019-09-30 09:30:00 | 2.9033 | 150.857 | 8.5413 | 198.021 | 9.3083 | 145.331 | 0 | 329.661 | 21.61 | 975.885 | 62.4615 | 36.9337
2019-09-30 09:45:00 | 1.2547 | 144.607 | 11.098 | 195.633 | 9.3083 | 141.686 | 0.37567 | 335.9 | 22.04 | 975.737 | 59.59 | 36.664
2019-09-30 10:00:00 | 2.5313 | 148.203 | 9.564 | 205.603 | 8.03 | 163.294 | 0.37567 | 321.452 | 22.48 | 976.182 | 58.4285 | 33.1612
2019-09-30 10:15:00 | 1.3933 | 146.962 | 5.9847 | 189.077 | 7.5187 | 148.325 | 0.75133 | 333.89 | 22.66 | 976.627 | 58.599 | 29.7287
2019-09-30 10:30:00 | 8.5207 | 161.762 | 9.3083 | 212.434 | 7.5187 | 166.41 | 5.729 | 334.596 | 23.07 | 976.257 | 56.0684 | 29.1856
2019-09-30 10:45:00 | 3.414 | 157.961 | 6.7517 | 194.76 | 7.0073 | 154.773 | 0.887 | 337.483 | 23.52 | 976.218 | 55.8282 | 23.7172
2019-09-30 11:00:00 | 7.4993 | 161.709 | 7.263 | 196.415 | 8.03 | 139.636 | 5.729 | 327.822 | 23.93 | 976.477 | 53.8173 | 20.4066
2019-09-30 11:15:00 | 0 | 134.088 | 7.0073 | 186.291 | 8.03 | 147.521 | 4.962 | 321.592 | 24.32 | 976.477 | 51.8064 | 23.9759
2019-09-30 11:30:00 | 5.712 | 163.402 | 6.2403 | 217.743 | 8.03 | 166.176 | 2.4053 | 331.209 | 24.49 | 976.329 | 52.7917 | 18.6109
2019-09-30 11:45:00 | 0 | 127.856 | 5.4733 | 179.206 | 4.4507 | 146.107 | 0.37567 | 316.135 | 24.65 | 976.773 | 53.1006 | 18.2969
2019-09-30 12:00:00 | 2.5313 | 146.229 | 5.729 | 196.241 | 4.7063 | 146.034 | 3.6837 | 319.324 | 25.27 | 976.625 | 51.4648 | 15.8546
2019-09-30 12:15:00 | 0 | 139.069 | 6.496 | 186.012 | 6.496 | 142.403 | 0 | 326.101 | 25.05 | 976.13 | 52.2467 | 16.5381
2019-09-30 12:30:00 | 1.2547 | 139.485 | 4.4507 | 197.622 | 4.4507 | 147.831 | 0 | 337.469 | 25.43 | 975.98 | 49.6912 | 23.0891
2019-09-30 12:45:00 | 3.9247 | 142.717 | 5.9847 | 198.468 | 7.263 | 179.485 | 3.9393 | 321.74 | 25.61 | 976.134 | 49.6898 | 23.7468
2019-09-30 13:00:00 | 1.2547 | 140.51 | 8.797 | 194.828 | 8.5413 | 141.215 | 2.9167 | 321.269 | 25.7 | 975.881 | 45.9091 | 24.584
2019-09-30 13:15:00 | 0 | 131.797 | 6.2403 | 185.264 | 5.9847 | 133.72 | 0 | 348.279 | 25.96 | 976.18 | 46.386 | 21.6185
2019-09-30 13:30:00 | 0.372 | 131.603 | 7.7743 | 183.123 | 7.263 | 142.87 | 0.887 | 316.67 | 26.23 | 976.18 | 42.4668 | 23.2184
2019-09-30 13:45:00 | 0 | 101.815 | 3.9393 | 177.302 | 3.1723 | 131.746 | 0 | 307.488 | 26.15 | 976.137 | 43.3518 | 17.5431
2019-09-30 14:00:00 | 0 | 147.706 | 5.2177 | 191.582 | 5.9847 | 146.002 | 5.729 | 332.131 | 26.81 | 975.692 | 43.9984 | 15.3225
2019-09-30 14:15:00 | 0.372 | 129.091 | 5.729 | 181.446 | 5.729 | 134.662 | 1.1427 | 311.926 | 26.81 | 976.082 | 40.7192 | 13.3495
2019-09-30 14:30:00 | 0.88267 | 146.255 | 3.428 | 185.224 | 1.894 | 164.938 | 0 | 345.591 | 26.64 | 976.18 | 40.8178 | 13.6894
2019-09-30 14:45:00 | 0 | 156.399 | 6.7517 | 211.643 | 6.7517 | 167.589 | 2.1497 | 338.974 | 26.82 | 976.031 | 40.4089 | 14.9456
2019-09-30 15:00:00 | 0.372 | 170.168 | 6.2403 | 220.06 | 6.496 | 167.176 | 4.4507 | 347.269 | 26.89 | 975.883 | 39.7274 | 12.1671
2019-09-30 15:15:00 | 0 | 156.326 | 5.2177 | 205.099 | 7.0073 | 165.959 | 0 | 334.887 | 27.38 | 975.586 | 38.6371 | 13.3901
2019-09-30 15:30:00 | 3.1587 | 145.841 | 3.6837 | 208.285 | 4.195 | 141.73 | 0 | 330.192 | 26.97 | 975.734 | 39.5912 | 11.491
2019-09-30 15:45:00 | 0 | 117.549 | 5.9847 | 170.36 | 5.2177 | 145.573 | 2.2853 | 309.319 | 27.11 | 975.883 | 38.6712 | 11.2841
2019-09-30 16:00:00 | 0 | 151.266 | 6.7517 | 209.283 | 4.4507 | 138.154 | 2.2853 | 338.925 | 27 | 975.586 | 36.8314 | 10.9996
2019-09-30 16:15:00 | 0 | 148.906 | 4.7063 | 200.987 | 4.962 | 134.529 | 3.1723 | 328.416 | 26.98 | 975.438 | 38.6371 | 12.0156
2019-09-30 16:30:00 | 0 | 140.635 | 6.7517 | 208.358 | 5.4733 | 158.004 | 0 | 346.612 | 26.86 | 975.29 | 39.4549 | 13.2239
2019-09-30 16:45:00 | 0 | 145.481 | 7.263 | 193.964 | 6.2403 | 148.644 | 0.63133 | 323.367 | 26.75 | 974.721 | 38.0933 | 11.672
2019-09-30 17:00:00 | 0 | 144.437 | 5.2177 | 196.558 | 5.2177 | 151.201 | 4.7063 | 333.84 | 26.65 | 974.732 | 38.2365 | 12.0821
2019-09-30 17:15:00 | 0 | 139.806 | 5.9847 | 185.219 | 5.4733 | 141.68 | 2.661 | 317.283 | 26.47 | 974.692 | 38.5138 | 13.6266
2019-09-30 17:30:00 | 0 | 147.17 | 6.2403 | 196.643 | 6.7517 | 145.248 | 0 | 327.385 | 26.26 | 974.252 | 38.5795 | 14.724
2019-09-30 17:45:00 | 0 | 143.627 | 4.962 | 185.195 | 5.2177 | 146.207 | 0 | 329.598 | 26.03 | 973.659 | 38.6502 | 13.4825
2019-09-30 18:00:00 | 0 | 140.561 | 4.7063 | 194.638 | 4.4507 | 144.26 | 0 | 335.147 | 25.84 | 973.807 | 39.741 | 14.4801
2019-09-30 18:15:00 | 0 | 151.196 | 5.9847 | 189.236 | 7.0073 | 141.535 | 0.887 | 325.169 | 25.82 | 973.247 | 39.2979 | 16.0098
2019-09-30 18:30:00 | 0 | 131.28 | 5.9847 | 191.474 | 6.2403 | 143.838 | 4.4507 | 318.123 | 25.77 | 973.354 | 39.6091 | 17.7981
2019-09-30 18:45:00 | 0 | 147.887 | 6.496 | 182.456 | 3.6837 | 127.125 | 0 | 326.782 | 25.63 | 973.808 | 39.7818 | 18.5629
2019-09-30 19:00:00 | 0.372 | 140.78 | 6.7517 | 190.805 | 5.4733 | 132.553 | 4.4507 | 317.801 | 25.46 | 973.956 | 40.4977 | 22.3316
2019-09-30 19:15:00 | 2.9033 | 133.697 | 5.9847 | 191.559 | 5.4733 | 145.064 | 3.6837 | 322.742 | 25.29 | 973.808 | 40.7022 | 26.4551
2019-09-30 19:30:00 | 1.2547 | 132.431 | 7.0073 | 196.281 | 7.5187 | 129.121 | 0.37567 | 319.992 | 25.26 | 973.66 | 39.9523 | 28.9528
2019-09-30 19:45:00 | 0 | 143.993 | 7.263 | 194.188 | 7.0073 | 133.721 | 0.37567 | 318.191 | 25.25 | 973.956 | 40.3613 | 31.1254
2019-09-30 20:00:00 | 16.1807 | 143.507 | 9.564 | 190.611 | 7.5187 | 142.558 | 3.308 | 323.961 | 25.28 | 973.956 | 41.6571 | 35.8178
2019-09-30 20:15:00 | 0 | 140.78 | 9.564 | 189.174 | 8.797 | 143.262 | 1.2627 | 323.959 | 24.99 | 974.105 | 43.1226 | 35.6996
2019-09-30 20:30:00 | 8.776 | 140.417 | 7.5187 | 183.335 | 6.7517 | 140.417 | 6.2403 | 327.347 | 24.45 | 974.253 | 44.2481 | 38.2232
2019-09-30 20:45:00 | 0.99933 | 142.322 | 8.797 | 198.509 | 6.7517 | 145.462 | 0 | 326.754 | 24.29 | 974.105 | 44.4548 | 41.6779
2019-09-30 21:00:00 | 8.01 | 142.65 | 9.0527 | 202.543 | 8.03 | 152.971 | 5.2177 | 324.856 | 24.4 | 973.956 | 43.4354 | 45.5759
2019-09-30 21:15:00 | 0.744 | 120.282 | 9.564 | 185.192 | 8.03 | 126.124 | 2.0297 | 322.309 | 24.2 | 974.253 | 43.9821 | 48.9678
2019-09-30 21:30:00 | 7.244 | 158.451 | 12.3763 | 176.354 | 10.8423 | 128.265 | 4.962 | 323.694 | 24.28 | 974.105 | 42.5498 | 54.4509
2019-09-30 21:45:00 | 4.946 | 138.54 | 13.1433 | 188.625 | 12.3763 | 139.562 | 2.661 | 321.312 | 24.12 | 973.808 | 42.9594 | 55.1603
2019-09-30 22:00:00 | 0 | 148.543 | 10.0753 | 200.039 | 10.8423 | 134.521 | 0.75133 | 329.949 | 23.71 | 973.956 | 43.777 | 59.5905
2019-09-30 22:15:00 | 2.9033 | 140.268 | 13.399 | 196.269 | 13.6547 | 150.298 | 1.5183 | 322.14 | 23.61 | 973.808 | 44.9028 | 60.2371
2019-09-30 22:30:00 | 2.9033 | 139.806 | 9.8197 | 191.205 | 10.0753 | 142.143 | 0.887 | 316.2 | 23.59 | 974.105 | 45.4142 | 57.9738
2019-09-30 22:45:00 | 2.1373 | 144.942 | 12.1207 | 191.23 | 13.6547 | 139.684 | 1.007 | 325.913 | 23.27 | 973.808 | 46.1643 | 58.2418
2019-09-30 23:00:00 | 2.9033 | 146.284 | 11.098 | 184.782 | 10.0753 | 141.05 | 0.37567 | 326.965 | 23.12 | 973.808 | 45.0059 | 54.813
2019-09-30 23:15:00 | 3.414 | 146.258 | 11.098 | 198.024 | 11.3537 | 142.412 | 0.63133 | 318.175 | 23.08 | 973.808 | 45.5511 | 56.0065
2019-09-30 23:30:00 | 2.9033 | 140.061 | 13.9103 | 194.169 | 12.632 | 145.904 | 1.007 | 322.945 | 22.93 | 973.66 | 45.8272 | 54.0897
2019-09-30 23:45:00 | 2.1373 | 143.737 | 13.1433 | 193.268 | 11.6093 | 139.501 | 0 | 325.843 | 22.78 | 973.363 | 46.6455 | 53.4164