## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-01 00:00:00 | 3.9247 | 141.193 | 12.1207 | 191.46 | 8.5413 | 154.779 | 1.6383 | 324.312 | 22.63 | 973.363 | 46.7859 | 55.288
2019-10-01 00:15:00 | 5.2013 | 140.268 | 11.865 | 193.871 | 12.632 | 157.384 | 0.75133 | 320.028 | 22.45 | 973.066 | 47.7408 | 52.0345
2019-10-01 00:30:00 | 1.6267 | 147.45 | 12.3763 | 187.224 | 8.5413 | 131.819 | 0 | 324.508 | 22.24 | 973.511 | 48.491 | 50.7783
2019-10-01 00:45:00 | 4.18 | 130.918 | 10.331 | 201.492 | 10.0753 | 169.972 | 0 | 318.129 | 21.95 | 973.363 | 49.9574 | 46.2705
2019-10-01 01:00:00 | 5.4567 | 134.23 | 11.6093 | 195.673 | 7.7743 | 139.683 | 2.4053 | 322.292 | 21.78 | 973.367 | 50.3325 | 40.4565
2019-10-01 01:15:00 | 3.414 | 131.356 | 11.3537 | 190.316 | 12.632 | 146.184 | 0.37567 | 319.054 | 21.6 | 972.825 | 51.4237 | 44.412
2019-10-01 01:30:00 | 1.51 | 138.517 | 10.5867 | 194.361 | 8.797 | 130.628 | 0.37567 | 321.883 | 21.45 | 973.123 | 52.3792 | 47.2164
2019-10-01 01:45:00 | 0.372 | 142.781 | 9.564 | 192.979 | 10.5867 | 139.397 | 0 | 321.672 | 21.32 | 973.341 | 54.4268 | 47.9997
2019-10-01 02:00:00 | 3.9247 | 138.383 | 10.0753 | 195.501 | 12.3763 | 150.412 | 2.1497 | 313.511 | 21.14 | 972.77 | 55.9991 | 44.0462
2019-10-01 02:15:00 | 2.9033 | 142.944 | 10.331 | 200.406 | 8.797 | 131.328 | 0.63133 | 327.115 | 21.07 | 972.622 | 56.7521 | 41.2529
2019-10-01 02:30:00 | 1.6267 | 145.625 | 9.0527 | 196.732 | 10.5867 | 128.724 | 0 | 314.506 | 20.97 | 972.622 | 57.401 | 44.0019
2019-10-01 02:45:00 | 3.1587 | 133.375 | 8.5413 | 186.918 | 8.2857 | 137.564 | 0.887 | 317.159 | 20.81 | 972.473 | 57.6737 | 42.5424
2019-10-01 03:00:00 | 4.18 | 139.975 | 10.5867 | 193.348 | 9.8197 | 148.693 | 2.661 | 320.667 | 20.84 | 972.622 | 59.5498 | 42.6533
2019-10-01 03:15:00 | 3.6693 | 132.767 | 9.3083 | 185.068 | 9.8197 | 151.859 | 0.63133 | 314.579 | 20.85 | 972.473 | 60.4365 | 41.5485
2019-10-01 03:30:00 | 1.6267 | 133.473 | 11.865 | 191.229 | 11.098 | 134.447 | 0.75133 | 317.769 | 20.81 | 972.325 | 61.1869 | 41.4931
2019-10-01 03:45:00 | 0.372 | 131.038 | 8.797 | 184.118 | 10.0753 | 129.796 | 1.2627 | 318.84 | 20.55 | 972.473 | 62.2101 | 41.2197
2019-10-01 04:00:00 | 4.946 | 121.565 | 10.8423 | 176.788 | 9.0527 | 132.134 | 0.75133 | 309.903 | 20.45 | 972.473 | 62.7558 | 45.1288
2019-10-01 04:15:00 | 5.712 | 140.949 | 9.564 | 190.011 | 11.6093 | 125.364 | 1.3827 | 320.886 | 20.64 | 972.473 | 63.7108 | 44.0019
2019-10-01 04:30:00 | 2.648 | 145.747 | 8.797 | 198.121 | 7.5187 | 159.603 | 1.127 | 325.415 | 20.51 | 972.622 | 64.12 | 45.9528
2019-10-01 04:45:00 | 5.712 | 147.476 | 7.7743 | 192.179 | 7.5187 | 124.682 | 4.195 | 311.705 | 20.36 | 972.77 | 65.1432 | 49.0158
2019-10-01 05:00:00 | 3.6693 | 128.262 | 9.0527 | 179.54 | 9.0527 | 138.124 | 0 | 323.808 | 19.94 | 972.622 | 68.929 | 53.1725
2019-10-01 05:15:00 | 3.9247 | 143.677 | 8.797 | 196.612 | 8.797 | 145.918 | 1.3827 | 322.057 | 19.95 | 972.473 | 68.8953 | 54.4066
2019-10-01 05:30:00 | 5.2013 | 140.569 | 9.3083 | 207.706 | 7.0073 | 147.583 | 0.37567 | 318.497 | 19.73 | 972.919 | 70.7415 | 56.8304
2019-10-01 05:45:00 | 0 | 134.176 | 11.865 | 186.682 | 8.03 | 138.219 | 0.37567 | 319.206 | 19.63 | 973.067 | 71.498 | 59.1989
2019-10-01 06:00:00 | 3.1587 | 134.42 | 12.3763 | 185.077 | 11.865 | 134.469 | 3.6837 | 318.697 | 19.82 | 972.622 | 70.4752 | 58.7961
2019-10-01 06:15:00 | 9.542 | 115.469 | 8.797 | 182.661 | 9.8197 | 141.651 | 2.2853 | 309.776 | 20.1 | 972.93 | 69.9278 | 62.8883
2019-10-01 06:30:00 | 4.4353 | 135.556 | 11.865 | 175.516 | 12.1207 | 130.758 | 0 | 317.507 | 19.9 | 973.216 | 72.7218 | 66.6439
2019-10-01 06:45:00 | 3.414 | 131.783 | 10.5867 | 184.53 | 8.03 | 154.213 | 0.75133 | 316.001 | 19.75 | 973.512 | 72.3816 | 65.4209
2019-10-01 07:00:00 | 5.4567 | 145.723 | 11.3537 | 172.138 | 9.8197 | 118.643 | 0.63133 | 319.06 | 19.89 | 973.809 | 72.7151 | 66.171
2019-10-01 07:15:00 | 6.478 | 109.852 | 10.0753 | 172.015 | 8.797 | 125.973 | 1.774 | 321.617 | 19.93 | 974.254 | 72.7149 | 63.8506
2019-10-01 07:30:00 | 1.2547 | 127.921 | 10.8423 | 178.103 | 11.098 | 117.62 | 0 | 326.171 | 19.84 | 974.254 | 72.9878 | 53.5141
2019-10-01 07:45:00 | 4.946 | 155.08 | 8.797 | 182.074 | 8.2857 | 144.147 | 0 | 315.127 | 20.13 | 974.521 | 72.2973 | 51.351
2019-10-01 08:00:00 | 3.9247 | 132.452 | 11.865 | 197.84 | 10.331 | 140.73 | 0.75133 | 312.431 | 20.15 | 974.438 | 72.2251 | 46.3149
2019-10-01 08:15:00 | 3.6693 | 144.237 | 11.3537 | 194.334 | 10.8423 | 148.376 | 2.661 | 318.421 | 20.47 | 974.847 | 71.0316 | 38.9511
2019-10-01 08:30:00 | 0 | 138.776 | 5.9847 | 177.013 | 5.2177 | 154.455 | 0 | 335.546 | 20.56 | 975.143 | 70.9259 | 32.7585
2019-10-01 08:45:00 | 0.372 | 135.765 | 9.3083 | 184.974 | 7.5187 | 146.233 | 0.37567 | 316.687 | 20.81 | 975.44 | 68.7352 | 31.6168
2019-10-01 09:00:00 | 3.6693 | 144.674 | 7.5187 | 197.803 | 5.9847 | 156.895 | 1.2627 | 320.777 | 20.85 | 975.588 | 70.0307 | 27.3012
2019-10-01 09:15:00 | 1.882 | 132.828 | 6.7517 | 198.045 | 6.496 | 155.246 | 4.195 | 309.104 | 21.1 | 975.737 | 68.5224 | 22.2245
2019-10-01 09:30:00 | 0 | 135.304 | 8.2857 | 208.208 | 5.729 | 155.359 | 0 | 302.808 | 21.48 | 976.033 | 66.4054 | 15.3632
2019-10-01 09:45:00 | 0 | 149.883 | 5.4733 | 189.052 | 6.496 | 166.58 | 0 | 314.71 | 21.92 | 976.33 | 64.1896 | 7.6299
2019-10-01 10:00:00 | 0 | 145.673 | 4.4507 | 207.051 | 4.195 | 152.146 | 0 | 324.636 | 22.21 | 976.297 | 62.3386 | 7.0017
2019-10-01 10:15:00 | 0 | 143.457 | 5.2177 | 188.262 | 5.9847 | 142.824 | 5.729 | 332.105 | 22.22 | 976.48 | 61.0089 | 4.7774
2019-10-01 10:30:00 | 0 | 139.685 | 5.729 | 187.337 | 6.496 | 144.284 | 0 | 331.18 | 22.44 | 976.477 | 62.7471 | 3.983
2019-10-01 10:45:00 | 0 | 154.48 | 5.2177 | 200.16 | 4.962 | 149.053 | 3.9393 | 331.956 | 22.79 | 976.329 | 57.1229 | 3.5323
2019-10-01 11:00:00 | 0 | 149.99 | 4.195 | 200.653 | 5.9847 | 153.542 | 0 | 334.605 | 23.22 | 976.625 | 53.8806 | 3.0593
2019-10-01 11:15:00 | 0 | 149.584 | 5.2177 | 192.269 | 4.4507 | 166.447 | 1.3983 | 342.458 | 23.16 | 976.477 | 58.0754 | 3.0593
2019-10-01 11:30:00 | 0 | 132.478 | 2.661 | 170.2 | 2.661 | 129.217 | 0 | 350.419 | 23.86 | 976.477 | 52.1116 | 0.37687
2019-10-01 11:45:00 | 0 | 169.41 | 3.6837 | 208.881 | 3.9393 | 155.929 | 5.729 | 345.292 | 24.52 | 976.586 | 48.0194 | 0.081287
2019-10-01 12:00:00 | 0 | 133.878 | 3.6837 | 194.088 | 3.9393 | 178.472 | 0.37567 | 328.066 | 24.3 | 976.503 | 49.2357 | -0.081287
2019-10-01 12:15:00 | 0 | 145.087 | 4.4507 | 193.373 | 5.2177 | 152.872 | 2.541 | 353.011 | 25.26 | 976.18 | 48.3136 | -0.022169
2019-10-01 12:30:00 | 0 | 167.76 | 6.2403 | 233.342 | 6.2403 | 188.121 | 3.428 | 8.1739 | 25.63 | 976.031 | 45.4174 | -0.16257
2019-10-01 12:45:00 | 0 | 183.767 | 5.729 | 231.469 | 6.496 | 185.908 | 0 | 336.298 | 25.39 | 976.031 | 45.7581 | -0.15888
2019-10-01 13:00:00 | 0 | 177.4 | 5.4733 | 226.492 | 4.962 | 185.38 | 0 | 74.6143 | 25.63 | 975.734 | 44.6697 | 0.092371
2019-10-01 13:15:00 | 0 | 119.72 | 5.2177 | 186.012 | 6.2403 | 150.397 | 0 | 309.504 | 25.85 | 975.748 | 42.0464 | -0.10715
2019-10-01 13:30:00 | 0 | 150.074 | 3.9393 | 207.556 | 3.6837 | 165.595 | 0 | 338.634 | 26.2 | 976.34 | 39.5231 | 0.25494
2019-10-01 13:45:00 | 0 | 133.775 | 2.661 | 168.73 | 3.1723 | 149.636 | 0 | 314.841 | 26.84 | 976.327 | 37.6831 | 0.50989
2019-10-01 14:00:00 | 0 | 131.512 | 6.496 | 194.76 | 2.4053 | 162.602 | 0 | 295.355 | 27.07 | 976.624 | 36.9336 | 0.80548
2019-10-01 14:15:00 | 0 | 135.721 | 4.195 | 174.665 | 4.4507 | 137.545 | 0 | 319.974 | 26.42 | 976.624 | 35.6048 | 0.77961
2019-10-01 14:30:00 | 0 | 91.5429 | 4.962 | 158.512 | 3.9393 | 145.014 | 0 | 269.739 | 27.06 | 976.476 | 35.1278 | 1.0087
2019-10-01 14:45:00 | 0 | 237.55 | 1.3827 | 92.1218 | 1.127 | 26.0782 | 0 | 178.923 | 28.28 | 976.772 | 32.7082 | 0.218
2019-10-01 15:00:00 | 0 | 121.421 | 2.661 | 184.849 | 1.894 | 151.095 | 0 | 290.563 | 28.69 | 977.068 | 31.3406 | 0.055423
2019-10-01 15:15:00 | 0 | 5.8854 | 3.428 | 63.8544 | 2.661 | 304.07 | 0 | 194.533 | 28.18 | 976.327 | 36.3774 | 0.25125
2019-10-01 15:30:00 | 0 | 308.169 | 3.6837 | 10.6616 | 2.9167 | 292.823 | 0 | 125.242 | 27.56 | 976.624 | 36.9892 | 0.21061
2019-10-01 15:45:00 | 0 | 296.641 | 3.1723 | 18.8568 | 3.428 | 286.134 | 0 | 114.098 | 27.19 | 975.586 | 37.3018 | -0.26233
2019-10-01 16:00:00 | 0 | 303.175 | 2.661 | 19.8054 | 2.661 | 277.586 | 0 | 115.491 | 27.57 | 975.734 | 37.7466 | -0.218
2019-10-01 16:15:00 | 0 | 308.662 | 2.4053 | 17.6646 | 1.6383 | 327.831 | 0 | 119.446 | 27.36 | 975.734 | 36.4224 | -0.26233
2019-10-01 16:30:00 | 0 | 303.578 | 0 | 309.924 | 0 | 331.043 | 0 | 136.743 | 26.95 | 975.586 | 39.1141 | -0.24016
2019-10-01 16:45:00 | 0 | 313.868 | 1.894 | 8.414 | 1.894 | 331.043 | 0 | 132.437 | 26.37 | 974.993 | 40.3407 | -0.24016
2019-10-01 17:00:00 | 0 | 298.38 | 0.75133 | 11.2412 | 1.6383 | 254.465 | 0 | 122.427 | 26.51 | 974.845 | 40.0044 | -0.28081
2019-10-01 17:15:00 | 0 | 296.279 | 1.3827 | 13.7221 | 0 | 275.061 | 0 | 122.639 | 26.61 | 974.783 | 41.5775 | -0.24016
2019-10-01 17:30:00 | 0 | 298.343 | 0.75133 | 13.6729 | 0 | 286.76 | 0 | 122.817 | 26.13 | 974.696 | 43.4207 | -0.24016
2019-10-01 17:45:00 | 0 | 335.968 | 1.3827 | 13.6242 | 1.127 | 336.552 | 0 | 122.843 | 25.78 | 974.104 | 43.6257 | -0.24016
2019-10-01 18:00:00 | 3.414 | 354.128 | 2.4053 | 37.3341 | 2.1497 | 356.708 | 0 | 177.04 | 25.44 | 973.807 | 46.6939 | -0.24016
2019-10-01 18:15:00 | 0 | 70.4792 | 1.894 | 42.2534 | 1.6383 | 8.8586 | 0 | 186.882 | 25.36 | 974.055 | 47.5146 | -0.24016
2019-10-01 18:30:00 | 0 | 0.1217 | 2.1497 | 45.5219 | 2.1497 | 7.5939 | 0.37567 | 190.53 | 25.27 | 973.956 | 47.0427 | -0.24016
2019-10-01 18:45:00 | 7.4993 | 0.14604 | 1.127 | 45.8141 | 1.3827 | 14.336 | 0 | 189.751 | 25.28 | 974.105 | 47.1791 | -0.24016
2019-10-01 19:00:00 | 0.372 | 0.097358 | 1.894 | 48.4427 | 1.3827 | 19.861 | 0.63133 | 189.751 | 25.25 | 973.808 | 46.6337 | -0.24016
2019-10-01 19:15:00 | 0 | 0.1217 | 1.3827 | 48.4471 | 0.75133 | 17.5256 | 0 | 189.763 | 25.25 | 974.253 | 46.5685 | -0.24016
2019-10-01 19:30:00 | 0 | 0.14606 | 1.127 | 48.4515 | 0.75133 | 17.5267 | 0 | 189.775 | 25.16 | 974.105 | 44.7986 | -0.24016
2019-10-01 19:45:00 | 0 | 0.12172 | 1.127 | 48.4537 | 0.75133 | 17.6246 | 0 | 189.781 | 25.26 | 973.956 | 45.857 | -0.24016
2019-10-01 20:00:00 | 0 | 0.097375 | 0.75133 | 48.4543 | 0.75133 | 17.6735 | 0 | 189.783 | 25.26 | 974.253 | 45.9939 | -0.24016
2019-10-01 20:15:00 | 0 | 0.14606 | 1.127 | 48.4543 | 0 | 29.7967 | 0 | 213.494 | 25.27 | 974.105 | 45.1415 | -0.24016
2019-10-01 20:30:00 | 0 | 111.981 | 1.6383 | 49.2821 | 1.127 | 76.6339 | 0 | 302.616 | 25.35 | 973.956 | 42.3457 | -0.24016
2019-10-01 20:45:00 | 0 | 138.077 | 2.9167 | 191.303 | 1.894 | 142.727 | 0 | 320.29 | 25.4 | 973.956 | 43.0958 | -0.24016
2019-10-01 21:00:00 | 0 | 124.93 | 3.428 | 174.697 | 3.428 | 120.523 | 0 | 311.91 | 25.24 | 974.105 | 39.1401 | -0.2845
2019-10-01 21:15:00 | 0.372 | 128.437 | 4.7063 | 178.985 | 4.4507 | 128.827 | 0 | 309.578 | 25.58 | 974.253 | 34.2993 | 0.18844
2019-10-01 21:30:00 | 0 | 120.54 | 4.195 | 160.42 | 4.7063 | 135.583 | 0 | 302.494 | 25.27 | 974.253 | 34.6375 | 3.6653
2019-10-01 21:45:00 | 2.0207 | 110.243 | 3.9393 | 173.369 | 3.9393 | 117.959 | 0.63133 | 313.251 | 25.24 | 973.956 | 30.0008 | 4.323
2019-10-01 22:00:00 | 0 | 129.855 | 5.2177 | 162.332 | 4.4507 | 117.368 | 0 | 309.996 | 25.01 | 973.956 | 33.1353 | 5.3464
2019-10-01 22:15:00 | 0 | 124.723 | 5.4733 | 162.509 | 4.7063 | 116.545 | 0 | 303.265 | 25 | 973.956 | 38.3865 | 8.4575
2019-10-01 22:30:00 | 0 | 117.885 | 6.2403 | 175.801 | 5.9847 | 125.09 | 2.7967 | 299.398 | 24.46 | 973.66 | 39.1029 | 10.4601
2019-10-01 22:45:00 | 0 | 133.742 | 6.496 | 182.488 | 5.4733 | 132.793 | 0.37567 | 315.782 | 24.26 | 973.363 | 40.9132 | 11.3358
2019-10-01 23:00:00 | 0.99933 | 132.916 | 5.9847 | 185.119 | 5.9847 | 129.8 | 5.9847 | 323.332 | 23.6 | 973.363 | 45.4823 | 17.3362
2019-10-01 23:15:00 | 0 | 136.957 | 6.2403 | 189.867 | 5.729 | 137.274 | 0.37567 | 324.988 | 23.42 | 973.066 | 46.3348 | 16.6453
2019-10-01 23:30:00 | 0 | 141.12 | 5.4733 | 180.227 | 3.6837 | 161.35 | 0 | 322.7 | 22.95 | 973.066 | 51.4831 | 13.3458
2019-10-01 23:45:00 | 0 | 149.766 | 5.2177 | 190.772 | 4.4507 | 149.181 | 5.9847 | 332.517 | 22.51 | 972.918 | 52.5071 | 16.479