## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-02 00:00:00 | 0 | 135.738 | 7.263 | 184.301 | 5.9847 | 127.484 | 5.9847 | 318.881 | 22.29 | 972.918 | 54.6969 | 19.0211
2019-10-02 00:15:00 | 0 | 143.725 | 5.729 | 194.991 | 4.4507 | 153.683 | 5.729 | 328.574 | 22 | 972.918 | 57.1526 | 13.9333
2019-10-02 00:30:00 | 0 | 132.842 | 6.496 | 178.167 | 6.2403 | 137.078 | 1.007 | 321.148 | 21.81 | 972.492 | 58.1074 | 18.7624
2019-10-02 00:45:00 | 0 | 133.475 | 4.962 | 172.153 | 4.4507 | 142.897 | 4.195 | 324.995 | 21.39 | 972.957 | 62.7451 | 26.6398
2019-10-02 01:00:00 | 0 | 138.153 | 5.9847 | 190.102 | 5.9847 | 141.22 | 0.37567 | 320.23 | 21.22 | 972.712 | 69.0211 | 28.0845
2019-10-02 01:15:00 | 0 | 142.858 | 6.496 | 195.832 | 5.4733 | 153.109 | 3.6837 | 327.401 | 20.84 | 972.618 | 70.1152 | 21.9363
2019-10-02 01:30:00 | 3.414 | 132.304 | 8.2857 | 191.984 | 5.9847 | 150.008 | 1.2627 | 321.324 | 20.67 | 972.473 | 69.2359 | 24.0387
2019-10-02 01:45:00 | 0 | 134.91 | 6.7517 | 180.076 | 4.4507 | 140.657 | 5.9847 | 338.078 | 20.67 | 972.177 | 71.2824 | 19.1984
2019-10-02 02:00:00 | 0.372 | 141.241 | 8.03 | 193.956 | 7.5187 | 144.578 | 2.4053 | 324.49 | 20.63 | 972.325 | 70.7367 | 20.1073
2019-10-02 02:15:00 | 0.88267 | 142.922 | 6.496 | 187.674 | 6.496 | 147.841 | 0.37567 | 316.137 | 20.67 | 972.028 | 71.6235 | 23.9537
2019-10-02 02:30:00 | 0 | 142.8 | 8.03 | 174.426 | 5.9847 | 134.399 | 0 | 323.735 | 20.74 | 972.028 | 70.7367 | 25.9304
2019-10-02 02:45:00 | 0 | 140.024 | 7.0073 | 203.892 | 7.5187 | 150.154 | 4.4507 | 328.532 | 20.73 | 972.028 | 71.8281 | 24.434
2019-10-02 03:00:00 | 0 | 153.32 | 5.729 | 210.735 | 5.2177 | 165.155 | 0 | 320.228 | 20.7 | 971.88 | 71.4188 | 17.2365
2019-10-02 03:15:00 | 0 | 142.483 | 5.9847 | 199.509 | 4.962 | 157.216 | 0 | 319.522 | 20.36 | 971.583 | 72.1009 | 15.8804
2019-10-02 03:30:00 | 0 | 144.894 | 5.4733 | 199.704 | 5.4733 | 162.087 | 5.4733 | 333.573 | 20.54 | 971.731 | 71.7599 | 14.724
2019-10-02 03:45:00 | 0 | 151.908 | 6.7517 | 212.147 | 6.496 | 168.418 | 2.661 | 337.762 | 20.17 | 971.583 | 74.4202 | 13.8815
2019-10-02 04:00:00 | 0 | 168.613 | 5.9847 | 214.85 | 5.2177 | 169.538 | 0 | 345.798 | 20.3 | 971.583 | 72.749 | 10.2458
2019-10-02 04:15:00 | 0 | 156.023 | 5.2177 | 212.61 | 4.962 | 170.196 | 0.37567 | 330.773 | 20.21 | 971.583 | 71.5893 | 9.8578
2019-10-02 04:30:00 | 0 | 177.331 | 4.962 | 219.964 | 3.6837 | 182.299 | 0.37567 | 352.69 | 20.18 | 971.88 | 72.2374 | 6.7135
2019-10-02 04:45:00 | 0 | 168.76 | 3.9393 | 220.549 | 3.428 | 179.767 | 0 | 353.957 | 20.13 | 971.731 | 70.6005 | 3.9202
2019-10-02 05:00:00 | 0 | 165.911 | 3.6837 | 223.278 | 3.428 | 168.858 | 0 | 351.767 | 21.04 | 971.88 | 65.7577 | 4.2047
2019-10-02 05:15:00 | 0 | 169.879 | 4.7063 | 224.932 | 3.6837 | 181.909 | 4.195 | 352.617 | 20.6 | 972.028 | 69.4748 | 5.7196
2019-10-02 05:30:00 | 0 | 190.359 | 5.2177 | 229.364 | 4.962 | 167.542 | 3.428 | 11.0558 | 20.44 | 971.88 | 69.0314 | 5.4314
2019-10-02 05:45:00 | 0 | 169.465 | 3.6837 | 215.118 | 3.6837 | 172.022 | 0 | 35.9192 | 20.08 | 971.88 | 72.9195 | 3.1037
2019-10-02 06:00:00 | 0 | 158.726 | 4.195 | 207.107 | 3.9393 | 167.736 | 0 | 349.281 | 19.69 | 971.88 | 75.1365 | 3.366
2019-10-02 06:15:00 | 0 | 200.029 | 2.4053 | 243.54 | 2.9167 | 164.573 | 0 | 20.8455 | 19.91 | 971.88 | 73.6025 | 2.1726
2019-10-02 06:30:00 | 2.9033 | 184.162 | 3.6837 | 241.826 | 3.1723 | 201.259 | 0.887 | 9.2544 | 20.04 | 971.88 | 72.0718 | 1.5408
2019-10-02 06:45:00 | 0 | 181.719 | 4.195 | 230.637 | 3.9393 | 194.724 | 3.0523 | 7.9633 | 20.13 | 972.622 | 72.3076 | 1.3006
2019-10-02 07:00:00 | 3.1587 | 177.672 | 3.428 | 228.926 | 3.428 | 180.302 | 0 | 7.3787 | 20.23 | 973.067 | 72.3738 | 0.67985
2019-10-02 07:15:00 | 0 | 165.18 | 2.9167 | 212.099 | 2.4053 | 173.289 | 0 | 7.3543 | 20.51 | 973.067 | 71.2824 | 0.41752
2019-10-02 07:30:00 | 0 | 174.672 | 2.661 | 237.163 | 2.661 | 191.497 | 0 | 354.312 | 20.76 | 973.546 | 69.7703 | 0.218
2019-10-02 07:45:00 | 0 | 146.087 | 1.894 | 200.883 | 2.661 | 149.155 | 0 | 343.353 | 20.55 | 973.512 | 72.0205 | -0.014779
2019-10-02 08:00:00 | 0 | 145.892 | 1.127 | 200.299 | 1.127 | 143.311 | 0 | 29.4122 | 20.57 | 973.808 | 71.0998 | -0.3547
2019-10-02 08:15:00 | 0 | 145.967 | 0.75133 | 200.313 | 0 | 145.334 | 0 | 40.2893 | 21.11 | 973.957 | 68.5996 | 0.033254
2019-10-02 08:30:00 | 0 | 146.208 | 1.3827 | 200.334 | 0.37567 | 145.77 | 0 | 40.0209 | 21.39 | 974.253 | 68.2577 | -0.011085
2019-10-02 08:45:00 | 0 | 146.719 | 2.4053 | 214.478 | 1.6383 | 157.99 | 0 | 12.2205 | 21.57 | 974.402 | 67.644 | -0.27342
2019-10-02 09:00:00 | 0 | 169.502 | 1.3827 | 203.05 | 1.127 | 130.753 | 0 | 45.418 | 22.49 | 974.55 | 64.1561 | -0.2845
2019-10-02 09:15:00 | 0 | 253.837 | 2.4053 | 306.362 | 1.6383 | 235.681 | 0 | 87.4192 | 22.96 | 974.661 | 60.3658 | -0.24016
2019-10-02 09:30:00 | 0 | 274.552 | 1.3827 | 313.735 | 0.37567 | 235.664 | 0 | 116.81 | 22.31 | 974.439 | 62.7471 | -0.24016
2019-10-02 09:45:00 | 0 | 276.012 | 2.4053 | 305.169 | 0 | 235.639 | 0 | 122.018 | 22.71 | 974.562 | 61.9632 | -0.24016
2019-10-02 10:00:00 | 0 | 318.793 | 2.661 | 11.271 | 0 | 235.664 | 0 | 133.577 | 23.31 | 974.994 | 59.6455 | -0.24016
2019-10-02 10:15:00 | 0 | 279.709 | 2.661 | 310.521 | 0.75133 | 239.069 | 0 | 96.5865 | 22.69 | 974.698 | 61.622 | -0.25125
2019-10-02 10:30:00 | 0 | 292.716 | 3.428 | 321.749 | 3.1723 | 271.18 | 0 | 107.314 | 23.59 | 974.698 | 57.2569 | -0.26603
2019-10-02 10:45:00 | 0 | 293.856 | 3.6837 | 19.1242 | 2.9167 | 288.334 | 0 | 121.493 | 23.87 | 974.727 | 55.0613 | -0.26972
2019-10-02 11:00:00 | 0 | 309.879 | 3.428 | 8.1221 | 3.428 | 294.066 | 0 | 129.615 | 23.23 | 974.4 | 55.8092 | -0.22539
2019-10-02 11:15:00 | 0 | 284.093 | 3.6837 | 323.559 | 3.6837 | 270.759 | 0 | 112.557 | 23.93 | 974.202 | 58.0681 | 0.014779
2019-10-02 11:30:00 | 0 | 299.221 | 3.9393 | 16.1067 | 3.1723 | 292.383 | 0 | 119.839 | 23.68 | 974.09 | 60.389 | 0.036948
2019-10-02 11:45:00 | 0 | 293.769 | 3.1723 | 335.239 | 1.6383 | 291.044 | 0 | 108.071 | 23.62 | 973.807 | 60.3257 | -0.077592
2019-10-02 12:00:00 | 0 | 331.349 | 2.9167 | 0.53178 | 2.4053 | 297.961 | 0 | 128.758 | 24.06 | 973.807 | 57.7026 | -0.036948
2019-10-02 12:15:00 | 0 | 65.1873 | 3.428 | 17.1774 | 2.661 | 294.888 | 0 | 172.275 | 24.42 | 973.626 | 53.3683 | 0.12193
2019-10-02 12:30:00 | 1.138 | 62.9489 | 4.4507 | 4.8194 | 3.9393 | 303.576 | 0 | 190.404 | 24.04 | 973.335 | 55.7541 | 0.58009
2019-10-02 12:45:00 | 0 | 21.9014 | 1.894 | 45.2175 | 1.894 | 314.991 | 0 | 223.735 | 23.87 | 973.214 | 54.8727 | 0.066507
2019-10-02 13:00:00 | 0 | 124.76 | 0 | 15.6442 | 0 | 201.874 | 0 | 242.292 | 24.77 | 973.214 | 53.1664 | -0.15518
2019-10-02 13:15:00 | 0 | 69.1099 | 2.1497 | 5.2046 | 0 | 304.959 | 0 | 171.704 | 24.86 | 973.511 | 48.1918 | -0.23278
2019-10-02 13:30:00 | 0 | 287.471 | 1.894 | 38.599 | 1.3827 | 295.404 | 0 | 127.102 | 25.3 | 973.655 | 45.8755 | -0.25125
2019-10-02 13:45:00 | 0 | 348.563 | 1.894 | 6.6647 | 1.894 | 350.971 | 0 | 147.142 | 26.59 | 973.433 | 36.1529 | -0.062812
2019-10-02 14:00:00 | 0 | 9.074 | 3.428 | 331.332 | 0 | 323.38 | 0 | 123.874 | 26.7 | 973.511 | 32.3339 | 0.018474
2019-10-02 14:15:00 | 0 | 309.952 | 3.428 | 6.7598 | 3.6837 | 308.759 | 0 | 149.174 | 27.11 | 973.511 | 26.7462 | 0.38796
2019-10-02 14:30:00 | 0 | 317.233 | 3.6837 | 5.1996 | 3.1723 | 309.206 | 0 | 161 | 27.24 | 974.252 | 26.4361 | 1.0309
2019-10-02 14:45:00 | 0 | 304.356 | 3.9393 | 18.8082 | 2.4053 | 297.059 | 0 | 129.667 | 27.34 | 973.807 | 30.1144 | 1.3264
2019-10-02 15:00:00 | 0.62733 | 313.036 | 3.6837 | 9.1033 | 2.9167 | 326.876 | 0 | 141.268 | 27.22 | 973.659 | 31.7152 | 2.2095
2019-10-02 15:15:00 | 0 | 305.107 | 5.4733 | 13.0923 | 3.6837 | 309.68 | 0 | 127.112 | 27.2 | 973.659 | 34.3724 | 1.9324
2019-10-02 15:30:00 | 0 | 347.575 | 2.4053 | 13.9679 | 2.1497 | 313.012 | 0 | 167.682 | 27.03 | 973.511 | 35.2581 | 1.5038
2019-10-02 15:45:00 | 0 | 69.8559 | 1.6383 | 75.541 | 0.75133 | 355.117 | 0 | 227.907 | 26.44 | 973.511 | 36.4846 | 0.9348
2019-10-02 16:00:00 | 0 | 9.7778 | 3.9393 | 63.4034 | 2.9167 | 16.7585 | 0 | 197.235 | 25.9 | 973.363 | 38.0515 | 0.96435
2019-10-02 16:15:00 | 2.5313 | 354.443 | 3.9393 | 48.9911 | 3.6837 | 22.2834 | 0.63133 | 171.651 | 25.91 | 972.77 | 37.4444 | 0.90893
2019-10-02 16:30:00 | 0 | 0.14596 | 3.1723 | 72.8321 | 2.661 | 19.2184 | 0 | 173.476 | 25.78 | 972.473 | 38.2964 | 1.1269
2019-10-02 16:45:00 | 0 | 10.1201 | 3.9393 | 64.0744 | 3.428 | 33.6444 | 0 | 177.685 | 25.75 | 972.325 | 36.3203 | 0.72049
2019-10-02 17:00:00 | 0 | 8.2722 | 3.428 | 66.858 | 2.4053 | 13.8194 | 0 | 192.864 | 25.56 | 972.07 | 36.9379 | 0.69833
2019-10-02 17:15:00 | 0 | 10.5612 | 3.1723 | 65.1951 | 1.3827 | 26.5733 | 0 | 192.608 | 25.32 | 972.024 | 37.422 | 1.0678
2019-10-02 17:30:00 | 0 | 16.7665 | 3.428 | 63.8568 | 2.4053 | 29.5908 | 0 | 204.921 | 25.09 | 971.88 | 38.3763 | 0.96435
2019-10-02 17:45:00 | 0 | 13.2384 | 3.9393 | 66.6339 | 2.1497 | 16.5481 | 0 | 197.117 | 24.92 | 971.435 | 39.2638 | 2.4645
2019-10-02 18:00:00 | 0 | 13.5548 | 3.6837 | 62.0589 | 2.9167 | 7.4953 | 0 | 197.506 | 24.78 | 971.217 | 39.8773 | 3.6542
2019-10-02 18:15:00 | 0 | 24.2421 | 4.4507 | 69.9587 | 3.1723 | 20.2018 | 0 | 201.141 | 24.7 | 971.138 | 39.9522 | 5.6716
2019-10-02 18:30:00 | 0 | 24.5343 | 3.9393 | 77.9424 | 3.428 | 26.5788 | 0 | 206.838 | 24.54 | 970.99 | 39.2024 | 6.7061
2019-10-02 18:45:00 | 0 | 29.3576 | 4.195 | 80.2929 | 3.1723 | 17.4295 | 0 | 208.668 | 24.46 | 971.138 | 37.5031 | 6.9611
2019-10-02 19:00:00 | 0.88267 | 27.2162 | 4.962 | 76.1818 | 3.6837 | 16.8458 | 0 | 202.661 | 24.58 | 971.138 | 35.1858 | 6.9168
2019-10-02 19:15:00 | 0 | 28.2873 | 4.7063 | 79.0301 | 3.428 | 16.8458 | 0 | 208.625 | 24.61 | 971.138 | 35.0494 | 5.6716
2019-10-02 19:30:00 | 0 | 19.0368 | 4.4507 | 71.8487 | 3.1723 | 22.2014 | 0 | 203.318 | 24.55 | 971.138 | 34.3675 | 4.1271
2019-10-02 19:45:00 | 0 | 17.0406 | 3.9393 | 67.053 | 3.1723 | 15.5799 | 0 | 198.912 | 24.75 | 971.435 | 33.8902 | 3.7687
2019-10-02 20:00:00 | 0 | 12.8291 | 4.195 | 62.6954 | 2.9167 | 13.0726 | 0 | 193.97 | 24.78 | 971.286 | 33.2424 | 3.935
2019-10-02 20:15:00 | 0 | 13.9246 | 4.4507 | 65.6897 | 3.428 | 18.4038 | 0 | 200.762 | 24.73 | 971.583 | 33.1401 | 5.7381
2019-10-02 20:30:00 | 0 | 16.6024 | 4.4507 | 70.2663 | 2.9167 | 17.9413 | 0 | 203.148 | 24.64 | 971.731 | 33.1401 | 5.3464
2019-10-02 20:45:00 | 0 | 23.662 | 3.428 | 80.5881 | 3.1723 | 29.7236 | 0 | 198.839 | 24.62 | 971.435 | 33.822 | 5.1358
2019-10-02 21:00:00 | 0 | 31.7441 | 3.9393 | 88.4754 | 3.1723 | 41.9198 | 0 | 215.49 | 24.58 | 971.731 | 34.9471 | 5.8785
2019-10-02 21:15:00 | 0 | 32.0363 | 3.9393 | 79.9064 | 3.428 | 38.0735 | 0 | 217.17 | 24.46 | 971.88 | 34.7085 | 4.5927
2019-10-02 21:30:00 | 0 | 32.158 | 3.6837 | 88.378 | 3.1723 | 40.5079 | 0 | 209.842 | 24.44 | 971.583 | 34.5039 | 3.233
2019-10-02 21:45:00 | 0 | 35.9313 | 3.6837 | 87.0148 | 3.428 | 45.7661 | 0 | 216.147 | 24.45 | 971.583 | 33.9584 | 2.7896
2019-10-02 22:00:00 | 0 | 35.4444 | 3.428 | 88.2806 | 3.1723 | 39.1933 | 0 | 210.086 | 24.55 | 971.88 | 33.6175 | 1.9213
2019-10-02 22:15:00 | 0 | 34.3489 | 4.195 | 71.5809 | 2.9167 | 30.9651 | 0 | 206.605 | 24.75 | 971.731 | 33.5493 | 1.3264
2019-10-02 22:30:00 | 0 | 18.2091 | 3.428 | 74.7456 | 2.661 | 26.2912 | 0 | 201.639 | 24.72 | 971.731 | 34.0948 | 0.67616
2019-10-02 22:45:00 | 0 | 18.8907 | 3.428 | 75.3785 | 2.1497 | 30.673 | 0 | 202.15 | 24.89 | 971.88 | 33.5493 | 0.051728
2019-10-02 23:00:00 | 0 | 26.6807 | 2.661 | 82.146 | 1.894 | 32.8153 | 0 | 203.27 | 24.92 | 971.731 | 33.2424 | -0.033254
2019-10-02 23:15:00 | 0 | 39.8262 | 2.4053 | 99.7222 | 1.894 | 57.1589 | 1.2627 | 213.689 | 24.98 | 971.88 | 31.4013 | -0.36949
2019-10-02 23:30:00 | 0 | 50.0506 | 1.6383 | 99.8682 | 0 | 66.6043 | 0 | 222.574 | 24.64 | 971.583 | 31.4354 | -0.25864
2019-10-02 23:45:00 | 0 | 59.5933 | 1.3827 | 101.28 | 0 | 66.6043 | 0 | 229.244 | 24.69 | 971.435 | 32.0491 | 0.97913