## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-03 00:00:00 | 0 | 59.5446 | 1.127 | 101.28 | 0 | 66.7017 | 0 | 228.636 | 24.56 | 971.435 | 31.9809 | 1.9102
2019-10-03 00:15:00 | 0 | 84.9176 | 0.75133 | 101.29 | 0 | 66.707 | 0 | 228.532 | 24.44 | 971.286 | 31.3697 | 3.2441
2019-10-03 00:30:00 | 0 | 88.82 | 1.127 | 175.073 | 0 | 114.604 | 0 | 229.379 | 23.69 | 970.99 | 30.963 | 3.8796
2019-10-03 00:45:00 | 0 | 88.7234 | 1.3827 | 172.543 | 0 | 114.532 | 0 | 229.381 | 24.8 | 971.138 | 27.4851 | 4.6481
2019-10-03 01:00:00 | 0 | 88.7234 | 0.75133 | 172.64 | 0 | 114.556 | 0 | 229.381 | 24 | 970.99 | 31.4407 | 3.9535
2019-10-03 01:15:00 | 0 | 84.9252 | 1.3827 | 171.861 | 0.75133 | 114.532 | 0 | 252.852 | 24.35 | 970.99 | 27.3487 | 4.1715
2019-10-03 01:30:00 | 0 | 139.27 | 3.6837 | 188.807 | 1.007 | 154.463 | 0 | 292.076 | 23.26 | 971.138 | 31.3043 | 4.1013
2019-10-03 01:45:00 | 0 | 135.471 | 2.9167 | 177.047 | 2.1497 | 157.36 | 0 | 319.443 | 23.44 | 970.99 | 30.1449 | 4.0533
2019-10-03 02:00:00 | 0 | 148.911 | 2.9167 | 198.254 | 3.428 | 148.132 | 0 | 302.619 | 23.72 | 971.138 | 28.7127 | 4.1604
2019-10-03 02:15:00 | 0 | 139.61 | 2.4053 | 194.163 | 1.3827 | 159.283 | 0 | 306.636 | 23.84 | 970.997 | 28.9855 | 4.4892
2019-10-03 02:30:00 | 0 | 151.93 | 2.661 | 197.889 | 2.661 | 146.598 | 0 | 328.842 | 23.72 | 971.287 | 29.1219 | 6.1667
2019-10-03 02:45:00 | 0.99933 | 144.918 | 3.9393 | 195.332 | 3.1723 | 155.144 | 5.729 | 330.984 | 23.3 | 970.693 | 29.8039 | 7.774
2019-10-03 03:00:00 | 3.9247 | 152.125 | 4.195 | 199.763 | 2.4053 | 148.814 | 1.5183 | 331.983 | 22.76 | 970.693 | 31.0315 | 7.567
2019-10-03 03:15:00 | 0 | 132.209 | 7.263 | 192.118 | 5.729 | 144.504 | 0.37567 | 331.983 | 21.79 | 970.57 | 34.1688 | 7.9365
2019-10-03 03:30:00 | 0 | 150.299 | 7.5187 | 192.751 | 5.9847 | 151.443 | 5.2177 | 350.122 | 22.02 | 970.771 | 34.7826 | 6.333
2019-10-03 03:45:00 | 0 | 145.237 | 6.7517 | 189.346 | 4.195 | 150.886 | 0 | 336.054 | 21.91 | 970.678 | 35.0559 | 6.7394
2019-10-03 04:00:00 | 0 | 137.082 | 6.2403 | 185.477 | 4.7063 | 146.773 | 0.75133 | 349.523 | 22.38 | 970.977 | 33.8287 | 5.9265
2019-10-03 04:15:00 | 0 | 147.091 | 5.729 | 197.58 | 4.7063 | 144.875 | 0.75133 | 326.249 | 22.43 | 971.434 | 33.4198 | 5.7972
2019-10-03 04:30:00 | 0.88267 | 147.745 | 5.2177 | 188.713 | 2.1497 | 148.135 | 0 | 340.218 | 22.69 | 971.431 | 33.8625 | 4.674
2019-10-03 04:45:00 | 0 | 150.226 | 5.729 | 197.475 | 4.7063 | 146.087 | 0 | 339.652 | 22.39 | 971.375 | 33.214 | 3.7909
2019-10-03 05:00:00 | 0 | 147.986 | 4.195 | 191.729 | 3.1723 | 148.522 | 0 | 344.912 | 22.82 | 971.499 | 31.2362 | 3.8685
2019-10-03 05:15:00 | 0 | 152.612 | 3.9393 | 195.941 | 2.1497 | 166.637 | 0 | 335.805 | 22.94 | 971.456 | 32.532 | 3.6099
2019-10-03 05:30:00 | 0.372 | 149.91 | 3.6837 | 182.184 | 3.428 | 164.202 | 0 | 339.75 | 22.74 | 971.404 | 33.214 | 3.887
2019-10-03 05:45:00 | 0 | 148.23 | 4.962 | 187.395 | 2.9167 | 144.723 | 0 | 333.614 | 22.79 | 971.442 | 33.896 | 4.4597
2019-10-03 06:00:00 | 0 | 156.313 | 4.7063 | 197.304 | 1.6383 | 141.315 | 0 | 351.29 | 22.89 | 971.43 | 33.6914 | 5.1432
2019-10-03 06:15:00 | 0 | 152.32 | 5.2177 | 195.137 | 3.6837 | 158.017 | 0 | 340.139 | 22.46 | 971.308 | 34.8508 | 5.4499
2019-10-03 06:30:00 | 1.51 | 149.642 | 4.7063 | 194.407 | 3.428 | 147.645 | 2.541 | 351.534 | 22.99 | 971.477 | 33.1458 | 4.9363
2019-10-03 06:45:00 | 2.7867 | 146.842 | 3.9393 | 192.313 | 2.9167 | 149.691 | 0 | 326.797 | 23.11 | 971.323 | 31.6454 | 4.7701
2019-10-03 07:00:00 | 0 | 151.151 | 2.4053 | 196.379 | 1.6383 | 152.247 | 4.962 | 337.315 | 23.47 | 971.88 | 31.8159 | 5.2725
2019-10-03 07:15:00 | 0.88267 | 150.006 | 4.195 | 195.978 | 2.661 | 161.253 | 0 | 333.169 | 23.35 | 972.325 | 33.2084 | 5.8231
2019-10-03 07:30:00 | 0 | 135.021 | 3.6837 | 190.406 | 2.9167 | 133.731 | 0 | 352.462 | 23.01 | 972.177 | 32.6596 | 6.3403
2019-10-03 07:45:00 | 0 | 124.326 | 3.9393 | 180.509 | 1.6383 | 123.547 | 0 | 314.248 | 23.49 | 972.918 | 31.021 | 6.7283
2019-10-03 08:00:00 | 0 | 86.4412 | 0 | 80.2397 | 0 | 42.6366 | 0 | 305.465 | 24.82 | 973.42 | 31.1527 | 6.1261
2019-10-03 08:15:00 | 0 | 146.596 | 2.661 | 184.028 | 2.4053 | 141.34 | 0 | 331.107 | 24.12 | 973.068 | 32.0382 | 5.9893
2019-10-03 08:30:00 | 0 | 131.502 | 3.428 | 182.266 | 2.661 | 157.248 | 0 | 314.155 | 23.51 | 973.363 | 31.8322 | 5.8083
2019-10-03 08:45:00 | 0 | 136.615 | 3.428 | 180.664 | 3.9393 | 151.532 | 0.37567 | 319.856 | 24 | 973.808 | 31.4239 | 5.5349
2019-10-03 09:00:00 | 0.99933 | 140.545 | 3.1723 | 189.017 | 2.9167 | 134.803 | 0 | 322.358 | 24.3 | 973.688 | 30.3987 | 3.9535
2019-10-03 09:15:00 | 0 | 143.775 | 3.428 | 198.922 | 4.195 | 149.613 | 0 | 322.97 | 24.62 | 973.662 | 30.801 | 3.1776
2019-10-03 09:30:00 | 0 | 137.448 | 3.9393 | 197.411 | 3.428 | 156.983 | 0 | 301.388 | 24.85 | 973.956 | 29.8126 | 2.5051
2019-10-03 09:45:00 | 0 | 138.178 | 3.9393 | 192.789 | 3.9393 | 158.126 | 0 | 330.848 | 25.42 | 974.104 | 29.3697 | 2.4903
2019-10-03 10:00:00 | 0 | 141.024 | 3.9393 | 206.364 | 3.9393 | 156.569 | 0 | 334.716 | 25.43 | 974.252 | 28.7564 | 2.4497
2019-10-03 10:15:00 | 0 | 152.288 | 3.428 | 202.933 | 2.9167 | 161.702 | 2.9167 | 321.507 | 25.45 | 974.252 | 28.8245 | 2.1763
2019-10-03 10:30:00 | 0 | 161.912 | 3.6837 | 206.35 | 4.4507 | 174.415 | 0 | 338.783 | 26.17 | 974.252 | 27.7326 | 1.3782
2019-10-03 10:45:00 | 0 | 132.61 | 3.9393 | 202.801 | 3.6837 | 174.276 | 0 | 313.307 | 26.43 | 974.252 | 27.7639 | 1.5481
2019-10-03 11:00:00 | 0 | 174.225 | 4.195 | 194.553 | 2.4053 | 147.981 | 0 | 352.148 | 26.26 | 974.4 | 28.2746 | 1.1011
2019-10-03 11:15:00 | 0.62733 | 166.506 | 2.9167 | 213.877 | 3.428 | 165.874 | 0 | 344.59 | 26.76 | 974.104 | 28.1028 | 0.97913
2019-10-03 11:30:00 | 0.372 | 184.923 | 4.7063 | 220.208 | 4.195 | 182.126 | 0 | 8.9506 | 26.73 | 974.104 | 28.2398 | 0.59487
2019-10-03 11:45:00 | 0 | 164.739 | 3.428 | 212.43 | 4.195 | 162.283 | 0 | 316.393 | 26.87 | 974.104 | 29.1603 | -0.21061
2019-10-03 12:00:00 | 0 | 126.088 | 3.6837 | 180.466 | 3.428 | 136.255 | 0 | 321.835 | 27.46 | 974.252 | 28.9894 | -0.19213
2019-10-03 12:15:00 | 0 | 208.739 | 4.4507 | 231.567 | 4.7063 | 170.435 | 0.887 | 43.9464 | 27.64 | 974.104 | 28.8503 | -0.25494
2019-10-03 12:30:00 | 0 | 179.001 | 5.9847 | 231.38 | 5.729 | 160.274 | 0 | 2.1889 | 28.03 | 973.511 | 29.1578 | -0.24016
2019-10-03 12:45:00 | 0 | 206.721 | 3.428 | 254.558 | 3.9393 | 215.623 | 0 | 40.0843 | 27.67 | 973.363 | 30.1142 | -0.24016
2019-10-03 13:00:00 | 0 | 207.025 | 3.428 | 273.596 | 3.428 | 224.539 | 0 | 17.2217 | 27.81 | 973.363 | 30.9336 | -0.22539
2019-10-03 13:15:00 | 0 | 196.142 | 2.9167 | 244.985 | 2.4053 | 165.856 | 0 | 19.7772 | 28.06 | 973.511 | 30.6292 | -0.24016
2019-10-03 13:30:00 | 0 | 265.808 | 4.7063 | 284.073 | 2.9167 | 210.491 | 0 | 99.3953 | 28.41 | 973.511 | 30.3562 | -0.25864
2019-10-03 13:45:00 | 0 | 186.442 | 2.9167 | 233.454 | 2.1497 | 173.137 | 0 | 1.4594 | 28.34 | 973.511 | 29.3316 | -0.22169
2019-10-03 14:00:00 | 0 | 151.8 | 2.4053 | 235.878 | 1.3827 | 205.14 | 0 | 8.4644 | 28.7 | 973.659 | 29.1945 | -0.2882
2019-10-03 14:15:00 | 0 | 200.762 | 1.6383 | 14.1737 | 0 | 338.575 | 0 | 39.9869 | 29.05 | 973.807 | 28.9559 | -0.26972
2019-10-03 14:30:00 | 0 | 255.375 | 4.7063 | 285.789 | 4.195 | 226.995 | 0 | 79.0128 | 28.98 | 974.252 | 28.6448 | -0.092371
2019-10-03 14:45:00 | 0 | 301.845 | 3.1723 | 19.8541 | 2.9167 | 292.215 | 0 | 128.403 | 29.1 | 974.104 | 29.8025 | -0.29928
2019-10-03 15:00:00 | 0 | 294.793 | 3.1723 | 19.8541 | 3.428 | 343.722 | 0 | 132.148 | 28.73 | 973.807 | 30.4837 | -0.26972
2019-10-03 15:15:00 | 0 | 312.302 | 3.1723 | 63.3162 | 2.1497 | 0.87548 | 0 | 159.045 | 29.51 | 973.956 | 29.7684 | -0.23278
2019-10-03 15:30:00 | 0 | 278.839 | 2.661 | 324.525 | 2.4053 | 272.76 | 0 | 125.68 | 29.26 | 974.104 | 29.4959 | -0.27342
2019-10-03 15:45:00 | 0 | 258.752 | 2.9167 | 307.428 | 2.1497 | 265.172 | 0 | 84.4592 | 28.74 | 974.104 | 30.5858 | -0.26233
2019-10-03 16:00:00 | 0 | 316.388 | 2.9167 | 16.2063 | 3.1723 | 273.489 | 0 | 119.235 | 28.83 | 973.956 | 30.654 | -0.24016
2019-10-03 16:15:00 | 0 | 258.752 | 2.4053 | 327.637 | 2.661 | 267.118 | 0 | 102.479 | 29.04 | 973.956 | 30.2452 | -0.25125
2019-10-03 16:30:00 | 0 | 310.229 | 2.1497 | 12.3634 | 1.127 | 260.81 | 0 | 135.731 | 28.99 | 973.807 | 30.5195 | -0.25125
2019-10-03 16:45:00 | 0 | 264.214 | 0 | 285.587 | 0 | 288.877 | 0 | 83.6691 | 28.91 | 973.807 | 30.386 | -0.25125
2019-10-03 17:00:00 | 0 | 302.091 | 1.6383 | 335.236 | 0 | 291.291 | 0 | 122.879 | 28.87 | 973.659 | 31.0679 | -0.24016
2019-10-03 17:15:00 | 0 | 328.498 | 1.127 | 5.2098 | 0 | 345.234 | 0 | 143.621 | 28.23 | 973.066 | 32.7754 | -0.24016
2019-10-03 17:30:00 | 0 | 346.807 | 1.894 | 31.5734 | 1.6383 | 350.261 | 0 | 170.022 | 27.85 | 972.622 | 33.1175 | -0.24016
2019-10-03 17:45:00 | 0 | 0.12164 | 1.6383 | 31.9634 | 0 | 0.048655 | 0 | 170.973 | 27.66 | 972.473 | 32.8795 | -0.24016
2019-10-03 18:00:00 | 5.4567 | 0.14601 | 1.6383 | 36.4566 | 1.3827 | 0.94905 | 0 | 179.785 | 27.5 | 972.318 | 33.1961 | -0.24016
2019-10-03 18:15:00 | 0 | 0.12168 | 1.6383 | 37.6259 | 1.3827 | 0.53538 | 0 | 187.674 | 27.46 | 972.473 | 33.3332 | -0.24016
2019-10-03 18:30:00 | 0 | 0.12168 | 1.3827 | 43.7586 | 0 | 1.3628 | 0 | 187.674 | 27.38 | 972.473 | 33.5378 | -0.24016
2019-10-03 18:45:00 | 0 | 7.3736 | 1.127 | 43.7586 | 0 | 352.814 | 0 | 187.674 | 27.16 | 972.663 | 34.3558 | -0.24016
2019-10-03 19:00:00 | 0 | 20.613 | 1.894 | 63.62 | 1.127 | 18.9824 | 0 | 200.508 | 27.18 | 972.902 | 33.6756 | -0.25125
2019-10-03 19:15:00 | 0 | 56.6604 | 2.1497 | 91.5685 | 1.3827 | 34.1715 | 0 | 237.18 | 27.19 | 973.066 | 33.9514 | -0.24016
2019-10-03 19:30:00 | 0 | 64.0129 | 3.1723 | 120.634 | 2.4053 | 63.8669 | 0 | 242.787 | 27.01 | 972.77 | 34.2253 | -0.27711
2019-10-03 19:45:00 | 0 | 101.934 | 2.661 | 154.66 | 0 | 113.471 | 0 | 270.193 | 26.72 | 972.77 | 35.0093 | -0.28081
2019-10-03 20:00:00 | 3.414 | 156.6 | 2.9167 | 201.684 | 2.1497 | 152.171 | 0 | 344.356 | 26.14 | 972.764 | 35.5207 | -0.27711
2019-10-03 20:15:00 | 0 | 152.779 | 1.3827 | 195.843 | 0.37567 | 162.393 | 0 | 333.33 | 26.67 | 972.621 | 34.8389 | -0.25864
2019-10-03 20:30:00 | 0 | 143.165 | 0.75133 | 166.879 | 0 | 155.432 | 0 | 300.447 | 26.66 | 972.621 | 35.1116 | -0.24016
2019-10-03 20:45:00 | 0 | 130.46 | 0.75133 | 166.879 | 0 | 155.481 | 0 | 294.386 | 26.53 | 972.473 | 35.3162 | -0.24016
2019-10-03 21:00:00 | 0 | 231.031 | 2.4053 | 285.266 | 2.1497 | 221.782 | 0 | 31.3493 | 26.2 | 972.77 | 36.407 | -0.24016
2019-10-03 21:15:00 | 0 | 227.582 | 1.894 | 282.355 | 1.894 | 237.561 | 0 | 49.2647 | 26.47 | 972.621 | 35.4877 | -0.24016
2019-10-03 21:30:00 | 0 | 238.381 | 2.4053 | 283.076 | 0 | 228.232 | 0 | 49.2875 | 26.4 | 972.621 | 36.0661 | -0.24016
2019-10-03 21:45:00 | 0.372 | 238.625 | 2.661 | 284.658 | 2.1497 | 232.321 | 0 | 64.8649 | 26.47 | 973.066 | 34.9753 | -0.24016
2019-10-03 22:00:00 | 27.926 | 238.527 | 2.9167 | 284.926 | 2.1497 | 231.956 | 0 | 59.0964 | 26.54 | 972.918 | 34.9412 | -0.24016
2019-10-03 22:15:00 | 1.51 | 234.438 | 2.661 | 280.155 | 2.1497 | 229.96 | 0.75133 | 56.3704 | 26.55 | 972.918 | 35.0435 | -0.24016
2019-10-03 22:30:00 | 4.6907 | 212.338 | 2.9167 | 257.982 | 2.4053 | 204.014 | 0.63133 | 38.067 | 26.21 | 972.77 | 34.1572 | -0.24016
2019-10-03 22:45:00 | 1.2547 | 207.957 | 2.4053 | 254.842 | 2.4053 | 192.185 | 0 | 24.802 | 26.36 | 972.77 | 33.339 | -0.24016
2019-10-03 23:00:00 | 14.138 | 184.494 | 2.1497 | 218.941 | 1.3827 | 164.633 | 10.0753 | 9.6385 | 26.29 | 972.77 | 34.5662 | -0.24016
2019-10-03 23:15:00 | 0 | 168.673 | 1.894 | 211.469 | 0.37567 | 151.879 | 0 | 0.21906 | 26.1 | 972.621 | 34.498 | -0.25494
2019-10-03 23:30:00 | 0 | 163.854 | 3.428 | 201.587 | 1.3827 | 162.491 | 0 | 351.706 | 25.79 | 972.473 | 34.9753 | -0.15888
2019-10-03 23:45:00 | 0 | 168.04 | 3.1723 | 202.366 | 1.3827 | 150.613 | 0 | 351.463 | 25.89 | 972.621 | 34.9412 | -0.12932