## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-04 00:00:00 | 0 | 165.996 | 3.428 | 198.326 | 2.1497 | 159.57 | 0 | 352.242 | 25.58 | 972.325 | 35.248 | 1.0715
2019-10-04 00:15:00 | 0 | 150.981 | 4.195 | 191.758 | 3.428 | 154.023 | 0 | 336.815 | 25.37 | 972.177 | 35.5213 | 2.228
2019-10-04 00:30:00 | 0 | 143.241 | 4.195 | 189.129 | 3.1723 | 146.969 | 0 | 330.523 | 25.39 | 972.177 | 35.2487 | 2.7157
2019-10-04 00:45:00 | 0 | 145.759 | 3.9393 | 186.614 | 3.1723 | 143.519 | 0 | 326.74 | 25.71 | 972.177 | 34.2286 | 2.6344
2019-10-04 01:00:00 | 2.276 | 139.129 | 4.7063 | 186.308 | 3.6837 | 138.447 | 0 | 322.702 | 25.46 | 972.177 | 34.6355 | 3.9498
2019-10-04 01:15:00 | 0 | 125.864 | 6.496 | 173.8 | 4.962 | 128.324 | 1.774 | 313.701 | 25.53 | 971.88 | 33.7495 | 8.0806
2019-10-04 01:30:00 | 0 | 133.114 | 6.496 | 180.511 | 6.2403 | 132.822 | 2.1497 | 315.857 | 25.58 | 972.177 | 33.203 | 9.6435
2019-10-04 01:45:00 | 0 | 136.423 | 4.4507 | 186.497 | 4.7063 | 130.29 | 0 | 310.013 | 25.24 | 972.325 | 35.7253 | 12.3925
2019-10-04 02:00:00 | 0 | 111.475 | 7.0073 | 179.584 | 7.263 | 133.989 | 0.63133 | 302.322 | 24.57 | 972.028 | 36.6117 | 13.3495
2019-10-04 02:15:00 | 0 | 148.09 | 5.9847 | 194.662 | 5.4733 | 152.666 | 0 | 331.62 | 23.56 | 971.88 | 38.3181 | 14.0848
2019-10-04 02:30:00 | 0.62733 | 144.109 | 5.4733 | 188.641 | 4.195 | 132.059 | 0.887 | 326.216 | 23.58 | 971.583 | 38.5255 | 14.0848
2019-10-04 02:45:00 | 0 | 128.096 | 4.195 | 174.847 | 4.195 | 147.474 | 0 | 310.43 | 23.78 | 971.583 | 38.4589 | 17.8498
2019-10-04 03:00:00 | 0 | 123.666 | 5.9847 | 187.846 | 6.496 | 138.029 | 5.2177 | 309.822 | 23.8 | 971.583 | 39.7545 | 16.4938
2019-10-04 03:15:00 | 0 | 138.175 | 5.729 | 189.648 | 4.962 | 149.178 | 0 | 321.531 | 23.54 | 971.286 | 40.0955 | 8.2506
2019-10-04 03:30:00 | 0 | 153.511 | 5.2177 | 194.516 | 4.4507 | 155.556 | 5.2177 | 343.173 | 23.35 | 971.435 | 39.4136 | 4.6518
2019-10-04 03:45:00 | 0 | 155.118 | 5.9847 | 202.306 | 5.729 | 153.609 | 0 | 349.697 | 23.25 | 971.286 | 40.5728 | 4.988
2019-10-04 04:00:00 | 0 | 148.401 | 5.2177 | 198.317 | 4.7063 | 138.226 | 3.9393 | 354.036 | 23.1 | 971.435 | 41.3916 | 4.1235
2019-10-04 04:15:00 | 1.3933 | 155.615 | 3.6837 | 197.987 | 3.6837 | 150.478 | 0 | 341.345 | 22.72 | 971.286 | 42.0757 | 2.9411
2019-10-04 04:30:00 | 0 | 163.215 | 2.9167 | 198.091 | 1.3827 | 160.488 | 0 | 1.899 | 22.87 | 971.286 | 41.2585 | 1.8326
2019-10-04 04:45:00 | 0 | 164.03 | 4.7063 | 204.997 | 1.894 | 183.582 | 0 | 347.028 | 23.08 | 971.435 | 40.784 | 2.7674
2019-10-04 05:00:00 | 0 | 187.186 | 3.6837 | 222.869 | 2.661 | 169.217 | 0 | 8.8626 | 23.01 | 971.286 | 41.9437 | 2.3832
2019-10-04 05:15:00 | 0 | 177.934 | 3.6837 | 207.676 | 2.4053 | 161.134 | 0 | 2.6296 | 22.88 | 971.286 | 41.0912 | 1.5075
2019-10-04 05:30:00 | 0 | 198.678 | 2.9167 | 231.221 | 1.3827 | 180.271 | 0 | 21.3287 | 23.04 | 971.731 | 40.5797 | 0.37687
2019-10-04 05:45:00 | 4.18 | 186.529 | 2.661 | 229.37 | 2.4053 | 165.103 | 0 | 23.8609 | 23.12 | 971.583 | 39.3521 | 0.31037
2019-10-04 06:00:00 | 0 | 194.612 | 2.9167 | 227.617 | 1.6383 | 170.289 | 0 | 26.6852 | 23.45 | 972.028 | 38.4655 | 0.90524
2019-10-04 06:15:00 | 0 | 181.877 | 2.9167 | 227.493 | 1.894 | 175.644 | 0 | 4.7478 | 23.6 | 972.028 | 37.2374 | 4.4782
2019-10-04 06:30:00 | 0 | 138.244 | 5.4733 | 191.285 | 4.962 | 140.873 | 0.37567 | 348.385 | 22.68 | 972.028 | 43.0339 | 5.0619
2019-10-04 06:45:00 | 0 | 145.258 | 4.962 | 196.352 | 3.9393 | 150.663 | 0 | 340.062 | 22.44 | 972.177 | 43.0345 | 3.4473
2019-10-04 07:00:00 | 0 | 174.083 | 3.428 | 207.281 | 2.661 | 162.834 | 0 | 356.784 | 22.59 | 972.473 | 40.9879 | 2.2908
2019-10-04 07:15:00 | 0 | 184.261 | 2.4053 | 211.641 | 3.1723 | 152.707 | 0 | 27.2447 | 23.13 | 972.621 | 39.4196 | 2.5421
2019-10-04 07:30:00 | 3.9247 | 158.243 | 2.9167 | 202.222 | 2.4053 | 146.923 | 0 | 355 | 23.04 | 972.77 | 40.3024 | 3.2958
2019-10-04 07:45:00 | 0 | 156.242 | 3.1723 | 195.057 | 0.37567 | 150.253 | 0 | 343.912 | 23.14 | 973.363 | 40.8125 | 1.7107
2019-10-04 08:00:00 | 0 | 70.9862 | 1.127 | 90.569 | 1.894 | 47.1294 | 0 | 322.408 | 23.54 | 973.66 | 39.4136 | 1.2526
2019-10-04 08:15:00 | 0 | 152.099 | 1.3827 | 172.802 | 0 | 143.92 | 0 | 323.941 | 23.86 | 973.808 | 36.0723 | 1.2452
2019-10-04 08:30:00 | 0 | 121.812 | 1.6383 | 160.235 | 0 | 81.1105 | 0 | 306.112 | 23.9 | 973.956 | 35.2529 | 1.2267
2019-10-04 08:45:00 | 0 | 134.777 | 0 | 169.422 | 0 | 93.4698 | 0 | 312.102 | 24.13 | 973.956 | 38.1139 | 1.7698
2019-10-04 09:00:00 | 0 | 175.975 | 3.1723 | 226.121 | 3.428 | 174.563 | 0 | 348.786 | 23.81 | 974.401 | 44.1452 | 0.25494
2019-10-04 09:15:00 | 0 | 287.547 | 4.195 | 336.842 | 4.962 | 298.403 | 0 | 100.595 | 22.81 | 974.55 | 48.9518 | -0.0036948
2019-10-04 09:30:00 | 0 | 272.219 | 4.7063 | 322.763 | 2.9167 | 268.933 | 0 | 77.1649 | 19.94 | 974.105 | 64.6399 | 0.69094
2019-10-04 09:45:00 | 0 | 192.881 | 3.1723 | 239.268 | 1.3827 | 179.224 | 0 | 10.1029 | 21.01 | 974.105 | 58.2698 | -0.29928
2019-10-04 10:00:00 | 0 | 241.091 | 3.1723 | 298.736 | 2.4053 | 251.464 | 0 | 59.2137 | 20.17 | 973.808 | 65.4729 | -0.26972
2019-10-04 10:15:00 | 0 | 288.327 | 2.4053 | 336.842 | 2.1497 | 276.591 | 0 | 89.7217 | 19.75 | 974.121 | 68.2694 | -0.25494
2019-10-04 10:30:00 | 0 | 328.243 | 3.9393 | 10.7789 | 3.428 | 319.502 | 0 | 139.089 | 19.39 | 974.102 | 74.6882 | 1.1269
2019-10-04 10:45:00 | 0 | 330.692 | 2.4053 | 40.4889 | 1.6383 | 319.442 | 0 | 155.386 | 19.3 | 974.106 | 77.7608 | 1.7588
2019-10-04 11:00:00 | 0 | 356.099 | 3.1723 | 66.6443 | 1.127 | 33.8005 | 0 | 158.726 | 19.35 | 973.957 | 82.6739 | 2.0543
2019-10-04 11:15:00 | 0 | 0.12176 | 2.9167 | 74.7779 | 3.428 | 25.8131 | 0 | 146.623 | 19.28 | 974.106 | 86.1528 | 2.7933
2019-10-04 11:30:00 | 0 | 31.1218 | 4.4507 | 66.5956 | 0.75133 | 32.9239 | 0.887 | 213.616 | 19.35 | 973.809 | 88.3356 | 6.5177
2019-10-04 11:45:00 | 0 | 12.3708 | 5.4733 | 74.5587 | 4.195 | 23.1831 | 0 | 172.85 | 19.34 | 973.957 | 89.3588 | 11.2545
2019-10-04 12:00:00 | 1.882 | 5.7714 | 6.7517 | 55.4911 | 4.7063 | 11.2506 | 4.4507 | 181.447 | 19.18 | 973.512 | 89.3588 | 15.3964
2019-10-04 12:15:00 | 1.51 | 353.128 | 6.2403 | 59.8745 | 7.0073 | 22.5012 | 1.774 | 185.099 | 18.94 | 973.215 | 87.7217 | 18.0345
2019-10-04 12:30:00 | 0.62733 | 356.489 | 7.5187 | 49.744 | 4.7063 | 19.2381 | 1.774 | 177.088 | 18.44 | 972.919 | 90.3479 | 19.6492
2019-10-04 12:45:00 | 0.744 | 43.2076 | 7.7743 | 57.4278 | 6.7517 | 7.1363 | 3.428 | 168.276 | 17.97 | 972.8 | 93.1259 | 19.893
2019-10-04 13:00:00 | 0.88267 | 356.33 | 7.263 | 64.8811 | 6.496 | 3.7508 | 0.37567 | 173.562 | 17.6 | 972.994 | 94.6273 | 19.4792
2019-10-04 13:15:00 | 1.51 | 2.2408 | 4.7063 | 53.6286 | 5.4733 | 8.8169 | 0 | 173.464 | 17.22 | 972.919 | 96.1283 | 23.9537
2019-10-04 13:30:00 | 0.372 | 15.8315 | 5.729 | 52.289 | 5.4733 | 7.9157 | 0 | 195.361 | 16.96 | 972.77 | 97.4245 | 17.0628
2019-10-04 13:45:00 | 0 | 17.5851 | 7.263 | 63.0544 | 5.2177 | 44.4499 | 0.37567 | 200.329 | 16.83 | 972.919 | 98.1409 | 15.2265
2019-10-04 14:00:00 | 0 | 20.0941 | 6.7517 | 81.4202 | 4.195 | 32.321 | 5.9847 | 197.945 | 16.76 | 972.77 | 98.5855 | 17.2993
2019-10-04 14:15:00 | 0 | 18.95 | 7.0073 | 60.1354 | 5.729 | 10.0108 | 0 | 201.215 | 16.61 | 972.77 | 98.896 | 20.329
2019-10-04 14:30:00 | 0 | 18.9509 | 7.263 | 63.428 | 4.195 | 12.1793 | 4.4507 | 204.246 | 16.42 | 972.77 | 99.2082 | 17.4803
2019-10-04 14:45:00 | 0 | 19.1947 | 7.7743 | 70.3955 | 5.729 | 17.514 | 0.37567 | 205.88 | 16.2 | 972.77 | 99.141 | 14.6796
2019-10-04 15:00:00 | 0 | 25.6524 | 7.7743 | 74.4242 | 4.962 | 24.3125 | 1.774 | 211.602 | 16.02 | 972.77 | 99.2192 | 13.1352
2019-10-04 15:15:00 | 0 | 14.6429 | 6.496 | 62.8383 | 3.1723 | 7.0169 | 0 | 202.54 | 15.89 | 973.067 | 99.2995 | 15.9211
2019-10-04 15:30:00 | 7.7547 | 14.5699 | 7.0073 | 58.429 | 4.4507 | 12.7426 | 2.661 | 199.569 | 15.64 | 972.919 | 99.4368 | 19.8524
2019-10-04 15:45:00 | 9.542 | 16.4947 | 8.797 | 64.7882 | 2.661 | 23.4386 | 3.1723 | 201.664 | 15.42 | 973.364 | 99.5734 | 24.3195
2019-10-04 16:00:00 | 9.7973 | 14.1314 | 7.5187 | 64.2522 | 7.263 | 4.5074 | 6.2403 | 204.393 | 15.14 | 973.364 | 99.7099 | 25.9563
2019-10-04 16:15:00 | 0 | 356.525 | 8.03 | 41.8857 | 7.0073 | 356.89 | 2.9167 | 179.761 | 14.58 | 973.364 | 99.7782 | 34.4529
2019-10-04 16:30:00 | 4.946 | 0.19492 | 6.2403 | 64.5202 | 7.7743 | 4.3369 | 6.2403 | 188.118 | 13.83 | 973.477 | 99.9488 | 39.5496
2019-10-04 16:45:00 | 4.4353 | 11.5255 | 8.2857 | 60.2157 | 7.0073 | 6.4816 | 4.7063 | 196.592 | 13.5 | 973.808 | 99.9928 | 38.8735
2019-10-04 17:00:00 | 0 | 9.6987 | 8.797 | 57.5896 | 6.7517 | 9.7962 | 4.7063 | 192.78 | 13.4 | 974.256 | 99.9317 | 41.2419
2019-10-04 17:15:00 | 0 | 20.8839 | 11.3537 | 68.1654 | 3.9393 | 9.3575 | 3.5637 | 198.604 | 13.21 | 974.256 | 99.9315 | 50.2721
2019-10-04 17:30:00 | 0 | 19.4692 | 9.8197 | 68.915 | 6.496 | 22.5882 | 1.774 | 206.266 | 12.98 | 974.256 | 99.9249 | 51.6983
2019-10-04 17:45:00 | 0.744 | 26.3667 | 10.0753 | 79.5697 | 5.729 | 38.7703 | 2.1497 | 208.058 | 12.81 | 974.256 | 99.9314 | 51.0923
2019-10-04 18:00:00 | 0 | 27.9023 | 10.0753 | 76.5006 | 7.0073 | 350.132 | 5.4733 | 203.236 | 12.76 | 974.553 | 100 | 50.0467
2019-10-04 18:15:00 | 4.6907 | 13.0623 | 9.564 | 69.2426 | 6.7517 | 21.543 | 1.007 | 206.706 | 12.63 | 974.85 | 99.9371 | 47.198
2019-10-04 18:30:00 | 0 | 16.4263 | 9.564 | 82.1648 | 6.496 | 44.6727 | 0.63133 | 198.48 | 12.51 | 974.998 | 99.9773 | 45.0365
2019-10-04 18:45:00 | 3.2973 | 14.9157 | 10.5867 | 64.4982 | 5.2177 | 24.3478 | 3.5637 | 201.387 | 12.43 | 974.85 | 99.9462 | 43.0893
2019-10-04 19:00:00 | 8.5207 | 26.0057 | 9.3083 | 76.4918 | 6.7517 | 18.5964 | 5.729 | 209.386 | 12.33 | 974.998 | 100 | 35.6405
2019-10-04 19:15:00 | 3.414 | 12.5763 | 9.564 | 69.3018 | 5.2177 | 342.705 | 0.37567 | 205.219 | 12.26 | 975.443 | 99.9488 | 31.3914
2019-10-04 19:30:00 | 6.2227 | 12.0401 | 10.5867 | 67.8882 | 5.729 | 6.5319 | 5.2177 | 199.491 | 12.19 | 975.443 | 99.9829 | 29.023
2019-10-04 19:45:00 | 9.2867 | 9.8953 | 8.797 | 69.5943 | 7.263 | 8.3355 | 1.5183 | 198.419 | 12.08 | 975.74 | 99.9488 | 25.003
2019-10-04 20:00:00 | 13.6273 | 18.8158 | 8.5413 | 62.7211 | 7.5187 | 1.1455 | 7.5187 | 196.908 | 11.96 | 976.037 | 99.9488 | 25.5499
2019-10-04 20:15:00 | 10.8187 | 6.0444 | 7.5187 | 61.1857 | 8.2857 | 14.7943 | 1.3827 | 192.74 | 11.9 | 976.037 | 99.9488 | 29.3703
2019-10-04 20:30:00 | 2.67 | 12.2108 | 9.0527 | 62.0631 | 7.0073 | 8.628 | 0.37567 | 196.103 | 11.77 | 976.186 | 99.9488 | 35.2784
2019-10-04 20:45:00 | 4.4353 | 20.9118 | 10.0753 | 69.9599 | 7.5187 | 12.2839 | 1.2627 | 207.607 | 11.63 | 976.334 | 99.9488 | 42.572
2019-10-04 21:00:00 | 13.1167 | 7.0437 | 9.0527 | 63.2817 | 5.2177 | 0.048745 | 5.2177 | 190.205 | 11.54 | 976.483 | 99.9488 | 44.0093
2019-10-04 21:15:00 | 0.372 | 18.1821 | 9.8197 | 71.471 | 5.9847 | 23.1054 | 4.7063 | 189.961 | 11.43 | 976.631 | 99.9488 | 46.8971
2019-10-04 21:30:00 | 2.0207 | 4.9964 | 8.797 | 58.529 | 6.7517 | 2.5104 | 0.63133 | 191.399 | 11.31 | 976.78 | 99.9488 | 54.9867
2019-10-04 21:45:00 | 2.1373 | 4.0946 | 12.8877 | 73.4208 | 3.6837 | 19.6932 | 1.774 | 192.472 | 11.09 | 976.644 | 99.9488 | 64.6857
2019-10-04 22:00:00 | 2.9033 | 5.557 | 11.6093 | 66.7183 | 5.4733 | 346.361 | 1.007 | 190.302 | 10.96 | 976.985 | 99.9488 | 62.3283
2019-10-04 22:15:00 | 2.648 | 10.4803 | 12.632 | 84.4373 | 5.4733 | 346.166 | 0.75133 | 200.588 | 10.87 | 976.961 | 99.9488 | 61.5656
2019-10-04 22:30:00 | 3.6693 | 19.0108 | 13.1433 | 75.2244 | 3.308 | 24.6409 | 3.9393 | 204.049 | 10.83 | 976.674 | 99.9488 | 60.2445
2019-10-04 22:45:00 | 2.276 | 12.2839 | 12.8877 | 72.129 | 5.729 | 22.0817 | 2.0297 | 195.859 | 10.82 | 976.687 | 99.4026 | 62.4983
2019-10-04 23:00:00 | 5.712 | 17.3047 | 16.2113 | 72.5677 | 5.4733 | 43.6272 | 5.4733 | 198.54 | 11.06 | 976.233 | 94.5895 | 57.6527
2019-10-04 23:15:00 | 3.6693 | 12.357 | 12.3763 | 70.0086 | 3.9393 | 332.249 | 3.428 | 194.348 | 11.1 | 977.287 | 92.9851 | 58.0534
2019-10-04 23:30:00 | 1.7653 | 19.2789 | 11.098 | 78.1978 | 4.7063 | 36.9247 | 1.007 | 199.223 | 11.3 | 977.307 | 87.5235 | 54.2375
2019-10-04 23:45:00 | 1.882 | 20.9606 | 11.865 | 73.4452 | 7.5187 | 28.5405 | 0.37567 | 206.12 | 11.26 | 977.12 | 87.7283 | 51.6392