## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-05 00:00:00 | 1.882 | 11.0165 | 12.8877 | 65.8652 | 4.962 | 3.6072 | 2.661 | 197.078 | 11.28 | 976.828 | 86.2946 | 50.5048
2019-10-05 00:15:00 | 2.5313 | 21.0337 | 13.6547 | 71.9097 | 4.962 | 3.5584 | 0.63133 | 203.878 | 11.18 | 977.233 | 84.8268 | 47.1758
2019-10-05 00:30:00 | 5.4567 | 23.3978 | 14.166 | 69.7405 | 3.1723 | 58.4702 | 3.1723 | 205.999 | 11.38 | 977.288 | 83.4272 | 41.7813
2019-10-05 00:45:00 | 0.372 | 19.9857 | 12.1207 | 63.3792 | 7.0073 | 17.7677 | 1.894 | 205.316 | 11.35 | 977.56 | 82.4714 | 40.0079
2019-10-05 01:00:00 | 0 | 9.9197 | 9.8197 | 70.7885 | 5.729 | 22.0817 | 0 | 191.399 | 11.41 | 977.899 | 83.0176 | 34.1552
2019-10-05 01:15:00 | 1.116 | 10.1147 | 11.3537 | 64.4029 | 6.496 | 32.1233 | 0 | 187.329 | 11.41 | 978.023 | 81.857 | 38.1827
2019-10-05 01:30:00 | 0.99933 | 10.0416 | 10.8423 | 60.9176 | 6.496 | 18.7183 | 0.37567 | 202.562 | 11.29 | 978.196 | 82.3349 | 41.482
2019-10-05 01:45:00 | 2.648 | 5.1183 | 13.6547 | 69.8867 | 3.9393 | 9.1154 | 5.2177 | 192.74 | 11.31 | 977.845 | 82.3349 | 45.5537
2019-10-05 02:00:00 | 2.276 | 15.2086 | 10.0753 | 60.4057 | 4.4507 | 10.1878 | 0 | 190.132 | 11.41 | 978.425 | 80.4574 | 46.2632
2019-10-05 02:15:00 | 5.9673 | 3.8022 | 8.5413 | 61.015 | 4.7063 | 21.2043 | 0.63133 | 189.742 | 11.37 | 978.021 | 79.1261 | 48.0699
2019-10-05 02:30:00 | 2.1373 | 12.6495 | 12.3763 | 65.0366 | 5.2177 | 14.1362 | 0.37567 | 193.642 | 11.39 | 978.184 | 77.2145 | 46.6158
2019-10-05 02:45:00 | 11.3293 | 15.3305 | 10.0753 | 70.2523 | 8.03 | 14.9161 | 0.75133 | 197.273 | 11.24 | 978.451 | 80.2867 | 44.607
2019-10-05 03:00:00 | 2.9033 | 4.8258 | 10.8423 | 70.7154 | 5.4733 | 35.9986 | 0.37567 | 192.106 | 11.26 | 978.252 | 80.6964 | 47.7042
2019-10-05 03:15:00 | 0 | 0.90179 | 8.5413 | 58.7728 | 5.9847 | 21.9842 | 4.195 | 181.48 | 11.14 | 978.454 | 82.1983 | 44.1534
2019-10-05 03:30:00 | 0.62733 | 12.6738 | 11.865 | 72.1778 | 7.263 | 23.3004 | 2.661 | 194.885 | 11.07 | 978.465 | 82.7445 | 40.7874
2019-10-05 03:45:00 | 4.946 | 14.1362 | 9.8197 | 69.8136 | 7.0073 | 11.7964 | 1.894 | 183.015 | 11.02 | 978.476 | 83.0176 | 31.5761
2019-10-05 04:00:00 | 2.1373 | 3.6803 | 8.2857 | 73.3964 | 6.7517 | 3.2416 | 2.0297 | 194.202 | 11.02 | 978.507 | 83.7686 | 32.1636
2019-10-05 04:15:00 | 0.99933 | 10.5047 | 11.3537 | 64.0616 | 7.263 | 17.0609 | 2.9167 | 187.914 | 11.07 | 978.48 | 79.1261 | 30.9591
2019-10-05 04:30:00 | 0.372 | 0.85305 | 9.8197 | 68.01 | 7.0073 | 16.9634 | 4.962 | 194.227 | 11.05 | 978.776 | 79.0579 | 35.1675
2019-10-05 04:45:00 | 0.88267 | 15.3305 | 10.0753 | 73.567 | 6.7517 | 30.3928 | 5.2177 | 196.054 | 11.06 | 979.069 | 75.9174 | 31.772
2019-10-05 05:00:00 | 0.372 | 6.4832 | 7.5187 | 53.8982 | 5.2177 | 14.4287 | 5.9847 | 184.209 | 11.04 | 979.192 | 75.1664 | 30.1389
2019-10-05 05:15:00 | 3.9247 | 25.5183 | 8.797 | 68.8875 | 7.7743 | 352.089 | 2.661 | 196.079 | 11.04 | 979.339 | 74.8933 | 28.9528
2019-10-05 05:30:00 | 10.4467 | 15.2573 | 7.7743 | 72.6165 | 7.5187 | 27.5656 | 6.2403 | 195.348 | 11 | 979.663 | 72.3673 | 25.439
2019-10-05 05:45:00 | 0 | 4.4115 | 8.5413 | 74.1032 | 7.5187 | 15.0867 | 4.195 | 193.325 | 11.08 | 979.544 | 69.4999 | 24.5892
2019-10-05 06:00:00 | 7.7547 | 3.266 | 7.0073 | 53.3133 | 5.2177 | 0.82867 | 5.4733 | 190.132 | 10.67 | 979.643 | 78.4434 | 26.7692
2019-10-05 06:15:00 | 9.0313 | 4.9233 | 6.7517 | 60.5032 | 5.9847 | 17.6702 | 7.0073 | 185.525 | 10.65 | 979.628 | 81.1743 | 23.8946
2019-10-05 06:30:00 | 7.244 | 13.4294 | 9.3083 | 61.3075 | 5.9847 | 90.3986 | 3.9393 | 198.906 | 10.66 | 980.242 | 73.1865 | 22.9745
2019-10-05 06:45:00 | 0.372 | 15.9642 | 8.797 | 68.7169 | 4.962 | 32.5376 | 1.2627 | 202.44 | 10.77 | 980.054 | 74.6203 | 24.5539
2019-10-05 07:00:00 | 9.7973 | 1.1212 | 9.0527 | 65.8409 | 2.661 | 304.221 | 2.9167 | 186.159 | 10.93 | 980.229 | 74.7568 | 28.8457
2019-10-05 07:15:00 | 13.372 | 19.1326 | 9.3083 | 74.1276 | 6.496 | 17.6946 | 4.4507 | 203.147 | 10.94 | 980.527 | 72.2649 | 22.557
2019-10-05 07:30:00 | 2.9033 | 23.0323 | 11.865 | 78.1491 | 6.2403 | 23.5441 | 4.7063 | 205.536 | 11.04 | 980.282 | 71.7529 | 22.7734
2019-10-05 07:45:00 | 16.1807 | 22.4961 | 8.797 | 56.5305 | 7.263 | 24.0072 | 9.0527 | 192.789 | 11.05 | 980.519 | 69.773 | 24.7481
2019-10-05 08:00:00 | 9.7973 | 9.8222 | 10.0753 | 74.6882 | 3.9393 | 11.8939 | 4.7063 | 186.915 | 11.06 | 980.862 | 71.2067 | 22.2171
2019-10-05 08:15:00 | 0.62733 | 76.1649 | 10.331 | 66.2552 | 5.9847 | 0.048745 | 3.9393 | 183.722 | 11.06 | 981.158 | 70.524 | 21.0865
2019-10-05 08:30:00 | 14.904 | 0.097491 | 7.263 | 42.7599 | 7.5187 | 93.8352 | 6.496 | 179.774 | 10.97 | 981.473 | 77.3511 | 19.7637
2019-10-05 08:45:00 | 1.2547 | 0.92617 | 6.7517 | 48.0975 | 6.7517 | 342.462 | 3.428 | 190.571 | 10.74 | 981.739 | 78.7848 | 15.4851
2019-10-05 09:00:00 | 1.6267 | 0.14624 | 6.2403 | 69.3749 | 3.6837 | 16.6222 | 4.962 | 176.118 | 10.81 | 981.983 | 77.4877 | 14.0737
2019-10-05 09:15:00 | 0.372 | 20.3756 | 6.2403 | 48.5362 | 5.2177 | 348.482 | 3.308 | 183.429 | 11.01 | 982.304 | 76.4977 | 15.9026
2019-10-05 09:30:00 | 1.6487 | 336.271 | 6.496 | 77.1986 | 5.2177 | 25.7133 | 2.1497 | 165.54 | 11.52 | 982.571 | 70.7971 | 18.5296
2019-10-05 09:45:00 | 6.478 | 22.7154 | 8.5413 | 79.5871 | 6.496 | 356.964 | 4.962 | 206.413 | 11.87 | 982.571 | 61.6829 | 33.2019
2019-10-05 10:00:00 | 12.606 | 20.5692 | 9.0527 | 73.2195 | 5.9847 | 0.048742 | 3.9393 | 208.982 | 12.41 | 982.868 | 57.4803 | 39.7861
2019-10-05 10:15:00 | 4.6907 | 23.3691 | 13.6547 | 75.572 | 3.9393 | 43.4972 | 5.4733 | 205.01 | 12.64 | 982.571 | 53.8558 | 44.5935
2019-10-05 10:30:00 | 5.712 | 17.8378 | 10.5867 | 52.9596 | 5.9847 | 27.171 | 5.2177 | 202.747 | 12.89 | 983.165 | 51.6041 | 41.9365
2019-10-05 10:45:00 | 5.2013 | 16.1297 | 10.8423 | 66.813 | 8.03 | 27.9224 | 2.2853 | 199.063 | 13.28 | 983.534 | 52.3475 | 40.1311
2019-10-05 11:00:00 | 7.244 | 33.3306 | 9.3083 | 96.389 | 4.962 | 60.9599 | 4.195 | 216.6 | 13.52 | 983.459 | 51.4929 | 42.8419
2019-10-05 11:15:00 | 5.2013 | 12.7634 | 12.632 | 58.407 | 2.661 | 18.3413 | 5.4733 | 199.61 | 13.75 | 983.458 | 49.2951 | 42.0111
2019-10-05 11:30:00 | 4.18 | 11.5936 | 13.399 | 69.777 | 0.63133 | 13.9318 | 4.962 | 195.288 | 13.75 | 982.864 | 42.504 | 47.8298
2019-10-05 11:45:00 | 7.244 | 10.3515 | 13.9103 | 64.6141 | 3.428 | 35.5603 | 5.2177 | 186.765 | 14.08 | 982.716 | 45.131 | 49.4576
2019-10-05 12:00:00 | 4.946 | 20.8734 | 11.6093 | 68.0725 | 7.0073 | 28.4238 | 3.428 | 205.909 | 13.83 | 983.013 | 45.1991 | 45.8419
2019-10-05 12:15:00 | 5.9673 | 354.698 | 7.5187 | 38.6983 | 6.496 | 23.8203 | 4.962 | 165.427 | 14.35 | 982.864 | 45.5057 | 51.1045
2019-10-05 12:30:00 | 7.4993 | 0.097425 | 8.5413 | 74.9159 | 6.2403 | 27.6686 | 3.6837 | 179.846 | 14.48 | 982.567 | 45.5398 | 50.2748
2019-10-05 12:45:00 | 6.478 | 8.5246 | 10.0753 | 66.3182 | 4.7063 | 53.3887 | 5.4733 | 191.756 | 14.61 | 982.567 | 45.3011 | 42.0789
2019-10-05 13:00:00 | 14.138 | 15.7097 | 9.3083 | 74.0634 | 6.2403 | 2.4113 | 7.7743 | 187.591 | 14.68 | 982.567 | 45.1646 | 49.1119
2019-10-05 13:15:00 | 5.9673 | 26.6456 | 8.5413 | 78.2527 | 3.6837 | 64.2515 | 1.2627 | 204.348 | 14.87 | 982.716 | 42.845 | 47.2044
2019-10-05 13:30:00 | 2.0207 | 13.201 | 6.7517 | 71.7496 | 5.2177 | 3.215 | 4.7063 | 175.048 | 14.82 | 982.567 | 44.6188 | 43.7158
2019-10-05 13:45:00 | 3.6693 | 31.6386 | 4.4507 | 48.0998 | 4.962 | 0.048712 | 3.9393 | 153.687 | 14.82 | 982.567 | 41.2758 | 38.2232
2019-10-05 14:00:00 | 0.62733 | 356.087 | 9.0527 | 81.9792 | 4.195 | 25.306 | 0 | 175.656 | 15.08 | 982.557 | 41.8216 | 45.9739
2019-10-05 14:15:00 | 2.9033 | 337.284 | 5.729 | 73.5032 | 6.2403 | 29.0812 | 0.75133 | 161.408 | 14.85 | 982.382 | 41.8898 | 42.3382
2019-10-05 14:30:00 | 7.244 | 18.4376 | 7.7743 | 67.1219 | 2.9167 | 28.5941 | 5.4733 | 195.409 | 15.03 | 982.186 | 41.8898 | 40.7113
2019-10-05 14:45:00 | 12.3507 | 15.2713 | 7.263 | 76.6208 | 4.7063 | 30.5426 | 8.03 | 177.97 | 15.07 | 982.222 | 42.1286 | 40.9795
2019-10-05 15:00:00 | 5.2013 | 13.1767 | 7.263 | 72.3585 | 7.263 | 6.5031 | 1.894 | 195.75 | 14.82 | 981.765 | 42.9814 | 39.9344
2019-10-05 15:15:00 | 4.0633 | 84.6863 | 10.8423 | 69.0948 | 5.9847 | 22.8704 | 4.962 | 180.211 | 15.13 | 982.231 | 43.459 | 33.9509
2019-10-05 15:30:00 | 0.62733 | 15.2713 | 8.5413 | 78.2527 | 3.1723 | 23.3819 | 0 | 176.753 | 15.06 | 982.049 | 43.8342 | 34.2254
2019-10-05 15:45:00 | 0.99933 | 84.9542 | 7.0073 | 44.8604 | 6.7517 | 34.5857 | 3.1723 | 174.439 | 15.04 | 981.703 | 42.4356 | 29.2743
2019-10-05 16:00:00 | 5.9673 | 356.428 | 9.0527 | 65.076 | 4.962 | 19.9233 | 3.9393 | 175.535 | 15 | 981.908 | 42.4356 | 27.7484
2019-10-05 16:15:00 | 2.3927 | 354.869 | 6.496 | 44.6899 | 6.2403 | 25.5009 | 0.37567 | 172.734 | 14.99 | 982.108 | 43.3225 | 26.2371
2019-10-05 16:30:00 | 0 | 356.915 | 4.962 | 90.1385 | 3.9393 | 2.5087 | 2.541 | 165.768 | 14.88 | 982.2 | 42.5039 | 24.5929
2019-10-05 16:45:00 | 3.1587 | 24.1126 | 6.7517 | 82.0035 | 5.9847 | 8.8413 | 0 | 202.765 | 14.86 | 981.626 | 42.0263 | 22.0139
2019-10-05 17:00:00 | 0.99933 | 354.431 | 5.729 | 49.1471 | 3.6837 | 3.4099 | 0 | 174.439 | 14.68 | 981.67 | 42.7085 | 19.6603
2019-10-05 17:15:00 | 5.712 | 344.25 | 4.4507 | 49.5368 | 6.2403 | 16.6352 | 5.4733 | 173.732 | 14.56 | 981.38 | 44.1754 | 21.7146
2019-10-05 17:30:00 | 6.2227 | 348.18 | 5.9847 | 54.1664 | 3.6837 | 0.048713 | 2.9167 | 161.023 | 14.35 | 981.083 | 44.927 | 21.7442
2019-10-05 17:45:00 | 9.2867 | 8.6003 | 5.4733 | 58.3775 | 6.7517 | 5.9203 | 3.6837 | 179.169 | 14.12 | 980.489 | 45.383 | 20.9461
2019-10-05 18:00:00 | 4.6907 | 0.097458 | 4.7063 | 46.32 | 5.2177 | 3.9714 | 0.887 | 176.837 | 13.83 | 980.489 | 46.6132 | 21.9732
2019-10-05 18:15:00 | 1.51 | 155.362 | 5.4733 | 51.1507 | 5.729 | 12.9631 | 0 | 175.391 | 13.67 | 980.766 | 47.5389 | 27.2162
2019-10-05 18:30:00 | 2.7867 | 11.4287 | 7.0073 | 64.2652 | 4.7063 | 356.385 | 0.75133 | 185.954 | 13.52 | 980.492 | 48.3268 | 28.9454
2019-10-05 18:45:00 | 0 | 15.7418 | 5.9847 | 71.0636 | 4.195 | 14.1091 | 0 | 193.946 | 13.17 | 980.64 | 49.8283 | 23.6544
2019-10-05 19:00:00 | 1.138 | 8.5778 | 6.496 | 59.6861 | 4.4507 | 34.5794 | 3.0523 | 197.729 | 13.13 | 980.64 | 48.2258 | 22.0582
2019-10-05 19:15:00 | 14.138 | 19.0091 | 7.263 | 63.4694 | 3.9393 | 28.4649 | 4.4507 | 199.205 | 13.25 | 980.789 | 47.5807 | 21.7922
2019-10-05 19:30:00 | 1.51 | 19.7414 | 7.7743 | 85.9698 | 4.7063 | 32.8048 | 4.7063 | 201.557 | 13.02 | 980.789 | 49.0173 | 21.0643
2019-10-05 19:45:00 | 0 | 28.5405 | 6.7517 | 75.0536 | 4.962 | 19.3763 | 7.0073 | 202.026 | 13.18 | 980.789 | 48.2676 | 19.0358
2019-10-05 20:00:00 | 0 | 28.9305 | 4.4507 | 80.367 | 3.9393 | 35.2674 | 0.37567 | 205.706 | 13.04 | 980.789 | 48.3359 | 19.3647
2019-10-05 20:15:00 | 0 | 16.9634 | 6.2403 | 74.7125 | 4.4507 | 32.0989 | 1.3827 | 203.001 | 13.1 | 980.937 | 47.9604 | 18.2415
2019-10-05 20:30:00 | 0 | 25.3964 | 6.2403 | 83.1943 | 4.4507 | 44.5778 | 1.5183 | 209.094 | 12.79 | 980.789 | 48.4042 | 17.4434
2019-10-05 20:45:00 | 0 | 29.0036 | 7.263 | 85.5097 | 4.7063 | 42.5548 | 3.6837 | 212.774 | 12.79 | 980.789 | 49.1551 | 19.9559
2019-10-05 21:00:00 | 0 | 24.9821 | 6.496 | 76.1749 | 3.9393 | 30.9778 | 4.7063 | 215.553 | 12.79 | 980.789 | 49.0869 | 16.5862
2019-10-05 21:15:00 | 0 | 29.7835 | 4.7063 | 89.5799 | 2.661 | 28.7599 | 0 | 212.14 | 12.71 | 980.789 | 49.36 | 12.8285
2019-10-05 21:30:00 | 0.372 | 23.471 | 5.9847 | 89.19 | 3.1723 | 349.408 | 4.962 | 211.239 | 12.43 | 980.64 | 49.0186 | 12.3814
2019-10-05 21:45:00 | 0 | 34.3412 | 5.729 | 106.105 | 3.1723 | 54.01 | 2.7967 | 221.743 | 12.48 | 980.492 | 48.3359 | 15.6661
2019-10-05 22:00:00 | 0 | 41.1412 | 4.962 | 96.6236 | 4.195 | 36.0717 | 5.9847 | 230.615 | 12.5 | 980.492 | 46.7657 | 12.5477
2019-10-05 22:15:00 | 0.744 | 39.7763 | 5.2177 | 97.9641 | 1.894 | 31.6602 | 1.5183 | 213.798 | 12.37 | 980.492 | 47.5166 | 10.1202
2019-10-05 22:30:00 | 0 | 40.6781 | 6.7517 | 97.1599 | 2.4053 | 52.2064 | 1.5183 | 221.524 | 12.5 | 980.492 | 46.6291 | 10.1534
2019-10-05 22:45:00 | 0 | 34.9262 | 5.729 | 78.4659 | 3.6837 | 37.7778 | 5.9847 | 218.087 | 12.42 | 980.492 | 48.2676 | 10.9109
2019-10-05 23:00:00 | 0.88267 | 36.9978 | 6.7517 | 91.871 | 3.6837 | 10.8946 | 4.7063 | 222.865 | 12.21 | 980.195 | 47.7897 | 9.9244
2019-10-05 23:15:00 | 0.62733 | 42.0186 | 5.729 | 99.4265 | 2.661 | 16.4272 | 1.5183 | 225.667 | 12.25 | 980.195 | 47.5166 | 7.12
2019-10-05 23:30:00 | 0 | 29.7348 | 3.9393 | 84.0229 | 2.4053 | 12.5763 | 0 | 219.184 | 12.11 | 980.492 | 47.6532 | 7.3232
2019-10-05 23:45:00 | 0 | 37.3391 | 5.2177 | 94.357 | 4.195 | 37.924 | 0 | 213.871 | 11.98 | 980.201 | 49.2234 | 8.5092