## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-06 00:00:00 | 0 | 28.5892 | 4.7063 | 88.215 | 3.1723 | 42.7986 | 0 | 222.572 | 11.92 | 980.199 | 49.121 | 6.8946
2019-10-06 00:15:00 | 0 | 43.2616 | 4.962 | 101.279 | 3.6837 | 28.1749 | 0 | 223.791 | 11.94 | 980.218 | 48.7455 | 3.7318
2019-10-06 00:30:00 | 0 | 35.828 | 4.962 | 88.7513 | 1.894 | 35.1211 | 0 | 219.209 | 11.9 | 980.216 | 50.8619 | 4.5188
2019-10-06 00:45:00 | 0 | 35.048 | 4.962 | 84.3154 | 3.428 | 33.6588 | 0 | 216.991 | 11.88 | 979.909 | 48.8821 | 5.2873
2019-10-06 01:00:00 | 0 | 37.4366 | 4.4507 | 89.4824 | 3.6837 | 59.8839 | 0 | 219.794 | 11.91 | 979.631 | 49.36 | 5.2208
2019-10-06 01:15:00 | 0 | 35.1943 | 5.4733 | 83.633 | 4.195 | 41.1412 | 0 | 210.581 | 12.09 | 979.615 | 48.7455 | 3.9941
2019-10-06 01:30:00 | 4.4353 | 28.7599 | 5.2177 | 93.8208 | 3.1723 | 25.8839 | 0 | 217.941 | 12.06 | 979.614 | 48.8138 | 3.5988
2019-10-06 01:45:00 | 0 | 40.7513 | 4.195 | 85.4853 | 3.428 | 27.4925 | 1.2627 | 224.034 | 12.05 | 979.609 | 49.5648 | 2.0876
2019-10-06 02:00:00 | 0 | 38.314 | 3.9393 | 88.3369 | 3.1723 | 30.2222 | 0 | 226.715 | 11.91 | 979.61 | 49.633 | 3.9941
2019-10-06 02:15:00 | 0 | 31.4896 | 3.9393 | 83.3405 | 3.1723 | 25.3233 | 0 | 212.043 | 11.67 | 979.201 | 49.9744 | 4.4634
2019-10-06 02:30:00 | 0 | 48.6968 | 2.9167 | 89.0925 | 2.661 | 30.3197 | 0 | 232.857 | 11.87 | 979.042 | 49.9061 | 3.366
2019-10-06 02:45:00 | 0 | 51.5728 | 4.7063 | 97.6717 | 4.195 | 33.0495 | 0 | 229.006 | 11.84 | 979.073 | 49.1551 | 1.9693
2019-10-06 03:00:00 | 0 | 57.7147 | 2.661 | 95.5269 | 2.1497 | 38.8014 | 0 | 229.884 | 11.91 | 979.06 | 51.2033 | 0.27342
2019-10-06 03:15:00 | 0 | 76.7254 | 1.3827 | 105.471 | 0.75133 | 61.0294 | 0 | 252.356 | 11.76 | 979.072 | 49.9061 | -0.18105
2019-10-06 03:30:00 | 0 | 131.052 | 1.127 | 169.669 | 0.75133 | 142.751 | 0 | 318.723 | 11.9 | 979.093 | 49.8379 | -0.22539
2019-10-06 03:45:00 | 0 | 144.92 | 2.1497 | 202.231 | 1.127 | 163.663 | 0 | 326.497 | 11.64 | 979.074 | 51.2715 | -0.28081
2019-10-06 04:00:00 | 0 | 143.24 | 2.1497 | 207.79 | 1.3827 | 159.716 | 0 | 334.934 | 11.8 | 978.916 | 51.0331 | -0.25125
2019-10-06 04:15:00 | 0 | 138.925 | 2.9167 | 193.116 | 1.894 | 157.351 | 0 | 313.361 | 11.53 | 978.459 | 52.3639 | 1.9915
2019-10-06 04:30:00 | 1.7653 | 130.175 | 3.1723 | 175.226 | 1.894 | 151.696 | 0 | 313.239 | 11.25 | 978.463 | 54.2072 | 5.9413
2019-10-06 04:45:00 | 0 | 116.868 | 3.428 | 166.306 | 1.6383 | 117.38 | 0 | 309.779 | 11.18 | 978.724 | 58.9523 | 3.3032
2019-10-06 05:00:00 | 0.372 | 136.294 | 3.6837 | 183.71 | 1.3827 | 149.967 | 0 | 317.654 | 10.9 | 979.031 | 57.8262 | 2.3425
2019-10-06 05:15:00 | 0 | 128.696 | 5.2177 | 165.585 | 1.894 | 134.253 | 0 | 320.74 | 10.95 | 978.915 | 58.2385 | 4.1493
2019-10-06 05:30:00 | 0 | 127.141 | 6.2403 | 177.17 | 3.1723 | 137.768 | 0 | 310.198 | 11.42 | 978.742 | 57.7971 | 7.4636
2019-10-06 05:45:00 | 0 | 105.194 | 4.962 | 170.451 | 3.6837 | 115.333 | 0 | 296.985 | 11.49 | 978.421 | 56.5972 | 10.0463
2019-10-06 06:00:00 | 1.51 | 138.51 | 4.195 | 189.825 | 2.661 | 148.381 | 0 | 316.31 | 11.19 | 979.064 | 58.6448 | 6.0595
2019-10-06 06:15:00 | 0 | 107.484 | 3.6837 | 171.521 | 3.1723 | 123.838 | 0 | 283.334 | 11.32 | 979.624 | 53.9342 | 4.3267
2019-10-06 06:30:00 | 0 | 99.904 | 3.428 | 180.149 | 2.661 | 111.749 | 0 | 288.476 | 11.46 | 979.711 | 58.0987 | 4.3784
2019-10-06 06:45:00 | 0 | 81.5513 | 4.962 | 142.542 | 1.894 | 117.331 | 0 | 272.536 | 11.38 | 979.705 | 54.3438 | 4.7442
2019-10-06 07:00:00 | 0 | 137.219 | 3.9393 | 197.649 | 2.9167 | 142.629 | 0 | 324.353 | 11.46 | 980.259 | 57.3477 | 3.3032
2019-10-06 07:15:00 | 0 | 115.039 | 3.6837 | 173.569 | 2.1497 | 123.302 | 0 | 289.159 | 11.68 | 980.229 | 55.4361 | 3.1332
2019-10-06 07:30:00 | 0 | 145.408 | 2.1497 | 193.115 | 2.1497 | 151.209 | 0 | 327.643 | 11.8 | 980.79 | 55.5044 | 2.7674
2019-10-06 07:45:00 | 0 | 118.159 | 2.1497 | 182.27 | 1.3827 | 127.031 | 0 | 298.323 | 11.77 | 980.968 | 56.3236 | 2.4829
2019-10-06 08:00:00 | 0 | 96.7843 | 3.428 | 153.095 | 2.661 | 126.397 | 0 | 289.451 | 11.74 | 981.086 | 56.426 | 2.3167
2019-10-06 08:15:00 | 0 | 112.334 | 4.4507 | 174.105 | 2.661 | 145.895 | 0 | 283.065 | 11.97 | 980.789 | 56.3919 | 4.1235
2019-10-06 08:30:00 | 0 | 127.031 | 5.729 | 173.837 | 4.195 | 117.379 | 0.63133 | 315.262 | 11.96 | 980.492 | 54.9582 | 7.9883
2019-10-06 08:45:00 | 0 | 132.027 | 7.263 | 175.64 | 5.729 | 124.106 | 0.63133 | 284.771 | 12.09 | 980.492 | 54.6169 | 8.2173
2019-10-06 09:00:00 | 0 | 124.033 | 4.4507 | 176.883 | 4.7063 | 125.325 | 0 | 311.265 | 12.17 | 980.789 | 55.7775 | 4.7922
2019-10-06 09:15:00 | 0 | 133.612 | 4.962 | 186.681 | 4.195 | 143.434 | 0 | 307.584 | 12.16 | 980.789 | 57.689 | 3.3143
2019-10-06 09:30:00 | 0 | 109.117 | 3.9393 | 163.21 | 4.195 | 130.662 | 0 | 311.289 | 11.96 | 980.938 | 59.1227 | 5.8009
2019-10-06 09:45:00 | 0 | 128.932 | 5.2177 | 183.439 | 3.9393 | 142.166 | 3.6837 | 304.27 | 11.94 | 980.789 | 60.0103 | 7.3971
2019-10-06 10:00:00 | 0 | 136.317 | 5.729 | 191.312 | 5.2177 | 134.367 | 5.729 | 318.43 | 11.97 | 980.789 | 60.0785 | 7.8885
2019-10-06 10:15:00 | 0 | 134.611 | 5.729 | 185.852 | 5.2177 | 138.12 | 0.75133 | 318.26 | 11.82 | 980.789 | 63.8334 | 6.0965
2019-10-06 10:30:00 | 0 | 157.009 | 5.9847 | 229.309 | 4.7063 | 179.895 | 5.729 | 333.078 | 11.43 | 980.641 | 65.0623 | 4.6038
2019-10-06 10:45:00 | 0 | 182.43 | 4.4507 | 227.262 | 4.962 | 139.461 | 0 | 5.4351 | 11.12 | 980.492 | 70.8654 | 3.3143
2019-10-06 11:00:00 | 0 | 140.972 | 3.6837 | 209.153 | 3.6837 | 165.979 | 0 | 328.618 | 10.68 | 980.354 | 77.1122 | 3.5803
2019-10-06 11:15:00 | 0.88267 | 149.503 | 4.4507 | 204.595 | 4.195 | 159.739 | 4.962 | 336.734 | 10.32 | 980.201 | 78.7848 | 2.5236
2019-10-06 11:30:00 | 0 | 172.705 | 3.9393 | 223.216 | 4.195 | 147.163 | 0 | 341.999 | 10.22 | 979.641 | 85.134 | 1.8659
2019-10-06 11:45:00 | 0 | 149.698 | 4.4507 | 203.742 | 4.7063 | 155.45 | 3.8193 | 335.735 | 10.05 | 980.021 | 80.4916 | 1.3708
2019-10-06 12:00:00 | 1.7653 | 200.027 | 3.1723 | 235.914 | 2.661 | 180.7 | 0 | 5.2645 | 10.23 | 979.985 | 80.082 | -0.033254
2019-10-06 12:15:00 | 0 | 184.014 | 3.1723 | 243.47 | 3.428 | 208.29 | 0 | 18.2796 | 10.37 | 979.646 | 81.3108 | -0.34362
2019-10-06 12:30:00 | 0 | 194.982 | 2.4053 | 242.3 | 2.4053 | 186.305 | 0 | 20.79 | 10.25 | 979.698 | 82.6763 | -0.30667
2019-10-06 12:45:00 | 0 | 230.323 | 1.6383 | 252.536 | 2.1497 | 198.443 | 0 | 60.6394 | 10.26 | 979.654 | 84.4513 | -0.25125
2019-10-06 13:00:00 | 0 | 203.22 | 2.4053 | 240.642 | 2.1497 | 176.264 | 0 | 23.7147 | 10.41 | 979.189 | 87.2504 | -0.26972
2019-10-06 13:15:00 | 0 | 243.094 | 1.894 | 268.135 | 1.3827 | 198.004 | 0 | 72.3384 | 10.18 | 979.062 | 85.4754 | -0.25125
2019-10-06 13:30:00 | 0 | 204.877 | 2.4053 | 248.929 | 2.1497 | 214.237 | 0 | 20.4731 | 10.31 | 979.102 | 86.9091 | -0.25125
2019-10-06 13:45:00 | 0 | 253.038 | 2.1497 | 301.014 | 2.4053 | 246.019 | 0 | 83.7692 | 9.86 | 979.086 | 90.1861 | -0.26972
2019-10-06 14:00:00 | 0 | 261.958 | 2.4053 | 301.672 | 2.1497 | 251.064 | 0 | 86.5233 | 9.57 | 979.083 | 92.9852 | -0.2882
2019-10-06 14:15:00 | 0 | 290.04 | 3.9393 | 19.8538 | 3.9393 | 292.233 | 0 | 110.02 | 9.57 | 978.868 | 95.5125 | -0.077592
2019-10-06 14:30:00 | 0 | 304.891 | 3.428 | 10.5422 | 3.1723 | 302.356 | 0 | 125.486 | 9.19 | 978.775 | 96.3079 | 0.12932
2019-10-06 14:45:00 | 0 | 335.624 | 2.1497 | 16.6632 | 3.1723 | 304.885 | 0 | 123.592 | 9.03 | 978.702 | 91.9776 | 0.19952
2019-10-06 15:00:00 | 0 | 322.052 | 1.6383 | 18.0534 | 2.661 | 307.889 | 0 | 139.879 | 9.04 | 978.712 | 93.5499 | 0.34731
2019-10-06 15:15:00 | 0 | 336.217 | 0 | 30.7581 | 0 | 311.423 | 0 | 167.146 | 9.06 | 978.267 | 96.5277 | 1.3856
2019-10-06 15:30:00 | 0 | 2.877 | 1.3827 | 40.8551 | 0.37567 | 327.437 | 0 | 196.731 | 8.79 | 978.118 | 93.6655 | 1.175
2019-10-06 15:45:00 | 0 | 327.438 | 3.428 | 17.4249 | 2.9167 | 326.267 | 0 | 150.943 | 8.21 | 978.118 | 87.5533 | 1.7366
2019-10-06 16:00:00 | 0 | 318.783 | 2.1497 | 7.6481 | 2.4053 | 335.801 | 0 | 135.973 | 7.735 | 977.861 | 82.4313 | 2.1504
2019-10-06 16:15:00 | 0 | 319.636 | 2.4053 | 4.2835 | 2.1497 | 309.298 | 0 | 141.142 | 7.608 | 978.408 | 84.9923 | 0.33254
2019-10-06 16:30:00 | 0 | 333.198 | 3.1723 | 23.7405 | 2.1497 | 316.034 | 0 | 148.337 | 7.456 | 978.12 | 90.3552 | 0.1441
2019-10-06 16:45:00 | 0 | 7.0474 | 2.661 | 62.0576 | 2.4053 | 331.986 | 0 | 185.818 | 7.225 | 977.823 | 95.8348 | 0.1404
2019-10-06 17:00:00 | 0 | 322.429 | 0.75133 | 20.4073 | 1.894 | 331.866 | 0 | 152.363 | 7.195 | 977.823 | 96.7919 | 0.25494
2019-10-06 17:15:00 | 0 | 326.555 | 1.894 | 10.9217 | 0 | 331.018 | 0 | 135.855 | 7.309 | 977.823 | 96.9299 | 0.1441
2019-10-06 17:30:00 | 0 | 304.704 | 1.894 | 12.5867 | 1.3827 | 329.26 | 0 | 123.101 | 7.29 | 978.12 | 97.8516 | 0.31776
2019-10-06 17:45:00 | 0 | 292.241 | 2.4053 | 15.6279 | 2.1497 | 289.851 | 0 | 114.175 | 7.134 | 978.418 | 98.3976 | 0.46925
2019-10-06 18:00:00 | 0 | 309.122 | 3.1723 | 6.5387 | 2.9167 | 309.293 | 0 | 129.321 | 6.973 | 978.269 | 98.8777 | 0.56531
2019-10-06 18:15:00 | 0 | 337.174 | 1.3827 | 50.527 | 0.37567 | 309.519 | 0 | 146.443 | 7.083 | 978.12 | 99.1189 | 1.0346
2019-10-06 18:30:00 | 0 | 1.3169 | 3.1723 | 68.2089 | 2.1497 | 320.425 | 0 | 188.66 | 7.025 | 977.823 | 99.3254 | 0.18474
2019-10-06 18:45:00 | 0 | 350.935 | 2.1497 | 45.4071 | 2.4053 | 320.402 | 0 | 184.784 | 6.933 | 977.823 | 99.5991 | -0.11824
2019-10-06 19:00:00 | 0 | 7.0484 | 3.1723 | 64.2145 | 2.4053 | 320.517 | 0 | 191.379 | 6.934 | 977.823 | 99.7754 | -0.018474
2019-10-06 19:15:00 | 0 | 0 | 2.1497 | 72.4316 | 1.6383 | 320.413 | 0 | 172.913 | 6.966 | 977.823 | 99.8758 | -0.0036949
2019-10-06 19:30:00 | 0 | 24.8768 | 2.9167 | 71.849 | 0.75133 | 320.52 | 0 | 209.404 | 7.032 | 977.823 | 99.9813 | -0.081287
2019-10-06 19:45:00 | 0 | 23.6082 | 2.9167 | 75.8717 | 2.4053 | 320.711 | 0 | 206.718 | 7.045 | 977.823 | 100 | -0.24755
2019-10-06 20:00:00 | 0 | 41.1185 | 2.4053 | 88.5519 | 2.1497 | 321.095 | 0 | 227.054 | 6.798 | 977.823 | 99.978 | -0.29189
2019-10-06 20:15:00 | 0 | 90.821 | 0 | 94.1115 | 0 | 320.995 | 0 | 309.484 | 7.069 | 978.12 | 100 | -0.26972
2019-10-06 20:30:00 | 0 | 133.911 | 2.1497 | 183.463 | 0 | 320.79 | 0 | 316.083 | 7.222 | 978.12 | 100 | -0.26972
2019-10-06 20:45:00 | 0 | 123.105 | 1.894 | 182.875 | 0 | 170.66 | 0 | 304.105 | 7.409 | 977.823 | 100 | -0.25125
2019-10-06 21:00:00 | 0 | 123.977 | 4.4507 | 167.136 | 2.9167 | 118.027 | 0 | 308.771 | 7.504 | 977.823 | 100 | -0.31776
2019-10-06 21:15:00 | 0 | 119.334 | 4.195 | 176.046 | 3.6837 | 127.527 | 0 | 312.405 | 7.769 | 977.823 | 99.994 | 0.92741
2019-10-06 21:30:00 | 0 | 145.092 | 3.1723 | 195.237 | 2.4053 | 135.023 | 0 | 324.269 | 7.866 | 977.823 | 99.8807 | -0.025864
2019-10-06 21:45:00 | 0 | 157.551 | 1.3827 | 197.284 | 0 | 152.138 | 0 | 322.928 | 8.2 | 978.12 | 99.3342 | -0.26972
2019-10-06 22:00:00 | 0 | 174.154 | 0 | 247.997 | 0 | 307.884 | 0 | 321.001 | 8.01 | 978.12 | 99.0268 | -0.24016
2019-10-06 22:15:00 | 0 | 40.5945 | 0.37567 | 100.443 | 1.127 | 17.7007 | 0 | 321.001 | 8.06 | 977.823 | 99.061 | -0.25125
2019-10-06 22:30:00 | 0 | 302.521 | 1.3827 | 4.9813 | 1.127 | 300.326 | 0 | 322.732 | 7.901 | 978.12 | 99.4025 | -0.24016
2019-10-06 22:45:00 | 0 | 258.976 | 0 | 5.4689 | 0 | 299.107 | 0 | 322.464 | 7.746 | 977.962 | 99.539 | -0.24016
2019-10-06 23:00:00 | 0 | 258.391 | 0 | 5.347 | 0 | 316.369 | 0 | 322.464 | 7.776 | 978.12 | 99.6756 | -0.24016
2019-10-06 23:15:00 | 0 | 258.391 | 0 | 5.347 | 0 | 316.418 | 0 | 322.464 | 7.946 | 978.414 | 99.7781 | -0.24016
2019-10-06 23:30:00 | 0 | 28.087 | 1.3827 | 68.162 | 1.6383 | 354.745 | 0 | 322.074 | 7.87 | 977.823 | 99.7098 | -0.24016
2019-10-06 23:45:00 | 0 | 19.5049 | 0.75133 | 68.4302 | 1.127 | 354.647 | 0 | 321.026 | 7.67 | 977.808 | 99.9147 | -0.24016