## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-07 00:00:00 | 0 | 351.234 | 0.75133 | 40.5626 | 1.6383 | 354.33 | 0 | 222.989 | 7.739 | 977.817 | 99.9488 | -0.2845
2019-10-07 00:15:00 | 0 | 356.866 | 0 | 23.3008 | 0 | 354.55 | 0 | 161.939 | 7.745 | 977.817 | 99.983 | -0.25125
2019-10-07 00:30:00 | 0 | 17.847 | 0.75133 | 24.6174 | 1.127 | 354.72 | 0 | 161.939 | 7.739 | 977.81 | 99.983 | -0.24016
2019-10-07 00:45:00 | 0 | 330.486 | 0 | 25.2513 | 0 | 354.599 | 0 | 161.939 | 7.661 | 977.823 | 99.983 | -0.25864
2019-10-07 01:00:00 | 0 | 318.612 | 0 | 25.2269 | 0 | 354.306 | 0 | 161.988 | 7.807 | 977.823 | 99.983 | -0.24016
2019-10-07 01:15:00 | 0 | 318.612 | 0 | 25.2269 | 0 | 354.257 | 0 | 152.089 | 7.816 | 977.526 | 99.9488 | -0.25864
2019-10-07 01:30:00 | 0 | 338.702 | 1.127 | 24.7149 | 0.75133 | 354.355 | 0 | 150.504 | 7.739 | 977.229 | 99.983 | -0.24016
2019-10-07 01:45:00 | 0 | 285.307 | 0.75133 | 22.5694 | 0 | 354.355 | 0 | 149.456 | 7.538 | 977.08 | 99.983 | -0.24016
2019-10-07 02:00:00 | 0 | 265.608 | 1.3827 | 327.04 | 0 | 286.185 | 0 | 80.7502 | 7.738 | 976.932 | 99.983 | -0.24016
2019-10-07 02:15:00 | 0 | 275.165 | 0.75133 | 327.04 | 0 | 273.434 | 0 | 81.0427 | 7.945 | 976.929 | 99.983 | -0.24016
2019-10-07 02:30:00 | 0 | 299.156 | 0 | 327.626 | 0 | 278.993 | 0 | 110.495 | 7.939 | 976.932 | 99.983 | -0.25125
2019-10-07 02:45:00 | 0 | 260.536 | 0 | 328.211 | 0 | 272.142 | 0 | 125.392 | 7.966 | 976.919 | 99.9488 | -0.24016
2019-10-07 03:00:00 | 0 | 306.958 | 0 | 328.284 | 0 | 333.485 | 0 | 118.59 | 7.905 | 976.635 | 99.983 | -0.26972
2019-10-07 03:15:00 | 0 | 204.801 | 0.75133 | 329.235 | 1.6383 | 337.581 | 0 | 42.3743 | 7.733 | 976.337 | 99.983 | -0.25125
2019-10-07 03:30:00 | 0 | 156.039 | 0 | 272.134 | 0 | 339.75 | 0 | 42.3256 | 7.726 | 976.039 | 99.983 | -0.25864
2019-10-07 03:45:00 | 0 | 229.816 | 1.127 | 272.183 | 0 | 339.434 | 0 | 42.5694 | 7.778 | 976.04 | 99.983 | -0.24016
2019-10-07 04:00:00 | 0 | 236.423 | 1.3827 | 273.207 | 0 | 338.312 | 0 | 44.4711 | 7.828 | 976.032 | 99.7781 | -0.24016
2019-10-07 04:15:00 | 0 | 197.536 | 0.75133 | 256.213 | 0 | 337.971 | 0 | 42.1305 | 7.968 | 976.04 | 99.7781 | -0.25125
2019-10-07 04:30:00 | 0 | 215.773 | 0.75133 | 267.746 | 0.37567 | 337.971 | 0 | 42.5938 | 7.817 | 976.04 | 99.6415 | -0.25125
2019-10-07 04:45:00 | 0 | 192.513 | 2.4053 | 241.024 | 2.1497 | 182.517 | 0 | 14.6287 | 7.74 | 976.04 | 99.4707 | -0.25125
2019-10-07 05:00:00 | 0.62733 | 210.385 | 2.1497 | 243 | 1.894 | 193.733 | 0.75133 | 33.5485 | 7.746 | 976.04 | 99.3686 | -0.25125
2019-10-07 05:15:00 | 0 | 210.419 | 0.75133 | 243.377 | 0.75133 | 205.347 | 0 | 32.9648 | 7.741 | 976.04 | 99.168 | -0.24016
2019-10-07 05:30:00 | 0 | 226.423 | 1.3827 | 243.778 | 0 | 205.356 | 0 | 38.0867 | 7.606 | 976.04 | 99.1041 | -0.24016
2019-10-07 05:45:00 | 0 | 237.955 | 1.6383 | 290.039 | 1.3827 | 220.397 | 0 | 39.1877 | 7.681 | 976.04 | 98.9086 | -0.25125
2019-10-07 06:00:00 | 0 | 234.669 | 3.1723 | 289.755 | 2.9167 | 234.864 | 0 | 38.823 | 7.726 | 976.04 | 98.5698 | -0.24016
2019-10-07 06:15:00 | 0 | 254.927 | 2.661 | 308.084 | 1.3827 | 263.218 | 0 | 70.0842 | 7.747 | 976.337 | 98.1571 | -0.24016
2019-10-07 06:30:00 | 0 | 218.836 | 1.894 | 259.898 | 0.75133 | 218.129 | 0 | 67.2798 | 7.709 | 976.486 | 98.0888 | -0.24016
2019-10-07 06:45:00 | 0 | 182.024 | 2.9167 | 246.611 | 2.1497 | 204.944 | 0 | 65.275 | 7.68 | 976.337 | 98.4224 | -0.29559
2019-10-07 07:00:00 | 0.372 | 183.982 | 2.661 | 246.195 | 2.9167 | 198.488 | 0 | 4.9738 | 7.91 | 976.635 | 97.8668 | -0.27342
2019-10-07 07:15:00 | 0 | 158.428 | 3.6837 | 207.183 | 3.428 | 152.65 | 0 | 341.823 | 8.15 | 976.801 | 97.3195 | 0.040643
2019-10-07 07:30:00 | 0 | 189.534 | 2.661 | 242.115 | 2.4053 | 181.635 | 0 | 5.4368 | 8.5 | 976.931 | 95.5415 | -0.18844
2019-10-07 07:45:00 | 0 | 183.844 | 2.4053 | 243.748 | 2.9167 | 183.429 | 0 | 0.34126 | 9.08 | 977.377 | 92.2465 | -0.22908
2019-10-07 08:00:00 | 0.62733 | 181.482 | 2.661 | 242.01 | 2.661 | 188.16 | 0 | 6.142 | 9 | 977.238 | 93.0545 | -0.26972
2019-10-07 08:15:00 | 0 | 188.986 | 1.894 | 242.592 | 1.6383 | 193.569 | 0 | 17.5484 | 8.97 | 977.561 | 92.7804 | -0.25125
2019-10-07 08:30:00 | 0 | 182.384 | 2.1497 | 242.401 | 2.1497 | 185.041 | 0 | 6.1421 | 8.95 | 977.889 | 94.2155 | -0.25125
2019-10-07 08:45:00 | 0 | 178.707 | 2.661 | 242.064 | 2.661 | 183.63 | 0 | 0.53622 | 8.97 | 977.872 | 95.2412 | -0.25125
2019-10-07 09:00:00 | 0 | 197.676 | 2.1497 | 238.904 | 3.1723 | 191.972 | 0 | 23.9356 | 8.97 | 977.897 | 94.6296 | -0.25125
2019-10-07 09:15:00 | 0 | 195.148 | 2.4053 | 236.183 | 2.661 | 182.18 | 0 | 25.5452 | 8.96 | 977.983 | 94.2918 | -0.25125
2019-10-07 09:30:00 | 0.62733 | 199.441 | 2.661 | 241.745 | 2.661 | 178.673 | 0 | 21.743 | 8.94 | 977.944 | 94.8396 | -0.25125
2019-10-07 09:45:00 | 0 | 196.998 | 2.1497 | 242.843 | 1.6383 | 204.628 | 0 | 9.9462 | 8.98 | 977.987 | 95.1216 | -0.25125
2019-10-07 10:00:00 | 0 | 201.895 | 1.3827 | 256.856 | 1.6383 | 186.635 | 0 | 6.8257 | 9.03 | 978.022 | 93.9596 | -0.25125
2019-10-07 10:15:00 | 0 | 188.529 | 1.3827 | 239.659 | 1.127 | 191.454 | 0 | 8.1905 | 9.17 | 978.038 | 94.2288 | -0.2882
2019-10-07 10:30:00 | 0 | 190.795 | 2.1497 | 235.613 | 2.1497 | 191.283 | 0 | 11.3107 | 9.35 | 977.944 | 93.2046 | -0.25125
2019-10-07 10:45:00 | 0 | 204.515 | 1.6383 | 238.038 | 1.3827 | 202.638 | 0 | 3.5097 | 9.58 | 977.991 | 92.3721 | -0.25125
2019-10-07 11:00:00 | 0.372 | 196.469 | 1.127 | 259.507 | 2.1497 | 177.263 | 0 | 23.0079 | 9.77 | 978.016 | 92.439 | -0.26972
2019-10-07 11:15:00 | 0 | 192.886 | 3.1723 | 257.606 | 2.9167 | 197.127 | 0 | 16.086 | 9.74 | 978.366 | 92.8486 | -0.2882
2019-10-07 11:30:00 | 0 | 196.956 | 1.894 | 264.284 | 2.4053 | 204.293 | 0 | 56.5692 | 9.8 | 978.141 | 93.7362 | -0.2882
2019-10-07 11:45:00 | 0 | 207.095 | 1.894 | 260.726 | 2.4053 | 206.242 | 0 | 20.1807 | 9.99 | 978.116 | 91.0053 | -0.26972
2019-10-07 12:00:00 | 0 | 209.947 | 2.661 | 249.66 | 3.1723 | 197.931 | 0 | 40.9463 | 10.21 | 978.265 | 91.6198 | -0.25125
2019-10-07 12:15:00 | 0 | 41.1412 | 0.75133 | 233.818 | 3.1723 | 168.001 | 0 | 339.61 | 10.43 | 977.819 | 90.3909 | -0.25125
2019-10-07 12:30:00 | 1.51 | 201.123 | 2.1497 | 242.396 | 2.1497 | 191.081 | 0 | 12.7713 | 10.86 | 978.116 | 88.6495 | -0.25125
2019-10-07 12:45:00 | 0 | 182.717 | 1.6383 | 251.565 | 0 | 210.4 | 0 | 2.6562 | 10.81 | 977.819 | 89.6934 | -0.26603
2019-10-07 13:00:00 | 0 | 186.05 | 2.4053 | 240.007 | 2.661 | 180.031 | 0 | 0.19494 | 10.88 | 977.819 | 89.4518 | -0.25864
2019-10-07 13:15:00 | 0 | 164.848 | 3.1723 | 214.564 | 2.4053 | 161.607 | 0 | 329.428 | 11.44 | 977.819 | 87.4373 | -0.24016
2019-10-07 13:30:00 | 0 | 154.193 | 1.127 | 214.676 | 1.894 | 136.113 | 0 | 356.827 | 12.37 | 978.562 | 80.4718 | -0.24016
2019-10-07 13:45:00 | 0 | 212.945 | 1.6383 | 291.938 | 1.6383 | 256.314 | 0 | 11.3538 | 12.65 | 978.119 | 78.8603 | -0.24016
2019-10-07 14:00:00 | 0 | 166.653 | 2.4053 | 225.863 | 1.127 | 192.35 | 0 | 355.861 | 12.96 | 978.56 | 77.5409 | -0.26972
2019-10-07 14:15:00 | 0 | 211.85 | 2.9167 | 268.158 | 2.1497 | 236.352 | 0 | 34.0986 | 13.62 | 978.411 | 75.8657 | -0.24016
2019-10-07 14:30:00 | 0.99933 | 183.743 | 3.1723 | 227.093 | 3.6837 | 176.485 | 0.75133 | 6.8197 | 13.6 | 978.255 | 77.7077 | -0.25125
2019-10-07 14:45:00 | 0 | 190.489 | 3.1723 | 256.661 | 2.9167 | 201.571 | 0.37567 | 15.2957 | 14.04 | 978.114 | 75.9338 | -0.19213
2019-10-07 15:00:00 | 0 | 173.757 | 3.6837 | 229.553 | 3.428 | 184.352 | 0 | 344.834 | 14.07 | 978.057 | 75.7974 | -0.21061
2019-10-07 15:15:00 | 0 | 176.485 | 3.1723 | 245.311 | 3.6837 | 192.949 | 0 | 356.817 | 14.52 | 977.998 | 75.7974 | -0.26972
2019-10-07 15:30:00 | 0 | 187.396 | 3.428 | 203.979 | 3.6837 | 138.197 | 0 | 0.68197 | 13.72 | 977.616 | 79.7544 | -0.12193
2019-10-07 15:45:00 | 0 | 173.757 | 2.661 | 223.001 | 2.661 | 163.04 | 0 | 8.2811 | 13.95 | 978.114 | 78.3899 | -0.16996
2019-10-07 16:00:00 | 0 | 175.413 | 4.4507 | 225.875 | 4.195 | 170.128 | 0 | 354.09 | 14.19 | 977.966 | 79.2768 | 0.25494
2019-10-07 16:15:00 | 0 | 148.329 | 5.2177 | 198.377 | 4.7063 | 148.231 | 2.2853 | 340.548 | 14 | 977.817 | 80.0955 | 0.80917
2019-10-07 16:30:00 | 0 | 163.822 | 4.7063 | 202.741 | 3.9393 | 137.444 | 1.007 | 349.468 | 13.71 | 977.52 | 81.7344 | 0.44708
2019-10-07 16:45:00 | 0 | 155.492 | 5.4733 | 206.978 | 4.7063 | 152.35 | 0 | 341.819 | 13.85 | 976.927 | 80.9837 | 3.0482
2019-10-07 17:00:00 | 0 | 152.953 | 4.962 | 212.182 | 4.4507 | 165.208 | 0 | 335.921 | 13.8 | 976.63 | 80.4604 | 5.1506
2019-10-07 17:15:00 | 0 | 160.464 | 4.962 | 223.011 | 4.7063 | 171.867 | 0 | 348.996 | 13.85 | 976.481 | 77.8707 | 4.9917
2019-10-07 17:30:00 | 0 | 165.045 | 4.195 | 214.337 | 4.195 | 163.242 | 2.2853 | 352.358 | 13.91 | 976.411 | 77.1199 | 5.9746
2019-10-07 17:45:00 | 0 | 180.218 | 5.9847 | 220.868 | 4.7063 | 184.824 | 0 | 348.643 | 14.04 | 976.332 | 75.5582 | 9.6768
2019-10-07 18:00:00 | 0 | 173.456 | 6.496 | 233.799 | 5.4733 | 174.333 | 5.9847 | 346.326 | 13.99 | 976.483 | 74.744 | 8.0141
2019-10-07 18:15:00 | 0 | 177.182 | 5.9847 | 237.061 | 5.729 | 182.177 | 0 | 2.5343 | 13.85 | 976.334 | 77.0638 | 7.3527
2019-10-07 18:30:00 | 0.372 | 177.792 | 6.496 | 223.123 | 5.2177 | 169.896 | 3.9393 | 356.509 | 13.68 | 976.334 | 74.2655 | 8.173
2019-10-07 18:45:00 | 0 | 177.451 | 6.7517 | 227.827 | 5.729 | 175.355 | 4.195 | 65.7459 | 13.53 | 976.037 | 73.6171 | 7.0276
2019-10-07 19:00:00 | 0 | 170.331 | 5.729 | 220.266 | 4.962 | 167.674 | 5.729 | 356.5 | 13.61 | 976.334 | 73.581 | 13.15
2019-10-07 19:15:00 | 0 | 160.492 | 7.263 | 204.265 | 6.2403 | 159.274 | 1.3827 | 343.062 | 12.83 | 976.037 | 81.7067 | 22.7935
2019-10-07 19:30:00 | 13.1167 | 153.589 | 6.7517 | 199.003 | 7.0073 | 156.343 | 4.7063 | 338.35 | 12.91 | 975.889 | 79.7024 | 31.6611
2019-10-07 19:45:00 | 0 | 154.645 | 8.2857 | 204.619 | 8.2857 | 165.881 | 3.428 | 337.879 | 12.81 | 975.592 | 82.3348 | 27.9109
2019-10-07 20:00:00 | 2.276 | 159.008 | 8.2857 | 205.667 | 7.5187 | 161.762 | 3.9393 | 342.583 | 12.77 | 976.037 | 80.2867 | 20.0519
2019-10-07 20:15:00 | 0 | 172.559 | 7.0073 | 221.217 | 7.263 | 163.834 | 5.4733 | 352.381 | 12.75 | 976.037 | 81.4473 | 18.8326
2019-10-07 20:30:00 | 4.574 | 179.091 | 7.0073 | 212.029 | 7.7743 | 164.199 | 5.9847 | 0.19498 | 12.8 | 976.037 | 81.3791 | 19.5864
2019-10-07 20:45:00 | 0 | 167.392 | 7.7743 | 209.104 | 8.03 | 156.79 | 0.887 | 352.893 | 12.44 | 976.037 | 87.7283 | 17.7242
2019-10-07 21:00:00 | 7.244 | 156.814 | 7.5187 | 204.741 | 6.496 | 167.88 | 6.7517 | 343.022 | 11.96 | 976.037 | 89.8788 | 16.7931
2019-10-07 21:15:00 | 0 | 160.373 | 7.0073 | 205.351 | 6.7517 | 160.056 | 1.007 | 344.875 | 12.11 | 976.037 | 87.5235 | 16.6601
2019-10-07 21:30:00 | 0 | 162.834 | 7.7743 | 211.907 | 6.2403 | 166.271 | 5.729 | 350.943 | 11.99 | 976.334 | 88.6841 | 17.9754
2019-10-07 21:45:00 | 0 | 164.687 | 5.2177 | 213.174 | 5.2177 | 156.229 | 3.0523 | 349.749 | 11.96 | 976.483 | 88.8889 | 16.8042
2019-10-07 22:00:00 | 0 | 170.049 | 8.2857 | 213.783 | 6.7517 | 161.421 | 2.7967 | 352.089 | 12.4 | 976.631 | 85.6801 | 19.1726
2019-10-07 22:15:00 | 2.0207 | 174.07 | 7.0073 | 230.966 | 7.0073 | 168.099 | 1.2627 | 0.19498 | 12.75 | 976.632 | 85.9532 | 19.7933
2019-10-07 22:30:00 | 0 | 161.518 | 5.2177 | 208.446 | 4.195 | 184.697 | 3.5637 | 0.19498 | 12.85 | 976.632 | 84.7585 | 19.7674
2019-10-07 22:45:00 | 0 | 174.241 | 5.4733 | 233.745 | 4.962 | 201.733 | 5.729 | 2.876 | 13.01 | 976.632 | 84.3147 | 20.7835
2019-10-07 23:00:00 | 0 | 166.173 | 4.7063 | 224.044 | 3.9393 | 198.833 | 3.5637 | 356.622 | 13.01 | 976.929 | 84.9974 | 20.4362
2019-10-07 23:15:00 | 0 | 180.895 | 5.9847 | 231.186 | 5.2177 | 191.448 | 5.9847 | 356.842 | 13.08 | 976.929 | 83.9734 | 21.6924
2019-10-07 23:30:00 | 0 | 191.814 | 7.0073 | 232.575 | 6.2403 | 178.896 | 2.9167 | 11.4796 | 13.23 | 976.78 | 82.4031 | 22.3095
2019-10-07 23:45:00 | 0 | 186.452 | 6.496 | 234.866 | 6.496 | 200.393 | 0.63133 | 3.8022 | 13.2 | 976.929 | 81.6522 | 22.0804