## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-08 00:00:00 | 0 | 190.546 | 6.2403 | 226.994 | 4.7063 | 186.208 | 5.9847 | 10.8702 | 13.19 | 976.929 | 82.4031 | 21.4338
2019-10-08 00:15:00 | 0 | 188.913 | 5.729 | 226.847 | 4.962 | 175.849 | 7.263 | 7.8237 | 13.31 | 976.929 | 82.8128 | 21.5779
2019-10-08 00:30:00 | 0 | 174.216 | 5.729 | 214.32 | 5.729 | 164.467 | 1.5183 | 13.0151 | 13.38 | 976.929 | 83.0858 | 19.712
2019-10-08 00:45:00 | 0 | 180.846 | 6.2403 | 223.484 | 5.4733 | 169.732 | 5.9847 | 8.4086 | 13.22 | 976.929 | 81.857 | 18.9915
2019-10-08 01:00:00 | 0 | 192.789 | 4.7063 | 246.394 | 5.2177 | 179.92 | 0.887 | 6.995 | 13.33 | 976.929 | 81.7204 | 16.5197
2019-10-08 01:15:00 | 0 | 183.429 | 4.7063 | 232.063 | 4.4507 | 169.293 | 4.4507 | 15.0136 | 13.66 | 977.226 | 79.9454 | 15.9174
2019-10-08 01:30:00 | 0 | 185.818 | 5.729 | 237.62 | 4.962 | 175.313 | 2.661 | 14.0387 | 13.32 | 977.226 | 81.379 | 18.8511
2019-10-08 01:45:00 | 0 | 191.18 | 4.962 | 227.725 | 5.4733 | 165.589 | 0 | 10.4803 | 13.22 | 976.929 | 81.2767 | 16.6674
2019-10-08 02:00:00 | 0 | 190.741 | 4.195 | 241.666 | 5.2177 | 168.489 | 0 | 13.0151 | 13.48 | 976.929 | 81.5839 | 15.8878
2019-10-08 02:15:00 | 0 | 198.684 | 6.7517 | 235.618 | 4.7063 | 190.032 | 4.195 | 17.3532 | 14.1 | 977.226 | 76.9404 | 16.3312
2019-10-08 02:30:00 | 0 | 179.934 | 4.4507 | 229.222 | 3.9393 | 171.916 | 4.962 | 9.8704 | 13.81 | 977.077 | 82.0572 | 16.5972
2019-10-08 02:45:00 | 0 | 189.918 | 4.7063 | 233.013 | 4.195 | 172.347 | 0 | 6.0438 | 13.26 | 976.929 | 83.7261 | 14.5318
2019-10-08 03:00:00 | 0 | 187.056 | 5.2177 | 234.445 | 4.7063 | 166.462 | 5.9847 | 7.921 | 13.38 | 976.929 | 82.4694 | 12.7361
2019-10-08 03:15:00 | 0.372 | 188.889 | 4.7063 | 232.087 | 4.4507 | 163.736 | 5.729 | 6.7512 | 13.35 | 976.78 | 82.4713 | 13.73
2019-10-08 03:30:00 | 0 | 196.201 | 4.962 | 236.085 | 4.195 | 187.524 | 4.7063 | 15.2573 | 13.51 | 976.929 | 79.6382 | 13.246
2019-10-08 03:45:00 | 0 | 194.101 | 4.4507 | 241.247 | 3.6837 | 188.642 | 2.2853 | 22.4713 | 14.07 | 976.929 | 79.2612 | 12.7029
2019-10-08 04:00:00 | 0 | 184.798 | 4.962 | 232.132 | 4.195 | 190.891 | 2.9167 | 11.8926 | 14.07 | 977.077 | 79.4586 | 13.4899
2019-10-08 04:15:00 | 0 | 205.586 | 2.9167 | 242.514 | 2.1497 | 163.133 | 0 | 35.2391 | 13.39 | 977.226 | 80.2778 | 4.6518
2019-10-08 04:30:00 | 0 | 233.757 | 2.1497 | 231.645 | 0 | 170.2 | 0 | 46.8391 | 14.03 | 977.671 | 78.9806 | 3.8981
2019-10-08 04:45:00 | 0 | 210.777 | 3.1723 | 245.097 | 3.1723 | 179.315 | 0 | 55.515 | 14.11 | 977.671 | 79.1856 | 4.3377
2019-10-08 05:00:00 | 0 | 207.755 | 3.1723 | 240.906 | 2.4053 | 176.781 | 0 | 46.4981 | 14.01 | 977.819 | 79.1857 | 4.1456
2019-10-08 05:15:00 | 0 | 216.986 | 2.661 | 259.713 | 2.4053 | 168.588 | 0 | 41.3794 | 14.32 | 977.819 | 77.7503 | 3.8426
2019-10-08 05:30:00 | 0 | 238.3 | 3.428 | 276.468 | 2.661 | 200.602 | 0 | 66.38 | 14.58 | 977.819 | 75.4266 | 1.6073
2019-10-08 05:45:00 | 0 | 227.063 | 2.1497 | 260.868 | 1.3827 | 200.209 | 0 | 62.6507 | 14.85 | 977.968 | 75.4937 | 0.83134
2019-10-08 06:00:00 | 0 | 254.592 | 2.661 | 273.385 | 1.6383 | 201.325 | 0 | 90.038 | 14.72 | 978.413 | 77.744 | 0.073897
2019-10-08 06:15:00 | 0 | 298.606 | 2.4053 | 19.8538 | 2.4053 | 282.328 | 0 | 120.865 | 14.82 | 978.562 | 79.0425 | 0.11454
2019-10-08 06:30:00 | 0 | 301.141 | 2.4053 | 12.0073 | 2.1497 | 305.234 | 0 | 123.668 | 14.95 | 978.71 | 78.9744 | 0.22169
2019-10-08 06:45:00 | 0 | 299.977 | 2.661 | 32.1243 | 2.4053 | 306.556 | 0 | 147.917 | 14.87 | 979.007 | 79.5903 | 0.073897
2019-10-08 07:00:00 | 0 | 297.93 | 1.6383 | 10.8374 | 1.894 | 308.36 | 0 | 121.794 | 14.84 | 979.304 | 79.7952 | -0.11084
2019-10-08 07:15:00 | 0 | 312.212 | 1.6383 | 11.7646 | 1.3827 | 313.942 | 0 | 143.314 | 15.02 | 979.508 | 78.7593 | -0.24016
2019-10-08 07:30:00 | 0 | 335.815 | 1.894 | 21.7119 | 2.1497 | 344.562 | 0 | 144.481 | 15.12 | 979.6 | 79.1674 | -0.22169
2019-10-08 07:45:00 | 0 | 344.302 | 2.9167 | 6.3555 | 2.661 | 320.894 | 0 | 161.324 | 15.33 | 980.192 | 78.2598 | -0.16627
2019-10-08 08:00:00 | 0 | 15.5392 | 4.4507 | 67.2926 | 2.9167 | 28.7159 | 1.007 | 150.424 | 14.99 | 980.341 | 80.2322 | 0.42491
2019-10-08 08:15:00 | 0 | 4.3354 | 4.962 | 53.9939 | 4.962 | 353.237 | 0 | 184.668 | 13.98 | 980.489 | 83.1315 | 2.0765
2019-10-08 08:30:00 | 0 | 4.7982 | 6.2403 | 74.2826 | 3.6837 | 30.9079 | 0 | 194.411 | 13.75 | 980.638 | 83.7797 | 2.9965
2019-10-08 08:45:00 | 12.606 | 13.1036 | 7.5187 | 66.0259 | 3.428 | 15.9533 | 6.2403 | 194.752 | 13.87 | 980.786 | 82.5857 | 4.637
2019-10-08 09:00:00 | 0 | 11.3012 | 8.03 | 60.7162 | 6.2403 | 39.9197 | 0 | 196.992 | 14.06 | 981.083 | 82.8586 | 5.5681
2019-10-08 09:15:00 | 0 | 6.9902 | 6.7517 | 57.7692 | 6.7517 | 12.86 | 0.887 | 191.464 | 14.29 | 981.528 | 80.7778 | 5.6273
2019-10-08 09:30:00 | 0 | 0.097425 | 5.4733 | 56.2347 | 4.7063 | 339.354 | 5.9847 | 189.856 | 14.62 | 981.677 | 80.5731 | 5.9302
2019-10-08 09:45:00 | 1.3933 | 79.8151 | 5.729 | 33.3887 | 4.962 | 356.257 | 5.9847 | 184.498 | 15.14 | 981.699 | 77.8441 | 5.0767
2019-10-08 10:00:00 | 0 | 79.7839 | 4.195 | 51.2112 | 3.9393 | 16.8774 | 0 | 181.194 | 15.16 | 981.827 | 78.315 | 3.7724
2019-10-08 10:15:00 | 1.51 | 349.305 | 3.428 | 51.7897 | 3.428 | 8.3527 | 1.007 | 160.431 | 15.68 | 982.119 | 75.7845 | 2.8302
2019-10-08 10:30:00 | 0 | 0.1461 | 2.4053 | 73.8183 | 2.4053 | 13.0026 | 0 | 182.669 | 16.61 | 982.248 | 72.1275 | 1.4299
2019-10-08 10:45:00 | 0 | 17.4331 | 1.894 | 54.3826 | 2.4053 | 12.7583 | 0 | 177.033 | 17.53 | 982.417 | 69.3265 | 1.4632
2019-10-08 11:00:00 | 0 | 12.9993 | 1.894 | 47.1875 | 1.6383 | 275.931 | 0 | 213.539 | 18.08 | 982.857 | 67.4043 | 1.3228
2019-10-08 11:15:00 | 0 | 83.0709 | 3.428 | 1.3072 | 2.661 | 302.2 | 0 | 208.274 | 18.54 | 983.153 | 65.6554 | 2.3314
2019-10-08 11:30:00 | 0 | 24.3846 | 3.428 | 86.7859 | 2.4053 | 318.119 | 0 | 210.019 | 18.84 | 983.244 | 65.9864 | 1.6664
2019-10-08 11:45:00 | 0 | 7.0573 | 3.1723 | 63.9327 | 2.9167 | 332.519 | 1.894 | 193.223 | 18.84 | 982.911 | 63.8719 | 2.0691
2019-10-08 12:00:00 | 0 | 4.1613 | 2.4053 | 40.4491 | 3.6837 | 288.837 | 0 | 189.913 | 19.57 | 982.858 | 62.6449 | 2.4349
2019-10-08 12:15:00 | 0 | 18.3732 | 3.428 | 49.3072 | 3.1723 | 324.585 | 0 | 180.861 | 19.44 | 982.705 | 62.4744 | 1.7772
2019-10-08 12:30:00 | 0 | 35.2376 | 3.428 | 36.6528 | 4.195 | 290.613 | 0 | 189.84 | 19.33 | 982.556 | 63.0539 | 1.2045
2019-10-08 12:45:00 | 0 | 10.8779 | 1.127 | 318.773 | 3.428 | 304.606 | 0 | 188.818 | 19.77 | 982.708 | 62.0654 | 0.4323
2019-10-08 13:00:00 | 0 | 27.2313 | 5.2177 | 4.5301 | 4.4507 | 293.947 | 0 | 192.517 | 19.92 | 982.757 | 62.0995 | 1.8622
2019-10-08 13:15:00 | 0 | 354.697 | 4.7063 | 4.862 | 5.729 | 299.548 | 0 | 212.346 | 19.92 | 982.912 | 59.0717 | 1.5703
2019-10-08 13:30:00 | 0 | 328.093 | 3.9393 | 1.8186 | 3.1723 | 0.53546 | 0 | 210.632 | 19.54 | 982.411 | 60.78 | 1.8326
2019-10-08 13:45:00 | 0 | 356.866 | 2.1497 | 45.9114 | 1.894 | 55.056 | 0 | 137.007 | 20.21 | 982.676 | 58.224 | 0.94957
2019-10-08 14:00:00 | 0 | 353.413 | 3.9393 | 25.7069 | 2.1497 | 317.125 | 0 | 194.948 | 20.66 | 982.85 | 56.2776 | 0.72419
2019-10-08 14:15:00 | 0 | 24.7004 | 2.9167 | 29.9362 | 1.3827 | 24.8221 | 0 | 204.807 | 20.48 | 982.854 | 55.2148 | 1.3006
2019-10-08 14:30:00 | 0 | 334.344 | 3.9393 | 1.6024 | 1.894 | 296.454 | 0 | 178.208 | 20.32 | 982.512 | 54.6012 | 1.6664
2019-10-08 14:45:00 | 0 | 301.321 | 4.195 | 329.213 | 1.6383 | 303.121 | 0 | 111.237 | 20.03 | 982.073 | 52.1813 | 2.0506
2019-10-08 15:00:00 | 0 | 12.4354 | 3.9393 | 60.0148 | 1.894 | 355.589 | 0 | 190.035 | 20.18 | 982.559 | 52.7949 | 1.9915
2019-10-08 15:15:00 | 0 | 292.195 | 3.1723 | 331.184 | 2.9167 | 303.608 | 0 | 195.17 | 20.38 | 982.643 | 52.4199 | 2.4571
2019-10-08 15:30:00 | 0 | 27.6207 | 4.962 | 76.6601 | 1.6383 | 356.976 | 0 | 207.8 | 19.96 | 982.312 | 51.3633 | 3.1517
2019-10-08 15:45:00 | 0 | 31.1736 | 2.4053 | 114.161 | 0.75133 | 338.602 | 0 | 190.497 | 19.76 | 982.671 | 52.7948 | 3.4103
2019-10-08 16:00:00 | 0 | 84.3486 | 3.428 | 74.1073 | 1.3827 | 354.381 | 0 | 166.556 | 19.24 | 982.02 | 54.2959 | 2.9743
2019-10-08 16:15:00 | 0 | 354.115 | 3.6837 | 52.3369 | 2.661 | 13.6544 | 0 | 176.12 | 19.13 | 981.669 | 55.2922 | 3.8463
2019-10-08 16:30:00 | 0 | 350.304 | 4.962 | 35.2036 | 3.428 | 1.29 | 0 | 177.148 | 18.67 | 980.928 | 55.7029 | 4.6962
2019-10-08 16:45:00 | 0 | 353.153 | 4.7063 | 36.7694 | 4.4507 | 355.588 | 0 | 174.568 | 18.33 | 980.186 | 57.6201 | 4.892
2019-10-08 17:00:00 | 0 | 356.841 | 4.4507 | 39.3599 | 3.428 | 3.0191 | 0.37567 | 181.756 | 18.06 | 980.081 | 57.5958 | 4.2417
2019-10-08 17:15:00 | 0 | 10.3983 | 3.9393 | 49.8413 | 4.962 | 0.073056 | 3.1723 | 180.935 | 17.86 | 979.892 | 57.1622 | 4.9031
2019-10-08 17:30:00 | 0 | 355.887 | 4.7063 | 37.4797 | 4.4507 | 355.351 | 0 | 180.111 | 17.8 | 979.923 | 54.7835 | 4.9548
2019-10-08 17:45:00 | 0 | 4.1649 | 3.6837 | 34.6552 | 4.195 | 355.356 | 0 | 176.728 | 17.43 | 979.873 | 54.8525 | 5.5201
2019-10-08 18:00:00 | 3.414 | 4.4815 | 4.195 | 53.726 | 3.1723 | 2.6305 | 0 | 191.464 | 17.26 | 979.598 | 55.944 | 4.5668
2019-10-08 18:15:00 | 0.372 | 15.9298 | 4.4507 | 63.7655 | 3.6837 | 19.8514 | 0 | 198.855 | 17.28 | 979.302 | 57.9941 | 4.5631
2019-10-08 18:30:00 | 0 | 13.8594 | 4.4507 | 67.6868 | 3.6837 | 25.1369 | 0 | 197.831 | 17.11 | 979.747 | 56.8682 | 5.4721
2019-10-08 18:45:00 | 0 | 13.3007 | 4.4507 | 63.9698 | 3.428 | 15.7854 | 0 | 193.591 | 17.12 | 979.302 | 56.5676 | 5.679
2019-10-08 19:00:00 | 0 | 17.6375 | 4.7063 | 69.3811 | 3.428 | 23.1431 | 0 | 200.322 | 17.05 | 979.302 | 56.2286 | 4.6703
2019-10-08 19:15:00 | 0 | 21.5362 | 3.6837 | 69.1172 | 3.428 | 22.3158 | 0 | 205.886 | 17.16 | 979.45 | 55.9582 | 2.9448
2019-10-08 19:30:00 | 0 | 39.5413 | 3.1723 | 78.6218 | 2.4053 | 22.1948 | 0 | 224.798 | 17.16 | 979.45 | 55.6188 | 1.3264
2019-10-08 19:45:00 | 0 | 42.489 | 2.9167 | 79.1086 | 2.4053 | 24.1681 | 0 | 226.722 | 17.52 | 979.598 | 54.902 | 0.33623
2019-10-08 20:00:00 | 2.0207 | 42.2474 | 2.9167 | 79.5519 | 2.661 | 27.6777 | 0 | 227.488 | 17.71 | 979.895 | 52.8572 | 0.022169
2019-10-08 20:15:00 | 0 | 78.5718 | 2.1497 | 94.2154 | 2.1497 | 27.1895 | 0.887 | 266.486 | 18.06 | 979.895 | 50.9106 | -0.23647
2019-10-08 20:30:00 | 0 | 116.275 | 1.3827 | 95.3741 | 0.75133 | 27.2844 | 0 | 304.708 | 18.29 | 979.895 | 50.2917 | -0.25125
2019-10-08 20:45:00 | 0 | 132.86 | 1.127 | 95.8565 | 0.37567 | 27.2833 | 0 | 319.848 | 18.38 | 979.747 | 49.6754 | -0.24016
2019-10-08 21:00:00 | 0 | 155.375 | 1.3827 | 160.297 | 1.127 | 27.6986 | 0 | 334.259 | 18.28 | 979.598 | 51.2471 | -0.24016
2019-10-08 21:15:00 | 0 | 162.049 | 2.4053 | 207.969 | 1.6383 | 32.5461 | 0 | 348.385 | 18.02 | 979.747 | 52.7478 | -0.25864
2019-10-08 21:30:00 | 0 | 160.854 | 2.1497 | 207.285 | 1.6383 | 147.285 | 0 | 346.068 | 18.14 | 979.302 | 53.3615 | -0.24016
2019-10-08 21:45:00 | 0 | 162.997 | 3.1723 | 207.285 | 2.1497 | 147.285 | 0 | 343.437 | 18.07 | 979.45 | 54.078 | -0.25864
2019-10-08 22:00:00 | 0 | 153.904 | 3.1723 | 206.593 | 2.1497 | 147.278 | 0 | 336.017 | 18.12 | 979.302 | 53.8369 | -0.25864
2019-10-08 22:15:00 | 0 | 146.064 | 3.9393 | 201.385 | 2.4053 | 147.233 | 0 | 339.045 | 18.03 | 979.302 | 53.9063 | -0.14779
2019-10-08 22:30:00 | 0.372 | 151.932 | 3.6837 | 195.292 | 2.1497 | 148.083 | 0 | 342.304 | 17.8 | 979.005 | 54.7924 | 0.096066
2019-10-08 22:45:00 | 0 | 145.871 | 4.4507 | 194.129 | 2.4053 | 146.553 | 0 | 337.734 | 18.08 | 979.005 | 54.6235 | 0.44708
2019-10-08 23:00:00 | 0 | 145.968 | 4.962 | 194.299 | 2.9167 | 145.992 | 0 | 332.618 | 17.95 | 978.708 | 55.6129 | 2.5605
2019-10-08 23:15:00 | 0 | 148.301 | 5.2177 | 194.291 | 3.6837 | 142.26 | 0 | 337.282 | 17.96 | 978.708 | 56.2248 | 4.7405
2019-10-08 23:30:00 | 0 | 156.627 | 5.2177 | 197.329 | 3.428 | 138.017 | 2.2853 | 343.97 | 17.8 | 978.856 | 57.5194 | 5.4758
2019-10-08 23:45:00 | 0.372 | 155.998 | 5.729 | 194.534 | 3.1723 | 143.331 | 0 | 343.176 | 17.81 | 978.559 | 57.9987 | 6.5768