## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-09 00:00:00 | 0 | 154.091 | 5.9847 | 200.151 | 3.9393 | 149.658 | 0 | 344.987 | 17.51 | 978.411 | 60.2476 | 10.0574
2019-10-09 00:15:00 | 0 | 132.999 | 4.962 | 185.004 | 4.4507 | 133.73 | 4.195 | 321.098 | 17.35 | 978.411 | 62.2617 | 14.9013
2019-10-09 00:30:00 | 1.2547 | 129.64 | 5.2177 | 180.185 | 3.1723 | 134.074 | 0 | 318.936 | 16.9 | 978.114 | 62.7747 | 16.128
2019-10-09 00:45:00 | 2.276 | 136.72 | 4.195 | 210.002 | 2.661 | 134.746 | 2.9167 | 321.944 | 16.75 | 977.817 | 62.8158 | 17.702
2019-10-09 01:00:00 | 0 | 124.108 | 4.195 | 179.245 | 3.1723 | 143.988 | 1.007 | 316.141 | 16.7 | 977.669 | 63.8092 | 18.5444
2019-10-09 01:15:00 | 0 | 145.115 | 6.7517 | 191.24 | 5.4733 | 144.92 | 1.6383 | 334.158 | 16.89 | 977.669 | 63.4021 | 20.584
2019-10-09 01:30:00 | 0 | 147.307 | 4.962 | 195.65 | 4.4507 | 150.718 | 4.7063 | 338.909 | 17.09 | 977.669 | 64.0846 | 18.4373
2019-10-09 01:45:00 | 0 | 156.907 | 7.5187 | 200.206 | 6.496 | 147.064 | 1.2627 | 343.539 | 16.95 | 977.52 | 64.6306 | 18.7033
2019-10-09 02:00:00 | 0 | 150.085 | 7.5187 | 192.312 | 4.4507 | 154.714 | 3.308 | 339.933 | 16.95 | 977.52 | 65.5861 | 24.1273
2019-10-09 02:15:00 | 0 | 172.013 | 6.496 | 199.694 | 5.2177 | 184.317 | 0 | 323.682 | 16.73 | 977.52 | 67.7017 | 26.832
2019-10-09 02:30:00 | 0 | 133.541 | 7.0073 | 193.408 | 2.9167 | 150.329 | 0.63133 | 323.316 | 16.17 | 977.372 | 69.9198 | 30.0908
2019-10-09 02:45:00 | 2.0207 | 131.446 | 6.7517 | 208.051 | 6.7517 | 145.602 | 4.962 | 310.939 | 15.7 | 976.927 | 72.0696 | 34.6872
2019-10-09 03:00:00 | 3.414 | 150.255 | 7.5187 | 195.674 | 5.2177 | 148.258 | 4.4507 | 334.938 | 15.67 | 976.927 | 72.6838 | 31.4505
2019-10-09 03:15:00 | 0.99933 | 133.688 | 5.4733 | 208.636 | 3.9393 | 153.301 | 5.9847 | 328.36 | 15.63 | 976.927 | 73.6393 | 32.1119
2019-10-09 03:30:00 | 8.776 | 154.251 | 6.2403 | 190.314 | 7.0073 | 140.315 | 5.9847 | 329.139 | 15.78 | 976.63 | 70.9435 | 35.6294
2019-10-09 03:45:00 | 0.99933 | 140.68 | 7.0073 | 183.102 | 4.195 | 179.785 | 5.729 | 324.291 | 15.67 | 976.506 | 71.9331 | 37.281
2019-10-09 04:00:00 | 11.84 | 139.901 | 6.496 | 205.98 | 5.2177 | 151.328 | 5.9847 | 329.919 | 15.61 | 976.361 | 71.9331 | 36.0781
2019-10-09 04:15:00 | 0 | 148.038 | 4.962 | 222.134 | 5.4733 | 171.623 | 1.5183 | 318.662 | 15.7 | 976.592 | 71.5919 | 33.2499
2019-10-09 04:30:00 | 0.372 | 137.635 | 5.9847 | 188.218 | 6.2403 | 176.691 | 2.9167 | 343.173 | 15.39 | 976.445 | 72.3426 | 38.0569
2019-10-09 04:45:00 | 6.2227 | 147.283 | 7.263 | 188.609 | 7.5187 | 161.244 | 3.9393 | 331.406 | 15.55 | 976.169 | 72.138 | 37.765
2019-10-09 05:00:00 | 9.2867 | 154.763 | 6.7517 | 192.555 | 7.0073 | 145.846 | 2.9167 | 331.381 | 15.48 | 976.507 | 72.0696 | 38.5374
2019-10-09 05:15:00 | 4.4353 | 145.042 | 6.2403 | 209.172 | 4.962 | 170.697 | 1.6383 | 322.61 | 15.42 | 976.338 | 73.6393 | 36.5346
2019-10-09 05:30:00 | 0 | 145.066 | 5.729 | 186.952 | 5.729 | 150.353 | 0 | 318.102 | 15.39 | 976.188 | 72.5474 | 37.9424
2019-10-09 05:45:00 | 8.2653 | 141.314 | 5.9847 | 196.99 | 5.9847 | 140.705 | 5.729 | 325.485 | 15.27 | 976.189 | 74.8678 | 39.7418
2019-10-09 06:00:00 | 6.7333 | 140.9 | 5.9847 | 193.481 | 5.729 | 145.919 | 4.195 | 324.437 | 15.13 | 976.294 | 75.0725 | 35.7957
2019-10-09 06:15:00 | 6.7333 | 136.541 | 7.0073 | 188.88 | 6.2403 | 137.613 | 2.9167 | 322.517 | 15.09 | 976.156 | 74.3913 | 40.4068
2019-10-09 06:30:00 | 8.776 | 151.535 | 5.9847 | 190.234 | 5.4733 | 131.043 | 6.2403 | 330.994 | 14.99 | 976.299 | 75.6247 | 39.121
2019-10-09 06:45:00 | 0 | 142.763 | 8.2857 | 190.38 | 7.5187 | 151.145 | 1.894 | 329.8 | 15.07 | 976.141 | 75.2834 | 33.8743
2019-10-09 07:00:00 | 1.51 | 133.739 | 5.4733 | 197.042 | 5.4733 | 153.036 | 5.9847 | 322.347 | 15.22 | 976.322 | 75.688 | 32.4925
2019-10-09 07:15:00 | 0.99933 | 147.138 | 5.9847 | 189.413 | 6.2403 | 148.867 | 0 | 315.399 | 14.87 | 976.281 | 77.4616 | 40.5435
2019-10-09 07:30:00 | 0 | 149.623 | 4.7063 | 204.739 | 5.729 | 168.53 | 0 | 323.927 | 15.13 | 976.515 | 77.1886 | 33.5233
2019-10-09 07:45:00 | 9.7973 | 147.259 | 6.7517 | 191.873 | 5.9847 | 152.107 | 5.729 | 330.431 | 14.82 | 976.426 | 78.9627 | 33.7155
2019-10-09 08:00:00 | 6.9887 | 139.803 | 6.7517 | 200.279 | 5.729 | 163.096 | 4.962 | 324.9 | 14.74 | 976.651 | 81.0442 | 36.0913
2019-10-09 08:15:00 | 7.7547 | 143.409 | 7.263 | 198.72 | 7.0073 | 168.431 | 1.5183 | 328.579 | 14.73 | 976.631 | 81.0101 | 33.7229
2019-10-09 08:30:00 | 11.5847 | 149.768 | 8.03 | 199.329 | 7.263 | 155.664 | 4.7063 | 329.529 | 14.54 | 976.927 | 81.3855 | 35.5407
2019-10-09 08:45:00 | 8.776 | 147.034 | 8.797 | 196.738 | 8.03 | 149.592 | 6.2403 | 335.534 | 14.93 | 977.224 | 79.642 | 32.0528
2019-10-09 09:00:00 | 8.5207 | 146.27 | 9.564 | 194.23 | 8.5413 | 151.751 | 2.7967 | 330.954 | 14.85 | 976.927 | 81.1255 | 32.9248
2019-10-09 09:15:00 | 4.6907 | 152.239 | 7.0073 | 205.022 | 9.0527 | 167.122 | 5.4733 | 330.103 | 15.41 | 976.927 | 78.2603 | 27.8591
2019-10-09 09:30:00 | 0 | 139.756 | 8.797 | 187.831 | 9.3083 | 149.206 | 3.9393 | 324.594 | 15.47 | 977.075 | 75.4563 | 29.5181
2019-10-09 09:45:00 | 0.744 | 147.062 | 8.2857 | 192.556 | 8.03 | 153.224 | 5.2177 | 334.897 | 15.63 | 977.348 | 77.1278 | 22.8489
2019-10-09 10:00:00 | 0 | 141.144 | 8.797 | 184.811 | 8.2857 | 135.785 | 2.0297 | 324.375 | 15.88 | 977.301 | 76.5479 | 18.8585
2019-10-09 10:15:00 | 0 | 167.375 | 4.962 | 235.228 | 8.797 | 200.427 | 5.4733 | 339.671 | 15.99 | 977.509 | 74.774 | 19.7896
2019-10-09 10:30:00 | 0 | 168.471 | 5.729 | 211.627 | 7.263 | 155.66 | 3.6837 | 342.423 | 16.19 | 977.195 | 74.1259 | 15.7511
2019-10-09 10:45:00 | 0 | 154.856 | 6.496 | 199.278 | 7.0073 | 150.691 | 0 | 333.557 | 16.45 | 977.329 | 73.7507 | 14.1956
2019-10-09 11:00:00 | 0 | 190.075 | 4.962 | 233.036 | 8.03 | 195.994 | 0 | 338.429 | 16.59 | 976.875 | 69.4866 | 15.607
2019-10-09 11:15:00 | 13.1167 | 173.318 | 8.03 | 215.402 | 8.797 | 182.135 | 4.4507 | 353.676 | 16.51 | 976.607 | 73.546 | 17.8978
2019-10-09 11:30:00 | 0 | 172.782 | 6.7517 | 242.169 | 8.03 | 204.859 | 0 | 350.996 | 15.69 | 976.33 | 81.3236 | 10.6781
2019-10-09 11:45:00 | 0 | 165.476 | 5.729 | 216.961 | 5.729 | 166.304 | 0 | 348.585 | 15.65 | 976.63 | 81.8012 | 3.9276
2019-10-09 12:00:00 | 0 | 162.798 | 3.6837 | 206.49 | 3.9393 | 174.611 | 0 | 344.935 | 16.11 | 976.184 | 80.574 | 1.8474
2019-10-09 12:15:00 | 0 | 187.153 | 2.9167 | 237.348 | 2.9167 | 199.331 | 0 | 345.98 | 16.23 | 975.887 | 78.8677 | 0.24755
2019-10-09 12:30:00 | 0 | 135.422 | 3.6837 | 195.166 | 3.428 | 147.796 | 0 | 317.853 | 16.25 | 975.442 | 79.2782 | -0.48772
2019-10-09 12:45:00 | 0 | 194.606 | 1.894 | 218.252 | 1.3827 | 156.854 | 0 | 19.8259 | 16.48 | 975.739 | 76.8549 | -0.30667
2019-10-09 13:00:00 | 0 | 209.512 | 2.9167 | 271.105 | 2.661 | 235.792 | 0 | 30.7374 | 16.79 | 975.739 | 74.5011 | -0.28081
2019-10-09 13:15:00 | 0 | 219.01 | 2.9167 | 260.144 | 2.9167 | 198.844 | 0 | 43.8654 | 16.84 | 975.294 | 76.1385 | -0.2882
2019-10-09 13:30:00 | 0 | 259.344 | 3.6837 | 308.954 | 3.428 | 253.864 | 0 | 80.4727 | 16.75 | 975.145 | 76.4796 | 0.45816
2019-10-09 13:45:00 | 0 | 249.163 | 3.9393 | 295.656 | 3.9393 | 245.534 | 0 | 76.3809 | 15.99 | 974.849 | 82.5516 | 1.2378
2019-10-09 14:00:00 | 0.744 | 253.21 | 3.9393 | 303.893 | 4.4507 | 259.981 | 0 | 74.604 | 15.69 | 974.552 | 83.8492 | 1.0678
2019-10-09 14:15:00 | 0 | 246.104 | 2.661 | 296.008 | 2.1497 | 251.389 | 0 | 69.6611 | 15.48 | 974.403 | 84.5674 | -0.011085
2019-10-09 14:30:00 | 0 | 242.617 | 3.6837 | 294.598 | 3.6837 | 239.645 | 0 | 67.426 | 15.45 | 974.106 | 85.9051 | 0.18474
2019-10-09 14:45:00 | 0 | 209.94 | 1.3827 | 287.905 | 1.894 | 236.861 | 0 | 33.8652 | 15.28 | 973.661 | 88.5136 | -0.22169
2019-10-09 15:00:00 | 0 | 244.595 | 1.3827 | 294.764 | 1.127 | 252.951 | 0 | 66.5149 | 15.15 | 973.513 | 90.0187 | -0.2882
2019-10-09 15:15:00 | 1.2547 | 242.987 | 2.4053 | 294.447 | 2.1497 | 252.074 | 0 | 60.0827 | 14.94 | 973.364 | 92.2027 | -0.25864
2019-10-09 15:30:00 | 2.9033 | 239.6 | 1.894 | 299.54 | 1.3827 | 252.269 | 0 | 59.5954 | 14.68 | 972.948 | 92.3392 | -0.26972
2019-10-09 15:45:00 | 0 | 243.888 | 1.894 | 299.564 | 1.127 | 248.274 | 0 | 60.034 | 14.57 | 973.231 | 95.4103 | -0.28081
2019-10-09 16:00:00 | 0 | 223.921 | 0 | 299.483 | 0 | 236.104 | 0 | 59.2817 | 14.29 | 973.027 | 96.3366 | -0.32515
2019-10-09 16:15:00 | 0 | 236.828 | 3.9393 | 277.917 | 3.428 | 233.977 | 0 | 52.0978 | 14.16 | 972.919 | 97.709 | -0.16257
2019-10-09 16:30:00 | 0 | 193.34 | 2.9167 | 278.125 | 2.9167 | 248.559 | 0 | 2.9242 | 14.01 | 972.771 | 97.7473 | 0.11084
2019-10-09 16:45:00 | 0 | 194.437 | 3.9393 | 230.338 | 3.428 | 179.572 | 0.63133 | 35.2613 | 13.84 | 972.771 | 98.0204 | 0.56162
2019-10-09 17:00:00 | 0 | 237.274 | 1.6383 | 259.115 | 3.6837 | 167.508 | 0 | 38.4045 | 13.82 | 972.919 | 98.3948 | -0.16627
2019-10-09 17:15:00 | 0 | 197.237 | 0 | 266.181 | 0 | 276.385 | 0 | 18.6173 | 13.5 | 972.771 | 98.5651 | -0.29928
2019-10-09 17:30:00 | 0 | 111.142 | 0.75133 | 194.998 | 0 | 275.893 | 0 | 307.523 | 13.01 | 972.474 | 98.9049 | -0.26972
2019-10-09 17:45:00 | 0 | 131.319 | 0 | 172.702 | 0 | 275.016 | 0 | 318.684 | 13.04 | 972.474 | 98.9051 | -0.28081
2019-10-09 18:00:00 | 0 | 127.624 | 1.127 | 180.05 | 0 | 271.721 | 0 | 322.507 | 13.03 | 972.474 | 99.0484 | -0.19583
2019-10-09 18:15:00 | 0 | 138.906 | 1.3827 | 179.537 | 1.894 | 117.924 | 0 | 315.974 | 12.73 | 972.177 | 98.7063 | -0.26972
2019-10-09 18:30:00 | 0 | 130.461 | 1.894 | 171.098 | 2.4053 | 87.6891 | 0 | 312.688 | 12.67 | 972.177 | 98.5105 | -0.2845
2019-10-09 18:45:00 | 0 | 142.921 | 2.9167 | 183.731 | 2.4053 | 130.906 | 0 | 328.714 | 12.73 | 972.177 | 98.3099 | 0.66138
2019-10-09 19:00:00 | 0 | 135.318 | 5.2177 | 190.605 | 5.4733 | 143.848 | 0 | 301.662 | 12.85 | 972.177 | 95.7843 | 3.85
2019-10-09 19:15:00 | 8.01 | 145.895 | 7.0073 | 194.821 | 8.03 | 132.466 | 5.729 | 319.527 | 13.1 | 972.177 | 89.3668 | 8.8676
2019-10-09 19:30:00 | 3.1587 | 127.738 | 8.03 | 183.391 | 8.03 | 123.667 | 1.894 | 310.826 | 13.03 | 972.177 | 92.1659 | 14.724
2019-10-09 19:45:00 | 1.51 | 133.636 | 5.4733 | 180.88 | 5.9847 | 117.525 | 2.4053 | 319.966 | 12.83 | 972.177 | 93.2582 | 18.4485
2019-10-09 20:00:00 | 5.4567 | 120.938 | 7.7743 | 164.234 | 7.5187 | 121.742 | 3.1723 | 298.103 | 12.75 | 972.177 | 94.8285 | 27.3012
2019-10-09 20:15:00 | 5.5953 | 171.17 | 6.7517 | 196.601 | 5.9847 | 149.551 | 3.6837 | 347.287 | 12.64 | 971.88 | 96.9107 | 31.3064
2019-10-09 20:30:00 | 0 | 138.315 | 8.5413 | 200.89 | 7.0073 | 137.877 | 0 | 327.277 | 12.63 | 971.88 | 98.242 | 33.9852
2019-10-09 20:45:00 | 0.372 | 155.059 | 9.0527 | 205.472 | 6.7517 | 159.861 | 1.007 | 333.761 | 12.7 | 971.88 | 98.6516 | 32.0491
2019-10-09 21:00:00 | 5.2013 | 138.242 | 8.797 | 202.962 | 7.0073 | 154.572 | 2.7967 | 320.697 | 12.75 | 971.88 | 99.0271 | 27.8185
2019-10-09 21:15:00 | 0.744 | 146.773 | 9.0527 | 195.358 | 6.2403 | 140.095 | 0 | 327.131 | 12.67 | 972.028 | 99.0954 | 25.4427
2019-10-09 21:30:00 | 0.744 | 140.582 | 10.0753 | 192.847 | 10.331 | 142.8 | 0 | 323.305 | 12.52 | 972.177 | 99.0613 | 23.6359
2019-10-09 21:45:00 | 1.51 | 149.892 | 7.263 | 195.48 | 7.263 | 162.42 | 0.37567 | 314.847 | 12.47 | 971.88 | 97.8324 | 24.1606
2019-10-09 22:00:00 | 1.2547 | 130.833 | 8.2857 | 171.643 | 5.2177 | 131.54 | 0 | 309.071 | 12.35 | 971.88 | 97.5593 | 26.8652
2019-10-09 22:15:00 | 0 | 133.49 | 9.564 | 170.863 | 8.2857 | 145.578 | 0 | 306.073 | 12.43 | 971.583 | 96.1939 | 27.7814
2019-10-09 22:30:00 | 0 | 131.101 | 9.0527 | 184.049 | 7.7743 | 144.165 | 0 | 311.045 | 12.26 | 971.286 | 93.5313 | 37.2921
2019-10-09 22:45:00 | 0 | 127.445 | 9.3083 | 192.774 | 9.0527 | 142.897 | 0 | 305.074 | 12.26 | 970.989 | 94.6919 | 44.7631
2019-10-09 23:00:00 | 0 | 137.56 | 10.331 | 183.683 | 9.564 | 125.715 | 0 | 319.868 | 12.45 | 970.989 | 93.6679 | 44.4859
2019-10-09 23:15:00 | 0 | 128.469 | 10.5867 | 183.976 | 9.3083 | 144.604 | 1.774 | 317.845 | 12.47 | 970.989 | 93.6337 | 51.2586
2019-10-09 23:30:00 | 0.88267 | 121.23 | 10.5867 | 191.629 | 7.5187 | 152.963 | 1.127 | 317.041 | 12.4 | 970.989 | 94.4188 | 47.8926
2019-10-09 23:45:00 | 2.0207 | 126.178 | 9.8197 | 189.118 | 8.2857 | 132.953 | 0.887 | 320.185 | 12.54 | 970.692 | 95.5112 | 52.404