## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-10 00:00:00 | 0.372 | 117.087 | 9.564 | 167.719 | 8.03 | 115.405 | 0 | 313.166 | 12.65 | 970.692 | 96.467 | 50.9371
2019-10-10 00:15:00 | 0.372 | 129.907 | 11.865 | 179.223 | 11.865 | 131.491 | 0 | 307.828 | 12.72 | 970.692 | 95.9208 | 55.4707
2019-10-10 00:30:00 | 0 | 124.325 | 7.7743 | 171.107 | 7.7743 | 123.058 | 1.5183 | 315.578 | 12.77 | 970.395 | 96.6718 | 54.2994
2019-10-10 00:45:00 | 0.99933 | 139.9 | 7.0073 | 199.111 | 5.9847 | 134.733 | 0.37567 | 293.058 | 12.74 | 970.692 | 97.6276 | 46.0747
2019-10-10 01:00:00 | 0 | 106.387 | 7.0073 | 174.324 | 5.9847 | 140.46 | 1.5183 | 293.935 | 12.78 | 970.692 | 97.491 | 32.2523
2019-10-10 01:15:00 | 0 | 121.764 | 5.4733 | 164.694 | 5.2177 | 132.244 | 0 | 301.096 | 12.9 | 970.692 | 97.3528 | 29.5255
2019-10-10 01:30:00 | 0 | 119.573 | 7.0073 | 159.749 | 6.496 | 133.782 | 0.37567 | 309.388 | 12.93 | 970.692 | 97.9007 | 31.0589
2019-10-10 01:45:00 | 0 | 121.082 | 7.0073 | 179.391 | 5.4733 | 142.189 | 1.2627 | 308.725 | 12.98 | 970.692 | 97.8309 | 22.8933
2019-10-10 02:00:00 | 0 | 109.531 | 6.2403 | 172.837 | 4.195 | 126.446 | 1.2627 | 292.546 | 12.98 | 970.544 | 97.5591 | 17.4101
2019-10-10 02:15:00 | 0 | 133.461 | 3.1723 | 183.068 | 4.7063 | 152.935 | 0 | 285.957 | 12.78 | 970.544 | 98.0344 | 18.7772
2019-10-10 02:30:00 | 0 | 131.344 | 3.428 | 183.901 | 3.9393 | 128.955 | 0 | 304.487 | 12.7 | 970.098 | 98.5486 | 23.6544
2019-10-10 02:45:00 | 0 | 108.97 | 4.962 | 160.064 | 3.1723 | 104.802 | 0 | 283.501 | 12.64 | 969.801 | 98.7532 | 32.2434
2019-10-10 03:00:00 | 0 | 98.1003 | 4.962 | 168.572 | 4.7063 | 103.706 | 0 | 285.21 | 12.5 | 969.504 | 98.993 | 33.9002
2019-10-10 03:15:00 | 1.6267 | 118.647 | 7.7743 | 166.159 | 7.0073 | 119.11 | 0.37567 | 300.565 | 12.49 | 969.207 | 98.9247 | 36.3868
2019-10-10 03:30:00 | 0 | 102.024 | 7.0073 | 159.481 | 5.9847 | 93.2258 | 0.37567 | 298.834 | 12.55 | 969.207 | 99.0613 | 29.2336
2019-10-10 03:45:00 | 0 | 112.895 | 6.496 | 174.3 | 5.4733 | 144.75 | 1.894 | 301.077 | 12.86 | 969.207 | 99.0613 | 28.8346
2019-10-10 04:00:00 | 0 | 92.5434 | 5.4733 | 168.791 | 5.4733 | 124.423 | 0 | 296.421 | 12.9 | 969.504 | 98.8223 | 24.253
2019-10-10 04:15:00 | 0 | 104.876 | 4.4507 | 184.17 | 5.2177 | 138.754 | 0.887 | 300.174 | 12.79 | 969.207 | 98.9927 | 25.6718
2019-10-10 04:30:00 | 0 | 131.223 | 5.729 | 187.534 | 5.729 | 139.29 | 0 | 317.431 | 12.92 | 969.207 | 99.1978 | 22.3132
2019-10-10 04:45:00 | 0 | 117.327 | 5.4733 | 167.591 | 5.9847 | 144.867 | 0 | 304.576 | 13.07 | 969.207 | 99.1262 | 19.7342
2019-10-10 05:00:00 | 0 | 124.07 | 4.962 | 182.763 | 5.2177 | 146.394 | 0 | 315.988 | 13.06 | 969.207 | 99.257 | 18.5518
2019-10-10 05:15:00 | 0 | 131.162 | 5.9847 | 183.494 | 4.4507 | 134.331 | 0 | 309.994 | 13.23 | 969.356 | 99.1889 | 18.9952
2019-10-10 05:30:00 | 0 | 140.613 | 3.428 | 200.253 | 3.1723 | 143.781 | 0 | 316.318 | 13.05 | 969.504 | 99.3898 | 19.7194
2019-10-10 05:45:00 | 0 | 136.026 | 3.428 | 193.324 | 4.195 | 147.967 | 0 | 327.199 | 13.16 | 969.504 | 99.5229 | 19.7268
2019-10-10 06:00:00 | 0 | 127.5 | 4.7063 | 199.69 | 4.4507 | 131.692 | 0 | 305.933 | 13.23 | 969.504 | 99.5935 | 13.0354
2019-10-10 06:15:00 | 0 | 132.322 | 3.428 | 178.995 | 2.661 | 125.596 | 0 | 317.158 | 13.17 | 969.653 | 99.659 | 7.5523
2019-10-10 06:30:00 | 0 | 113.412 | 3.428 | 166.152 | 3.6837 | 110.804 | 0 | 299.978 | 13.27 | 969.504 | 99.6588 | 5.1617
2019-10-10 06:45:00 | 0 | 137.387 | 3.428 | 180.817 | 2.661 | 125.642 | 0 | 321.999 | 13.25 | 970.098 | 99.5882 | 1.8031
2019-10-10 07:00:00 | 0 | 130.565 | 4.7063 | 185.132 | 3.9393 | 136.609 | 0 | 318.762 | 13.28 | 969.95 | 99.5892 | 2.2428
2019-10-10 07:15:00 | 0 | 140.826 | 2.4053 | 211.404 | 3.428 | 164.342 | 0 | 318.765 | 13.33 | 970.098 | 99.522 | 2.1356
2019-10-10 07:30:00 | 0 | 139.165 | 2.9167 | 194.389 | 2.4053 | 146.5 | 0 | 317.612 | 13.28 | 970.098 | 99.5879 | 3.0409
2019-10-10 07:45:00 | 0 | 134.611 | 2.661 | 181.332 | 2.4053 | 137.974 | 0 | 316.155 | 13.3 | 970.098 | 99.6578 | 3.5212
2019-10-10 08:00:00 | 0 | 129.586 | 2.1497 | 178.035 | 2.9167 | 145.328 | 0 | 316.558 | 13.34 | 970.247 | 99.7226 | 3.0482
2019-10-10 08:15:00 | 0 | 128.32 | 2.1497 | 186.491 | 2.1497 | 135.752 | 0 | 303.084 | 13.38 | 970.692 | 99.791 | 2.8857
2019-10-10 08:30:00 | 0 | 127.764 | 4.195 | 173.315 | 3.1723 | 128.568 | 0 | 324.588 | 13.45 | 970.692 | 99.8629 | 2.7601
2019-10-10 08:45:00 | 0 | 137.191 | 3.6837 | 188.296 | 3.9393 | 135.729 | 0 | 323.751 | 13.39 | 970.989 | 99.8604 | 2.4903
2019-10-10 09:00:00 | 0 | 135.535 | 3.1723 | 185.716 | 2.1497 | 143.528 | 0 | 312.935 | 13.38 | 970.989 | 99.9298 | 1.1713
2019-10-10 09:15:00 | 0 | 73.7872 | 1.3827 | 142.975 | 0 | 97.0832 | 0 | 283.671 | 13.54 | 970.84 | 99.9305 | -0.0036949
2019-10-10 09:30:00 | 0 | 135.245 | 0 | 146.486 | 1.127 | 71.5461 | 0 | 283.82 | 13.77 | 971.286 | 99.9315 | -0.18105
2019-10-10 09:45:00 | 0 | 136.216 | 0 | 162.077 | 1.6383 | 149.131 | 0 | 284.056 | 14 | 971.434 | 99.9287 | -0.2143
2019-10-10 10:00:00 | 0 | 140.729 | 2.4053 | 195.065 | 2.1497 | 140.388 | 0 | 329.164 | 13.95 | 971.641 | 99.9489 | -0.25494
2019-10-10 10:15:00 | 0 | 146.771 | 0.75133 | 193.822 | 1.127 | 137.952 | 0 | 330.333 | 13.77 | 971.359 | 99.9488 | -0.23647
2019-10-10 10:30:00 | 0 | 148.721 | 0.75133 | 196.454 | 1.127 | 153.496 | 0 | 330.236 | 14.03 | 971.646 | 99.983 | -0.28081
2019-10-10 10:45:00 | 0 | 158.856 | 0 | 193.262 | 1.127 | 166.604 | 0 | 339.202 | 14.05 | 971.616 | 99.9488 | -0.26972
2019-10-10 11:00:00 | 0 | 166.434 | 0 | 194.31 | 0 | 167.335 | 0 | 339.202 | 14.15 | 971.286 | 99.9147 | -0.26972
2019-10-10 11:15:00 | 0 | 166.58 | 0 | 194.261 | 0 | 167.213 | 0 | 1.1939 | 14.1 | 970.99 | 99.9488 | -0.25864
2019-10-10 11:30:00 | 0 | 221.765 | 0.75133 | 193.311 | 0 | 164.314 | 0 | 1.9492 | 14.26 | 970.871 | 99.9147 | -0.26972
2019-10-10 11:45:00 | 0 | 228.173 | 0.37567 | 281.461 | 0 | 184.341 | 0 | 52.6272 | 14.04 | 970.33 | 99.9147 | -0.26972
2019-10-10 12:00:00 | 0 | 183.927 | 0 | 280.146 | 0.75133 | 173.645 | 0 | 51.945 | 13.99 | 970.557 | 99.983 | -0.26972
2019-10-10 12:15:00 | 0 | 199.155 | 0.75133 | 257.706 | 0.75133 | 177.3 | 0 | 51.3359 | 14.05 | 970.652 | 99.983 | -0.26972
2019-10-10 12:30:00 | 0 | 239.126 | 0.75133 | 306.648 | 1.127 | 212.64 | 0 | 66.4943 | 14.05 | 970.226 | 99.9544 | -0.25864
2019-10-10 12:45:00 | 0 | 311.244 | 0 | 311.418 | 0 | 212.832 | 0 | 113.738 | 13.97 | 970.082 | 99.9187 | -0.25864
2019-10-10 13:00:00 | 0 | 322.05 | 0.75133 | 11.4237 | 0.75133 | 229.391 | 0 | 116.097 | 14.37 | 970.67 | 99.9489 | -0.25864
2019-10-10 13:15:00 | 0 | 312.791 | 2.1497 | 8.6949 | 1.894 | 259.847 | 0 | 127.767 | 14.31 | 970.396 | 99.983 | -0.2882
2019-10-10 13:30:00 | 0 | 311.573 | 2.4053 | 0.70336 | 1.6383 | 292.52 | 0 | 132.543 | 14.19 | 970.247 | 99.983 | -0.26972
2019-10-10 13:45:00 | 0 | 301.876 | 2.1497 | 13.2754 | 2.1497 | 297.417 | 0 | 132.007 | 14.17 | 970.472 | 99.9488 | -0.25864
2019-10-10 14:00:00 | 0 | 300.121 | 1.894 | 1.7267 | 1.3827 | 313.863 | 0 | 121.53 | 14.18 | 970.521 | 99.9488 | -0.26972
2019-10-10 14:15:00 | 0 | 299.245 | 2.1497 | 15.8093 | 0 | 311.573 | 0 | 123.187 | 14.15 | 970.522 | 99.949 | -0.28081
2019-10-10 14:30:00 | 0 | 308.068 | 1.3827 | 3.6269 | 1.894 | 309.773 | 0 | 127.623 | 14.05 | 970.215 | 99.9159 | -0.29928
2019-10-10 14:45:00 | 0 | 305.381 | 0 | 5.3408 | 0 | 313.617 | 0 | 141.421 | 14.07 | 970.225 | 99.9899 | -0.29928
2019-10-10 15:00:00 | 0 | 322.38 | 0 | 48.6428 | 0 | 324.743 | 0 | 159.557 | 14.26 | 970.098 | 99.9265 | -0.26972
2019-10-10 15:15:00 | 0 | 356.867 | 0 | 40.1358 | 2.661 | 342.442 | 0 | 164.594 | 14.26 | 970.098 | 99.956 | -0.26972
2019-10-10 15:30:00 | 0 | 30.9944 | 2.9167 | 75.7855 | 1.6383 | 342.547 | 0 | 194.934 | 14.25 | 970.098 | 99.9239 | -0.062812
2019-10-10 15:45:00 | 0 | 12.9393 | 4.4507 | 52.0554 | 3.428 | 11.0142 | 0 | 183.416 | 14.12 | 970.247 | 99.9282 | 0.27342
2019-10-10 16:00:00 | 0 | 352.414 | 3.428 | 59.7086 | 3.1723 | 6.1895 | 0 | 179.643 | 14.06 | 970.247 | 99.9304 | 0.56162
2019-10-10 16:15:00 | 0 | 11.5995 | 3.428 | 79.4482 | 2.9167 | 27.9752 | 0 | 190.782 | 14.02 | 970.692 | 99.9317 | 1.053
2019-10-10 16:30:00 | 0 | 25.343 | 3.6837 | 78.5454 | 0 | 14.9621 | 0 | 176.037 | 14.05 | 970.544 | 99.9305 | 0.33993
2019-10-10 16:45:00 | 0 | 10.3323 | 4.962 | 68.5067 | 3.6837 | 1.7302 | 0 | 193.048 | 14.07 | 970.692 | 99.9999 | 0.13301
2019-10-10 17:00:00 | 0 | 8.3828 | 4.4507 | 63.9742 | 4.195 | 9.455 | 0 | 195.582 | 14.11 | 970.692 | 99.9659 | 0.11084
2019-10-10 17:15:00 | 0 | 0.097474 | 3.1723 | 47.842 | 3.6837 | 3.0461 | 0 | 183.349 | 14.13 | 970.692 | 99.9315 | 0.27711
2019-10-10 17:30:00 | 0 | 354.295 | 2.661 | 52.3747 | 3.6837 | 23.2476 | 0 | 180.742 | 14.19 | 970.84 | 99.9317 | 0.30667
2019-10-10 17:45:00 | 0 | 5.1173 | 3.6837 | 49.0598 | 2.4053 | 15.8881 | 0 | 182.835 | 14.14 | 970.692 | 99.9646 | 0.70202
2019-10-10 18:00:00 | 0 | 3.4116 | 3.428 | 53.3483 | 4.4507 | 15.9855 | 0 | 190.852 | 14.08 | 970.544 | 99.9301 | 0.5727
2019-10-10 18:15:00 | 0 | 1.4134 | 3.428 | 55.3477 | 3.6837 | 0.048737 | 2.0297 | 189.441 | 14.13 | 970.692 | 99.9317 | 1.053
2019-10-10 18:30:00 | 0 | 9.5769 | 3.6837 | 60.6113 | 3.6837 | 17.9353 | 0 | 192.366 | 14.12 | 970.692 | 99.9317 | 0.76483
2019-10-10 18:45:00 | 0 | 353.491 | 3.428 | 57.9795 | 3.9393 | 16.3757 | 4.7063 | 177.355 | 14.1 | 971.286 | 99.9317 | 1.4188
2019-10-10 19:00:00 | 0 | 10.4298 | 4.195 | 62.6583 | 2.1497 | 11.5507 | 0 | 195.192 | 14.05 | 971.286 | 99.9659 | 1.0678
2019-10-10 19:15:00 | 0 | 0.097474 | 2.4053 | 53.7392 | 3.1723 | 7.0912 | 0 | 185.932 | 14.08 | 971.434 | 99.9314 | 1.4188
2019-10-10 19:30:00 | 0 | 5.0199 | 4.4507 | 62.3658 | 3.6837 | 15.5472 | 0 | 191.269 | 14.14 | 971.583 | 99.9317 | 0.88676
2019-10-10 19:45:00 | 0 | 9.5038 | 4.4507 | 68.1412 | 2.9167 | 21.2982 | 0 | 198.263 | 14.2 | 971.731 | 100 | 0.63921
2019-10-10 20:00:00 | 0 | 23.1989 | 3.9393 | 74.5502 | 3.428 | 25.0022 | 0 | 210.398 | 14.19 | 971.731 | 99.9317 | 0.92741
2019-10-10 20:15:00 | 0 | 15.8883 | 4.4507 | 61.7079 | 3.428 | 6.2627 | 0 | 190.465 | 14.19 | 971.88 | 99.9659 | 0.54684
2019-10-10 20:30:00 | 0 | 4.6788 | 4.7063 | 60.4895 | 3.1723 | 15.4984 | 4.7063 | 183.203 | 14.08 | 971.88 | 99.9317 | 1.1454
2019-10-10 20:45:00 | 0 | 7.676 | 4.962 | 62.2185 | 1.894 | 19.6408 | 0 | 196.116 | 14.09 | 971.88 | 99.9986 | 1.5186
2019-10-10 21:00:00 | 0 | 10.7222 | 3.6837 | 58.2719 | 2.9167 | 21.9074 | 0 | 198.507 | 14.14 | 971.88 | 99.9317 | 1.1824
2019-10-10 21:15:00 | 0 | 3.2166 | 3.1723 | 56.5657 | 3.9393 | 6.7744 | 0 | 188.612 | 14.13 | 972.474 | 99.9312 | 0.32515
2019-10-10 21:30:00 | 0 | 9.2843 | 4.4507 | 57.7348 | 4.195 | 69.8151 | 0 | 199.235 | 14.11 | 972.474 | 99.9304 | 0.56162
2019-10-10 21:45:00 | 0 | 3.4116 | 3.1723 | 65.3388 | 3.428 | 0.29242 | 0 | 193.682 | 14.13 | 972.325 | 99.9317 | 0.39165
2019-10-10 22:00:00 | 0 | 13.159 | 4.195 | 61.8541 | 4.195 | 27.0004 | 0 | 173.919 | 14.19 | 972.474 | 99.9317 | 0.95327
2019-10-10 22:15:00 | 0 | 351.346 | 2.661 | 58.7104 | 3.6837 | 11.0877 | 0 | 178.012 | 14.21 | 972.622 | 99.9315 | 1.1824
2019-10-10 22:30:00 | 0 | 351.054 | 2.4053 | 55.4939 | 4.4507 | 28.2919 | 2.2853 | 166.925 | 14.22 | 972.919 | 99.9317 | 1.0641
2019-10-10 22:45:00 | 0 | 6.7257 | 5.4733 | 63.6818 | 4.4507 | 11.4532 | 0 | 191.878 | 14.16 | 972.474 | 99.9317 | 1.962
2019-10-10 23:00:00 | 0 | 3.8015 | 4.195 | 70.8705 | 4.962 | 25.8551 | 0 | 179.865 | 14.06 | 972.474 | 99.9659 | 4.0939
2019-10-10 23:15:00 | 0 | 0.8529 | 3.9393 | 52.1554 | 4.7063 | 3.1435 | 0 | 174.235 | 14.05 | 972.177 | 99.9659 | 5.4351
2019-10-10 23:30:00 | 0 | 18.1302 | 6.2403 | 68.5068 | 4.962 | 14.8161 | 0 | 200.066 | 14.06 | 972.177 | 99.9659 | 5.775
2019-10-10 23:45:00 | 0 | 10.3322 | 4.7063 | 59.9772 | 4.195 | 1.852 | 0 | 196.458 | 14.05 | 972.325 | 99.931 | 3.063