## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-11 00:00:00 | 0 | 2.6805 | 3.9393 | 62.7543 | 5.2177 | 2.8023 | 0 | 186.733 | 14 | 972.474 | 99.93 | 4.3304
2019-10-11 00:15:00 | 0 | 353.759 | 4.7063 | 53.5932 | 4.195 | 25.1971 | 0 | 176.77 | 13.95 | 972.474 | 99.9317 | 4.8033
2019-10-11 00:30:00 | 0 | 11.2827 | 5.729 | 63.5356 | 3.6837 | 5.2393 | 0 | 195.972 | 13.93 | 972.325 | 99.9317 | 4.6851
2019-10-11 00:45:00 | 0 | 0.097474 | 4.4507 | 56.9073 | 6.2403 | 1.7058 | 0 | 181.765 | 13.86 | 972.325 | 99.9317 | 6.4438
2019-10-11 01:00:00 | 0 | 356.902 | 4.7063 | 39.8735 | 3.9393 | 3.3141 | 0 | 189.124 | 13.86 | 972.474 | 99.9315 | 4.8513
2019-10-11 01:15:00 | 0 | 348.812 | 4.4507 | 48.4758 | 3.9393 | 7.3593 | 3.428 | 175.186 | 13.81 | 972.771 | 99.9659 | 3.8242
2019-10-11 01:30:00 | 0 | 13.7195 | 6.2403 | 68.9453 | 3.6837 | 10.1617 | 0 | 194.997 | 13.74 | 972.474 | 99.9317 | 4.5484
2019-10-11 01:45:00 | 0 | 353.905 | 3.6837 | 46.8187 | 4.962 | 9.455 | 0.63133 | 172.189 | 13.72 | 972.771 | 99.9317 | 5.2134
2019-10-11 02:00:00 | 0 | 1.5596 | 4.962 | 64.8268 | 4.7063 | 55.7064 | 0.37567 | 184.396 | 13.71 | 972.474 | 99.9314 | 8.9489
2019-10-11 02:15:00 | 0 | 7.9927 | 7.7743 | 67.579 | 5.2177 | 14.6696 | 0.887 | 190.193 | 13.64 | 972.474 | 99.9639 | 10.1387
2019-10-11 02:30:00 | 2.1373 | 2.8754 | 6.496 | 53.6145 | 5.9847 | 354.743 | 4.195 | 185.754 | 13.58 | 972.474 | 99.9959 | 21.4153
2019-10-11 02:45:00 | 1.138 | 354.684 | 8.03 | 44.7228 | 7.5187 | 10.7465 | 0 | 177.305 | 13.52 | 972.474 | 99.9998 | 30.0908
2019-10-11 03:00:00 | 0 | 5.6047 | 7.7743 | 65.7761 | 5.729 | 29.7292 | 0.75133 | 188.878 | 13.34 | 972.474 | 99.9301 | 25.0584
2019-10-11 03:15:00 | 5.2013 | 1.4621 | 9.8197 | 64.435 | 6.496 | 178.471 | 3.1723 | 177.569 | 13.29 | 972.177 | 99.9633 | 31.0293
2019-10-11 03:30:00 | 3.1587 | 3.9233 | 8.2857 | 57.102 | 7.7743 | 355.317 | 1.2627 | 183.86 | 13.24 | 971.88 | 99.9314 | 34.6133
2019-10-11 03:45:00 | 6.2227 | 0.097474 | 7.0073 | 55.3964 | 7.7743 | 12.4524 | 2.661 | 182.301 | 13.24 | 972.177 | 99.9317 | 34.7796
2019-10-11 04:00:00 | 2.648 | 5.2392 | 10.5867 | 70.2363 | 6.7517 | 23.4181 | 2.541 | 189.44 | 13.19 | 971.88 | 99.931 | 36.1762
2019-10-11 04:15:00 | 1.51 | 353.395 | 7.0073 | 57.1026 | 6.7517 | 12.9642 | 0.37567 | 190.149 | 13.17 | 972.177 | 99.9322 | 30.7225
2019-10-11 04:30:00 | 0.99933 | 356.742 | 9.564 | 59.5413 | 8.03 | 6.1167 | 3.9393 | 182.087 | 13.17 | 971.88 | 99.9345 | 27.7668
2019-10-11 04:45:00 | 9.7973 | 4.1914 | 8.5413 | 61.2694 | 5.4733 | 3.4116 | 0.37567 | 190.733 | 13.18 | 972.177 | 99.9319 | 22.6605
2019-10-11 05:00:00 | 0 | 14.9137 | 7.7743 | 68.2639 | 5.729 | 36.5776 | 0 | 200.068 | 13.24 | 972.474 | 99.9326 | 13.464
2019-10-11 05:15:00 | 0 | 8.2853 | 5.729 | 54.7383 | 7.0073 | 9.8936 | 0 | 194.802 | 13.25 | 972.771 | 99.9314 | 15.5331
2019-10-11 05:30:00 | 5.2013 | 10.8927 | 8.797 | 69.8462 | 8.03 | 20.7375 | 4.5863 | 192.266 | 13.26 | 972.474 | 99.9308 | 16.782
2019-10-11 05:45:00 | 14.904 | 21.0304 | 8.5413 | 72.8945 | 4.7063 | 11.9408 | 3.1723 | 200.41 | 13.26 | 972.474 | 99.9332 | 10.1756
2019-10-11 06:00:00 | 0.99933 | 13.1102 | 6.7517 | 68.165 | 2.4053 | 39.1113 | 1.007 | 197.628 | 13.32 | 973.068 | 99.931 | 4.4227
2019-10-11 06:15:00 | 0 | 3.704 | 4.195 | 67.0434 | 2.4053 | 0.14621 | 2.541 | 188.61 | 13.35 | 973.365 | 99.9303 | 2.2058
2019-10-11 06:30:00 | 0 | 0.097472 | 2.1497 | 56.0768 | 2.9167 | 348.218 | 0 | 196.065 | 13.38 | 973.662 | 99.9291 | 0.63921
2019-10-11 06:45:00 | 0 | 0.14621 | 4.195 | 54.3224 | 3.428 | 14.8157 | 4.962 | 197.308 | 13.38 | 973.513 | 99.9976 | 1.2526
2019-10-11 07:00:00 | 0 | 0.77977 | 3.6837 | 62.558 | 2.661 | 0.048736 | 0 | 192.871 | 13.42 | 973.662 | 99.9283 | 0.63182
2019-10-11 07:15:00 | 0 | 352.79 | 4.7063 | 33.2669 | 4.962 | 352.814 | 0 | 178.661 | 13.45 | 973.959 | 99.9606 | 1.5223
2019-10-11 07:30:00 | 0 | 348.418 | 4.195 | 20.7437 | 3.6837 | 0.43863 | 0.63133 | 178.424 | 13.52 | 974.404 | 99.9304 | 2.8376
2019-10-11 07:45:00 | 0 | 337.381 | 3.1723 | 82.6643 | 2.9167 | 354.659 | 0 | 162.294 | 13.58 | 974.85 | 99.9312 | 5.0176
2019-10-11 08:00:00 | 0.372 | 352.219 | 3.6837 | 58.2221 | 3.1723 | 8.407 | 0.37567 | 173.697 | 13.64 | 974.85 | 99.9304 | 4.5262
2019-10-11 08:15:00 | 0 | 351.634 | 4.4507 | 44.454 | 4.4507 | 7.481 | 0 | 174.574 | 13.59 | 974.85 | 99.9303 | 7.0165
2019-10-11 08:30:00 | 1.51 | 337.283 | 4.962 | 50.3759 | 3.9393 | 20.372 | 0.37567 | 169.458 | 13.71 | 975.146 | 99.9649 | 10.2828
2019-10-11 08:45:00 | 0 | 0.82853 | 4.195 | 48.5732 | 4.4507 | 20.8839 | 0 | 175.405 | 13.79 | 975.295 | 99.9659 | 7.9735
2019-10-11 09:00:00 | 0 | 354.685 | 5.729 | 43.0416 | 4.195 | 356.781 | 1.774 | 179.938 | 13.9 | 975.443 | 99.9659 | 7.1569
2019-10-11 09:15:00 | 0 | 342.671 | 3.428 | 52.5941 | 4.962 | 29.8515 | 0 | 167.632 | 13.97 | 975.74 | 99.9659 | 6.514
2019-10-11 09:30:00 | 0 | 356.899 | 1.894 | 32.3676 | 2.4053 | 11.2094 | 0 | 146.283 | 14.07 | 975.889 | 99.9649 | 9.9983
2019-10-11 09:45:00 | 0 | 355.875 | 2.1497 | 64.1624 | 2.9167 | 348.784 | 4.4507 | 175.513 | 14.13 | 975.74 | 99.9579 | 9.1595
2019-10-11 10:00:00 | 0 | 0.12182 | 3.6837 | 68.0059 | 4.195 | 14.7651 | 0.37567 | 178.01 | 14.1 | 975.729 | 99.9847 | 12.7214
2019-10-11 10:15:00 | 0 | 37.2785 | 4.195 | 85.9879 | 3.1723 | 20.0524 | 1.774 | 158.056 | 14.06 | 975.664 | 99.9513 | 14.6242
2019-10-11 10:30:00 | 0 | 340.723 | 3.1723 | 59.2843 | 4.4507 | 33.4534 | 0.63133 | 171.385 | 14.13 | 975.726 | 99.9178 | 16.2351
2019-10-11 10:45:00 | 0 | 355.869 | 4.7063 | 67.274 | 5.9847 | 36.5712 | 2.2853 | 173.476 | 14.12 | 975.379 | 99.9835 | 17.0185
2019-10-11 11:00:00 | 0 | 346.516 | 4.195 | 74.3648 | 4.7063 | 34.9635 | 0 | 171.577 | 14.26 | 975.434 | 99.9503 | 15.4075
2019-10-11 11:15:00 | 0 | 0.097458 | 4.7063 | 54.7989 | 4.962 | 7.8697 | 0 | 196.645 | 14.49 | 975.265 | 99.9489 | 16.5086
2019-10-11 11:30:00 | 0 | 11.1102 | 4.195 | 53.6781 | 4.7063 | 0.53602 | 2.2853 | 181.32 | 14.71 | 975.164 | 99.9147 | 13.1093
2019-10-11 11:45:00 | 0 | 12.0117 | 4.195 | 59.3063 | 2.1497 | 4.3369 | 0 | 159.027 | 14.92 | 975.294 | 99.9488 | 11.7792
2019-10-11 12:00:00 | 0 | 20.2711 | 4.4507 | 81.5018 | 2.9167 | 0.048729 | 2.0297 | 162.803 | 15.04 | 975.146 | 99.9484 | 10.3049
2019-10-11 12:15:00 | 0 | 346.222 | 2.4053 | 70.8919 | 1.6383 | 16.5413 | 0.75133 | 160.321 | 15.18 | 975.443 | 99.9699 | 9.9946
2019-10-11 12:30:00 | 0 | 356.879 | 4.962 | 50.8059 | 3.9393 | 0.048714 | 0 | 181.119 | 15.68 | 975.739 | 99.9525 | 13.379
2019-10-11 12:45:00 | 0 | 348.64 | 4.962 | 34.3395 | 3.6837 | 353.511 | 0.37567 | 160.534 | 15.76 | 976.036 | 98.1085 | 14.8828
2019-10-11 13:00:00 | 0 | 343.059 | 4.4507 | 31.3918 | 1.3827 | 7.4774 | 0 | 159.631 | 15.82 | 975.739 | 94.9692 | 18.5555
2019-10-11 13:15:00 | 0 | 19.6798 | 4.4507 | 82.515 | 2.661 | 49.784 | 2.0297 | 181.453 | 16.35 | 975.739 | 90.5339 | 21.8587
2019-10-11 13:30:00 | 14.6487 | 5.0661 | 5.2177 | 67.7065 | 4.7063 | 11.2525 | 2.661 | 181.892 | 16.79 | 975.888 | 88.7942 | 30.464
2019-10-11 13:45:00 | 0 | 18.7786 | 5.4733 | 79.8845 | 6.7517 | 9.6694 | 0.37567 | 195.409 | 16.83 | 975.739 | 87.3956 | 23.2369
2019-10-11 14:00:00 | 9.542 | 353.651 | 7.0073 | 48.6112 | 7.263 | 5.6019 | 3.1723 | 172.953 | 17.02 | 975.739 | 87.9072 | 25.9267
2019-10-11 14:15:00 | 8.5207 | 16.8057 | 8.2857 | 66.2451 | 4.195 | 11.8614 | 3.428 | 199.477 | 17.13 | 975.709 | 84.9395 | 24.2973
2019-10-11 14:30:00 | 5.8507 | 10.7654 | 9.3083 | 64.2722 | 5.729 | 7.2825 | 2.7967 | 194.606 | 17.51 | 975.442 | 83.0292 | 18.8178
2019-10-11 14:45:00 | 0 | 355.575 | 7.263 | 64.4184 | 5.2177 | 0.048712 | 0 | 196.871 | 17.6 | 975.811 | 83.0292 | 18.3412
2019-10-11 15:00:00 | 6.106 | 1.3152 | 6.2403 | 62.0558 | 7.0073 | 26.2803 | 0.75133 | 182.379 | 17.46 | 975.344 | 85.2806 | 20.3549
2019-10-11 15:15:00 | 7.244 | 19.4362 | 7.0073 | 76.7913 | 5.4733 | 34.4639 | 2.661 | 198.892 | 17.29 | 975.106 | 85.4512 | 20.3845
2019-10-11 15:30:00 | 0 | 15.2713 | 7.5187 | 69.7767 | 6.2403 | 16.8057 | 0 | 194.654 | 17.43 | 975.587 | 83.5409 | 17.2549
2019-10-11 15:45:00 | 0 | 15.5879 | 5.4733 | 58.6947 | 2.1497 | 8.9631 | 1.2627 | 204.104 | 17.52 | 975.442 | 82.961 | 16.9187
2019-10-11 16:00:00 | 0 | 8.8656 | 7.263 | 63.6877 | 6.7517 | 21.6039 | 0 | 189.418 | 17.6 | 975.591 | 79.7203 | 16.6453
2019-10-11 16:15:00 | 0 | 9.7912 | 6.7517 | 62.3968 | 5.4733 | 17.098 | 5.729 | 194.703 | 17.59 | 975.591 | 80.846 | 15.3669
2019-10-11 16:30:00 | 0 | 17.78 | 7.5187 | 69.1678 | 3.9393 | 26.5482 | 2.541 | 198.088 | 17.52 | 975.442 | 80.9825 | 15.3225
2019-10-11 16:45:00 | 0 | 6.1377 | 6.7517 | 72.0175 | 3.9393 | 18.194 | 4.195 | 195.166 | 17.45 | 975.442 | 80.9825 | 13.4529
2019-10-11 17:00:00 | 0 | 14.0291 | 6.496 | 64.735 | 2.9167 | 354.601 | 1.1427 | 199.185 | 17.37 | 975.294 | 81.8353 | 12.2152
2019-10-11 17:15:00 | 0 | 15.6854 | 6.496 | 71.3842 | 1.3827 | 17.6582 | 1.654 | 198.186 | 17.32 | 974.849 | 82.7904 | 13.7448
2019-10-11 17:30:00 | 0 | 7.112 | 5.729 | 67.0489 | 3.6837 | 25.4035 | 0 | 195.677 | 17.22 | 974.849 | 83.3704 | 10.9367
2019-10-11 17:45:00 | 0 | 29.1799 | 5.729 | 72.7279 | 1.007 | 4.6035 | 1.007 | 219.264 | 16.99 | 975.145 | 82.5552 | 6.9759
2019-10-11 18:00:00 | 0 | 0.41407 | 5.2177 | 71.7767 | 2.4053 | 14.7116 | 0 | 198.192 | 16.8 | 975.145 | 82.2812 | 4.7996
2019-10-11 18:15:00 | 0 | 26.5001 | 4.4507 | 79.7407 | 2.4053 | 35.3903 | 0 | 213.146 | 16.81 | 975.145 | 83.0312 | 4.9289
2019-10-11 18:30:00 | 0.372 | 28.0601 | 5.729 | 65.9341 | 2.4053 | 2.6793 | 1.5183 | 211.985 | 16.79 | 975.145 | 82.2159 | 5.2282
2019-10-11 18:45:00 | 0 | 19.2927 | 5.2177 | 74.2468 | 0.37567 | 337.671 | 0 | 207.348 | 16.71 | 975.145 | 82.7677 | 4.9585
2019-10-11 19:00:00 | 0 | 22.6054 | 5.729 | 68.8139 | 2.4053 | 42.2877 | 0 | 206.908 | 16.68 | 975.145 | 83.5858 | 3.4584
2019-10-11 19:15:00 | 0 | 13.9835 | 4.7063 | 62.3661 | 1.894 | 0.29234 | 0 | 199.399 | 16.55 | 975.591 | 82.8427 | 2.5642
2019-10-11 19:30:00 | 0 | 16.2011 | 4.195 | 66.7308 | 3.1723 | 11.9864 | 0 | 206.181 | 16.51 | 975.739 | 84.8255 | 2.8487
2019-10-11 19:45:00 | 0.62733 | 9.1118 | 4.962 | 60.3984 | 1.6383 | 0.048727 | 0 | 196.004 | 16.36 | 975.591 | 84.2474 | 2.4977
2019-10-11 20:00:00 | 0.744 | 82.0342 | 3.428 | 54.3107 | 2.4053 | 13.9607 | 0.37567 | 185.216 | 16.37 | 975.739 | 86.1959 | 2.9743
2019-10-11 20:15:00 | 0 | 13.8877 | 5.2177 | 66.3962 | 3.6837 | 354.551 | 0 | 199.155 | 16.19 | 975.739 | 85.9238 | 2.9042
2019-10-11 20:30:00 | 0 | 3.8983 | 3.428 | 57.4789 | 2.661 | 353.041 | 0 | 191.212 | 16.17 | 975.739 | 86.4016 | 1.6885
2019-10-11 20:45:00 | 0 | 2.6801 | 3.428 | 52.9228 | 3.1723 | 356.476 | 0 | 188.922 | 16.17 | 976.184 | 87.0159 | 2.7527
2019-10-11 21:00:00 | 0 | 10.3305 | 4.7063 | 68.1993 | 2.9167 | 21.0265 | 0 | 191.919 | 16.07 | 976.333 | 89.0633 | 3.3401
2019-10-11 21:15:00 | 0 | 21.5382 | 3.9393 | 72.9016 | 2.9167 | 16.7627 | 0 | 205.758 | 15.65 | 976.036 | 91.2472 | 3.0298
2019-10-11 21:30:00 | 0 | 18.1759 | 3.428 | 74.7533 | 2.661 | 13.4979 | 0 | 199.886 | 15.74 | 976.333 | 90.087 | 3.3069
2019-10-11 21:45:00 | 0 | 22.1229 | 2.9167 | 67.2734 | 0 | 4.678 | 0 | 207.95 | 15.78 | 976.184 | 88.2784 | 2.7379
2019-10-11 22:00:00 | 0 | 16.3729 | 2.661 | 63.9111 | 1.3827 | 22.2204 | 0 | 203.784 | 15.89 | 976.184 | 89.6093 | 1.1897
2019-10-11 22:15:00 | 0 | 34.2077 | 2.9167 | 82.623 | 1.6383 | 25.6314 | 0 | 223.276 | 15.76 | 976.184 | 86.1969 | 0.35101
2019-10-11 22:30:00 | 0 | 30.4555 | 2.4053 | 75.338 | 2.4053 | 15.642 | 0 | 215.357 | 16.07 | 976.334 | 84.6272 | 0.12562
2019-10-11 22:45:00 | 0 | 35.767 | 2.9167 | 82.087 | 2.1497 | 17.1526 | 0 | 225.054 | 16.23 | 976.333 | 84.6954 | -0.025864
2019-10-11 23:00:00 | 0.372 | 33.9153 | 2.9167 | 78.8222 | 2.661 | 16.4704 | 0 | 230.658 | 16.08 | 976.333 | 85.4462 | 0.20322
2019-10-11 23:15:00 | 0 | 34.0615 | 3.1723 | 75.3624 | 2.9167 | 21.2945 | 0 | 228.124 | 15.91 | 976.481 | 87.2888 | 0.37687
2019-10-11 23:30:00 | 1.2547 | 37.0339 | 2.9167 | 77.5796 | 2.661 | 17.0551 | 0 | 230.707 | 15.79 | 976.185 | 87.9031 | 0.32884
2019-10-11 23:45:00 | 0 | 53.1145 | 2.4053 | 84.0849 | 2.1497 | 22.9757 | 0 | 236.554 | 15.9 | 975.739 | 84.7978 | 0.018474