## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-12 00:00:00 | 0 | 33.6229 | 2.4053 | 81.0393 | 2.1497 | 18.8581 | 0 | 233.289 | 15.97 | 976.333 | 82.9551 | -0.092371
2019-10-12 00:15:00 | 1.2547 | 33.8178 | 2.661 | 81.1124 | 2.1497 | 14.3263 | 0 | 222.155 | 16.05 | 976.185 | 82.921 | -0.13671
2019-10-12 00:30:00 | 0 | 28.1409 | 2.4053 | 80.9662 | 1.894 | 20.5636 | 0 | 227.905 | 15.99 | 976.036 | 85.2073 | -0.16996
2019-10-12 00:45:00 | 0 | 17.6399 | 2.661 | 70.7819 | 2.1497 | 11.8898 | 0 | 195.086 | 15.96 | 976.036 | 87.9031 | -0.15888
2019-10-12 01:00:00 | 0 | 18.1271 | 2.661 | 70.7819 | 1.6383 | 4.678 | 0.75133 | 203.467 | 15.6 | 975.888 | 88.5855 | 0.011085
2019-10-12 01:15:00 | 0.744 | 8.7712 | 2.661 | 68.4673 | 2.661 | 9.4778 | 0 | 190.847 | 15.54 | 976.036 | 89.6775 | 0.56162
2019-10-12 01:30:00 | 2.0207 | 18.517 | 3.428 | 69.0764 | 2.9167 | 15.6907 | 0 | 198.253 | 15.12 | 975.763 | 92.6122 | 1.2932
2019-10-12 01:45:00 | 0 | 16.2754 | 3.9393 | 70.4408 | 2.9167 | 14.4237 | 0 | 197.596 | 15.17 | 975.74 | 86.5381 | 0.66138
2019-10-12 02:00:00 | 0 | 16.6653 | 3.6837 | 71.4154 | 2.9167 | 13.2543 | 0 | 197.912 | 15.72 | 975.78 | 86.6746 | 0.53206
2019-10-12 02:15:00 | 0 | 11.4026 | 3.9393 | 63.0096 | 3.1723 | 7.1144 | 0 | 199.545 | 15.43 | 975.755 | 91.1107 | 1.5481
2019-10-12 02:30:00 | 0 | 9.6483 | 3.1723 | 54.4577 | 1.894 | 7.3337 | 0 | 195.062 | 14.85 | 975.622 | 95.9563 | 2.9522
2019-10-12 02:45:00 | 0 | 8.4788 | 4.195 | 59.9154 | 2.661 | 20.0276 | 0 | 195.646 | 14.29 | 975.789 | 98.7203 | 3.9535
2019-10-12 03:00:00 | 0 | 18.4203 | 4.962 | 69.3727 | 4.195 | 18.0549 | 0 | 203.671 | 14.12 | 975.44 | 99.4072 | 4.722
2019-10-12 03:15:00 | 0 | 17.74 | 4.7063 | 76.6439 | 3.1723 | 17.4476 | 0 | 204.741 | 14 | 975.443 | 99.7249 | 3.5655
2019-10-12 03:30:00 | 0 | 4.3863 | 3.9393 | 52.4233 | 3.1723 | 8.6021 | 0 | 195.29 | 14.54 | 975.592 | 96.2455 | 3.7503
2019-10-12 03:45:00 | 0 | 9.6743 | 3.9393 | 57.1997 | 3.6837 | 0.048737 | 0 | 189.978 | 14.2 | 975.443 | 99.1808 | 4.5003
2019-10-12 04:00:00 | 0 | 5.2636 | 4.195 | 58.9054 | 3.6837 | 356.951 | 0 | 202.405 | 13.86 | 975.443 | 99.9657 | 5.1137
2019-10-12 04:15:00 | 0 | 232.476 | 3.9393 | 53.6904 | 2.4053 | 5.7753 | 4.7063 | 187.248 | 13.87 | 975.889 | 99.9656 | 7.6262
2019-10-12 04:30:00 | 0 | 19.5924 | 4.962 | 74.8182 | 2.9167 | 12.0625 | 2.2853 | 199.676 | 13.79 | 975.592 | 99.9659 | 7.774
2019-10-12 04:45:00 | 0 | 19.1293 | 5.2177 | 65.9235 | 3.9393 | 356.975 | 0 | 208.643 | 13.73 | 975.74 | 99.9315 | 7.519
2019-10-12 05:00:00 | 0 | 10.9171 | 3.6837 | 64.3635 | 1.6383 | 356.242 | 0 | 200.455 | 13.67 | 976.037 | 99.9993 | 4.5927
2019-10-12 05:15:00 | 0 | 3.6553 | 3.428 | 67.1415 | 2.661 | 17.9108 | 4.195 | 198.018 | 13.58 | 976.037 | 99.9651 | 7.6594
2019-10-12 05:30:00 | 0 | 12.1842 | 3.6837 | 59.1001 | 2.9167 | 0.36553 | 0 | 199.529 | 13.58 | 976.037 | 99.9653 | 11.151
2019-10-12 05:45:00 | 0 | 13.7924 | 5.2177 | 59.6354 | 3.9393 | 356.897 | 0 | 203.524 | 13.59 | 976.037 | 99.9303 | 9.747
2019-10-12 06:00:00 | 0 | 18.1543 | 5.729 | 63.6805 | 3.9393 | 0.073105 | 5.9847 | 203.28 | 13.58 | 976.037 | 99.9302 | 5.5534
2019-10-12 06:15:00 | 0 | 14.6209 | 5.2177 | 68.8948 | 3.9393 | 21.1759 | 3.5637 | 201.914 | 13.55 | 976.037 | 99.9297 | 4.3341
2019-10-12 06:30:00 | 0 | 19.7871 | 4.4507 | 66.7513 | 1.894 | 30.8991 | 0 | 205.328 | 13.55 | 976.483 | 99.9649 | 3.0889
2019-10-12 06:45:00 | 0.372 | 1.0478 | 3.428 | 50.2273 | 2.661 | 350.747 | 0 | 194.015 | 13.55 | 976.631 | 99.9275 | 4.1271
2019-10-12 07:00:00 | 0 | 12.3304 | 3.9393 | 69.042 | 3.6837 | 31.2159 | 0 | 201.136 | 13.52 | 976.631 | 99.9307 | 3.6616
2019-10-12 07:15:00 | 0 | 31.5815 | 4.4507 | 81.4215 | 4.4507 | 23.4668 | 0.75133 | 228.137 | 13.52 | 976.631 | 99.9653 | 2.228
2019-10-12 07:30:00 | 0 | 23.3934 | 3.6837 | 69.3336 | 2.4053 | 6.4819 | 0.37567 | 218.68 | 13.53 | 977.225 | 99.9299 | 1.9509
2019-10-12 07:45:00 | 0.372 | 21.7611 | 2.9167 | 69.4812 | 3.1723 | 18.715 | 0.37567 | 219.219 | 13.69 | 977.225 | 99.9997 | 1.8068
2019-10-12 08:00:00 | 1.138 | 19.7873 | 3.9393 | 62.3902 | 0 | 22.1754 | 0 | 207.767 | 13.72 | 977.522 | 99.9659 | 1.1713
2019-10-12 08:15:00 | 0 | 34.5546 | 3.6837 | 80.0086 | 2.661 | 26.6105 | 0 | 228.139 | 13.68 | 977.671 | 99.9657 | 0.73527
2019-10-12 08:30:00 | 0 | 40.5004 | 4.7063 | 97.0906 | 2.1497 | 39.0871 | 0 | 222.826 | 13.85 | 977.968 | 99.9313 | 0.61704
2019-10-12 08:45:00 | 1.2547 | 33.5259 | 3.1723 | 71.1485 | 0 | 11.2809 | 0 | 218.113 | 13.96 | 978.304 | 99.95 | 0.15888
2019-10-12 09:00:00 | 0 | 15.8856 | 2.4053 | 64.1061 | 0 | 17.7617 | 0 | 211.63 | 14.23 | 978.423 | 99.9488 | 0.048033
2019-10-12 09:15:00 | 2.9033 | 17.3475 | 2.661 | 76.069 | 0 | 16.7627 | 0 | 201.616 | 14.36 | 978.708 | 99.983 | 0.13671
2019-10-12 09:30:00 | 0 | 19.8814 | 2.9167 | 72.8773 | 0 | 12.6695 | 0 | 201.786 | 14.54 | 978.56 | 99.9488 | -0.036948
2019-10-12 09:45:00 | 9.2867 | 21.7328 | 2.9167 | 75.9949 | 0 | 17.7371 | 0 | 207.68 | 14.64 | 978.708 | 99.9478 | -0.31776
2019-10-12 10:00:00 | 0 | 1.5833 | 1.6383 | 56.2922 | 0 | 0.048718 | 0 | 206.125 | 14.79 | 979.005 | 99.9603 | -0.30667
2019-10-12 10:15:00 | 0 | 355.852 | 1.894 | 41.2572 | 0 | 24.3567 | 0 | 179.022 | 14.85 | 979.153 | 99.9513 | -0.29559
2019-10-12 10:30:00 | 0 | 0.7794 | 2.1497 | 59.2306 | 0 | 1.8511 | 0 | 181.965 | 15.18 | 979.302 | 99.9491 | -0.29928
2019-10-12 10:45:00 | 0 | 11.7884 | 0 | 64.7594 | 0 | 22.018 | 0 | 185.302 | 15.77 | 979.747 | 95.3096 | -0.29928
2019-10-12 11:00:00 | 0 | 23.5524 | 3.6837 | 74.9402 | 3.6837 | 11.3743 | 0.887 | 185.326 | 15.93 | 979.866 | 88.4189 | -0.24016
2019-10-12 11:15:00 | 0 | 12.2511 | 4.4507 | 54.4811 | 0 | 0.46277 | 0 | 205.2 | 16.56 | 979.94 | 84.1208 | -0.27342
2019-10-12 11:30:00 | 0 | 303.588 | 4.195 | 14.2035 | 0 | 295.94 | 0 | 120.023 | 17.16 | 979.896 | 87.8016 | -0.048033
2019-10-12 11:45:00 | 0 | 338.269 | 3.1723 | 67.4045 | 0 | 312.163 | 0 | 178.779 | 16.79 | 979.745 | 87.4883 | 0.40643
2019-10-12 12:00:00 | 0 | 350.384 | 1.6383 | 18.344 | 1.3827 | 316.899 | 0 | 188.562 | 17.26 | 979.745 | 84.7222 | 1.0937
2019-10-12 12:15:00 | 0 | 11.8838 | 3.1723 | 86.3208 | 0 | 52.1133 | 0 | 198.347 | 17.13 | 979.745 | 81.6508 | 1.8179
2019-10-12 12:30:00 | 0.372 | 4.2373 | 3.9393 | 65.2076 | 2.661 | 23.8649 | 5.4733 | 180.497 | 17.34 | 979.299 | 76.5348 | 2.3167
2019-10-12 12:45:00 | 0 | 343.989 | 3.6837 | 75.9206 | 2.1497 | 27.5659 | 3.0523 | 158.967 | 17.77 | 979.151 | 74.6916 | 3.9646
2019-10-12 13:00:00 | 0 | 6.8183 | 2.9167 | 52.3473 | 2.4053 | 10.5197 | 0 | 188.064 | 17.62 | 978.854 | 75.0316 | 4.0717
2019-10-12 13:15:00 | 0 | 340.339 | 1.894 | 77.8451 | 1.6383 | 29.9039 | 5.9847 | 147.376 | 17.51 | 978.409 | 74.317 | 5.3501
2019-10-12 13:30:00 | 0 | 356.927 | 4.4507 | 61.5791 | 1.007 | 0.90102 | 4.4507 | 176.211 | 17.55 | 978.112 | 73.7721 | 7.4636
2019-10-12 13:45:00 | 1.2547 | 1.0958 | 3.1723 | 67.3992 | 3.9393 | 26.4462 | 5.2177 | 176.113 | 17.56 | 977.964 | 72.3056 | 7.5781
2019-10-12 14:00:00 | 0 | 351.807 | 4.195 | 67.1603 | 3.6837 | 10.204 | 3.1723 | 172.08 | 17.43 | 978.112 | 72.1048 | 6.7911
2019-10-12 14:15:00 | 0 | 149.88 | 4.195 | 47.6337 | 4.7063 | 12.4454 | 5.4733 | 181.103 | 17.61 | 977.816 | 71.0182 | 9.6177
2019-10-12 14:30:00 | 0 | 353.72 | 4.4507 | 58.8399 | 3.9393 | 12.3484 | 4.962 | 181.743 | 17.65 | 977.816 | 70.2022 | 10.6264
2019-10-12 14:45:00 | 0 | 19.9476 | 6.7517 | 75.281 | 3.1723 | 26.3533 | 0.75133 | 197.747 | 17.68 | 977.972 | 69.3159 | 12.8913
2019-10-12 15:00:00 | 0 | 9.8399 | 5.9847 | 72.5776 | 2.661 | 14.3458 | 5.729 | 193.436 | 17.86 | 977.818 | 67.6445 | 12.3408
2019-10-12 15:15:00 | 0 | 0.29227 | 5.2177 | 54.1644 | 6.2403 | 14.6867 | 0.75133 | 183.426 | 17.79 | 977.519 | 67.7469 | 15.0122
2019-10-12 15:30:00 | 0 | 4.7738 | 5.2177 | 61.3738 | 4.962 | 5.3096 | 0 | 189.71 | 17.58 | 977.484 | 66.9282 | 14.1845
2019-10-12 15:45:00 | 1.51 | 6.1377 | 6.2403 | 61.593 | 4.962 | 11.7884 | 5.729 | 193.875 | 17.53 | 977.804 | 66.86 | 14.1993
2019-10-12 16:00:00 | 0 | 7.5991 | 6.496 | 61.9097 | 3.6837 | 21.2385 | 2.9167 | 195.19 | 17.59 | 977.807 | 66.5871 | 11.273
2019-10-12 16:15:00 | 0 | 17.3416 | 6.496 | 63.4928 | 3.1723 | 6.9171 | 0 | 197.894 | 17.54 | 977.817 | 66.9964 | 10.6596
2019-10-12 16:30:00 | 0 | 13.5664 | 5.729 | 60.156 | 2.9167 | 354.455 | 0 | 198.697 | 17.56 | 977.669 | 66.5188 | 7.4525
2019-10-12 16:45:00 | 0 | 19.0952 | 5.4733 | 71.2137 | 1.894 | 27.766 | 0 | 204.348 | 17.45 | 977.669 | 67.0646 | 9.0856
2019-10-12 17:00:00 | 0 | 27.2789 | 4.7063 | 79.5679 | 1.2627 | 27.1084 | 0.37567 | 208.221 | 17.31 | 977.075 | 68.4291 | 7.3934
2019-10-12 17:15:00 | 0 | 20.7514 | 4.7063 | 79.2756 | 3.9393 | 21.3847 | 0 | 222.664 | 17.3 | 977.075 | 67.6445 | 6.2221
2019-10-12 17:30:00 | 0 | 32.0538 | 3.6837 | 85.2709 | 1.6383 | 45.0117 | 0 | 218.068 | 17.22 | 977.075 | 68.2951 | 5.8526
2019-10-12 17:45:00 | 0 | 30.7386 | 4.7063 | 78.6949 | 0.75133 | 37.5099 | 0 | 211.054 | 17.31 | 976.927 | 68.1589 | 6.2443
2019-10-12 18:00:00 | 0 | 33.5391 | 5.2177 | 83.1015 | 1.894 | 39.3603 | 0.37567 | 218.187 | 17.12 | 977.075 | 67.3389 | 5.993
2019-10-12 18:15:00 | 0 | 27.9862 | 4.4507 | 81.0817 | 3.6837 | 38.7033 | 0 | 202.602 | 17.11 | 977.372 | 67.0671 | 6.9833
2019-10-12 18:30:00 | 0 | 24.6494 | 5.4733 | 76.9412 | 1.6383 | 35.4152 | 0 | 217.582 | 17.3 | 977.52 | 67.3402 | 6.6766
2019-10-12 18:45:00 | 0 | 23.5527 | 5.2177 | 74.2108 | 2.1497 | 20.1915 | 3.428 | 211.146 | 17.2 | 977.52 | 66.4516 | 7.8922
2019-10-12 19:00:00 | 0 | 26.2088 | 5.2177 | 77.2111 | 2.661 | 25.6973 | 5.9847 | 211.034 | 17.18 | 977.52 | 66.591 | 9.0228
2019-10-12 19:15:00 | 0 | 25.0394 | 4.4507 | 76.9425 | 3.9393 | 12.7633 | 1.127 | 206.478 | 17.16 | 977.817 | 66.727 | 10.0943
2019-10-12 19:30:00 | 0 | 25.9665 | 5.729 | 79.6761 | 4.4507 | 27.428 | 4.195 | 216.014 | 17.11 | 977.669 | 66.6625 | 11.8494
2019-10-12 19:45:00 | 0 | 41.7765 | 6.496 | 85.4765 | 4.962 | 36.2469 | 4.4507 | 214.899 | 17.11 | 977.817 | 65.368 | 7.386
2019-10-12 20:00:00 | 0 | 28.6946 | 6.496 | 77.8248 | 4.4507 | 27.3793 | 5.729 | 211.605 | 17.16 | 977.817 | 67.2084 | 6.5731
2019-10-12 20:15:00 | 0 | 30.3038 | 5.9847 | 78.5604 | 2.9167 | 39.2682 | 5.9847 | 215.464 | 16.83 | 977.817 | 69.1222 | 6.8355
2019-10-12 20:30:00 | 0 | 28.5986 | 4.7063 | 81.9222 | 3.428 | 26.5524 | 0.37567 | 212.395 | 16.62 | 977.966 | 69.1906 | 2.9005
2019-10-12 20:45:00 | 0 | 45.9483 | 4.962 | 99.9627 | 3.6837 | 40.4423 | 5.729 | 229.863 | 16.58 | 978.262 | 68.6527 | 2.1652
2019-10-12 21:00:00 | 0 | 48.2401 | 3.9393 | 97.8715 | 2.9167 | 49.5558 | 0 | 235.353 | 16.84 | 978.114 | 66.8125 | 1.1417
2019-10-12 21:15:00 | 0 | 39.2743 | 3.9393 | 111.077 | 3.1723 | 63.9304 | 0 | 232.259 | 16.77 | 978.262 | 67.768 | 0.65029
2019-10-12 21:30:00 | 0 | 38.6414 | 3.428 | 94.511 | 2.9167 | 10.8176 | 0 | 249.585 | 16.56 | 978.411 | 69.475 | -0.025864
2019-10-12 21:45:00 | 3.9247 | 57.0371 | 2.4053 | 87.7394 | 2.4053 | 37.7892 | 0 | 259.286 | 16.46 | 978.114 | 69.1349 | -0.14779
2019-10-12 22:00:00 | 0 | 34.5975 | 3.1723 | 82.1601 | 2.1497 | 9.0148 | 0 | 231.292 | 16.38 | 978.114 | 68.9302 | -0.096066
2019-10-12 22:15:00 | 0 | 39.6653 | 3.1723 | 87.033 | 2.4053 | 23.9259 | 0 | 232.534 | 16.16 | 978.114 | 70.2952 | -0.099761
2019-10-12 22:30:00 | 0 | 32.356 | 3.9393 | 82.7205 | 2.4053 | 22.9026 | 0 | 225.249 | 16.18 | 978.114 | 70.1587 | -0.11454
2019-10-12 22:45:00 | 0 | 53.017 | 2.9167 | 94.9514 | 2.1497 | 26.8009 | 0 | 239.405 | 16.29 | 978.114 | 68.0089 | -0.20322
2019-10-12 23:00:00 | 0 | 54.9662 | 2.9167 | 102.383 | 1.3827 | 35.767 | 0 | 248.274 | 16.36 | 978.114 | 67.224 | -0.25864
2019-10-12 23:15:00 | 0 | 75.9196 | 2.661 | 114.297 | 2.1497 | 55.7215 | 0 | 280.264 | 16.44 | 978.114 | 66.4733 | -0.22539
2019-10-12 23:30:00 | 0 | 49.1187 | 2.4053 | 83.89 | 1.894 | 24.9005 | 0 | 247.007 | 16.41 | 978.114 | 67.0193 | -0.20691
2019-10-12 23:45:00 | 0 | 25.339 | 2.4053 | 75.9959 | 1.3827 | 16.5435 | 11.3537 | 207.829 | 16.13 | 978.114 | 68.9302 | -0.12932