## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-13 00:00:00 | 0.62733 | 28.5551 | 2.4053 | 72.195 | 1.6383 | 5.75 | 0 | 220.839 | 15.98 | 978.114 | 70.7046 | -0.11824
2019-10-13 00:15:00 | 0 | 49.0212 | 1.6383 | 72.195 | 0.75133 | 15.5932 | 0 | 216.795 | 15.67 | 978.016 | 68.6572 | -0.218
2019-10-13 00:30:00 | 0 | 47.6081 | 1.894 | 72.195 | 1.3827 | 15.0085 | 0 | 216.795 | 15.93 | 978.262 | 66.2003 | -0.218
2019-10-13 00:45:00 | 0 | 47.6568 | 1.6383 | 72.2925 | 1.3827 | 22.6102 | 0 | 216.795 | 15.88 | 978.184 | 64.9718 | -0.25125
2019-10-13 01:00:00 | 0 | 47.6569 | 0 | 72.2927 | 0.75133 | 22.2204 | 0 | 216.795 | 16.09 | 978.298 | 63.1292 | -0.24016
2019-10-13 01:15:00 | 0 | 305.12 | 0 | 72.1962 | 0 | 22.2206 | 0 | 215.141 | 16.29 | 978.366 | 63.6077 | -0.24016
2019-10-13 01:30:00 | 0 | 305.127 | 0 | 72.1984 | 0 | 22.1724 | 0 | 161.445 | 16.27 | 978.407 | 65.8615 | -0.24016
2019-10-13 01:45:00 | 0 | 274.705 | 1.894 | 312.429 | 0 | 291.664 | 0 | 91.7147 | 16.47 | 978.413 | 67.8092 | -0.24016
2019-10-13 02:00:00 | 0 | 273.817 | 1.894 | 275.697 | 0 | 212.66 | 1.2627 | 77.433 | 16.52 | 978.55 | 67.5336 | -0.25864
2019-10-13 02:15:00 | 0 | 241.403 | 2.1497 | 273.543 | 0 | 203.248 | 0 | 63.1283 | 16.39 | 978.357 | 67.0876 | -0.25864
2019-10-13 02:30:00 | 0 | 238.528 | 2.661 | 277.198 | 0 | 211.435 | 0 | 62.8116 | 16.42 | 978.484 | 66.1321 | -0.24016
2019-10-13 02:45:00 | 0 | 225.956 | 1.6383 | 257.316 | 0 | 194.526 | 0 | 62.8603 | 16.28 | 978.389 | 66.4051 | -0.24016
2019-10-13 03:00:00 | 0 | 260.407 | 2.1497 | 292.693 | 0 | 235.799 | 0 | 64.3221 | 16.14 | 978.222 | 68.1795 | -0.25864
2019-10-13 03:15:00 | 0 | 259.189 | 1.127 | 294.35 | 0 | 227.418 | 0 | 91.4154 | 16.43 | 978.227 | 65.8591 | -0.24016
2019-10-13 03:30:00 | 0 | 246.495 | 1.894 | 294.009 | 0 | 189.434 | 0 | 81.5478 | 15.98 | 978.255 | 67.1558 | -0.25864
2019-10-13 03:45:00 | 0 | 239.676 | 1.3827 | 268.137 | 0 | 170.309 | 0 | 69.3907 | 15.84 | 978.063 | 67.4978 | -0.25864
2019-10-13 04:00:00 | 0 | 255.78 | 0.75133 | 268.137 | 0 | 178.057 | 0 | 69.3906 | 15.91 | 978.053 | 67.0199 | -0.25864
2019-10-13 04:15:00 | 0 | 255.779 | 1.127 | 268.138 | 0 | 178.049 | 0 | 69.3968 | 15.89 | 978.116 | 65.7974 | -0.25864
2019-10-13 04:30:00 | 0 | 255.814 | 0.75133 | 268.15 | 0 | 178.056 | 0 | 69.4485 | 16.29 | 978.116 | 66.2779 | -0.25864
2019-10-13 04:45:00 | 0 | 266.248 | 1.3827 | 268.277 | 0 | 178.084 | 0 | 106.051 | 16.48 | 978.413 | 67.849 | -0.25864
2019-10-13 05:00:00 | 0 | 289.045 | 1.3827 | 268.314 | 0 | 204.247 | 0 | 129.634 | 16.51 | 978.413 | 67.7098 | -0.25864
2019-10-13 05:15:00 | 0 | 300.841 | 1.127 | 19.8538 | 0 | 356.618 | 0 | 129.635 | 16.4 | 978.413 | 65.526 | -0.25864
2019-10-13 05:30:00 | 0 | 300.829 | 1.3827 | 19.8538 | 0 | 338.159 | 0 | 129.679 | 16.41 | 978.413 | 67.2298 | -0.24016
2019-10-13 05:45:00 | 0 | 300.85 | 0 | 19.8538 | 0 | 337.277 | 0 | 129.628 | 16.4 | 978.413 | 65.6591 | -0.25125
2019-10-13 06:00:00 | 0 | 300.822 | 0 | 19.8538 | 0 | 337.273 | 0 | 129.627 | 16.34 | 978.39 | 66.1361 | -0.26233
2019-10-13 06:15:00 | 0 | 134.806 | 0.75133 | 227.534 | 0 | 337.308 | 0 | 295.735 | 16.38 | 978.413 | 65.8016 | -0.27342
2019-10-13 06:30:00 | 0 | 116.772 | 1.894 | 187.593 | 0 | 135.682 | 0 | 305.577 | 16.49 | 978.413 | 55.3574 | -0.15149
2019-10-13 06:45:00 | 0 | 121.733 | 1.6383 | 181.8 | 0 | 139.52 | 0 | 298.485 | 16.9 | 978.562 | 53.3051 | -0.13301
2019-10-13 07:00:00 | 0 | 128.328 | 2.4053 | 166.68 | 0 | 113.831 | 0 | 306.749 | 16.98 | 978.774 | 49.6844 | 0.19952
2019-10-13 07:15:00 | 0 | 72.8243 | 0 | 179.834 | 0 | 85.6399 | 0 | 261.719 | 17.41 | 979.302 | 46.6808 | 0.65768
2019-10-13 07:30:00 | 0 | 106.583 | 0.75133 | 178.869 | 0 | 85.8315 | 0 | 308.253 | 19.13 | 979.896 | 43.8686 | 0.88676
2019-10-13 07:45:00 | 0 | 112.521 | 0.75133 | 183.268 | 0 | 144.377 | 0 | 313.085 | 18.22 | 980.222 | 45.8449 | 1.9804
2019-10-13 08:00:00 | 0 | 118.778 | 3.6837 | 169.49 | 1.127 | 100.199 | 0 | 300.184 | 17.78 | 980.456 | 47.199 | 2.5827
2019-10-13 08:15:00 | 0 | 124.856 | 3.428 | 178.045 | 0.75133 | 125.44 | 0 | 304.786 | 18.08 | 980.491 | 48.3547 | 1.5149
2019-10-13 08:30:00 | 0 | 128.021 | 2.4053 | 196.355 | 0 | 137.273 | 0 | 300.964 | 17.81 | 980.928 | 53.3674 | 1.1158
2019-10-13 08:45:00 | 0 | 133.803 | 2.9167 | 192.633 | 0 | 158.099 | 0 | 320.167 | 18.58 | 981.077 | 49.8502 | 0.63182
2019-10-13 09:00:00 | 0 | 148.74 | 3.6837 | 207.321 | 1.007 | 169.31 | 0 | 324.696 | 18.53 | 981.373 | 49.1988 | 0.19583
2019-10-13 09:15:00 | 0 | 129.837 | 3.1723 | 183.641 | 1.3827 | 139.379 | 0 | 310.938 | 18.71 | 981.967 | 46.092 | -0.14779
2019-10-13 09:30:00 | 0 | 141.576 | 2.9167 | 201.298 | 2.1497 | 156.498 | 0 | 327.455 | 18.39 | 982.263 | 46.2984 | -0.077592
2019-10-13 09:45:00 | 0 | 146.403 | 3.1723 | 199.726 | 1.894 | 164.758 | 0 | 327.374 | 18.74 | 982.263 | 47.1531 | -0.092371
2019-10-13 10:00:00 | 0 | 162.177 | 3.428 | 203.913 | 1.6383 | 156.384 | 3.428 | 348.407 | 18.86 | 981.967 | 46.3348 | 0.040643
2019-10-13 10:15:00 | 0 | 171.912 | 3.428 | 219.342 | 2.661 | 140.412 | 0.75133 | 348.838 | 18.9 | 982.115 | 45.3452 | -0.29189
2019-10-13 10:30:00 | 0 | 108.554 | 2.4053 | 172.575 | 0 | 117.803 | 0 | 273.406 | 19.54 | 982.412 | 46.5656 | -0.26972
2019-10-13 10:45:00 | 0 | 184.032 | 2.4053 | 241.957 | 0 | 187.22 | 0 | 25.4072 | 20.07 | 982.263 | 43.5941 | -0.29928
2019-10-13 11:00:00 | 0 | 203.638 | 3.1723 | 264.189 | 0 | 223.886 | 0 | 29.5188 | 20.49 | 982.176 | 45.1602 | -0.26972
2019-10-13 11:15:00 | 0 | 142.897 | 3.1723 | 233.721 | 0 | 163.972 | 0 | 1.9225 | 20.08 | 981.667 | 45.91 | -0.26972
2019-10-13 11:30:00 | 0 | 186.385 | 2.1497 | 223.816 | 1.6383 | 179.108 | 0 | 2.7742 | 20.23 | 981.669 | 47.5119 | -0.25125
2019-10-13 11:45:00 | 0 | 220.187 | 2.4053 | 316.704 | 0 | 207.629 | 0 | 36.0164 | 20.53 | 981.825 | 49.8637 | -0.2882
2019-10-13 12:00:00 | 0 | 249.754 | 1.894 | 238.539 | 0 | 202.665 | 0 | 101.844 | 20.81 | 981.37 | 49.6933 | -0.26972
2019-10-13 12:15:00 | 0 | 222.815 | 1.3827 | 313.419 | 0 | 225.735 | 0 | 85.6849 | 20.5 | 981.523 | 51.3293 | -0.24016
2019-10-13 12:30:00 | 0 | 325.705 | 3.6837 | 11.7577 | 2.661 | 298.06 | 0 | 139.32 | 20.31 | 981.526 | 55.5556 | -0.26233
2019-10-13 12:45:00 | 0 | 236.783 | 4.4507 | 291.688 | 3.428 | 261.946 | 0 | 24.4571 | 20.38 | 981.518 | 53.1016 | -0.28081
2019-10-13 13:00:00 | 0 | 234.642 | 3.428 | 289.205 | 1.6383 | 252.845 | 0 | 71.1323 | 20.64 | 981.445 | 51.9768 | -0.26972
2019-10-13 13:15:00 | 0 | 158.229 | 1.894 | 304.853 | 1.007 | 263.309 | 0 | 94.7133 | 20.51 | 981.547 | 51.2611 | -0.31406
2019-10-13 13:30:00 | 0 | 217.673 | 2.1497 | 254.403 | 0.75133 | 205.602 | 0 | 37.1144 | 20.1 | 981.772 | 52.2195 | -0.28081
2019-10-13 13:45:00 | 0 | 285.108 | 3.428 | 18.5397 | 1.3827 | 282.625 | 0 | 119.943 | 20.22 | 981.652 | 52.087 | -0.29928
2019-10-13 14:00:00 | 0 | 274.501 | 3.9393 | 326.035 | 2.9167 | 289.738 | 0 | 100.327 | 20.51 | 981.963 | 51.1675 | -0.11454
2019-10-13 14:15:00 | 0 | 276.679 | 3.6837 | 313.072 | 0 | 224.254 | 0 | 96.4776 | 20.63 | 981.947 | 52.5288 | 0.56901
2019-10-13 14:30:00 | 0 | 297.796 | 3.428 | 336.693 | 2.661 | 298.088 | 0 | 108.157 | 20.7 | 982.255 | 50.8569 | 0.46186
2019-10-13 14:45:00 | 0 | 271.889 | 3.428 | 315.067 | 1.6383 | 250.497 | 0 | 89.2668 | 20.65 | 982.081 | 53.0362 | 0.83873
2019-10-13 15:00:00 | 0 | 291.756 | 3.9393 | 18.5398 | 2.661 | 308.841 | 0 | 125.386 | 20.39 | 981.911 | 51.1288 | 0.96805
2019-10-13 15:15:00 | 0 | 288.91 | 2.4053 | 35.567 | 1.894 | 278.444 | 0 | 126.03 | 20.82 | 981.946 | 50.3493 | 0.92741
2019-10-13 15:30:00 | 0 | 304.19 | 1.6383 | 9.4855 | 1.3827 | 310.104 | 0 | 104.634 | 20.39 | 982.406 | 51.5416 | 0.97913
2019-10-13 15:45:00 | 0 | 304.804 | 4.4507 | 11.4325 | 3.428 | 300.058 | 0 | 126.833 | 20.6 | 982.263 | 50.8948 | 0.81656
2019-10-13 16:00:00 | 0 | 304.414 | 2.661 | 18.6857 | 2.9167 | 292.512 | 0 | 127.32 | 20.31 | 982.115 | 52.5993 | 0.24386
2019-10-13 16:15:00 | 0 | 294.002 | 3.428 | 35.6944 | 2.4053 | 290.74 | 0 | 116.549 | 20.05 | 981.818 | 53.1159 | 0.22169
2019-10-13 16:30:00 | 0 | 325.791 | 2.4053 | 17.9761 | 1.6383 | 347.676 | 0 | 148.107 | 20.13 | 981.521 | 55.4381 | 0.55423
2019-10-13 16:45:00 | 0 | 325.451 | 3.428 | 9.115 | 2.4053 | 330.831 | 0 | 143.165 | 19.76 | 981.076 | 53.0515 | 0.75744
2019-10-13 17:00:00 | 0 | 325.674 | 2.1497 | 22.511 | 1.3827 | 331.956 | 0 | 156.604 | 19.59 | 980.78 | 53.2307 | 0.59857
2019-10-13 17:15:00 | 0 | 336.925 | 4.4507 | 18.9322 | 2.9167 | 354.748 | 0 | 157.36 | 19.47 | 980.515 | 53.3333 | 1.005
2019-10-13 17:30:00 | 0 | 356.431 | 3.6837 | 47.9161 | 3.6837 | 354.897 | 0 | 175.671 | 19.21 | 980.482 | 55.3193 | 2.6677
2019-10-13 17:45:00 | 0.372 | 4.773 | 4.962 | 40.1981 | 4.962 | 351.691 | 0 | 196.691 | 19.18 | 980.783 | 55.0477 | 4.6149
2019-10-13 18:00:00 | 0 | 9.0603 | 5.2177 | 60.8603 | 4.4507 | 12.5674 | 0.37567 | 191.337 | 18.72 | 980.634 | 58.3987 | 5.6753
2019-10-13 18:15:00 | 0 | 17.5364 | 3.9393 | 71.6765 | 3.428 | 15.8315 | 0 | 200.183 | 18.54 | 980.889 | 59.4917 | 6.9168
2019-10-13 18:30:00 | 0.88267 | 354.187 | 5.2177 | 38.065 | 3.9393 | 356.988 | 0 | 181.721 | 18.48 | 981.201 | 61.1632 | 9.1484
2019-10-13 18:45:00 | 1.2547 | 82.1289 | 5.729 | 41.3287 | 5.2177 | 5.8698 | 0 | 180.187 | 18.11 | 981.38 | 64.9497 | 14.0137
2019-10-13 19:00:00 | 2.3927 | 356.842 | 5.729 | 38.5521 | 4.4507 | 25.4522 | 1.894 | 171.418 | 17.62 | 981.38 | 68.5997 | 40.8996
2019-10-13 19:15:00 | 1.882 | 350.509 | 8.797 | 35.8242 | 7.263 | 8.89 | 0 | 182.038 | 16.9 | 981.083 | 72.1132 | 57.9387
2019-10-13 19:30:00 | 2.3927 | 356.36 | 8.03 | 82.0295 | 6.496 | 60.1362 | 0.75133 | 179.8 | 16.17 | 980.637 | 76.6173 | 71.6008
2019-10-13 19:45:00 | 4.946 | 0.097443 | 11.098 | 61.9497 | 6.2403 | 7.1621 | 2.1497 | 183.973 | 15.4 | 980.489 | 78.0978 | 66.8192
2019-10-13 20:00:00 | 9.2867 | 11.768 | 9.0527 | 62.5953 | 7.7743 | 20.4417 | 4.195 | 193.794 | 14.91 | 981.083 | 79.918 | 57.4749
2019-10-13 20:15:00 | 3.6693 | 19.053 | 11.098 | 72.926 | 4.7063 | 19.3941 | 0.887 | 204.028 | 14.78 | 981.083 | 78.1436 | 55.5668
2019-10-13 20:30:00 | 4.946 | 10.6716 | 10.8423 | 71.6834 | 4.195 | 323.608 | 4.4507 | 208.779 | 14.57 | 981.322 | 78.0072 | 57.3477
2019-10-13 20:45:00 | 5.4567 | 18.9566 | 10.0753 | 65.4508 | 6.7517 | 26.7536 | 2.0297 | 197.314 | 14.25 | 981.643 | 79.0011 | 62.8013
2019-10-13 21:00:00 | 3.6693 | 19.4945 | 12.1207 | 66.0928 | 6.496 | 21.2003 | 1.007 | 207.3 | 14.08 | 981.68 | 78.0191 | 54.9313
2019-10-13 21:15:00 | 7.244 | 17.9597 | 10.331 | 69.1647 | 4.195 | 39.4771 | 1.6383 | 202.844 | 13.96 | 981.977 | 78.0546 | 48.6068
2019-10-13 21:30:00 | 12.0953 | 27.171 | 10.331 | 79.375 | 3.428 | 7.4324 | 7.263 | 207.498 | 13.79 | 982.422 | 78.976 | 40.647
2019-10-13 21:45:00 | 4.4353 | 22.6872 | 8.03 | 68.0681 | 5.9847 | 28.5113 | 3.9393 | 199.14 | 13.77 | 982.571 | 79.1126 | 24.1052
2019-10-13 22:00:00 | 0.372 | 23.8568 | 7.7743 | 71.8205 | 5.2177 | 8.7727 | 0 | 214.272 | 13.71 | 982.868 | 78.498 | 21.0385
2019-10-13 22:15:00 | 3.9247 | 25.8301 | 8.797 | 67.9685 | 6.2403 | 8.1876 | 1.774 | 205.13 | 13.59 | 982.868 | 78.1551 | 20.3808
2019-10-13 22:30:00 | 9.7973 | 11.1848 | 7.5187 | 77.5686 | 6.7517 | 8.5044 | 3.5637 | 189.728 | 13.45 | 983.165 | 77.6084 | 36.7194
2019-10-13 22:45:00 | 6.2227 | 3.8501 | 10.5867 | 61.8516 | 6.496 | 3.0947 | 1.6383 | 190.532 | 12.95 | 983.165 | 80.2706 | 39.7455
2019-10-13 23:00:00 | 3.1587 | 9.5038 | 9.8197 | 63.4146 | 6.7517 | 5.6048 | 2.661 | 194.244 | 12.67 | 983.165 | 81.1612 | 43.8098
2019-10-13 23:15:00 | 6.7333 | 10.4799 | 9.8197 | 64.107 | 8.5413 | 5.2399 | 2.1497 | 197.826 | 12.34 | 983.165 | 81.922 | 54.4754
2019-10-13 23:30:00 | 10.8187 | 12.3082 | 8.5413 | 63.7446 | 7.263 | 7.1412 | 1.007 | 200.636 | 12.17 | 983.165 | 81.8226 | 53.9569
2019-10-13 23:45:00 | 6.478 | 14.1362 | 9.3083 | 60.1376 | 7.7743 | 12.3326 | 1.2627 | 197.005 | 11.96 | 983.165 | 82.2666 | 58.6573