## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-14 00:00:00 | 8.5207 | 354.063 | 7.263 | 57.1885 | 6.2403 | 15.9398 | 4.962 | 192.204 | 11.56 | 983.313 | 83.4272 | 57.7024
2019-10-14 00:15:00 | 13.1167 | 7.3362 | 11.3537 | 64.0129 | 6.2403 | 9.2373 | 8.2857 | 183.551 | 11.12 | 983.165 | 84.9974 | 69.0847
2019-10-14 00:30:00 | 7.7547 | 2.2423 | 7.263 | 74.8831 | 5.4733 | 5.3864 | 3.428 | 197.956 | 10.81 | 983.476 | 85.4071 | 63.4996
2019-10-14 00:45:00 | 4.18 | 6.5806 | 10.5867 | 68.0588 | 5.4733 | 14.9405 | 1.5183 | 197.639 | 10.6 | 983.584 | 86.4994 | 62.2125
2019-10-14 01:00:00 | 5.712 | 17.5728 | 11.3537 | 71.5441 | 4.195 | 29.7348 | 2.9167 | 202.684 | 10.48 | 983.511 | 86.7725 | 67.4125
2019-10-14 01:15:00 | 11.5847 | 10.1147 | 10.0753 | 81.5373 | 3.428 | 29.4424 | 3.1723 | 198.59 | 10.45 | 983.8 | 86.2949 | 58.1495
2019-10-14 01:30:00 | 5.2013 | 8.8476 | 12.1207 | 67.4038 | 6.2403 | 351.419 | 3.1723 | 195.038 | 10.53 | 983.62 | 85.3418 | 64.6456
2019-10-14 01:45:00 | 4.18 | 23.7156 | 12.632 | 75.4229 | 5.2177 | 13.4055 | 1.6383 | 203.447 | 10.59 | 983.662 | 84.3179 | 65.8717
2019-10-14 02:00:00 | 5.2013 | 24.1066 | 10.8423 | 78.9856 | 4.4507 | 30.7609 | 3.9393 | 207.721 | 10.59 | 983.792 | 80.3273 | 62.426
2019-10-14 02:15:00 | 4.6907 | 16.6718 | 12.1207 | 72.158 | 4.195 | 19.9623 | 2.661 | 191.652 | 10.59 | 984.078 | 78.7204 | 69.1675
2019-10-14 02:30:00 | 6.478 | 8.7265 | 16.467 | 71.7505 | 4.962 | 1.9988 | 4.195 | 195.25 | 10.43 | 984.134 | 78.0435 | 71.9978
2019-10-14 02:45:00 | 3.9247 | 11.0425 | 12.1207 | 63.2453 | 5.9847 | 2.4864 | 1.007 | 192.793 | 10.37 | 983.987 | 77.4308 | 71.2973
2019-10-14 03:00:00 | 6.478 | 13.7488 | 13.1433 | 66.515 | 3.428 | 7.9226 | 3.6837 | 191.484 | 10.37 | 984.153 | 74.9414 | 66.6053
2019-10-14 03:15:00 | 4.946 | 24.9616 | 12.1207 | 76.1898 | 5.2177 | 38.5637 | 2.1497 | 207.907 | 10.4 | 983.89 | 75.5195 | 65.0158
2019-10-14 03:30:00 | 6.9887 | 11.4324 | 14.6773 | 67.2175 | 2.1497 | 10.3354 | 4.4507 | 196.373 | 10.36 | 983.454 | 74.7327 | 64.911
2019-10-14 03:45:00 | 3.1587 | 13.1879 | 9.0527 | 61.7846 | 5.9847 | 21.1348 | 4.4507 | 194.333 | 10.22 | 984.547 | 77.774 | 68.4492
2019-10-14 04:00:00 | 4.6907 | 11.2379 | 11.098 | 59.0798 | 5.9847 | 334.773 | 2.9167 | 201.649 | 9.95 | 984.565 | 79.0042 | 60.1551
2019-10-14 04:15:00 | 3.6693 | 17.43 | 11.3537 | 79.2415 | 4.962 | 178.445 | 0.37567 | 193.266 | 9.86 | 984.766 | 78.8689 | 57.3596
2019-10-14 04:30:00 | 5.9673 | 14.8699 | 12.8877 | 66.5869 | 3.428 | 16.7957 | 2.661 | 196.99 | 9.9 | 984.642 | 78.5934 | 55.9532
2019-10-14 04:45:00 | 2.9033 | 18.3071 | 10.5867 | 66.1481 | 5.4733 | 16.0888 | 1.774 | 193.358 | 9.78 | 985.094 | 79.1738 | 51.4806
2019-10-14 05:00:00 | 6.2227 | 30.8618 | 12.632 | 82.629 | 5.729 | 20.1114 | 4.4507 | 209.792 | 9.63 | 984.951 | 78.7999 | 44.6559
2019-10-14 05:15:00 | 6.478 | 15.9684 | 11.865 | 76.1272 | 5.9847 | 356.985 | 4.195 | 201.982 | 9.59 | 985.545 | 78.3276 | 45.7089
2019-10-14 05:30:00 | 9.542 | 227.921 | 10.8423 | 64.7178 | 9.0527 | 27.4754 | 2.661 | 164.852 | 9.55 | 985.693 | 79.0788 | 46.374
2019-10-14 05:45:00 | 5.2013 | 18.9675 | 9.3083 | 74.1304 | 5.4733 | 332.882 | 3.1723 | 193.112 | 9.45 | 985.842 | 78.3978 | 51.1313
2019-10-14 06:00:00 | 2.3927 | 8.1674 | 11.3537 | 62.1617 | 5.4733 | 19.1142 | 1.6383 | 188.436 | 9.38 | 986.139 | 77.9215 | 54.2588
2019-10-14 06:15:00 | 4.6907 | 18.6271 | 11.6093 | 74.33 | 6.2403 | 43.5688 | 2.0297 | 201.631 | 9.3 | 986.288 | 75.6357 | 52.8732
2019-10-14 06:30:00 | 6.478 | 21.2846 | 14.6773 | 77.2803 | 4.4507 | 81.4814 | 4.195 | 197.974 | 9.38 | 986.139 | 70.0015 | 57.211
2019-10-14 06:45:00 | 5.712 | 18.2614 | 12.632 | 81.7422 | 5.2177 | 348.723 | 2.1497 | 202.119 | 9.28 | 986.288 | 65.5626 | 52.0501
2019-10-14 07:00:00 | 3.6693 | 16.9205 | 11.098 | 65.9189 | 5.4733 | 38.0345 | 4.4507 | 209.58 | 9.24 | 986.436 | 65.6309 | 54.6799
2019-10-14 07:15:00 | 9.7973 | 28.6965 | 9.3083 | 81.6447 | 5.4733 | 30.135 | 7.5187 | 217.528 | 9.17 | 987.03 | 65.426 | 52.0219
2019-10-14 07:30:00 | 4.6907 | 11.5566 | 12.8877 | 69.7955 | 4.195 | 19.3342 | 2.4053 | 197.633 | 9.16 | 987.476 | 65.6309 | 59.3393
2019-10-14 07:45:00 | 6.478 | 22.7475 | 13.399 | 79.1578 | 4.195 | 6.4854 | 5.4733 | 198.901 | 9.13 | 987.624 | 65.0162 | 57.5824
2019-10-14 08:00:00 | 4.18 | 14.0917 | 10.331 | 69.6456 | 3.428 | 55.1965 | 2.4053 | 195.943 | 9.24 | 988.219 | 66.4477 | 53.3792
2019-10-14 08:15:00 | 5.712 | 31.1551 | 10.331 | 79.0234 | 5.9847 | 21.1601 | 3.6837 | 208.846 | 9.24 | 988.219 | 67.1931 | 55.5446
2019-10-14 08:30:00 | 3.6693 | 11.5303 | 9.564 | 72.8763 | 5.9847 | 11.3109 | 3.1723 | 190.969 | 9.55 | 988.789 | 65.6198 | 53.5531
2019-10-14 08:45:00 | 4.6907 | 1.5842 | 11.098 | 69.2292 | 5.9847 | 22.7399 | 3.1723 | 189.256 | 9.54 | 989.125 | 69.5686 | 55.3551
2019-10-14 09:00:00 | 10.308 | 19.6201 | 10.5867 | 70.1061 | 8.03 | 43.4323 | 3.1723 | 200.393 | 9.55 | 989.157 | 68.8172 | 57.4638
2019-10-14 09:15:00 | 12.8613 | 15.6717 | 9.0527 | 74.4932 | 6.496 | 7.6531 | 3.6837 | 187.427 | 9.63 | 989.104 | 67.3835 | 50.0541
2019-10-14 09:30:00 | 6.2227 | 17.8652 | 9.0527 | 68.4 | 5.4733 | 18.3283 | 1.5183 | 205.584 | 9.62 | 989.698 | 63.5604 | 46.4691
2019-10-14 09:45:00 | 4.6907 | 13.7217 | 11.3537 | 68.3016 | 6.2403 | 344.944 | 0.75133 | 197.149 | 9.66 | 989.995 | 61.4774 | 48.0738
2019-10-14 10:00:00 | 4.946 | 7.7739 | 11.098 | 64.1964 | 1.894 | 23.3459 | 3.428 | 181.65 | 10.1 | 989.698 | 57.3399 | 52.4003
2019-10-14 10:15:00 | 3.9247 | 18.0081 | 7.5187 | 47.9141 | 5.729 | 2.8023 | 1.2627 | 183.882 | 10.05 | 990.292 | 57.6099 | 52.6922
2019-10-14 10:30:00 | 3.6693 | 8.1144 | 12.632 | 64.7257 | 6.2403 | 24.0994 | 2.9167 | 193.137 | 10.07 | 990.144 | 54.7415 | 53.9632
2019-10-14 10:45:00 | 5.712 | 23.6125 | 12.632 | 76.9112 | 2.661 | 16.424 | 0.75133 | 200.767 | 10.27 | 990.292 | 55.4933 | 55.4121
2019-10-14 11:00:00 | 4.946 | 16.3754 | 13.1433 | 69.236 | 3.6837 | 1.389 | 1.894 | 197.455 | 10.83 | 989.995 | 51.057 | 59.0426
2019-10-14 11:15:00 | 4.946 | 15.1085 | 14.166 | 69.3108 | 3.428 | 33.5555 | 4.7063 | 204.33 | 10.41 | 990.292 | 51.2968 | 60.5579
2019-10-14 11:30:00 | 8.5207 | 9.4794 | 11.098 | 85.3942 | 2.1497 | 43.961 | 3.428 | 191.708 | 10.98 | 990.292 | 45.529 | 54.5346
2019-10-14 11:45:00 | 7.244 | 2.3638 | 11.865 | 66.1917 | 4.7063 | 18.179 | 2.4053 | 187.638 | 11.13 | 990.292 | 42.2184 | 43.5654
2019-10-14 12:00:00 | 6.2227 | 15.206 | 11.098 | 73.9652 | 4.4507 | 26.0744 | 3.1723 | 182.667 | 11.11 | 990.144 | 42.4573 | 49.5692
2019-10-14 12:15:00 | 6.9887 | 22.1003 | 11.098 | 69.7902 | 5.9847 | 19.0545 | 2.661 | 190.155 | 11.43 | 990.292 | 44.0916 | 53.5929
2019-10-14 12:30:00 | 4.6907 | 19.321 | 12.3763 | 67.0542 | 3.6837 | 27.7999 | 0.63133 | 204.394 | 11.72 | 990.137 | 41.4947 | 47.6959
2019-10-14 12:45:00 | 4.6907 | 21.6113 | 11.3537 | 68.9546 | 4.962 | 356.842 | 0.63133 | 206.269 | 11.46 | 989.864 | 42.3477 | 55.8068
2019-10-14 13:00:00 | 13.8827 | 353.65 | 7.7743 | 50.5351 | 7.7743 | 5.7256 | 7.5187 | 176.715 | 11.64 | 989.849 | 39.2083 | 55.6325
2019-10-14 13:15:00 | 1.7653 | 25.5339 | 6.2403 | 89.6888 | 3.6837 | 178.518 | 1.894 | 202.688 | 11.85 | 990.202 | 36.5808 | 53.7859
2019-10-14 13:30:00 | 8.776 | 355.989 | 11.3537 | 83.3784 | 3.1723 | 290.619 | 3.428 | 165.8 | 11.78 | 989.694 | 35.4547 | 56.4593
2019-10-14 13:45:00 | 2.648 | 30.4556 | 8.5413 | 73.3158 | 1.6383 | 323.511 | 1.654 | 198.619 | 11.86 | 989.706 | 36.1031 | 62.066
2019-10-14 14:00:00 | 1.51 | 17.2744 | 9.3083 | 84.4504 | 2.4053 | 309.818 | 3.0523 | 206.927 | 11.89 | 989.693 | 37.0244 | 52.1991
2019-10-14 14:15:00 | 15.67 | 7.1388 | 8.5413 | 67.444 | 3.6837 | 8.1134 | 5.729 | 182.709 | 11.94 | 989.544 | 36.5467 | 58.2847
2019-10-14 14:30:00 | 10.8187 | 343.149 | 7.263 | 52.6548 | 6.496 | 14.5456 | 3.1723 | 157.541 | 11.95 | 989.544 | 34.8405 | 52.3063
2019-10-14 14:45:00 | 10.5633 | 32.4534 | 4.962 | 79.3582 | 1.6383 | 344.635 | 4.195 | 198.18 | 11.81 | 989.692 | 33.9533 | 46.4479
2019-10-14 15:00:00 | 2.3927 | 84.9588 | 7.263 | 69.8561 | 0.37567 | 338.422 | 0 | 157.735 | 11.99 | 989.84 | 35.2158 | 42.2062
2019-10-14 15:15:00 | 4.6907 | 0.38983 | 7.7743 | 30.7268 | 3.9393 | 17.6399 | 4.7063 | 179.201 | 12.05 | 989.989 | 34.9429 | 39.0524
2019-10-14 15:30:00 | 9.2867 | 6.3835 | 7.7743 | 45.9546 | 3.6837 | 356.403 | 4.962 | 180.126 | 11.95 | 989.989 | 35.2841 | 37.5175
2019-10-14 15:45:00 | 0 | 352.773 | 5.729 | 77.6283 | 4.4507 | 357.012 | 2.7967 | 141.168 | 11.94 | 989.989 | 34.4651 | 35.4705
2019-10-14 16:00:00 | 0 | 355.575 | 3.1723 | 41.374 | 3.6837 | 17.8104 | 0 | 167.895 | 11.9 | 989.989 | 34.6016 | 30.8483
2019-10-14 16:15:00 | 10.5633 | 16.6896 | 7.7743 | 74.8264 | 6.496 | 0.048729 | 1.5183 | 199.033 | 11.85 | 989.84 | 34.8746 | 32.4777
2019-10-14 16:30:00 | 3.6693 | 354.6 | 5.729 | 65.2999 | 5.729 | 16.7871 | 1.5183 | 182.538 | 11.81 | 989.716 | 35.25 | 31.8052
2019-10-14 16:45:00 | 1.6267 | 350.775 | 6.7517 | 62.7417 | 3.6837 | 10.5985 | 1.894 | 177.373 | 11.66 | 989.91 | 36.5808 | 31.9567
2019-10-14 17:00:00 | 4.18 | 341.629 | 5.9847 | 48.9837 | 5.2177 | 6.5548 | 0 | 182.169 | 11.4 | 989.697 | 35.4246 | 25.7013
2019-10-14 17:15:00 | 0 | 343.196 | 4.7063 | 49.7407 | 5.9847 | 16.497 | 0.63133 | 169.698 | 11.19 | 989.252 | 36.2446 | 25.3208
2019-10-14 17:30:00 | 12.3507 | 326.936 | 4.7063 | 70.6599 | 3.428 | 54.5178 | 4.7063 | 169.012 | 10.93 | 989.104 | 36.5905 | 27.5651
2019-10-14 17:45:00 | 1.7653 | 2.4373 | 6.496 | 76.6136 | 4.7063 | 3.8996 | 0.63133 | 184.087 | 10.74 | 988.807 | 37.4808 | 23.2923
2019-10-14 18:00:00 | 2.276 | 353.502 | 5.9847 | 55.8237 | 4.7063 | 6.1907 | 0 | 183.819 | 10.36 | 988.823 | 38.9145 | 19.5568
2019-10-14 18:15:00 | 0 | 0.097491 | 5.729 | 60.6738 | 3.428 | 23.3735 | 0 | 183.746 | 10.32 | 989.107 | 38.3683 | 18.6922
2019-10-14 18:30:00 | 0.372 | 355.485 | 5.729 | 58.0541 | 3.9393 | 355.388 | 4.195 | 171.392 | 10.2 | 989.196 | 39.5353 | 19.1541
2019-10-14 18:45:00 | 0 | 3.7541 | 6.7517 | 64.7836 | 4.4507 | 12.4567 | 5.9847 | 184.827 | 10.01 | 989.345 | 39.6043 | 23.2664
2019-10-14 19:00:00 | 0 | 8.8245 | 6.7517 | 64.7346 | 4.4507 | 356.977 | 2.2853 | 189.97 | 9.83 | 989.522 | 39.4676 | 25.6644
2019-10-14 19:15:00 | 2.648 | 7.3865 | 6.2403 | 71.612 | 2.4053 | 22.5008 | 0.75133 | 198.363 | 9.67 | 989.555 | 40.698 | 28.2914
2019-10-14 19:30:00 | 5.2013 | 19.9434 | 5.729 | 70.8914 | 2.4053 | 13.7751 | 3.6837 | 200.166 | 9.53 | 989.704 | 41.5907 | 25.6385
2019-10-14 19:45:00 | 0 | 15.7989 | 7.263 | 77.5731 | 2.661 | 49.6399 | 5.729 | 203.753 | 9.37 | 989.407 | 41.9327 | 27.9552
2019-10-14 20:00:00 | 0.372 | 21.1628 | 7.0073 | 74.6473 | 4.4507 | 11.3616 | 0 | 202.022 | 9.25 | 989.407 | 43.5035 | 29.3814
2019-10-14 20:15:00 | 14.904 | 15.5551 | 7.263 | 67.138 | 2.661 | 8.2652 | 10.8423 | 198.681 | 9.14 | 989.407 | 44.323 | 28.2877
2019-10-14 20:30:00 | 0 | 25.7708 | 5.9847 | 83.0344 | 4.195 | 28.2333 | 1.774 | 210.799 | 8.76 | 989.407 | 45.9621 | 24.4451
2019-10-14 20:45:00 | 3.6693 | 18.5296 | 7.5187 | 67.5524 | 3.428 | 57.1492 | 5.9847 | 203.094 | 8.96 | 989.445 | 44.8694 | 23.5657
2019-10-14 21:00:00 | 0 | 27.3556 | 6.2403 | 75.135 | 4.962 | 43.1789 | 0 | 215.675 | 8.76 | 989.198 | 45.4157 | 21.0348
2019-10-14 21:15:00 | 7.7547 | 32.0855 | 6.7517 | 82.0592 | 2.9167 | 35.1087 | 5.4733 | 217.455 | 8.75 | 989.335 | 44.9377 | 23.4955
2019-10-14 21:30:00 | 9.7973 | 24.5761 | 7.263 | 80.0843 | 4.7063 | 22.0893 | 3.1723 | 209.75 | 8.76 | 989.338 | 43.2303 | 20.0039
2019-10-14 21:45:00 | 9.0313 | 23.6984 | 7.263 | 84.8874 | 5.9847 | 36.5716 | 1.774 | 202.144 | 8.73 | 989.38 | 43.0254 | 18.1121
2019-10-14 22:00:00 | 4.946 | 24.503 | 7.7743 | 76.5734 | 3.428 | 40.5214 | 2.1497 | 205.191 | 8.6 | 989.534 | 44.2889 | 20.7687
2019-10-14 22:15:00 | 5.9673 | 27.9895 | 8.2857 | 69.3323 | 4.962 | 266.51 | 2.4053 | 209.482 | 8.39 | 989.702 | 44.1864 | 22.0952
2019-10-14 22:30:00 | 9.542 | 15.6039 | 7.5187 | 66.8454 | 2.661 | 31.1346 | 3.428 | 201.412 | 8.16 | 989.412 | 46.3719 | 23.998
2019-10-14 22:45:00 | 6.2227 | 21.2115 | 9.0527 | 74.6961 | 4.7063 | 32.5731 | 4.195 | 209.775 | 7.899 | 989.264 | 47.0548 | 26.832
2019-10-14 23:00:00 | 0 | 33.0127 | 7.0073 | 75.0883 | 4.195 | 20.6756 | 0.63133 | 222.994 | 7.896 | 988.967 | 47.8071 | 25.9748
2019-10-14 23:15:00 | 0 | 27.1401 | 5.4733 | 72.1984 | 4.195 | 47.355 | 2.0297 | 218.608 | 7.644 | 989.116 | 49.384 | 21.3673
2019-10-14 23:30:00 | 0 | 16.0716 | 5.2177 | 91.4768 | 6.2403 | 42.9958 | 0 | 213.589 | 7.452 | 988.818 | 49.3222 | 17.8055
2019-10-14 23:45:00 | 2.9033 | 29.2426 | 6.2403 | 88.4586 | 3.9393 | 32.5351 | 3.428 | 214.137 | 7.461 | 988.818 | 50.5546 | 16.3017