## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-15 00:00:00 | 0 | 30.2428 | 4.962 | 81.362 | 3.428 | 16.9262 | 0 | 217.236 | 7.3 | 988.818 | 52.3312 | 18.622
2019-10-15 00:15:00 | 0 | 34.511 | 5.4733 | 90.4352 | 3.6837 | 23.5602 | 0 | 215.846 | 6.969 | 988.521 | 55.269 | 18.6109
2019-10-15 00:30:00 | 8.01 | 39.267 | 7.7743 | 95.8985 | 4.962 | 60.0711 | 2.7967 | 216.7 | 7.203 | 988.521 | 54.5175 | 17.8424
2019-10-15 00:45:00 | 14.6487 | 36.6573 | 8.03 | 91.6547 | 6.7517 | 57.0468 | 8.5413 | 224.066 | 7.443 | 988.521 | 53.5611 | 16.867
2019-10-15 01:00:00 | 1.7653 | 40.901 | 5.2177 | 90.8987 | 2.661 | 42.9741 | 1.9097 | 218.456 | 7.527 | 988.521 | 53.9026 | 14.3323
2019-10-15 01:15:00 | 0 | 33.6573 | 7.263 | 106.703 | 4.962 | 34.6085 | 0 | 214.114 | 7.391 | 988.521 | 54.0391 | 13.0354
2019-10-15 01:30:00 | 0 | 54.3396 | 7.0073 | 95.2887 | 3.6837 | 26.3406 | 0 | 218.797 | 7.284 | 988.521 | 54.3467 | 9.2888
2019-10-15 01:45:00 | 3.5527 | 47.2423 | 8.2857 | 103.118 | 3.428 | 49.291 | 0 | 226.114 | 7.348 | 988.521 | 53.4927 | 11.5094
2019-10-15 02:00:00 | 7.4993 | 45.3643 | 7.263 | 87.6549 | 4.4507 | 6.6095 | 0.887 | 225.48 | 7.368 | 987.927 | 52.263 | 17.9052
2019-10-15 02:15:00 | 0 | 42.9985 | 5.729 | 87.5573 | 1.3827 | 344.817 | 3.6837 | 227.065 | 7.576 | 988.373 | 53.3219 | 12.06
2019-10-15 02:30:00 | 3.1587 | 45.7058 | 7.263 | 90.2401 | 4.7063 | 18.6579 | 1.6383 | 231.309 | 7.261 | 987.927 | 52.9462 | 10.3862
2019-10-15 02:45:00 | 0 | 46.0228 | 5.4733 | 86.8256 | 4.195 | 16.4629 | 0 | 220.334 | 7.263 | 987.927 | 50.2135 | 7.9439
2019-10-15 03:00:00 | 2.7867 | 46.8764 | 6.496 | 92.045 | 4.7063 | 19.7066 | 1.5183 | 221.041 | 7.306 | 987.63 | 44.2699 | 9.4773
2019-10-15 03:15:00 | 0.62733 | 30.0965 | 6.7517 | 89.9962 | 4.195 | 22.926 | 4.195 | 219.602 | 7.216 | 987.481 | 40.2391 | 7.1902
2019-10-15 03:30:00 | 0 | 27.9015 | 5.9847 | 83.5087 | 3.6837 | 29.9502 | 3.0523 | 218.285 | 7.699 | 987.778 | 38.8728 | 7.083
2019-10-15 03:45:00 | 0 | 33.5111 | 5.4733 | 88.7768 | 3.9393 | 19.4384 | 0 | 220.017 | 7.776 | 987.927 | 35.3202 | 5.6346
2019-10-15 04:00:00 | 0 | 29.56 | 4.962 | 89.9962 | 2.661 | 44.9009 | 0 | 212.115 | 7.737 | 987.63 | 37.3698 | 3.3808
2019-10-15 04:15:00 | 0 | 26.4381 | 3.1723 | 84.3867 | 1.894 | 38.584 | 0 | 208.798 | 7.66 | 987.778 | 37.0282 | 2.1873
2019-10-15 04:30:00 | 0 | 21.5846 | 4.962 | 86.7037 | 2.9167 | 32.3891 | 0 | 214.895 | 7.493 | 987.63 | 36.4475 | 1.8659
2019-10-15 04:45:00 | 0 | 22.5358 | 3.6837 | 79.899 | 2.4053 | 45.3155 | 0 | 212.066 | 7.393 | 987.927 | 34.6371 | 1.3597
2019-10-15 05:00:00 | 0 | 26.1454 | 4.4507 | 65.5824 | 2.9167 | 31.6818 | 0 | 206.286 | 7.555 | 987.927 | 34.6371 | 1.005
2019-10-15 05:15:00 | 0 | 18.9262 | 4.7063 | 76.3382 | 2.9167 | 13.0727 | 0 | 198.091 | 7.474 | 988.224 | 34.9103 | 0.218
2019-10-15 05:30:00 | 0 | 9.0729 | 3.428 | 66.0946 | 2.1497 | 18.3652 | 0 | 192.628 | 7.481 | 988.224 | 34.3638 | -7.4506e-09
2019-10-15 05:45:00 | 0 | 6.7315 | 2.661 | 61.5094 | 1.3827 | 2.3658 | 0 | 191.457 | 7.296 | 988.076 | 37.643 | -0.16996
2019-10-15 06:00:00 | 0 | 356.183 | 3.1723 | 45.1929 | 1.894 | 344.061 | 0 | 180.043 | 6.645 | 988.076 | 42.2203 | -0.29928
2019-10-15 06:15:00 | 0 | 351.305 | 2.9167 | 42.3881 | 1.894 | 0.048779 | 0 | 175.262 | 6.359 | 987.927 | 50.2135 | -0.1404
2019-10-15 06:30:00 | 0 | 3.4145 | 2.9167 | 61.8509 | 1.894 | 17.2189 | 0 | 193.31 | 6.016 | 987.778 | 55.4398 | -0.20691
2019-10-15 06:45:00 | 0 | 10.146 | 3.1723 | 73.0456 | 2.9167 | 5.2681 | 0 | 198.603 | 6.093 | 987.778 | 48.0273 | -0.14779
2019-10-15 07:00:00 | 0 | 25.5113 | 1.3827 | 78.143 | 0 | 48.1935 | 0 | 206.627 | 6.676 | 988.224 | 45.2263 | -0.25125
2019-10-15 07:15:00 | 0 | 51.1556 | 1.6383 | 80.4581 | 1.3827 | 27.8454 | 0 | 230.322 | 7.653 | 988.521 | 41.458 | -0.25125
2019-10-15 07:30:00 | 0 | 121.028 | 1.3827 | 174.22 | 0 | 132.536 | 0 | 291.135 | 7.985 | 988.676 | 41.6596 | -0.26972
2019-10-15 07:45:00 | 1.6267 | 139.32 | 4.962 | 194.927 | 2.9167 | 141.172 | 0 | 328.411 | 6.972 | 988.862 | 51.9562 | -0.26972
2019-10-15 08:00:00 | 0 | 151.794 | 3.428 | 206.033 | 2.1497 | 149.308 | 0 | 333.249 | 6.773 | 989.107 | 53.1149 | -0.29928
2019-10-15 08:15:00 | 0 | 154.913 | 3.1723 | 207.788 | 2.4053 | 144.092 | 0 | 353.21 | 7.375 | 989.104 | 53.1149 | -0.25125
2019-10-15 08:30:00 | 0 | 186.06 | 2.4053 | 234.059 | 2.4053 | 199.66 | 0 | 325.787 | 8.11 | 989.698 | 52.3633 | -0.25125
2019-10-15 08:45:00 | 0 | 202.085 | 2.661 | 240.447 | 2.661 | 198.552 | 0 | 4.0938 | 8.63 | 989.698 | 49.8967 | -0.24016
2019-10-15 09:00:00 | 0 | 188.879 | 1.894 | 238.743 | 1.894 | 206.327 | 0 | 356.801 | 9.16 | 989.698 | 46.2111 | -0.32145
2019-10-15 09:15:00 | 1.51 | 146.159 | 2.4053 | 239.981 | 2.661 | 199.281 | 0 | 341.687 | 9.58 | 990.292 | 43.9578 | -0.29189
2019-10-15 09:30:00 | 0 | 178.105 | 3.428 | 232.173 | 2.4053 | 170.089 | 0 | 5.0191 | 10.05 | 990.179 | 40.8122 | -0.062812
2019-10-15 09:45:00 | 0 | 152.229 | 3.428 | 209.367 | 2.4053 | 181.418 | 0 | 323.609 | 10.16 | 990.583 | 43.1667 | -0.044338
2019-10-15 10:00:00 | 0 | 147.549 | 2.9167 | 189.74 | 2.4053 | 151.178 | 0 | 341.966 | 9.98 | 990.583 | 43.7388 | 0.25864
2019-10-15 10:15:00 | 0 | 155.299 | 2.9167 | 222.35 | 0.75133 | 168.501 | 0 | 305.069 | 10.4 | 990.286 | 46.8374 | 0.76483
2019-10-15 10:30:00 | 0 | 52.2196 | 2.1497 | 163.597 | 1.3827 | 140.73 | 0 | 216.77 | 11.27 | 990.583 | 41.3781 | 1.5851
2019-10-15 10:45:00 | 0 | 70.7302 | 2.1497 | 145.451 | 2.1497 | 143.628 | 0 | 273.714 | 11.49 | 990.731 | 40.8665 | 1.5851
2019-10-15 11:00:00 | 0 | 52.2196 | 1.894 | 105.775 | 1.3827 | 90.5318 | 0 | 237.156 | 11.5 | 990.2 | 40.2524 | 0.18474
2019-10-15 11:15:00 | 0 | 165.816 | 3.1723 | 236.919 | 2.4053 | 182.254 | 0 | 328.126 | 13.36 | 990.132 | 37.1768 | 0.12193
2019-10-15 11:30:00 | 0 | 333.136 | 1.127 | 287.493 | 2.1497 | 119.958 | 0 | 209.89 | 13.52 | 990.131 | 35.0615 | -0.26972
2019-10-15 11:45:00 | 0 | 323.248 | 2.661 | 12.7431 | 3.428 | 296.851 | 0 | 145.211 | 13.44 | 989.686 | 39.427 | -0.26233
2019-10-15 12:00:00 | 0 | 20.8434 | 2.1497 | 75.4024 | 3.1723 | 36.7194 | 0 | 193.97 | 13.15 | 989.389 | 36.9339 | -0.26972
2019-10-15 12:15:00 | 0 | 300.397 | 2.4053 | 32.8136 | 2.4053 | 325.94 | 0 | 123.67 | 13.04 | 989.517 | 38.7406 | -0.2882
2019-10-15 12:30:00 | 0 | 280.349 | 3.9393 | 335.343 | 3.6837 | 310.541 | 0 | 103.165 | 12.96 | 988.859 | 38.3984 | -0.26972
2019-10-15 12:45:00 | 0 | 308.697 | 4.195 | 11.6233 | 4.195 | 295.718 | 0 | 125.091 | 13.73 | 988.944 | 37.038 | -0.2882
2019-10-15 13:00:00 | 0 | 283.31 | 2.1497 | 1.59 | 1.6383 | 294.95 | 0 | 106.588 | 12.79 | 988.499 | 37.8579 | -0.25125
2019-10-15 13:15:00 | 0 | 16.8516 | 2.661 | 45.799 | 3.6837 | 347.576 | 0 | 185.367 | 13.97 | 988.647 | 34.8226 | -0.25125
2019-10-15 13:30:00 | 0 | 260.615 | 5.4733 | 334.224 | 3.9393 | 339.345 | 0 | 90.3215 | 13.64 | 988.499 | 37.6535 | -0.25125
2019-10-15 13:45:00 | 0 | 299.968 | 0 | 7.0794 | 0.75133 | 338.054 | 0 | 140.584 | 13.33 | 988.499 | 37.3124 | -0.24016
2019-10-15 14:00:00 | 0 | 280.356 | 3.428 | 330.785 | 1.894 | 289.269 | 3.6837 | 107.569 | 13.3 | 988.35 | 36.4277 | -0.26972
2019-10-15 14:15:00 | 0 | 303.509 | 5.4733 | 11.5489 | 5.2177 | 289.87 | 0.37567 | 126.352 | 13.62 | 988.35 | 37.3166 | -0.19583
2019-10-15 14:30:00 | 0 | 294.222 | 4.7063 | 36.5062 | 2.9167 | 286.331 | 0 | 111.868 | 13.37 | 988.252 | 36.773 | -0.20691
2019-10-15 14:45:00 | 0 | 309.566 | 2.4053 | 10.7447 | 2.9167 | 277.124 | 0 | 125.483 | 13.57 | 987.993 | 36.5001 | -0.2882
2019-10-15 15:00:00 | 0 | 252.354 | 3.6837 | 304.302 | 3.9393 | 259.49 | 0 | 90.3856 | 13.8 | 988.295 | 35.1356 | -0.2882
2019-10-15 15:15:00 | 0 | 269.111 | 3.428 | 298.359 | 3.1723 | 251.477 | 0 | 86.6104 | 13.85 | 988.041 | 33.737 | -0.2143
2019-10-15 15:30:00 | 0 | 293.637 | 4.4507 | 336.915 | 4.962 | 283.944 | 0 | 119.637 | 13.84 | 988.092 | 33.1571 | -0.27711
2019-10-15 15:45:00 | 0 | 309.639 | 4.195 | 10.3793 | 4.195 | 308.129 | 1.894 | 132.57 | 13.69 | 988.04 | 32.4407 | -0.16996
2019-10-15 16:00:00 | 0 | 280.339 | 3.1723 | 36.4088 | 2.4053 | 294.807 | 0 | 108.555 | 13.88 | 988.073 | 32.7477 | -0.15149
2019-10-15 16:15:00 | 0 | 309.104 | 3.9393 | 0.58817 | 3.428 | 305.28 | 0 | 130.5 | 13.77 | 987.856 | 33.5664 | -0.084981
2019-10-15 16:30:00 | 0.62733 | 300.019 | 2.661 | 6.3606 | 2.4053 | 279.462 | 0 | 121.294 | 13.3 | 987.02 | 35.4767 | -0.1404
2019-10-15 16:45:00 | 0 | 299.86 | 2.9167 | 11.9121 | 2.661 | 320.591 | 0 | 129.99 | 12.85 | 985.981 | 35.7568 | -0.23278
2019-10-15 17:00:00 | 0 | 301.388 | 1.894 | 8.3051 | 1.127 | 309.574 | 0 | 125.501 | 12.75 | 985.684 | 36.5125 | -0.26972
2019-10-15 17:15:00 | 0.99933 | 310.109 | 2.661 | 7.5235 | 2.4053 | 313.618 | 0 | 130.54 | 12.7 | 985.979 | 35.5625 | -0.25125
2019-10-15 17:30:00 | 4.18 | 330.579 | 2.4053 | 14.9928 | 2.661 | 335.989 | 0 | 146.989 | 12.63 | 985.837 | 35.5626 | -0.23647
2019-10-15 17:45:00 | 2.0207 | 334.729 | 2.9167 | 15.4373 | 2.661 | 334.29 | 0 | 154.228 | 12.55 | 985.837 | 35.5002 | -0.26972
2019-10-15 18:00:00 | 0.744 | 348.189 | 3.6837 | 43.3692 | 3.6837 | 7.3606 | 0 | 171.365 | 12.5 | 985.837 | 36.1154 | -0.1441
2019-10-15 18:15:00 | 0 | 356.915 | 3.6837 | 43.1254 | 3.1723 | 356.963 | 0 | 179.481 | 12.37 | 985.837 | 36.9346 | -0.0073897
2019-10-15 18:30:00 | 0 | 0.68244 | 2.9167 | 48.0731 | 2.4053 | 6.6781 | 0 | 184.331 | 12.22 | 985.837 | 38.8462 | 0.58009
2019-10-15 18:45:00 | 0 | 3.0222 | 3.9393 | 59.4064 | 2.661 | 5.1426 | 0 | 189.059 | 12.05 | 985.54 | 37.5149 | 2.4423
2019-10-15 19:00:00 | 0 | 14.9405 | 4.195 | 67.4251 | 2.1497 | 21.7405 | 0 | 198.029 | 11.86 | 985.392 | 38.6414 | 4.0828
2019-10-15 19:15:00 | 0 | 21.9355 | 4.195 | 73.3477 | 2.661 | 21.1312 | 0 | 195.031 | 11.75 | 985.243 | 36.1154 | 3.366
2019-10-15 19:30:00 | 0 | 24.0559 | 4.195 | 69.9842 | 3.1723 | 15.3061 | 0 | 199.905 | 11.87 | 985.55 | 35.1937 | 4.0865
2019-10-15 19:45:00 | 0 | 21.643 | 3.9393 | 67.0107 | 2.9167 | 27.6875 | 0 | 198.979 | 11.82 | 985.57 | 35.023 | 4.3599
2019-10-15 20:00:00 | 0 | 24.0803 | 4.195 | 74.7857 | 2.661 | 18.0846 | 0 | 204.097 | 11.83 | 985.289 | 34.75 | 4.5151
2019-10-15 20:15:00 | 0 | 18.6695 | 4.195 | 72.0315 | 3.428 | 24.4215 | 0 | 198.54 | 11.71 | 985.009 | 34.8865 | 3.7872
2019-10-15 20:30:00 | 0 | 27.005 | 3.6837 | 76.3699 | 2.9167 | 29.3204 | 1.3983 | 210.824 | 11.72 | 985.044 | 35.2279 | 3.0261
2019-10-15 20:45:00 | 0 | 19.9857 | 3.6837 | 75.7362 | 2.9167 | 21.1556 | 0 | 209.508 | 11.68 | 984.992 | 35.7057 | 1.2526
2019-10-15 21:00:00 | 0 | 25.2014 | 3.428 | 75.1512 | 2.9167 | 21.448 | 0 | 207.437 | 11.65 | 984.967 | 36.1154 | -0.12932
2019-10-15 21:15:00 | 0 | 20.1319 | 2.9167 | 64.7197 | 2.1497 | 16.7685 | 0 | 205.657 | 11.79 | 984.973 | 36.1836 | -0.31037
2019-10-15 21:30:00 | 0 | 8.043 | 1.894 | 57.9441 | 1.6383 | 0.51183 | 0 | 194.568 | 11.83 | 985.144 | 36.1837 | -0.24016
2019-10-15 21:45:00 | 0 | 4.6796 | 1.6383 | 55.1656 | 1.6383 | 1.0724 | 0 | 191.57 | 11.74 | 985.313 | 36.7981 | -0.25864
2019-10-15 22:00:00 | 9.0313 | 85.5484 | 2.1497 | 32.9377 | 2.4053 | 334.736 | 10.331 | 189.401 | 11.82 | 985.565 | 36.3202 | -0.29189
2019-10-15 22:15:00 | 3.042 | 344.875 | 2.4053 | 18.8989 | 2.4053 | 338.367 | 0 | 185.599 | 11.74 | 985.6 | 36.3202 | -0.26972
2019-10-15 22:30:00 | 0 | 6.1419 | 2.4053 | 48 | 1.894 | 9.6516 | 0 | 197.273 | 11.57 | 985.286 | 37.4808 | -0.25864
2019-10-15 22:45:00 | 0 | 26.0301 | 3.1723 | 68.7169 | 2.661 | 20.0344 | 0 | 214.237 | 11.52 | 985.285 | 36.6616 | -0.15888
2019-10-15 23:00:00 | 1.2547 | 26.9075 | 2.9167 | 68.9606 | 2.4053 | 9.5541 | 4.7063 | 215.797 | 11.68 | 985.119 | 36.8323 | -0.25864
2019-10-15 23:15:00 | 0 | 33.8294 | 2.4053 | 73.7377 | 2.1497 | 19.4495 | 0 | 223.011 | 11.57 | 985.299 | 37.1395 | -0.25864
2019-10-15 23:30:00 | 0 | 116.112 | 0.75133 | 98.0129 | 0.37567 | 34.3169 | 0 | 305.61 | 11.77 | 985.16 | 37.7539 | -0.25864
2019-10-15 23:45:00 | 0 | 104.072 | 1.127 | 143.249 | 1.127 | 61.6144 | 0 | 304.952 | 11.82 | 984.979 | 37.7539 | -0.26972