## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-16 00:00:00 | 0 | 114.845 | 1.894 | 154.607 | 1.127 | 56.7401 | 0 | 300.469 | 11.96 | 984.987 | 37.208 | -0.25864
2019-10-16 00:15:00 | 0 | 154.426 | 0 | 155.825 | 0 | 79.8452 | 0 | 300.906 | 11.84 | 984.968 | 37.276 | -0.25864
2019-10-16 00:30:00 | 0 | 154.475 | 1.127 | 155.825 | 0 | 79.8939 | 0 | 344.095 | 11.77 | 985.043 | 38.0953 | -0.25864
2019-10-16 00:45:00 | 0 | 156.327 | 0.75133 | 159.14 | 0 | 115.722 | 0 | 356.769 | 11.68 | 985.025 | 37.7539 | -0.25864
2019-10-16 01:00:00 | 0 | 130.053 | 1.894 | 159.14 | 1.127 | 115.771 | 0 | 319.088 | 11.76 | 984.509 | 37.0712 | -0.26972
2019-10-16 01:15:00 | 0 | 115.868 | 0.37567 | 166.671 | 0 | 116.502 | 0 | 292.035 | 11.8 | 984.464 | 37.0712 | -0.25864
2019-10-16 01:30:00 | 0 | 102.853 | 1.3827 | 145.394 | 0.75133 | 96.5162 | 0 | 293.984 | 11.96 | 984.217 | 35.774 | -0.29559
2019-10-16 01:45:00 | 0 | 116.672 | 2.9167 | 161.87 | 2.4053 | 118.549 | 0 | 298.006 | 12.07 | 984.069 | 32.9067 | -0.088676
2019-10-16 02:00:00 | 0 | 96.4674 | 4.4507 | 149.171 | 3.1723 | 96.443 | 0 | 276.923 | 12.29 | 983.811 | 37.4125 | 3.0076
2019-10-16 02:15:00 | 0 | 92.4459 | 3.9393 | 139.788 | 2.9167 | 63.1742 | 0 | 267.735 | 12.03 | 983.47 | 38.4366 | 4.4079
2019-10-16 02:30:00 | 0 | 97.1986 | 3.6837 | 140.86 | 3.1723 | 81.99 | 0 | 274.096 | 11.96 | 983.165 | 36.1837 | 5.6864
2019-10-16 02:45:00 | 0 | 87.6932 | 3.6837 | 138.667 | 2.661 | 111.067 | 0 | 281.091 | 12.02 | 982.868 | 37.6856 | 6.7505
2019-10-16 03:00:00 | 0 | 103.706 | 1.3827 | 156.069 | 0 | 106.509 | 0 | 292.571 | 12.02 | 982.719 | 38.0953 | 6.9906
2019-10-16 03:15:00 | 0 | 117.014 | 2.661 | 167.719 | 1.6383 | 156.327 | 0 | 300.272 | 11.85 | 982.571 | 42.3281 | 5.0213
2019-10-16 03:30:00 | 0 | 113.675 | 2.661 | 169.474 | 2.1497 | 124.52 | 0 | 298.03 | 11.64 | 982.422 | 42.2598 | 5.8563
2019-10-16 03:45:00 | 0 | 114.649 | 2.9167 | 170.278 | 1.894 | 127.47 | 0 | 299.834 | 11.54 | 982.127 | 42.1574 | 6.4734
2019-10-16 04:00:00 | 0 | 123.716 | 2.1497 | 188.68 | 1.127 | 125.861 | 0 | 308.535 | 11.42 | 982.308 | 43.9666 | 5.3945
2019-10-16 04:15:00 | 0 | 127.86 | 2.661 | 168.986 | 1.894 | 114.649 | 0 | 309.388 | 11.3 | 982.296 | 43.4204 | 4.4708
2019-10-16 04:30:00 | 0 | 123.326 | 3.1723 | 179.199 | 1.6383 | 134.343 | 0 | 296.324 | 11.21 | 982.15 | 42.8742 | 3.3697
2019-10-16 04:45:00 | 0 | 105.924 | 2.661 | 117.95 | 0 | 75.7506 | 0 | 268.442 | 11.4 | 982.068 | 43.2156 | 5.291
2019-10-16 05:00:00 | 0 | 115.039 | 1.3827 | 217.829 | 1.6383 | 151.745 | 0 | 290.475 | 11.33 | 982.526 | 44.6493 | 4.1936
2019-10-16 05:15:00 | 0 | 129.078 | 3.1723 | 178.443 | 2.1497 | 137.511 | 0 | 282.724 | 10.98 | 982.353 | 45.4003 | 2.9263
2019-10-16 05:30:00 | 0 | 139.705 | 2.4053 | 199.306 | 2.4053 | 127.616 | 0 | 313.263 | 11.04 | 982.804 | 46.0147 | 0.87568
2019-10-16 05:45:00 | 0 | 135.464 | 2.9167 | 192.969 | 1.6383 | 148.528 | 0 | 311.338 | 10.88 | 982.815 | 47.1753 | 1.1011
2019-10-16 06:00:00 | 0 | 139.461 | 3.1723 | 190.654 | 2.4053 | 144.043 | 0 | 306.317 | 10.67 | 982.601 | 48.7455 | 2.0654
2019-10-16 06:15:00 | 0 | 108.753 | 6.2403 | 155.584 | 3.6837 | 105.121 | 0 | 293.355 | 10.64 | 982.29 | 47.5173 | 3.935
2019-10-16 06:30:00 | 0 | 126.35 | 5.4733 | 187.878 | 3.9393 | 139.463 | 0 | 316.338 | 10.84 | 982.283 | 48.0635 | 6.6249
2019-10-16 06:45:00 | 1.7653 | 113.065 | 5.9847 | 167.719 | 5.9847 | 118.964 | 0.887 | 301.175 | 10.58 | 982.467 | 47.7215 | 8.3725
2019-10-16 07:00:00 | 0 | 135.468 | 6.496 | 194.049 | 6.7517 | 157.99 | 2.4053 | 314.322 | 10.59 | 982.608 | 48.1669 | 8.7125
2019-10-16 07:15:00 | 0.372 | 135.465 | 6.496 | 173.352 | 5.9847 | 131.249 | 5.4733 | 317.045 | 10.52 | 982.601 | 48.9509 | 7.7259
2019-10-16 07:30:00 | 0 | 130.471 | 5.9847 | 186.224 | 7.0073 | 152.529 | 0.887 | 305.595 | 10.41 | 983.051 | 49.498 | 9.3406
2019-10-16 07:45:00 | 0 | 138.004 | 6.496 | 190.833 | 6.496 | 155.919 | 0.63133 | 310.935 | 10.46 | 983.269 | 50.0788 | 6.6988
2019-10-16 08:00:00 | 0 | 144.826 | 4.195 | 206.891 | 3.428 | 166.006 | 5.9847 | 322.775 | 10.34 | 983.485 | 51.4092 | 4.238
2019-10-16 08:15:00 | 0 | 150.088 | 4.4507 | 197.308 | 4.195 | 159.934 | 0 | 337.344 | 10.34 | 983.496 | 52.1592 | 3.4362
2019-10-16 08:30:00 | 0 | 159.351 | 4.4507 | 216.954 | 4.7063 | 173.706 | 5.9847 | 339.76 | 10.31 | 983.761 | 52.0231 | 1.5001
2019-10-16 08:45:00 | 0 | 153.305 | 4.7063 | 203.402 | 4.962 | 159.837 | 0 | 340.342 | 10.3 | 983.768 | 54.0026 | 1.308
2019-10-16 09:00:00 | 0 | 149.017 | 6.2403 | 193.801 | 5.9847 | 147.945 | 0.37567 | 334.789 | 10.04 | 983.318 | 54.6858 | 4.541
2019-10-16 09:15:00 | 0 | 153.428 | 5.2177 | 203.5 | 4.7063 | 151.21 | 3.1723 | 320.065 | 10.32 | 983.634 | 53.6614 | 3.8094
2019-10-16 09:30:00 | 0.62733 | 166.591 | 5.729 | 216.566 | 5.2177 | 155.208 | 4.4507 | 350.925 | 10.18 | 983.764 | 53.7985 | 4.7072
2019-10-16 09:45:00 | 0 | 154.525 | 5.2177 | 196.066 | 5.729 | 144.142 | 0 | 334.86 | 10.32 | 983.847 | 54.2418 | 5.6457
2019-10-16 10:00:00 | 10.8187 | 174.533 | 5.4733 | 215.49 | 7.0073 | 156.888 | 3.9393 | 352.284 | 10.32 | 983.464 | 54.1048 | 6.7246
2019-10-16 10:15:00 | 0 | 181.675 | 5.4733 | 216.562 | 5.2177 | 150.234 | 1.3983 | 0.5362 | 10.66 | 983.805 | 51.2033 | 5.1617
2019-10-16 10:30:00 | 2.67 | 147.601 | 4.4507 | 219.292 | 4.4507 | 175.606 | 1.894 | 0.8043 | 11.1 | 983.858 | 52.2274 | 5.6642
2019-10-16 10:45:00 | 0 | 154.865 | 4.7063 | 205.058 | 3.6837 | 162.03 | 1.2627 | 347.239 | 10.86 | 983.806 | 51.8519 | 4.3525
2019-10-16 11:00:00 | 0 | 140.68 | 5.2177 | 193.067 | 5.2177 | 148.869 | 0 | 329.081 | 10.87 | 983.511 | 54.139 | 5.4684
2019-10-16 11:15:00 | 0 | 159.934 | 6.7517 | 220.657 | 4.962 | 173.022 | 0 | 5.5814 | 10.91 | 983.502 | 54.8217 | 6.0041
2019-10-16 11:30:00 | 0 | 139.315 | 4.7063 | 205.984 | 3.428 | 170.195 | 0 | 328.447 | 10.81 | 983.799 | 54.9582 | 3.536
2019-10-16 11:45:00 | 0 | 136.195 | 5.4733 | 184.585 | 4.4507 | 131.686 | 0 | 323.207 | 10.87 | 983.507 | 56.665 | 2.4497
2019-10-16 12:00:00 | 0 | 166.685 | 4.4507 | 229.577 | 4.195 | 172.974 | 0 | 346.63 | 10.73 | 983.2 | 56.8698 | 1.0346
2019-10-16 12:15:00 | 0 | 150.721 | 4.4507 | 201.841 | 4.7063 | 162.566 | 0 | 333.298 | 10.98 | 983.185 | 54.9582 | 1.9435
2019-10-16 12:30:00 | 0 | 183.819 | 4.195 | 228.553 | 4.195 | 182.503 | 0 | 13.9412 | 10.64 | 983.166 | 62.2291 | 1.1639
2019-10-16 12:45:00 | 0 | 183.893 | 3.428 | 238.108 | 2.661 | 190.473 | 0 | 14.7943 | 10.6 | 982.736 | 63.9359 | -0.029559
2019-10-16 13:00:00 | 2.9033 | 199.028 | 2.661 | 250.757 | 3.6837 | 179.847 | 0 | 7.6774 | 10.92 | 982.596 | 61.6488 | -0.28081
2019-10-16 13:15:00 | 0 | 200.052 | 2.9167 | 235.232 | 3.428 | 181.675 | 0 | 19.7907 | 11.22 | 982.573 | 50.3158 | -0.25864
2019-10-16 13:30:00 | 0 | 198.346 | 2.4053 | 248.393 | 2.1497 | 191.375 | 0 | 20.7656 | 11.76 | 982.422 | 52.8077 | -0.28081
2019-10-16 13:45:00 | 1.3933 | 206.047 | 2.9167 | 245.298 | 2.661 | 195.957 | 0 | 31.5871 | 11.65 | 982.571 | 52.9101 | -0.24016
2019-10-16 14:00:00 | 0 | 186.939 | 2.4053 | 230.186 | 1.6383 | 169.634 | 0 | 5.0695 | 11.46 | 982.274 | 56.3578 | -0.26233
2019-10-16 14:15:00 | 1.6267 | 195.908 | 2.1497 | 242.397 | 2.661 | 190.912 | 0 | 20.1075 | 11.35 | 981.977 | 57.6208 | -0.25125
2019-10-16 14:30:00 | 0 | 202.733 | 1.6383 | 245.614 | 1.6383 | 201.709 | 0 | 22.5204 | 11.41 | 982.274 | 58.7131 | -0.28081
2019-10-16 14:45:00 | 0 | 197.249 | 1.3827 | 224.873 | 1.3827 | 176.264 | 0 | 19.8882 | 11.38 | 981.977 | 60.8295 | -0.25864
2019-10-16 15:00:00 | 0 | 151.087 | 0 | 224.264 | 0 | 166.612 | 0 | 19.8882 | 11.28 | 982.274 | 60.0103 | -0.26972
2019-10-16 15:15:00 | 0 | 154.182 | 0 | 224.849 | 0 | 188.986 | 0 | 19.8882 | 11.45 | 982.274 | 60.7612 | -0.26972
2019-10-16 15:30:00 | 0 | 349.164 | 0.75133 | 31.1828 | 0.37567 | 264.835 | 0 | 168.806 | 11.42 | 981.977 | 62.1949 | -0.25864
2019-10-16 15:45:00 | 0 | 45.0409 | 0.75133 | 63.3549 | 0 | 44.066 | 0 | 201.758 | 11.27 | 981.977 | 62.1267 | -0.28081
2019-10-16 16:00:00 | 0 | 0.97491 | 2.661 | 63.428 | 2.4053 | 16.7685 | 0 | 179.725 | 11.12 | 981.532 | 67.998 | -0.28081
2019-10-16 16:15:00 | 0 | 352.479 | 2.9167 | 41.8093 | 2.1497 | 8.4573 | 0 | 166.027 | 10.7 | 981.383 | 70.7971 | -0.26972
2019-10-16 16:30:00 | 0 | 315.53 | 1.3827 | 21.7262 | 1.127 | 352.381 | 0 | 140.509 | 10.6 | 981.096 | 69.261 | -0.25864
2019-10-16 16:45:00 | 0 | 347.531 | 2.661 | 35.0093 | 1.894 | 340.975 | 0 | 167.246 | 10.54 | 981.088 | 68.9538 | -0.24016
2019-10-16 17:00:00 | 0 | 348.141 | 2.661 | 22.0674 | 1.6383 | 336.685 | 0 | 172.803 | 10.39 | 980.866 | 68.9538 | -0.24016
2019-10-16 17:15:00 | 0 | 353.478 | 2.4053 | 40.2495 | 1.127 | 6.5319 | 0 | 177.58 | 10.34 | 980.868 | 69.0903 | -0.24016
2019-10-16 17:30:00 | 0 | 356.876 | 2.1497 | 41.6161 | 1.6383 | 1.5599 | 0 | 177.585 | 10.32 | 980.952 | 69.4336 | -0.25125
2019-10-16 17:45:00 | 0 | 0.43872 | 1.894 | 53.6089 | 1.894 | 2.3399 | 0 | 185.68 | 10.32 | 980.812 | 70.1174 | -0.25125
2019-10-16 18:00:00 | 0 | 20.8652 | 2.661 | 58.6343 | 1.894 | 12.3826 | 0 | 209.042 | 10.26 | 980.995 | 70.5993 | -0.24016
2019-10-16 18:15:00 | 2.1373 | 20.8178 | 2.1497 | 59.3709 | 2.1497 | 14.8211 | 0.37567 | 197.477 | 10.14 | 980.826 | 70.8088 | -0.25864
2019-10-16 18:30:00 | 0 | 20.8174 | 2.4053 | 60.5884 | 1.894 | 23.1576 | 0 | 197.303 | 10.21 | 981.113 | 70.5004 | -0.25864
2019-10-16 18:45:00 | 0 | 25.3032 | 1.894 | 94.5715 | 1.6383 | 40.8557 | 1.5183 | 201.622 | 10.23 | 981.274 | 68.6241 | -0.24016
2019-10-16 19:00:00 | 0 | 25.3037 | 1.127 | 80.3617 | 0.75133 | 39.1013 | 0 | 202.186 | 10.38 | 981.59 | 66.0989 | -0.24016
2019-10-16 19:15:00 | 0 | 331.661 | 1.3827 | 80.3318 | 1.3827 | 39.0504 | 0 | 202.078 | 10.51 | 981.495 | 59.9159 | -0.24016
2019-10-16 19:30:00 | 0 | 24.2309 | 0 | 80.3609 | 0 | 39.0523 | 0 | 202.087 | 10.49 | 981.92 | 55.7193 | -0.24016
2019-10-16 19:45:00 | 0 | 24.2312 | 0 | 80.3622 | 0 | 38.7602 | 0 | 202.114 | 10.56 | 981.922 | 57.7003 | -0.24016
2019-10-16 20:00:00 | 0 | 24.2308 | 0 | 80.3599 | 0.37567 | 38.7837 | 0 | 202.134 | 10.59 | 981.768 | 58.3818 | -0.24016
2019-10-16 20:15:00 | 0 | 24.2307 | 0.37567 | 80.3599 | 0 | 37.7355 | 0 | 202.134 | 10.6 | 981.765 | 56.5381 | -0.24016
2019-10-16 20:30:00 | 0 | 24.231 | 0 | 80.3366 | 0 | 36.3221 | 0 | 202.087 | 10.6 | 981.897 | 51.2126 | -0.24016
2019-10-16 20:45:00 | 0 | 276.577 | 0 | 80.3587 | 0 | 36.2724 | 0 | 201.595 | 10.62 | 982.159 | 49.2995 | -0.24016
2019-10-16 21:00:00 | 0 | 276.551 | 0.37567 | 80.3337 | 0 | 36.321 | 0 | 201.594 | 10.61 | 982.098 | 53.9424 | -0.26972
2019-10-16 21:15:00 | 0 | 276.575 | 0 | 80.3578 | 0 | 36.2721 | 0 | 201.301 | 10.53 | 982.086 | 53.5326 | -0.26972
2019-10-16 21:30:00 | 0 | 276.548 | 0 | 80.3323 | 0 | 34.6385 | 0 | 201.298 | 10.52 | 982.104 | 57.9702 | -0.25864
2019-10-16 21:45:00 | 0 | 179.392 | 0 | 80.3369 | 0.37567 | 34.7132 | 0 | 201.478 | 10.39 | 982.141 | 58.7923 | -0.25864
2019-10-16 22:00:00 | 0 | 179.415 | 0 | 80.3601 | 0 | 113.938 | 0 | 202.256 | 10.4 | 981.77 | 54.4898 | -0.25864
2019-10-16 22:15:00 | 0 | 179.461 | 1.3827 | 81.2118 | 0.75133 | 114.01 | 0 | 202.204 | 10.6 | 981.821 | 53.055 | -0.24016
2019-10-16 22:30:00 | 0 | 195.527 | 1.6383 | 239.663 | 1.3827 | 195.795 | 0 | 202.304 | 10.5 | 981.981 | 57.7672 | -0.25864
2019-10-16 22:45:00 | 0 | 194.94 | 1.894 | 247.606 | 1.6383 | 203.545 | 0 | 14.9672 | 10.53 | 981.964 | 58.3126 | -0.24016
2019-10-16 23:00:00 | 0.744 | 200.325 | 2.4053 | 247.604 | 2.4053 | 202.665 | 0 | 29.6904 | 10.5 | 981.796 | 60.9068 | -0.24016
2019-10-16 23:15:00 | 3.2973 | 209.486 | 2.661 | 250.669 | 1.894 | 208.999 | 0 | 34.2481 | 10.46 | 981.749 | 64.7974 | -0.25864
2019-10-16 23:30:00 | 0 | 202.565 | 0.37567 | 250.623 | 0 | 184.137 | 0 | 24.0836 | 10.46 | 981.527 | 65.1394 | -0.26972
2019-10-16 23:45:00 | 0 | 210.426 | 2.661 | 260.389 | 2.1497 | 222.956 | 0 | 24.0849 | 10.55 | 981.473 | 53.0567 | -0.25864