## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-17 00:00:00 | 0 | 212.703 | 1.6383 | 260.858 | 1.127 | 221.868 | 0 | 24.3758 | 10.66 | 981.487 | 55.4429 | -0.25864
2019-10-17 00:15:00 | 0 | 212.571 | 1.3827 | 260.747 | 0.75133 | 198.239 | 0 | 24.7403 | 10.6 | 981.501 | 56.1914 | -0.25864
2019-10-17 00:30:00 | 0 | 211.243 | 1.894 | 260.593 | 1.127 | 198.275 | 0 | 25.3511 | 10.59 | 981.16 | 59.8818 | -0.25864
2019-10-17 00:45:00 | 0 | 211.257 | 1.3827 | 260.604 | 0.75133 | 198.314 | 0 | 25.3986 | 10.6 | 981.193 | 62.9514 | -0.25864
2019-10-17 01:00:00 | 1.51 | 218.831 | 2.1497 | 260.692 | 1.3827 | 213.931 | 0 | 51.8925 | 10.79 | 981.15 | 61.8228 | -0.26972
2019-10-17 01:15:00 | 0 | 236.242 | 2.661 | 287.271 | 2.4053 | 238.436 | 2.661 | 50.1394 | 10.73 | 981.202 | 58.4454 | -0.2882
2019-10-17 01:30:00 | 0 | 234.036 | 2.4053 | 285.109 | 1.894 | 228.332 | 0 | 52.4764 | 10.35 | 980.83 | 62.1971 | -0.26972
2019-10-17 01:45:00 | 0 | 227.229 | 1.6383 | 285.134 | 1.3827 | 219.039 | 0 | 48.7512 | 10.19 | 980.806 | 61.0414 | -0.25864
2019-10-17 02:00:00 | 0 | 286.306 | 2.1497 | 331.953 | 2.4053 | 255.275 | 0 | 69.1815 | 10.07 | 980.31 | 62.8883 | -0.25864
2019-10-17 02:15:00 | 0 | 247.817 | 0 | 333.273 | 0 | 279.142 | 0 | 50.9481 | 9.87 | 980.49 | 59.8844 | -0.26972
2019-10-17 02:30:00 | 0 | 72.6922 | 0 | 333.222 | 0.75133 | 279.214 | 0 | 51.021 | 10.05 | 980.494 | 65.5515 | -0.25864
2019-10-17 02:45:00 | 0 | 72.674 | 0 | 333.423 | 0.37567 | 11.4094 | 0 | 51.0498 | 10.03 | 980.495 | 61.8696 | -0.25864
2019-10-17 03:00:00 | 0 | 72.7194 | 0 | 333.383 | 0 | 11.3845 | 0 | 51.0718 | 10 | 980.495 | 65.8614 | -0.25864
2019-10-17 03:15:00 | 0 | 170.6 | 0.37567 | 333.341 | 0 | 4.1931 | 0 | 51.0484 | 10 | 980.495 | 65.214 | -0.25864
2019-10-17 03:30:00 | 0 | 170.603 | 0 | 333.346 | 0 | 4.1931 | 0 | 51.0492 | 10.06 | 980.495 | 65.7613 | -0.25864
2019-10-17 03:45:00 | 0 | 170.645 | 1.127 | 333.137 | 0 | 4.193 | 0 | 51.0228 | 9.99 | 980.495 | 66.4757 | -0.25864
2019-10-17 04:00:00 | 0 | 170.741 | 1.127 | 331.868 | 0 | 4.2905 | 0 | 50.9982 | 10.06 | 980.346 | 65.6218 | -0.25864
2019-10-17 04:15:00 | 0 | 170.737 | 0 | 331.835 | 0 | 4.2416 | 0 | 50.9969 | 10.33 | 980.049 | 63.7083 | -0.26972
2019-10-17 04:30:00 | 0 | 170.712 | 0 | 332.052 | 0.75133 | 23.6456 | 0 | 51.021 | 10.33 | 980.049 | 63.025 | -0.25864
2019-10-17 04:45:00 | 0 | 170.713 | 0 | 332.054 | 0 | 23.597 | 0 | 50.9969 | 10.32 | 979.901 | 61.0451 | -0.25864
2019-10-17 05:00:00 | 0 | 129.393 | 0.75133 | 332.101 | 1.127 | 23.7919 | 0 | 50.9966 | 10.33 | 979.875 | 61.9325 | -0.25864
2019-10-17 05:15:00 | 0 | 93.3154 | 0.75133 | 90.2331 | 1.3827 | 44.025 | 0 | 3.6566 | 10.39 | 979.893 | 59.8843 | -0.25864
2019-10-17 05:30:00 | 0 | 142.678 | 1.127 | 157.976 | 1.127 | 71.1806 | 0 | 2.4377 | 10.53 | 980.331 | 59.9522 | -0.25864
2019-10-17 05:45:00 | 0 | 192.237 | 1.6383 | 210.265 | 1.6383 | 84.832 | 0 | 4.2904 | 10.45 | 980.451 | 61.6936 | -0.26972
2019-10-17 06:00:00 | 5.712 | 198.335 | 2.661 | 236.354 | 2.4053 | 191.851 | 0 | 14.8215 | 10.34 | 980.401 | 64.4262 | -0.26972
2019-10-17 06:15:00 | 0 | 171.575 | 1.3827 | 235.728 | 1.127 | 188.152 | 0 | 356.752 | 10.33 | 980.713 | 64.3943 | -0.25864
2019-10-17 06:30:00 | 0 | 139.826 | 1.127 | 198.758 | 1.127 | 184.362 | 0 | 340.813 | 10.34 | 980.537 | 62.8883 | -0.26972
2019-10-17 06:45:00 | 0 | 124.226 | 2.4053 | 172.311 | 1.6383 | 172.346 | 0 | 320.022 | 10.33 | 980.371 | 63.0253 | -0.26972
2019-10-17 07:00:00 | 0 | 157.812 | 1.894 | 186.93 | 1.3827 | 133.972 | 0 | 328.056 | 10.6 | 980.635 | 61.1796 | -0.26972
2019-10-17 07:15:00 | 0 | 146.173 | 1.127 | 187.061 | 0 | 133.815 | 0 | 334.758 | 10.73 | 980.519 | 61.3798 | -0.26972
2019-10-17 07:30:00 | 0 | 168.375 | 1.6383 | 187.275 | 0 | 133.861 | 0 | 338.845 | 10.87 | 980.829 | 60.7639 | -0.25125
2019-10-17 07:45:00 | 0.372 | 162.371 | 2.1497 | 198.526 | 1.6383 | 170.195 | 0 | 338.855 | 10.68 | 980.833 | 63.4921 | -0.26972
2019-10-17 08:00:00 | 0 | 145.749 | 1.894 | 199.111 | 1.3827 | 156.327 | 0 | 330.787 | 10.7 | 981.322 | 62.1949 | -0.26233
2019-10-17 08:15:00 | 0 | 146.31 | 1.6383 | 199.014 | 1.3827 | 139.9 | 0 | 332.469 | 10.82 | 981.577 | 61.7853 | -0.27342
2019-10-17 08:30:00 | 0 | 152.11 | 0.37567 | 199.111 | 0 | 155.986 | 0 | 331.616 | 11.17 | 981.68 | 59.7372 | -0.22908
2019-10-17 08:45:00 | 0 | 152.281 | 2.1497 | 199.574 | 1.6383 | 158.667 | 0 | 333.078 | 11.51 | 981.68 | 58.5083 | -0.25125
2019-10-17 09:00:00 | 0 | 165.626 | 2.1497 | 207.675 | 3.428 | 157.047 | 0 | 346.021 | 11.74 | 982.125 | 58.5043 | -0.25125
2019-10-17 09:15:00 | 0 | 233.743 | 2.9167 | 277.199 | 3.1723 | 246.561 | 0 | 7.5299 | 12.6 | 982.571 | 53.7542 | -0.24016
2019-10-17 09:30:00 | 0 | 180.248 | 3.9393 | 229.346 | 5.2177 | 170.015 | 0 | 14.3263 | 12.87 | 982.277 | 55.0078 | -0.24016
2019-10-17 09:45:00 | 0 | 202.291 | 4.195 | 263.378 | 5.2177 | 196.762 | 1.3983 | 24.3334 | 12.96 | 982.567 | 55.4701 | -0.30667
2019-10-17 10:00:00 | 0 | 182.26 | 3.1723 | 220.593 | 3.9393 | 163.968 | 1.3983 | 356.749 | 12.98 | 983.013 | 55.3991 | -0.25864
2019-10-17 10:15:00 | 0 | 202.741 | 4.4507 | 241.147 | 4.7063 | 184.863 | 1.774 | 16.3186 | 12.97 | 983.013 | 55.9441 | -0.18474
2019-10-17 10:30:00 | 0 | 183.353 | 3.9393 | 236.47 | 4.4507 | 181.648 | 0 | 0.19485 | 12.52 | 982.567 | 58.946 | -0.24016
2019-10-17 10:45:00 | 0 | 194.806 | 4.195 | 242.128 | 4.7063 | 196.072 | 5.9847 | 16.0512 | 12.65 | 982.567 | 58.1289 | -7.4506e-09
2019-10-17 11:00:00 | 0.62733 | 170.987 | 3.428 | 224.887 | 2.661 | 184.067 | 0.37567 | 354.348 | 12.65 | 982.567 | 54.1044 | 0.59857
2019-10-17 11:15:00 | 0 | 173.183 | 4.195 | 227.182 | 3.9393 | 173.548 | 0 | 1.4127 | 13.22 | 982.27 | 52.7409 | 0.51358
2019-10-17 11:30:00 | 0 | 200.11 | 4.4507 | 243.071 | 6.7517 | 187.153 | 0 | 17.0493 | 13.03 | 982.122 | 53.6245 | 0.93849
2019-10-17 11:45:00 | 0 | 170.567 | 3.9393 | 225.535 | 5.2177 | 207.832 | 0 | 342.4 | 13.29 | 981.825 | 52.5672 | 1.1195
2019-10-17 12:00:00 | 0 | 192.584 | 5.9847 | 224.73 | 6.7517 | 171.808 | 1.2627 | 8.5003 | 13.3 | 981.677 | 50.0768 | 1.4003
2019-10-17 12:15:00 | 0 | 201.332 | 4.962 | 244.294 | 5.2177 | 196.948 | 5.9847 | 20.6057 | 13.44 | 981.677 | 49.532 | 1.7107
2019-10-17 12:30:00 | 0 | 172.18 | 4.4507 | 234.921 | 4.4507 | 180.364 | 3.5637 | 352.398 | 13.62 | 981.677 | 44.2793 | 1.7366
2019-10-17 12:45:00 | 0 | 171.663 | 3.6837 | 228.482 | 3.6837 | 164.307 | 0.887 | 355.65 | 13.58 | 981.528 | 45.0625 | 2.2539
2019-10-17 13:00:00 | 0.372 | 184.936 | 5.4733 | 231.112 | 5.9847 | 185.764 | 1.007 | 0.21921 | 13.77 | 981.677 | 49.2922 | 1.3412
2019-10-17 13:15:00 | 0 | 198.551 | 3.9393 | 251.571 | 4.7063 | 206.54 | 0 | 0.024356 | 13.97 | 981.528 | 50.1109 | 1.6811
2019-10-17 13:30:00 | 0 | 176.777 | 3.9393 | 233.036 | 4.4507 | 188.711 | 0 | 33.8307 | 14.06 | 981.528 | 51.68 | 1.4336
2019-10-17 13:45:00 | 0 | 161.506 | 3.428 | 194.529 | 4.4507 | 144.87 | 0.887 | 324.107 | 14.03 | 981.677 | 50.9637 | 1.1639
2019-10-17 14:00:00 | 0.372 | 185.935 | 7.0073 | 222.587 | 4.195 | 183.402 | 0 | 346.076 | 14.27 | 981.38 | 50.8272 | 1.5001
2019-10-17 14:15:00 | 0 | 194.07 | 4.962 | 241.536 | 4.962 | 196.919 | 0 | 0.68197 | 14.58 | 981.055 | 50.5543 | 1.6996
2019-10-17 14:30:00 | 0 | 187.372 | 4.7063 | 233.085 | 4.962 | 183.597 | 0 | 12.3242 | 14.71 | 981.356 | 50.2473 | 1.0382
2019-10-17 14:45:00 | 0 | 201.23 | 4.962 | 239.807 | 4.962 | 184.254 | 0 | 14.7355 | 14.59 | 980.895 | 50.8614 | 0.55053
2019-10-17 15:00:00 | 0 | 188.395 | 4.195 | 228.213 | 3.6837 | 201.255 | 0 | 2.0459 | 14.66 | 981.029 | 49.3945 | 0.41752
2019-10-17 15:15:00 | 0 | 198.405 | 2.661 | 254.177 | 2.9167 | 204.981 | 0 | 15.2469 | 14.86 | 980.709 | 48.5758 | 0.26972
2019-10-17 15:30:00 | 0 | 198.356 | 3.6837 | 236.592 | 3.9393 | 191.098 | 0 | 17.2441 | 14.93 | 981.074 | 47.416 | -0.025864
2019-10-17 15:45:00 | 0 | 203.52 | 3.9393 | 238.321 | 4.7063 | 184.132 | 0 | 5.8455 | 15.31 | 981.021 | 49.3263 | -0.19213
2019-10-17 16:00:00 | 0 | 169.348 | 3.1723 | 228.286 | 3.1723 | 182.72 | 0 | 342.545 | 14.95 | 980.474 | 49.531 | -0.22169
2019-10-17 16:15:00 | 0 | 180.966 | 2.4053 | 208.558 | 2.4053 | 172.393 | 0 | 3.7021 | 14.8 | 980.489 | 51.1684 | -0.24016
2019-10-17 16:30:00 | 0 | 152.713 | 2.661 | 201.884 | 3.1723 | 173.416 | 0 | 339.671 | 14.51 | 980.192 | 52.7034 | -0.20322
2019-10-17 16:45:00 | 2.0207 | 172.659 | 3.6837 | 221.036 | 3.1723 | 177.239 | 0 | 353.893 | 14.31 | 979.895 | 52.1987 | -0.23278
2019-10-17 17:00:00 | 0.62733 | 180.102 | 2.9167 | 231.879 | 2.9167 | 179.346 | 0 | 1.267 | 14.1 | 979.45 | 53.5744 | -0.22169
2019-10-17 17:15:00 | 0 | 180.272 | 3.428 | 227.348 | 2.9167 | 171.014 | 0 | 0.19492 | 13.94 | 979.622 | 55.6901 | -0.25125
2019-10-17 17:30:00 | 0 | 189.129 | 2.9167 | 238.23 | 2.661 | 189.762 | 0 | 4.3128 | 13.79 | 979.73 | 53.7143 | -0.23278
2019-10-17 17:45:00 | 0 | 189.563 | 3.428 | 231.191 | 3.1723 | 182.228 | 0 | 8.2853 | 13.72 | 979.75 | 53.6518 | -0.27711
2019-10-17 18:00:00 | 0 | 195.629 | 3.1723 | 240.62 | 1.894 | 196.555 | 0 | 14.816 | 13.6 | 979.898 | 53.2419 | -0.26972
2019-10-17 18:15:00 | 0 | 185.005 | 2.4053 | 229.874 | 1.3827 | 177.012 | 0 | 6.5307 | 13.73 | 980.047 | 52.0815 | -0.25864
2019-10-17 18:30:00 | 0 | 193.407 | 2.1497 | 233.474 | 1.127 | 184.415 | 0 | 14.7181 | 13.73 | 980.195 | 50.3737 | -0.24016
2019-10-17 18:45:00 | 0 | 193.43 | 1.894 | 233.472 | 0 | 184.463 | 0 | 14.7181 | 13.79 | 980.344 | 50.783 | -0.24016
2019-10-17 19:00:00 | 0 | 283.831 | 1.6383 | 331.524 | 0.37567 | 306.005 | 0 | 88.1368 | 13.71 | 980.344 | 52.6936 | -0.24016
2019-10-17 19:15:00 | 0 | 283.865 | 1.3827 | 330.658 | 0.75133 | 306.698 | 0 | 93.3788 | 13.52 | 980.195 | 52.081 | -0.24016
2019-10-17 19:30:00 | 0 | 276.676 | 1.3827 | 327.246 | 1.127 | 302.701 | 0 | 94.5972 | 13.58 | 980.195 | 55.8351 | -0.25125
2019-10-17 19:45:00 | 0 | 276.681 | 0 | 327.277 | 0 | 302.609 | 0 | 94.5988 | 13.52 | 980.195 | 56.1433 | -0.24016
2019-10-17 20:00:00 | 0 | 276.688 | 0 | 327.261 | 0 | 302.617 | 0 | 94.6012 | 13.37 | 979.898 | 56.4178 | -0.24016
2019-10-17 20:15:00 | 0 | 276.727 | 0 | 327.31 | 0 | 302.659 | 0 | 94.639 | 13.3 | 979.898 | 57.2791 | -0.24016
2019-10-17 20:30:00 | 0 | 276.728 | 0 | 327.312 | 0 | 302.758 | 0 | 94.6394 | 13.25 | 979.601 | 57.2794 | -0.24016
2019-10-17 20:45:00 | 0 | 276.728 | 0.75133 | 327.312 | 0 | 302.661 | 0 | 94.6151 | 13.2 | 979.898 | 57.3477 | -0.24016
2019-10-17 21:00:00 | 0 | 276.753 | 1.3827 | 327.312 | 1.127 | 302.661 | 0 | 104.389 | 13.41 | 980.047 | 56.8698 | -0.25864
2019-10-17 21:15:00 | 0 | 276.826 | 1.3827 | 327.312 | 0.37567 | 302.661 | 0 | 104.705 | 13.45 | 980.195 | 56.8698 | -0.26972
2019-10-17 21:30:00 | 0 | 276.826 | 0 | 327.312 | 0 | 302.661 | 0 | 104.705 | 13.45 | 979.898 | 57.2794 | -0.24016
2019-10-17 21:45:00 | 0 | 276.826 | 0 | 327.312 | 0 | 302.661 | 0 | 104.242 | 13.25 | 979.898 | 58.1328 | -0.24016
2019-10-17 22:00:00 | 0 | 276.826 | 0 | 327.287 | 0 | 302.661 | 0 | 104.218 | 12.97 | 979.898 | 54.8216 | -0.25864
2019-10-17 22:15:00 | 0 | 215.894 | 1.3827 | 264.04 | 0 | 302.563 | 0 | 29.8566 | 13.31 | 979.601 | 53.8658 | -0.25864
2019-10-17 22:30:00 | 0 | 240.657 | 1.6383 | 281.832 | 0.75133 | 237.342 | 0 | 58.6409 | 13.44 | 979.601 | 51.8177 | -0.25864
2019-10-17 22:45:00 | 0 | 226.374 | 2.1497 | 273.107 | 1.6383 | 221.427 | 0 | 48.6968 | 13.46 | 979.601 | 55.0947 | -0.25864
2019-10-17 23:00:00 | 0 | 230.713 | 1.3827 | 280.589 | 1.127 | 223.498 | 0 | 54.4 | 13.37 | 979.601 | 54.8899 | -0.25864
2019-10-17 23:15:00 | 0 | 241.632 | 2.1497 | 284.513 | 1.6383 | 231.785 | 0 | 54.5706 | 13.26 | 979.601 | 55.163 | -0.25864
2019-10-17 23:30:00 | 0.372 | 231.371 | 2.661 | 272.424 | 2.4053 | 229.543 | 1.2627 | 57.1785 | 13.25 | 979.601 | 55.9822 | -0.25864
2019-10-17 23:45:00 | 0 | 242.119 | 3.1723 | 279.419 | 2.661 | 229.738 | 0 | 66.8788 | 13.19 | 979.601 | 56.1529 | -0.25864