## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-18 00:00:00 | 0 | 246.214 | 3.1723 | 289.29 | 2.1497 | 237.074 | 0 | 66.2208 | 13.15 | 979.601 | 56.7332 | -0.25864
2019-10-18 00:15:00 | 0 | 245.336 | 2.9167 | 290.29 | 2.1497 | 239.974 | 0 | 67.5125 | 13.12 | 979.453 | 57.3477 | -0.26972
2019-10-18 00:30:00 | 0 | 244.459 | 2.9167 | 290.338 | 2.1497 | 239.974 | 0 | 65.709 | 13 | 979.304 | 58.0645 | -0.25864
2019-10-18 00:45:00 | 0.62733 | 242.411 | 2.661 | 288.998 | 2.4053 | 234.1 | 0.75133 | 54.9606 | 12.87 | 979.453 | 59.191 | -0.25864
2019-10-18 01:00:00 | 0 | 240.169 | 2.4053 | 289.778 | 2.1497 | 242.119 | 0 | 47.5756 | 12.75 | 979.156 | 59.8737 | -0.25864
2019-10-18 01:15:00 | 2.276 | 234.637 | 2.1497 | 290.241 | 1.6383 | 247.067 | 0 | 46.1133 | 12.62 | 979.007 | 61.5805 | -0.25864
2019-10-18 01:30:00 | 1.7653 | 230.908 | 1.894 | 287.584 | 1.3827 | 247.189 | 1.774 | 52.5477 | 12.59 | 979.007 | 63.0142 | -0.25864
2019-10-18 01:45:00 | 3.6693 | 240.657 | 2.4053 | 290.753 | 1.6383 | 257.913 | 2.7967 | 60.5419 | 12.51 | 978.859 | 62.7411 | -0.25864
2019-10-18 02:00:00 | 0 | 232.735 | 2.661 | 282.637 | 2.4053 | 233.613 | 0 | 52.3527 | 12.48 | 978.859 | 61.8536 | -0.26972
2019-10-18 02:15:00 | 0 | 238.829 | 2.9167 | 283.148 | 2.1497 | 222.304 | 0 | 54.8875 | 12.44 | 978.71 | 62.5363 | -0.26972
2019-10-18 02:30:00 | 0 | 241.632 | 2.4053 | 283.343 | 1.6383 | 212.482 | 0 | 61.3706 | 12.44 | 978.562 | 62.1949 | -0.25864
2019-10-18 02:45:00 | 0 | 241.632 | 1.6383 | 283.343 | 0 | 211.312 | 0 | 61.3706 | 12.41 | 978.413 | 62.8093 | -0.25864
2019-10-18 03:00:00 | 0 | 241.632 | 1.127 | 283.343 | 0 | 211.361 | 0 | 61.3706 | 12.32 | 978.116 | 61.3757 | -0.25864
2019-10-18 03:15:00 | 0 | 241.729 | 1.6383 | 283.343 | 0 | 211.409 | 0 | 62.1018 | 12.58 | 978.116 | 60.7271 | -0.26972
2019-10-18 03:30:00 | 0 | 241.997 | 1.6383 | 298.552 | 0.75133 | 220.525 | 0 | 62.1018 | 12.64 | 978.143 | 60.8978 | -0.26972
2019-10-18 03:45:00 | 0 | 246.019 | 1.3827 | 301.282 | 0 | 229.933 | 0 | 62.5405 | 12.48 | 978.169 | 60.8978 | -0.26972
2019-10-18 04:00:00 | 0 | 268.734 | 1.3827 | 322.535 | 0.37567 | 274.876 | 0 | 99.6358 | 12.5 | 978.035 | 59.7372 | -0.25864
2019-10-18 04:15:00 | 5.2013 | 288.232 | 1.6383 | 336.817 | 1.127 | 288.817 | 0 | 108.995 | 12.43 | 978.121 | 61.205 | -0.25864
2019-10-18 04:30:00 | 0 | 288.232 | 1.127 | 336.842 | 0 | 289.207 | 0 | 108.971 | 12.41 | 978.463 | 62.0584 | -0.25864
2019-10-18 04:45:00 | 0 | 284.235 | 1.3827 | 336.817 | 0 | 289.11 | 0 | 108.361 | 12.36 | 978.193 | 62.0925 | -0.26972
2019-10-18 05:00:00 | 0 | 279.653 | 1.3827 | 336.817 | 0 | 276.631 | 0 | 106.996 | 12.37 | 978.444 | 62.8093 | -0.25864
2019-10-18 05:15:00 | 0 | 279.556 | 0.75133 | 336.817 | 0 | 247.481 | 0 | 106.996 | 12.26 | 978.436 | 63.2872 | -0.25864
2019-10-18 05:30:00 | 0 | 279.556 | 1.127 | 336.768 | 0 | 247.432 | 0 | 106.996 | 12.16 | 978.455 | 62.98 | -0.25864
2019-10-18 05:45:00 | 0 | 279.531 | 1.127 | 336.768 | 0 | 212.677 | 0 | 106.996 | 12.22 | 978.309 | 62.8776 | -0.26972
2019-10-18 06:00:00 | 0 | 230.615 | 1.3827 | 336.622 | 0 | 207.071 | 0 | 106.996 | 12.23 | 978.415 | 62.8093 | -0.24016
2019-10-18 06:15:00 | 0 | 229.689 | 1.3827 | 336.573 | 1.3827 | 196.103 | 0 | 106.972 | 12.23 | 978.134 | 62.6728 | -0.25125
2019-10-18 06:30:00 | 0 | 228.472 | 1.3827 | 336.576 | 0 | 195.519 | 0 | 106.997 | 12.23 | 978.426 | 63.0146 | -0.25125
2019-10-18 06:45:00 | 0 | 224.964 | 1.3827 | 336.481 | 0 | 191.085 | 0 | 106.998 | 12.23 | 978.471 | 62.9467 | -0.24016
2019-10-18 07:00:00 | 0 | 224.961 | 2.1497 | 326.24 | 0 | 195.031 | 0 | 106.801 | 12.31 | 978.728 | 63.4921 | -0.25864
2019-10-18 07:15:00 | 0 | 211.288 | 2.1497 | 247.637 | 1.6383 | 174.996 | 0 | 106.387 | 12.19 | 978.86 | 65.4378 | -0.26972
2019-10-18 07:30:00 | 1.51 | 206.632 | 2.1497 | 247.174 | 1.6383 | 185.477 | 0 | 45.504 | 12.26 | 979.007 | 64.4479 | -0.25125
2019-10-18 07:45:00 | 0 | 206.632 | 1.894 | 247.077 | 1.894 | 191.789 | 0 | 44.8459 | 12.56 | 979.601 | 63.2873 | -0.25125
2019-10-18 08:00:00 | 11.7233 | 205.429 | 1.894 | 246.887 | 1.894 | 187.201 | 0 | 44.3025 | 12.95 | 979.898 | 61.9117 | -0.24016
2019-10-18 08:15:00 | 0 | 205.426 | 1.3827 | 246.932 | 0 | 184.372 | 0 | 44.3262 | 13.37 | 980.195 | 60.4774 | -0.24016
2019-10-18 08:30:00 | 0 | 205.394 | 0 | 246.891 | 0 | 176.205 | 0 | 44.3437 | 14.24 | 980.552 | 58.3524 | -0.25125
2019-10-18 08:45:00 | 0 | 204.25 | 1.127 | 246.178 | 1.3827 | 168.925 | 0 | 43.754 | 14.12 | 980.786 | 60.9389 | -0.26972
2019-10-18 09:00:00 | 0 | 217.601 | 1.3827 | 255.959 | 1.127 | 224.494 | 0 | 41.6496 | 14 | 981.083 | 58.8785 | -0.26972
2019-10-18 09:15:00 | 0 | 188.005 | 2.1497 | 249.963 | 3.428 | 191.634 | 0 | 49.0046 | 13.95 | 981.083 | 61.6067 | -0.26972
2019-10-18 09:30:00 | 0 | 190.368 | 2.1497 | 252.204 | 2.1497 | 173.172 | 0 | 356.817 | 14.1 | 981.09 | 59.9011 | -0.26972
2019-10-18 09:45:00 | 0 | 228.457 | 1.894 | 233.446 | 1.6383 | 181.109 | 0 | 64.6888 | 14.86 | 981.082 | 54.374 | -0.24016
2019-10-18 10:00:00 | 0 | 247.465 | 2.4053 | 291.901 | 3.1723 | 246.637 | 0 | 68.3318 | 15.08 | 981.377 | 56.5145 | -0.24016
2019-10-18 10:15:00 | 0 | 193.891 | 2.4053 | 236.037 | 3.1723 | 188.338 | 0 | 16.4863 | 14.92 | 981.377 | 53.2742 | -0.24016
2019-10-18 10:30:00 | 0 | 175.407 | 3.6837 | 210.467 | 2.4053 | 141.217 | 0 | 0.51139 | 15.2 | 981.525 | 54.8431 | -0.24016
2019-10-18 10:45:00 | 0 | 153.994 | 3.1723 | 207.143 | 3.6837 | 178.588 | 0 | 347.289 | 14.83 | 981.377 | 55.9656 | -0.25864
2019-10-18 11:00:00 | 0 | 224.625 | 2.661 | 199.293 | 1.3827 | 198.595 | 0 | 86.6846 | 15.17 | 981.673 | 56.6793 | -0.24016
2019-10-18 11:15:00 | 0 | 272.166 | 2.9167 | 318.102 | 2.9167 | 265.495 | 0 | 120.451 | 15.08 | 981.486 | 55.0055 | -0.25125
2019-10-18 11:30:00 | 0 | 273.329 | 2.661 | 310.79 | 2.661 | 247.325 | 0 | 103.016 | 15.29 | 981.603 | 55.6863 | -0.27711
2019-10-18 11:45:00 | 0 | 215.917 | 3.1723 | 278.675 | 2.9167 | 210.901 | 0 | 88.9426 | 15.49 | 981.077 | 55.7886 | -0.24016
2019-10-18 12:00:00 | 0 | 247.983 | 3.1723 | 280.184 | 1.894 | 235.59 | 0 | 53.273 | 15.5 | 981.373 | 54.7656 | -0.25864
2019-10-18 12:15:00 | 0 | 239.558 | 3.428 | 273.148 | 3.9393 | 259.207 | 0 | 50.473 | 15.58 | 981.373 | 55.5158 | -0.26972
2019-10-18 12:30:00 | 0 | 237.635 | 4.7063 | 289.826 | 4.195 | 249.955 | 0 | 58.5565 | 15.93 | 980.928 | 54.6633 | -0.25864
2019-10-18 12:45:00 | 0 | 259.499 | 2.661 | 17.4922 | 1.127 | 329.256 | 0 | 90.1844 | 15.7 | 980.78 | 55.0384 | -0.24016
2019-10-18 13:00:00 | 0 | 242.991 | 3.6837 | 303.875 | 3.428 | 209.684 | 0 | 57.5339 | 15.98 | 980.637 | 54.8679 | -0.25125
2019-10-18 13:15:00 | 0 | 258.33 | 3.6837 | 303.68 | 3.9393 | 241.871 | 0 | 77.5235 | 16.13 | 980.939 | 54.3564 | -0.24016
2019-10-18 13:30:00 | 0 | 330.157 | 3.1723 | 8.9252 | 2.1497 | 341.454 | 0 | 146.501 | 16.72 | 980.51 | 54.1518 | -0.25864
2019-10-18 13:45:00 | 0 | 246.984 | 2.4053 | 284.445 | 2.9167 | 215.235 | 0 | 43.5339 | 16.52 | 980.632 | 54.8679 | -0.27342
2019-10-18 14:00:00 | 0 | 246.351 | 3.1723 | 276.313 | 2.9167 | 212.897 | 0 | 69.5374 | 16.81 | 980.483 | 55.2089 | -0.25125
2019-10-18 14:15:00 | 0 | 229.357 | 2.4053 | 270.567 | 2.9167 | 231.962 | 0 | 73.5548 | 16.53 | 980.335 | 55.4817 | -0.25125
2019-10-18 14:30:00 | 0 | 249.103 | 2.1497 | 252.306 | 1.3827 | 284.237 | 0 | 141.071 | 16.69 | 980.708 | 54.22 | -0.26972
2019-10-18 14:45:00 | 0 | 251.586 | 3.9393 | 290.143 | 3.428 | 254.532 | 0 | 78.0835 | 16.95 | 980.5 | 55.925 | -0.25864
2019-10-18 15:00:00 | 0 | 236.052 | 1.6383 | 286.734 | 1.127 | 232.376 | 0 | 61.4539 | 16.66 | 980.565 | 55.3794 | -0.26972
2019-10-18 15:15:00 | 0 | 245.816 | 2.9167 | 291.238 | 2.661 | 248.007 | 0 | 62.4279 | 16.5 | 980.599 | 55.4476 | -0.24016
2019-10-18 15:30:00 | 0 | 290.598 | 1.6383 | 326.916 | 0.75133 | 282.149 | 0 | 101.314 | 16.48 | 980.396 | 54.2212 | -0.25125
2019-10-18 15:45:00 | 0 | 255.671 | 2.4053 | 301 | 2.1497 | 259.323 | 0 | 73.1705 | 16.59 | 980.485 | 55.5198 | -0.24016
2019-10-18 16:00:00 | 0 | 237.82 | 1.6383 | 291.655 | 1.3827 | 244.639 | 0 | 54.743 | 16.6 | 980.189 | 55.1157 | -0.28081
2019-10-18 16:15:00 | 0 | 268.018 | 1.6383 | 318.736 | 2.4053 | 279.415 | 0 | 88.836 | 16.73 | 980.189 | 55.9345 | -0.25864
2019-10-18 16:30:00 | 12.606 | 277.174 | 1.3827 | 329.767 | 1.6383 | 298.799 | 4.195 | 104.811 | 16.42 | 979.596 | 56.6848 | -0.25864
2019-10-18 16:45:00 | 0 | 293.974 | 0.75133 | 16.2005 | 0 | 308.052 | 0 | 116.347 | 16.28 | 979.002 | 57.0348 | -0.24016
2019-10-18 17:00:00 | 0 | 293.978 | 0 | 16.0056 | 0 | 308.008 | 0 | 122.511 | 16.14 | 979.355 | 57.8543 | -0.24016
2019-10-18 17:15:00 | 0 | 293.978 | 0 | 16.0056 | 0 | 308.008 | 0 | 122.463 | 15.9 | 978.707 | 58.3319 | -0.24016
2019-10-18 17:30:00 | 0 | 293.998 | 0 | 16.0053 | 0 | 307.931 | 0 | 122.471 | 15.67 | 978.411 | 59.3252 | -0.24016
2019-10-18 17:45:00 | 0 | 293.977 | 0 | 16.0043 | 0 | 308.011 | 0 | 122.454 | 15.35 | 978.114 | 60.3302 | -0.24016
2019-10-18 18:00:00 | 0 | 293.908 | 0 | 16.0043 | 0 | 308.015 | 0 | 121.822 | 15.12 | 978.144 | 61.15 | -0.24016
2019-10-18 18:15:00 | 0 | 293.909 | 0 | 16.004 | 0 | 307.993 | 0 | 121.784 | 15.37 | 978.385 | 59.8243 | -0.24016
2019-10-18 18:30:00 | 0 | 246.098 | 0 | 16.0036 | 0 | 307.97 | 0 | 121.38 | 15.42 | 978.413 | 59.3856 | -0.24016
2019-10-18 18:45:00 | 0 | 246.073 | 0 | 16.0036 | 0 | 307.969 | 0 | 121.355 | 15.37 | 978.413 | 59.9998 | -0.24016
2019-10-18 19:00:00 | 0 | 246.071 | 0 | 16.0036 | 0 | 307.966 | 0 | 121.354 | 15.1 | 978.413 | 60.5453 | -0.24016
2019-10-18 19:15:00 | 0 | 246.077 | 0 | 16.0035 | 0 | 307.974 | 0 | 121.357 | 14.88 | 978.413 | 62.7995 | -0.24016
2019-10-18 19:30:00 | 0 | 167.886 | 1.127 | 16.0033 | 0 | 307.99 | 0 | 121.339 | 15.24 | 978.413 | 59.4576 | -0.24016
2019-10-18 19:45:00 | 0 | 117.462 | 1.3827 | 138.11 | 0 | 78.5678 | 0 | 121.361 | 15.62 | 978.413 | 59.0469 | -0.24016
2019-10-18 20:00:00 | 0 | 154.304 | 1.6383 | 150.022 | 0.75133 | 80.125 | 0 | 118.043 | 15.61 | 978.413 | 58.9769 | -0.24016
2019-10-18 20:15:00 | 0 | 164.774 | 2.4053 | 204.914 | 0.37567 | 159.462 | 0 | 350.553 | 15.66 | 978.413 | 59.9977 | -0.24016
2019-10-18 20:30:00 | 0 | 154.493 | 2.4053 | 207.548 | 1.3827 | 156.442 | 0 | 345.148 | 15.18 | 978.71 | 61.1929 | -0.24016
2019-10-18 20:45:00 | 0 | 161.123 | 2.4053 | 207.819 | 0.75133 | 161.756 | 0 | 355.727 | 14.87 | 978.859 | 61.9444 | -0.24016
2019-10-18 21:00:00 | 0 | 178.763 | 2.4053 | 219.903 | 1.6383 | 166.482 | 0 | 2.5343 | 15.26 | 978.71 | 60.8858 | -0.24016
2019-10-18 21:15:00 | 0 | 176.765 | 1.894 | 226.555 | 1.6383 | 163.266 | 0 | 2.3393 | 15.09 | 978.859 | 61.193 | -0.24016
2019-10-18 21:30:00 | 0.372 | 177.547 | 2.661 | 220.612 | 1.894 | 157.078 | 0 | 6.1408 | 14.97 | 979.007 | 61.5009 | -0.24016
2019-10-18 21:45:00 | 0 | 178.109 | 2.4053 | 209.454 | 0 | 156.86 | 0 | 11.2582 | 15.12 | 979.007 | 61.0919 | -0.24016
2019-10-18 22:00:00 | 4.946 | 177.11 | 2.1497 | 212.914 | 1.894 | 156.056 | 0 | 7.3593 | 15.25 | 979.007 | 61.8085 | -0.25864
2019-10-18 22:15:00 | 0 | 160.536 | 2.661 | 202.333 | 1.6383 | 143.21 | 0 | 349.338 | 15.23 | 978.71 | 61.5 | -0.25125
2019-10-18 22:30:00 | 0 | 158.149 | 2.9167 | 202.968 | 1.3827 | 146.428 | 0 | 344.906 | 15.04 | 978.71 | 61.91 | -0.2882
2019-10-18 22:45:00 | 0 | 153.326 | 4.195 | 198.828 | 3.428 | 144.31 | 0 | 339.744 | 14.87 | 978.413 | 63.2077 | 0.55053
2019-10-18 23:00:00 | 0 | 150.743 | 4.4507 | 194.662 | 3.6837 | 148.696 | 0 | 334.091 | 14.49 | 978.413 | 64.1634 | 3.1221
2019-10-18 23:15:00 | 0 | 156.004 | 5.2177 | 197.338 | 3.428 | 145.818 | 0 | 343.198 | 14.4 | 978.413 | 64.64 | 3.8722
2019-10-18 23:30:00 | 0 | 155.59 | 5.2177 | 199.216 | 4.7063 | 146.282 | 0 | 342.616 | 14.49 | 978.265 | 64.6404 | 4.2195
2019-10-18 23:45:00 | 0 | 155.174 | 5.4733 | 200.041 | 3.6837 | 154.541 | 1.5183 | 343.952 | 14.46 | 978.562 | 64.7078 | 5.3538