## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-19 00:00:00 | 0 | 156.027 | 5.729 | 203.16 | 4.195 | 158.025 | 1.2627 | 343.635 | 14.35 | 978.413 | 64.2641 | 5.7676
2019-10-19 00:15:00 | 0 | 155.324 | 5.4733 | 201.021 | 4.7063 | 153.472 | 1.774 | 342.424 | 14.27 | 978.116 | 64.0949 | 6.115
2019-10-19 00:30:00 | 0 | 158.955 | 5.9847 | 200.241 | 4.4507 | 150.377 | 0.37567 | 340.596 | 14.3 | 978.413 | 65.2212 | 7.2123
2019-10-19 00:45:00 | 0 | 150.353 | 4.962 | 194.929 | 3.9393 | 148.891 | 0.887 | 338.184 | 14.05 | 978.116 | 64.9822 | 7.3306
2019-10-19 01:00:00 | 0 | 149.086 | 4.962 | 197.708 | 3.9393 | 151.231 | 0 | 335.773 | 13.96 | 977.968 | 65.3238 | 7.6003
2019-10-19 01:15:00 | 0 | 152.742 | 5.4733 | 203.46 | 4.4507 | 151.914 | 5.2177 | 340.478 | 13.98 | 977.968 | 65.6655 | 8.4945
2019-10-19 01:30:00 | 0 | 152.109 | 4.7063 | 199.683 | 4.195 | 147.186 | 1.1427 | 335.19 | 14.22 | 978.116 | 64.9146 | 8.6275
2019-10-19 01:45:00 | 0 | 149.452 | 5.4733 | 199.17 | 4.195 | 157.932 | 5.4733 | 332.386 | 14.11 | 978.116 | 66.143 | 8.8898
2019-10-19 02:00:00 | 0 | 146.744 | 5.4733 | 195.828 | 4.4507 | 154.883 | 1.1427 | 339.593 | 14.02 | 977.968 | 66.3466 | 9.3184
2019-10-19 02:15:00 | 0 | 150.598 | 5.2177 | 197.807 | 4.4507 | 151.134 | 4.962 | 341.478 | 13.81 | 977.819 | 67.7135 | 9.5401
2019-10-19 02:30:00 | 0.372 | 144.461 | 4.962 | 191.672 | 3.1723 | 151.821 | 4.7063 | 336.979 | 13.72 | 977.671 | 68.4661 | 8.5868
2019-10-19 02:45:00 | 0 | 152.991 | 4.7063 | 195.23 | 4.195 | 147.313 | 5.4733 | 338.564 | 13.8 | 977.522 | 67.3741 | 8.0548
2019-10-19 03:00:00 | 0 | 155.378 | 5.9847 | 198.689 | 3.9393 | 155.427 | 1.654 | 341.948 | 13.86 | 977.522 | 66.9641 | 8.9932
2019-10-19 03:15:00 | 0 | 149.998 | 5.2177 | 198.721 | 4.7063 | 148.073 | 5.9847 | 338.939 | 13.93 | 977.522 | 67.9905 | 8.4945
2019-10-19 03:30:00 | 0 | 158.357 | 6.7517 | 204.546 | 4.962 | 155.53 | 1.2627 | 342.473 | 13.99 | 977.522 | 67.3761 | 9.5696
2019-10-19 03:45:00 | 0 | 151.337 | 5.2177 | 194.869 | 4.962 | 153.823 | 4.7063 | 338.644 | 13.99 | 977.671 | 67.2391 | 9.1337
2019-10-19 04:00:00 | 0 | 146.947 | 5.9847 | 200.444 | 4.7063 | 155.622 | 5.729 | 339.318 | 13.59 | 977.522 | 69.1487 | 10.2273
2019-10-19 04:15:00 | 0 | 153.46 | 5.2177 | 196.871 | 4.195 | 150.121 | 4.962 | 338.211 | 13.53 | 977.374 | 69.1515 | 9.4994
2019-10-19 04:30:00 | 0 | 145.884 | 6.2403 | 177.916 | 4.962 | 142.082 | 3.9393 | 332.614 | 13.71 | 977.374 | 67.2419 | 9.3664
2019-10-19 04:45:00 | 0 | 148.398 | 6.2403 | 195.931 | 4.7063 | 157.342 | 4.962 | 333.693 | 13.6 | 977.671 | 70.2129 | 12.4332
2019-10-19 05:00:00 | 0 | 144.722 | 5.9847 | 190.307 | 5.4733 | 142.943 | 0 | 330.243 | 13.52 | 977.374 | 68.8497 | 12.8026
2019-10-19 05:15:00 | 0.372 | 147.6 | 6.2403 | 181.366 | 5.729 | 139.606 | 0 | 331.661 | 13.51 | 977.374 | 68.8166 | 12.1265
2019-10-19 05:30:00 | 0.744 | 145.085 | 7.0073 | 190.767 | 5.9847 | 134.8 | 3.6837 | 329.652 | 13.78 | 977.522 | 67.7903 | 12.7916
2019-10-19 05:45:00 | 0 | 147.18 | 7.0073 | 194.982 | 5.2177 | 154.419 | 3.0523 | 341.154 | 13.76 | 977.671 | 69.1554 | 15.2597
2019-10-19 06:00:00 | 0 | 150.354 | 6.7517 | 196.135 | 5.729 | 143.749 | 0.37567 | 338.51 | 13.67 | 977.671 | 68.8165 | 14.4875
2019-10-19 06:15:00 | 0 | 144.501 | 7.5187 | 191.597 | 5.9847 | 147.669 | 0 | 333.408 | 13.73 | 977.671 | 68.4734 | 15.7327
2019-10-19 06:30:00 | 0.372 | 146.205 | 5.9847 | 192.788 | 6.7517 | 135.287 | 5.2177 | 334.11 | 13.72 | 977.819 | 68.4043 | 16.8707
2019-10-19 06:45:00 | 0 | 140.123 | 5.729 | 188.552 | 5.4733 | 150.065 | 0.37567 | 324.427 | 13.58 | 978.116 | 69.4556 | 19.882
2019-10-19 07:00:00 | 6.478 | 149.676 | 6.2403 | 193.938 | 5.9847 | 138.466 | 6.496 | 330.934 | 13.17 | 977.968 | 69.6264 | 17.6983
2019-10-19 07:15:00 | 3.9247 | 137.899 | 5.2177 | 195.876 | 5.2177 | 137.241 | 2.0297 | 326.459 | 13.43 | 978.413 | 69.623 | 16.734
2019-10-19 07:30:00 | 1.7653 | 141.994 | 4.962 | 196.489 | 5.729 | 164.755 | 5.9847 | 328.486 | 13.47 | 978.71 | 69.2144 | 17.4027
2019-10-19 07:45:00 | 8.2653 | 142.361 | 7.5187 | 199.098 | 5.2177 | 151.67 | 5.2177 | 334.483 | 13.39 | 979.007 | 69.0102 | 18.5777
2019-10-19 08:00:00 | 4.4353 | 156.671 | 6.496 | 202.044 | 5.9847 | 142.929 | 6.7517 | 316.729 | 13.57 | 979.304 | 68.3194 | 20.9526
2019-10-19 08:15:00 | 0 | 142.191 | 6.2403 | 187.244 | 6.496 | 141.314 | 3.428 | 324.266 | 13.86 | 979.312 | 66.7463 | 21.4227
2019-10-19 08:30:00 | 0 | 136.002 | 6.7517 | 185.855 | 6.2403 | 140.9 | 1.2627 | 321.44 | 14.23 | 979.599 | 65.9273 | 19.0876
2019-10-19 08:45:00 | 0 | 149.348 | 6.7517 | 200.77 | 6.496 | 143.453 | 5.9847 | 328.172 | 14.51 | 979.896 | 64.8905 | 16.2906
2019-10-19 09:00:00 | 0 | 138.807 | 6.2403 | 193.119 | 5.729 | 150.279 | 5.729 | 322.869 | 14.75 | 980.192 | 64.2001 | 13.161
2019-10-19 09:15:00 | 0 | 150.618 | 7.0073 | 194.505 | 7.0073 | 148.719 | 0.63133 | 332.047 | 14.83 | 980.192 | 64.1992 | 12.5034
2019-10-19 09:30:00 | 0 | 157.852 | 6.2403 | 198.402 | 6.7517 | 174.122 | 5.729 | 338.599 | 14.88 | 980.479 | 64.6768 | 13.4973
2019-10-19 09:45:00 | 0 | 144.383 | 8.03 | 191.46 | 7.5187 | 149.157 | 0 | 335.067 | 15.05 | 980.257 | 63.1418 | 13.2423
2019-10-19 10:00:00 | 0 | 139.122 | 6.7517 | 203.247 | 7.5187 | 169.859 | 0.37567 | 329.001 | 15.09 | 980.341 | 62.6298 | 16.5197
2019-10-19 10:15:00 | 0.88267 | 149.03 | 7.0073 | 202.535 | 5.729 | 158.748 | 4.7063 | 331.184 | 15.18 | 980.19 | 64.8111 | 19.2354
2019-10-19 10:30:00 | 0 | 139.757 | 7.0073 | 193.398 | 7.0073 | 144.725 | 3.6837 | 321.959 | 15.1 | 980.338 | 65.2801 | 22.0471
2019-10-19 10:45:00 | 7.7547 | 134.621 | 9.8197 | 191.162 | 7.7743 | 145.288 | 3.6837 | 321.357 | 15.36 | 980.338 | 65.4179 | 23.5436
2019-10-19 11:00:00 | 9.2867 | 140.464 | 9.0527 | 191.572 | 9.0527 | 143.995 | 7.0073 | 322.716 | 15.64 | 979.893 | 64.9393 | 20.9941
2019-10-19 11:15:00 | 0 | 145.308 | 6.2403 | 185.458 | 6.7517 | 136.371 | 0 | 325.878 | 15.83 | 980.486 | 64.5294 | 16.8485
2019-10-19 11:30:00 | 0.372 | 152.906 | 7.0073 | 187.089 | 6.7517 | 160.601 | 4.962 | 334.377 | 16.54 | 980.338 | 63.1651 | 17.9902
2019-10-19 11:45:00 | 0 | 156.535 | 6.496 | 191.643 | 7.263 | 140.535 | 3.6837 | 341.098 | 16.83 | 980.19 | 61.7667 | 16.8596
2019-10-19 12:00:00 | 3.414 | 181.904 | 5.729 | 207.538 | 6.7517 | 151.514 | 4.7063 | 14.3673 | 17.35 | 980.19 | 59.5481 | 15.958
2019-10-19 12:15:00 | 0 | 185.97 | 7.5187 | 237.577 | 7.5187 | 182.244 | 0 | 349.344 | 17.61 | 980.08 | 55.5842 | 10.9626
2019-10-19 12:30:00 | 0 | 173.21 | 7.263 | 228.81 | 8.5413 | 184.435 | 0 | 1.3148 | 17.85 | 979.339 | 56.1637 | 13.5231
2019-10-19 12:45:00 | 0.372 | 161.597 | 6.496 | 198.303 | 4.962 | 188.72 | 0 | 339.774 | 17.76 | 979.375 | 56.0273 | 13.2867
2019-10-19 13:00:00 | 0 | 182.536 | 5.729 | 218.511 | 7.263 | 169.388 | 0 | 353.482 | 17.96 | 979.244 | 55.8227 | 16.1539
2019-10-19 13:15:00 | 0 | 154.024 | 5.4733 | 193.092 | 5.2177 | 145.624 | 4.195 | 331.885 | 18.28 | 979.475 | 55.0384 | 13.5933
2019-10-19 13:30:00 | 0 | 194.661 | 5.729 | 239.012 | 5.9847 | 215.016 | 0 | 7.1096 | 18.58 | 979.3 | 52.1739 | 16.8744
2019-10-19 13:45:00 | 0 | 208.515 | 5.729 | 249.19 | 6.496 | 198.63 | 0 | 0.24348 | 18.6 | 979 | 50.7076 | 16.8079
2019-10-19 14:00:00 | 2.3927 | 166.003 | 8.03 | 215.2 | 5.9847 | 163.325 | 0.63133 | 350.584 | 18.83 | 979 | 49.9233 | 14.2399
2019-10-19 14:15:00 | 0 | 171.141 | 6.2403 | 228.932 | 8.797 | 191.398 | 0 | 0.90087 | 18.91 | 978.703 | 50.8781 | 12.3593
2019-10-19 14:30:00 | 3.1587 | 159.941 | 6.496 | 197.962 | 8.797 | 143.677 | 2.661 | 353.969 | 19.21 | 978.852 | 47.7408 | 15.1858
2019-10-19 14:45:00 | 0.372 | 164.397 | 7.263 | 211.84 | 8.2857 | 160.793 | 0 | 349.635 | 19.25 | 979 | 49.0708 | 17.0887
2019-10-19 15:00:00 | 2.648 | 145.649 | 9.8197 | 188.344 | 7.7743 | 141.339 | 0.63133 | 327.868 | 19 | 978.852 | 49.3095 | 19.1282
2019-10-19 15:15:00 | 4.946 | 139.44 | 6.7517 | 202.271 | 7.5187 | 161.937 | 0.887 | 325.287 | 19.16 | 978.852 | 48.2183 | 17.3325
2019-10-19 15:30:00 | 0 | 160.087 | 5.729 | 205.607 | 5.4733 | 177.642 | 0.37567 | 322.804 | 19 | 978.703 | 49.3095 | 19.7416
2019-10-19 15:45:00 | 0 | 165.687 | 5.729 | 208.285 | 5.729 | 169.315 | 0.75133 | 332.932 | 19.31 | 978.852 | 48.2865 | 22.0619
2019-10-19 16:00:00 | 10.5633 | 157.628 | 8.2857 | 198.132 | 7.5187 | 166.588 | 3.9393 | 344.79 | 19.26 | 978.407 | 47.8772 | 24.8922
2019-10-19 16:15:00 | 0 | 166.929 | 5.9847 | 207.433 | 5.9847 | 153.635 | 1.007 | 331.715 | 19.13 | 978.129 | 48.0136 | 25.7087
2019-10-19 16:30:00 | 9.0313 | 139.42 | 8.2857 | 187.011 | 7.263 | 127.051 | 2.2853 | 326.927 | 19.03 | 977.983 | 48.2196 | 25.7679
2019-10-19 16:45:00 | 3.042 | 141.381 | 6.7517 | 204.442 | 6.7517 | 151.363 | 2.9167 | 321.793 | 18.93 | 977.666 | 48.5654 | 32.1111
2019-10-19 17:00:00 | 1.51 | 147.476 | 9.564 | 195.685 | 8.03 | 163.548 | 3.6837 | 331.674 | 18.71 | 977.222 | 46.9986 | 37.1554
2019-10-19 17:15:00 | 7.7547 | 152.98 | 9.3083 | 201.823 | 10.0753 | 156.56 | 2.4053 | 332.333 | 18.57 | 976.776 | 46.3168 | 42.4205
2019-10-19 17:30:00 | 1.6267 | 150.106 | 11.098 | 193.018 | 7.263 | 148.036 | 0 | 329.805 | 18.41 | 976.699 | 46.6654 | 45.9934
2019-10-19 17:45:00 | 1.6267 | 142.021 | 9.564 | 195.966 | 10.0753 | 157.17 | 0 | 325.641 | 18.39 | 977.008 | 47.8253 | 52.1073
2019-10-19 18:00:00 | 0.99933 | 149.303 | 10.331 | 200.52 | 8.5413 | 147.452 | 0.37567 | 330.026 | 18.11 | 976.919 | 50.145 | 50.9133
2019-10-19 18:15:00 | 9.2867 | 137.563 | 7.5187 | 182.107 | 6.7517 | 160.824 | 5.2177 | 331.95 | 17.76 | 976.927 | 52.0553 | 50.3275
2019-10-19 18:30:00 | 2.7867 | 140.17 | 9.3083 | 192.921 | 5.4733 | 132.278 | 0.75133 | 319.625 | 17.62 | 976.927 | 53.795 | 53.8117
2019-10-19 18:45:00 | 1.51 | 155.345 | 9.3083 | 201.035 | 7.263 | 153.324 | 0 | 336.071 | 17.56 | 976.927 | 55.5013 | 56.3538
2019-10-19 19:00:00 | 2.3927 | 152.964 | 11.3537 | 201.651 | 11.098 | 174.737 | 0 | 332.376 | 17.56 | 976.927 | 56.2196 | 50.9852
2019-10-19 19:15:00 | 4.18 | 141.343 | 7.5187 | 192.343 | 7.0073 | 131.308 | 0 | 324.774 | 17.42 | 976.927 | 57.2762 | 51.4877
2019-10-19 19:30:00 | 0 | 148.309 | 9.0527 | 196.825 | 9.8197 | 146.482 | 0.75133 | 327.405 | 17.5 | 976.927 | 56.8667 | 52.8601
2019-10-19 19:45:00 | 3.414 | 140.807 | 10.331 | 194.486 | 9.3083 | 132.478 | 2.2853 | 323.024 | 17.74 | 977.075 | 56.1504 | 53.653
2019-10-19 20:00:00 | 0.372 | 142.362 | 10.0753 | 187.272 | 8.797 | 141.802 | 0.37567 | 326.739 | 17.89 | 976.927 | 56.4219 | 57.2886
2019-10-19 20:15:00 | 5.4567 | 146.969 | 7.5187 | 210.562 | 8.5413 | 154.349 | 0.75133 | 322.972 | 17.94 | 977.223 | 56.7303 | 56.4646
2019-10-19 20:30:00 | 2.648 | 142.728 | 11.098 | 195.066 | 9.564 | 158.048 | 3.6837 | 325.23 | 17.81 | 977.075 | 56.7632 | 54.0962
2019-10-19 20:45:00 | 2.3927 | 138.227 | 8.5413 | 186.866 | 8.5413 | 139.177 | 0.63133 | 325.145 | 17.66 | 977.223 | 58.2323 | 46.3629
2019-10-19 21:00:00 | 0.372 | 146.601 | 10.0753 | 195.481 | 9.564 | 142.485 | 0 | 329.347 | 17.32 | 977.223 | 59.2194 | 45.3542
2019-10-19 21:15:00 | 5.4567 | 143.291 | 6.7517 | 197.433 | 6.2403 | 153.155 | 3.428 | 324.627 | 17.31 | 977.223 | 59.5615 | 51.7352
2019-10-19 21:30:00 | 0.744 | 144.24 | 10.5867 | 194.875 | 9.564 | 145.945 | 0.37567 | 326.769 | 17.19 | 976.927 | 59.5613 | 51.6704
2019-10-19 21:45:00 | 1.882 | 164.025 | 6.496 | 210.326 | 7.0073 | 147.315 | 2.661 | 335.917 | 17.31 | 977.075 | 58.5403 | 50.4753
2019-10-19 22:00:00 | 6.2227 | 143.985 | 9.0527 | 195.479 | 3.428 | 166.347 | 2.661 | 323.218 | 17.09 | 977.223 | 58.8843 | 54.8685
2019-10-19 22:15:00 | 0 | 161.868 | 5.4733 | 202.425 | 4.4507 | 170.54 | 0 | 347.34 | 17.09 | 977.223 | 59.022 | 58.3917
2019-10-19 22:30:00 | 5.9673 | 124.797 | 4.7063 | 204.381 | 5.2177 | 155.125 | 6.496 | 310.835 | 17.11 | 976.927 | 57.5909 | 53.5714
2019-10-19 22:45:00 | 1.51 | 159.684 | 10.0753 | 209.282 | 8.797 | 145.993 | 1.2627 | 337.687 | 17.13 | 976.927 | 58.0356 | 55.4079
2019-10-19 23:00:00 | 0 | 134.427 | 9.3083 | 210.801 | 9.0527 | 164.245 | 2.4053 | 332.778 | 16.92 | 976.927 | 57.4576 | 63.2373
2019-10-19 23:15:00 | 7.244 | 164.315 | 5.4733 | 215.742 | 6.496 | 179.346 | 4.7063 | 351.433 | 16.76 | 976.63 | 57.3884 | 67.0984
2019-10-19 23:30:00 | 2.3927 | 149.862 | 10.331 | 199.494 | 11.6093 | 163.238 | 5.2177 | 333.346 | 16.71 | 975.887 | 57.3949 | 67.1738
2019-10-19 23:45:00 | 3.9247 | 135.66 | 12.3763 | 189.678 | 12.1207 | 135.221 | 2.0297 | 321.437 | 16.58 | 975.887 | 58.283 | 64.7189