## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-20 00:00:00 | 4.6907 | 141.387 | 10.5867 | 190.899 | 10.8423 | 133.736 | 0 | 323.121 | 16.51 | 975.739 | 58.4201 | 62.0668
2019-10-20 00:15:00 | 7.7547 | 150.669 | 9.3083 | 199.523 | 8.2857 | 154.421 | 1.5183 | 334.133 | 16.44 | 975.739 | 59.9555 | 60.5051
2019-10-20 00:30:00 | 1.882 | 146.284 | 8.2857 | 193.774 | 5.4733 | 160.026 | 1.894 | 324.193 | 16.24 | 975.739 | 61.423 | 62.2803
2019-10-20 00:45:00 | 4.18 | 145.09 | 10.5867 | 196.356 | 9.564 | 147.746 | 4.7063 | 326.922 | 16.16 | 975.739 | 60.3992 | 64.1019
2019-10-20 01:00:00 | 1.6487 | 136.002 | 7.0073 | 173.649 | 6.7517 | 137.61 | 0.37567 | 311.572 | 16.04 | 975.739 | 60.7405 | 59.2247
2019-10-20 01:15:00 | 7.244 | 174.571 | 7.0073 | 192.799 | 7.5187 | 141.874 | 1.127 | 347.9 | 15.96 | 975.739 | 61.2865 | 59.0732
2019-10-20 01:30:00 | 5.9673 | 136.684 | 6.2403 | 201.083 | 6.496 | 198.18 | 2.1497 | 332.477 | 15.85 | 975.739 | 61.9007 | 56.4129
2019-10-20 01:45:00 | 5.2013 | 152.814 | 9.3083 | 195.601 | 7.0073 | 162.608 | 5.4733 | 334.621 | 15.67 | 975.739 | 62.9927 | 58.9771
2019-10-20 02:00:00 | 5.9673 | 168.066 | 9.8197 | 194.894 | 10.5867 | 160.464 | 1.3827 | 348.899 | 15.6 | 975.621 | 62.2419 | 62.3431
2019-10-20 02:15:00 | 4.18 | 141.582 | 8.797 | 214.459 | 7.0073 | 168.407 | 3.428 | 333.379 | 15.68 | 975.752 | 62.7879 | 61.7815
2019-10-20 02:30:00 | 0 | 140.924 | 7.263 | 197.867 | 5.9847 | 168.87 | 0.887 | 330.991 | 15.41 | 975.756 | 63.9481 | 65.4653
2019-10-20 02:45:00 | 3.414 | 132.616 | 9.3083 | 190.728 | 7.5187 | 150.645 | 4.195 | 307.333 | 15.31 | 975.287 | 64.187 | 66.4666
2019-10-20 03:00:00 | 4.18 | 152.643 | 8.797 | 192.141 | 8.5413 | 138.463 | 0 | 334.914 | 15.26 | 975.286 | 64.9036 | 65.5909
2019-10-20 03:15:00 | 5.2013 | 158.929 | 8.5413 | 204.104 | 6.7517 | 190.335 | 0 | 333.647 | 15.35 | 975.395 | 64.9036 | 67.2388
2019-10-20 03:30:00 | 4.18 | 145.748 | 11.098 | 199.719 | 11.865 | 144.798 | 1.774 | 326.654 | 15.21 | 975.074 | 65.3814 | 67.3533
2019-10-20 03:45:00 | 1.3713 | 146.772 | 10.0753 | 195.212 | 8.797 | 151.937 | 1.5183 | 326.899 | 15.08 | 975.292 | 66.1325 | 69.6478
2019-10-20 04:00:00 | 4.18 | 139.784 | 9.0527 | 204.113 | 8.2857 | 130.111 | 3.6837 | 323.963 | 15.05 | 975.413 | 66.3395 | 69.339
2019-10-20 04:15:00 | 3.414 | 146.246 | 10.0753 | 192.913 | 8.03 | 157.723 | 5.4733 | 333.355 | 15.15 | 975.442 | 66.5466 | 69.064
2019-10-20 04:30:00 | 3.9247 | 144.779 | 10.8423 | 200.044 | 10.331 | 135.35 | 0.37567 | 327.154 | 15.08 | 975.293 | 65.3156 | 64.4233
2019-10-20 04:45:00 | 3.5527 | 144.761 | 11.3537 | 193.938 | 8.03 | 152.656 | 2.661 | 331.847 | 15.1 | 975.125 | 65.8646 | 64.5231
2019-10-20 05:00:00 | 3.414 | 126.139 | 7.263 | 187.348 | 6.7517 | 157.107 | 4.962 | 322.23 | 15.21 | 975.44 | 64.8375 | 66.0638
2019-10-20 05:15:00 | 6.7333 | 148.653 | 6.7517 | 207.695 | 7.7743 | 174.627 | 4.4507 | 332.832 | 15.05 | 975.734 | 63.9507 | 66.9654
2019-10-20 05:30:00 | 10.0527 | 151.655 | 8.2857 | 202.561 | 8.797 | 151.509 | 3.1723 | 332.648 | 15.01 | 975.728 | 64.9084 | 66.703
2019-10-20 05:45:00 | 3.6693 | 135.524 | 7.7743 | 186.965 | 9.3083 | 153.579 | 2.9167 | 314.59 | 15.15 | 975.74 | 64.4984 | 67.1612
2019-10-20 06:00:00 | 5.4567 | 142.447 | 8.03 | 192.695 | 6.496 | 153.972 | 0.887 | 315.936 | 14.98 | 975.888 | 65.0457 | 65.2103
2019-10-20 06:15:00 | 6.478 | 148.734 | 9.8197 | 195.596 | 9.3083 | 151.414 | 0.75133 | 334.773 | 14.94 | 975.731 | 65.2848 | 63.1027
2019-10-20 06:30:00 | 5.9673 | 145.489 | 8.5413 | 188.572 | 8.5413 | 145.245 | 5.9847 | 331.426 | 15.01 | 975.888 | 65.5219 | 61.1942
2019-10-20 06:45:00 | 10.308 | 162.375 | 8.2857 | 182.554 | 6.496 | 145.708 | 7.5187 | 340.295 | 15.1 | 975.971 | 64.1569 | 60.9354
2019-10-20 07:00:00 | 0 | 134.979 | 7.0073 | 178.717 | 7.5187 | 157.224 | 1.6383 | 328.799 | 15.38 | 976.277 | 63.5388 | 62.7052
2019-10-20 07:15:00 | 9.7973 | 172.257 | 7.5187 | 200.011 | 9.0527 | 136.075 | 5.2177 | 320.831 | 15.15 | 976.469 | 62.8562 | 62.7015
2019-10-20 07:30:00 | 4.6907 | 127.645 | 6.2403 | 214.289 | 4.7063 | 177.934 | 1.2627 | 323 | 15.35 | 976.63 | 61.9007 | 62.1473
2019-10-20 07:45:00 | 4.4353 | 148.769 | 7.7743 | 197.672 | 8.2857 | 159.27 | 0 | 325.533 | 15.38 | 977.372 | 62.5149 | 64.8741
2019-10-20 08:00:00 | 2.5313 | 128.063 | 6.2403 | 186.138 | 7.5187 | 149.646 | 2.4053 | 306.991 | 15.41 | 977.372 | 62.7436 | 69.5481
2019-10-20 08:15:00 | 1.6267 | 139.204 | 11.3537 | 181.925 | 8.5413 | 148.363 | 0.37567 | 320.304 | 15.51 | 977.075 | 62.327 | 69.1306
2019-10-20 08:30:00 | 2.648 | 136.347 | 10.5867 | 193.63 | 10.0753 | 143.386 | 3.6837 | 321.382 | 15.65 | 977.372 | 61.8119 | 68.0812
2019-10-20 08:45:00 | 3.6693 | 139.536 | 11.6093 | 187.173 | 12.1207 | 136.005 | 3.1723 | 324.643 | 15.85 | 977.224 | 61.5385 | 65.7276
2019-10-20 09:00:00 | 4.4353 | 130.013 | 8.797 | 195.917 | 8.797 | 144.334 | 1.1427 | 327.858 | 16.08 | 977.667 | 60.5492 | 64.0391
2019-10-20 09:15:00 | 3.1587 | 142.727 | 9.8197 | 197.038 | 9.0527 | 151.349 | 2.9167 | 327.59 | 16.31 | 977.688 | 60.4469 | 55.7883
2019-10-20 09:30:00 | 6.7333 | 146.648 | 9.3083 | 199.132 | 8.5413 | 140.827 | 2.661 | 315.899 | 16.48 | 977.82 | 59.6964 | 50.5861
2019-10-20 09:45:00 | 0 | 142.415 | 9.564 | 195.156 | 7.263 | 138.81 | 1.894 | 325.766 | 16.7 | 977.964 | 60.0632 | 38.8854
2019-10-20 10:00:00 | 4.946 | 132.913 | 9.3083 | 183.729 | 9.0527 | 137.735 | 4.195 | 315.139 | 16.89 | 977.964 | 59.8909 | 29.5292
2019-10-20 10:15:00 | 13.1167 | 148.571 | 9.8197 | 198.778 | 9.0527 | 146.867 | 5.4733 | 330.213 | 17.5 | 978.112 | 57.7081 | 25.7531
2019-10-20 10:30:00 | 5.712 | 151.778 | 7.263 | 194.749 | 8.03 | 142.671 | 0.63133 | 330.877 | 17.44 | 978.112 | 57.7732 | 21.8772
2019-10-20 10:45:00 | 0 | 135.063 | 7.0073 | 190.569 | 8.2857 | 144.024 | 2.4053 | 323.11 | 17.99 | 978.305 | 56.8141 | 17.0443
2019-10-20 11:00:00 | 0.744 | 139.61 | 9.0527 | 183.767 | 9.0527 | 134.936 | 0 | 325.774 | 18.21 | 977.824 | 56.7434 | 20.7059
2019-10-20 11:15:00 | 0.372 | 140.925 | 7.5187 | 201.078 | 8.5413 | 162.108 | 2.1497 | 330.814 | 18.32 | 977.517 | 56.7775 | 20.281
2019-10-20 11:30:00 | 0 | 156.067 | 5.9847 | 205.968 | 6.7517 | 143.796 | 1.5183 | 335.093 | 18.36 | 977.813 | 55.3784 | 19.0691
2019-10-20 11:45:00 | 0 | 146.654 | 6.7517 | 198.009 | 7.263 | 148.894 | 1.2627 | 335.815 | 18.96 | 977.665 | 54.8274 | 16.1576
2019-10-20 12:00:00 | 0.62733 | 152.491 | 5.729 | 209.978 | 4.4507 | 143.094 | 4.962 | 339.088 | 18.95 | 977.665 | 56.7005 | 11.4984
2019-10-20 12:15:00 | 0 | 154.366 | 7.0073 | 201.799 | 6.2403 | 147.282 | 0 | 336.264 | 19.21 | 977.517 | 57.212 | 9.178
2019-10-20 12:30:00 | 0 | 151.872 | 5.9847 | 204.229 | 5.729 | 155.524 | 0 | 341.846 | 19.11 | 977.665 | 55.5804 | 7.1606
2019-10-20 12:45:00 | 0 | 134.975 | 5.9847 | 193.808 | 6.2403 | 139.893 | 0 | 312.312 | 19.3 | 977.813 | 54.5912 | 3.5618
2019-10-20 13:00:00 | 1.2547 | 193.751 | 5.9847 | 230.497 | 6.7517 | 183.259 | 0 | 15.1905 | 19.56 | 977.517 | 55.029 | 3.281
2019-10-20 13:15:00 | 0 | 182.751 | 3.6837 | 261.076 | 4.7063 | 191.222 | 0 | 340.184 | 19.87 | 977.22 | 54.1433 | 0.99391
2019-10-20 13:30:00 | 0.88267 | 115.616 | 2.661 | 178.219 | 2.9167 | 113.644 | 0 | 302.271 | 19.98 | 977.517 | 53.7369 | -0.070202
2019-10-20 13:45:00 | 0 | 183.381 | 5.4733 | 233.15 | 5.9847 | 184.915 | 0 | 6.9379 | 20.78 | 977.813 | 52.2332 | 0.48033
2019-10-20 14:00:00 | 0 | 164.704 | 5.2177 | 208.75 | 5.9847 | 164.606 | 1.1427 | 334.958 | 20.82 | 977.813 | 53.1179 | 1.6368
2019-10-20 14:15:00 | 0 | 157.537 | 2.661 | 200.142 | 2.9167 | 151.403 | 0 | 0.34078 | 20.52 | 978.11 | 53.8644 | 1.5149
2019-10-20 14:30:00 | 0 | 170.328 | 3.428 | 235.614 | 3.6837 | 177.8 | 0 | 3.0181 | 21.65 | 977.665 | 52.7016 | 1.4262
2019-10-20 14:45:00 | 0 | 183.666 | 4.962 | 241.918 | 8.2857 | 184.883 | 4.195 | 4.2594 | 21.03 | 977.368 | 52.9743 | 2.7231
2019-10-20 15:00:00 | 0 | 170.839 | 4.4507 | 229.602 | 5.4733 | 198.513 | 0 | 320.698 | 20.89 | 977.368 | 54.3719 | 3.0926
2019-10-20 15:15:00 | 0 | 198.446 | 4.962 | 235.263 | 5.9847 | 191.24 | 0 | 13.6079 | 20.83 | 977.368 | 54.9597 | 1.2045
2019-10-20 15:30:00 | 0 | 187.152 | 5.2177 | 223.093 | 5.2177 | 167.044 | 0 | 1.9475 | 20.87 | 976.775 | 55.0965 | 1.6036
2019-10-20 15:45:00 | 0 | 178.149 | 4.4507 | 226.946 | 4.195 | 175.131 | 0 | 354.351 | 20.56 | 976.775 | 55.4048 | 0.76114
2019-10-20 16:00:00 | 0 | 178.81 | 4.4507 | 223.989 | 3.428 | 176.083 | 0 | 356.793 | 20.5 | 976.626 | 55.9931 | 0.12193
2019-10-20 16:15:00 | 1.7653 | 170.727 | 3.9393 | 224.476 | 4.195 | 171.555 | 0 | 356.793 | 20.45 | 976.33 | 56.5388 | -0.018474
2019-10-20 16:30:00 | 0 | 181.66 | 3.428 | 235.313 | 3.6837 | 186.993 | 0 | 353.46 | 20.36 | 976.873 | 56.9485 | -0.19583
2019-10-20 16:45:00 | 0 | 169.09 | 3.1723 | 226.33 | 2.4053 | 176.054 | 0 | 0.2435 | 20.31 | 976.628 | 57.6363 | -0.25864
2019-10-20 17:00:00 | 0 | 248.242 | 3.1723 | 303.002 | 2.661 | 253.697 | 0 | 75.3444 | 20.08 | 977.073 | 58.7308 | -0.16996
2019-10-20 17:15:00 | 0 | 255.16 | 3.428 | 306.316 | 2.1497 | 270.234 | 0 | 84.7449 | 19.55 | 976.628 | 58.3219 | -0.18844
2019-10-20 17:30:00 | 0 | 285.649 | 3.6837 | 331.253 | 3.1723 | 279.926 | 0 | 108.756 | 19.49 | 976.628 | 59.4134 | 0.14779
2019-10-20 17:45:00 | 0 | 282.096 | 3.428 | 336.888 | 2.4053 | 292.836 | 0 | 102.459 | 19.18 | 976.331 | 60.7834 | 0.13301
2019-10-20 18:00:00 | 0 | 280.777 | 3.1723 | 332.798 | 2.1497 | 280.826 | 0 | 102.564 | 19.23 | 976.644 | 61.3337 | 0.2845
2019-10-20 18:15:00 | 0 | 288.839 | 3.6837 | 19.8052 | 2.9167 | 295.05 | 0 | 106.217 | 19.15 | 976.8 | 59.4235 | 0.11824
2019-10-20 18:30:00 | 0 | 298.85 | 2.9167 | 4.9723 | 1.6383 | 348.731 | 0 | 117.323 | 19.08 | 976.871 | 60.6515 | 0.18105
2019-10-20 18:45:00 | 0 | 312.684 | 3.1723 | 5.2817 | 2.4053 | 328.126 | 0 | 132.01 | 18.81 | 977.369 | 61.4702 | 0.025864
2019-10-20 19:00:00 | 0 | 314.754 | 3.1723 | 11.4681 | 2.661 | 343.154 | 0 | 140.73 | 18.95 | 977.075 | 60.3786 | 0.18844
2019-10-20 19:15:00 | 0 | 330.781 | 4.7063 | 19.6518 | 4.195 | 354.065 | 0 | 149.595 | 18.96 | 977.223 | 62.4936 | 1.9546
2019-10-20 19:30:00 | 0 | 1.1691 | 4.4507 | 47.1986 | 4.4507 | 8.3785 | 4.962 | 187.591 | 18.22 | 976.927 | 64.6768 | 6.3773
2019-10-20 19:45:00 | 0 | 16.4647 | 4.7063 | 71.8713 | 3.6837 | 18.876 | 0 | 199.233 | 17.91 | 977.075 | 65.4272 | 8.9046
2019-10-20 20:00:00 | 0.372 | 7.8914 | 3.6837 | 56.6731 | 3.428 | 18.8029 | 0 | 199.014 | 17.75 | 976.927 | 65.8366 | 9.3258
2019-10-20 20:15:00 | 0 | 12.2268 | 4.962 | 65.3195 | 2.9167 | 23.7229 | 0 | 196.335 | 17.65 | 977.075 | 65.8707 | 9.5733
2019-10-20 20:30:00 | 0 | 26.8893 | 4.962 | 77.0355 | 3.9393 | 28.6917 | 0 | 207.028 | 17.62 | 976.778 | 64.8819 | 11.5094
2019-10-20 20:45:00 | 0 | 25.3308 | 4.195 | 85.3177 | 2.9167 | 33.5146 | 0 | 223.179 | 17.69 | 976.63 | 64.4732 | 11.3727
2019-10-20 21:00:00 | 0 | 42.5769 | 4.4507 | 94.6019 | 3.6837 | 47.2535 | 0 | 223.772 | 17.78 | 976.63 | 63.3158 | 7.0165
2019-10-20 21:15:00 | 0 | 41.7962 | 3.428 | 113.183 | 2.9167 | 58.4562 | 0 | 223.254 | 17.86 | 976.927 | 63.5186 | 0.18474
2019-10-20 21:30:00 | 0 | 84.2998 | 3.9393 | 122.465 | 3.1723 | 61.0875 | 0 | 256.09 | 17.93 | 976.927 | 63.0418 | -0.22908
2019-10-20 21:45:00 | 0 | 50.4196 | 2.4053 | 101.105 | 2.661 | 44.3303 | 0 | 271.34 | 18.19 | 976.927 | 61.5414 | -0.25864
2019-10-20 22:00:00 | 0 | 57.7508 | 1.894 | 112.357 | 2.4053 | 54.6331 | 0 | 257.211 | 18.63 | 976.927 | 61.8822 | -0.24016
2019-10-20 22:15:00 | 0 | 39.7757 | 2.1497 | 107.511 | 2.661 | 58.8476 | 0 | 226.573 | 18.43 | 976.927 | 61.6441 | -0.24016
2019-10-20 22:30:00 | 0 | 19.5102 | 1.894 | 101.007 | 1.894 | 38.0462 | 0 | 225.598 | 18.36 | 976.927 | 62.2579 | -0.24016
2019-10-20 22:45:00 | 5.9673 | 1.5101 | 1.894 | 71.5808 | 1.3827 | 28.0588 | 0 | 153.203 | 18.48 | 976.927 | 61.6761 | -0.24016
2019-10-20 23:00:00 | 0 | 64.7895 | 1.6383 | 55.2874 | 2.1497 | 9.3531 | 0 | 155.056 | 18.49 | 976.927 | 61.063 | -0.24016
2019-10-20 23:15:00 | 0 | 64.5945 | 2.1497 | 55.2141 | 1.127 | 8.8659 | 0 | 157.419 | 18.64 | 976.927 | 62.018 | -0.26603
2019-10-20 23:30:00 | 0 | 10.327 | 3.1723 | 65.3685 | 2.661 | 18.2184 | 0 | 192.804 | 18.28 | 976.333 | 63.5172 | 0.4286
2019-10-20 23:45:00 | 0 | 13.9321 | 3.1723 | 71.3861 | 2.661 | 18.0239 | 0 | 198.019 | 18.09 | 976.333 | 63.6889 | 0.45816