## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-21 00:00:00 | 0 | 6.2354 | 3.6837 | 61.7411 | 3.1723 | 10.9118 | 0 | 191.687 | 17.7 | 976.481 | 65.9064 | 1.9065
2019-10-21 00:15:00 | 2.276 | 0.097429 | 3.9393 | 53.5589 | 3.6837 | 6.747 | 0 | 186.601 | 17 | 975.739 | 68.4323 | 6.8318
2019-10-21 00:30:00 | 0 | 9.5481 | 5.4733 | 65.0321 | 4.4507 | 12.471 | 0 | 196.931 | 16.74 | 975.739 | 69.1153 | 6.4549
2019-10-21 00:45:00 | 0 | 23.5066 | 3.6837 | 75.4149 | 2.9167 | 16.7591 | 0 | 208.076 | 16.94 | 975.887 | 68.1648 | 2.1467
2019-10-21 01:00:00 | 0 | 30.5981 | 3.1723 | 79.2489 | 2.661 | 16.4684 | 0 | 212.676 | 17.09 | 975.887 | 67.8302 | 1.1528
2019-10-21 01:15:00 | 0 | 35.9567 | 2.9167 | 85.9701 | 2.1497 | 28.551 | 0 | 210.332 | 17.27 | 975.887 | 67.0096 | 0.42121
2019-10-21 01:30:00 | 3.1587 | 34.9837 | 2.9167 | 95.7679 | 2.661 | 50.8677 | 0 | 215.725 | 17.53 | 976.036 | 64.9651 | -0.33254
2019-10-21 01:45:00 | 0 | 50.5018 | 2.661 | 109.799 | 2.4053 | 70.649 | 0 | 223.373 | 17.93 | 976.184 | 64.2139 | -0.29928
2019-10-21 02:00:00 | 0 | 57.1958 | 3.6837 | 111.857 | 2.9167 | 76.1961 | 0 | 235.701 | 17.96 | 976.036 | 63.9348 | -0.24016
2019-10-21 02:15:00 | 0 | 42.6756 | 3.428 | 99.745 | 2.4053 | 35.9527 | 0 | 218.42 | 17.86 | 976.036 | 64.8188 | -0.24016
2019-10-21 02:30:00 | 0 | 50.3714 | 2.1497 | 94.3831 | 1.3827 | 30.0572 | 0 | 223.456 | 17.78 | 975.887 | 64.9535 | -0.24016
2019-10-21 02:45:00 | 0 | 42.9667 | 2.1497 | 91.241 | 0.75133 | 34.3442 | 0 | 223.067 | 17.78 | 975.739 | 63.4525 | -0.24016
2019-10-21 03:00:00 | 0 | 22.5063 | 1.894 | 66.4204 | 1.3827 | 356.594 | 0 | 206.04 | 17.89 | 975.739 | 64.8168 | -0.24016
2019-10-21 03:15:00 | 2.5313 | 15.9779 | 2.661 | 64.4684 | 1.894 | 346.496 | 0 | 209.466 | 17.14 | 975.887 | 68.1573 | -0.25864
2019-10-21 03:30:00 | 0 | 27.5989 | 2.1497 | 77.6315 | 1.6383 | 28.9387 | 0 | 209.44 | 16.64 | 975.739 | 69.1882 | -0.24016
2019-10-21 03:45:00 | 0 | 42.8737 | 2.661 | 89.0359 | 1.894 | 28.3552 | 0 | 227.353 | 17.23 | 975.739 | 66.9392 | -0.24016
2019-10-21 04:00:00 | 0 | 68.5973 | 2.4053 | 129.228 | 1.3827 | 94.029 | 0 | 246.668 | 17.43 | 975.739 | 65.5055 | -0.25864
2019-10-21 04:15:00 | 0 | 83.7043 | 1.127 | 145.509 | 0 | 104.655 | 0 | 281.248 | 17.54 | 975.887 | 65.4403 | -0.27342
2019-10-21 04:30:00 | 0 | 96.7108 | 1.127 | 125.115 | 0 | 18.7088 | 0 | 299.243 | 17.38 | 975.739 | 66.8034 | 0.13301
2019-10-21 04:45:00 | 0 | 82.3885 | 2.4053 | 110.452 | 0.75133 | 2.631 | 0 | 277.202 | 17.14 | 975.739 | 68.6472 | 0.31406
2019-10-21 05:00:00 | 0 | 49.8464 | 2.661 | 90.4125 | 2.1497 | 27.1889 | 0 | 236.222 | 16.86 | 975.739 | 68.994 | 0.16257
2019-10-21 05:15:00 | 0 | 29.7729 | 2.661 | 81.9149 | 1.6383 | 21.2455 | 0 | 229.242 | 16.55 | 975.739 | 70.4306 | -0.029559
2019-10-21 05:30:00 | 8.5207 | 40.9565 | 2.661 | 88.2751 | 2.661 | 27.6779 | 0 | 233.654 | 16.72 | 975.739 | 69.3394 | 0.084981
2019-10-21 05:45:00 | 0 | 53.4303 | 2.9167 | 103.647 | 1.894 | 36.6435 | 0 | 238.28 | 16.7 | 975.739 | 68.7243 | -0.014779
2019-10-21 06:00:00 | 0 | 56.3793 | 3.428 | 105.818 | 2.661 | 41.8094 | 0 | 229.001 | 16.55 | 975.739 | 68.3842 | -0.2143
2019-10-21 06:15:00 | 0 | 48.6795 | 3.1723 | 99.3841 | 2.661 | 46.5842 | 0 | 230.923 | 16.79 | 975.739 | 68.315 | -0.24016
2019-10-21 06:30:00 | 0 | 53.3088 | 3.428 | 106.791 | 2.661 | 57.3045 | 0 | 235.748 | 16.89 | 975.739 | 68.1787 | -0.24016
2019-10-21 06:45:00 | 0 | 46.9746 | 3.428 | 93.8306 | 2.661 | 30.9916 | 0 | 232.242 | 16.81 | 976.036 | 69.5444 | -0.24016
2019-10-21 07:00:00 | 0 | 46.8764 | 2.661 | 100.529 | 1.894 | 44.9272 | 0 | 237.281 | 16.67 | 976.036 | 69.6456 | -0.24016
2019-10-21 07:15:00 | 0 | 64.5157 | 3.428 | 109.031 | 2.4053 | 44.5373 | 0 | 246.904 | 16.62 | 976.333 | 68.9288 | -0.24016
2019-10-21 07:30:00 | 0 | 54.6727 | 2.9167 | 95.7774 | 2.4053 | 19.4911 | 0 | 245.223 | 16.79 | 976.63 | 69.6113 | -0.25864
2019-10-21 07:45:00 | 0 | 37.7141 | 2.9167 | 85.1755 | 2.9167 | 28.4805 | 0 | 236.761 | 16.57 | 976.927 | 69.8818 | -0.2882
2019-10-21 08:00:00 | 0 | 57.1036 | 3.1723 | 102.782 | 3.1723 | 37.5656 | 0 | 240.303 | 16.54 | 976.927 | 69.8434 | -0.24016
2019-10-21 08:15:00 | 0 | 53.9761 | 2.1497 | 87.2702 | 1.3827 | 33.1261 | 0 | 240.432 | 16.57 | 977.52 | 70.0703 | -0.24016
2019-10-21 08:30:00 | 0 | 61.743 | 2.661 | 118.83 | 1.127 | 43.5489 | 0 | 248.555 | 17.01 | 978.114 | 69.1116 | -0.24016
2019-10-21 08:45:00 | 0 | 61.8402 | 1.894 | 136.561 | 0 | 349.803 | 0 | 247.117 | 18.24 | 978.319 | 65.0179 | -0.29928
2019-10-21 09:00:00 | 0 | 39.6208 | 1.127 | 78.918 | 0.37567 | 41.7881 | 0 | 255.355 | 18.5 | 978.557 | 65.6209 | -0.26972
2019-10-21 09:15:00 | 0 | 45.6766 | 1.894 | 92.1219 | 0.75133 | 42.0731 | 0 | 275.252 | 17.99 | 978.422 | 66.6326 | -0.28081
2019-10-21 09:30:00 | 0 | 33.2066 | 1.3827 | 77.575 | 0 | 59.7914 | 0 | 216.914 | 17.89 | 978.407 | 67.1023 | -0.24016
2019-10-21 09:45:00 | 0 | 31.062 | 1.6383 | 80.9759 | 1.127 | 24.6354 | 0 | 236.178 | 18.59 | 978.852 | 63.688 | -0.24016
2019-10-21 10:00:00 | 0 | 289.378 | 1.6383 | 0.43066 | 1.127 | 308.826 | 0 | 57.1259 | 18.94 | 978.852 | 66.4747 | -0.24016
2019-10-21 10:15:00 | 0 | 42.083 | 0.37567 | 47.2745 | 0 | 21.5161 | 0 | 212.46 | 18.9 | 978.701 | 63.7464 | -0.24016
2019-10-21 10:30:00 | 0 | 324.75 | 3.1723 | 336.29 | 2.661 | 279.532 | 0 | 197.274 | 19.66 | 978.957 | 67.0794 | -0.2882
2019-10-21 10:45:00 | 0 | 321.178 | 1.894 | 11.726 | 2.661 | 333.054 | 0 | 142.751 | 18.97 | 978.435 | 66.0532 | -0.29189
2019-10-21 11:00:00 | 0 | 300.104 | 3.1723 | 336.221 | 2.661 | 266.862 | 0 | 130.17 | 18.96 | 978.303 | 62.5085 | -0.24016
2019-10-21 11:15:00 | 0 | 305.847 | 2.9167 | 336.051 | 1.894 | 307.137 | 0 | 127.055 | 19.16 | 978.325 | 58.4186 | -0.25125
2019-10-21 11:30:00 | 0 | 300.98 | 3.428 | 19.854 | 3.1723 | 296.697 | 0 | 111.14 | 19.49 | 978.055 | 49.0798 | -0.29928
2019-10-21 11:45:00 | 0 | 177.673 | 1.127 | 330.989 | 0 | 280.198 | 0 | 235.372 | 20.38 | 978.079 | 45.092 | -0.24016
2019-10-21 12:00:00 | 0 | 287.839 | 2.661 | 333.496 | 2.4053 | 287.498 | 0 | 107.854 | 21.26 | 978.554 | 41.4792 | -0.26603
2019-10-21 12:15:00 | 0 | 325.218 | 3.9393 | 11.0933 | 2.661 | 282.242 | 0 | 154.213 | 21.1 | 977.811 | 41.82 | -0.29928
2019-10-21 12:30:00 | 0 | 80.7691 | 2.9167 | 7.4429 | 1.894 | 321.397 | 0 | 195.072 | 21.24 | 977.811 | 43.047 | -0.25125
2019-10-21 12:45:00 | 0 | 325.266 | 3.6837 | 7.662 | 0.75133 | 322.614 | 0 | 120.947 | 21.18 | 978.108 | 43.7968 | -0.24016
2019-10-21 13:00:00 | 0 | 60.0597 | 3.1723 | 17.1844 | 1.127 | 306.139 | 0 | 214.979 | 21.31 | 978.108 | 43.0811 | -0.25125
2019-10-21 13:15:00 | 0 | 320.886 | 3.9393 | 17.0871 | 3.1723 | 342.253 | 0.37567 | 163.704 | 21.66 | 977.96 | 42.7062 | -0.24016
2019-10-21 13:30:00 | 0 | 18.6409 | 3.428 | 26.9673 | 4.195 | 304.947 | 0 | 204.587 | 21.24 | 977.663 | 42.2972 | -0.27711
2019-10-21 13:45:00 | 0 | 2.5309 | 4.195 | 12.147 | 3.428 | 305.214 | 0 | 200.767 | 21.8 | 977.515 | 42.7062 | -0.25864
2019-10-21 14:00:00 | 0 | 12.8977 | 2.661 | 113.626 | 1.6383 | 57.0421 | 0 | 179.254 | 21.82 | 977.663 | 41.5133 | -0.2143
2019-10-21 14:15:00 | 0 | 22.7779 | 2.4053 | 32.9781 | 2.661 | 295.529 | 0.37567 | 188.623 | 21.37 | 977.367 | 42.4335 | -0.088676
2019-10-21 14:30:00 | 0 | 15.1123 | 2.9167 | 83.985 | 2.4053 | 313.902 | 0 | 199.112 | 21.53 | 977.367 | 42.4676 | -0.10715
2019-10-21 14:45:00 | 0 | 34.3615 | 3.428 | 89.3388 | 0.37567 | 356.951 | 3.5637 | 157.28 | 21.55 | 977.218 | 41.8541 | -0.22908
2019-10-21 15:00:00 | 0 | 53.5865 | 0.75133 | 1.5125 | 1.6383 | 279.978 | 0 | 203.468 | 21.33 | 977.367 | 41.1043 | -0.051728
2019-10-21 15:15:00 | 0 | 312.612 | 3.9393 | 3.3546 | 3.9393 | 314.389 | 0 | 187.942 | 21.38 | 976.922 | 40.2863 | 0.099761
2019-10-21 15:30:00 | 0 | 338.748 | 1.3827 | 50.8159 | 1.894 | 328.333 | 0 | 137.836 | 21.42 | 976.976 | 38.4458 | 0.41752
2019-10-21 15:45:00 | 0 | 342.715 | 2.4053 | 7.6245 | 0.75133 | 308.762 | 0 | 161.683 | 20.94 | 976.325 | 37.0195 | 0.87198
2019-10-21 16:00:00 | 0 | 353.653 | 2.1497 | 56.9129 | 2.661 | 337.102 | 0 | 159.619 | 20.79 | 976.301 | 35.0435 | 0.84981
2019-10-21 16:15:00 | 0 | 342.342 | 3.1723 | 28.4366 | 3.428 | 356.946 | 0 | 166.802 | 20.54 | 975.736 | 34.4305 | 1.5408
2019-10-21 16:30:00 | 0 | 343.294 | 3.6837 | 34.1403 | 3.9393 | 20.7651 | 5.9847 | 167.606 | 20.32 | 975.736 | 34.1629 | 3.2034
2019-10-21 16:45:00 | 0 | 356.828 | 3.6837 | 50.8008 | 3.1723 | 8.278 | 0 | 176.832 | 20.21 | 975.291 | 33.7583 | 4.5336
2019-10-21 17:00:00 | 0 | 6.7687 | 4.7063 | 65.5582 | 4.195 | 356.817 | 0 | 191.228 | 19.98 | 975.44 | 33.6573 | 4.7959
2019-10-21 17:15:00 | 0 | 6.7208 | 4.7063 | 59.1881 | 2.1497 | 10.0081 | 0 | 193.879 | 19.63 | 975.282 | 35.1958 | 3.9313
2019-10-21 17:30:00 | 0 | 26.3001 | 4.7063 | 79.1612 | 2.9167 | 28.9301 | 0 | 210.06 | 19.35 | 974.848 | 34.5839 | 3.983
2019-10-21 17:45:00 | 0 | 35.02 | 4.4507 | 84.5242 | 3.6837 | 28.0063 | 0 | 214.528 | 19.5 | 974.848 | 32.6757 | 5.11
2019-10-21 18:00:00 | 0 | 33.7088 | 3.428 | 85.9977 | 2.9167 | 31.7604 | 0 | 220.788 | 19.6 | 974.863 | 30.0187 | 2.1873
2019-10-21 18:15:00 | 0 | 38.5314 | 3.6837 | 90.3576 | 2.661 | 26.7917 | 0 | 221.202 | 19.72 | 975.084 | 30.2917 | 2.7527
2019-10-21 18:30:00 | 0.62733 | 40.4312 | 2.661 | 87.0695 | 2.1497 | 33.2218 | 0 | 225.586 | 19.68 | 975.254 | 30.8375 | 1.6073
2019-10-21 18:45:00 | 0 | 39.2377 | 2.9167 | 92.7689 | 2.4053 | 43.6462 | 0 | 226.244 | 19.57 | 975.505 | 30.8375 | 1.6738
2019-10-21 19:00:00 | 0 | 61.207 | 4.195 | 108.6 | 3.428 | 62.303 | 0 | 248.018 | 19.51 | 975.106 | 31.1103 | 1.5962
2019-10-21 19:15:00 | 0 | 57.2125 | 3.9393 | 111.864 | 3.428 | 67.4178 | 0 | 245.047 | 19.52 | 975.141 | 31.5197 | 0.72419
2019-10-21 19:30:00 | 0 | 80.4726 | 4.7063 | 131.398 | 3.428 | 74.0426 | 0 | 272.302 | 19.56 | 975.141 | 32.816 | 0.35101
2019-10-21 19:45:00 | 0 | 94.4774 | 3.6837 | 144.453 | 3.428 | 89.1434 | 0 | 275.979 | 19.87 | 975.438 | 37.5234 | 0.8572
2019-10-21 20:00:00 | 0 | 109.797 | 3.9393 | 156.582 | 2.9167 | 90.8727 | 0 | 297.583 | 20.1 | 975.408 | 43.3225 | 0.99761
2019-10-21 20:15:00 | 0 | 118.273 | 2.9167 | 162.452 | 2.9167 | 100.834 | 0 | 303.209 | 20.25 | 975.469 | 46.0515 | 0.15888
2019-10-21 20:30:00 | 0 | 127.821 | 3.6837 | 171.269 | 2.661 | 111.502 | 0 | 307.813 | 20.26 | 975.726 | 47.6889 | 0.15149
2019-10-21 20:45:00 | 0 | 128.211 | 3.9393 | 178.283 | 3.428 | 126.36 | 0 | 309.542 | 20.15 | 975.531 | 50.3155 | 0.27342
2019-10-21 21:00:00 | 0 | 126.14 | 4.4507 | 177.65 | 4.195 | 124.703 | 0 | 307.033 | 20.24 | 975.494 | 51.1683 | 0.49511
2019-10-21 21:15:00 | 0 | 96.7425 | 4.962 | 161.112 | 2.661 | 114.035 | 0 | 276.101 | 20.02 | 975.622 | 51.2366 | 3.2367
2019-10-21 21:30:00 | 0 | 96.5964 | 4.4507 | 148.155 | 3.1723 | 106.095 | 0 | 298.411 | 19.58 | 975.477 | 41.2758 | 6.7616
2019-10-21 21:45:00 | 0 | 93.4301 | 4.7063 | 144.355 | 4.7063 | 105.559 | 0 | 281.289 | 19.69 | 975.654 | 37.9328 | 7.7629
2019-10-21 22:00:00 | 0 | 96.2311 | 5.9847 | 154.682 | 4.7063 | 101.078 | 0 | 285.259 | 19.68 | 975.547 | 39.5702 | 10.8148
2019-10-21 22:15:00 | 0.88267 | 111.454 | 5.9847 | 153.221 | 5.2177 | 102.418 | 0 | 285.551 | 19.54 | 975.565 | 36.8412 | 13.5453
2019-10-21 22:30:00 | 0.62733 | 104.853 | 5.9847 | 155.851 | 5.4733 | 97.1566 | 0 | 298.679 | 19.38 | 975.323 | 35.4767 | 13.5268
2019-10-21 22:45:00 | 0 | 92.4802 | 3.9393 | 139.995 | 3.428 | 102.174 | 0 | 293.589 | 19.48 | 975.26 | 35.4085 | 12.9948
2019-10-21 23:00:00 | 0 | 101.443 | 3.9393 | 168.687 | 3.1723 | 121.391 | 0 | 257.59 | 19.47 | 975.06 | 38.1034 | 13.3864
2019-10-21 23:15:00 | 0 | 85.1734 | 3.6837 | 129.571 | 2.1497 | 101.809 | 0 | 283.286 | 19.28 | 975.27 | 38.2739 | 14.2658
2019-10-21 23:30:00 | 0 | 73.3363 | 3.428 | 159.87 | 2.661 | 125.385 | 0 | 242.295 | 18.89 | 975.293 | 38.6833 | 13.3532
2019-10-21 23:45:00 | 0 | 113.451 | 4.195 | 184.689 | 3.428 | 126.725 | 0 | 275.517 | 18.72 | 974.993 | 40.5253 | 10.8333