## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-22 00:00:00 | 0 | 107.118 | 3.6837 | 157.118 | 3.1723 | 140.973 | 0 | 287.622 | 18.61 | 974.997 | 43.1179 | 11.2028
2019-10-22 00:15:00 | 0 | 113.767 | 7.5187 | 166.422 | 7.263 | 129.672 | 0 | 310.541 | 18.6 | 974.7 | 46.9384 | 13.6451
2019-10-22 00:30:00 | 0 | 140.851 | 5.9847 | 193.822 | 6.496 | 106.266 | 3.6837 | 320.746 | 18.67 | 974.552 | 46.2903 | 16.3054
2019-10-22 00:45:00 | 0 | 125.093 | 4.962 | 165.155 | 4.7063 | 128.6 | 0.37567 | 298.996 | 18.48 | 974.7 | 47.1431 | 19.978
2019-10-22 01:00:00 | 0 | 134.178 | 5.729 | 177.236 | 5.2177 | 131.401 | 0 | 311.905 | 18.41 | 974.552 | 48.7464 | 21.4227
2019-10-22 01:15:00 | 0 | 125.385 | 4.4507 | 191.216 | 5.2177 | 137.588 | 4.4507 | 308.592 | 18.17 | 974.552 | 50.0767 | 21.4966
2019-10-22 01:30:00 | 0 | 138.221 | 5.9847 | 193.628 | 5.4733 | 138.879 | 0 | 319.601 | 18.09 | 974.552 | 51.4753 | 19.1873
2019-10-22 01:45:00 | 0 | 140.096 | 4.962 | 188.318 | 4.962 | 133.277 | 5.4733 | 312.806 | 17.78 | 974.403 | 52.5328 | 19.9004
2019-10-22 02:00:00 | 0 | 132.306 | 6.2403 | 188.08 | 6.2403 | 141.513 | 1.774 | 317.564 | 17.64 | 974.403 | 53.3871 | 21.5557
2019-10-22 02:15:00 | 0.99933 | 150.453 | 5.2177 | 191.126 | 3.428 | 153.157 | 0 | 324.313 | 17.37 | 974.255 | 53.558 | 20.9535
2019-10-22 02:30:00 | 0 | 127.872 | 7.263 | 176.874 | 7.5187 | 122.928 | 0 | 319.632 | 17.47 | 973.958 | 52.5339 | 23.6507
2019-10-22 02:45:00 | 0 | 112.943 | 7.7743 | 168.815 | 7.263 | 132.307 | 3.0523 | 303.05 | 17.53 | 974.106 | 53.0805 | 25.7494
2019-10-22 03:00:00 | 0 | 128.482 | 7.5187 | 168.302 | 5.4733 | 126.679 | 0.37567 | 313.909 | 17.66 | 973.958 | 52.4659 | 24.5079
2019-10-22 03:15:00 | 0 | 130.478 | 5.2177 | 180.722 | 4.7063 | 127.847 | 3.9393 | 315.027 | 17.46 | 973.958 | 55.2626 | 22.3132
2019-10-22 03:30:00 | 0 | 125.367 | 5.729 | 179.705 | 5.4733 | 135.207 | 0.37567 | 323.026 | 17.44 | 974.106 | 54.3774 | 20.536
2019-10-22 03:45:00 | 0 | 137.713 | 5.9847 | 187.617 | 5.729 | 131.478 | 0 | 318.173 | 17.38 | 973.958 | 56.0138 | 18.1158
2019-10-22 04:00:00 | 0 | 136.792 | 5.4733 | 185.09 | 5.4733 | 134.697 | 0.63133 | 316.039 | 17.37 | 974.106 | 56.2543 | 18.3153
2019-10-22 04:15:00 | 0 | 133.77 | 5.2177 | 180.289 | 6.2403 | 122.492 | 0 | 319.249 | 17.53 | 973.958 | 56.3558 | 18.0013
2019-10-22 04:30:00 | 0 | 128.796 | 4.7063 | 186.176 | 4.195 | 132.206 | 0.37567 | 320.505 | 17.54 | 974.106 | 57.1044 | 16.9741
2019-10-22 04:45:00 | 0 | 142.493 | 5.2177 | 191.62 | 4.7063 | 140.958 | 0.887 | 325.639 | 17.43 | 974.255 | 56.9712 | 20.9941
2019-10-22 05:00:00 | 0 | 138.209 | 4.4507 | 191.138 | 5.2177 | 134.263 | 2.4053 | 316.025 | 17.22 | 973.958 | 58.883 | 21.4634
2019-10-22 05:15:00 | 1.138 | 142.895 | 4.7063 | 195.074 | 3.9393 | 135.733 | 0 | 326.886 | 17.26 | 974.106 | 58.068 | 21.5373
2019-10-22 05:30:00 | 0.372 | 118.07 | 3.9393 | 203.474 | 3.9393 | 136.608 | 5.4733 | 336.136 | 17.23 | 973.958 | 58.7493 | 21.5409
2019-10-22 05:45:00 | 0 | 156.691 | 3.6837 | 201.419 | 4.195 | 136.861 | 1.3827 | 337.256 | 17.1 | 974.403 | 58.8217 | 22.1247
2019-10-22 06:00:00 | 0.372 | 141.688 | 5.2177 | 184.054 | 5.2177 | 139.252 | 2.9167 | 317.434 | 16.98 | 973.958 | 59.7103 | 25.8713
2019-10-22 06:15:00 | 1.116 | 139.942 | 5.4733 | 168.449 | 5.4733 | 150.613 | 0 | 321.156 | 17.09 | 973.958 | 59.236 | 25.4538
2019-10-22 06:30:00 | 0 | 138.627 | 6.496 | 197.661 | 5.9847 | 145.375 | 3.308 | 318.208 | 16.96 | 974.106 | 59.5773 | 29.8876
2019-10-22 06:45:00 | 7.7547 | 121.814 | 5.9847 | 179.288 | 6.7517 | 124.981 | 5.9847 | 314.256 | 16.98 | 973.958 | 59.7128 | 28.9528
2019-10-22 07:00:00 | 0.62733 | 133.461 | 5.9847 | 186.915 | 5.2177 | 159.675 | 3.308 | 317.645 | 16.97 | 974.552 | 59.0309 | 30.1167
2019-10-22 07:15:00 | 0.99933 | 134.088 | 6.496 | 187.71 | 5.4733 | 148.608 | 1.3983 | 319.605 | 16.99 | 974.552 | 59.8472 | 30.2201
2019-10-22 07:30:00 | 0.372 | 133.225 | 7.0073 | 183.017 | 5.2177 | 132.519 | 0 | 315.195 | 17.25 | 974.849 | 60.4567 | 30.4197
2019-10-22 07:45:00 | 4.4353 | 146.972 | 4.195 | 179.633 | 3.9393 | 143.806 | 3.428 | 324.293 | 17.05 | 975.145 | 60.4839 | 31.6759
2019-10-22 08:00:00 | 0 | 132.993 | 5.2177 | 191.327 | 5.4733 | 146.682 | 1.774 | 327.488 | 16.96 | 975.294 | 60.3141 | 29.5994
2019-10-22 08:15:00 | 0 | 137.569 | 5.4733 | 186.353 | 5.4733 | 137.203 | 0 | 321.903 | 17.15 | 975.442 | 60.8927 | 29.5514
2019-10-22 08:30:00 | 0.62733 | 140.219 | 5.2177 | 184.3 | 3.9393 | 137.783 | 0 | 322.525 | 17.24 | 975.739 | 59.6283 | 26.6066
2019-10-22 08:45:00 | 0 | 147.111 | 7.5187 | 204.442 | 6.2403 | 136.297 | 1.007 | 323.791 | 17.31 | 976.036 | 59.2871 | 26.9687
2019-10-22 09:00:00 | 0 | 146.088 | 4.7063 | 206.171 | 4.7063 | 160.751 | 0.37567 | 330.756 | 17.48 | 976.411 | 58.4002 | 24.2604
2019-10-22 09:15:00 | 0 | 139.995 | 5.2177 | 192.964 | 4.962 | 146.888 | 5.729 | 311.579 | 17.82 | 976.349 | 57.9891 | 20.547
2019-10-22 09:30:00 | 0 | 152.03 | 5.729 | 202.407 | 5.729 | 160.163 | 0 | 330.432 | 17.91 | 976.628 | 55.116 | 19.4053
2019-10-22 09:45:00 | 0.372 | 149.019 | 6.7517 | 195.834 | 6.7517 | 141.227 | 0 | 332.2 | 18.2 | 976.925 | 55.1104 | 18.6848
2019-10-22 10:00:00 | 3.9247 | 135.009 | 8.03 | 217.464 | 5.9847 | 124.077 | 4.4507 | 318.08 | 18.09 | 976.807 | 55.3453 | 18.7587
2019-10-22 10:15:00 | 0 | 146.817 | 5.9847 | 198.668 | 5.4733 | 160.306 | 0.37567 | 319.273 | 17.99 | 976.479 | 55.7204 | 15.0454
2019-10-22 10:30:00 | 0.88267 | 151.59 | 8.03 | 192.459 | 7.7743 | 146.769 | 5.9847 | 329.913 | 17.87 | 976.33 | 55.584 | 17.1071
2019-10-22 10:45:00 | 0 | 208.15 | 5.9847 | 237.016 | 6.2403 | 182.122 | 2.4053 | 23.0817 | 18.13 | 976.777 | 54.1518 | 17.9126
2019-10-22 11:00:00 | 0 | 186.602 | 5.729 | 242.007 | 6.7517 | 190.643 | 0.63133 | 0.58435 | 18.55 | 976.478 | 52.9582 | 17.4027
2019-10-22 11:15:00 | 0 | 184.459 | 6.496 | 243.151 | 6.2403 | 188.744 | 0 | 356.793 | 19.09 | 976.33 | 54.22 | 18.8068
2019-10-22 11:30:00 | 0.372 | 152.003 | 7.7743 | 191.85 | 5.4733 | 137.054 | 0 | 325.652 | 18.66 | 976.478 | 54.7315 | 18.2895
2019-10-22 11:45:00 | 0 | 181.732 | 7.5187 | 211.28 | 8.03 | 171.92 | 0.37567 | 0.68174 | 18.6 | 976.627 | 56.3001 | 15.0824
2019-10-22 12:00:00 | 5.2013 | 155.242 | 6.496 | 190.56 | 5.729 | 145.697 | 0.37567 | 356.793 | 18.38 | 976.478 | 54.8338 | 11.2249
2019-10-22 12:15:00 | 0 | 149.666 | 6.7517 | 201.736 | 6.7517 | 139.708 | 5.729 | 324.484 | 18.29 | 976.033 | 55.1066 | 10.6744
2019-10-22 12:30:00 | 0 | 192.981 | 4.195 | 215.979 | 4.7063 | 162.4 | 0 | 18.6748 | 18.47 | 976.074 | 55.2771 | 10.098
2019-10-22 12:45:00 | 1.3933 | 164.08 | 7.0073 | 228.129 | 6.496 | 204.376 | 0 | 10.9322 | 18.45 | 975.963 | 50.844 | 10.449
2019-10-22 13:00:00 | 0 | 159.308 | 6.2403 | 186.908 | 6.496 | 139.221 | 1.774 | 4.2365 | 18.83 | 975.994 | 51.6283 | 12.4295
2019-10-22 13:15:00 | 7.4993 | 159.21 | 7.0073 | 197.621 | 7.0073 | 147.986 | 5.2177 | 337.461 | 18.85 | 975.838 | 54.9702 | 11.7496
2019-10-22 13:30:00 | 0 | 183.534 | 5.9847 | 237.089 | 5.4733 | 200.285 | 4.4507 | 349.099 | 18.6 | 975.745 | 55.4476 | 12.6142
2019-10-22 13:45:00 | 0 | 191.593 | 5.2177 | 226.644 | 4.962 | 203.889 | 2.7967 | 9.0817 | 18.65 | 975.741 | 57.2208 | 11.587
2019-10-22 14:00:00 | 4.6907 | 148.473 | 7.7743 | 194.042 | 7.5187 | 136.762 | 1.894 | 2.8243 | 18.63 | 975.184 | 59.1986 | 13.4936
2019-10-22 14:15:00 | 0 | 150.981 | 6.2403 | 221.165 | 7.0073 | 164.883 | 0 | 356.598 | 18.62 | 975.238 | 59.8125 | 11.2508
2019-10-22 14:30:00 | 0 | 146.698 | 7.263 | 189.103 | 5.2177 | 158.654 | 2.1497 | 325.537 | 18.23 | 975.528 | 61.9279 | 8.572
2019-10-22 14:45:00 | 0 | 154.479 | 5.2177 | 199.153 | 4.7063 | 171.354 | 0 | 342.756 | 18.41 | 975.589 | 61.5921 | 7.3453
2019-10-22 15:00:00 | 0 | 135.394 | 4.962 | 176.248 | 5.2177 | 158.04 | 3.428 | 327.112 | 18.63 | 975.144 | 62.0721 | 8.9785
2019-10-22 15:15:00 | 0 | 151.469 | 5.729 | 203.04 | 5.729 | 141.777 | 4.195 | 334.328 | 18.31 | 974.848 | 62.6875 | 6.4438
2019-10-22 15:30:00 | 0 | 152.541 | 5.2177 | 186.237 | 4.4507 | 144.432 | 0 | 331.528 | 18.38 | 974.848 | 62.4829 | 6.647
2019-10-22 15:45:00 | 0 | 153.344 | 5.2177 | 206.376 | 5.729 | 154.172 | 0 | 335.156 | 18.46 | 975.144 | 62.6194 | 4.371
2019-10-22 16:00:00 | 0 | 149.96 | 4.7063 | 197.756 | 5.2177 | 145.065 | 3.9393 | 332.307 | 18.24 | 974.848 | 62.142 | 3.2884
2019-10-22 16:15:00 | 0 | 152.057 | 4.4507 | 189.383 | 4.7063 | 154.443 | 0 | 338.548 | 18.33 | 974.996 | 61.3928 | 4.1715
2019-10-22 16:30:00 | 0 | 154.011 | 3.1723 | 197.549 | 2.9167 | 152.063 | 0 | 346.963 | 18.43 | 974.848 | 61.7362 | 5.2762
2019-10-22 16:45:00 | 0 | 149.936 | 3.428 | 216.692 | 3.9393 | 169.957 | 0 | 340.157 | 18.19 | 974.424 | 63.3121 | 6.8613
2019-10-22 17:00:00 | 0 | 129.453 | 6.2403 | 181.864 | 4.962 | 137.612 | 5.4733 | 309.298 | 17.96 | 974.387 | 63.7558 | 7.9809
2019-10-22 17:15:00 | 0 | 141.728 | 3.6837 | 199.351 | 3.9393 | 133.228 | 0 | 313.853 | 17.81 | 974.55 | 65.2226 | 8.6349
2019-10-22 17:30:00 | 0 | 158.875 | 4.7063 | 205.976 | 4.7063 | 162.699 | 0 | 327.444 | 17.62 | 974.403 | 64.7109 | 6.9759
2019-10-22 17:45:00 | 0 | 135.718 | 3.9393 | 199.531 | 2.9167 | 171.669 | 0 | 342.291 | 17.71 | 974.106 | 64.543 | 6.1667
2019-10-22 18:00:00 | 0 | 148.281 | 5.9847 | 195.845 | 4.962 | 143.726 | 3.9393 | 328.785 | 17.69 | 974.403 | 63.722 | 7.1643
2019-10-22 18:15:00 | 0 | 159.878 | 6.2403 | 210.171 | 7.5187 | 166.673 | 5.9847 | 346.645 | 17.61 | 974.255 | 64.9513 | 10.7446
2019-10-22 18:30:00 | 0 | 150.624 | 5.4733 | 204.913 | 4.7063 | 156.567 | 2.0297 | 333.521 | 17.4 | 974.403 | 66.7943 | 9.0006
2019-10-22 18:45:00 | 0 | 155.493 | 5.2177 | 205.299 | 5.4733 | 167.696 | 3.9393 | 322.629 | 17.41 | 974.403 | 66.9297 | 10.3456
2019-10-22 19:00:00 | 0.372 | 161.684 | 3.9393 | 217.923 | 4.7063 | 159.224 | 2.2853 | 345.363 | 17.25 | 974.552 | 65.0895 | 11.3173
2019-10-22 19:15:00 | 0 | 160.862 | 5.4733 | 206.094 | 5.4733 | 159.985 | 5.9847 | 345.109 | 17.16 | 974.552 | 67.1389 | 14.3249
2019-10-22 19:30:00 | 0 | 159.768 | 4.7063 | 204.027 | 5.2177 | 161.376 | 0.37567 | 356.733 | 17.28 | 974.552 | 66.3893 | 15.9913
2019-10-22 19:45:00 | 0 | 159.919 | 4.7063 | 229.293 | 5.4733 | 165.326 | 1.9097 | 355.645 | 16.98 | 974.552 | 68.1992 | 15.0417
2019-10-22 20:00:00 | 0.372 | 166.014 | 8.797 | 226.329 | 8.797 | 179.485 | 0 | 340.431 | 16.7 | 974.552 | 72.8754 | 13.0169
2019-10-22 20:15:00 | 0 | 174.048 | 7.263 | 211.836 | 5.9847 | 175.607 | 0 | 0.1949 | 16.42 | 974.997 | 75.2379 | 11.369
2019-10-22 20:30:00 | 0 | 162.387 | 6.2403 | 209.534 | 6.496 | 178.516 | 0 | 340.221 | 16.17 | 974.997 | 74.389 | 8.6349
2019-10-22 20:45:00 | 0 | 178.128 | 4.962 | 211.56 | 4.962 | 163.144 | 0 | 6.7733 | 16.19 | 975.145 | 74.5265 | 6.0817
2019-10-22 21:00:00 | 0 | 177.617 | 4.962 | 219.04 | 4.962 | 161.536 | 3.9393 | 1.535 | 15.89 | 974.849 | 74.8678 | 6.3773
2019-10-22 21:15:00 | 0 | 184.585 | 4.4507 | 215.58 | 2.661 | 173.913 | 4.4507 | 7.6504 | 15.65 | 974.7 | 76.4375 | 7.5005
2019-10-22 21:30:00 | 0.62733 | 172.062 | 4.962 | 219.917 | 3.9393 | 168.212 | 5.4733 | 356.159 | 15.65 | 974.7 | 76.3692 | 8.1139
2019-10-22 21:45:00 | 0 | 180.833 | 4.195 | 221.549 | 4.962 | 161.78 | 0.63133 | 7.1388 | 15.65 | 974.7 | 72.8203 | 8.8122
2019-10-22 22:00:00 | 0 | 176.715 | 5.729 | 222.207 | 5.4733 | 162.194 | 0.887 | 4.1176 | 15.69 | 974.708 | 72.2743 | 8.0437
2019-10-22 22:15:00 | 0 | 171.574 | 4.7063 | 215.068 | 4.195 | 159.904 | 0.37567 | 13.1081 | 15.49 | 974.863 | 73.7758 | 6.1963
2019-10-22 22:30:00 | 0 | 169.65 | 5.4733 | 208.222 | 4.962 | 162.608 | 0 | 2.9725 | 15.14 | 974.791 | 78.8261 | 8.7494
2019-10-22 22:45:00 | 5.4567 | 163.534 | 6.2403 | 208.051 | 5.2177 | 154.617 | 3.9393 | 354.064 | 14.8 | 974.713 | 79.8498 | 10.8407
2019-10-22 23:00:00 | 0 | 174.576 | 5.9847 | 221.361 | 5.9847 | 171.287 | 3.0523 | 1.267 | 15.18 | 974.801 | 71.5257 | 11.975
2019-10-22 23:15:00 | 5.9673 | 168.656 | 5.2177 | 225.455 | 5.4733 | 180.132 | 0.63133 | 7.7969 | 15.41 | 974.846 | 72.1402 | 12.7768
2019-10-22 23:30:00 | 0 | 174.962 | 6.2403 | 220.989 | 5.9847 | 172.939 | 5.9847 | 3.411 | 15.66 | 974.837 | 69.3399 | 11.9602
2019-10-22 23:45:00 | 0 | 177.836 | 5.729 | 223.961 | 5.9847 | 166.945 | 4.4507 | 20.588 | 15.6 | 974.649 | 70.4658 | 9.4957