## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-23 00:00:00 | 0.372 | 180.126 | 4.962 | 229.663 | 5.729 | 178.884 | 5.9847 | 0.6822 | 15.6 | 974.737 | 70.9435 | 8.0289
2019-10-23 00:15:00 | 0 | 174.669 | 5.4733 | 213.631 | 3.6837 | 166.166 | 0.37567 | 0.58475 | 15.43 | 974.529 | 72.5474 | 6.2295
2019-10-23 00:30:00 | 1.51 | 176.618 | 4.7063 | 217.358 | 3.1723 | 169.723 | 4.7063 | 9.3559 | 15.22 | 974.369 | 71.7284 | 6.2332
2019-10-23 00:45:00 | 0 | 193.015 | 4.962 | 227.786 | 4.4507 | 181.808 | 1.5183 | 13.4248 | 15.5 | 974.308 | 70.6364 | 5.2356
2019-10-23 01:00:00 | 0.372 | 196.036 | 4.7063 | 233.22 | 4.195 | 182.636 | 5.729 | 18.5901 | 15.64 | 974.355 | 68.862 | 3.9572
2019-10-23 01:15:00 | 0 | 194.526 | 4.4507 | 235.096 | 1.894 | 185.511 | 0.63133 | 20.32 | 15.6 | 974.176 | 70.4317 | 3.2515
2019-10-23 01:30:00 | 0 | 200.69 | 3.6837 | 230.223 | 2.9167 | 178.25 | 0 | 17.8348 | 15.49 | 974.034 | 70.0904 | 2.8635
2019-10-23 01:45:00 | 0 | 195.793 | 4.195 | 228.883 | 2.661 | 172.33 | 0 | 21.0752 | 15.62 | 974 | 68.589 | 2.361
2019-10-23 02:00:00 | 0 | 203.662 | 4.4507 | 249.032 | 3.9393 | 206.659 | 0 | 24.5106 | 15.69 | 974.351 | 68.043 | 2.2649
2019-10-23 02:15:00 | 0 | 207.098 | 3.428 | 230.881 | 2.9167 | 179.712 | 0 | 35.231 | 15.66 | 974.209 | 69.2374 | 1.9398
2019-10-23 02:30:00 | 0.372 | 213.043 | 3.9393 | 250.494 | 3.1723 | 197.084 | 0 | 48.4853 | 15.69 | 974.033 | 67.1558 | 1.8955
2019-10-23 02:45:00 | 0 | 209.12 | 3.1723 | 254.173 | 1.894 | 211.581 | 0 | 37.4482 | 15.84 | 974.115 | 65.7567 | 1.4114
2019-10-23 03:00:00 | 0 | 209.534 | 2.661 | 242.308 | 2.1497 | 175.034 | 0 | 47.3889 | 15.84 | 974.109 | 67.4629 | 1.4114
2019-10-23 03:15:00 | 3.414 | 210.728 | 3.428 | 240.261 | 3.1723 | 181.515 | 0 | 37.7649 | 15.71 | 973.958 | 66.4051 | 1.9065
2019-10-23 03:30:00 | 1.51 | 213.384 | 3.6837 | 261.604 | 2.4053 | 207.293 | 0 | 24.6081 | 15.79 | 973.669 | 66.3368 | 2.0728
2019-10-23 03:45:00 | 0 | 196.353 | 2.661 | 246.986 | 2.1497 | 195.354 | 0 | 30.4556 | 15.83 | 973.958 | 66.6098 | 0.56162
2019-10-23 04:00:00 | 0 | 221.473 | 2.1497 | 256.829 | 2.4053 | 201.007 | 0 | 48.534 | 15.87 | 973.958 | 64.9036 | 1.2452
2019-10-23 04:15:00 | 0 | 215.723 | 2.9167 | 271.496 | 3.1723 | 201.738 | 0 | 41.5658 | 15.97 | 973.958 | 66.3368 | 1.5334
2019-10-23 04:30:00 | 0 | 214.358 | 2.661 | 253.856 | 2.1497 | 193.551 | 0 | 46.7797 | 15.72 | 974.107 | 68.2136 | 0.95327
2019-10-23 04:45:00 | 4.4353 | 215.041 | 2.9167 | 254.66 | 2.661 | 196.816 | 0 | 47.1696 | 15.61 | 973.958 | 67.9065 | 0.38426
2019-10-23 05:00:00 | 0 | 201.981 | 2.9167 | 248.642 | 2.1497 | 193.502 | 0 | 25.339 | 15.63 | 973.968 | 68.1113 | -0.16627
2019-10-23 05:15:00 | 0 | 214.748 | 1.6383 | 255.562 | 1.6383 | 199.52 | 0 | 46.7554 | 15.51 | 973.958 | 69.5445 | -0.22539
2019-10-23 05:30:00 | 0 | 215.236 | 3.1723 | 258.291 | 2.9167 | 206.611 | 0 | 55.1367 | 15.48 | 974.291 | 70.4999 | -0.14779
2019-10-23 05:45:00 | 2.276 | 210.046 | 3.6837 | 248.74 | 2.661 | 199.35 | 0 | 28.8719 | 15.39 | 974.266 | 70.7047 | 0.12932
2019-10-23 06:00:00 | 0 | 201.884 | 3.6837 | 242.576 | 2.9167 | 188.751 | 0.37567 | 36.6685 | 15.35 | 974.576 | 72.2061 | 0.32145
2019-10-23 06:15:00 | 0.372 | 193.259 | 2.9167 | 236.411 | 2.661 | 166.458 | 0 | 14.6187 | 15.34 | 974.587 | 72.4109 | 0.13671
2019-10-23 06:30:00 | 5.2013 | 179.712 | 2.9167 | 228.81 | 2.9167 | 164.363 | 0 | 9.3316 | 15.21 | 974.438 | 72.2061 | -0.31776
2019-10-23 06:45:00 | 0 | 191.919 | 2.4053 | 210.049 | 2.4053 | 162.998 | 0 | 24.803 | 15.26 | 974.652 | 70.5682 | -0.16627
2019-10-23 07:00:00 | 0 | 212.214 | 2.4053 | 227.908 | 2.4053 | 165.435 | 0 | 47.6569 | 15.44 | 974.762 | 67.0193 | -0.081287
2019-10-23 07:15:00 | 0 | 193.892 | 1.127 | 233.195 | 1.127 | 157.102 | 0 | 31.9174 | 15.92 | 974.887 | 66.0638 | 0.025864
2019-10-23 07:30:00 | 0 | 214.992 | 2.1497 | 254.587 | 1.3827 | 187.582 | 0 | 46.3168 | 16.13 | 975.149 | 65.5178 | -0.19583
2019-10-23 07:45:00 | 0 | 204.954 | 2.4053 | 249.714 | 2.1497 | 198.765 | 0 | 30.5287 | 16.24 | 975.888 | 66.1321 | -0.096066
2019-10-23 08:00:00 | 0 | 174.228 | 2.661 | 230.122 | 2.1497 | 174.837 | 0 | 13.1322 | 16.32 | 975.739 | 66.3359 | 0.69094
2019-10-23 08:15:00 | 0 | 168.365 | 2.1497 | 215.642 | 2.1497 | 153.36 | 0 | 15.7355 | 15.78 | 976.333 | 68.1624 | 0.40274
2019-10-23 08:30:00 | 0 | 165.184 | 2.4053 | 216.596 | 1.127 | 160.361 | 0 | 41.3081 | 16.53 | 976.63 | 66.4849 | 0.055423
2019-10-23 08:45:00 | 0 | 181.234 | 1.6383 | 223.147 | 1.6383 | 163.235 | 0 | 9.6937 | 16.79 | 976.659 | 67.2693 | -0.27342
2019-10-23 09:00:00 | 0 | 198.01 | 2.4053 | 241.789 | 2.1497 | 181.961 | 0 | 29.369 | 17.13 | 976.628 | 64.5305 | -0.25125
2019-10-23 09:15:00 | 0 | 212.761 | 1.894 | 235.863 | 0 | 174.48 | 0 | 20.2363 | 17.49 | 976.777 | 62.5505 | -0.24016
2019-10-23 09:30:00 | 0 | 145.917 | 3.428 | 209.99 | 2.661 | 180.272 | 0 | 351.754 | 17.97 | 977.243 | 61.1766 | -0.25125
2019-10-23 09:45:00 | 0 | 188.865 | 2.1497 | 230.602 | 2.1497 | 175.573 | 0 | 7.985 | 18.51 | 977.517 | 59.1565 | -0.26972
2019-10-23 10:00:00 | 0 | 181.458 | 4.195 | 239.601 | 4.7063 | 175.372 | 0 | 29.2611 | 18.6 | 977.22 | 60.9274 | -0.24755
2019-10-23 10:15:00 | 0 | 112.273 | 2.1497 | 184.633 | 2.1497 | 163.711 | 0 | 299.743 | 18.13 | 977.368 | 64.7119 | -0.28081
2019-10-23 10:30:00 | 0 | 189.296 | 2.661 | 234.002 | 2.661 | 178.463 | 0 | 21.5198 | 18.26 | 977.665 | 61.2342 | -0.25125
2019-10-23 10:45:00 | 0 | 217.925 | 2.9167 | 260.585 | 2.4053 | 215.174 | 0 | 40.6296 | 18.73 | 977.962 | 57.8929 | -0.28081
2019-10-23 11:00:00 | 0 | 222.014 | 3.428 | 263.409 | 3.6837 | 208.382 | 0 | 40.7999 | 18.93 | 977.517 | 58.6771 | -0.24016
2019-10-23 11:15:00 | 0.62733 | 207.293 | 3.428 | 248.05 | 3.6837 | 171.487 | 2.4053 | 50.3142 | 19.02 | 977.22 | 57.8881 | -0.24016
2019-10-23 11:30:00 | 0 | 195.7 | 3.1723 | 223.602 | 4.195 | 172.917 | 0.37567 | 0.19473 | 19.14 | 977.072 | 59.9315 | -0.27711
2019-10-23 11:45:00 | 0 | 205.85 | 2.661 | 234.488 | 2.9167 | 180.435 | 0 | 39.242 | 18.82 | 977.22 | 60.825 | -0.29928
2019-10-23 12:00:00 | 0 | 213.104 | 3.1723 | 250.702 | 3.9393 | 174.885 | 1.654 | 39.1203 | 18.86 | 976.775 | 60.45 | -0.28081
2019-10-23 12:15:00 | 0 | 186.959 | 2.661 | 194.443 | 2.661 | 161.788 | 0 | 15.7504 | 19.16 | 976.627 | 58.3362 | -0.28081
2019-10-23 12:30:00 | 0 | 206.58 | 3.428 | 262.362 | 3.6837 | 208.577 | 0 | 5.9885 | 20.11 | 977.072 | 55.3017 | -0.26972
2019-10-23 12:45:00 | 0 | 194.814 | 3.1723 | 191.683 | 2.9167 | 167.55 | 0 | 11.295 | 19.52 | 976.478 | 53.8673 | -0.24016
2019-10-23 13:00:00 | 0 | 148.958 | 1.127 | 225.189 | 0 | 188.565 | 0 | 352.641 | 19.74 | 976.775 | 52.3012 | -0.28081
2019-10-23 13:15:00 | 0.372 | 213.754 | 4.7063 | 173.43 | 4.4507 | 158.064 | 5.729 | 30.3033 | 20.63 | 977.368 | 47.521 | -0.28081
2019-10-23 13:30:00 | 0 | 216.135 | 4.195 | 255.596 | 2.9167 | 210.294 | 0 | 13.7762 | 20.46 | 976.914 | 49.4972 | -0.26972
2019-10-23 13:45:00 | 0 | 200.941 | 4.4507 | 236.019 | 4.7063 | 174.557 | 5.729 | 42.179 | 20.61 | 976.619 | 47.9616 | -0.26972
2019-10-23 14:00:00 | 0 | 200.217 | 3.1723 | 239.264 | 1.894 | 192.233 | 0 | 38.3834 | 20.69 | 976.775 | 45.986 | -0.25864
2019-10-23 14:15:00 | 0 | 185.491 | 3.9393 | 231.403 | 5.9847 | 202.626 | 5.9847 | 8.3971 | 20.59 | 976.774 | 49.5313 | -0.25125
2019-10-23 14:30:00 | 0 | 189.702 | 2.9167 | 251.824 | 4.195 | 167.845 | 0 | 340.705 | 20.71 | 976.459 | 48.9518 | -0.25864
2019-10-23 14:45:00 | 0 | 180.258 | 4.7063 | 237.78 | 5.2177 | 188.485 | 0 | 2.726 | 20.79 | 976.775 | 46.0542 | -0.25864
2019-10-23 15:00:00 | 0 | 183.544 | 3.1723 | 226.17 | 2.9167 | 186.781 | 0 | 8.2024 | 20.49 | 976.021 | 48.4745 | -0.28081
2019-10-23 15:15:00 | 0 | 137.969 | 3.428 | 183.01 | 3.6837 | 144.392 | 0 | 323.155 | 20.5 | 976.33 | 50.4563 | -0.27711
2019-10-23 15:30:00 | 0 | 151.023 | 3.428 | 199.45 | 3.428 | 153.069 | 0 | 326.246 | 20.35 | 976.33 | 47.8674 | -0.25125
2019-10-23 15:45:00 | 0.88267 | 135.229 | 3.428 | 187.092 | 3.1723 | 161.204 | 0 | 325.572 | 20.2 | 976.33 | 48.4146 | -0.29928
2019-10-23 16:00:00 | 0 | 143.052 | 3.428 | 197.962 | 3.1723 | 148.358 | 0 | 333.769 | 19.84 | 975.885 | 50.3951 | -0.28081
2019-10-23 16:15:00 | 0 | 141.631 | 3.1723 | 188.685 | 3.1723 | 142.581 | 0 | 322.219 | 19.76 | 976.181 | 49.1048 | -0.28081
2019-10-23 16:30:00 | 0 | 149.666 | 3.428 | 199.13 | 3.428 | 148.303 | 0 | 325.628 | 19.77 | 975.76 | 49.0366 | -0.28081
2019-10-23 16:45:00 | 0 | 159.916 | 2.9167 | 196.744 | 2.9167 | 138.88 | 0 | 338.556 | 19.51 | 975.681 | 51.3555 | -0.17366
2019-10-23 17:00:00 | 0 | 156.242 | 3.1723 | 208.664 | 2.1497 | 157.8 | 0 | 340.342 | 19.29 | 975.44 | 52.0462 | -0.26972
2019-10-23 17:15:00 | 0 | 220.848 | 4.195 | 271.98 | 3.9393 | 221.7 | 0 | 43.517 | 19.14 | 975.441 | 55.1842 | -0.26603
2019-10-23 17:30:00 | 0 | 237.469 | 3.9393 | 283.376 | 3.1723 | 239.271 | 0 | 55.9694 | 18.93 | 975.441 | 54.5788 | 0.66507
2019-10-23 17:45:00 | 0 | 223.516 | 3.1723 | 268.815 | 2.1497 | 224.076 | 0 | 41.6977 | 18.31 | 975.28 | 55.6029 | 0.081287
2019-10-23 18:00:00 | 0 | 213.993 | 2.9167 | 253.544 | 2.4053 | 209.39 | 0 | 30.3721 | 18.2 | 975.71 | 55.1936 | -0.11454
2019-10-23 18:15:00 | 0 | 210.51 | 2.9167 | 252.545 | 2.661 | 194.411 | 0 | 31.1758 | 18.24 | 975.739 | 55.2618 | 0.025864
2019-10-23 18:30:00 | 3.414 | 198.795 | 3.9393 | 245.141 | 2.4053 | 198.697 | 0 | 15.32 | 18.15 | 975.442 | 54.7842 | 0.15888
2019-10-23 18:45:00 | 0 | 192.755 | 2.9167 | 239.686 | 1.894 | 191.123 | 0 | 12.7626 | 18.2 | 975.739 | 55.0572 | -0.099761
2019-10-23 19:00:00 | 0 | 208.294 | 2.9167 | 245.75 | 1.3827 | 193.826 | 0 | 24.1613 | 18.2 | 975.739 | 55.1936 | -0.084981
2019-10-23 19:15:00 | 0 | 203.38 | 2.9167 | 245.198 | 2.4053 | 201.919 | 0 | 23.5775 | 18.21 | 976.036 | 55.9117 | -0.13301
2019-10-23 19:30:00 | 0 | 197.781 | 3.1723 | 246.03 | 1.894 | 199.194 | 0 | 14.9554 | 18.2 | 976.184 | 57.0384 | -0.21061
2019-10-23 19:45:00 | 0 | 185.015 | 2.9167 | 235.991 | 1.6383 | 189.594 | 0 | 3.7023 | 18.16 | 976.036 | 57.6515 | -0.16996
2019-10-23 20:00:00 | 0 | 178.242 | 3.428 | 212.995 | 1.894 | 157.635 | 0 | 356.677 | 18.26 | 976.333 | 57.7531 | -0.20322
2019-10-23 20:15:00 | 0 | 169.578 | 3.9393 | 211.882 | 2.9167 | 151.357 | 0 | 349.504 | 18.49 | 976.333 | 57.1074 | -0.24386
2019-10-23 20:30:00 | 3.1587 | 161.537 | 3.1723 | 205.864 | 2.9167 | 152.574 | 0 | 341.293 | 18.55 | 976.333 | 57.7887 | -0.24386
2019-10-23 20:45:00 | 0 | 157.853 | 3.6837 | 201.789 | 2.661 | 152.568 | 0 | 341.135 | 18.37 | 976.333 | 58.1277 | 0.081287
2019-10-23 21:00:00 | 0 | 142.464 | 2.9167 | 189.13 | 2.4053 | 132.892 | 0 | 330.038 | 18.33 | 976.333 | 58.2659 | 0.062812
2019-10-23 21:15:00 | 0 | 136.986 | 3.6837 | 182.8 | 4.195 | 131.628 | 0 | 319.521 | 18.4 | 976.778 | 57.1751 | 0.040643
2019-10-23 21:30:00 | 0 | 129.723 | 4.195 | 175.12 | 3.428 | 122.757 | 0 | 313.761 | 18.71 | 976.63 | 56.5249 | 0.19583
2019-10-23 21:45:00 | 0 | 138.83 | 2.9167 | 189.146 | 3.428 | 133.569 | 0 | 320.089 | 18.66 | 976.63 | 57.1721 | 0.2143
2019-10-23 22:00:00 | 0 | 145.357 | 3.428 | 194.87 | 2.661 | 151.398 | 0 | 327.2 | 18.32 | 976.927 | 57.8885 | -0.0073897
2019-10-23 22:15:00 | 0 | 153.176 | 3.9393 | 197.5 | 3.1723 | 158.948 | 0 | 334.775 | 18.4 | 976.927 | 58.1955 | 0.059118
2019-10-23 22:30:00 | 0.62733 | 162.311 | 3.6837 | 203.884 | 2.9167 | 155.661 | 0 | 347.273 | 18.16 | 976.927 | 58.196 | -0.025864
2019-10-23 22:45:00 | 0 | 166.109 | 2.9167 | 221.029 | 2.9167 | 161.433 | 0 | 349.413 | 18.38 | 976.927 | 58.1955 | -0.11454
2019-10-23 23:00:00 | 0 | 183.331 | 2.9167 | 229.849 | 2.1497 | 178.436 | 0 | 2.7036 | 18.2 | 976.927 | 59.0833 | -0.099761
2019-10-23 23:15:00 | 0 | 185.281 | 3.428 | 224.005 | 2.1497 | 162.946 | 0 | 5.9917 | 17.96 | 976.927 | 59.8342 | -0.11824
2019-10-23 23:30:00 | 0 | 167.234 | 3.6837 | 202.719 | 2.661 | 143.34 | 0 | 354.927 | 17.86 | 976.778 | 60.3121 | -0.15518
2019-10-23 23:45:00 | 0 | 156.955 | 3.6837 | 194.29 | 2.9167 | 138.395 | 0 | 348.155 | 17.78 | 976.63 | 60.2436 | -0.088676