## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-24 00:00:00 | 0.372 | 149.674 | 3.9393 | 196.827 | 3.6837 | 138.933 | 0 | 335.982 | 17.71 | 976.481 | 60.1763 | 0.51728
2019-10-24 00:15:00 | 1.2547 | 148.898 | 3.9393 | 191.058 | 2.9167 | 143.807 | 0 | 335.891 | 17.8 | 976.481 | 61.2691 | 0.84981
2019-10-24 00:30:00 | 0 | 160.228 | 4.4507 | 204.971 | 3.428 | 149.559 | 0 | 343.327 | 17.67 | 976.333 | 61.5434 | 0.76853
2019-10-24 00:45:00 | 0 | 166.416 | 4.4507 | 207.653 | 3.9393 | 150.632 | 0 | 346.229 | 17.73 | 976.333 | 60.657 | 1.4003
2019-10-24 01:00:00 | 0 | 157.949 | 4.962 | 199.579 | 3.6837 | 143.625 | 0 | 345.275 | 17.66 | 976.481 | 61.8206 | 2.6862
2019-10-24 01:15:00 | 0 | 151.225 | 5.2177 | 192.953 | 4.195 | 143.966 | 0 | 340.403 | 17.38 | 976.333 | 62.2982 | 4.105
2019-10-24 01:30:00 | 0 | 143.758 | 5.2177 | 188.195 | 4.195 | 136.328 | 0 | 335.533 | 17.3 | 976.333 | 63.9749 | 6.9278
2019-10-24 01:45:00 | 0 | 149.501 | 5.2177 | 189.745 | 3.428 | 139.586 | 0 | 335.543 | 17.3 | 976.333 | 63.051 | 7.3934
2019-10-24 02:00:00 | 0.62733 | 150.342 | 5.729 | 194.44 | 3.9393 | 143.983 | 0 | 342.588 | 17.29 | 976.481 | 63.534 | 8.439
2019-10-24 02:15:00 | 0 | 156.51 | 5.729 | 200.83 | 3.9393 | 137.994 | 2.9167 | 341.404 | 17.04 | 976.63 | 63.6042 | 7.6372
2019-10-24 02:30:00 | 0 | 147.372 | 5.9847 | 195.223 | 4.195 | 139.405 | 0 | 333.286 | 17.03 | 976.333 | 65.1727 | 7.0904
2019-10-24 02:45:00 | 0 | 154.902 | 5.4733 | 194.641 | 4.4507 | 148.641 | 4.962 | 339.235 | 16.94 | 976.333 | 65.7878 | 7.0313
2019-10-24 03:00:00 | 0 | 151.766 | 5.729 | 194.723 | 4.4507 | 143.433 | 0 | 340.395 | 16.5 | 976.036 | 67.3603 | 8.7125
2019-10-24 03:15:00 | 0 | 152.375 | 5.729 | 197.16 | 4.7063 | 138.439 | 0.75133 | 344.075 | 16.79 | 976.184 | 66.405 | 8.6127
2019-10-24 03:30:00 | 0 | 151.06 | 5.9847 | 192.604 | 4.195 | 143.653 | 4.4507 | 338.52 | 16.47 | 975.739 | 66.9851 | 8.9157
2019-10-24 03:45:00 | 0 | 151.912 | 5.2177 | 190.436 | 5.2177 | 143.239 | 0 | 342.15 | 16.46 | 975.739 | 67.6335 | 8.391
2019-10-24 04:00:00 | 0 | 145.797 | 4.7063 | 180.86 | 3.428 | 148.818 | 0 | 330.845 | 16.43 | 975.739 | 67.6335 | 6.9759
2019-10-24 04:15:00 | 0 | 153.252 | 5.9847 | 192.019 | 4.7063 | 147.259 | 0 | 343.344 | 16.5 | 975.739 | 68.1112 | 8.2875
2019-10-24 04:30:00 | 0 | 128.279 | 4.4507 | 201.351 | 4.4507 | 135.515 | 2.9167 | 332.501 | 16.27 | 975.739 | 68.043 | 10.9294
2019-10-24 04:45:00 | 0 | 137.026 | 4.7063 | 188.024 | 3.428 | 141.314 | 1.007 | 326.971 | 16.24 | 975.739 | 68.589 | 14.2991
2019-10-24 05:00:00 | 0 | 132.835 | 5.4733 | 175.305 | 4.4507 | 146.723 | 0 | 324.437 | 16.07 | 975.739 | 67.497 | 16.5307
2019-10-24 05:15:00 | 0 | 147.064 | 5.4733 | 186.976 | 4.962 | 140.68 | 0 | 323.706 | 16.19 | 975.739 | 67.7017 | 20.9128
2019-10-24 05:30:00 | 0 | 125.306 | 7.263 | 171.358 | 5.9847 | 127.962 | 1.9097 | 322.536 | 16.02 | 975.442 | 66.6439 | 21.4227
2019-10-24 05:45:00 | 0 | 128.644 | 4.4507 | 173.843 | 3.9393 | 132.275 | 0 | 293.811 | 16.05 | 975.442 | 66.405 | 19.8894
2019-10-24 06:00:00 | 0 | 151.985 | 4.195 | 200.669 | 4.195 | 144.067 | 0 | 324.607 | 16.12 | 975.739 | 67.8724 | 21.371
2019-10-24 06:15:00 | 0 | 134.053 | 4.7063 | 184.125 | 4.4507 | 143.507 | 4.962 | 317.396 | 15.87 | 975.758 | 67.9065 | 22.557
2019-10-24 06:30:00 | 0 | 142.386 | 3.1723 | 167.85 | 3.1723 | 156.615 | 1.6383 | 305.993 | 15.48 | 975.755 | 70.7046 | 20.7835
2019-10-24 06:45:00 | 0 | 132.713 | 4.4507 | 177.717 | 4.4507 | 137.562 | 0 | 316.518 | 15.42 | 975.824 | 69.0326 | 23.5583
2019-10-24 07:00:00 | 0 | 120.336 | 5.9847 | 184.832 | 5.4733 | 141.216 | 5.9847 | 322.853 | 15.85 | 975.79 | 68.3842 | 25.9009
2019-10-24 07:15:00 | 0 | 129.034 | 4.195 | 190.704 | 3.428 | 171.306 | 0.887 | 316.397 | 15.56 | 976.201 | 70.5682 | 24.2604
2019-10-24 07:30:00 | 0.62733 | 146.43 | 5.9847 | 193.262 | 4.7063 | 159.465 | 0 | 328.603 | 15.45 | 976.63 | 70.4999 | 23.1778
2019-10-24 07:45:00 | 0.99933 | 150.523 | 7.263 | 195.577 | 4.4507 | 136.66 | 4.962 | 328.213 | 15.53 | 976.778 | 71.1141 | 21.9991
2019-10-24 08:00:00 | 0.62733 | 153.578 | 4.4507 | 200.038 | 7.0073 | 159.985 | 0 | 328.424 | 15.67 | 977.075 | 70.6976 | 22.7676
2019-10-24 08:15:00 | 1.7653 | 135.597 | 5.4733 | 195.124 | 4.4507 | 158.371 | 5.4733 | 322.807 | 15.77 | 977.521 | 68.9782 | 20.1258
2019-10-24 08:30:00 | 0 | 157.389 | 5.2177 | 204.612 | 4.962 | 173.148 | 0 | 333.363 | 16.27 | 977.966 | 68.0881 | 17.8867
2019-10-24 08:45:00 | 0 | 146.234 | 6.496 | 199.96 | 6.2403 | 138.733 | 5.4733 | 336.699 | 16.3 | 978.114 | 68.088 | 15.8213
2019-10-24 09:00:00 | 6.2227 | 166.206 | 7.5187 | 212.017 | 7.263 | 153.249 | 2.1653 | 346.247 | 16.35 | 978.022 | 67.474 | 15.4408
2019-10-24 09:15:00 | 0 | 138.026 | 5.4733 | 189.512 | 5.2177 | 148.475 | 1.894 | 329.733 | 16.44 | 978.752 | 67.0306 | 12.5773
2019-10-24 09:30:00 | 0 | 163.414 | 5.4733 | 207.537 | 4.962 | 170.939 | 3.6837 | 342.804 | 16.58 | 978.854 | 66.1713 | 14.6722
2019-10-24 09:45:00 | 7.4993 | 145.943 | 7.5187 | 192.595 | 5.4733 | 149.961 | 0.887 | 328.219 | 16.73 | 979.003 | 66.6446 | 13.3532
2019-10-24 10:00:00 | 0 | 146.404 | 6.7517 | 193.543 | 6.2403 | 154.538 | 0 | 331.041 | 16.77 | 978.557 | 66.8486 | 14.5872
2019-10-24 10:15:00 | 0 | 144.212 | 5.729 | 199.679 | 7.5187 | 170.659 | 5.729 | 324.563 | 16.92 | 978.706 | 65.8254 | 16.6379
2019-10-24 10:30:00 | 0 | 144.456 | 7.0073 | 195.247 | 7.5187 | 143.774 | 0 | 329.02 | 17.07 | 978.706 | 65.8254 | 19.9596
2019-10-24 10:45:00 | 8.5207 | 157.898 | 6.496 | 197 | 5.729 | 154.148 | 4.195 | 330.407 | 17.25 | 978.706 | 67.3259 | 22.1358
2019-10-24 11:00:00 | 0 | 151.713 | 7.5187 | 195.685 | 7.0073 | 144.529 | 0.63133 | 328.971 | 17.32 | 978.706 | 65.6548 | 20.9867
2019-10-24 11:15:00 | 0 | 149.497 | 8.5413 | 189.257 | 6.496 | 151.518 | 5.729 | 336.983 | 17.88 | 978.409 | 64.3247 | 24.8146
2019-10-24 11:30:00 | 0 | 151.908 | 7.263 | 189.524 | 7.263 | 150.349 | 0 | 343.923 | 17.69 | 978.409 | 65.3479 | 25.1472
2019-10-24 11:45:00 | 5.9673 | 137.105 | 8.03 | 184.976 | 7.7743 | 156.222 | 0 | 316.803 | 17.55 | 977.519 | 67.362 | 24.6594
2019-10-24 12:00:00 | 1.138 | 136.42 | 5.9847 | 179.955 | 5.2177 | 149.23 | 0 | 323.663 | 18.26 | 978.261 | 62.8925 | 19.8553
2019-10-24 12:15:00 | 0 | 154.757 | 5.9847 | 196.1 | 6.496 | 145.941 | 0 | 338.347 | 18.17 | 978.409 | 61.6644 | 11.4319
2019-10-24 12:30:00 | 6.2227 | 169.976 | 7.5187 | 210.652 | 7.263 | 174.09 | 5.9847 | 331.454 | 19.13 | 978.231 | 58.7906 | 19.1578
2019-10-24 12:45:00 | 10.0527 | 177.812 | 11.3537 | 223.162 | 9.8197 | 212.922 | 5.9847 | 0 | 19.25 | 977.527 | 57.6982 | 16.2795
2019-10-24 13:00:00 | 0 | 190.79 | 5.4733 | 233.266 | 6.496 | 181.464 | 0.63133 | 4.4313 | 19.02 | 977.665 | 60.7673 | 12.677
2019-10-24 13:15:00 | 0.744 | 153.27 | 5.4733 | 227.155 | 6.7517 | 171.75 | 0.37567 | 339.993 | 18.94 | 977.333 | 60.0171 | 11.2065
2019-10-24 13:30:00 | 0 | 151.691 | 6.2403 | 204.274 | 5.729 | 179.984 | 0 | 342.145 | 19.32 | 977.696 | 58.6546 | 10.8
2019-10-24 13:45:00 | 0 | 158.358 | 4.962 | 213.325 | 4.962 | 160.696 | 0 | 334.393 | 19.56 | 977.871 | 58.312 | 10.8444
2019-10-24 14:00:00 | 0 | 172.947 | 6.7517 | 226.163 | 6.2403 | 181.421 | 0 | 43.6812 | 19.45 | 977.298 | 58.3137 | 9.4847
2019-10-24 14:15:00 | 0 | 189.586 | 7.0073 | 241.247 | 8.5413 | 195.016 | 0 | 8.2058 | 19.61 | 977.333 | 55.9631 | 11.5501
2019-10-24 14:30:00 | 0 | 167.93 | 4.7063 | 219.572 | 5.729 | 190.187 | 0 | 346.014 | 19.63 | 977.221 | 56.4114 | 6.9278
2019-10-24 14:45:00 | 0 | 194.376 | 6.496 | 237.302 | 7.263 | 186.219 | 0 | 15.2443 | 19.65 | 977.37 | 52.7282 | 7.2123
2019-10-24 15:00:00 | 0 | 182.371 | 5.729 | 225.954 | 5.9847 | 180.91 | 0 | 6.3071 | 19.76 | 977.222 | 53.6151 | 5.2134
2019-10-24 15:15:00 | 0 | 228.957 | 5.2177 | 275.073 | 5.729 | 247.173 | 0.37567 | 47.5107 | 19.83 | 977.518 | 53.3424 | 8.8381
2019-10-24 15:30:00 | 0 | 239.088 | 4.7063 | 280.723 | 6.496 | 238.722 | 0 | 62.5359 | 19.69 | 977.222 | 54.7749 | 6.1778
2019-10-24 15:45:00 | 0 | 222.869 | 4.195 | 264.309 | 4.195 | 207.089 | 2.541 | 42.4698 | 19.61 | 977.37 | 55.3206 | 3.4842
2019-10-24 16:00:00 | 0 | 245.663 | 2.1497 | 278.896 | 1.6383 | 226.668 | 0 | 54.378 | 19.47 | 977.37 | 56.9577 | 1.0456
2019-10-24 16:15:00 | 0 | 241.328 | 2.9167 | 285.617 | 2.661 | 239.088 | 0 | 57.4463 | 19.37 | 977.222 | 58.7653 | 0.53575
2019-10-24 16:30:00 | 0 | 238.601 | 3.9393 | 283.669 | 3.428 | 230.467 | 0 | 57.7385 | 19.25 | 977.518 | 58.3902 | 0.77592
2019-10-24 16:45:00 | 0 | 232.732 | 4.195 | 280.747 | 4.195 | 242.911 | 0 | 54.1344 | 19.27 | 977.518 | 56.1391 | 0.96805
2019-10-24 17:00:00 | 0 | 239.678 | 3.1723 | 280.852 | 3.428 | 214.96 | 0 | 65.4354 | 19.17 | 977.37 | 56.7545 | 2.5494
2019-10-24 17:15:00 | 0 | 242.434 | 3.9393 | 285.271 | 3.9393 | 233.301 | 0 | 61.3514 | 18.96 | 977.518 | 57.5117 | 2.9189
2019-10-24 17:30:00 | 0 | 243.269 | 4.4507 | 294.778 | 3.9393 | 250.576 | 0 | 69.6585 | 18.93 | 977.225 | 57.4109 | 1.2489
2019-10-24 17:45:00 | 0 | 239.275 | 2.9167 | 283.916 | 2.661 | 235.305 | 0 | 67.7588 | 18.81 | 977.153 | 57.7861 | 1.0124
2019-10-24 18:00:00 | 0 | 250.332 | 3.1723 | 298.773 | 2.4053 | 249.212 | 0 | 71.607 | 18.74 | 977.457 | 58.059 | 0.50619
2019-10-24 18:15:00 | 0 | 248.043 | 3.1723 | 289.761 | 2.9167 | 241.954 | 0 | 75.4553 | 18.77 | 977.469 | 58.6048 | 1.0863
2019-10-24 18:30:00 | 0 | 249.261 | 3.9393 | 290.541 | 3.9393 | 247.677 | 1.3983 | 80.838 | 18.68 | 977.476 | 59.1506 | 2.0433
2019-10-24 18:45:00 | 0 | 263.972 | 3.1723 | 308.467 | 2.4053 | 273.324 | 0 | 89.387 | 18.6 | 977.662 | 60.4469 | 0.97913
2019-10-24 19:00:00 | 0 | 290.983 | 3.1723 | 322.057 | 2.1497 | 271.814 | 0 | 107.021 | 18.4 | 977.809 | 61.8114 | 3.1997
2019-10-24 19:15:00 | 0 | 354.747 | 3.1723 | 3.187 | 4.7063 | 324.107 | 0 | 148.11 | 17.73 | 978.111 | 64.3357 | 19.7901
2019-10-24 19:30:00 | 0 | 355.38 | 4.4507 | 36.9933 | 3.6837 | 16.0263 | 2.0297 | 172.831 | 16.95 | 978.114 | 63.6534 | 12.5292
2019-10-24 19:45:00 | 0 | 344.517 | 6.7517 | 29.6134 | 3.9393 | 40.0171 | 5.729 | 164.477 | 16.7 | 978.262 | 62.7665 | 11.9491
2019-10-24 20:00:00 | 0 | 333.392 | 3.6837 | 67.7566 | 1.6383 | 333.343 | 0 | 158.683 | 16.6 | 978.262 | 64.2685 | 10.4564
2019-10-24 20:15:00 | 0.88267 | 342.089 | 4.962 | 45.2028 | 3.1723 | 3.5561 | 1.5183 | 164.188 | 16.33 | 978.559 | 65.0194 | 15.9654
2019-10-24 20:30:00 | 0 | 24.0438 | 2.9167 | 26.9426 | 4.195 | 320.852 | 4.7063 | 155.201 | 16.21 | 978.708 | 65.5413 | 19.7748
2019-10-24 20:45:00 | 0 | 356.894 | 5.729 | 58.9119 | 3.9393 | 355.773 | 0 | 163.427 | 16.01 | 978.708 | 66.4695 | 33.6526
2019-10-24 21:00:00 | 2.9033 | 343.488 | 7.263 | 2.7075 | 4.7063 | 27.5073 | 2.9167 | 162.534 | 15.86 | 978.708 | 61.9004 | 49.8198
2019-10-24 21:15:00 | 3.808 | 350.677 | 4.962 | 68.8084 | 6.7517 | 8.1621 | 5.2177 | 169.893 | 15.66 | 978.411 | 57.7035 | 55.9473
2019-10-24 21:30:00 | 4.6907 | 0.097458 | 3.428 | 51.2416 | 4.962 | 355.039 | 3.428 | 153.398 | 15.42 | 978.708 | 58.7613 | 59.0415
2019-10-24 21:45:00 | 1.2547 | 334.987 | 8.797 | 17.8623 | 8.5413 | 0.48729 | 7.5187 | 152.375 | 15.25 | 978.708 | 56.9186 | 73.0656
2019-10-24 22:00:00 | 9.7973 | 344.27 | 6.496 | 73.4864 | 4.4507 | 20.856 | 2.7967 | 181.881 | 14.84 | 978.71 | 55.4172 | 68.5357
2019-10-24 22:15:00 | 0.744 | 334.402 | 4.4507 | 6.7522 | 3.9393 | 334.767 | 4.7063 | 223.13 | 14.52 | 978.68 | 56.7139 | 57.7942
2019-10-24 22:30:00 | 4.18 | 350.193 | 8.2857 | 43.3236 | 8.797 | 355.358 | 4.4507 | 177.277 | 14.14 | 978.374 | 72.1725 | 61.5857
2019-10-24 22:45:00 | 5.712 | 344.787 | 9.564 | 61.0003 | 9.3083 | 9.4062 | 2.0297 | 180.399 | 13.41 | 978.413 | 63.4805 | 55.1186
2019-10-24 23:00:00 | 6.7333 | 356.293 | 7.0073 | 52.7889 | 7.0073 | 24.1736 | 3.1723 | 182.204 | 12.91 | 978.562 | 62.3207 | 55.1862
2019-10-24 23:15:00 | 5.2013 | 16.0341 | 9.3083 | 68.992 | 5.729 | 21.1514 | 2.7967 | 191.07 | 12.61 | 978.116 | 63.7186 | 44.0983
2019-10-24 23:30:00 | 12.0953 | 55.9269 | 8.5413 | 60.564 | 5.4733 | 11.7459 | 6.7517 | 186.106 | 12.45 | 977.968 | 67.6121 | 38.9621
2019-10-24 23:45:00 | 10.5633 | 0.97488 | 9.0527 | 55.3341 | 7.263 | 17.158 | 6.7517 | 193.319 | 12.22 | 977.819 | 71.7509 | 44.8934