## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-25 00:00:00 | 3.6693 | 17.4509 | 11.3537 | 67.0107 | 7.7743 | 8.1161 | 3.6837 | 193.715 | 11.96 | 977.522 | 73.7327 | 52.2351
2019-10-25 00:15:00 | 4.18 | 6.9706 | 8.2857 | 55.2875 | 6.496 | 10.5047 | 0.75133 | 195.128 | 11.92 | 977.522 | 61.2391 | 50.7081
2019-10-25 00:30:00 | 10.0527 | 56.886 | 9.564 | 64.3297 | 9.0527 | 0.14624 | 8.03 | 183.673 | 11.52 | 977.671 | 63.97 | 47.8622
2019-10-25 00:45:00 | 2.5313 | 12.1864 | 10.5867 | 75.2 | 6.496 | 1.8767 | 2.661 | 186.476 | 11.12 | 977.225 | 64.3796 | 46.001
2019-10-25 01:00:00 | 5.2013 | 352.235 | 9.564 | 83.8279 | 7.0073 | 14.0631 | 0.37567 | 189.328 | 11.12 | 977.819 | 67.1104 | 48.2798
2019-10-25 01:15:00 | 3.6693 | 172.096 | 11.3537 | 56.4573 | 9.3083 | 14.3068 | 5.4733 | 176.702 | 10.86 | 977.408 | 63.4238 | 60.8383
2019-10-25 01:30:00 | 4.18 | 1.048 | 12.3763 | 68.5462 | 7.263 | 27.8824 | 5.9847 | 187.938 | 10.75 | 977.262 | 59.191 | 63.4516
2019-10-25 01:45:00 | 4.18 | 18.8889 | 11.6093 | 67.2057 | 4.195 | 8.4817 | 4.195 | 196.639 | 10.69 | 977.606 | 57.5525 | 63.1919
2019-10-25 02:00:00 | 5.712 | 0.097491 | 10.5867 | 60.357 | 8.2857 | 9.481 | 5.2177 | 181.48 | 10.66 | 977.743 | 53.5928 | 65.1147
2019-10-25 02:15:00 | 2.9033 | 0.38996 | 9.8197 | 61.6 | 6.496 | 9.6272 | 4.195 | 180.943 | 10.51 | 977.844 | 53.9341 | 57.1023
2019-10-25 02:30:00 | 4.4353 | 63.3989 | 8.2857 | 62.1187 | 5.2177 | 11.6999 | 3.428 | 193.341 | 10.32 | 977.863 | 54.6214 | 50.1153
2019-10-25 02:45:00 | 8.5207 | 337.906 | 8.797 | 68.8032 | 7.263 | 35.297 | 2.9167 | 189.819 | 10.2 | 978.24 | 54.864 | 43.8763
2019-10-25 03:00:00 | 8.2653 | 346.163 | 8.797 | 59.1299 | 7.0073 | 10.1899 | 3.6837 | 182.101 | 9.99 | 978.015 | 54.9693 | 45.5859
2019-10-25 03:15:00 | 4.946 | 23.9138 | 9.8197 | 68.4639 | 7.5187 | 47.6813 | 3.6837 | 172.272 | 9.78 | 977.786 | 57.3575 | 48.8608
2019-10-25 03:30:00 | 3.9247 | 6.4356 | 9.3083 | 61.7365 | 6.496 | 32.8848 | 3.428 | 192.921 | 9.53 | 978.105 | 59.4748 | 45.6857
2019-10-25 03:45:00 | 7.4993 | 1.3653 | 6.496 | 74.4466 | 7.0073 | 24.1114 | 1.007 | 150.057 | 9.31 | 978.118 | 60.7783 | 46.0319
2019-10-25 04:00:00 | 4.18 | 176.445 | 8.2857 | 44.7559 | 5.9847 | 34.7185 | 2.4053 | 181.395 | 9.01 | 977.97 | 71.9137 | 48.2705
2019-10-25 04:15:00 | 4.946 | 334.63 | 8.03 | 61.701 | 7.7743 | 10.5326 | 2.4053 | 177.738 | 8.62 | 977.97 | 71.9139 | 48.3925
2019-10-25 04:30:00 | 9.2867 | 8.6797 | 8.5413 | 64.578 | 8.797 | 1.6092 | 5.4733 | 190.294 | 8.42 | 977.524 | 63.3089 | 46.0845
2019-10-25 04:45:00 | 6.9887 | 356.89 | 7.263 | 50.9977 | 6.7517 | 8.4115 | 1.774 | 184.492 | 8.27 | 978.118 | 58.1868 | 41.6224
2019-10-25 05:00:00 | 5.9673 | 5.4857 | 6.7517 | 64.3098 | 7.0073 | 15.165 | 4.195 | 188.1 | 8.01 | 978.282 | 53.5428 | 36.0284
2019-10-25 05:15:00 | 9.0313 | 0.097524 | 8.2857 | 66.0896 | 5.9847 | 12.0686 | 4.962 | 182.761 | 7.88 | 978.552 | 53.4062 | 37.0336
2019-10-25 05:30:00 | 3.9247 | 5.4126 | 6.496 | 75.135 | 6.7517 | 56.4422 | 1.2627 | 173.496 | 7.62 | 978.566 | 53.6794 | 39.2171
2019-10-25 05:45:00 | 11.3293 | 12.5075 | 7.263 | 52.8507 | 7.263 | 7.3631 | 2.4053 | 184.224 | 7.397 | 978.715 | 53.816 | 33.7044
2019-10-25 06:00:00 | 6.2227 | 0.097533 | 6.496 | 56.3681 | 7.7743 | 15.8247 | 3.6837 | 179.241 | 7.201 | 978.715 | 54.9817 | 35.3803
2019-10-25 06:15:00 | 5.712 | 0.14632 | 6.7517 | 56.1606 | 6.2403 | 1.0243 | 2.1497 | 177.22 | 6.944 | 978.715 | 56.4931 | 32.6455
2019-10-25 06:30:00 | 10.8187 | 355.278 | 7.7743 | 65.216 | 6.7517 | 11.7312 | 2.4053 | 180.651 | 6.693 | 979.012 | 58.3429 | 38.3599
2019-10-25 06:45:00 | 7.4993 | 0.2195 | 8.03 | 49.9731 | 8.2857 | 355.67 | 5.729 | 178.725 | 6.571 | 979.012 | 58.3432 | 38.6637
2019-10-25 07:00:00 | 6.7333 | 1.3658 | 7.5187 | 51.8024 | 8.5413 | 19.4627 | 1.774 | 179.116 | 6.555 | 979.012 | 57.3868 | 38.7206
2019-10-25 07:15:00 | 3.6693 | 1.8292 | 7.7743 | 59.7778 | 8.2857 | 1.1463 | 5.4733 | 184.969 | 6.525 | 979.012 | 56.4646 | 34.5801
2019-10-25 07:30:00 | 12.8613 | 15.7556 | 7.7743 | 66.997 | 7.263 | 21.8529 | 5.729 | 189.14 | 6.525 | 979.458 | 55.7472 | 32.5118
2019-10-25 07:45:00 | 4.4353 | 4.1218 | 8.797 | 58.4851 | 4.962 | 356.768 | 3.428 | 187.262 | 6.529 | 979.903 | 56.567 | 36.5428
2019-10-25 08:00:00 | 8.01 | 5.2925 | 6.7517 | 49.1196 | 8.5413 | 356.622 | 3.6837 | 189.481 | 6.614 | 980.201 | 55.7472 | 33.394
2019-10-25 08:15:00 | 5.712 | 0.68288 | 7.0073 | 49.9955 | 6.7517 | 1.6584 | 3.428 | 173.867 | 6.636 | 980.349 | 55.4039 | 38.2344
2019-10-25 08:30:00 | 4.4353 | 6.0232 | 9.0527 | 60.692 | 6.496 | 24.8977 | 2.661 | 191.33 | 6.79 | 980.795 | 53.2795 | 43.0707
2019-10-25 08:45:00 | 4.4353 | 18.2127 | 11.098 | 72.7458 | 8.797 | 9.5086 | 3.1723 | 186.784 | 7.187 | 981.36 | 51.1526 | 52.0556
2019-10-25 09:00:00 | 4.18 | 15.677 | 12.8877 | 71.1121 | 3.428 | 87.4062 | 3.6837 | 198.803 | 7.367 | 981.098 | 47.6012 | 55.2358
2019-10-25 09:15:00 | 6.2227 | 21.2579 | 11.3537 | 77.489 | 6.2403 | 21.9405 | 4.195 | 197.099 | 7.502 | 981.535 | 45.5131 | 54.9793
2019-10-25 09:30:00 | 6.7333 | 23.9624 | 9.0527 | 78.2872 | 5.4733 | 52.922 | 3.9393 | 189.871 | 7.635 | 981.509 | 47.8659 | 54.2551
2019-10-25 09:45:00 | 3.9247 | 74.341 | 6.496 | 90.3415 | 7.5187 | 12.8695 | 0.63133 | 160.918 | 7.479 | 981.854 | 47.4168 | 54.7872
2019-10-25 10:00:00 | 3.9247 | 159.69 | 7.7743 | 72.9334 | 7.0073 | 42.2136 | 1.5183 | 179.895 | 7.661 | 981.545 | 46.6633 | 55.9584
2019-10-25 10:15:00 | 2.9033 | 18.2065 | 11.865 | 85.071 | 5.9847 | 75.7993 | 0.37567 | 148.455 | 7.903 | 981.739 | 45.1272 | 53.8524
2019-10-25 10:30:00 | 3.1587 | 232.541 | 9.0527 | 70.5448 | 7.7743 | 14.5993 | 3.6837 | 181.772 | 8.17 | 981.83 | 44.2738 | 58.1991
2019-10-25 10:45:00 | 2.3927 | 344.436 | 6.496 | 56.9692 | 6.496 | 34.7312 | 5.729 | 161.128 | 8.38 | 981.977 | 43.6935 | 58.5892
2019-10-25 11:00:00 | 3.9247 | 5.9226 | 11.3537 | 33.3276 | 6.496 | 4.3627 | 5.2177 | 192.74 | 8.49 | 981.68 | 41.5771 | 60.7234
2019-10-25 11:15:00 | 6.478 | 333.834 | 8.03 | 29.3305 | 8.03 | 15.0624 | 5.9847 | 155.547 | 8.58 | 981.68 | 42.7718 | 53.1366
2019-10-25 11:30:00 | 3.9247 | 351.697 | 8.5413 | 72.9329 | 7.263 | 50.3539 | 5.9847 | 177.92 | 8.65 | 982.274 | 42.4644 | 52.2317
2019-10-25 11:45:00 | 6.9887 | 4.2405 | 7.5187 | 72.901 | 3.1723 | 18.1074 | 5.2177 | 170.863 | 8.84 | 981.977 | 42.9729 | 51.6022
2019-10-25 12:00:00 | 4.4353 | 0.43863 | 6.496 | 82.0293 | 2.541 | 16.619 | 4.195 | 180.689 | 9.65 | 981.829 | 38.8388 | 54.5564
2019-10-25 12:15:00 | 11.074 | 250.28 | 9.0527 | 63.3616 | 8.03 | 12.5493 | 5.2177 | 179.467 | 9.33 | 981.68 | 39.111 | 52.036
2019-10-25 12:30:00 | 13.1167 | 14.767 | 10.331 | 66.6526 | 5.4733 | 25.2209 | 6.496 | 195.431 | 9.47 | 981.383 | 38.668 | 58.7259
2019-10-25 12:45:00 | 10.5633 | 346.763 | 10.331 | 45.1855 | 5.4733 | 20.4695 | 0.887 | 153.448 | 9.39 | 981.383 | 37.5424 | 47.6082
2019-10-25 13:00:00 | 10.308 | 346.801 | 3.9393 | 73.4745 | 3.6837 | 30.8982 | 6.2403 | 170.55 | 9.97 | 981.532 | 35.3912 | 50.9187
2019-10-25 13:15:00 | 9.2867 | 6.6281 | 9.564 | 65.0931 | 5.9847 | 178.52 | 5.9847 | 193.336 | 10.04 | 981.977 | 34.4702 | 52.2076
2019-10-25 13:30:00 | 4.3187 | 12.1591 | 4.962 | 69.5975 | 3.6837 | 18.0316 | 1.3983 | 192.524 | 10.42 | 981.829 | 34.9124 | 48.9076
2019-10-25 13:45:00 | 3.9247 | 351.06 | 4.7063 | 42.1079 | 5.2177 | 10.599 | 0.37567 | 165.564 | 10.28 | 982.124 | 34.808 | 53.3543
2019-10-25 14:00:00 | 4.6907 | 88.8473 | 7.0073 | 78.6678 | 4.7063 | 356.169 | 0.37567 | 209.544 | 9.8 | 981.68 | 35.7677 | 47.6444
2019-10-25 14:15:00 | 11.074 | 355.385 | 8.03 | 52.6415 | 7.7743 | 8.5776 | 3.9393 | 157.492 | 9.82 | 981.68 | 35.2212 | 47.7477
2019-10-25 14:30:00 | 0.744 | 83.0947 | 8.03 | 63.5577 | 1.007 | 18.4465 | 4.195 | 191.751 | 9.88 | 981.531 | 34.8114 | 47.0292
2019-10-25 14:45:00 | 4.946 | 345 | 7.7743 | 30.3683 | 7.5187 | 12.9393 | 0.37567 | 172.037 | 9.86 | 981.68 | 35.3914 | 45.7374
2019-10-25 15:00:00 | 8.01 | 0.21932 | 4.7063 | 53.9828 | 4.195 | 355.659 | 2.2853 | 191.732 | 10.15 | 981.977 | 35.29 | 39.8837
2019-10-25 15:15:00 | 0.744 | 354.661 | 5.729 | 85.2236 | 3.6837 | 265.764 | 3.1723 | 154.667 | 10.11 | 981.977 | 34.6075 | 35.2867
2019-10-25 15:30:00 | 0.372 | 0.12184 | 5.9847 | 70.3337 | 2.4053 | 330.485 | 0.63133 | 204.475 | 10.02 | 982.125 | 35.1533 | 34.3916
2019-10-25 15:45:00 | 1.882 | 10.3077 | 7.0073 | 51.5206 | 6.2403 | 6.4819 | 1.2627 | 186.295 | 9.99 | 981.383 | 33.9585 | 33.043
2019-10-25 16:00:00 | 4.4353 | 343.051 | 5.4733 | 44.4286 | 3.9393 | 23.3932 | 1.5183 | 162.509 | 9.84 | 981.234 | 34.8795 | 25.7531
2019-10-25 16:15:00 | 0 | 352.792 | 3.6837 | 50.3586 | 5.2177 | 2.7539 | 0.63133 | 184.609 | 9.76 | 980.789 | 34.3376 | 22.908
2019-10-25 16:30:00 | 1.3933 | 12.9663 | 8.03 | 64.5735 | 4.195 | 27.5656 | 0.37567 | 189.815 | 9.76 | 980.789 | 35.0913 | 15.825
2019-10-25 16:45:00 | 0 | 356.817 | 5.4733 | 70.6423 | 4.4507 | 356.72 | 1.2627 | 185.014 | 9.79 | 980.937 | 33.999 | 17.4618
2019-10-25 17:00:00 | 5.712 | 5.4595 | 7.0073 | 55.3362 | 5.2177 | 351.041 | 4.962 | 175.874 | 9.58 | 980.831 | 34.6817 | 16.1613
2019-10-25 17:15:00 | 0 | 0.097491 | 5.729 | 39.6645 | 4.4507 | 10.6265 | 3.428 | 180.968 | 9.52 | 980.854 | 35.9106 | 13.9259
2019-10-25 17:30:00 | 0 | 345.97 | 3.428 | 50.7882 | 3.6837 | 16.0639 | 3.428 | 171.12 | 9.22 | 980.698 | 36.3935 | 14.3693
2019-10-25 17:45:00 | 0 | 356.883 | 5.2177 | 45.6236 | 4.7063 | 17.9661 | 0 | 171.714 | 9.14 | 980.78 | 36.7366 | 12.9541
2019-10-25 18:00:00 | 0 | 332.411 | 4.962 | 37.9293 | 2.9167 | 7.4118 | 0 | 157.745 | 8.98 | 980.94 | 36.4008 | 9.9909
2019-10-25 18:15:00 | 0 | 81.896 | 4.4507 | 37.3931 | 3.6837 | 356.988 | 0 | 175.593 | 9.01 | 981.089 | 36.5375 | 10.6596
2019-10-25 18:30:00 | 0 | 346.748 | 3.9393 | 40.0506 | 3.428 | 0.48762 | 0.37567 | 169.132 | 9.01 | 981.089 | 37.0838 | 11.0845
2019-10-25 18:45:00 | 0 | 5.0713 | 3.1723 | 56.9223 | 2.1497 | 356.963 | 0 | 185.369 | 8.66 | 981.164 | 38.518 | 8.6755
2019-10-25 19:00:00 | 0 | 11.8004 | 3.9393 | 70.21 | 3.1723 | 16.0427 | 0 | 196.487 | 8.68 | 981.296 | 37.4936 | 6.9574
2019-10-25 19:15:00 | 0 | 12.2881 | 4.7063 | 65.8458 | 3.9393 | 13.2389 | 0 | 197.56 | 8.73 | 981.376 | 37.5619 | 7.216
2019-10-25 19:30:00 | 0 | 19.6024 | 3.6837 | 72.6969 | 2.9167 | 30.2082 | 0 | 203.046 | 8.66 | 981.66 | 37.4936 | 4.4745
2019-10-25 19:45:00 | 0 | 20.2119 | 3.6837 | 71.2828 | 2.4053 | 30.0375 | 0 | 201.339 | 8.71 | 981.384 | 36.6399 | 3.8057
2019-10-25 20:00:00 | 0 | 23.9422 | 4.4507 | 77.4024 | 3.1723 | 24.4786 | 0 | 208.019 | 8.69 | 981.384 | 36.1277 | 3.4621
2019-10-25 20:15:00 | 0 | 24.2592 | 4.4507 | 70.9902 | 3.1723 | 26.3316 | 0 | 202.631 | 8.68 | 981.389 | 35.1374 | 2.9522
2019-10-25 20:30:00 | 0 | 18.4809 | 2.9167 | 84.8874 | 2.4053 | 40.2775 | 0 | 202.729 | 8.74 | 981.383 | 35.1716 | 2.0285
2019-10-25 20:45:00 | 0 | 21.3578 | 3.9393 | 76.6954 | 3.428 | 20.6508 | 0 | 199.9 | 8.7 | 981.686 | 35.1716 | 2.579
2019-10-25 21:00:00 | 0 | 21.1628 | 3.6837 | 75.8176 | 2.9167 | 18.6759 | 0 | 199.876 | 8.66 | 981.386 | 35.4448 | 3.318
2019-10-25 21:15:00 | 0 | 17.6519 | 4.195 | 69.6248 | 2.4053 | 13.8485 | 0 | 201.436 | 8.55 | 981.686 | 35.6496 | 1.7809
2019-10-25 21:30:00 | 0 | 14.1898 | 4.4507 | 66.8942 | 3.6837 | 20.8214 | 0 | 196.292 | 8.64 | 981.686 | 35.9911 | 1.6553
2019-10-25 21:45:00 | 0 | 24.0885 | 3.6837 | 71.0877 | 2.661 | 26.234 | 0 | 200.729 | 8.49 | 981.674 | 35.6496 | 1.3597
2019-10-25 22:00:00 | 0 | 22.0651 | 3.9393 | 76.1111 | 3.1723 | 30.3303 | 0 | 210.484 | 8.54 | 981.389 | 35.7183 | 1.1639
2019-10-25 22:15:00 | 0 | 30.8177 | 3.428 | 81.9617 | 2.661 | 41.7892 | 0 | 213.53 | 8.49 | 981.389 | 35.5131 | 0.62073
2019-10-25 22:30:00 | 0 | 19.3098 | 2.9167 | 78.1095 | 1.3827 | 30.647 | 0 | 204.801 | 8.56 | 981.389 | 35.4448 | 0.17735
2019-10-25 22:45:00 | 0 | 28.9647 | 3.428 | 78.1095 | 2.1497 | 23.7959 | 0 | 207.312 | 8.63 | 981.389 | 35.718 | 0.40643
2019-10-25 23:00:00 | 0 | 25.1613 | 3.6837 | 82.6931 | 2.1497 | 30.3788 | 0 | 208.458 | 8.49 | 981.389 | 36.0594 | 0.77222
2019-10-25 23:15:00 | 0 | 17.7992 | 3.6837 | 71.4832 | 2.1497 | 24.1874 | 0 | 198.547 | 8.42 | 981.389 | 35.9932 | 0.62073
2019-10-25 23:30:00 | 0 | 18.9221 | 3.428 | 71.0017 | 2.661 | 29.4561 | 0 | 199.462 | 8.41 | 981.389 | 35.4834 | 0.5025
2019-10-25 23:45:00 | 0 | 15.6072 | 3.6837 | 70.5219 | 2.9167 | 23.7035 | 0 | 200.211 | 8.26 | 981.241 | 36.1354 | 0.70941