## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-26 00:00:00 | 0 | 27.0226 | 3.9393 | 82.3836 | 2.9167 | 29.2664 | 0 | 205.035 | 8.02 | 980.795 | 36.0023 | 1.3301
2019-10-26 00:15:00 | 0 | 27.7056 | 3.9393 | 81.9449 | 2.1497 | 32.0956 | 0 | 210.841 | 7.961 | 980.795 | 35.5925 | 0.62443
2019-10-26 00:30:00 | 0 | 37.9492 | 3.428 | 91.555 | 2.661 | 40.0954 | 0 | 221.988 | 7.964 | 980.795 | 36.0027 | 0.50619
2019-10-26 00:45:00 | 4.946 | 31.9989 | 2.9167 | 91.6059 | 2.4053 | 36.3158 | 0 | 213.968 | 7.961 | 980.795 | 36.4133 | 0.5727
2019-10-26 01:00:00 | 0 | 24.0967 | 2.1497 | 68.6311 | 1.3827 | 24.7796 | 0 | 216.919 | 7.857 | 980.795 | 35.8668 | 0.2845
2019-10-26 01:15:00 | 0 | 12.7313 | 1.3827 | 69.9481 | 0.75133 | 0.048779 | 0 | 196.066 | 7.986 | 980.795 | 34.5004 | -0.17735
2019-10-26 01:30:00 | 0 | 13.8532 | 3.1723 | 65.5581 | 2.1497 | 13.7556 | 0 | 199.505 | 7.978 | 980.795 | 34.9786 | -0.15888
2019-10-26 01:45:00 | 0 | 6.0242 | 2.661 | 65.4117 | 1.6383 | 0.6829 | 0 | 189.018 | 7.93 | 980.795 | 35.5935 | -0.16627
2019-10-26 02:00:00 | 0 | 3.4633 | 2.661 | 53.8999 | 1.894 | 2.7316 | 0 | 196.164 | 7.742 | 980.646 | 36.2767 | -0.055423
2019-10-26 02:15:00 | 0 | 15.3653 | 3.6837 | 65.9483 | 2.4053 | 13.7556 | 0 | 197.603 | 7.795 | 980.498 | 36.0717 | 0.088676
2019-10-26 02:30:00 | 0 | 10.7801 | 3.9393 | 62.485 | 2.9167 | 0.53657 | 0 | 191.579 | 7.648 | 980.201 | 35.8668 | 1.138
2019-10-26 02:45:00 | 0 | 6.829 | 5.2177 | 64.7532 | 3.9393 | 11.1947 | 0 | 188.408 | 7.595 | 980.201 | 36.0376 | 2.1689
2019-10-26 03:00:00 | 0 | 6.2925 | 3.6837 | 65.3142 | 2.661 | 11.0484 | 0 | 190.189 | 7.528 | 980.201 | 35.7301 | 1.0863
2019-10-26 03:15:00 | 0 | 9.268 | 4.962 | 65.0703 | 4.195 | 11.1947 | 0.37567 | 191.579 | 7.696 | 980.201 | 35.1836 | 2.845
2019-10-26 03:30:00 | 0 | 4.5852 | 4.962 | 62.8508 | 2.9167 | 16.975 | 0 | 188.091 | 7.465 | 980.201 | 36.14 | 2.4053
2019-10-26 03:45:00 | 0 | 11.6581 | 3.9393 | 66.8263 | 3.428 | 22.2188 | 2.0297 | 195.042 | 7.359 | 979.606 | 35.9351 | 2.9042
2019-10-26 04:00:00 | 0 | 11.463 | 3.9393 | 66.9726 | 3.6837 | 27.2186 | 0.37567 | 192.798 | 7.193 | 979.606 | 35.5252 | 2.9633
2019-10-26 04:15:00 | 0 | 16.3409 | 4.4507 | 73.2163 | 3.6837 | 16.5848 | 0 | 194.384 | 7.378 | 979.606 | 35.1836 | 2.0174
2019-10-26 04:30:00 | 0 | 19.414 | 4.962 | 77.6064 | 3.1723 | 19.2189 | 0 | 202.676 | 7.431 | 979.309 | 35.1153 | 2.9928
2019-10-26 04:45:00 | 0 | 12.9508 | 4.4507 | 67.7531 | 3.1723 | 12.5849 | 0 | 194.384 | 7.46 | 979.458 | 33.544 | 2.0322
2019-10-26 05:00:00 | 0 | 21.292 | 3.9393 | 71.5578 | 2.4053 | 21.1944 | 0 | 202.481 | 7.433 | 979.458 | 33.4073 | 0.85351
2019-10-26 05:15:00 | 0 | 20.5359 | 3.9393 | 74.5334 | 2.1497 | 29.6575 | 0 | 199.554 | 7.481 | 979.309 | 33.6465 | 0.53945
2019-10-26 05:30:00 | 0 | 12.1947 | 3.9393 | 68.1921 | 2.1497 | 32.0965 | 0 | 196.237 | 7.465 | 979.309 | 33.544 | 0.69463
2019-10-26 05:45:00 | 0 | 27.6576 | 3.6837 | 81.7038 | 2.661 | 43.0229 | 0 | 208.481 | 7.392 | 979.012 | 33.8172 | 1.4077
2019-10-26 06:00:00 | 0 | 32.194 | 4.7063 | 86.1427 | 3.428 | 29.999 | 2.541 | 214.115 | 7.392 | 979.012 | 32.3826 | 1.404
2019-10-26 06:15:00 | 0 | 29.2185 | 3.6837 | 84.6306 | 2.4053 | 23.926 | 0 | 209.725 | 7.481 | 979.309 | 31.2553 | 0.16996
2019-10-26 06:30:00 | 0 | 15.8043 | 2.9167 | 70.7286 | 1.3827 | 23.6089 | 0 | 203.847 | 7.539 | 979.606 | 31.3578 | -0.2882
2019-10-26 06:45:00 | 0 | 29.4624 | 1.6383 | 72.1432 | 0 | 74.8267 | 0 | 209.773 | 7.538 | 980.201 | 31.4603 | -0.26972
2019-10-26 07:00:00 | 0 | 24.487 | 0.75133 | 72.1676 | 0 | 84.3874 | 0 | 209.212 | 7.648 | 980.201 | 30.9479 | -0.25125
2019-10-26 07:15:00 | 0 | 43.0473 | 1.6383 | 72.5578 | 0 | 80.5338 | 0 | 228.041 | 7.966 | 980.201 | 32.1093 | -0.25125
2019-10-26 07:30:00 | 0 | 82.8719 | 1.894 | 142.477 | 1.127 | 109.618 | 0 | 261.513 | 8.49 | 980.349 | 30.0497 | -0.25125
2019-10-26 07:45:00 | 0 | 195.78 | 1.3827 | 126.091 | 0.37567 | 71.2903 | 0 | 313.687 | 8.45 | 980.945 | 30.391 | -0.2845
2019-10-26 08:00:00 | 0 | 127.347 | 2.4053 | 186.11 | 0.75133 | 136.683 | 0 | 303.643 | 8.52 | 980.776 | 33.1176 | -0.096066
2019-10-26 08:15:00 | 0 | 105.851 | 1.3827 | 155.679 | 0 | 119.378 | 0 | 297.86 | 8.03 | 980.834 | 33.8625 | 0.68355
2019-10-26 08:30:00 | 0 | 129.273 | 1.894 | 183.805 | 0 | 155.255 | 0 | 309.729 | 8.4 | 980.841 | 34.6134 | 0.69833
2019-10-26 08:45:00 | 0 | 152.281 | 3.1723 | 217.147 | 1.6383 | 169.976 | 0 | 317.114 | 8.33 | 980.986 | 33.5211 | 1.0124
2019-10-26 09:00:00 | 0 | 120.036 | 5.9847 | 184.829 | 3.428 | 155.742 | 0.63133 | 321.574 | 8.49 | 981.271 | 32.8042 | 3.2034
2019-10-26 09:15:00 | 0 | 145.042 | 4.195 | 194.237 | 4.7063 | 158.764 | 0 | 310.582 | 8.22 | 981.097 | 35.6375 | 4.8329
2019-10-26 09:30:00 | 0 | 149.795 | 5.9847 | 205.424 | 5.4733 | 154.816 | 0 | 321.014 | 8.46 | 981.384 | 33.6918 | 5.1839
2019-10-26 09:45:00 | 0 | 132.539 | 6.496 | 190.776 | 5.9847 | 140.119 | 2.2853 | 312.02 | 8.82 | 981.235 | 32.7018 | 10.2384
2019-10-26 10:00:00 | 0 | 153.669 | 7.0073 | 206.774 | 6.7517 | 152.109 | 0 | 336.652 | 9.2 | 981.383 | 33.7884 | 10.0019
2019-10-26 10:15:00 | 0 | 142.434 | 4.962 | 198.537 | 5.4733 | 155.959 | 5.9847 | 330.316 | 8.95 | 981.086 | 37.6791 | 9.263
2019-10-26 10:30:00 | 0 | 150.5 | 7.0073 | 207.968 | 7.0073 | 163.343 | 5.9847 | 327.904 | 9.22 | 980.789 | 39.6587 | 9.13
2019-10-26 10:45:00 | 0 | 174.007 | 3.9393 | 199.622 | 4.7063 | 165.843 | 0 | 341.458 | 9.46 | 981.383 | 38.5644 | 3.2662
2019-10-26 11:00:00 | 0 | 127.621 | 6.496 | 199.037 | 6.496 | 145.846 | 4.7063 | 312.986 | 10.16 | 981.194 | 35.0453 | 2.9743
2019-10-26 11:15:00 | 0 | 143.823 | 4.195 | 185.782 | 3.6837 | 144.14 | 0.63133 | 330.138 | 10.37 | 980.786 | 34.6357 | 4.892
2019-10-26 11:30:00 | 0 | 127.572 | 4.4507 | 187.463 | 4.962 | 148.672 | 4.7063 | 331.43 | 10.49 | 980.786 | 30.1996 | 3.5027
2019-10-26 11:45:00 | 0 | 192.517 | 4.195 | 231.671 | 5.4733 | 191.811 | 0 | 21.805 | 11.03 | 980.489 | 30.0956 | 3.584
2019-10-26 12:00:00 | 0 | 136.237 | 4.4507 | 183.064 | 4.4507 | 148.71 | 2.661 | 339.081 | 11.36 | 979.896 | 33.3709 | 2.7601
2019-10-26 12:15:00 | 0 | 177.933 | 6.2403 | 223.741 | 7.0073 | 172.256 | 4.962 | 1.608 | 11.68 | 979.45 | 34.6015 | 4.1271
2019-10-26 12:30:00 | 0 | 196.67 | 5.9847 | 243.038 | 6.2403 | 192.552 | 4.962 | 21.7331 | 11.27 | 979.599 | 32.8613 | 4.201
2019-10-26 12:45:00 | 0 | 194.55 | 5.4733 | 243.891 | 6.2403 | 164.046 | 0 | 27.9947 | 11.36 | 979.599 | 29.9608 | 3.2588
2019-10-26 13:00:00 | 0 | 182.563 | 5.729 | 230.028 | 5.9847 | 180.004 | 0 | 351.579 | 11.51 | 979.599 | 27.2991 | 1.8844
2019-10-26 13:15:00 | 0 | 156.127 | 3.6837 | 204.981 | 3.6837 | 155.201 | 0 | 341.395 | 11.84 | 979.896 | 23.4772 | 1.5925
2019-10-26 13:30:00 | 0 | 156.079 | 5.2177 | 209.099 | 5.4733 | 169.43 | 0 | 347.534 | 12.16 | 979.302 | 25.354 | 4.6592
2019-10-26 13:45:00 | 0 | 150.67 | 6.496 | 204.323 | 6.2403 | 151.669 | 2.2853 | 343.88 | 12.13 | 979.302 | 26.2413 | 2.9707
2019-10-26 14:00:00 | 0 | 119.117 | 3.9393 | 195.575 | 3.1723 | 192.722 | 0 | 315.518 | 12.67 | 979.45 | 28.8004 | 0.9311
2019-10-26 14:15:00 | 2.3927 | 137.534 | 5.729 | 203.767 | 5.4733 | 167.277 | 0 | 330.048 | 12.67 | 979.896 | 26.8501 | 0.014779
2019-10-26 14:30:00 | 0 | 144.239 | 6.2403 | 182.767 | 5.9847 | 144.897 | 3.1723 | 324.818 | 13.11 | 979.45 | 28.3135 | 0.69463
2019-10-26 14:45:00 | 0 | 131.531 | 5.9847 | 182.704 | 3.9393 | 140.909 | 0 | 315.796 | 12.77 | 979.302 | 30.6005 | 1.8031
2019-10-26 15:00:00 | 0 | 142.8 | 6.2403 | 197.987 | 4.4507 | 140.438 | 0 | 324.838 | 12.96 | 979.153 | 30.8034 | 3.4658
2019-10-26 15:15:00 | 0 | 154.907 | 5.4733 | 188.54 | 5.729 | 140.171 | 0.37567 | 341.331 | 13.2 | 979.005 | 29.4733 | 3.935
2019-10-26 15:30:00 | 0.372 | 129.531 | 4.7063 | 181.409 | 4.4507 | 138.251 | 5.4733 | 313.475 | 12.98 | 979.153 | 29.2012 | 4.5262
2019-10-26 15:45:00 | 0 | 142.832 | 5.729 | 201.02 | 5.9847 | 149.774 | 4.4507 | 324.782 | 13 | 979.005 | 28.7923 | 6.0965
2019-10-26 16:00:00 | 0 | 142.974 | 5.4733 | 205.958 | 4.4507 | 169.864 | 1.007 | 331.52 | 12.98 | 978.56 | 26.6765 | 9.1226
2019-10-26 16:15:00 | 0 | 145.645 | 6.496 | 187.543 | 6.2403 | 160.237 | 1.007 | 324.054 | 12.76 | 978.114 | 28.8971 | 11.8678
2019-10-26 16:30:00 | 0 | 164.702 | 4.962 | 212.118 | 4.195 | 169.478 | 1.6383 | 334.716 | 12.75 | 977.817 | 29.8922 | 11.6425
2019-10-26 16:45:00 | 0 | 155.932 | 4.7063 | 200.839 | 4.4507 | 142.045 | 2.9167 | 337.715 | 12.6 | 977.372 | 30.029 | 11.4947
2019-10-26 17:00:00 | 0 | 166.214 | 4.195 | 230.296 | 5.2177 | 190.968 | 0 | 353.601 | 12.44 | 976.68 | 30.1655 | 10.364
2019-10-26 17:15:00 | 0 | 183.007 | 5.2177 | 232.798 | 4.7063 | 170.652 | 0 | 356.194 | 12.22 | 976.63 | 30.1363 | 14.8681
2019-10-26 17:30:00 | 6.872 | 159.327 | 7.5187 | 213.313 | 5.9847 | 180.578 | 5.2177 | 320.117 | 12.22 | 976.037 | 30.6495 | 14.9974
2019-10-26 17:45:00 | 0 | 185.111 | 5.2177 | 206.374 | 5.4733 | 172.583 | 5.729 | 16.6953 | 12.04 | 976.037 | 31.4729 | 19.2169
2019-10-26 18:00:00 | 0 | 180.261 | 3.9393 | 230.844 | 4.962 | 157.716 | 0 | 1.3405 | 12.02 | 976.037 | 30.1417 | 21.3193
2019-10-26 18:15:00 | 0 | 171.535 | 4.4507 | 209.031 | 4.195 | 141.435 | 5.4733 | 350.821 | 11.87 | 976.037 | 31.2681 | 21.5114
2019-10-26 18:30:00 | 0 | 164.833 | 7.0073 | 222.582 | 7.263 | 182.235 | 2.1497 | 349.968 | 11.79 | 975.74 | 31.746 | 29.4701
2019-10-26 18:45:00 | 0.372 | 176.069 | 5.2177 | 230.259 | 4.195 | 201.343 | 0 | 350.188 | 11.93 | 976.047 | 29.5614 | 27.1312
2019-10-26 19:00:00 | 13.1167 | 184.234 | 8.2857 | 208.251 | 7.5187 | 159.885 | 8.03 | 347.239 | 11.73 | 975.891 | 30.722 | 27.3677
2019-10-26 19:15:00 | 0 | 183.941 | 8.5413 | 234.013 | 7.5187 | 172.047 | 0.63133 | 356.768 | 11.54 | 976.099 | 32.0191 | 32.2301
2019-10-26 19:30:00 | 7.4993 | 169.342 | 6.496 | 207.252 | 7.0073 | 180.7 | 0.37567 | 356.768 | 11.53 | 976.067 | 33.1115 | 29.0526
2019-10-26 19:45:00 | 0 | 184.794 | 7.0073 | 222.46 | 8.03 | 142.824 | 0 | 10.4559 | 11.37 | 976.084 | 34.6817 | 23.9278
2019-10-26 20:00:00 | 1.7653 | 177.848 | 9.0527 | 232.258 | 9.0527 | 191.472 | 5.9847 | 349.676 | 10.89 | 975.797 | 35.2279 | 26.9317
2019-10-26 20:15:00 | 7.4993 | 163.297 | 7.0073 | 217.123 | 6.496 | 160.568 | 4.962 | 350.626 | 10.93 | 975.895 | 35.8423 | 37.6837
2019-10-26 20:30:00 | 2.1373 | 149.707 | 7.263 | 209.386 | 8.5413 | 174.544 | 0 | 339.265 | 10.91 | 975.601 | 34.4107 | 36.6418
2019-10-26 20:45:00 | 1.2547 | 151.738 | 7.5187 | 217.175 | 7.7743 | 160.635 | 0 | 4.1926 | 10.32 | 975.229 | 36.6659 | 39.1912
2019-10-26 21:00:00 | 3.414 | 166.251 | 7.0073 | 204.707 | 7.7743 | 165.617 | 0 | 341.862 | 10.34 | 975.678 | 36.941 | 44.9552
2019-10-26 21:15:00 | 9.542 | 153.745 | 8.2857 | 203.78 | 7.7743 | 159.547 | 1.007 | 348.103 | 10.16 | 975.41 | 38.648 | 41.9624
2019-10-26 21:30:00 | 11.3293 | 168.131 | 9.3083 | 213.754 | 8.797 | 169.715 | 4.7063 | 349.132 | 10.1 | 975.289 | 39.0584 | 43.2482
2019-10-26 21:45:00 | 1.6267 | 157.239 | 8.2857 | 204.864 | 9.3083 | 153.046 | 0.75133 | 341.22 | 10.04 | 975.296 | 40.1863 | 42.6755
2019-10-26 22:00:00 | 4.946 | 152.24 | 8.5413 | 196.305 | 8.5413 | 145.585 | 7.5187 | 351.041 | 9.81 | 974.995 | 43.0197 | 48.4505
2019-10-26 22:15:00 | 0 | 179.411 | 6.7517 | 209.999 | 8.797 | 157.347 | 0 | 7.6796 | 9.6 | 975.148 | 43.6378 | 50.5861
2019-10-26 22:30:00 | 2.9033 | 177.368 | 8.797 | 217.612 | 10.331 | 131.703 | 0 | 7.3141 | 9.94 | 975.148 | 43.5707 | 47.5268
2019-10-26 22:45:00 | 15.67 | 173.422 | 8.03 | 209.791 | 10.8423 | 153.674 | 7.7743 | 352.648 | 9.48 | 974.85 | 44.4596 | 52.4003
2019-10-26 23:00:00 | 2.1373 | 145.653 | 8.5413 | 206.866 | 7.263 | 162.573 | 0.37567 | 343.822 | 9.25 | 974.553 | 45.2109 | 51.5985
2019-10-26 23:15:00 | 0.744 | 142.8 | 7.0073 | 210.011 | 7.0073 | 150.748 | 0 | 336.215 | 9.19 | 974.553 | 48.0109 | 54.1295
2019-10-26 23:30:00 | 1.7653 | 159.062 | 8.5413 | 204.964 | 9.0527 | 150.066 | 0.63133 | 340.969 | 9.13 | 974.553 | 48.1475 | 54.1664
2019-10-26 23:45:00 | 0.744 | 158.379 | 10.0753 | 202.648 | 10.0753 | 152.04 | 0 | 345.139 | 9.08 | 974.553 | 49.5475 | 55.9584