## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-27 00:00:00 | 0.372 | 159.306 | 10.0753 | 202.16 | 9.564 | 153.796 | 0.37567 | 346.821 | 9.11 | 974.553 | 50.4695 | 51.8756
2019-10-27 00:15:00 | 5.2013 | 138.704 | 9.8197 | 194.358 | 8.797 | 143.531 | 4.7063 | 324.756 | 9.07 | 974.256 | 51.289 | 50.4088
2019-10-27 00:30:00 | 0.99933 | 159.867 | 9.564 | 203.55 | 9.3083 | 159.428 | 1.2627 | 346.991 | 9 | 974.256 | 52.7915 | 48.5983
2019-10-27 00:45:00 | 0.372 | 154.527 | 8.797 | 202.355 | 9.8197 | 154.917 | 0 | 344.236 | 8.92 | 974.28 | 53.5769 | 56.2208
2019-10-27 01:00:00 | 3.414 | 161.013 | 9.8197 | 211.206 | 9.0527 | 169.717 | 0 | 350.356 | 8.71 | 973.96 | 53.7476 | 52.3724
2019-10-27 01:15:00 | 2.276 | 158.063 | 9.8197 | 201.648 | 9.8197 | 163.914 | 2.661 | 343.724 | 8.65 | 974.021 | 55.3867 | 53.9374
2019-10-27 01:30:00 | 1.51 | 155.795 | 9.564 | 202.209 | 8.797 | 158.209 | 0 | 341.091 | 8.49 | 974.037 | 56.4453 | 54.0112
2019-10-27 01:45:00 | 0.744 | 154.966 | 9.0527 | 207.037 | 7.7743 | 158.184 | 0 | 344.236 | 8.42 | 974.033 | 57.0258 | 54.2773
2019-10-27 02:00:00 | 2.5313 | 155.112 | 9.0527 | 201.99 | 8.797 | 152.577 | 0 | 340.14 | 8.43 | 973.634 | 56.2062 | 57.8169
2019-10-27 02:15:00 | 2.3927 | 155.941 | 9.3083 | 201.722 | 8.5413 | 148.456 | 0 | 340.482 | 8.62 | 973.643 | 55.6257 | 54.3327
2019-10-27 02:30:00 | 3.6693 | 157.063 | 9.564 | 204.818 | 8.5413 | 163.695 | 3.9393 | 345.114 | 8.85 | 973.593 | 54.8404 | 51.2179
2019-10-27 02:45:00 | 7.4993 | 151.358 | 9.0527 | 197.504 | 7.5187 | 145.165 | 5.729 | 338.385 | 8.73 | 973.618 | 55.3867 | 48.0995
2019-10-27 03:00:00 | 3.6693 | 148.237 | 9.3083 | 197.065 | 7.5187 | 151.748 | 4.4507 | 339.555 | 8.78 | 973.243 | 55.455 | 47.2349
2019-10-27 03:15:00 | 3.6693 | 152.967 | 8.797 | 212.547 | 7.5187 | 162.573 | 5.2177 | 340.482 | 8.96 | 972.94 | 53.9525 | 52.0049
2019-10-27 03:30:00 | 4.18 | 151.358 | 8.5413 | 196.723 | 8.5413 | 138.289 | 2.9167 | 332.509 | 9.18 | 972.806 | 54.0891 | 50.8337
2019-10-27 03:45:00 | 4.6907 | 151.016 | 10.5867 | 193.359 | 8.03 | 157.941 | 1.894 | 339.702 | 9.15 | 972.819 | 54.1574 | 50.6822
2019-10-27 04:00:00 | 0 | 152.528 | 10.5867 | 200.307 | 9.8197 | 152.333 | 2.1497 | 334.021 | 9.23 | 972.482 | 54.7038 | 53.083
2019-10-27 04:15:00 | 2.648 | 151.382 | 9.8197 | 189.58 | 9.3083 | 144.165 | 5.729 | 340.945 | 9.14 | 972.474 | 54.9769 | 56.0508
2019-10-27 04:30:00 | 2.3927 | 162.475 | 9.0527 | 188.824 | 9.8197 | 175.105 | 0 | 338.799 | 9.07 | 972.474 | 55.216 | 61.6522
2019-10-27 04:45:00 | 0.99933 | 150.797 | 9.3083 | 206.72 | 9.8197 | 152.821 | 1.007 | 340.14 | 9.04 | 972.207 | 55.0452 | 60.4772
2019-10-27 05:00:00 | 0 | 154.479 | 10.8423 | 206.208 | 9.3083 | 162.5 | 0.37567 | 333.655 | 9.1 | 972.177 | 54.9086 | 61.4157
2019-10-27 05:15:00 | 3.9247 | 154.722 | 10.8423 | 201.746 | 9.3083 | 153.723 | 0.37567 | 342.554 | 9.08 | 972.194 | 54.5672 | 63.7583
2019-10-27 05:30:00 | 0.372 | 152.211 | 10.8423 | 204.72 | 10.5867 | 157.234 | 0.37567 | 335.459 | 9.12 | 972.193 | 54.9769 | 65.3729
2019-10-27 05:45:00 | 0.372 | 150.821 | 10.8423 | 199.43 | 11.3537 | 153.186 | 2.4053 | 341.75 | 9.1 | 972.029 | 55.3867 | 63.0488
2019-10-27 06:00:00 | 3.6693 | 156.892 | 13.1433 | 197.43 | 10.8423 | 165.279 | 2.541 | 344.236 | 9.16 | 972.177 | 54.5672 | 68.0036
2019-10-27 06:15:00 | 0.744 | 146.774 | 10.0753 | 191.774 | 9.0527 | 138.192 | 1.6383 | 330.827 | 9.31 | 972.177 | 55.5574 | 69.4409
2019-10-27 06:30:00 | 2.3927 | 146.311 | 11.3537 | 193.603 | 9.564 | 148.798 | 2.9167 | 336.703 | 9.29 | 972.474 | 55.2501 | 72.249
2019-10-27 06:45:00 | 4.4353 | 160.623 | 12.632 | 184.045 | 11.098 | 148.456 | 1.894 | 337.483 | 9.15 | 972.177 | 55.5916 | 75.7369
2019-10-27 07:00:00 | 1.6267 | 150.797 | 11.865 | 202.672 | 10.8423 | 149.797 | 2.4053 | 330.217 | 9.23 | 972.474 | 55.8648 | 71.9128
2019-10-27 07:15:00 | 5.4567 | 142.019 | 8.2857 | 202.5 | 8.5413 | 148.577 | 0.37567 | 328.874 | 9.27 | 972.771 | 55.3862 | 68.399
2019-10-27 07:30:00 | 0.372 | 158.061 | 10.0753 | 205.586 | 10.0753 | 151.821 | 1.3827 | 335.892 | 9.3 | 973.039 | 55.8557 | 68.2032
2019-10-27 07:45:00 | 0.372 | 151.816 | 10.0753 | 201.411 | 8.797 | 154.766 | 0.75133 | 334.883 | 9.3 | 973.213 | 56.1613 | 65.8681
2019-10-27 08:00:00 | 2.1373 | 144.507 | 10.331 | 196.675 | 10.0753 | 149.747 | 0 | 334.835 | 9.31 | 973.112 | 56.1191 | 64.5083
2019-10-27 08:15:00 | 3.808 | 161.64 | 8.03 | 204.717 | 7.7743 | 153.817 | 3.6837 | 336.515 | 9.48 | 973.393 | 55.9481 | 61.2938
2019-10-27 08:30:00 | 4.18 | 148.552 | 9.564 | 196.942 | 9.8197 | 154.962 | 3.6837 | 338.05 | 9.59 | 973.663 | 54.8558 | 62.3727
2019-10-27 08:45:00 | 2.1373 | 149.356 | 12.1207 | 199.672 | 11.865 | 148.308 | 2.4053 | 337.636 | 9.82 | 973.81 | 55.2996 | 61.7202
2019-10-27 09:00:00 | 0 | 157.936 | 9.8197 | 193.115 | 10.331 | 145.335 | 5.9847 | 331.786 | 9.85 | 974.107 | 55.7092 | 56.291
2019-10-27 09:15:00 | 3.042 | 150.94 | 8.797 | 204.204 | 9.564 | 158.764 | 3.9393 | 331.517 | 10.11 | 974.553 | 57.962 | 45.9728
2019-10-27 09:30:00 | 5.4567 | 154.913 | 9.0527 | 193.154 | 8.03 | 140.34 | 3.428 | 334.267 | 10.18 | 974.553 | 57.2702 | 37.7724
2019-10-27 09:45:00 | 5.9673 | 147.061 | 10.331 | 197.314 | 8.2857 | 142.114 | 0.887 | 334.085 | 10.81 | 974.85 | 56.8245 | 35.0789
2019-10-27 10:00:00 | 3.414 | 142.43 | 6.7517 | 188.418 | 7.5187 | 143.259 | 1.3983 | 330.72 | 11.31 | 975.147 | 53.855 | 27.1276
2019-10-27 10:15:00 | 8.5207 | 139.779 | 8.2857 | 196.479 | 8.03 | 157.005 | 0.37567 | 330.651 | 11.59 | 974.981 | 56.2704 | 23.8354
2019-10-27 10:30:00 | 2.5313 | 149.5 | 8.5413 | 201.327 | 9.564 | 151.206 | 1.1427 | 336.229 | 11.84 | 974.851 | 55.0759 | 26.3516
2019-10-27 10:45:00 | 8.776 | 143.165 | 9.0527 | 190.192 | 11.3537 | 133.81 | 2.1497 | 327.629 | 12.3 | 974.7 | 53.6427 | 26.4994
2019-10-27 11:00:00 | 8.01 | 161.211 | 7.7743 | 193.689 | 6.2403 | 148.932 | 4.4507 | 332.338 | 12.62 | 975.146 | 53.1622 | 26.3923
2019-10-27 11:15:00 | 5.4567 | 163.128 | 9.8197 | 209.212 | 10.0753 | 164.492 | 0.37567 | 351.686 | 13.08 | 974.997 | 53.834 | 28.1806
2019-10-27 11:30:00 | 3.414 | 157.735 | 8.03 | 209.343 | 10.0753 | 161.729 | 0 | 349.203 | 13.96 | 974.849 | 52.4319 | 30.6118
2019-10-27 11:45:00 | 5.9673 | 176.533 | 8.5413 | 210.312 | 11.3537 | 147.062 | 1.007 | 355.21 | 14.2 | 974.7 | 52.5329 | 33.7487
2019-10-27 12:00:00 | 6.478 | 169.835 | 10.331 | 208.582 | 11.098 | 134.032 | 0.75133 | 356.72 | 14.77 | 974.7 | 53.6244 | 36.1023
2019-10-27 12:15:00 | 8.5207 | 147.647 | 11.3537 | 180.305 | 9.564 | 142.532 | 1.894 | 347.002 | 14.78 | 974.255 | 51.68 | 37.5027
2019-10-27 12:30:00 | 1.7653 | 167.302 | 8.5413 | 194.602 | 8.03 | 168.13 | 4.4507 | 342.204 | 15.08 | 974.255 | 49.6674 | 32.0084
2019-10-27 12:45:00 | 3.9247 | 137.198 | 9.564 | 180.695 | 8.03 | 149.693 | 0 | 326.08 | 15.13 | 973.958 | 49.1898 | 30.4862
2019-10-27 13:00:00 | 1.7653 | 145.187 | 7.7743 | 203.882 | 7.5187 | 161.993 | 0.37567 | 356.769 | 15.36 | 974.093 | 47.9959 | 30.3753
2019-10-27 13:15:00 | 0 | 144.797 | 7.0073 | 224.049 | 7.7743 | 176.46 | 5.729 | 353.992 | 15.64 | 973.852 | 46.3926 | 26.9908
2019-10-27 13:30:00 | 6.2227 | 159.703 | 9.3083 | 202.883 | 9.0527 | 158.485 | 4.4507 | 349.9 | 16.23 | 973.621 | 45.7445 | 27.6301
2019-10-27 13:45:00 | 2.648 | 157.195 | 7.5187 | 199.595 | 6.7517 | 143.628 | 5.729 | 355.356 | 16.12 | 973.564 | 45.1987 | 27.5118
2019-10-27 14:00:00 | 0.372 | 137.588 | 7.5187 | 203.37 | 6.7517 | 158.364 | 2.0297 | 323.571 | 16.54 | 973.666 | 43.6978 | 27.6559
2019-10-27 14:15:00 | 0 | 202.962 | 7.7743 | 234.494 | 7.5187 | 178.267 | 2.1497 | 1.2907 | 17.2 | 973.662 | 41.2372 | 26.0856
2019-10-27 14:30:00 | 1.6487 | 191.431 | 5.729 | 246.167 | 5.9847 | 197.081 | 0.63133 | 2.5326 | 17.04 | 973.364 | 41.337 | 21.8439
2019-10-27 14:45:00 | 8.5207 | 170.707 | 7.0073 | 228.342 | 8.5413 | 181.252 | 4.075 | 1.0471 | 17.12 | 973.364 | 41.4052 | 28.624
2019-10-27 15:00:00 | 0 | 160.821 | 6.496 | 200.532 | 6.7517 | 161.916 | 4.7063 | 353.542 | 17.47 | 973.364 | 41.7463 | 26.6029
2019-10-27 15:15:00 | 0 | 159.846 | 7.5187 | 194.127 | 7.7743 | 157.923 | 3.0523 | 339.54 | 16.95 | 973.364 | 42.5648 | 28.9169
2019-10-27 15:30:00 | 0.88267 | 138.977 | 6.7517 | 187.674 | 5.9847 | 131.282 | 4.075 | 321.398 | 17.35 | 973.512 | 43.247 | 26.0191
2019-10-27 15:45:00 | 0 | 164.4 | 6.7517 | 215.313 | 5.4733 | 157.752 | 2.541 | 342.657 | 17.15 | 973.661 | 43.7927 | 27.9515
2019-10-27 16:00:00 | 5.712 | 144.87 | 8.797 | 194.809 | 9.3083 | 143.092 | 4.195 | 324.831 | 17.12 | 973.067 | 43.4516 | 25.6311
2019-10-27 16:15:00 | 0.372 | 154.251 | 8.03 | 207.554 | 5.9847 | 157.174 | 5.729 | 341.55 | 16.96 | 972.919 | 43.999 | 26.5475
2019-10-27 16:30:00 | 10.308 | 159.8 | 8.2857 | 199.082 | 8.03 | 152.785 | 5.729 | 336.21 | 16.82 | 972.474 | 44.8915 | 28.502
2019-10-27 16:45:00 | 3.6693 | 140.243 | 8.797 | 199.303 | 5.729 | 159.533 | 5.4733 | 325.666 | 16.63 | 972.317 | 45.6422 | 28.2286
2019-10-27 17:00:00 | 0 | 150.326 | 8.03 | 176.018 | 7.263 | 159.971 | 0 | 351.629 | 16.49 | 972.024 | 46.1197 | 32.9137
2019-10-27 17:15:00 | 0.372 | 177.094 | 6.496 | 194.773 | 6.2403 | 152.641 | 0 | 355.65 | 16.27 | 971.583 | 46.0517 | 38.4227
2019-10-27 17:30:00 | 0 | 183.413 | 5.4733 | 209.156 | 3.9393 | 181.708 | 0 | 17.099 | 16.07 | 971.583 | 45.9178 | 38.0163
2019-10-27 17:45:00 | 0 | 144.258 | 5.9847 | 193.743 | 4.962 | 149.398 | 0 | 338.827 | 15.94 | 971.434 | 47.9768 | 38.6407
2019-10-27 18:00:00 | 2.1373 | 143.165 | 7.7743 | 203.178 | 8.2857 | 185.535 | 0.37567 | 329.797 | 15.63 | 971.286 | 48.3876 | 41.2123
2019-10-27 18:15:00 | 4.18 | 143.604 | 7.0073 | 200.401 | 7.0073 | 177.178 | 0 | 337.667 | 15.36 | 971.138 | 49.2066 | 46.6955
2019-10-27 18:30:00 | 8.01 | 157.394 | 6.7517 | 209.635 | 7.0073 | 155.591 | 1.007 | 350.434 | 15.1 | 971.138 | 51.1517 | 51.096
2019-10-27 18:45:00 | 3.1587 | 173.548 | 12.632 | 202.52 | 7.5187 | 147.088 | 0 | 346.267 | 14.98 | 971.181 | 52.1413 | 56.2651
2019-10-27 19:00:00 | 4.4353 | 147.317 | 8.2857 | 201.049 | 8.03 | 164.958 | 0 | 332.353 | 14.69 | 971.268 | 52.793 | 57.2886
2019-10-27 19:15:00 | 1.6267 | 161.56 | 7.5187 | 196.242 | 6.7517 | 154.469 | 0 | 332.209 | 14.53 | 971.434 | 52.6267 | 61.3603
2019-10-27 19:30:00 | 4.18 | 147.576 | 9.564 | 199.317 | 8.797 | 149.379 | 4.4507 | 325.076 | 14.4 | 971.286 | 50.6483 | 56.4055
2019-10-27 19:45:00 | 7.4993 | 153.495 | 9.0527 | 194.586 | 7.263 | 163.096 | 5.2177 | 337.938 | 14.54 | 971.286 | 50.1698 | 58.966
2019-10-27 20:00:00 | 3.6693 | 149.501 | 10.0753 | 201.511 | 9.8197 | 155.399 | 0.37567 | 334.167 | 14.48 | 971.286 | 50.0341 | 60.6657
2019-10-27 20:15:00 | 4.4353 | 142.311 | 7.0073 | 208.477 | 6.7517 | 181.007 | 2.1497 | 333.309 | 14.46 | 971.286 | 49.5215 | 64.0723
2019-10-27 20:30:00 | 2.3927 | 153.035 | 8.5413 | 198.684 | 6.2403 | 149.453 | 2.661 | 330.974 | 14.3 | 971.286 | 49.6246 | 69.2045
2019-10-27 20:45:00 | 9.2867 | 139.094 | 8.797 | 184.182 | 9.0527 | 170.798 | 2.661 | 318.055 | 14.32 | 971.286 | 49.2145 | 70.6401
2019-10-27 21:00:00 | 7.4993 | 159.735 | 9.0527 | 202.751 | 10.0753 | 146.235 | 4.195 | 340.231 | 14.13 | 971.286 | 49.2828 | 72.164
2019-10-27 21:15:00 | 1.138 | 155.027 | 6.7517 | 208.008 | 6.7517 | 206.053 | 1.2627 | 355.304 | 13.92 | 971.286 | 49.8956 | 72.5409
2019-10-27 21:30:00 | 7.244 | 155.127 | 7.263 | 210.668 | 5.729 | 193.263 | 2.4053 | 329.773 | 13.78 | 971.286 | 50.306 | 77.0338
2019-10-27 21:45:00 | 4.6907 | 163.824 | 9.564 | 220.095 | 9.564 | 160.778 | 0 | 334.398 | 13.75 | 971.137 | 49.3498 | 77.0708
2019-10-27 22:00:00 | 6.478 | 147.503 | 12.632 | 201.973 | 11.098 | 146.309 | 0.63133 | 329.024 | 13.78 | 970.692 | 49.8975 | 73.8128
2019-10-27 22:15:00 | 5.2013 | 156.905 | 9.8197 | 224.385 | 10.5867 | 186.098 | 0.75133 | 344.927 | 13.58 | 970.692 | 49.8279 | 77.6715
2019-10-27 22:30:00 | 3.9247 | 165.779 | 9.0527 | 198.415 | 9.0527 | 145.115 | 0.37567 | 333.093 | 13.46 | 970.692 | 50.9213 | 76.4131
2019-10-27 22:45:00 | 4.4353 | 142.852 | 9.564 | 193.499 | 10.0753 | 166.076 | 0.63133 | 331.933 | 13.35 | 970.395 | 51.8784 | 72.9843
2019-10-27 23:00:00 | 3.1587 | 157.922 | 10.5867 | 203.845 | 10.331 | 150.684 | 2.661 | 346.039 | 13.02 | 970.395 | 51.6767 | 75.8108
2019-10-27 23:15:00 | 2.9033 | 152.449 | 7.7743 | 201.447 | 8.5413 | 167.487 | 0.75133 | 338.434 | 13.04 | 970.098 | 52.2946 | 70.941
2019-10-27 23:30:00 | 6.478 | 159.568 | 10.8423 | 209.445 | 9.8197 | 170.146 | 1.894 | 343.022 | 12.97 | 970.098 | 52.3639 | 70.5014
2019-10-27 23:45:00 | 6.9887 | 159.227 | 11.098 | 219.95 | 10.0753 | 178.116 | 2.9167 | 349.237 | 12.78 | 969.801 | 52.1591 | 72.8217