## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-28 00:00:00 | 5.2013 | 161.031 | 12.3763 | 207.032 | 10.5867 | 161.567 | 0.37567 | 344.046 | 12.56 | 969.504 | 52.8418 | 74.6544
2019-10-28 00:15:00 | 5.2013 | 155.888 | 9.3083 | 212.833 | 8.03 | 166.052 | 0.37567 | 342.998 | 12.54 | 969.059 | 52.3639 | 77.9871
2019-10-28 00:30:00 | 5.4567 | 172.023 | 12.632 | 205.472 | 12.3763 | 145.359 | 1.6383 | 348.823 | 12.43 | 968.91 | 51.6129 | 74.4002
2019-10-28 00:45:00 | 6.478 | 158.715 | 14.4217 | 201.183 | 12.632 | 166.612 | 1.774 | 348.701 | 12.68 | 968.465 | 51.0667 | 74.9417
2019-10-28 01:00:00 | 5.712 | 164.882 | 11.865 | 208.202 | 12.1207 | 159.861 | 2.661 | 346.166 | 12.85 | 968.91 | 51.135 | 76.5868
2019-10-28 01:15:00 | 5.712 | 152.866 | 12.3763 | 195.382 | 10.8423 | 146.505 | 7.0073 | 339.074 | 12.86 | 968.316 | 50.2475 | 78.5693
2019-10-28 01:30:00 | 3.9247 | 145.993 | 11.865 | 192.799 | 11.865 | 155.108 | 6.7517 | 335.515 | 12.43 | 968.019 | 51.0667 | 76.7678
2019-10-28 01:45:00 | 4.946 | 153.329 | 12.3763 | 204.912 | 10.8423 | 147.894 | 4.962 | 341.877 | 12.15 | 967.722 | 53.1831 | 81.5231
2019-10-28 02:00:00 | 3.1587 | 150.429 | 11.6093 | 204.766 | 11.3537 | 151.672 | 1.2627 | 329.008 | 12.15 | 967.722 | 52.0225 | 80.8432
2019-10-28 02:15:00 | 4.18 | 142.313 | 9.564 | 208.982 | 11.865 | 169.634 | 1.2627 | 328.667 | 12.15 | 967.425 | 52.91 | 78.9699
2019-10-28 02:30:00 | 5.712 | 148.454 | 11.6093 | 203.352 | 10.5867 | 160.007 | 3.1723 | 326.01 | 11.96 | 967.128 | 53.1149 | 76.2838
2019-10-28 02:45:00 | 7.244 | 141.581 | 10.0753 | 218.219 | 9.8197 | 191.619 | 4.4507 | 332.396 | 11.83 | 966.831 | 53.9341 | 70.1171
2019-10-28 03:00:00 | 0 | 152.257 | 10.8423 | 192.604 | 9.564 | 165.345 | 2.9167 | 336.003 | 11.67 | 966.683 | 54.2413 | 70.6935
2019-10-28 03:15:00 | 5.2013 | 160.519 | 11.6093 | 201.232 | 10.331 | 157.911 | 1.007 | 335.857 | 11.5 | 966.564 | 55.0947 | 72.6998
2019-10-28 03:30:00 | 2.648 | 164.492 | 11.865 | 211.98 | 11.6093 | 155.059 | 0.75133 | 346.581 | 11.46 | 966.542 | 55.0265 | 68.8111
2019-10-28 03:45:00 | 3.6693 | 150.356 | 10.5867 | 198.136 | 10.5867 | 155.084 | 0.75133 | 331.859 | 11.38 | 966.566 | 56.0505 | 70.4081
2019-10-28 04:00:00 | 5.4567 | 144.457 | 11.098 | 209.884 | 10.5867 | 156.4 | 1.774 | 339.829 | 11.17 | 966.581 | 56.2553 | 58.4319
2019-10-28 04:15:00 | 1.882 | 159.91 | 11.098 | 214.905 | 10.8423 | 166.393 | 0.37567 | 344.582 | 11.46 | 966.417 | 55.2995 | 60.2112
2019-10-28 04:30:00 | 12.606 | 173.607 | 9.8197 | 217.634 | 9.0527 | 179.798 | 6.7517 | 2.9247 | 12.07 | 966.58 | 54.6168 | 50.9039
2019-10-28 04:45:00 | 11.3293 | 182.625 | 8.797 | 245.59 | 9.8197 | 184.526 | 4.7063 | 7.0681 | 12.1 | 967.012 | 50.0427 | 36.0395
2019-10-28 05:00:00 | 6.9887 | 163.078 | 7.263 | 211.005 | 7.5187 | 162.591 | 2.4053 | 354.745 | 12 | 967.142 | 50.2475 | 40.6905
2019-10-28 05:15:00 | 10.5633 | 179.773 | 8.03 | 218.682 | 8.797 | 170.975 | 2.1497 | 352.308 | 12.68 | 967.129 | 52.5687 | 27.3419
2019-10-28 05:30:00 | 0 | 183.234 | 8.2857 | 233.964 | 7.263 | 190.083 | 0 | 4.2165 | 12.18 | 967.723 | 50.7254 | 19.8894
2019-10-28 05:45:00 | 0 | 193.373 | 6.7517 | 238.205 | 7.5187 | 197.029 | 0 | 14.6237 | 12.51 | 967.723 | 50.5206 | 21.0348
2019-10-28 06:00:00 | 0 | 186.403 | 6.2403 | 234.11 | 5.2177 | 193.227 | 3.428 | 27.005 | 12.64 | 968.02 | 54.4803 | 18.8991
2019-10-28 06:15:00 | 0 | 183.21 | 4.962 | 231.746 | 5.2177 | 170.366 | 5.9847 | 16.671 | 11.61 | 967.871 | 52.4322 | 13.0798
2019-10-28 06:30:00 | 0 | 182.064 | 4.195 | 214.612 | 5.729 | 164.979 | 0 | 70.7785 | 11.97 | 968.02 | 49.1551 | 9.0709
2019-10-28 06:45:00 | 0 | 202.27 | 3.6837 | 246.321 | 3.428 | 173.778 | 0 | 31.5871 | 12.13 | 968.319 | 48.8138 | 5.2836
2019-10-28 07:00:00 | 1.2547 | 221.012 | 3.428 | 242.495 | 2.9167 | 191.521 | 0 | 59.1039 | 12.4 | 968.616 | 46.0829 | 4.7405
2019-10-28 07:15:00 | 0.88267 | 207.095 | 3.9393 | 232.063 | 3.1723 | 191.546 | 0 | 62.1749 | 13.26 | 969.207 | 43.079 | 3.6616
2019-10-28 07:30:00 | 1.6267 | 244.605 | 3.6837 | 252.39 | 2.661 | 175.094 | 0 | 80.6007 | 13.46 | 969.504 | 42.6694 | 2.3167
2019-10-28 07:45:00 | 0 | 238.06 | 1.894 | 250.157 | 1.3827 | 196.482 | 0 | 55.2744 | 13.38 | 969.801 | 41.3017 | 1.3228
2019-10-28 08:00:00 | 0 | 241.223 | 1.6383 | 256.484 | 0.37567 | 180.18 | 0 | 89.5051 | 13.87 | 970.247 | 39.5218 | 0.36949
2019-10-28 08:15:00 | 0 | 263.741 | 1.894 | 302.951 | 0 | 226.168 | 0 | 98.9515 | 14.38 | 970.692 | 39.3819 | 0.44338
2019-10-28 08:30:00 | 0 | 273.515 | 2.661 | 34.4302 | 0 | 282.823 | 0 | 90.2216 | 14.5 | 971.143 | 38.3552 | 0.12562
2019-10-28 08:45:00 | 0 | 294.761 | 1.894 | 328.265 | 0 | 263.355 | 0 | 121.822 | 14.67 | 971.732 | 40.0273 | -0.070202
2019-10-28 09:00:00 | 0 | 287.848 | 0.75133 | 308.475 | 0 | 266.365 | 0 | 125.9 | 14.98 | 971.583 | 44.5517 | -0.19583
2019-10-28 09:15:00 | 0 | 320.381 | 2.9167 | 6.8648 | 2.1497 | 341.327 | 0 | 146.746 | 15.31 | 971.732 | 35.2721 | -0.18474
2019-10-28 09:30:00 | 0 | 295.781 | 3.9393 | 336.135 | 4.4507 | 287.354 | 0 | 132.376 | 15.01 | 972.114 | 36.4319 | 0.20691
2019-10-28 09:45:00 | 0 | 300.603 | 4.195 | 14.9339 | 2.1497 | 307.204 | 0 | 130.549 | 14.72 | 971.916 | 38.4786 | 0.25494
2019-10-28 10:00:00 | 0 | 315.217 | 2.9167 | 14.3909 | 2.9167 | 327.834 | 0 | 140.681 | 14.71 | 971.895 | 36.2954 | 0.092371
2019-10-28 10:15:00 | 0 | 294.612 | 2.1497 | 331.751 | 3.6837 | 287.841 | 0 | 98.0822 | 15 | 972.029 | 34.1805 | 0.67616
2019-10-28 10:30:00 | 0.88267 | 0.09741 | 3.1723 | 12.1211 | 2.1497 | 325.107 | 0 | 164.063 | 15.38 | 971.88 | 31.788 | 1.0937
2019-10-28 10:45:00 | 0 | 42.5916 | 4.195 | 79.0152 | 1.894 | 34.7259 | 0 | 217.609 | 14.91 | 971.88 | 33.8677 | 1.3338
2019-10-28 11:00:00 | 0 | 0.77926 | 4.195 | 52.1793 | 5.729 | 8.4745 | 1.007 | 181.301 | 15.56 | 971.88 | 31.7531 | 2.7933
2019-10-28 11:15:00 | 0 | 130.649 | 3.428 | 80.9638 | 6.2403 | 33.9468 | 0 | 181.52 | 14.71 | 971.287 | 33.3903 | 10.2089
2019-10-28 11:30:00 | 0 | 350.872 | 4.4507 | 43.268 | 7.0073 | 7.4519 | 0 | 176.508 | 14.92 | 971.583 | 27.7633 | 6.1593
2019-10-28 11:45:00 | 0 | 322.238 | 2.9167 | 109.022 | 4.195 | 64.8518 | 0 | 157.563 | 15.32 | 971.583 | 27.8319 | 6.902
2019-10-28 12:00:00 | 0 | 70.5965 | 5.2177 | 1.6142 | 4.4507 | 321.349 | 0 | 212.885 | 16.13 | 971.88 | 29.1269 | 8.1065
2019-10-28 12:15:00 | 0 | 23.6694 | 4.7063 | 73.1677 | 5.4733 | 0.048702 | 0 | 202.358 | 16.37 | 971.88 | 25.579 | 7.4303
2019-10-28 12:30:00 | 0 | 355.952 | 2.4053 | 29.8658 | 0.37567 | 15.5831 | 0 | 157.584 | 15.97 | 972.034 | 26.7698 | 11.3025
2019-10-28 12:45:00 | 0 | 334.661 | 4.7063 | 19.4435 | 6.2403 | 329.329 | 0 | 166.247 | 16.84 | 971.764 | 23.9386 | 16.213
2019-10-28 13:00:00 | 0 | 332.348 | 3.6837 | 4.3687 | 2.4053 | 308.39 | 0 | 158.553 | 15.91 | 971.295 | 23.4271 | 11.0919
2019-10-28 13:15:00 | 0 | 334.028 | 8.2857 | 309.962 | 5.2177 | 29.4609 | 0.63133 | 161.743 | 16.16 | 971.301 | 24.8593 | 11.5944
2019-10-28 13:30:00 | 0 | 306.904 | 3.9393 | 17.1757 | 3.1723 | 301.621 | 0 | 215.917 | 16.28 | 971.888 | 24.1091 | 10.1571
2019-10-28 13:45:00 | 0 | 1.1687 | 2.4053 | 38.24 | 4.4507 | 300.306 | 0 | 179.03 | 16.85 | 971.914 | 24.1432 | 16.1982
2019-10-28 14:00:00 | 0 | 329.962 | 3.6837 | 7.2939 | 4.195 | 331.374 | 0 | 146.306 | 17.02 | 971.882 | 22.8474 | 22.339
2019-10-28 14:15:00 | 0 | 5.8435 | 4.195 | 38.0452 | 3.9393 | 7.4261 | 0 | 159.235 | 17.06 | 972.028 | 19.0281 | 24.6446
2019-10-28 14:30:00 | 1.6267 | 326.967 | 6.7517 | 7.8261 | 2.1497 | 307.61 | 1.5183 | 125.927 | 16.91 | 972.177 | 16.1296 | 20.4473
2019-10-28 14:45:00 | 0 | 3.4574 | 5.729 | 11.7217 | 3.9393 | 304.202 | 0 | 151.955 | 17.19 | 972.222 | 16.0614 | 25.1604
2019-10-28 15:00:00 | 0 | 310.337 | 5.9847 | 16.4696 | 5.4733 | 325.774 | 0 | 135.763 | 17.04 | 972.099 | 15.8909 | 30.1352
2019-10-28 15:15:00 | 4.4353 | 295.078 | 7.263 | 336.83 | 4.7063 | 300.922 | 3.9393 | 139.722 | 17.29 | 972.176 | 14.5625 | 28.2914
2019-10-28 15:30:00 | 0 | 316.551 | 7.5187 | 10.5271 | 5.2177 | 349.962 | 0 | 141.607 | 16.96 | 972.177 | 14.8704 | 21.5262
2019-10-28 15:45:00 | 0 | 291.398 | 7.0073 | 16.5907 | 4.7063 | 298.899 | 0 | 123.246 | 17.01 | 972.473 | 15.7573 | 24.4636
2019-10-28 16:00:00 | 0 | 315.48 | 5.4733 | 13.497 | 3.428 | 311.705 | 0 | 132.032 | 16.82 | 972.028 | 15.5549 | 21.4855
2019-10-28 16:15:00 | 0 | 348.073 | 1.6383 | 38.747 | 1.3827 | 342.009 | 0 | 154.491 | 16.68 | 972.146 | 16.0327 | 9.9096
2019-10-28 16:30:00 | 0.372 | 334.239 | 4.7063 | 7.2058 | 3.6837 | 355.064 | 0 | 151.398 | 16.48 | 971.859 | 16.1692 | 9.88
2019-10-28 16:45:00 | 0 | 339.695 | 5.729 | 33.6078 | 4.962 | 1.6075 | 0 | 148.865 | 16.26 | 971.583 | 15.8622 | 5.5423
2019-10-28 17:00:00 | 0 | 341.514 | 3.1723 | 15.3669 | 2.4053 | 1.4858 | 0 | 163.901 | 16.17 | 971.583 | 15.8971 | 4.4079
2019-10-28 17:15:00 | 0 | 335.446 | 4.4507 | 30.3291 | 3.9393 | 356.884 | 1.2627 | 154.203 | 16.01 | 971.731 | 15.1486 | 5.2541
2019-10-28 17:30:00 | 0 | 336.618 | 6.2403 | 19.2023 | 4.7063 | 350.116 | 0 | 166.969 | 15.97 | 971.583 | 14.4685 | 5.7492
2019-10-28 17:45:00 | 0 | 342.564 | 5.4733 | 21.249 | 4.962 | 336.57 | 0 | 149.939 | 15.9 | 971.88 | 15.2192 | 11.5907
2019-10-28 18:00:00 | 0 | 86.2257 | 3.9393 | 48.4153 | 3.428 | 27.6536 | 0 | 169.479 | 15.47 | 971.88 | 14.605 | 13.5933
2019-10-28 18:15:00 | 0 | 5.9206 | 4.195 | 56.8942 | 3.6837 | 18.054 | 4.195 | 196.256 | 15.27 | 972.046 | 17.6762 | 11.927
2019-10-28 18:30:00 | 0 | 11.9877 | 5.2177 | 68.2993 | 3.9393 | 18.4931 | 3.428 | 189.78 | 14.9 | 972.395 | 17.0624 | 10.5746
2019-10-28 18:45:00 | 0 | 12.0379 | 4.962 | 63.1445 | 3.6837 | 24.7582 | 0 | 197.164 | 14.87 | 972.469 | 16.7915 | 12.145
2019-10-28 19:00:00 | 0 | 10.2104 | 4.7063 | 63.1456 | 3.1723 | 7.8954 | 5.2177 | 185.396 | 14.66 | 972.474 | 15.5631 | 12.2336
2019-10-28 19:15:00 | 0 | 13.7683 | 3.9393 | 65.1683 | 3.9393 | 25.7576 | 0 | 198.263 | 14.61 | 972.474 | 15.4266 | 9.4588
2019-10-28 19:30:00 | 0 | 8.5289 | 4.4507 | 59.2214 | 2.9167 | 21.4198 | 5.9847 | 187.685 | 14.55 | 972.474 | 14.4026 | 10.2901
2019-10-28 19:45:00 | 0 | 2.9973 | 4.962 | 57.4182 | 3.6837 | 1.8276 | 1.5183 | 177.45 | 14.54 | 972.771 | 14.8121 | 10.8185
2019-10-28 20:00:00 | 0 | 9.991 | 7.5187 | 59.6354 | 4.4507 | 8.9675 | 0.37567 | 184.857 | 14.6 | 972.771 | 14.1977 | 12.1782
2019-10-28 20:15:00 | 0 | 12.7199 | 6.7517 | 60.5347 | 4.4507 | 23.2954 | 0 | 199.375 | 14.25 | 972.622 | 14.4704 | 12.9172
2019-10-28 20:30:00 | 0 | 11.7453 | 5.9847 | 65.0928 | 3.428 | 17.8861 | 0 | 196.454 | 13.86 | 972.919 | 15.2897 | 10.7446
2019-10-28 20:45:00 | 0 | 17.2524 | 4.7063 | 62.7041 | 4.7063 | 26.902 | 0 | 198.012 | 13.97 | 973.068 | 15.6991 | 8.8565
2019-10-28 21:00:00 | 0 | 25.9284 | 4.195 | 73.576 | 3.6837 | 23.0041 | 0 | 205.575 | 13.67 | 973.068 | 15.3243 | 6.647
2019-10-28 21:15:00 | 0 | 17.1078 | 4.962 | 70.9978 | 3.1723 | 34.6055 | 0 | 201.638 | 13.35 | 973.068 | 14.779 | 7.8183
2019-10-28 21:30:00 | 4.574 | 20.5705 | 6.496 | 73.3474 | 5.4733 | 32.0013 | 3.428 | 200.222 | 13.33 | 973.068 | 15.1561 | 7.7111
2019-10-28 21:45:00 | 0 | 9.0667 | 7.0073 | 65.1097 | 3.6837 | 20.8387 | 0.37567 | 193.032 | 13.43 | 973.365 | 13.4153 | 8.3873
2019-10-28 22:00:00 | 0 | 24.9577 | 3.6837 | 69.448 | 2.661 | 17.7434 | 0 | 194.153 | 13.19 | 973.662 | 14.0638 | 8.1471
2019-10-28 22:15:00 | 0 | 21.8867 | 6.2403 | 72.2265 | 4.7063 | 21.1068 | 1.774 | 208.728 | 12.98 | 973.513 | 14.2686 | 7.5929
2019-10-28 22:30:00 | 0 | 29.4423 | 3.9393 | 85.0466 | 2.661 | 52.6939 | 2.541 | 215.87 | 12.79 | 973.662 | 13.4494 | 2.712
2019-10-28 22:45:00 | 0 | 15.891 | 5.729 | 72.6165 | 3.9393 | 12.0401 | 0 | 207.095 | 12.98 | 973.662 | 12.5619 | 3.0704
2019-10-28 23:00:00 | 0 | 7.3849 | 4.195 | 68.9118 | 3.1723 | 28.4674 | 0 | 197.346 | 12.85 | 973.81 | 12.6984 | 2.9448
2019-10-28 23:15:00 | 0 | 21.9599 | 3.6837 | 73.1039 | 2.661 | 24.714 | 0 | 203.439 | 12.94 | 973.662 | 12.4253 | 1.611
2019-10-28 23:30:00 | 0 | 8.3111 | 3.9393 | 64.1835 | 2.4053 | 13.6487 | 0 | 195.031 | 12.93 | 973.662 | 11.9133 | 1.6516
2019-10-28 23:45:00 | 0 | 30.0272 | 2.4053 | 80.2939 | 1.894 | 38.9964 | 0 | 205.95 | 12.85 | 973.686 | 11.8109 | -0.47294