## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-29 00:00:00 | 0 | 5.167 | 2.661 | 56.3111 | 1.894 | 3.7047 | 0 | 195.055 | 12.91 | 973.662 | 11.8109 | -0.33623
2019-10-29 00:15:00 | 0 | 1.4624 | 0.75133 | 53.8495 | 0 | 0.14624 | 0 | 185.282 | 12.83 | 973.707 | 12.1522 | -0.24016
2019-10-29 00:30:00 | 0.372 | 353.454 | 2.4053 | 37.6172 | 2.4053 | 341.852 | 0.75133 | 188.036 | 12.59 | 973.7 | 12.5619 | -0.24016
2019-10-29 00:45:00 | 0 | 11.6989 | 0.75133 | 23.9685 | 0 | 321.404 | 0 | 197.956 | 12.51 | 973.924 | 13.3129 | -0.24016
2019-10-29 01:00:00 | 0 | 42.6036 | 1.6383 | 26.0158 | 0.75133 | 15.9642 | 0 | 221.232 | 12.23 | 973.698 | 13.347 | -0.24016
2019-10-29 01:15:00 | 0 | 50.6014 | 0 | 25.9946 | 0 | 292.177 | 0 | 219.955 | 12.41 | 973.706 | 13.3138 | -0.24016
2019-10-29 01:30:00 | 0 | 7.2157 | 0.75133 | 89.6979 | 0 | 47.7795 | 0 | 192.825 | 12.27 | 973.798 | 12.8032 | -0.24016
2019-10-29 01:45:00 | 0 | 7.8006 | 0 | 89.6962 | 0 | 47.73 | 0 | 192.87 | 12.57 | 973.953 | 12.2567 | -0.24016
2019-10-29 02:00:00 | 0 | 7.8007 | 0 | 89.6965 | 0 | 47.7789 | 0 | 192.846 | 12.67 | 973.959 | 12.3592 | -0.24016
2019-10-29 02:15:00 | 0 | 7.8009 | 1.127 | 89.7008 | 0 | 47.732 | 0 | 192.854 | 12.51 | 973.959 | 12.428 | -0.24016
2019-10-29 02:30:00 | 0 | 7.9961 | 0 | 89.7012 | 0 | 47.781 | 0 | 193.025 | 12.89 | 973.959 | 11.2672 | -0.24016
2019-10-29 02:45:00 | 0 | 7.9966 | 0 | 89.71 | 0 | 47.7848 | 0 | 193.041 | 12.74 | 973.959 | 11.2681 | -0.24016
2019-10-29 03:00:00 | 0 | 7.9966 | 0 | 89.7101 | 0 | 75.383 | 0 | 193.041 | 12.65 | 973.662 | 11.8144 | -0.24016
2019-10-29 03:15:00 | 0 | 7.9966 | 0 | 89.7103 | 0 | 75.3832 | 0 | 193.041 | 12.45 | 973.662 | 11.6778 | -0.24016
2019-10-29 03:30:00 | 0 | 7.997 | 0 | 89.7147 | 0 | 75.3619 | 0 | 193.049 | 12.45 | 973.662 | 11.2003 | -0.24016
2019-10-29 03:45:00 | 0 | 7.997 | 0 | 89.7147 | 0 | 75.3375 | 0 | 193.049 | 12.54 | 973.662 | 11.132 | -0.24016
2019-10-29 04:00:00 | 0 | 7.997 | 0 | 89.7148 | 0 | 75.3375 | 0 | 193.049 | 12.65 | 973.959 | 11.132 | -0.24016
2019-10-29 04:15:00 | 0 | 7.997 | 0 | 89.7148 | 0 | 75.3375 | 0 | 193.049 | 12.65 | 973.811 | 11.0978 | -0.24016
2019-10-29 04:30:00 | 0 | 7.997 | 0 | 89.7148 | 0 | 74.8011 | 0 | 193.049 | 12.68 | 973.959 | 11.1661 | -0.24016
2019-10-29 04:45:00 | 0 | 7.997 | 0 | 89.7148 | 0 | 74.8011 | 0 | 193.049 | 12.63 | 974.256 | 11.2003 | -0.24016
2019-10-29 05:00:00 | 0 | 7.9968 | 0 | 89.7114 | 0 | 74.7988 | 0 | 193.043 | 12.61 | 974.256 | 11.3364 | -0.24016
2019-10-29 05:15:00 | 0 | 7.9966 | 0 | 89.7093 | 0 | 74.8218 | 0 | 193.04 | 12.39 | 973.959 | 11.6777 | -0.24016
2019-10-29 05:30:00 | 0 | 8.0945 | 0.37567 | 89.7145 | 0 | 74.8254 | 0 | 193.049 | 11.85 | 973.959 | 11.5759 | -0.24016
2019-10-29 05:45:00 | 0 | 117.712 | 1.127 | 103.71 | 0 | 75.0937 | 0 | 194.025 | 12.42 | 973.959 | 11.2686 | -0.24016
2019-10-29 06:00:00 | 0 | 150.066 | 1.127 | 171.416 | 0 | 126.587 | 0 | 324.244 | 12.57 | 973.959 | 11.0637 | -0.24016
2019-10-29 06:15:00 | 0 | 150.111 | 1.127 | 188.454 | 0 | 126.584 | 0 | 324.237 | 12.64 | 974.256 | 11.1317 | -0.24016
2019-10-29 06:30:00 | 0 | 168.094 | 1.894 | 212.87 | 0.75133 | 147.445 | 0 | 337.749 | 12.45 | 974.256 | 11.1994 | -0.24016
2019-10-29 06:45:00 | 5.4567 | 172.737 | 2.1497 | 214.168 | 1.3827 | 171.957 | 0 | 345.28 | 12.39 | 974.553 | 11.4034 | -0.24016
2019-10-29 07:00:00 | 0 | 172.734 | 1.894 | 214.822 | 1.3827 | 169.858 | 0 | 345.274 | 12.73 | 974.661 | 11.9494 | -0.27342
2019-10-29 07:15:00 | 0 | 173.973 | 1.894 | 222.997 | 1.127 | 171.707 | 0 | 350.311 | 13.01 | 975.186 | 11.2306 | 0.048033
2019-10-29 07:30:00 | 0 | 170.512 | 2.4053 | 216.66 | 2.1497 | 160.714 | 0 | 354.234 | 13.13 | 975.444 | 11.4695 | 0.070202
2019-10-29 07:45:00 | 0 | 173.453 | 3.1723 | 211.547 | 2.4053 | 145.625 | 0 | 355.095 | 12.52 | 976.038 | 12.0818 | 0.19213
2019-10-29 08:00:00 | 0 | 172.138 | 3.1723 | 211.125 | 1.894 | 146.774 | 0 | 355.678 | 12.81 | 976.377 | 12.1483 | 0.45077
2019-10-29 08:15:00 | 0 | 169.333 | 3.1723 | 208.441 | 2.4053 | 152.375 | 0 | 355.624 | 13.1 | 976.482 | 13.0353 | 0.55053
2019-10-29 08:30:00 | 0 | 173.789 | 3.6837 | 210.614 | 3.1723 | 153.889 | 0 | 355.177 | 13.17 | 976.927 | 13.5773 | 0.58009
2019-10-29 08:45:00 | 0 | 165.671 | 3.428 | 220.688 | 2.661 | 163.332 | 0 | 356.501 | 13.49 | 977.224 | 14.0543 | 0.52467
2019-10-29 09:00:00 | 0 | 180.211 | 3.6837 | 211.237 | 3.1723 | 154.856 | 0 | 1.778 | 13.7 | 977.947 | 14.6 | 0.33993
2019-10-29 09:15:00 | 0 | 193.777 | 2.9167 | 240.611 | 2.661 | 186.227 | 0 | 4.4815 | 13.98 | 977.557 | 13.986 | 0.27711
2019-10-29 09:30:00 | 0 | 182.613 | 2.661 | 233.34 | 2.4053 | 189.53 | 0 | 4.2865 | 14.85 | 977.816 | 13.576 | 0.67985
2019-10-29 09:45:00 | 0 | 180.782 | 4.962 | 205.399 | 4.7063 | 167.022 | 0.37567 | 0.63321 | 14.89 | 977.816 | 12.7911 | 0.36949
2019-10-29 10:00:00 | 0 | 200.783 | 4.7063 | 240.763 | 5.4733 | 186.781 | 0 | 15.3175 | 15.11 | 977.667 | 11.6986 | 0.51728
2019-10-29 10:15:00 | 0 | 169.711 | 5.2177 | 235.553 | 4.962 | 183.519 | 0.63133 | 0.19482 | 15.05 | 977.816 | 11.9374 | 0.74266
2019-10-29 10:30:00 | 0 | 178.135 | 4.4507 | 212.732 | 4.962 | 164.327 | 0 | 8.0849 | 15.1 | 977.667 | 11.6985 | 0.040643
2019-10-29 10:45:00 | 0 | 192.113 | 4.195 | 221.182 | 1.6383 | 186.512 | 0 | 6.3315 | 15.39 | 977.816 | 13.3697 | 0.1404
2019-10-29 11:00:00 | 0 | 200.052 | 4.962 | 240.104 | 4.4507 | 191.674 | 0 | 21.0158 | 15.71 | 977.816 | 13.779 | 0.84981
2019-10-29 11:15:00 | 0 | 197.957 | 3.1723 | 234.283 | 3.428 | 192.551 | 0 | 26.0079 | 15.4 | 977.816 | 13.2333 | 0.87937
2019-10-29 11:30:00 | 0 | 199.44 | 3.9393 | 249.086 | 4.195 | 191.112 | 0 | 0.19481 | 15.68 | 977.964 | 12.6533 | 0.91263
2019-10-29 11:45:00 | 0 | 203.175 | 3.6837 | 250.599 | 3.9393 | 182.161 | 0 | 21.0139 | 16.14 | 977.816 | 14.2211 | 0.58379
2019-10-29 12:00:00 | 0 | 174.725 | 3.9393 | 227.527 | 3.9393 | 175.187 | 0 | 3.6279 | 16.36 | 977.789 | 13.777 | 0.15518
2019-10-29 12:15:00 | 0 | 124.612 | 1.007 | 203.976 | 1.6383 | 235.224 | 0 | 311.409 | 16.95 | 977.618 | 13.1628 | -0.22908
2019-10-29 12:30:00 | 0 | 177.009 | 4.7063 | 228.08 | 5.2177 | 177.569 | 0 | 356.793 | 17.05 | 977.517 | 15.1407 | 0.15149
2019-10-29 12:45:00 | 0 | 130.383 | 2.9167 | 192.167 | 4.195 | 135.35 | 0 | 327.576 | 16.64 | 977.665 | 15.2089 | 1.1491
2019-10-29 13:00:00 | 0 | 193.784 | 4.195 | 252.525 | 3.6837 | 198.824 | 5.4733 | 0.21913 | 16.33 | 977.813 | 16.1296 | 0.97544
2019-10-29 13:15:00 | 0 | 197.217 | 2.661 | 268.522 | 3.6837 | 203.061 | 0 | 0.24348 | 16.47 | 977.541 | 16.3683 | 0.16257
2019-10-29 13:30:00 | 0 | 105.718 | 4.4507 | 170.984 | 3.428 | 156.41 | 0 | 310.484 | 16.88 | 977.86 | 17.0503 | 0.16627
2019-10-29 13:45:00 | 0 | 153.343 | 4.195 | 202.71 | 4.7063 | 156.557 | 0 | 328.014 | 16.77 | 977.573 | 15.8909 | -0.25864
2019-10-29 14:00:00 | 0 | 152.685 | 2.661 | 228.445 | 2.4053 | 201.746 | 0 | 2.5809 | 17.17 | 977.817 | 15.6181 | -0.28081
2019-10-29 14:15:00 | 1.6487 | 162.205 | 3.6837 | 205.753 | 3.1723 | 154.122 | 0 | 0.19478 | 17.48 | 977.517 | 15.584 | -0.21061
2019-10-29 14:30:00 | 0.88267 | 202.574 | 2.4053 | 239.986 | 3.6837 | 177.398 | 0 | 14.2191 | 17.49 | 977.517 | 15.8227 | -0.16627
2019-10-29 14:45:00 | 0 | 204.692 | 3.1723 | 227.179 | 2.661 | 169.169 | 0 | 20.647 | 17.54 | 977.52 | 15.4476 | -0.029559
2019-10-29 15:00:00 | 0 | 152.101 | 3.1723 | 200.713 | 3.6837 | 139.123 | 0 | 348.856 | 17.57 | 977.517 | 15.7886 | -0.11454
2019-10-29 15:15:00 | 0.372 | 153.684 | 2.9167 | 205.583 | 3.428 | 161.962 | 0 | 336.243 | 17.42 | 977.667 | 15.4476 | -0.20322
2019-10-29 15:30:00 | 0 | 131.673 | 2.4053 | 183.499 | 2.4053 | 107.228 | 0 | 327.965 | 17.49 | 977.964 | 15.8227 | -0.27711
2019-10-29 15:45:00 | 0 | 135.666 | 4.7063 | 185.35 | 4.4507 | 133.597 | 0 | 320.442 | 17.45 | 977.813 | 15.7545 | -0.25494
2019-10-29 16:00:00 | 0 | 150.957 | 4.195 | 193.19 | 3.9393 | 153.123 | 0 | 349.976 | 17.21 | 977.54 | 16.3001 | 0.036949
2019-10-29 16:15:00 | 0 | 150.157 | 3.6837 | 204.736 | 3.428 | 160.456 | 0 | 327 | 17.09 | 977.27 | 16.6415 | 0.081287
2019-10-29 16:30:00 | 0 | 153.997 | 4.195 | 211.774 | 4.195 | 161.618 | 0 | 337.409 | 17.09 | 977.221 | 16.9503 | 0.41013
2019-10-29 16:45:00 | 0 | 163.183 | 3.1723 | 207.155 | 3.428 | 163.329 | 0 | 348.087 | 17.04 | 976.331 | 18.0082 | 0.25125
2019-10-29 17:00:00 | 0 | 166.179 | 4.195 | 198.129 | 4.195 | 136.294 | 0 | 355.276 | 16.53 | 976.058 | 19.0343 | 1.5703
2019-10-29 17:15:00 | 0.62733 | 178.092 | 3.428 | 225.071 | 2.9167 | 163.43 | 0 | 1.2665 | 16.5 | 975.731 | 17.5337 | 3.8242
2019-10-29 17:30:00 | 0 | 177.077 | 4.7063 | 205.474 | 3.428 | 176.638 | 1.3827 | 3.2151 | 16.24 | 975.591 | 18.1485 | 6.3921
2019-10-29 17:45:00 | 0 | 169.879 | 4.195 | 207.934 | 4.195 | 163.228 | 0 | 348.431 | 16.2 | 975.442 | 17.4699 | 7.4266
2019-10-29 18:00:00 | 0 | 164.265 | 5.729 | 219.673 | 4.7063 | 164.582 | 5.4733 | 354.697 | 16.31 | 975.294 | 16.9937 | 8.5942
2019-10-29 18:15:00 | 0 | 160.05 | 4.962 | 207.832 | 4.962 | 162.024 | 4.195 | 351.92 | 16.33 | 975.294 | 16.7548 | 9.9946
2019-10-29 18:30:00 | 0 | 168.724 | 5.9847 | 216.506 | 5.2177 | 171.818 | 4.4507 | 332.599 | 16.26 | 975.442 | 17.3349 | 11.3395
2019-10-29 18:45:00 | 0 | 151.547 | 5.729 | 206.979 | 5.4733 | 159.953 | 5.2177 | 341.882 | 16.06 | 975.442 | 18.6316 | 14.4321
2019-10-29 19:00:00 | 0 | 169.869 | 5.2177 | 209.464 | 4.962 | 168.553 | 5.729 | 343.1 | 15.64 | 975.442 | 18.4951 | 16.6601
2019-10-29 19:15:00 | 0 | 159.879 | 5.2177 | 197.989 | 5.4733 | 139.584 | 2.0297 | 343.344 | 15.85 | 975.482 | 17.6762 | 19.2058
2019-10-29 19:30:00 | 0 | 159.295 | 6.7517 | 202.155 | 6.2403 | 157.419 | 0.37567 | 348.07 | 15.6 | 975.888 | 17.7444 | 20.0593
2019-10-29 19:45:00 | 7.244 | 166.338 | 6.2403 | 220.577 | 5.2177 | 158.127 | 1.6383 | 341.861 | 15.58 | 976 | 18.1541 | 24.0719
2019-10-29 20:00:00 | 5.4567 | 154.841 | 7.7743 | 205.111 | 6.7517 | 147.215 | 4.075 | 343.843 | 15.49 | 975.728 | 18.0863 | 27.1091
2019-10-29 20:15:00 | 0 | 159.739 | 4.195 | 206.159 | 3.6837 | 173.53 | 0.37567 | 341.333 | 15.5 | 976.007 | 18.6323 | 30.7707
2019-10-29 20:30:00 | 2.276 | 161.43 | 9.8197 | 206.465 | 9.3083 | 148.443 | 1.5183 | 344.888 | 15.2 | 975.42 | 18.6334 | 34.8313
2019-10-29 20:45:00 | 1.3713 | 156.877 | 7.5187 | 206.519 | 7.5187 | 144.328 | 4.4507 | 344.7 | 15.14 | 975.443 | 18.9069 | 34.1958
2019-10-29 21:00:00 | 7.244 | 152.807 | 8.2857 | 197.527 | 6.7517 | 171.935 | 0.37567 | 338.193 | 15.04 | 975.74 | 18.9751 | 36.9448
2019-10-29 21:15:00 | 1.51 | 163.262 | 4.962 | 202.378 | 4.962 | 152.272 | 5.2177 | 342.412 | 15.14 | 975.74 | 19.5895 | 38.3673
2019-10-29 21:30:00 | 7.4993 | 151.109 | 7.263 | 204.385 | 6.2403 | 156.885 | 4.4507 | 335.652 | 15.01 | 975.74 | 20.0682 | 38.0347
2019-10-29 21:45:00 | 4.18 | 148.356 | 8.2857 | 197.514 | 7.263 | 158.688 | 0.37567 | 332.875 | 14.7 | 975.443 | 19.9317 | 38.3451
2019-10-29 22:00:00 | 1.2547 | 144.359 | 7.7743 | 195.101 | 7.0073 | 167.485 | 0 | 329.536 | 14.95 | 975.74 | 19.7952 | 40.5435
2019-10-29 22:15:00 | 0.744 | 153.423 | 7.5187 | 201.996 | 7.0073 | 160.588 | 4.7063 | 332.068 | 14.74 | 975.74 | 20.2729 | 43.9243
2019-10-29 22:30:00 | 5.9673 | 142.922 | 5.2177 | 194.127 | 7.0073 | 176.599 | 2.541 | 329.415 | 14.54 | 975.443 | 20.4096 | 46.7841
2019-10-29 22:45:00 | 10.0527 | 133.223 | 6.7517 | 205.921 | 6.7517 | 184.032 | 5.729 | 307.873 | 14.67 | 975.295 | 20.8874 | 50.1945
2019-10-29 23:00:00 | 8.01 | 148.941 | 7.5187 | 215.644 | 9.0527 | 157.494 | 2.1497 | 337.359 | 14.58 | 975.295 | 21.4676 | 50.9002
2019-10-29 23:15:00 | 1.3713 | 128.493 | 7.263 | 211.058 | 4.4507 | 151.691 | 0.37567 | 322.951 | 14.44 | 975.295 | 21.706 | 50.8374
2019-10-29 23:30:00 | 0 | 154.887 | 8.797 | 205.41 | 8.2857 | 162.002 | 2.661 | 333.972 | 14.45 | 975.146 | 21.9113 | 53.1282
2019-10-29 23:45:00 | 3.9247 | 162.853 | 9.8197 | 194.708 | 7.0073 | 173.112 | 0.37567 | 334.185 | 14.41 | 975.146 | 21.5014 | 49.9469