## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-30 00:00:00 | 0 | 159.053 | 7.263 | 212.184 | 6.496 | 161.32 | 1.774 | 331.583 | 14.54 | 975.295 | 21.7064 | 53.4644
2019-10-30 00:15:00 | 4.18 | 159.297 | 8.5413 | 213.182 | 8.03 | 170.238 | 0 | 339.112 | 14.36 | 974.85 | 22.4572 | 55.8735
2019-10-30 00:30:00 | 0.372 | 197.432 | 10.0753 | 225.218 | 10.0753 | 181.422 | 2.1497 | 322.88 | 14.17 | 974.553 | 22.8666 | 62.2508
2019-10-30 00:45:00 | 1.6267 | 150.447 | 9.0527 | 216.026 | 7.7743 | 172.402 | 0 | 334.301 | 14.07 | 974.85 | 23.0367 | 61.6005
2019-10-30 01:00:00 | 0.99933 | 152.957 | 7.5187 | 200.627 | 11.098 | 163.265 | 0 | 335.546 | 13.96 | 974.553 | 23.6171 | 63.4996
2019-10-30 01:15:00 | 9.2867 | 160.999 | 9.8197 | 211.35 | 10.0753 | 152.665 | 6.7517 | 346.001 | 13.93 | 974.998 | 23.6172 | 63.9504
2019-10-30 01:30:00 | 10.0527 | 163.411 | 5.4733 | 220.463 | 7.7743 | 184.343 | 3.6837 | 349.875 | 13.99 | 974.701 | 24.0949 | 67.6822
2019-10-30 01:45:00 | 3.1587 | 159.66 | 9.3083 | 201.092 | 7.7743 | 160.367 | 0.37567 | 341.496 | 13.81 | 974.701 | 24.846 | 66.5442
2019-10-30 02:00:00 | 7.244 | 161.635 | 11.865 | 206.894 | 11.865 | 146.6 | 1.5183 | 348.735 | 13.83 | 974.404 | 25.6653 | 67.1501
2019-10-30 02:15:00 | 3.414 | 163.826 | 11.098 | 224.898 | 11.865 | 172.208 | 1.007 | 347.219 | 13.78 | 974.256 | 26.8252 | 69.8457
2019-10-30 02:30:00 | 2.1373 | 158.396 | 9.0527 | 201.998 | 9.0527 | 179.207 | 0 | 342.452 | 13.62 | 974.256 | 26.4846 | 71.159
2019-10-30 02:45:00 | 0 | 161.736 | 9.564 | 210.383 | 9.3083 | 159.421 | 0 | 346.524 | 13.43 | 974.404 | 27.0992 | 66.9395
2019-10-30 03:00:00 | 2.9033 | 141.173 | 9.564 | 196.085 | 8.797 | 150.604 | 0 | 333.839 | 13.52 | 974.256 | 27.5096 | 65.3708
2019-10-30 03:15:00 | 4.4353 | 150.388 | 9.3083 | 209.25 | 8.03 | 163.572 | 0 | 334.626 | 13.38 | 973.959 | 28.3294 | 68.4819
2019-10-30 03:30:00 | 0.744 | 154.659 | 9.3083 | 206.871 | 9.564 | 165.139 | 0 | 333.422 | 13.31 | 974.256 | 28.945 | 70.3174
2019-10-30 03:45:00 | 0.372 | 160.343 | 10.331 | 195.497 | 10.331 | 147.621 | 0 | 341.743 | 13.21 | 973.959 | 29.7652 | 67.5935
2019-10-30 04:00:00 | 1.2547 | 144.7 | 8.797 | 202.083 | 8.03 | 171.973 | 0 | 339.145 | 13.08 | 974.256 | 30.2439 | 69.4098
2019-10-30 04:15:00 | 0.744 | 150.94 | 9.564 | 198.623 | 7.263 | 158.008 | 0 | 332.321 | 12.99 | 974.404 | 31.8825 | 73.3796
2019-10-30 04:30:00 | 0.62733 | 154.913 | 8.5413 | 205.838 | 8.5413 | 158.74 | 0 | 336.832 | 12.91 | 973.959 | 32.5653 | 72.6739
2019-10-30 04:45:00 | 3.1587 | 160.129 | 8.5413 | 212.126 | 9.564 | 136.707 | 0 | 329.349 | 12.83 | 973.81 | 33.1115 | 75.8219
2019-10-30 05:00:00 | 4.18 | 160.885 | 9.8197 | 205.424 | 9.0527 | 155.961 | 5.2177 | 325.913 | 12.77 | 973.662 | 34.0672 | 72.031
2019-10-30 05:15:00 | 0.372 | 155.352 | 8.797 | 212.711 | 9.3083 | 151.745 | 2.661 | 343.095 | 12.87 | 973.959 | 34.6817 | 69.2747
2019-10-30 05:30:00 | 5.2013 | 162.542 | 10.0753 | 209.567 | 10.8423 | 156.229 | 3.428 | 344.826 | 12.86 | 973.662 | 34.9548 | 71.6172
2019-10-30 05:45:00 | 4.4353 | 148.747 | 10.5867 | 199.525 | 9.564 | 170.341 | 3.1723 | 334.662 | 12.73 | 973.662 | 35.5692 | 71.6689
2019-10-30 06:00:00 | 3.1587 | 150.185 | 10.0753 | 200.5 | 6.496 | 162.347 | 1.2627 | 329.861 | 12.72 | 973.959 | 35.5692 | 69.7365
2019-10-30 06:15:00 | 3.2973 | 154.255 | 10.331 | 202.67 | 10.0753 | 164.029 | 1.007 | 339.927 | 12.53 | 973.662 | 36.0471 | 72.5799
2019-10-30 06:30:00 | 3.6693 | 155.888 | 11.865 | 204.449 | 10.0753 | 153.67 | 3.9393 | 341.682 | 12.45 | 973.662 | 37.4125 | 73.112
2019-10-30 06:45:00 | 3.1587 | 153.987 | 10.8423 | 199.038 | 11.098 | 151.769 | 1.894 | 338.757 | 12.45 | 973.81 | 37.6856 | 73.7808
2019-10-30 07:00:00 | 5.2013 | 153.963 | 9.564 | 201.768 | 10.8423 | 147.09 | 2.1497 | 329.032 | 12.32 | 974.107 | 38.3683 | 74.477
2019-10-30 07:15:00 | 1.6267 | 149.259 | 9.3083 | 204.985 | 8.03 | 152.257 | 1.6383 | 331.348 | 12.45 | 974.553 | 38.5731 | 69.5481
2019-10-30 07:30:00 | 5.9673 | 148.844 | 10.331 | 196.211 | 9.0527 | 158.618 | 3.1723 | 335.71 | 12.65 | 974.553 | 38.6414 | 74.477
2019-10-30 07:45:00 | 4.6907 | 152.684 | 11.098 | 203.847 | 11.6093 | 157.826 | 3.428 | 339.658 | 12.7 | 974.85 | 38.1607 | 74.1482
2019-10-30 08:00:00 | 3.1587 | 148.986 | 12.3763 | 198.142 | 12.1207 | 147.962 | 2.4053 | 335.108 | 12.83 | 974.85 | 37.8829 | 70.5531
2019-10-30 08:15:00 | 4.4353 | 166.096 | 8.2857 | 202.753 | 10.331 | 134.758 | 1.3827 | 331.047 | 13.04 | 975.443 | 37.8839 | 72.6131
2019-10-30 08:30:00 | 4.4353 | 142.674 | 9.8197 | 217.368 | 9.3083 | 173.938 | 0.887 | 326.676 | 13.13 | 975.592 | 37.3368 | 74.9721
2019-10-30 08:45:00 | 4.946 | 137.342 | 11.865 | 198.695 | 8.5413 | 161.073 | 2.661 | 328.847 | 13.41 | 975.825 | 37.468 | 70.9521
2019-10-30 09:00:00 | 5.9673 | 160.684 | 10.5867 | 208.685 | 8.797 | 159.441 | 0.37567 | 342.978 | 13.63 | 975.888 | 36.5126 | 74.3735
2019-10-30 09:15:00 | 4.946 | 158.052 | 11.098 | 203.3 | 9.0527 | 163.437 | 4.4507 | 339.299 | 13.86 | 975.888 | 36.3078 | 73.073
2019-10-30 09:30:00 | 5.4567 | 154.115 | 12.1207 | 199.479 | 13.9103 | 146.076 | 1.894 | 337.562 | 14.09 | 975.739 | 36.3726 | 72.8734
2019-10-30 09:45:00 | 5.2013 | 157.008 | 12.632 | 210.689 | 11.865 | 166.045 | 1.007 | 333.575 | 14.36 | 976.036 | 36.4338 | 72.6792
2019-10-30 10:00:00 | 5.2013 | 164.094 | 14.166 | 205.059 | 14.166 | 154.424 | 3.428 | 342.339 | 14.81 | 975.888 | 34.557 | 66.9839
2019-10-30 10:15:00 | 6.7333 | 155.295 | 9.3083 | 193.141 | 12.1207 | 158.632 | 3.1723 | 345.419 | 15.45 | 976.036 | 33.9758 | 66.9231
2019-10-30 10:30:00 | 5.712 | 162.188 | 11.865 | 191.996 | 11.6093 | 141.728 | 1.127 | 335.555 | 15.7 | 976.303 | 34.7263 | 57.9515
2019-10-30 10:45:00 | 6.7333 | 151.52 | 9.8197 | 190.778 | 8.797 | 144.773 | 2.7967 | 350.266 | 16.27 | 976.644 | 31.2468 | 44.3751
2019-10-30 11:00:00 | 7.7547 | 186.008 | 8.5413 | 229.456 | 8.5413 | 191.05 | 0.37567 | 9.8642 | 16.42 | 976.631 | 32.7819 | 45.3317
2019-10-30 11:15:00 | 3.9247 | 133.576 | 7.7743 | 211.329 | 9.564 | 179.847 | 2.9167 | 349.88 | 16.49 | 976.48 | 33.3575 | 45.5094
2019-10-30 11:30:00 | 3.9247 | 163.67 | 9.564 | 219.6 | 11.6093 | 147.257 | 4.962 | 341.221 | 16.74 | 976.183 | 34.8568 | 36.1873
2019-10-30 11:45:00 | 0.372 | 166.251 | 6.2403 | 222.4 | 7.7743 | 184.515 | 2.541 | 355.904 | 17.68 | 976.925 | 33.2879 | 32.4666
2019-10-30 12:00:00 | 14.904 | 145.917 | 8.5413 | 202.114 | 8.797 | 164.084 | 3.428 | 341.731 | 17.8 | 976.183 | 34.4816 | 31.9161
2019-10-30 12:15:00 | 6.9887 | 157.106 | 8.03 | 199.49 | 9.3083 | 145.418 | 3.9393 | 87.2701 | 17.94 | 976.13 | 34.1717 | 25.4021
2019-10-30 12:30:00 | 6.2227 | 150.544 | 9.0527 | 205.219 | 9.3083 | 157.872 | 2.2853 | 338.656 | 18.09 | 975.965 | 34.6805 | 27.933
2019-10-30 12:45:00 | 2.276 | 145.259 | 8.5413 | 197.134 | 9.0527 | 147.231 | 0.63133 | 325.896 | 18.71 | 975.771 | 34.6462 | 23.9611
2019-10-30 13:00:00 | 1.6267 | 205.009 | 7.7743 | 250.553 | 8.03 | 187.04 | 0 | 26.2713 | 18.93 | 976.184 | 34.1347 | 17.4914
2019-10-30 13:15:00 | 0 | 141.826 | 6.7517 | 193.53 | 5.9847 | 147.67 | 2.2853 | 325.117 | 19.41 | 976.182 | 33.9642 | 21.7072
2019-10-30 13:30:00 | 0 | 135.927 | 6.496 | 191.742 | 3.6837 | 160.395 | 0 | 321.375 | 19.26 | 976.33 | 33.6896 | 21.6407
2019-10-30 13:45:00 | 2.1373 | 154.716 | 5.9847 | 199.378 | 7.0073 | 166.11 | 1.007 | 346.706 | 19.88 | 976.182 | 33.3815 | 20.4694
2019-10-30 14:00:00 | 5.9673 | 149.032 | 7.5187 | 201.747 | 7.0073 | 147.133 | 1.2627 | 335.115 | 20.03 | 976.033 | 33.7539 | 16.4347
2019-10-30 14:15:00 | 0 | 167.996 | 8.2857 | 195.563 | 6.7517 | 144.163 | 0 | 348.334 | 20.47 | 976.33 | 32.7992 | 19.5605
2019-10-30 14:30:00 | 0 | 181.263 | 6.7517 | 237.873 | 8.03 | 199.569 | 0.63133 | 11.2468 | 20.36 | 976.033 | 32.3219 | 17.1182
2019-10-30 14:45:00 | 0 | 147.255 | 8.5413 | 197.973 | 7.0073 | 167.411 | 0 | 350.086 | 20.4 | 976.033 | 33.8902 | 19.2021
2019-10-30 15:00:00 | 0 | 153.682 | 6.7517 | 191.985 | 6.7517 | 152.83 | 2.1497 | 352.691 | 20.15 | 976.182 | 33.7879 | 16.5972
2019-10-30 15:15:00 | 0 | 140.388 | 7.7743 | 190.132 | 6.7517 | 165.754 | 1.2627 | 328.124 | 20.36 | 976.33 | 34.5376 | 18.5075
2019-10-30 15:30:00 | 2.276 | 151.904 | 7.0073 | 197.145 | 7.7743 | 142.946 | 0 | 329.711 | 20.17 | 976.182 | 34.5721 | 16.1871
2019-10-30 15:45:00 | 0 | 156.262 | 5.9847 | 214.795 | 5.9847 | 175.859 | 3.428 | 329.857 | 20.16 | 976.182 | 33.9584 | 18.319
2019-10-30 16:00:00 | 0 | 199.35 | 4.7063 | 224.021 | 4.4507 | 195.772 | 0 | 22.5422 | 20.11 | 976.033 | 34.6403 | 15.2228
2019-10-30 16:15:00 | 0.62733 | 140.512 | 6.496 | 199.167 | 6.496 | 164.198 | 3.428 | 328.835 | 19.99 | 975.588 | 35.5268 | 15.3521
2019-10-30 16:30:00 | 0 | 157.628 | 5.729 | 196.793 | 5.2177 | 166.782 | 1.1427 | 338.434 | 19.87 | 975.44 | 36.3853 | 15.5922
2019-10-30 16:45:00 | 0 | 169.85 | 4.4507 | 219.266 | 4.195 | 178.226 | 0 | 338.483 | 19.62 | 975.292 | 36.283 | 17.3214
2019-10-30 17:00:00 | 0 | 171.528 | 6.496 | 226.456 | 4.962 | 151.147 | 2.1497 | 352.188 | 19.49 | 974.984 | 37.4473 | 19.7305
2019-10-30 17:15:00 | 0 | 145.186 | 5.4733 | 197.609 | 5.9847 | 147.549 | 0.63133 | 339.807 | 19.42 | 974.848 | 37.8581 | 19.2021
2019-10-30 17:30:00 | 5.712 | 142.788 | 4.962 | 205.08 | 5.2177 | 154.137 | 6.496 | 339.033 | 19.15 | 974.848 | 38.6117 | 23.1704
2019-10-30 17:45:00 | 0 | 154.32 | 5.729 | 207.535 | 4.4507 | 152.542 | 0 | 339.061 | 19.05 | 975.026 | 37.8986 | 20.7761
2019-10-30 18:00:00 | 0 | 148.889 | 4.7063 | 198.864 | 4.962 | 156.634 | 5.9847 | 329.758 | 18.74 | 975.198 | 39.9113 | 21.9622
2019-10-30 18:15:00 | 3.9247 | 137.904 | 6.2403 | 187.831 | 6.7517 | 156.415 | 5.729 | 337.673 | 18.79 | 975.133 | 40.4571 | 27.1386
2019-10-30 18:30:00 | 11.5847 | 134.811 | 7.5187 | 193.944 | 5.729 | 145.844 | 2.1497 | 327.176 | 18.71 | 975.294 | 40.5935 | 28.587
2019-10-30 18:45:00 | 3.414 | 153.809 | 8.5413 | 192.921 | 6.496 | 153.541 | 0 | 329.831 | 18.57 | 975.294 | 41.1393 | 33.2093
2019-10-30 19:00:00 | 5.34 | 149.595 | 5.4733 | 202.591 | 5.4733 | 165.232 | 5.2177 | 327.858 | 18.56 | 975.442 | 42.0263 | 35.925
2019-10-30 19:15:00 | 7.244 | 154.954 | 6.2403 | 199.546 | 5.2177 | 162.723 | 7.0073 | 332.461 | 18.74 | 975.739 | 41.5487 | 32.2856
2019-10-30 19:30:00 | 5.2013 | 145.991 | 6.2403 | 197.5 | 4.962 | 145.844 | 9.0527 | 328.296 | 18.57 | 975.739 | 42.0263 | 33.6342
2019-10-30 19:45:00 | 0 | 130.598 | 7.0073 | 206.074 | 4.4507 | 194.873 | 0 | 312.489 | 18.65 | 975.739 | 41.8898 | 32.7105
2019-10-30 20:00:00 | 0.744 | 156.683 | 6.496 | 226.435 | 5.9847 | 192.852 | 0 | 312.221 | 18.71 | 975.739 | 41.7534 | 32.4481
2019-10-30 20:15:00 | 0.372 | 149.936 | 5.729 | 206.293 | 5.729 | 191.683 | 5.9847 | 332.973 | 18.61 | 975.739 | 42.0263 | 30.3421
2019-10-30 20:30:00 | 10.8187 | 163.113 | 7.0073 | 203.516 | 7.7743 | 164.112 | 5.9847 | 332.169 | 18.44 | 975.739 | 42.3674 | 25.9969
2019-10-30 20:45:00 | 0.99933 | 148.913 | 5.2177 | 193.749 | 5.729 | 164.087 | 0.887 | 327.517 | 18.33 | 975.739 | 43.2543 | 22.1802
2019-10-30 21:00:00 | 0.62733 | 145.65 | 5.2177 | 204.783 | 4.4507 | 165.135 | 1.3827 | 332.145 | 18.28 | 976.036 | 43.7319 | 18.053
2019-10-30 21:15:00 | 2.0207 | 143.021 | 6.496 | 196.578 | 4.4507 | 145.895 | 3.6837 | 323.405 | 18.12 | 976.184 | 44.1418 | 17.5173
2019-10-30 21:30:00 | 1.3933 | 146.31 | 6.7517 | 187.251 | 5.4733 | 144.703 | 3.1723 | 328.546 | 18.16 | 976.333 | 44.3809 | 20.5175
2019-10-30 21:45:00 | 3.414 | 156.44 | 5.4733 | 188.684 | 6.2403 | 137.661 | 5.2177 | 329.247 | 17.88 | 976.184 | 45.1647 | 23.8687
2019-10-30 22:00:00 | 0.88267 | 146.095 | 6.7517 | 197.364 | 6.7517 | 154.985 | 0.63133 | 331.599 | 17.99 | 975.887 | 44.4161 | 18.5666
2019-10-30 22:15:00 | 5.9673 | 142.341 | 5.9847 | 195.46 | 4.7063 | 157.296 | 1.6383 | 344.795 | 18.13 | 976.184 | 44.9611 | 18.8917
2019-10-30 22:30:00 | 7.7547 | 147.967 | 6.7517 | 191.782 | 6.2403 | 152.936 | 3.428 | 343.991 | 17.67 | 975.739 | 44.9611 | 18.2895
2019-10-30 22:45:00 | 0 | 150.648 | 5.4733 | 193.367 | 4.962 | 151.817 | 0 | 333.496 | 17.64 | 975.739 | 45.1662 | 17.5357
2019-10-30 23:00:00 | 0 | 145.098 | 5.4733 | 197.61 | 4.962 | 157.057 | 0 | 336.304 | 17.72 | 975.739 | 45.3036 | 18.8215
2019-10-30 23:15:00 | 0 | 149.17 | 5.4733 | 194.134 | 4.195 | 152.142 | 0 | 336.12 | 17.48 | 975.591 | 45.9873 | 16.9483
2019-10-30 23:30:00 | 0.88267 | 150.977 | 4.962 | 198.793 | 2.9167 | 165.008 | 0 | 351.793 | 17.67 | 975.739 | 45.3064 | 13.0391
2019-10-30 23:45:00 | 0 | 164.67 | 4.962 | 211.732 | 4.4507 | 159.872 | 0 | 353.652 | 17.87 | 975.739 | 42.7827 | 10.4232