## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-10-31 00:00:00 | 0 | 165.715 | 5.2177 | 204.834 | 3.428 | 170.66 | 0 | 0.21923 | 18.46 | 975.739 | 41.0761 | 13.6414
2019-10-31 00:15:00 | 0.372 | 161.302 | 5.4733 | 211.844 | 2.9167 | 182.421 | 0 | 346.451 | 18.16 | 975.739 | 42.5761 | 15.3151
2019-10-31 00:30:00 | 0 | 153.841 | 5.4733 | 198.777 | 4.7063 | 157.64 | 3.8193 | 352.498 | 17.82 | 975.739 | 42.9834 | 15.9691
2019-10-31 00:45:00 | 1.882 | 149.706 | 4.962 | 199.005 | 2.661 | 181.225 | 0 | 338.726 | 17.5 | 975.739 | 44.5545 | 11.9233
2019-10-31 01:00:00 | 0 | 168.834 | 4.962 | 208.685 | 3.6837 | 183.717 | 0 | 355.109 | 17.92 | 975.591 | 42.3728 | 12.98
2019-10-31 01:15:00 | 0 | 157.924 | 6.2403 | 195.121 | 3.9393 | 154.538 | 0 | 352.363 | 17.49 | 975.442 | 44.1477 | 11.6609
2019-10-31 01:30:00 | 0 | 171.138 | 4.4507 | 212.675 | 4.4507 | 158.032 | 4.7063 | 354.262 | 18 | 975.294 | 39.9198 | 9.3147
2019-10-31 01:45:00 | 0.62733 | 161.416 | 4.7063 | 207.702 | 2.9167 | 176.032 | 0 | 350.165 | 18.62 | 975.442 | 38.8274 | 14.1069
2019-10-31 02:00:00 | 0 | 154.507 | 5.9847 | 203.904 | 3.6837 | 157.892 | 4.4507 | 338.828 | 18.07 | 975.294 | 40.3247 | 18.0456
2019-10-31 02:15:00 | 0 | 146.224 | 6.496 | 195.963 | 3.9393 | 162.057 | 0.75133 | 350.958 | 17.23 | 975.145 | 42.8492 | 23.5583
2019-10-31 02:30:00 | 0 | 141.285 | 8.797 | 188.761 | 7.0073 | 161.114 | 0.37567 | 331.801 | 16.87 | 974.7 | 45.0344 | 35.0382
2019-10-31 02:45:00 | 2.7867 | 131.484 | 6.7517 | 190.492 | 6.496 | 156.164 | 3.428 | 323.12 | 16.83 | 974.7 | 46.5412 | 34.787
2019-10-31 03:00:00 | 4.946 | 138.463 | 8.797 | 191.458 | 6.2403 | 147.429 | 4.962 | 329.138 | 16.76 | 974.552 | 46.9543 | 31.1586
2019-10-31 03:15:00 | 3.414 | 141.436 | 7.5187 | 191.361 | 6.496 | 157.711 | 5.2177 | 328.506 | 16.52 | 974.552 | 48.0464 | 25.5462
2019-10-31 03:30:00 | 3.6693 | 140.68 | 4.962 | 191.824 | 2.661 | 155.08 | 0.75133 | 326.8 | 16.72 | 974.552 | 47.9782 | 18.2415
2019-10-31 03:45:00 | 0 | 151.693 | 5.9847 | 196.478 | 3.9393 | 151.108 | 0 | 339.786 | 16.59 | 974.552 | 44.8388 | 14.8459
2019-10-31 04:00:00 | 0.372 | 151.206 | 5.4733 | 210.561 | 2.4053 | 185.754 | 4.4507 | 340.347 | 16.75 | 974.7 | 44.2245 | 14.3101
2019-10-31 04:15:00 | 0 | 152.326 | 5.729 | 202.423 | 3.9393 | 167.311 | 0 | 343.319 | 16.91 | 974.7 | 44.5316 | 14.7055
2019-10-31 04:30:00 | 0 | 162.706 | 4.4507 | 198.671 | 3.9393 | 160.781 | 0 | 350.97 | 17.29 | 974.849 | 42.7231 | 13.2054
2019-10-31 04:45:00 | 0 | 154.519 | 3.428 | 202.204 | 2.4053 | 122.504 | 0 | 340.761 | 17.47 | 975.145 | 42.689 | 15.4223
2019-10-31 05:00:00 | 0 | 135.491 | 4.4507 | 187.463 | 2.661 | 183.513 | 0 | 332.55 | 17.32 | 975.145 | 43.2691 | 15.1932
2019-10-31 05:15:00 | 1.138 | 143.799 | 3.6837 | 217.212 | 2.4053 | 180.297 | 2.4053 | 339.713 | 17.34 | 975.294 | 42.4501 | 11.4614
2019-10-31 05:30:00 | 0 | 160.367 | 2.661 | 195.089 | 1.6383 | 140.096 | 0 | 0.19492 | 18 | 975.145 | 38.9012 | 8.221
2019-10-31 05:45:00 | 0 | 154.956 | 3.9393 | 201.446 | 3.1723 | 143.14 | 0 | 352.111 | 17.74 | 975.442 | 40.2657 | 8.6866
2019-10-31 06:00:00 | 0 | 156.347 | 3.6837 | 202.057 | 3.1723 | 156.663 | 0.63133 | 347.486 | 17.63 | 975.739 | 42.2453 | 8.6644
2019-10-31 06:15:00 | 0 | 147.551 | 3.1723 | 191.532 | 1.6383 | 152.911 | 0 | 340.274 | 16.7 | 975.442 | 46.1355 | 7.7998
2019-10-31 06:30:00 | 0 | 158.028 | 3.1723 | 200.108 | 2.661 | 159.1 | 0 | 339.007 | 16.58 | 975.442 | 47.1592 | 8.354
2019-10-31 06:45:00 | 0 | 151.669 | 3.9393 | 185.49 | 2.661 | 150.962 | 0 | 330.918 | 16.81 | 975.442 | 48.8654 | 6.5731
2019-10-31 07:00:00 | 0 | 164.168 | 3.428 | 204.396 | 1.127 | 165.824 | 0 | 2.8263 | 17.06 | 975.739 | 47.1592 | 3.3808
2019-10-31 07:15:00 | 0 | 196.621 | 1.6383 | 195.187 | 1.3827 | 150.28 | 0 | 32.5509 | 17.2 | 976.036 | 44.8388 | 2.313
2019-10-31 07:30:00 | 0 | 196.879 | 0 | 195.392 | 0 | 158.097 | 0 | 33.9092 | 18.16 | 976.63 | 41.6238 | 1.4595
2019-10-31 07:45:00 | 0 | 196.872 | 0 | 195.358 | 0 | 91.5795 | 0 | 33.9039 | 19.31 | 977.223 | 38.4106 | 1.8733
2019-10-31 08:00:00 | 0 | 196.913 | 0 | 195.423 | 0 | 91.6247 | 0 | 33.9026 | 20.07 | 977.844 | 37.8633 | 2.0211
2019-10-31 08:15:00 | 0 | 196.89 | 1.127 | 195.396 | 0.75133 | 153.013 | 0 | 33.8946 | 19.15 | 978.207 | 41.9467 | 2.3684
2019-10-31 08:30:00 | 4.6907 | 188.155 | 1.3827 | 204.774 | 1.3827 | 148.153 | 1.3983 | 24.9803 | 18.1 | 978.26 | 44.6707 | 3.0039
2019-10-31 08:45:00 | 0 | 182.773 | 1.3827 | 203.914 | 1.6383 | 153.268 | 0 | 20.4244 | 18.61 | 978.555 | 42.6186 | 1.6922
2019-10-31 09:00:00 | 0 | 238.611 | 0.75133 | 202.349 | 0 | 156.185 | 0 | 107.742 | 19.28 | 978.703 | 41.6627 | 0.23278
2019-10-31 09:15:00 | 0 | 293.535 | 0 | 307.61 | 1.6383 | 199.414 | 0 | 120.432 | 21.63 | 979.297 | 38.1797 | -0.15888
2019-10-31 09:30:00 | 0 | 302.343 | 1.6383 | 330.162 | 0 | 277.813 | 0 | 164.629 | 21.49 | 979.015 | 35.7192 | -0.31406
2019-10-31 09:45:00 | 0 | 291.358 | 1.3827 | 19.416 | 0.75133 | 282.768 | 0 | 137.052 | 20.96 | 978.998 | 39.3306 | -0.25125
2019-10-31 10:00:00 | 0 | 306.303 | 2.661 | 19.854 | 2.661 | 295.62 | 0 | 139.098 | 20.4 | 979.146 | 40.2855 | -0.25864
2019-10-31 10:15:00 | 0 | 323.967 | 2.1497 | 327.669 | 2.9167 | 266.83 | 0 | 138.781 | 20.18 | 979.294 | 38.581 | -0.24016
2019-10-31 10:30:00 | 0 | 253.279 | 3.1723 | 18.1505 | 2.661 | 262.965 | 0 | 100.942 | 20.37 | 979.294 | 36.5708 | -0.24386
2019-10-31 10:45:00 | 0 | 305.486 | 3.428 | 19.854 | 2.1497 | 285.581 | 0 | 160.992 | 20.36 | 979.145 | 36.0576 | -0.25864
2019-10-31 11:00:00 | 0 | 314.821 | 1.894 | 12.6022 | 1.127 | 263.426 | 0 | 155.938 | 20.76 | 979.591 | 35.4459 | -0.24016
2019-10-31 11:15:00 | 0 | 297.667 | 2.4053 | 1.0186 | 1.894 | 320.372 | 0 | 134.865 | 21.16 | 979.287 | 34.3214 | -0.28081
2019-10-31 11:30:00 | 0 | 17.8607 | 1.894 | 36.1615 | 1.3827 | 279.737 | 0 | 204.814 | 21.36 | 978.991 | 34.4212 | -0.27342
2019-10-31 11:45:00 | 0 | 299.48 | 2.4053 | 10.9477 | 3.1723 | 314.64 | 0 | 132.572 | 21.08 | 979.057 | 37.5577 | -0.25125
2019-10-31 12:00:00 | 0 | 311.53 | 3.6837 | 12.578 | 2.4053 | 303.326 | 0 | 141.285 | 20.86 | 978.993 | 37.456 | -0.24016
2019-10-31 12:15:00 | 0 | 300.729 | 3.1723 | 322.95 | 3.428 | 281.649 | 0 | 120.091 | 21.07 | 979.294 | 35.3093 | -0.26972
2019-10-31 12:30:00 | 0 | 279.749 | 2.9167 | 323.165 | 2.661 | 254.439 | 0 | 120.187 | 21.3 | 978.849 | 33.8092 | -0.28081
2019-10-31 12:45:00 | 0 | 308.976 | 3.1723 | 334.36 | 3.1723 | 275.033 | 0 | 133.404 | 21.57 | 978.849 | 34.2525 | -0.2882
2019-10-31 13:00:00 | 0 | 2.7011 | 4.195 | 5.8616 | 3.428 | 293.527 | 0 | 141.337 | 21.71 | 978.553 | 31.0828 | -0.070202
2019-10-31 13:15:00 | 0 | 292.826 | 3.6837 | 332.223 | 3.1723 | 279.862 | 0 | 127.144 | 21.56 | 979.146 | 28.4228 | -0.15149
2019-10-31 13:30:00 | 0 | 304.422 | 3.1723 | 334.769 | 2.9167 | 269.085 | 0 | 150.408 | 22.32 | 978.997 | 28.7649 | -0.22539
2019-10-31 13:45:00 | 0 | 308.387 | 4.4507 | 35.5305 | 3.9393 | 268.943 | 0 | 132.306 | 22.17 | 978.997 | 29.2078 | -0.20691
2019-10-31 14:00:00 | 0 | 338.599 | 2.1497 | 79.7742 | 1.3827 | 42.3431 | 0 | 204.926 | 22.11 | 978.997 | 26.721 | -0.218
2019-10-31 14:15:00 | 0 | 324.914 | 2.1497 | 39.7168 | 1.6383 | 26.1842 | 0 | 174.261 | 22.73 | 979.294 | 26.1067 | -0.26972
2019-10-31 14:30:00 | 0 | 17.2039 | 2.1497 | 25.0659 | 2.1497 | 303.1 | 0 | 208.442 | 22.68 | 979.887 | 23.3794 | -0.24755
2019-10-31 14:45:00 | 0 | 282.398 | 2.4053 | 1.4141 | 2.1497 | 308.463 | 0 | 115.126 | 22.74 | 979.739 | 23.1754 | -0.25125
2019-10-31 15:00:00 | 0 | 356.966 | 2.661 | 59.7205 | 2.1497 | 350.371 | 0 | 190.638 | 22.79 | 979.442 | 20.6879 | -0.25125
2019-10-31 15:15:00 | 0 | 11.6801 | 1.6383 | 47.6473 | 1.127 | 1.168 | 0 | 187.368 | 22.34 | 979.591 | 21.2663 | -0.084981
2019-10-31 15:30:00 | 0 | 17.0821 | 1.894 | 58.7675 | 2.661 | 321.148 | 0 | 191.039 | 22.37 | 979.442 | 21.9138 | 0.077592
2019-10-31 15:45:00 | 0 | 0.12167 | 2.661 | 57.579 | 1.6383 | 343.216 | 0 | 164.551 | 21.85 | 979.146 | 23.4826 | 0.77222
2019-10-31 16:00:00 | 3.1587 | 338.578 | 3.1723 | 57.5082 | 3.428 | 20.8311 | 0 | 176.626 | 21.47 | 978.997 | 22.3585 | 1.0567
2019-10-31 16:15:00 | 0 | 3.6991 | 3.6837 | 53.5929 | 3.1723 | 1.0708 | 0 | 184.08 | 21.4 | 978.581 | 21.5413 | 0.69833
2019-10-31 16:30:00 | 0 | 356.89 | 3.428 | 49.1729 | 2.9167 | 0.048679 | 0.75133 | 181.938 | 21.23 | 978.406 | 21.5442 | 0.41752
2019-10-31 16:45:00 | 0 | 3.1645 | 3.6837 | 55.1688 | 2.1497 | 12.0737 | 0 | 186.436 | 21.09 | 978.11 | 22.433 | 0.61334
2019-10-31 17:00:00 | 0 | 16.6511 | 3.6837 | 61.3078 | 2.4053 | 18.5012 | 0 | 196.746 | 20.96 | 977.813 | 22.7412 | 0.24386
2019-10-31 17:15:00 | 0 | 10.5669 | 3.428 | 62.0763 | 2.4053 | 18.626 | 0 | 193.2 | 20.84 | 977.665 | 22.5404 | -0.051728
2019-10-31 17:30:00 | 0 | 2.2402 | 3.1723 | 60.014 | 2.9167 | 11.5662 | 0.37567 | 187.568 | 20.88 | 977.798 | 22.1673 | 0.040643
2019-10-31 17:45:00 | 0 | 5.5035 | 3.428 | 56.2703 | 2.4053 | 15.3417 | 0 | 188.971 | 20.85 | 978.112 | 22.442 | -0.15888
2019-10-31 18:00:00 | 0 | 3.7989 | 3.428 | 56.173 | 2.4053 | 14.8304 | 0 | 189.166 | 20.86 | 978.112 | 23.0559 | -0.040643
2019-10-31 18:15:00 | 0 | 6.0639 | 3.428 | 56.713 | 2.661 | 17.4857 | 0 | 189.518 | 20.74 | 978.112 | 23.4665 | 0.55792
2019-10-31 18:30:00 | 0.372 | 356.901 | 3.1723 | 50.216 | 3.1723 | 2.4355 | 0.37567 | 180.35 | 20.79 | 978.557 | 23.1272 | 1.526
2019-10-31 18:45:00 | 0 | 356.232 | 4.7063 | 42.9361 | 3.428 | 1.5588 | 0 | 178.676 | 20.62 | 978.41 | 23.5374 | 2.6603
2019-10-31 19:00:00 | 0 | 84.1991 | 3.1723 | 49.5611 | 2.9167 | 3.0689 | 0 | 180.576 | 20.33 | 978.718 | 24.3561 | 3.1628
2019-10-31 19:15:00 | 0.372 | 4.0918 | 4.4507 | 60.7649 | 3.1723 | 20.7271 | 0 | 188.029 | 20.09 | 978.747 | 24.8337 | 2.4903
2019-10-31 19:30:00 | 0 | 5.6263 | 3.1723 | 63.2005 | 2.661 | 21.2873 | 0 | 190.197 | 20.05 | 978.807 | 24.8337 | 1.8991
2019-10-31 19:45:00 | 0 | 21.6282 | 4.195 | 71.5303 | 3.1723 | 22.9922 | 0 | 199.866 | 19.98 | 978.876 | 25.4818 | 2.0396
2019-10-31 20:00:00 | 0 | 21.9449 | 4.195 | 74.6966 | 2.661 | 23.0896 | 0 | 201.157 | 19.89 | 978.927 | 25.5501 | 1.5112
2019-10-31 20:15:00 | 0 | 22.1154 | 4.195 | 73.8685 | 3.1723 | 25.5252 | 0 | 200.013 | 19.98 | 978.96 | 24.9019 | 1.1084
2019-10-31 20:30:00 | 0 | 14.9547 | 3.9393 | 71.3355 | 2.661 | 16.6596 | 0 | 198.868 | 20.02 | 979.299 | 24.6973 | 1.5925
2019-10-31 20:45:00 | 0 | 24.2831 | 4.4507 | 79.2999 | 3.9393 | 38.8724 | 0 | 206.808 | 19.94 | 978.855 | 23.8103 | 1.2267
2019-10-31 21:00:00 | 0 | 18.7786 | 3.9393 | 69.8498 | 2.661 | 24.0639 | 0 | 198.917 | 19.95 | 979.153 | 23.9468 | 2.2391
2019-10-31 21:15:00 | 0 | 21.8718 | 4.195 | 71.6521 | 3.1723 | 25.233 | 0 | 202.034 | 19.77 | 979.005 | 23.8786 | 2.6566
2019-10-31 21:30:00 | 0 | 20.5566 | 4.195 | 72.6264 | 3.428 | 25.9149 | 0 | 199.16 | 19.77 | 979.153 | 23.4692 | 2.1763
2019-10-31 21:45:00 | 0 | 16.9275 | 3.6837 | 64.9542 | 2.9167 | 17.2929 | 0 | 200.646 | 19.75 | 979.302 | 23.4692 | 1.6442
2019-10-31 22:00:00 | 0 | 14.0048 | 3.9393 | 69.046 | 2.9167 | 23.9664 | 0 | 195.117 | 19.82 | 979.3 | 23.9127 | 2.6049
2019-10-31 22:15:00 | 0 | 15.8315 | 4.195 | 70.5074 | 2.9167 | 24.4536 | 0 | 197.991 | 19.75 | 979.302 | 24.1515 | 2.6677
2019-10-31 22:30:00 | 0 | 20.8245 | 3.1723 | 73.5275 | 2.1497 | 24.1613 | 0 | 203.861 | 19.77 | 979.302 | 24.3561 | 2.2317
2019-10-31 22:45:00 | 0 | 20.8001 | 3.9393 | 72.7969 | 2.661 | 23.0896 | 0 | 202.667 | 19.71 | 979.302 | 24.1515 | 3.6283
2019-10-31 23:00:00 | 0 | 19.0708 | 4.4507 | 70.41 | 2.661 | 23.4793 | 0 | 199.16 | 19.5 | 979.302 | 23.6739 | 3.8205
2019-10-31 23:15:00 | 0 | 22.4807 | 4.195 | 72.7238 | 2.9167 | 21.4334 | 0 | 206.564 | 19.46 | 979.302 | 23.7421 | 3.5803
2019-10-31 23:30:00 | 0 | 16.075 | 3.9393 | 73.8442 | 2.9167 | 30.2016 | 0 | 204.226 | 19.33 | 979.45 | 23.5374 | 3.1739
2019-10-31 23:45:00 | 0 | 25.0868 | 4.195 | 76.9617 | 2.9167 | 30.4939 | 1.3827 | 206.662 | 19.39 | 979.302 | 23.2645 | 2.9115