## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-01 00:00:00 | 0 | 24.3318 | 3.6837 | 78.3988 | 2.9167 | 34.6344 | 0 | 205.371 | 19.43 | 979.45 | 22.8552 | 2.8155
2019-11-01 00:15:00 | 0 | 26.9866 | 3.9393 | 78.2526 | 3.428 | 34.196 | 0 | 205.395 | 19.48 | 979.598 | 22.3094 | 2.4386
2019-11-01 00:30:00 | 0 | 27.8147 | 4.195 | 79.7627 | 2.9167 | 35.2677 | 0 | 202.862 | 19.45 | 979.598 | 21.6954 | 2.2095
2019-11-01 00:45:00 | 0 | 27.9852 | 3.6837 | 86.1684 | 3.1723 | 36.9239 | 0 | 213.701 | 19.45 | 979.598 | 21.4225 | 1.8253
2019-11-01 01:00:00 | 0 | 33.9768 | 3.6837 | 82.7829 | 2.9167 | 40.9914 | 0 | 215.138 | 19.52 | 979.598 | 21.1496 | 1.3264
2019-11-01 01:15:00 | 0 | 28.0826 | 3.6837 | 77.2297 | 2.661 | 24.7458 | 0 | 207.758 | 19.49 | 979.895 | 21.1496 | 1.271
2019-11-01 01:30:00 | 0 | 26.7674 | 3.6837 | 74.1608 | 2.9167 | 28.7402 | 0 | 206.102 | 19.43 | 979.895 | 21.286 | 1.2341
2019-11-01 01:45:00 | 0 | 23.0166 | 4.4507 | 75.5735 | 2.9167 | 28.0583 | 0 | 203.715 | 19.35 | 979.895 | 21.2178 | 1.1454
2019-11-01 02:00:00 | 0 | 29.885 | 3.9393 | 81.2241 | 2.4053 | 32.6372 | 0 | 207.709 | 19.29 | 979.598 | 21.4566 | 1.223
2019-11-01 02:15:00 | 0 | 35.4625 | 3.9393 | 77.7168 | 2.9167 | 33.1244 | 0 | 210.315 | 19.15 | 979.302 | 21.5589 | 1.5962
2019-11-01 02:30:00 | 0 | 36.8265 | 3.6837 | 83.0753 | 2.661 | 41.2106 | 0 | 211.046 | 19.16 | 979.302 | 21.3543 | 1.526
2019-11-01 02:45:00 | 0 | 32.5404 | 3.6837 | 81.8106 | 2.661 | 33.2224 | 0 | 207.932 | 19.15 | 979.302 | 21.4229 | 1.1713
2019-11-01 03:00:00 | 0 | 32.5404 | 3.9393 | 80.7144 | 2.9167 | 33.6608 | 0 | 211.561 | 19.2 | 979.302 | 21.2182 | 0.91632
2019-11-01 03:15:00 | 0 | 32.4424 | 3.428 | 80.3474 | 2.9167 | 36.6317 | 0 | 213.141 | 19.2 | 979.302 | 21.4225 | 0.61334
2019-11-01 03:30:00 | 0 | 30.6408 | 3.6837 | 79.3024 | 2.661 | 31.274 | 0 | 208.396 | 19.21 | 979.45 | 20.9454 | 0.47294
2019-11-01 03:45:00 | 0 | 22.7486 | 3.9393 | 73.1866 | 2.4053 | 32.345 | 0 | 201.328 | 19.35 | 979.302 | 20.1944 | 1.0456
2019-11-01 04:00:00 | 0 | 13.6882 | 4.195 | 68.1449 | 2.9167 | 21.8231 | 0 | 191.878 | 19.44 | 979.302 | 20.1262 | 0.91632
2019-11-01 04:15:00 | 0 | 12.9818 | 3.6837 | 65.3439 | 2.9167 | 19.7772 | 0 | 198.308 | 19.46 | 979.45 | 19.9215 | 0.2882
2019-11-01 04:30:00 | 0 | 14.7111 | 3.1723 | 65.2465 | 2.661 | 10.4731 | 0 | 196.992 | 18.8 | 979.45 | 21.8318 | -0.29928
2019-11-01 04:45:00 | 0 | 3.5804 | 4.4507 | 53.8478 | 3.9393 | 8.1349 | 0 | 193.51 | 17.47 | 979.005 | 26.1982 | 0.19213
2019-11-01 05:00:00 | 0 | 15.3449 | 2.661 | 58.1374 | 2.4053 | 11.3991 | 0 | 200.921 | 18.25 | 979.153 | 24.9029 | -0.23278
2019-11-01 05:15:00 | 0 | 35.7817 | 3.1723 | 73.0714 | 2.4053 | 21.5324 | 0 | 222.314 | 18.2 | 979.153 | 25.313 | -0.27711
2019-11-01 05:30:00 | 0 | 64.6903 | 2.661 | 117.296 | 2.1497 | 63.9352 | 1.6383 | 243.441 | 18.66 | 979.302 | 20.8086 | -0.25125
2019-11-01 05:45:00 | 2.5313 | 75.3595 | 1.6383 | 114.644 | 1.127 | 41.6255 | 10.331 | 266.218 | 19.14 | 979.302 | 20.5701 | -0.22539
2019-11-01 06:00:00 | 0 | 140.175 | 2.1497 | 176.659 | 1.3827 | 127.193 | 0 | 311.576 | 19 | 979.302 | 19.8541 | -0.20322
2019-11-01 06:15:00 | 9.542 | 146.532 | 2.1497 | 199.067 | 2.1497 | 149.065 | 2.4053 | 321.221 | 19.06 | 979.302 | 19.7858 | -0.018474
2019-11-01 06:30:00 | 0 | 146.095 | 3.6837 | 201.018 | 4.195 | 156.033 | 0 | 327.508 | 19.02 | 979.302 | 19.8542 | 0.81287
2019-11-01 06:45:00 | 0 | 147.263 | 4.4507 | 196.876 | 4.4507 | 166.603 | 0 | 327.554 | 18.63 | 979.598 | 24.4253 | 2.228
2019-11-01 07:00:00 | 0 | 121.81 | 4.4507 | 203.136 | 5.729 | 170.354 | 0 | 312.673 | 18.11 | 979.747 | 25.517 | 4.0089
2019-11-01 07:15:00 | 0 | 121.952 | 5.2177 | 180.282 | 4.195 | 136.42 | 5.729 | 292.032 | 18.37 | 979.895 | 28.3133 | 8.0806
2019-11-01 07:30:00 | 0 | 117.518 | 7.263 | 178.429 | 4.7063 | 132.229 | 0.37567 | 285.259 | 18.3 | 980.34 | 28.3132 | 13.15
2019-11-01 07:45:00 | 0 | 110.114 | 4.962 | 174.459 | 6.2403 | 154.71 | 0 | 304.111 | 18.76 | 980.786 | 28.5178 | 11.7127
2019-11-01 08:00:00 | 0 | 116.983 | 5.729 | 170.246 | 4.962 | 124.679 | 3.428 | 302.065 | 19.13 | 981.083 | 27.6991 | 9.9354
2019-11-01 08:15:00 | 0 | 128.966 | 7.5187 | 164.693 | 4.7063 | 120.051 | 1.894 | 306.011 | 19.27 | 981.151 | 28.3814 | 9.8615
2019-11-01 08:30:00 | 0 | 88.2179 | 2.4053 | 148.934 | 3.428 | 134.105 | 0 | 282.434 | 19.21 | 981.094 | 28.5861 | 9.7396
2019-11-01 08:45:00 | 0 | 115.308 | 3.9393 | 143.843 | 3.428 | 78.3902 | 0 | 295.199 | 19.49 | 981.377 | 28.0359 | 7.3934
2019-11-01 09:00:00 | 0 | 94.2632 | 5.9847 | 151.188 | 4.962 | 67.1604 | 0.75133 | 277.822 | 19.76 | 981.525 | 27.8981 | 6.5583
2019-11-01 09:15:00 | 6.2227 | 111.296 | 6.496 | 145.373 | 6.496 | 99.8278 | 2.9167 | 299.849 | 19.74 | 981.765 | 27.8266 | 4.2675
2019-11-01 09:30:00 | 0 | 125.659 | 2.9167 | 163.363 | 2.661 | 108.056 | 0 | 292.807 | 20.57 | 981.971 | 26.8031 | 4.5447
2019-11-01 09:45:00 | 0 | 96.1335 | 4.7063 | 149.359 | 2.661 | 130.044 | 0 | 276.253 | 20.85 | 982.708 | 26.6622 | 4.3451
2019-11-01 10:00:00 | 0 | 103.494 | 5.9847 | 161.576 | 5.4733 | 125.424 | 0 | 266.085 | 20.32 | 982.412 | 27.6126 | 4.5151
2019-11-01 10:15:00 | 0 | 101.058 | 3.6837 | 127.352 | 4.4507 | 94.121 | 0 | 287.426 | 19.9 | 982.56 | 29.7938 | 4.5705
2019-11-01 10:30:00 | 0 | 132.699 | 4.195 | 182.529 | 1.3827 | 93.2691 | 0 | 287.206 | 20.38 | 982.56 | 29.5892 | 4.0791
2019-11-01 10:45:00 | 0 | 118.826 | 4.7063 | 169.97 | 4.4507 | 130.922 | 0 | 297.77 | 21.3 | 982.56 | 29.0097 | 4.8107
2019-11-01 11:00:00 | 0 | 117.193 | 5.9847 | 157.481 | 3.6837 | 107.75 | 0 | 297.571 | 21.59 | 982.841 | 28.7024 | 6.2665
2019-11-01 11:15:00 | 2.7867 | 132.061 | 4.7063 | 191.454 | 3.1723 | 133.011 | 0 | 314.188 | 20.59 | 982.706 | 30.8835 | 4.6777
2019-11-01 11:30:00 | 0 | 144.869 | 3.428 | 195.94 | 4.195 | 156.795 | 0 | 326.88 | 20.66 | 982.411 | 31.1573 | 4.541
2019-11-01 11:45:00 | 0 | 135.109 | 4.4507 | 177.199 | 4.7063 | 107.362 | 0.63133 | 313.761 | 21.06 | 982.263 | 31.3618 | 2.5199
2019-11-01 12:00:00 | 0 | 140.342 | 5.2177 | 192.168 | 5.2177 | 136.277 | 0 | 319.14 | 21.15 | 982.396 | 31.7709 | 1.223
2019-11-01 12:15:00 | 0.372 | 133.697 | 5.9847 | 199.542 | 4.962 | 156.187 | 0 | 330.166 | 20.99 | 982.115 | 31.2937 | 0.73158
2019-11-01 12:30:00 | 0 | 140.025 | 3.9393 | 192.192 | 3.6837 | 145.988 | 0 | 324.056 | 20.85 | 981.521 | 32.18 | 0.13301
2019-11-01 12:45:00 | 0 | 140.557 | 2.9167 | 164.886 | 1.894 | 127.583 | 0 | 313.15 | 20.49 | 981.521 | 32.8667 | -0.32145
2019-11-01 13:00:00 | 0 | 145.671 | 3.428 | 207.489 | 3.428 | 135.544 | 0 | 338.69 | 20.56 | 981.373 | 32.5261 | -0.27342
2019-11-01 13:15:00 | 0 | 151.028 | 3.1723 | 204.157 | 2.661 | 150.639 | 0 | 331.147 | 20.71 | 981.076 | 33.0719 | -0.25864
2019-11-01 13:30:00 | 0 | 115.486 | 2.1497 | 180.86 | 2.9167 | 130.847 | 0 | 291.296 | 21.05 | 981.521 | 32.1173 | -0.28081
2019-11-01 13:45:00 | 0 | 292.61 | 2.1497 | 18.5394 | 1.894 | 254.196 | 0 | 71.7649 | 21.97 | 981.67 | 34.2993 | -0.25125
2019-11-01 14:00:00 | 0 | 288.815 | 2.1497 | 327.303 | 2.1497 | 278.763 | 0 | 142.119 | 20.93 | 981.373 | 35.9982 | -0.25125
2019-11-01 14:15:00 | 0 | 57.0045 | 0 | 163.573 | 0 | 321.241 | 0 | 214.193 | 21.13 | 981.373 | 35.7261 | -0.24016
2019-11-01 14:30:00 | 0 | 18.6198 | 1.127 | 71.1275 | 1.6383 | 4.3568 | 0 | 168.406 | 20.8 | 981.225 | 38.3843 | -0.25125
2019-11-01 14:45:00 | 0 | 33.7873 | 1.894 | 81.2401 | 0 | 344.202 | 0 | 205.645 | 20.24 | 980.631 | 39.582 | -0.25125
2019-11-01 15:00:00 | 0 | 352.642 | 1.127 | 13.9837 | 0 | 342.905 | 0 | 211.132 | 20.06 | 980.038 | 40.4023 | -0.25125
2019-11-01 15:15:00 | 0 | 321.214 | 0.75133 | 14.0862 | 0 | 343.151 | 0 | 211.115 | 20.02 | 980.186 | 41.1926 | -0.25125
2019-11-01 15:30:00 | 0 | 22.7896 | 1.894 | 78.1704 | 1.6383 | 345.496 | 0 | 210.706 | 19.52 | 979.741 | 44.058 | -0.25125
2019-11-01 15:45:00 | 0 | 15.3881 | 1.127 | 76.7355 | 0.37567 | 345.404 | 0 | 210.661 | 19.28 | 979.782 | 43.6495 | -0.24016
2019-11-01 16:00:00 | 0 | 15.366 | 1.3827 | 63.9164 | 1.127 | 345.455 | 0 | 210.181 | 19.27 | 979.743 | 44.338 | -0.25125
2019-11-01 16:15:00 | 0 | 30.2939 | 1.6383 | 53.0559 | 1.127 | 345.457 | 0 | 210.158 | 18.91 | 979.596 | 41.2687 | -0.26233
2019-11-01 16:30:00 | 0 | 30.7325 | 2.4053 | 61.5311 | 2.4053 | 345.655 | 0 | 209.965 | 18.96 | 979.299 | 36.2895 | -0.26233
2019-11-01 16:45:00 | 4.18 | 3.2637 | 2.9167 | 58.9127 | 3.1723 | 346.071 | 0 | 189.049 | 18.81 | 979.021 | 37.1818 | -0.19952
2019-11-01 17:00:00 | 0 | 3.1419 | 3.1723 | 62.5186 | 2.9167 | 346.028 | 0 | 182.988 | 18.56 | 979.067 | 41.0711 | -2.794e-09
2019-11-01 17:15:00 | 0 | 81.9827 | 3.6837 | 52.5569 | 2.4053 | 346.003 | 0 | 183.962 | 18.73 | 979.181 | 35.6814 | -0.018474
2019-11-01 17:30:00 | 0 | 349.486 | 3.428 | 43.2285 | 2.1497 | 346.003 | 0 | 166.036 | 18.97 | 979.729 | 38.4786 | 0.040643
2019-11-01 17:45:00 | 7.4993 | 340.012 | 2.9167 | 37.5779 | 2.661 | 345.906 | 0 | 155.246 | 19.03 | 979.744 | 35.5791 | 0.13671
2019-11-01 18:00:00 | 6.2227 | 345.808 | 3.1723 | 37.9676 | 2.9167 | 348.634 | 6.2403 | 158.315 | 19.04 | 979.875 | 30.5646 | 0.24755
2019-11-01 18:15:00 | 0 | 351.288 | 3.428 | 49.1714 | 2.9167 | 356.915 | 0 | 167.278 | 18.84 | 979.887 | 30.4281 | 0.29189
2019-11-01 18:30:00 | 0 | 343.275 | 3.428 | 40.8903 | 2.9167 | 355.746 | 0 | 157.901 | 19.14 | 979.895 | 28.8589 | 0.0073897
2019-11-01 18:45:00 | 0 | 329.831 | 3.428 | 24.7179 | 2.661 | 353.018 | 0 | 147.062 | 19.37 | 979.894 | 28.5178 | 0.16996
2019-11-01 19:00:00 | 14.904 | 333.265 | 3.1723 | 25.9844 | 1.894 | 357.012 | 0 | 148.499 | 19.31 | 979.868 | 29.8823 | 0.059118
2019-11-01 19:15:00 | 0 | 349.34 | 2.661 | 45.6154 | 1.894 | 6.6249 | 0 | 159.581 | 18.99 | 979.866 | 35.7496 | 0.070202
2019-11-01 19:30:00 | 0 | 344.347 | 2.661 | 44.7873 | 1.127 | 5.0417 | 0.37567 | 159.411 | 18.97 | 979.864 | 32.6113 | 0.048033
2019-11-01 19:45:00 | 0 | 356.33 | 2.661 | 54.0426 | 1.6383 | 12.3729 | 0 | 173.635 | 18.92 | 979.876 | 35.6132 | -0.20691
2019-11-01 20:00:00 | 5.712 | 11.3987 | 3.1723 | 74.1364 | 2.4053 | 24.0639 | 0 | 192.048 | 18.9 | 979.598 | 33.3618 | -0.27342
2019-11-01 20:15:00 | 0 | 28.448 | 3.1723 | 85.9492 | 2.4053 | 36.5342 | 0 | 204.762 | 18.97 | 979.598 | 32.6113 | -0.26972
2019-11-01 20:30:00 | 0 | 31.1271 | 3.1723 | 85.4864 | 2.661 | 47.738 | 0 | 217.403 | 19.17 | 979.302 | 32.6113 | -0.25864
2019-11-01 20:45:00 | 0 | 48.0303 | 3.428 | 102.828 | 2.9167 | 50.2467 | 0 | 228.509 | 19.22 | 979.289 | 33.0889 | -0.24016
2019-11-01 21:00:00 | 0 | 45.6921 | 2.4053 | 91.2344 | 2.1497 | 31.2002 | 0 | 233.648 | 19.41 | 979.876 | 32.4066 | -0.24016
2019-11-01 21:15:00 | 4.4353 | 47.5675 | 2.1497 | 101.391 | 1.127 | 34.5613 | 0 | 232.82 | 19.35 | 979.893 | 32.5431 | -0.26972
2019-11-01 21:30:00 | 0 | 68.9766 | 2.4053 | 116.248 | 1.894 | 59.4777 | 0 | 249.455 | 19.16 | 979.747 | 31.8267 | 0.7168
2019-11-01 21:45:00 | 0 | 67.7588 | 2.4053 | 127.915 | 1.6383 | 62.3517 | 0 | 247.799 | 19.24 | 979.743 | 33.1571 | 0.86459
2019-11-01 22:00:00 | 0 | 78.719 | 2.4053 | 133.444 | 1.6383 | 66.8332 | 0 | 260.83 | 19.22 | 979.709 | 34.3851 | 2.3204
2019-11-01 22:15:00 | 0 | 129.769 | 1.127 | 157.702 | 0 | 112.233 | 0 | 284.212 | 19.05 | 979.88 | 35.8861 | 2.8783
2019-11-01 22:30:00 | 0 | 148.499 | 1.894 | 201.689 | 1.894 | 129.428 | 0 | 333.241 | 18.55 | 979.598 | 37.5917 | 4.2454
2019-11-01 22:45:00 | 0 | 118.225 | 0.37567 | 159.383 | 0 | 66.4435 | 0 | 304.525 | 18.36 | 979.45 | 41.344 | 8.5868
2019-11-01 23:00:00 | 0 | 122.706 | 5.2177 | 159.773 | 4.962 | 105.998 | 0 | 299.312 | 18.29 | 979.45 | 42.5038 | 11.188
2019-11-01 23:15:00 | 0 | 116.276 | 4.195 | 171.196 | 3.6837 | 101.37 | 0 | 300.408 | 18.1 | 979.153 | 45.4034 | 15.1526
2019-11-01 23:30:00 | 0 | 135.347 | 5.2177 | 177.041 | 4.4507 | 113.889 | 0 | 310.419 | 18.27 | 979.005 | 45.1646 | 19.845
2019-11-01 23:45:00 | 0 | 108.848 | 3.428 | 161.039 | 2.4053 | 104.634 | 0 | 296.536 | 18.12 | 978.708 | 47.3478 | 24.3601