## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-02 00:00:00 | 0 | 107.264 | 4.7063 | 163.572 | 3.1723 | 94.7697 | 0 | 294.125 | 17.68 | 978.411 | 51.4412 | 24.9365
2019-11-02 00:15:00 | 0 | 101.955 | 4.7063 | 150.883 | 4.4507 | 95.3786 | 0 | 297.534 | 18.17 | 978.114 | 51.6459 | 28.0143
2019-11-02 00:30:00 | 0 | 106.826 | 2.4053 | 148.35 | 3.6837 | 85.0516 | 0 | 274.908 | 17.39 | 977.966 | 53.5903 | 23.7135
2019-11-02 00:45:00 | 0.372 | 118.302 | 5.2177 | 166.088 | 4.962 | 114.551 | 0.37567 | 296.279 | 17.16 | 977.817 | 54.1722 | 29.9393
2019-11-02 01:00:00 | 0 | 85.8373 | 4.195 | 136.962 | 3.6837 | 84.9117 | 0 | 258.462 | 17 | 977.52 | 56.3576 | 27.8185
2019-11-02 01:15:00 | 0 | 98.4973 | 4.7063 | 151.688 | 3.9393 | 133.035 | 0 | 305.551 | 16.86 | 977.669 | 55.8764 | 21.7737
2019-11-02 01:30:00 | 0 | 107.394 | 6.496 | 152.308 | 3.6837 | 121.765 | 0 | 288.495 | 16.9 | 977.52 | 52.3321 | 20.9498
2019-11-02 01:45:00 | 0 | 124.355 | 5.4733 | 185.934 | 7.7743 | 147.131 | 2.1497 | 309.511 | 16.83 | 977.669 | 49.947 | 19.9965
2019-11-02 02:00:00 | 0 | 136.143 | 5.9847 | 187.15 | 5.729 | 124.037 | 3.428 | 309.313 | 16.79 | 977.817 | 51.7889 | 23.248
2019-11-02 02:15:00 | 0.372 | 122.143 | 5.729 | 171.522 | 5.9847 | 126.187 | 1.007 | 305.845 | 16.56 | 977.52 | 51.5186 | 30.0613
2019-11-02 02:30:00 | 4.4353 | 136.018 | 8.5413 | 197.463 | 8.797 | 157.116 | 3.9393 | 316.499 | 16.27 | 977.223 | 57.0515 | 48.033
2019-11-02 02:45:00 | 7.244 | 141.848 | 9.0527 | 192.504 | 9.8197 | 139.533 | 4.7063 | 330.158 | 15.39 | 976.927 | 65.6534 | 38.2269
2019-11-02 03:00:00 | 10.5633 | 143.385 | 7.0073 | 205.322 | 6.496 | 165.483 | 4.7063 | 335.352 | 15.1 | 976.927 | 67.4288 | 39.2023
2019-11-02 03:15:00 | 4.4353 | 126.378 | 11.6093 | 177.815 | 6.7517 | 134.224 | 0 | 308.429 | 15.22 | 976.06 | 64.5623 | 53.3055
2019-11-02 03:30:00 | 8.01 | 128.644 | 9.0527 | 176.061 | 7.5187 | 129.887 | 1.3827 | 319.515 | 15.89 | 976.185 | 59.3073 | 44.2716
2019-11-02 03:45:00 | 4.946 | 132.908 | 9.0527 | 190.143 | 8.5413 | 154.665 | 2.1497 | 316.884 | 15.96 | 976.036 | 57.9423 | 38.4707
2019-11-02 04:00:00 | 4.6907 | 152.375 | 8.2857 | 207.198 | 7.5187 | 138.609 | 3.428 | 324.949 | 15.84 | 976.333 | 59.9215 | 36.7711
2019-11-02 04:15:00 | 0.62733 | 125.574 | 8.5413 | 172.114 | 7.5187 | 129.765 | 5.2177 | 306.553 | 15.63 | 976.036 | 60.1262 | 34.9052
2019-11-02 04:30:00 | 1.3713 | 142.191 | 5.729 | 198.89 | 5.4733 | 140.047 | 1.6383 | 312.474 | 15.87 | 976.185 | 57.2598 | 30.7855
2019-11-02 04:45:00 | 0.372 | 138.95 | 5.2177 | 188.608 | 4.7063 | 142.971 | 1.774 | 314.837 | 16.07 | 976.63 | 53.9498 | 22.376
2019-11-02 05:00:00 | 4.946 | 139.097 | 7.0073 | 189.12 | 6.2403 | 154.105 | 4.4507 | 328.433 | 15.95 | 976.481 | 55.4172 | 20.2256
2019-11-02 05:15:00 | 3.9247 | 145.066 | 4.962 | 204.031 | 5.729 | 133.59 | 1.127 | 327.409 | 15.77 | 976.63 | 55.8266 | 27.8074
2019-11-02 05:30:00 | 2.5313 | 139.462 | 8.03 | 194.017 | 6.7517 | 146.308 | 1.6383 | 336.351 | 15.72 | 976.63 | 54.5299 | 33.8226
2019-11-02 05:45:00 | 11.074 | 149.062 | 8.797 | 208.733 | 8.5413 | 138.146 | 4.962 | 340.176 | 15.58 | 976.333 | 55.8266 | 35.5629
2019-11-02 06:00:00 | 6.478 | 137.757 | 8.2857 | 211.121 | 5.729 | 166.19 | 3.6837 | 325.558 | 15.32 | 976.63 | 61.15 | 41.4303
2019-11-02 06:15:00 | 5.2013 | 136.806 | 7.0073 | 188.901 | 8.2857 | 147.941 | 1.774 | 316.421 | 15.17 | 976.333 | 60.9452 | 46.8433
2019-11-02 06:30:00 | 4.4353 | 148.404 | 8.03 | 190.85 | 7.0073 | 155.543 | 3.308 | 324.071 | 15.23 | 976.384 | 61.15 | 45.2582
2019-11-02 06:45:00 | 1.882 | 130.204 | 6.496 | 172.187 | 4.195 | 142.922 | 1.127 | 331.844 | 15.28 | 976.359 | 59.4779 | 45.0697
2019-11-02 07:00:00 | 5.4567 | 144.603 | 8.5413 | 196.795 | 5.4733 | 145.919 | 1.3827 | 322.878 | 15.32 | 976.396 | 59.1708 | 47.2126
2019-11-02 07:15:00 | 2.0207 | 161.317 | 7.263 | 204.713 | 4.962 | 164.996 | 2.1497 | 300.779 | 15.42 | 976.85 | 57.5328 | 44.1497
2019-11-02 07:30:00 | 5.4567 | 146.455 | 7.5187 | 201.546 | 7.5187 | 157.614 | 4.4507 | 335.279 | 15.45 | 976.969 | 58.0106 | 36.5642
2019-11-02 07:45:00 | 5.712 | 145.846 | 8.5413 | 199.865 | 7.263 | 134.419 | 3.428 | 329.602 | 15.42 | 977.107 | 57.6011 | 35.9952
2019-11-02 08:00:00 | 3.2973 | 124.941 | 7.263 | 179.252 | 6.496 | 140.607 | 1.6383 | 335.742 | 15.5 | 977.375 | 57.8058 | 38.7515
2019-11-02 08:15:00 | 0 | 138.755 | 4.195 | 192.555 | 4.7063 | 144.7 | 4.195 | 294.542 | 15.67 | 977.521 | 56.7821 | 44.7667
2019-11-02 08:30:00 | 3.9247 | 133.688 | 9.564 | 186.684 | 9.564 | 133.615 | 0.37567 | 315.276 | 15.87 | 977.372 | 54.5299 | 44.2577
2019-11-02 08:45:00 | 6.478 | 143.239 | 9.564 | 181.957 | 9.0527 | 126.183 | 4.4507 | 309.648 | 15.96 | 977.521 | 54.4617 | 36.3794
2019-11-02 09:00:00 | 0.744 | 141.232 | 5.4733 | 200.325 | 5.9847 | 173.166 | 0.37567 | 313.497 | 16.19 | 977.817 | 54.5172 | 31.735
2019-11-02 09:15:00 | 4.4353 | 153.546 | 7.5187 | 210.294 | 7.263 | 138.469 | 6.2403 | 332.277 | 16 | 977.521 | 54.9224 | 24.7961
2019-11-02 09:30:00 | 4.18 | 150.429 | 7.263 | 201.673 | 6.496 | 149.43 | 3.0523 | 311.965 | 16.12 | 977.966 | 55.8097 | 18.6109
2019-11-02 09:45:00 | 2.7867 | 144.436 | 5.9847 | 200.064 | 6.496 | 148.82 | 2.0297 | 329.255 | 16.12 | 977.817 | 57.2419 | 17.6022
2019-11-02 10:00:00 | 0 | 162.457 | 4.195 | 213.944 | 5.2177 | 178.313 | 0 | 316.682 | 15.89 | 977.817 | 62.0168 | 19.0469
2019-11-02 10:15:00 | 0 | 145.557 | 5.9847 | 198.579 | 5.4733 | 142.878 | 0 | 329.672 | 16.07 | 977.817 | 61.063 | 16.5603
2019-11-02 10:30:00 | 0.88267 | 147.233 | 8.03 | 194.48 | 5.729 | 143.628 | 0.37567 | 331.609 | 16.36 | 978.114 | 60.0376 | 20.233
2019-11-02 10:45:00 | 0 | 141.607 | 5.4733 | 202.834 | 4.7063 | 160.677 | 0 | 316.532 | 16.82 | 978.55 | 60.0717 | 20.5433
2019-11-02 11:00:00 | 0 | 156.172 | 6.2403 | 210.458 | 5.729 | 172.368 | 5.2177 | 328.491 | 16.75 | 978.14 | 56.7628 | 22.4536
2019-11-02 11:15:00 | 0 | 139.756 | 6.496 | 195.795 | 6.2403 | 152.543 | 0.37567 | 321.672 | 16.82 | 978.004 | 57.4109 | 19.4903
2019-11-02 11:30:00 | 0 | 149.903 | 5.9847 | 204.233 | 6.496 | 154.798 | 0.63133 | 336.216 | 17.31 | 977.819 | 55.2925 | 20.6062
2019-11-02 11:45:00 | 0.372 | 158.142 | 7.263 | 201.311 | 8.797 | 143.872 | 1.5183 | 10.5201 | 17.42 | 977.964 | 56.1392 | 17.5283
2019-11-02 12:00:00 | 0 | 139.683 | 5.4733 | 193.47 | 6.2403 | 157.168 | 0.75133 | 322.006 | 17.79 | 977.964 | 55.3888 | 17.4471
2019-11-02 12:15:00 | 0 | 159.262 | 6.7517 | 208.982 | 5.9847 | 169.417 | 3.1723 | 337.372 | 18.17 | 977.519 | 52.7285 | 12.3962
2019-11-02 12:30:00 | 0 | 192.892 | 6.496 | 251.208 | 9.0527 | 205.482 | 0 | 354.492 | 18.29 | 977.37 | 52.7968 | 12.9615
2019-11-02 12:45:00 | 0.372 | 196.812 | 4.4507 | 262.531 | 3.6837 | 200.563 | 0 | 0.24352 | 18.47 | 977.074 | 50.7503 | 10.1239
2019-11-02 13:00:00 | 0 | 205.531 | 4.962 | 224.835 | 4.4507 | 181.982 | 0 | 355.831 | 18.42 | 977.074 | 52.6603 | 6.8539
2019-11-02 13:15:00 | 0 | 184.294 | 4.4507 | 218.671 | 3.9393 | 165.153 | 3.9393 | 32.4365 | 18.82 | 976.925 | 52.7279 | 7.0867
2019-11-02 13:30:00 | 0 | 162.445 | 3.6837 | 215.011 | 3.1723 | 139.677 | 0 | 352.967 | 18.81 | 976.628 | 51.2939 | 6.3477
2019-11-02 13:45:00 | 0 | 155.622 | 5.4733 | 197.594 | 4.7063 | 156.45 | 0 | 326.537 | 19.04 | 976.777 | 49.9283 | 8.5942
2019-11-02 14:00:00 | 0 | 156.712 | 7.7743 | 208.81 | 6.7517 | 146.753 | 3.9393 | 14.1713 | 19.13 | 976.628 | 49.8921 | 11.5279
2019-11-02 14:15:00 | 0 | 141.632 | 6.496 | 194.383 | 7.263 | 145.162 | 4.962 | 325.239 | 19.41 | 976.435 | 49.6506 | 9.0856
2019-11-02 14:30:00 | 0 | 113.997 | 4.4507 | 189.44 | 4.4507 | 151.614 | 0 | 314.817 | 18.99 | 976.09 | 50.5371 | 8.4723
2019-11-02 14:45:00 | 0 | 163.863 | 8.2857 | 200.204 | 8.2857 | 140.464 | 0.37567 | 336.174 | 19.49 | 976.524 | 50.0602 | 10.7151
2019-11-02 15:00:00 | 0 | 138.685 | 5.4733 | 184.424 | 5.4733 | 135.52 | 5.2177 | 324.946 | 19.18 | 975.737 | 50.8781 | 10.2421
2019-11-02 15:15:00 | 0 | 153.489 | 5.9847 | 207.92 | 5.729 | 159.965 | 0 | 334.661 | 19.31 | 976.432 | 50.4007 | 10.3086
2019-11-02 15:30:00 | 0 | 130.163 | 5.729 | 190.097 | 5.4733 | 166.539 | 4.195 | 320.685 | 19.38 | 976.335 | 47.7408 | 9.3812
2019-11-02 15:45:00 | 0 | 140.828 | 4.195 | 195.113 | 4.195 | 159.551 | 0.75133 | 330.692 | 19.46 | 976.196 | 47.809 | 6.2295
2019-11-02 16:00:00 | 0 | 168.073 | 4.7063 | 208.09 | 3.9393 | 176.96 | 2.661 | 327.016 | 19.42 | 975.855 | 47.3316 | 3.8537
2019-11-02 16:15:00 | 0 | 149.814 | 5.729 | 198.597 | 5.4733 | 161.184 | 1.894 | 332.084 | 19.31 | 976.143 | 46.8547 | 4.0495
2019-11-02 16:30:00 | 0 | 151.975 | 5.4733 | 199.354 | 5.4733 | 150.294 | 2.7967 | 336.434 | 19.24 | 975.736 | 45.5303 | 6.1556
2019-11-02 16:45:00 | 0 | 145.308 | 5.4733 | 196.246 | 5.729 | 149.375 | 1.894 | 324.831 | 19.07 | 975.589 | 46.3847 | 6.8465
2019-11-02 17:00:00 | 0 | 147.573 | 4.195 | 192.422 | 3.428 | 147.037 | 0 | 333.257 | 18.92 | 975.589 | 46.4529 | 6.7874
2019-11-02 17:15:00 | 0 | 134.786 | 4.4507 | 180.109 | 3.9393 | 116.617 | 0 | 313.267 | 18.83 | 975.144 | 47.0064 | 6.6803
2019-11-02 17:30:00 | 0 | 126.725 | 4.195 | 175.726 | 4.195 | 134.3 | 0 | 310.2 | 18.84 | 975.536 | 47.6889 | 8.4243
2019-11-02 17:45:00 | 0 | 128.917 | 4.7063 | 184.567 | 4.7063 | 139.22 | 3.428 | 311.832 | 18.82 | 975.736 | 48.7805 | 4.8513
2019-11-02 18:00:00 | 0 | 129.258 | 5.4733 | 182.01 | 4.195 | 133.545 | 3.1723 | 308.202 | 18.74 | 975.885 | 49.3263 | 5.2725
2019-11-02 18:15:00 | 0 | 137.515 | 4.962 | 192.824 | 3.9393 | 148.767 | 0 | 312.733 | 18.71 | 976.036 | 48.9852 | 5.2319
2019-11-02 18:30:00 | 0 | 134.129 | 4.195 | 186.54 | 3.6837 | 139.707 | 0 | 313.999 | 18.6 | 976.333 | 50.0085 | 4.674
2019-11-02 18:45:00 | 0 | 131.84 | 4.4507 | 180.159 | 3.1723 | 135.128 | 0 | 315.412 | 18.45 | 976.036 | 50.4179 | 6.1852
2019-11-02 19:00:00 | 0 | 136.833 | 5.2177 | 191.436 | 5.4733 | 146.526 | 0 | 326.494 | 18.4 | 976.036 | 51.0319 | 9.4588
2019-11-02 19:15:00 | 0 | 148.012 | 4.4507 | 196.77 | 4.195 | 166.084 | 0 | 329.904 | 18.08 | 976.036 | 52.4987 | 8.2284
2019-11-02 19:30:00 | 0 | 143.19 | 4.7063 | 194.699 | 4.4507 | 150.472 | 0 | 320.892 | 17.85 | 976.036 | 52.9422 | 9.917
2019-11-02 19:45:00 | 0 | 168.985 | 5.2177 | 213.116 | 5.4733 | 167.865 | 0.75133 | 342.671 | 17.73 | 975.887 | 51.3738 | 9.7433
2019-11-02 20:00:00 | 0 | 157.933 | 4.4507 | 216.826 | 3.9393 | 173.619 | 0 | 337.933 | 17.67 | 976.184 | 50.3521 | 12.1006
2019-11-02 20:15:00 | 0 | 149.453 | 5.4733 | 199.43 | 5.2177 | 156.273 | 0 | 337.365 | 17.81 | 976.036 | 50.965 | 11.2471
2019-11-02 20:30:00 | 0 | 157.563 | 5.2177 | 206.224 | 4.962 | 162.995 | 0 | 343.599 | 17.63 | 976.333 | 51.4764 | 11.8937
2019-11-02 20:45:00 | 0 | 160.584 | 5.729 | 206.664 | 4.962 | 151.353 | 5.4733 | 344.112 | 17.54 | 976.481 | 52.1589 | 15.4777
2019-11-02 21:00:00 | 0 | 157.151 | 5.729 | 204.352 | 5.4733 | 142.488 | 0 | 355.539 | 17.55 | 976.333 | 53.1487 | 20.9941
2019-11-02 21:15:00 | 0.62733 | 142.974 | 5.729 | 184.742 | 5.2177 | 150.646 | 2.9167 | 335.27 | 17.27 | 976.184 | 53.4892 | 22.2541
2019-11-02 21:30:00 | 4.946 | 185.845 | 6.7517 | 199.068 | 6.496 | 114.99 | 1.007 | 0.19486 | 17.04 | 976.036 | 52.9784 | 24.7111
2019-11-02 21:45:00 | 2.0207 | 162.584 | 4.195 | 192.857 | 3.9393 | 148.433 | 4.962 | 321.856 | 16.98 | 976.184 | 52.3304 | 23.6248
2019-11-02 22:00:00 | 0.62733 | 144.758 | 5.2177 | 192.449 | 3.6837 | 156.085 | 0 | 311.634 | 16.78 | 976.333 | 51.1718 | 19.361
2019-11-02 22:15:00 | 0.744 | 156.603 | 5.729 | 198.011 | 4.7063 | 147.566 | 0 | 18.196 | 16.72 | 976.333 | 51.6857 | 4.8255
2019-11-02 22:30:00 | 0 | 330.371 | 2.9167 | 40.0233 | 4.962 | 334.269 | 0 | 160.557 | 15.33 | 976.333 | 66.632 | 13.4345
2019-11-02 22:45:00 | 0 | 356.595 | 4.195 | 75.4591 | 3.1723 | 34.1587 | 5.9847 | 179.126 | 14.13 | 976.333 | 81.1459 | 20.3216
2019-11-02 23:00:00 | 0 | 353.504 | 3.6837 | 53.4831 | 3.428 | 356.038 | 0.75133 | 144.773 | 13.79 | 976.333 | 83.2622 | 27.2532
2019-11-02 23:15:00 | 1.51 | 19.6377 | 8.5413 | 66.177 | 8.5413 | 13.2055 | 0 | 188.459 | 13.25 | 975.941 | 90.1553 | 29.4036
2019-11-02 23:30:00 | 3.9247 | 12.3791 | 6.7517 | 61.268 | 5.4733 | 18.7635 | 0 | 191.096 | 12.5 | 976.037 | 98.3602 | 29.0526
2019-11-02 23:45:00 | 12.606 | 14.7181 | 8.5413 | 65.4091 | 7.263 | 9.0648 | 3.0523 | 188.266 | 12.32 | 975.889 | 98.495 | 30.9776