## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-03 00:00:00 | 0 | 11.9905 | 6.2403 | 74.4618 | 2.1497 | 13.5746 | 0 | 195.65 | 12.08 | 976.037 | 99.1904 | 19.2723
2019-11-03 00:15:00 | 0 | 0.68244 | 5.4733 | 59.6744 | 5.4733 | 13.6975 | 0 | 180.236 | 12.03 | 976.186 | 99.6072 | 23.1371
2019-11-03 00:30:00 | 7.244 | 25.2745 | 5.2177 | 84.9491 | 4.4507 | 27.5168 | 1.007 | 203.318 | 11.97 | 976.037 | 99.8805 | 15.1895
2019-11-03 00:45:00 | 0 | 6.3369 | 6.2403 | 65.3534 | 2.4053 | 37.3878 | 1.894 | 190.839 | 11.94 | 976.037 | 99.9488 | 17.7316
2019-11-03 01:00:00 | 5.4567 | 14.0143 | 8.03 | 64.281 | 5.729 | 3.6803 | 0.75133 | 195.543 | 11.83 | 976.037 | 99.9488 | 23.9943
2019-11-03 01:15:00 | 0 | 33.5857 | 6.496 | 93.7964 | 4.7063 | 56.7154 | 3.1723 | 203.976 | 11.67 | 976.037 | 99.9488 | 22.0324
2019-11-03 01:30:00 | 0 | 32.5864 | 3.9393 | 92.1878 | 2.661 | 41.2143 | 0 | 218.892 | 11.55 | 976.037 | 99.9488 | 12.9209
2019-11-03 01:45:00 | 0 | 41.4824 | 3.1723 | 112.637 | 2.4053 | 30.3928 | 0 | 241.558 | 11.62 | 976.037 | 99.9488 | 4.2158
2019-11-03 02:00:00 | 0 | 15.0624 | 4.4507 | 71.6172 | 3.6837 | 18.5233 | 0 | 199.442 | 11.67 | 976.037 | 99.6757 | 3.6579
2019-11-03 02:15:00 | 0 | 354.429 | 4.4507 | 55.6287 | 2.4053 | 345.849 | 1.2627 | 175.508 | 11.87 | 976.334 | 96.5011 | 10.9737
2019-11-03 02:30:00 | 0 | 29.4423 | 5.9847 | 80.7082 | 4.7063 | 29.0523 | 4.195 | 200.905 | 11.71 | 976.037 | 97.4228 | 14.2769
2019-11-03 02:45:00 | 0 | 31.1728 | 4.7063 | 89.4824 | 3.428 | 41.0194 | 0 | 209.459 | 11.54 | 975.889 | 98.3786 | 5.8563
2019-11-03 03:00:00 | 0 | 6.5319 | 3.1723 | 54.7269 | 3.428 | 26.9075 | 0 | 267.418 | 11.9 | 975.74 | 91.0053 | 2.0617
2019-11-03 03:15:00 | 0 | 70.4373 | 3.428 | 117.292 | 4.195 | 66.4158 | 0 | 241.266 | 12.19 | 975.741 | 89.7764 | 2.2243
2019-11-03 03:30:00 | 0 | 60.6151 | 4.195 | 116.146 | 3.9393 | 62.0043 | 0 | 243.118 | 12.06 | 975.592 | 90.2543 | 3.1923
2019-11-03 03:45:00 | 0 | 57.8609 | 3.6837 | 111.174 | 3.9393 | 53.8882 | 0 | 243.459 | 11.92 | 975.741 | 93.4289 | 3.5027
2019-11-03 04:00:00 | 0 | 71.0222 | 3.1723 | 124.409 | 3.1723 | 72.1921 | 0 | 245.287 | 11.83 | 975.744 | 93.1217 | 3.1628
2019-11-03 04:15:00 | 0 | 87.4495 | 2.9167 | 129.503 | 3.1723 | 73.8007 | 0 | 267.881 | 12.44 | 975.745 | 86.909 | 1.9841
2019-11-03 04:30:00 | 0 | 89.3749 | 2.4053 | 151.243 | 3.1723 | 91.934 | 0 | 289.402 | 12.57 | 976.046 | 82.5397 | 1.2636
2019-11-03 04:45:00 | 0 | 131.564 | 1.6383 | 151.34 | 2.9167 | 90.2767 | 0 | 293.789 | 12.71 | 976.038 | 82.5397 | 0.39535
2019-11-03 05:00:00 | 0 | 126.08 | 2.1497 | 181.368 | 2.9167 | 104.096 | 0 | 315.457 | 13.57 | 976.483 | 74.0741 | 0.39535
2019-11-03 05:15:00 | 0 | 95.9799 | 1.6383 | 133.158 | 0 | 49.428 | 0 | 287.672 | 13.22 | 976.929 | 80.0819 | 1.4521
2019-11-03 05:30:00 | 0 | 115.551 | 1.894 | 160.188 | 1.894 | 79.6502 | 0 | 294.764 | 13.35 | 976.929 | 77.3169 | 1.9472
2019-11-03 05:45:00 | 0 | 134.611 | 0 | 158.14 | 0 | 75.7262 | 0 | 300.029 | 13.31 | 977.226 | 78.7165 | 2.0876
2019-11-03 06:00:00 | 0 | 351.626 | 1.127 | 6.4975 | 2.1497 | 318.771 | 0 | 268.442 | 13.26 | 977.374 | 78.4776 | 1.1491
2019-11-03 06:15:00 | 0 | 280.555 | 2.661 | 15.6129 | 2.9167 | 293.935 | 0 | 159.349 | 11.92 | 977.226 | 94.1116 | 0.77592
2019-11-03 06:30:00 | 0 | 284.576 | 2.661 | 332.503 | 2.4053 | 289.329 | 0 | 103.024 | 11.5 | 977.226 | 96.3987 | -0.28081
2019-11-03 06:45:00 | 0 | 278.581 | 2.661 | 332.966 | 1.894 | 289.329 | 0 | 99.6602 | 11.41 | 977.226 | 96.7401 | -0.28081
2019-11-03 07:00:00 | 0 | 299.005 | 0.75133 | 333.649 | 0 | 292.254 | 0 | 115.576 | 11.49 | 977.671 | 96.1256 | -0.1404
2019-11-03 07:15:00 | 0 | 29.6373 | 2.661 | 49.0724 | 2.9167 | 13.99 | 0 | 173.047 | 11.4 | 977.828 | 96.8425 | 0.50619
2019-11-03 07:30:00 | 0 | 0.14624 | 1.6383 | 53.8007 | 0 | 19.8394 | 0 | 176.995 | 11.2 | 978.146 | 97.5252 | 0.88307
2019-11-03 07:45:00 | 0 | 0.34122 | 2.661 | 54.1663 | 1.3827 | 19.7907 | 0 | 172.267 | 11.18 | 978.265 | 97.6958 | 0.41382
2019-11-03 08:00:00 | 0 | 1.5599 | 2.4053 | 54.1419 | 1.6383 | 26.3713 | 0 | 170.658 | 11.48 | 978.562 | 95.3064 | 0.13671
2019-11-03 08:15:00 | 0 | 354.112 | 1.3827 | 54.21 | 0.75133 | 23.7862 | 0 | 141.304 | 11.85 | 979.007 | 91.9549 | -0.18474
2019-11-03 08:30:00 | 0 | 352.41 | 1.127 | 50.7159 | 0.75133 | 16.9358 | 0 | 141.797 | 12.66 | 979.453 | 87.0285 | -0.25125
2019-11-03 08:45:00 | 0 | 16.6655 | 2.1497 | 56.8951 | 1.3827 | 37.6191 | 0 | 192.92 | 12.44 | 979.447 | 87.0852 | -0.28081
2019-11-03 09:00:00 | 0 | 15.3983 | 1.6383 | 57.0891 | 0.75133 | 10.964 | 0 | 201.518 | 12.79 | 979.599 | 88.7903 | -0.26972
2019-11-03 09:15:00 | 1.3713 | 48.1854 | 1.6383 | 57.1747 | 1.894 | 45.6032 | 0 | 230.111 | 12.82 | 979.747 | 91.5744 | -0.25864
2019-11-03 09:30:00 | 0 | 83.6881 | 0 | 109.527 | 0 | 29.398 | 0 | 269.892 | 13.01 | 980.192 | 92.9222 | -0.26972
2019-11-03 09:45:00 | 0 | 12.0076 | 0 | 102.95 | 0 | 284.431 | 0 | 204.762 | 13.68 | 980.488 | 92.7171 | -0.27711
2019-11-03 10:00:00 | 0 | 25.3032 | 2.661 | 66.0649 | 2.1497 | 2.8006 | 0 | 147.825 | 13.51 | 980.786 | 92.2973 | -0.12193
2019-11-03 10:15:00 | 0 | 74.2249 | 2.9167 | 53.0073 | 3.9393 | 356.951 | 0 | 188.63 | 12.96 | 980.486 | 92.2238 | -0.036948
2019-11-03 10:30:00 | 0 | 14.8566 | 4.4507 | 83.6799 | 3.9393 | 33.0743 | 0 | 184.49 | 13.17 | 980.338 | 86.6757 | 0.20691
2019-11-03 10:45:00 | 0 | 26.9622 | 2.4053 | 67.8769 | 4.4507 | 28.3749 | 0 | 196.554 | 13.57 | 980.691 | 83.1997 | 0.029559
2019-11-03 11:00:00 | 0 | 11.325 | 3.6837 | 80.4391 | 3.428 | 26.0109 | 0 | 182.417 | 14.19 | 980.935 | 77.0552 | 0.0036948
2019-11-03 11:15:00 | 0 | 23.9624 | 2.661 | 72.6594 | 0 | 329.605 | 0 | 209.671 | 14.53 | 980.932 | 76.6372 | 0.47294
2019-11-03 11:30:00 | 0 | 12.663 | 3.6837 | 86.4669 | 0 | 12.7117 | 0 | 199.662 | 14.57 | 981.08 | 74.4202 | 4.4338
2019-11-03 11:45:00 | 0 | 20.2365 | 1.2627 | 37.3733 | 0.75133 | 352.617 | 0.37567 | 206.748 | 14.64 | 981.08 | 81.6849 | 8.4464
2019-11-03 12:00:00 | 0.372 | 33.484 | 2.4053 | 74.7536 | 5.2177 | 28.6866 | 2.0297 | 183.03 | 14.91 | 981.08 | 78.5812 | 12.7509
2019-11-03 12:15:00 | 0 | 25.7645 | 6.496 | 71.9291 | 2.9167 | 47.1213 | 5.9847 | 169.393 | 14.64 | 980.783 | 80.0481 | 17.5875
2019-11-03 12:30:00 | 0 | 0.097424 | 1.3827 | 70.7746 | 5.9847 | 34.7316 | 0 | 176.995 | 14.5 | 980.338 | 81.4594 | 23.7837
2019-11-03 12:45:00 | 3.5527 | 340.182 | 7.263 | 83.27 | 4.7063 | 18.7786 | 1.007 | 182.135 | 14.07 | 980.44 | 82.6198 | 28.5057
2019-11-03 13:00:00 | 14.138 | 343.982 | 7.263 | 41.1582 | 6.7517 | 15.1982 | 8.5413 | 177.995 | 13.65 | 980.124 | 83.575 | 31.0478
2019-11-03 13:15:00 | 12.8613 | 342.228 | 6.496 | 84.4147 | 3.9393 | 17.098 | 7.263 | 161.652 | 13.46 | 980.489 | 83.0633 | 32.2729
2019-11-03 13:30:00 | 1.138 | 338.16 | 5.4733 | 61.7148 | 5.4733 | 9.5963 | 0.37567 | 158.583 | 13.29 | 980.34 | 83.1315 | 34.1625
2019-11-03 13:45:00 | 11.84 | 354.226 | 6.7517 | 65.6642 | 5.2177 | 35.9268 | 6.2403 | 161.488 | 13.2 | 980.34 | 83.1692 | 33.176
2019-11-03 14:00:00 | 2.3927 | 8.0622 | 7.5187 | 76.7462 | 2.661 | 352.373 | 1.5183 | 179.852 | 12.9 | 980.489 | 83.8851 | 37.1923
2019-11-03 14:15:00 | 10.8187 | 353.766 | 7.5187 | 54.7142 | 8.03 | 38.7579 | 6.2403 | 176.347 | 12.52 | 980.34 | 83.2494 | 37.0815
2019-11-03 14:30:00 | 8.5207 | 346.437 | 7.5187 | 79.163 | 7.0073 | 17.3962 | 3.428 | 167.383 | 12.36 | 980.192 | 81.8971 | 36.6787
2019-11-03 14:45:00 | 4.18 | 351.092 | 8.797 | 39.8147 | 6.496 | 3.6059 | 1.774 | 174.206 | 12.29 | 980.34 | 82.1703 | 35.5149
2019-11-03 15:00:00 | 3.808 | 3.8983 | 8.2857 | 61.8158 | 6.7517 | 0.51165 | 3.1723 | 176.179 | 12.14 | 980.489 | 81.829 | 44.124
2019-11-03 15:15:00 | 2.9033 | 353.187 | 8.2857 | 46.4418 | 7.7743 | 3.7765 | 3.6837 | 178.421 | 11.94 | 980.548 | 82.1703 | 43.0302
2019-11-03 15:30:00 | 8.5207 | 356.87 | 6.2403 | 56.7298 | 7.263 | 0.2193 | 1.894 | 179.995 | 11.85 | 980.468 | 81.4261 | 43.5305
2019-11-03 15:45:00 | 7.4993 | 15.1328 | 8.797 | 58.6615 | 5.4733 | 29.6077 | 2.661 | 197.068 | 11.67 | 980.64 | 82.457 | 41.1532
2019-11-03 16:00:00 | 10.308 | 354.782 | 6.7517 | 66.9228 | 6.2403 | 31.3624 | 5.4733 | 179.182 | 11.51 | 980.492 | 83.0717 | 44.544
2019-11-03 16:15:00 | 7.7547 | 356.217 | 8.2857 | 69.6755 | 7.5187 | 3.8502 | 2.2853 | 170.31 | 11.22 | 980.195 | 83.5486 | 42.2458
2019-11-03 16:30:00 | 12.606 | 351.836 | 7.263 | 68.0565 | 4.7063 | 12.4785 | 5.9847 | 177.77 | 10.95 | 980.195 | 84.4491 | 37.4399
2019-11-03 16:45:00 | 3.414 | 0 | 8.03 | 73.3477 | 6.7517 | 16.3297 | 2.1497 | 180.163 | 10.78 | 980.195 | 85.2705 | 38.6164
2019-11-03 17:00:00 | 13.8827 | 6.995 | 7.7743 | 57.9441 | 7.263 | 19.4251 | 6.496 | 187.865 | 10.59 | 979.75 | 86.2263 | 43.178
2019-11-03 17:15:00 | 9.0313 | 5.1183 | 8.797 | 68.9118 | 7.5187 | 4.5333 | 5.2177 | 185.891 | 10.28 | 979.627 | 87.7965 | 41.737
2019-11-03 17:30:00 | 1.51 | 0.097491 | 7.7743 | 59.5283 | 7.263 | 9.5297 | 4.195 | 182.43 | 10.08 | 979.629 | 89.2302 | 40.2332
2019-11-03 17:45:00 | 11.3293 | 0.097498 | 7.0073 | 58.2175 | 6.2403 | 0.21937 | 4.962 | 191.217 | 9.78 | 980.08 | 90.6018 | 37.6468
2019-11-03 18:00:00 | 13.372 | 355.908 | 8.2857 | 76.5584 | 4.7063 | 9.3365 | 2.1497 | 173.688 | 9.63 | 980.382 | 91.0222 | 38.0791
2019-11-03 18:15:00 | 14.3933 | 13.4317 | 6.2403 | 51.7169 | 7.0073 | 26.6683 | 8.2857 | 188.434 | 9.47 | 980.476 | 91.2257 | 36.5827
2019-11-03 18:30:00 | 2.648 | 6.1919 | 7.5187 | 63.9073 | 4.962 | 5.5824 | 0 | 188.95 | 9.32 | 980.494 | 91.2961 | 30.5453
2019-11-03 18:45:00 | 0 | 356.137 | 6.2403 | 49.7988 | 5.4733 | 20.552 | 3.6837 | 188.43 | 9.13 | 980.643 | 91.6455 | 23.9241
2019-11-03 19:00:00 | 3.6693 | 3.5108 | 5.2177 | 58.7007 | 3.9393 | 36.3759 | 0.63133 | 188.877 | 9.07 | 980.495 | 91.1713 | 23.477
2019-11-03 19:15:00 | 13.6273 | 9.9962 | 8.5413 | 64.0659 | 6.2403 | 5.9734 | 5.9847 | 192.44 | 8.93 | 980.495 | 91.1729 | 20.8611
2019-11-03 19:30:00 | 10.8187 | 4.4861 | 6.496 | 55.8983 | 6.496 | 349.113 | 7.0073 | 188.636 | 8.77 | 980.495 | 90.7632 | 22.0841
2019-11-03 19:45:00 | 0 | 9.1429 | 4.962 | 63.6271 | 5.729 | 17.9201 | 4.7063 | 188.466 | 8.72 | 980.495 | 90.0802 | 22.1949
2019-11-03 20:00:00 | 0 | 1.6092 | 4.7063 | 56.776 | 2.9167 | 35.3282 | 1.5183 | 185.223 | 8.61 | 980.51 | 89.3973 | 19.5827
2019-11-03 20:15:00 | 0.99933 | 13.0683 | 6.496 | 63.0907 | 4.962 | 353.184 | 1.007 | 193.781 | 8.49 | 980.367 | 88.7143 | 18.4188
2019-11-03 20:30:00 | 0 | 5.6808 | 5.2177 | 49.5105 | 4.195 | 356.939 | 3.9393 | 181.395 | 8.33 | 980.546 | 88.9192 | 17
2019-11-03 20:45:00 | 0 | 346.772 | 6.2403 | 46.6091 | 5.2177 | 2.8282 | 0 | 171.228 | 8.22 | 980.699 | 88.5778 | 21.1752
2019-11-03 21:00:00 | 0.62733 | 344.334 | 5.729 | 40.6845 | 5.2177 | 0.99962 | 0.887 | 164.133 | 8.03 | 981.006 | 89.8071 | 24.8368
2019-11-03 21:15:00 | 4.574 | 356.183 | 5.2177 | 52.8507 | 4.4507 | 0.048762 | 1.6383 | 181.322 | 7.811 | 981.09 | 90.2851 | 27.6337
2019-11-03 21:30:00 | 1.2547 | 352.697 | 4.195 | 40.7576 | 4.962 | 352.55 | 5.729 | 161.305 | 7.697 | 981.384 | 90.9339 | 25.4997
2019-11-03 21:45:00 | 0.372 | 337.946 | 5.2177 | 23.8372 | 4.195 | 4.925 | 0 | 159.525 | 7.525 | 981.389 | 92.9486 | 24.4451
2019-11-03 22:00:00 | 0 | 349.87 | 4.4507 | 69.9665 | 4.7063 | 4.6812 | 0.75133 | 166.621 | 7.248 | 981.092 | 94.6562 | 25.6385
2019-11-03 22:15:00 | 7.244 | 356.903 | 7.263 | 45.694 | 5.729 | 0.21947 | 3.6837 | 178.793 | 7.199 | 980.795 | 95.1846 | 27.1571
2019-11-03 22:30:00 | 4.18 | 0.097551 | 5.2177 | 52.0415 | 6.7517 | 19.4371 | 1.894 | 181.201 | 7.143 | 980.646 | 95.2627 | 25.8972
2019-11-03 22:45:00 | 15.4147 | 1.8779 | 8.2857 | 59.993 | 7.0073 | 20.5592 | 5.9847 | 186.764 | 7.142 | 980.349 | 94.2051 | 21.8661
2019-11-03 23:00:00 | 4.18 | 2.0731 | 8.03 | 61.9237 | 6.2403 | 15.2677 | 3.0523 | 185.847 | 6.933 | 980.201 | 95.4394 | 22.206
2019-11-03 23:15:00 | 15.9253 | 5.4876 | 8.03 | 68.314 | 5.4733 | 19.9505 | 13.9103 | 189.237 | 6.845 | 980.201 | 94.8249 | 20.9091
2019-11-03 23:30:00 | 0 | 0.99997 | 7.0073 | 62.6069 | 7.5187 | 9.9021 | 3.1723 | 189.823 | 6.7 | 980.201 | 93.7318 | 20.7872
2019-11-03 23:45:00 | 0 | 3.2438 | 7.263 | 50.5342 | 4.7063 | 5.7071 | 0.63133 | 184.091 | 6.696 | 980.201 | 92.468 | 18.6442